## Cover
Health-care waste management • Expanded Costing Analysis Tool (ECAT) - L
For low-income countries
Content
| Section | Level | Content
| Introduction |  | Provides basic information about this costing tool
| Input | Facility, cluster and national levels | Enables user to input required data
| Assumptions | Facility, cluster and national levels | Lists assumptions used in the costing tool
| Small HCFs | Facility level | Calculates HCWM costs for small health-care facilities
| Medium HCFs | Facility level | Calculates HCWM costs for medium health-care facilities
| Large HCFs | Facility level | Calculates HCWM costs for large health-care facilities
| Clusters | Cluster and facility levels | Calculates HCWM costs for cluster or centralized treatment facilities
| National | National level | Calculates HCWM costs at the national level
| Results | Facility, cluster and national levels | Shows results of the calculations
| Summary |  | Provides graphs and tables
> | To access any of the above "chapters", click on the tabs below.
We are interested in your comments and feedback !
Send to WHO any comments and/or costing information you feel could help build up knowledge about field data.
| Contacts | World Health Organization: http://www.healthcarewaste.org ¦ E-mail: hcwaste@who.int
| Disclaimer | This spreadsheet has been prepared with the aim of creating a simple, useable tool that fits as closely as possible to field reality. The WHO nevertheless makes no warranty as to its fitness or accuracy, either for the purpose for which it has been developed or for any other purpose.

## Intro
HCWM • Expanded costing analysis tool
1 | Introduction
• | In most LEDCs (Less Economically Developed Countries), resources spent on health care waste management (HCWM) are extremely limited. The activity is rarely included in the public health budget and HCFs are often allocated insufficient or no funds for the safe management and disposal of health care waste (HCW). Allocating insufficient financial resources to manage HCW properly has an even greater financial cost in the medium and long term in terms of morbidity and mortality as well as environmental damage, that will, in the end, impact negatively on peoples’ health.
• | The expanded costing analysis tool (ECAT) is a modified version of the cost analysis tool (CAT) and provides more options and approaches than the CAT. It was created to help the user estimate costs related to health care waste management (HCWM) at the health care facility (HCF), central treatment facility or cluster, and national levels.
• | A Rapid Assessment Tool (RAT) has also been developed by WHO to help gather essential data regarding HCWM practices and equipment in a given country. This tool should help determine priorities so that realistic objectives and appropriate strategies can be defined. It can be down-loaded from the www.healthcarewaste.org website.
2 | Basic approaches, assumptions and objectives
• | The ECAT allows one or more treatment approaches: (1) treatment of waste on site at the health care facilities (that is, decentralized or on-site treatment); (2) treatment of waste at central facilities or large hospitals to which waste from a cluster of health care facilities send their waste (that is, centralized or cluster treatment); or (3) a combination of the above. In other words, treatment can take place at small HCFs, medium HCFs, large HCFs (100 to 499 beds, or "Group A" facilities), very large HCFs (500 beds or more, or "Group B" facilities), medium-size clusters (treating between 300 to 1000 kg/day), large clusters (treating more than 1000 kg/day), or any combination of these. The ECAT also allows four treatment technology options for on-site treatment: (1) autoclave and sharps pit; (2) incinerator and lined ash pit; (3) needle remover, autoclave, and small pit; and (4) needle remover, incinerator, and lined ash pit. For centralized or cluster treatment, two options are provided: (1) transport vehicle(s), large autoclave, and shredder; and (2) transport vehicle(s), large incinerator, and ash pit. The ECAT version for low-income countries allows incinerators that do not meet international standards including the guidelines of the Stockholm Convention, except for the largest incinerator for large clusters.
• | The annual costs of HCWM include both capital (or one-time) costs as well as annual operating (or recurrent) costs. Capital costs involve equipment and technologies with different life spans. For the purposes of this tool, the capital cost is converted to an equivalent annual cost using the standard discounting formula which takes into account the equipment life span and a discount or interest rate.
• | The tool uses a series of assumptions, shown as bold orange values, based on the scientific literature or field data. These assumptions are listed in the Assumption section and at the top of each calculation section. They can be changed by the user as country-specific data become available.
• | The aim of this tool is to help estimate annual budgets that need to be allocated for HCWM.
3 | Who can/should use this costing tool ?
• | Senior management personnel (or other trained personnel) responsible for the design, implementation, evaluation and updating of the national policy and plans for health care waste management constitute the primary audience of this costing toolbox.
• | International experts will find this simple toolbox useful when asked for assistance to provide costing information linked to HCWM.
• | National policy makers may find this tool useful to better understand the financial implications of safe and appropriate HCWM.
4 | How to use this costing tool ?
• | Step 1: It is recommended that you start by saving an original copy of this costing tool to preserve the original formulas. Familiarize yourself with each section of the costing tool and the different approaches and options.
Step 2: Review the assumptions and determine if they are appropriate for the conditions in the country or if country-specific data are available. In particular, country-specific data should be obtained for: wages of HCW workers, cleaners, waste management officers, treatment facility managers, and national staff; local costs of electricity, fuel, and water & sewage; and, if centralized treatment is desired, the average daily cost of operating a transport vehicle, and landfill fees. Be sure to convert data to the correct units specified in the costing tool.
• | Step 3: Compile data on the numbers of small, medium, large (Group A: 100 to 499 beds) and very large (Group B: 500 beds or more) health-care facilities in the country that are or will operate an on-site treatment system. Compute or estimate the average number of beds under each of these categories (except for small HCFs which are assumed to have no beds).
• | Step 4: Obtain or compute the total number of beds in the country, overall population, annual national health-care budge and gross domestic product.
• | Step 5: If centralized treatment in central facilities or clusters is desired, estimate the number of medium-size clusters (300 to 1000 kg/day) that are or will be established; the average number of small, medium, and large/very large HCFs served by a typical medium-size cluster; and the average number of total beds for medium HCFs and for large/very large HCFs served by a typical medium-sized cluster. The same information should be estimated for any large-size clusters (treating 1000 kg/day or more). It is important to note that the small, medium and large/very large HCFs served by these clusters should NOT be included in the data computed under Step 3.
• | Step 6: In the Assumption section and in the Assumptions portion at the beginning of each calculation section, replace any assumptions (orange values) with more appropriate or country-specific data, if available. Then, in the Input section, input the data obtained in Steps 2 to 4. Be sure NOT to include data for HCFs served by clusters (centralized treatment) in the section for on-site (decentralized) treatment. Important: Set all variables that are not used in the Input section to zero. For example, if there are no large clusters, be sure to set all the numbers related to large clusters (from C30 to C35 in the Input section) to zero. Here's a short description of the color code:
1) Orange values: these numbers are assumptions based on the scientific literature or field data. Replace them if you have more precise country-specific data.
2) Light green shaded cells: these are required INPUT values and should be provided by the user.
3) Values in regular black font: these numbers are linked to input values, assumptions and forumulas and should not be modified.
• | Step 7: A summary of the results of the calculations can be found in the Results section. All figures are in dollars ($). The grand total annual costs are shown for each option along with a breakdown of capital and recurrent costs. For clusters, a breakdown of costs at the level of the HCFs served by the cluster and at the level of the cluster or central treatment plant is presented. Also computed are the HCWM costs per bed, per kg of waste, and per population, as well as HCWM costs as a percentage of the annual national health-care budget, and the specific costs related to sharps waste management.
• | Step 8: The results of the ECAT may be used to estimate the financial requirements needed for HCWM at the facility, cluster and national levels.
5 | Information & Contacts
• | To comment on this tool, please contact WHO: hcwaste@who.int
• | Potential partners with international or regional outreach that are interested in advancing the agenda of safe HCWM and wish to cooperate in the further development and implementation of activities can contact WHO [E-mail: hcwaste@who.int]. Visit our web site www.healthcarewaste.org for additional information.

## Assump
General assumptions
General assumptions
| Variable | Value | Unit | Default value
| Discount rate | 0.03 | fraction | 0.03
| Weight of syringe | 0.01 | kg/syringe | 0.01
| Capacity of safety box | 100 | syringes/box | 100
| Ratio of infectious to non-infectious waste | 0.17647 | fraction | 0.17647
Capital cost assumptions
| Item | Value | Unit | Default value | Lifespan (yrs)
| 15-liter bin | 5 | $ | 5 | 2
| Personal protection equipment | 35 | $ | 35 | 2
| 24-liter autoclave | 1000 | $ | 1000 | 5
| Simple autoclave shelter | 300 | $ | 300 | 5
| Sharps pit | 100 | $ | 100 | 5
| Small pit | 25 | $ | 25 | 2
| Needle remover | 30 | $ | 30 | 4
| Small-scale incinerator (5kg/h) non-compliant with international standards | 1500 | $ | 1500 | 3
| Shelter for small-scale incinerator | 1000 | $ | 1000 | 5
| Small ash pit | 100 | $ | 25 | 5
| 50-liter bin | 20 | $ | 20 | 2
| 240-liter wheeled bin | 45 | $ | 45 | 4
| Storage area | 1000 | $ | 1000 | 10
| 51-liter autoclave | 1770 | $ | 1770 | 5
| Shelter for treatment system | 2000 | $ | 2000 | 10
| Small-scale incinerator (12kg/hr) non-compliant with international standards | 2800 | $ | 2800 | 5
| Medium ash pit (lined) | 250 | $ | 250 | 5
| Large ash pit (lined) | 250 | $ | 250 | 3
| Very large ash pit (lined) | 500 | $ | 500 | 2
| Large storage area | 2000 | $ | 2000 | 10
| 125-liter autoclave | 31200 | $ | 31200 | 10
| Reusable sharps containers | 35 | $ | 35 | 2
| Medium-size incinerator (50kg/h) non-compliant with international standards | 37500 | $ | 37500 | 10
| 340-liter autoclave | 36500 | $ | 36500 | 10
| Medium HCW shredder | 25000 | $ | 25000 | 5
| Transport vehicle (5000 liter capacity) | 40000 | $ | 40000 | 5
| 2300-liter autoclave | 125000 | $ | 125000 | 10
| Large HCW shredder | 56000 | $ | 56000 | 5
| Large incinerator (350 kg/hr) | 200000 | $ | 200000 | 10
| Air pollution control | 286000 | $ | 286000 | 10
Recurrent cost assumptions
| Item | Value | Unit | Default value
| Safety box | 0.5 | $/box | 0.5
| 15-liter plastic bag | 0.06 | $/bag | 0.06
| Electrical use (24L autoclave) | 0.525 | kWh/cycle | 0.53
| Water use (24L autoclave) | 0.5 | liter/cycle | 0.5
| Maintenance | 0.05 | fraction of capital cost | 0.05
| Fuel use (small-scale incinerator) | 0.5 | $/kg wood | 0.5
| 50-liter plastic bag | 0.12 | $/bag | 0.12
| Electrical use (51L autoclave) | 1 | kWh/cycle | 1
| Water use (51L autoclave) | 3 | liter/100 liters waste | 3
| Test indicators | 0.187 | $/indicator | 0.187
| Fuel use (medium incinerator) | 0.8 | $/liter diesel | 0.8
| Electrical use (125L or 340L autoclave) | 0.01 | kWh/liter of waste | 0.01
| Water use (125L autoclave) | 3 | liter/100 liters waste | 3
| Water use (340L autoclave) | 3 | liter/100 liters waste | 3
| Water use (2300L autoclave) | 3 | liter/100 liters waste | 3
| Electrical use (medium shredder) | 0.0062 | kWh/liter of waste | 0.0062
| Cost of air pollution control | 83100 | $/yr | 83100

## Input
INPUT SHEET
Decentralized (On-Site) Treatment
| SMALL HEALTH CARE FACILITIES | User Input | Default Value
| Number of small HCFs | 452
| MEDIUM HEALTH CARE FACILITIES | User Input | Default Value
| Number of medium HCFs | 19
| Average number of beds per medium HCF | 46 | 40
| LARGE HEALTH CARE FACILITIES | User Input | Default Value
| Number of large Group A HCFs (100-499 beds) | 8
| Average number of beds per large Group A HCF | 214 | 250
| Number of very large Group B HCFs (500 beds or more) | 0
| Average number of beds per very large Group B HCF | 0 | 750
Centralized Treatment in Clusters or Central Treatment Facilities
| MEDIUM CLUSTERS | User Input | Default Value
| Number of medium clusters in the country | 1
| Average number of small HCFs in a medium cluster | 77
| Average number of medium HCFs in a medium cluster | 1
| Average total beds of medium HCFs in a medium cluster | 19 | 40
| Average number of large & very large HCFs in a medium cluster | 5
| Average total beds of large & very large HCFs in a medium cluster | 1291 | 2500
| LARGE CLUSTERS | User Input | Default Value
| Number of large clusters in the country | 0
| Average number of small HCFs in a large cluster | 0
| Average number of medium HCFs in a large cluster | 0
| Average total beds of medium HCFs in a large cluster | 0 | 0
| Average number of large & very large HCFs in a large cluster | 0
| Average total beds of large & very large HCFs in a large cluster | 0 | 0
General Data
| Item | User Input | Default value
| Number of total beds in the country | 3900 | 3896
| Population of the country | 1765000
| Annual national health-care budget ($) | 365355000
| Gross domestic product GDP ($) | 10317000

## Small_HCFs
Calculations for small health-care facilities (HCF)
Assumptions
| Item |  | Value | Unit | Default
| Infectious waste generation per small HCF |  | 1 | kg/day | 1
| Bulk density, infectious waste |  | 0.15 | kg/liter | 0.15
| Sharps waste generation per small HCF |  | 0.02 | kg/day | 0.02
| Days of operation |  | 261 | days/year | 261
| Cost of water & sewage |  | 1.09 | $/cubic meter | 0.5
| Wages for HCW worker |  | 3 | $/day | 2
| Cost of electricity |  | 0.047 | $/kWh | 0.08
| Training (1 day per year) |  | 5 | $/staff-year | 5
| Average number of staff per HCF |  | 24 | staff/HCF | 3
| Burns per week (for Options 2, 4) |  | 1 | burns/wk | 1
Basic Calculations
Option 1
Calculations: annual capital costs
| # | Item | Unit price | Quantity | Lifespan | Annual cost
| 1 | 15-liter bins | 5 | 4 | 2 | 10.4522
| 2 | Personal protection equipment | 35 | 1 | 2 | 18.2914
| 3 | 24-liter autoclave | 1000 | 1 | 5 | 218.3546
| 4 | Shelter for autoclave | 300 | 1 | 5 | 65.5064
| 5 | Sharps pit | 100 | 1 | 5 | 21.8355
|  | Total annual capital costs per small HCF |  |  |  | 334.44
|  | Total annual capital costs for all small HCFs |  |  |  | 151166.8782
Calculations: annual recurrent costs
| # | Item | Unit price | Quantity | Notes | Annual cost
| 1 | Safety boxes | 0.5 | 5.22 |  | 2.61
| 2 | 15-liter plastic bags | 0.06 | 261 |  | 15.66
| 3 | Electricity | 0.047 | 1 | runs/day | 6.4402
| 4 | Water & sewage | 1.09 | 1 | runs/day | 0.14225
| 5 | Autoclave test indicators | 0.187 | 1 | test/day | 48.807
| 6 | Staff wages | 3 | 1 | runs/day | 97.875
| 7 | Maintenance |  | 5 | % of capital cost | 16.722
| 8 | Training | 5 | 24 |  | 120
|  | Total recurrent costs per small HCF |  |  |  | 308.2564
|  | Total recurrent costs for all small HCFs |  |  |  | 139331.9018
Option 2
Calculations: annual capital costs
| # | Item | Unit price | Quantity | Lifespan | Annual cost
| 1 | 15-liter bins | 5 | 3 | 2 | 7.8392
| 2 | Personal protection equipment | 35 | 1 | 2 | 18.2914
| 3 | Small-scale incinerator (5 kg/hr) | 1500 | 1 | 3 | 530.2955
| 4 | Shelter for small-scale incinerator | 1000 | 1 | 5 | 218.3546
| 5 | Lined ash pit | 100 | 1 | 5 | 21.8355
|  | Total annual capital costs per small HCF |  |  |  | 796.6161
|  | Total annual capital costs for all small HCFs |  |  |  | 360070.4842
Calculations: annual recurrent costs
| # | Item | Unit price | Quantity | Notes | Annual cost
| 1 | Safety boxes | 0.5 | 5.22 |  | 2.61
| 2 | 15-liter plastic bags | 0.06 | 261 |  | 15.66
| 3 | Fuel usage | 0.5 | 1 | burn/wk | 26
| 4 | Staff wages | 3 | 0.5 | days/wk | 78
| 5 | Maintenance |  | 5 | % of capital cost | 39.8308
| 6 | Training | 5 | 3 |  | 15
|  | Total recurrent costs per small HCF |  |  |  | 177.1008
|  | Total recurrent costs for all small HCFs |  |  |  | 80049.5642
Option 3
Calculations: annual capital costs
| # | Item | Unit price | Quantity | Lifespan | Annual cost
| 1 | 15-liter bins | 5 | 2 | 2 | 5.2261
| 2 | Personal protection equipment | 35 | 1 | 2 | 18.2914
| 3 | Needle remover | 30 | 1 | 4 | 8.0708
| 4 | 24-liter autoclave | 1000 | 1 | 5 | 218.3546
| 5 | Autoclave shelter | 300 | 1 | 5 | 65.5064
| 6 | Small pit (for needles) | 25 | 1 | 2 | 13.0653
|  | Total annual capital costs per small HCF |  |  |  | 328.5145
|  | Total annual capital costs for all small HCFs |  |  |  | 148488.5598
Calculations: annual recurrent costs
| # | Item | Unit price | Quantity | Notes | Annual cost
| 1 | Safety boxes | 0.5 | 5.22 |  | 2.61
| 2 | 15-liter plastic bags | 0.06 | 261 |  | 15.66
| 3 | Electricity | 0.047 | 1 | runs/day | 6.4402
| 4 | Water & sewage | 1.09 | 1 | runs/day | 0.14225
| 5 | Autoclave test indicators | 0.187 | 1 | test/day | 48.807
| 6 | Staff wages | 3 | 1 | runs/day | 97.875
| 7 | Maintenance |  | 5 | % of capital cost | 16.4257
| 8 | Training | 5 | 3 |  | 15
|  | Total recurrent costs per small HCF |  |  |  | 202.9601
|  | Total recurrent costs for all small HCFs |  |  |  | 91737.9858
Potential revenues for all small HCFs:
|  | Estimate of potential revenues from | Unit price | Quantity | Notes | Annual revenues
|  | sale of plastics for re-melting | 0.4 | 2359.44 | kg | 943.776
Option 4
Calculations: annual capital costs
| # | Item | Unit price | Quantity | Lifespan | Annual cost
| 1 | 15-liter bins | 5 | 3 | 2 | 7.8392
| 2 | Personal protection equipment | 35 | 1 | 2 | 18.2914
| 3 | Needle remover | 30 | 1 | 4 | 8.0708
| 4 | Small-scale incinerator (5 kg/hr) | 1500 | 1 | 3 | 530.2955
| 5 | Shelter for small-scale incinerator | 1000 | 1 | 5 | 218.3546
| 6 | Lined ash pit | 100 | 1 | 5 | 21.8355
|  | Total annual capital costs per small HCF |  |  |  | 804.6869
|  | Total annual capital costs for all small HCFs |  |  |  | 363718.4909
Calculations: annual recurrent costs
| # | Item | Unit price | Quantity | Notes | Annual cost
| 1 | Safety boxes | 0.5 | 12.267 |  | 6.1335
| 2 | 15-liter plastic bags | 0.06 | 261 |  | 15.66
| 3 | Fuel usage | 0.5 | 1 | burn/wk | 26
| 4 | Staff wages | 3 | 0.5 | days/wk | 78
| 5 | Maintenance |  | 5 | % of capital cost | 40.2343
| 6 | Training | 5 | 3 |  | 15
|  | Total recurrent costs per small HCF |  |  |  | 181.0278
|  | Total recurrent costs for all small HCFs |  |  |  | 81824.5865

## Medium_HCFs
Calculations for medium health-care facilities (HCF)
Assumptions
| Item |  | Value | Unit | Default
| Infectious waste generation |  | 0.2 | kg/bed-day | 0.2
| Bulk density, infectious waste |  | 0.15 | kg/liter | 0.15
| Sharps waste generation |  | 0.01 | kg/bed-day | 0.01
| Days of operation |  | 365 | days/year | 365
| Cost of water & sewage |  | 1.09 | $/cubic meter | 0.5
| Wages for HCW worker |  | 3 | $/day | 2
| Wages for WMO |  | 24 | $/day | 10
| Cost of electricity |  | 0.047 | $/kWh | 0.08
| Average number of staff/bed |  | 0.2 | staff/bed | 0.2
| Training (1 day per year) |  | 24 | $/staff-year | 5
| Number of beds per needle remover |  | 10 | beds/unit | 10
Basic calculations
| Item |  |  |  | Value | Unit
| Average amount of infectious waste per day per HCF |  |  |  | 9.2 | kg/day per medium HCF
| Average volume of infectious waste per day per HCF |  |  |  | 61.3333 | liter/day per medium HCF
| Average amount of sharps waste per day per HCF |  |  |  | 0.46 | kg/day per medium HCF
Option 1
Calculations: annual capital costs
| # | Item |  | Unit price | Quantity | Lifespan | Annual cost
| 1 | 50-liter bins |  | 20 | 9 | 2 | 94.07
| 2 | Personal protection equipment |  | 35 | 2 | 2 | 36.5828
| 3 | 240-liter wheeled bin |  | 45 | 1 | 4 | 12.1062
| 4 | Storage area |  | 1000 | 1 | 10 | 117.2305
| 5 | 51-liter autoclave |  | 1770 | 1 | 5 | 386.4876
| 6 | Shelter for treatment system |  | 2000 | 1 | 10 | 234.461
| 7 | Sharps pit |  | 100 | 1 | 5 | 21.8355
|  | Total annual capital costs per medium HCF |  |  |  |  | 902.7735
|  | Total annual capital costs for all medium HCFs |  |  |  |  | 17152.6964
Calculations: annual recurrent costs
| # | Item |  | Unit price | Quantity | Notes | Annual cost
| 1 | Safety boxes |  | 0.5 | 167.9 |  | 83.95
| 2 | 50-liter plastic bags |  | 0.12 | 3285 |  | 394.2
| 3 | Electricity |  | 0.047 | 2 | runs/day | 34.31
| 4 | Water & sewage |  | 1.09 | 3 | liter/day | 1.1936
| 5 | Autoclave test indicators |  | 0.187 | 1 | test/day | 68.255
| 6 | Staff wages (HCW worker) |  | 3 | 0.5 | half-time | 547.5
| 7 | Staff wages (Waste mgt officer) |  | 24 | 0.25 | quarter-time | 2190
| 8 | Maintenance |  |  | 5 | % of capital cost | 45.1387
| 9 | Training |  | 24 | 9.2 |  | 220.8
|  | Total recurrent costs per medium HCF |  |  |  |  | 3585.3472
|  | Total recurrent costs for all medium HCFs |  |  |  |  | 68121.5973
Option 2
Calculations: annual capital costs
| # | Item |  | Unit price | Quantity | Lifespan | Annual cost
| 1 | 50-liter bins |  | 20 | 9 | 2 | 94.07
| 2 | Personal protection equipment |  | 35 | 2 | 2 | 36.5828
| 3 | 240-liter wheeled bin |  | 45 | 1 | 4 | 12.1062
| 4 | Storage area |  | 1000 | 1 | 10 | 117.2305
| 5 | Small-scale incinerator (12 kg/hr) |  | 2800 | 1 | 5 | 611.3928
| 6 | Shelter for treatment system |  | 1000 | 1 | 5 | 218.3546
| 7 | Lined ash pit |  | 250 | 1 | 5 | 54.5886
|  | Total annual capital costs per medium HCF |  |  |  |  | 1144.3254
|  | Total annual capital costs for all medim HCFs |  |  |  |  | 21742.1835
Calculations: annual recurrent costs
| # | Item |  | Unit price | Quantity | Notes | Annual cost
| 1 | Safety boxes |  | 0.5 | 167.9 |  | 83.95
| 2 | 50-liter plastic bags |  | 0.12 | 3285 |  | 394.2
| 3 | Fuel usage |  | 0.8 | 2 | burn/wk | 124.8
| 4 | Staff wages (HCW worker) |  | 3 | 0.5 | half-time | 547.5
| 5 | Staff wages (Waste mgt officer) |  | 24 | 0.25 | quarter-time | 2190
| 6 | Maintenance |  |  | 5 | % of capital cost | 57.2163
| 7 | Training |  | 24 | 9.2 |  | 220.8
|  | Total recurrent costs per medium HCF |  |  |  |  | 3618.4663
|  | Total recurrent costs for all medium HCFs |  |  |  |  | 68750.8592
Option 3
Calculations: annual capital costs
| # | Item |  | Unit price | Quantity | Lifespan | Annual cost
| 1 | 50-liter bins |  | 20 | 9 | 2 | 94.07
| 2 | Personal protection equipment |  | 35 | 2 | 2 | 36.5828
| 3 | Needle remover |  | 30 | 5 | 4 | 40.3541
| 4 | 240-liter wheeled bin |  | 45 | 1 | 4 | 12.1062
| 5 | Storage area |  | 1000 | 1 | 10 | 117.2305
| 6 | 51-liter autoclave |  | 1770 | 1 | 5 | 386.4876
| 7 | Shelter for treatment system |  | 1000 | 1 | 5 | 218.3546
| 8 | Small pit (for needles) |  | 25 | 1 | 2 | 13.0653
|  | Total annual capital costs per medium HCF |  |  |  |  | 918.2509
|  | Total annual capital costs for all medim HCFs |  |  |  |  | 17446.7675
Calculations: annual recurrent costs
| # | Item |  | Unit price | Quantity | Notes | Annual cost
| 1 | Safety boxes |  | 0.5 | 167.9 |  | 83.95
| 2 | 50-liter plastic bags |  | 0.12 | 3285 |  | 394.2
| 3 | Electricity |  | 0.047 | 2 | runs/day | 34.31
| 4 | Water & sewage |  | 1.09 | 3 | liter/day | 1.1936
| 5 | Autoclave test indicators |  | 0.187 | 1 | test/day | 68.255
| 6 | Staff wages (HCW worker) |  | 3 | 0.5 | half-time | 547.5
| 7 | Staff wages (Waste mgt officer) |  | 24 | 0.25 | quarter-time | 2190
| 8 | Maintenance |  |  | 5 | % of capital cost | 45.9125
| 9 | Training |  | 24 | 9.2 |  | 220.8
|  | Total recurrent costs per medium HCF |  |  |  |  | 3586.1211
|  | Total recurrent costs for all medium HCFs |  |  |  |  | 68136.3008
Potential revenues for all medium HCFs:
|  | Estimate of potential revenues from |  | Unit price | Quantity | Notes | Annual revenues
|  | sale of plastics for re-melting |  | 0.4 | 3190.1 | kg | 1276.04
Option 4
Calculations: annual capital costs
| # | Item |  | Unit price | Quantity | Lifespan | Annual cost
| 1 | 50-liter bins |  | 20 | 9 | 2 | 94.07
| 2 | Personal protection equipment |  | 35 | 2 | 2 | 36.5828
| 3 | Needle remover |  | 30 | 5 | 4 | 40.3541
| 4 | 240-liter wheeled bin |  | 45 | 1 | 4 | 12.1062
| 5 | Storage area |  | 1000 | 1 | 10 | 117.2305
| 6 | Small-scale incinerator (12 kg/hr) |  | 2800 | 1 | 5 | 611.3928
| 7 | Shelter for treatment system |  | 1000 | 1 | 5 | 218.3546
| 8 | Lined ash pit |  | 250 | 1 | 5 | 54.5886
|  | Total annual capital costs per medium HCF |  |  |  |  | 1130.0909
|  | Total annual capital costs for all medim HCFs |  |  |  |  | 21471.7264
Calculations: annual recurrent costs
| # | Item |  | Unit price | Quantity | Notes | Annual cost
| 1 | Safety boxes |  | 0.5 | 167.9 |  | 83.95
| 2 | 50-liter plastic bags |  | 0.12 | 3285 |  | 394.2
| 3 | Fuel usage |  | 0.8 | 2 | burn/wk | 124.8
| 4 | Staff wages (HCW worker) |  | 3 | 0.5 | half-time | 547.5
| 5 | Staff wages (Waste mgt officer) |  | 24 | 0.25 | quarter-time | 2190
| 6 | Maintenance |  |  | 5 | % of capital cost | 56.5045
| 7 | Training |  | 24 | 9.2 |  | 220.8
|  | Total recurrent costs per medium HCF |  |  |  |  | 3617.7545
|  | Total recurrent costs for all medium HCFs |  |  |  |  | 68737.3363

## Large_HCFs
Calculations for large health-care facilities (HCF)
Assumptions
| Item |  | Value | Unit | Default
| Infectious waste generation |  | 0.2 | kg/bed-day | 0.2
| Bulk density, infectious waste |  | 0.15 | kg/liter | 0.15
| Sharps waste generation |  | 0.01 | kg/bed-day | 0.01
| Days of operation |  | 365 | days/year | 365
| Cost of water & sewage |  | 1.09 | $/cubic meter | 0.5
| Wages for HCW worker |  | 3 | $/day | 2
| Number of HCW worker per bed |  | 0.01 | worker/bed | 0.01
| Wages for WMO |  | 24 | $/day | 10
| Cost of electricity |  | 0.047 | $/kWh | 0.08
| Average number of staff/bed |  | 0.2 | staff/bed | 0.2
| Training (1 day per year) |  | 24 | $/staff-year | 10
| Number of beds per needle remover |  | 10 | beds/unit | 10
| No. of reusable sharps containers/bed |  | 0.1 | containers/bed | 0.1
Basic calculations
| GROUP A (100-499 beds) | [6 empty] | GROUP B (500 beds and higher)
| Item |  |  |  | Value | Unit |  | Item |  |  | Value | Unit
| Average amount of infectious waste per day per HCF |  |  |  | 42.8 | kg/day per large HCF |  | Average amount of infectious waste per day per HCF |  |  | 0 | kg/day per very large HCF
| Average volume of infectious waste per day per HCF |  |  |  | 285.3333 | liter/day per large HCF |  | Average volume of infectious waste per day per HCF |  |  | 0 | liter/day per very large HCF
| Average amount of sharps waste per day per HCF |  |  |  | 2.14 | kg/day per large HCF |  | Average amount of sharps waste per day per HCF |  |  | 0 | kg/day per very large HCF
| GROUP A | [6 empty] | GROUP B
| Option 1 | [6 empty] | Option 1
| Calculations: annual capital costs | [6 empty] | Calculations: annual capital costs
| # | Item |  | Unit price | Quantity | Lifespan | Annual cost | # | Item | Unit price | Quantity | Lifespan | Annual cost
| 1 | 50-liter bins |  | 20 | 39 | 2 | 407.6365 | 1 | 50-liter bins | 20 | 2 | 2 | 20.9044
| 2 | Personal protection equipment |  | 35 | 2 | 2 | 36.5828 | 2 | Personal protection equipment | 35 | 0 | 2 | 0
| 3 | 240-liter wheeled bin |  | 45 | 2 | 4 | 24.2124 | 3 | 240-liter wheeled bin | 45 | 0 | 4 | 0
| 4 | Storage area |  | 2000 | 1 | 10 | 234.461 | 4 | Storage area | 2000 | 1 | 10 | 234.461
| 5 | 125-liter autoclave |  | 31200 | 1 | 10 | 3657.5918 | 5 | 340-liter autoclave | 36500 | 1 | 10 | 4278.9135
| 6 | Shelter for treatment system |  | 2000 | 1 | 10 | 234.461 | 6 | Shelter for treatment system | 2000 | 1 | 10 | 234.461
| 7 | Reusable sharps containers |  | 35 | 21 | 2 | 384.119 | 7 | Reusable sharps containers | 35 | 0 | 2 | 0
| 8 | Sharps pit |  | 100 | 1 | 5 | 21.8355 | 8 | Sharps pit | 100 | 1 | 5 | 21.8355
|  | Total annual capital costs per large Group A HCF |  |  |  |  | 5000.8999 |  | Total annual capital costs per very large Group B HCF |  |  |  | 4790.5754
|  | Total annual capital costs for all large Group A HCFs |  |  |  |  | 40007.1992 |  | Total annual capital costs for all very large Group B HCFs |  |  |  | 0
| Calculations: annual recurrent costs | [6 empty] | Calculations: annual recurrent costs
| # | Item |  | Unit price | Quantity | Notes | Annual cost | # | Item | Unit price | Quantity | Notes | Annual cost
| 1 | 50-liter plastic bags |  | 0.12 | 14235 |  | 1708.2 | 1 | 50-liter plastic bags | 0.12 | 730 |  | 87.6
| 2 | Electricity |  | 0.047 | 1041.4667 | kWh | 48.9489 | 2 | Electricity | 0.047 | 0 | kWh | 0
| 3 | Water & sewage |  | 1.09 | 9 | liter/day | 3.5807 | 3 | Water & sewage | 1.09 | 3 | liter/day | 1.1936
| 4 | Autoclave test indicators |  | 0.187 | 1 | test/day | 68.255 | 4 | Autoclave test indicators | 0.187 | 1 | test/day | 68.255
| 5 | Staff wages (HCW worker) |  | 3 | 2.14 |  | 2343.3 | 5 | Staff wages (HCW worker) | 3 | 0 |  | 0
| 6 | Staff wages (Waste mgt officer) |  | 24 | 1 | full-time | 8760 | 6 | Staff wages (Waste mgt officer) | 24 | 1 | full-time | 8760
| 7 | Maintenance |  |  | 5 | % of capital cost | 250.045 | 7 | Maintenance |  | 5 | % of capital cost | 239.5288
| 8 | Training |  | 24 | 42.8 |  | 1027.2 | 8 | Training | 24 | 0 |  | 0
|  | Total recurrent costs per large Group A HCF |  |  |  |  | 14209.5296 |  | Total recurrent costs per very large Group B HCF |  |  |  | 9156.5773
|  | Total recurrent costs for all large Group A HCFs |  |  |  |  | 113676.2366 |  | Total recurrent costs for all very large Group B HCFs |  |  |  | 0
| Option 2 | [6 empty] | Option 2
| Calculations: annual capital costs | [6 empty] | Calculations: annual capital costs
| # | Item |  | Unit price | Quantity | Lifespan | Annual cost | # | Item | Unit price | Quantity | Lifespan | Annual cost
| 1 | 50-liter bins |  | 20 | 39 | 2 | 407.6365 | 1 | 50-liter bins | 20 | 2 | 2 | 20.9044
| 2 | Personal protection equipment |  | 35 | 2 | 2 | 36.5828 | 2 | Personal protection equipment | 35 | 0 | 2 | 0
| 3 | 240-liter wheeled bin |  | 45 | 2 | 4 | 24.2124 | 3 | 240-liter wheeled bin | 45 | 0 | 4 | 0
| 4 | Storage area |  | 2000 | 1 | 10 | 234.461 | 4 | Storage area | 2000 | 1 | 10 | 234.461
| 5 | Incinerator (50 kg/hr) |  | 37500 | 1 | 10 | 4396.144 | 5 | Incinerator (50 kg/hr) | 37500 | 1 | 10 | 4396.144
| 6 | Shelter for treatment system |  | 2000 | 1 | 10 | 234.461 | 6 | Shelter for treatment system | 2000 | 1 | 10 | 234.461
| 7 | Lined ash pit |  | 250 | 1 | 3 | 88.3826 | 7 | Lined ash pit | 250 | 1 | 3 | 88.3826
|  | Total annual capital costs per large Group A HCF |  |  |  |  | 5421.8803 |  | Total annual capital costs per very large Group B HCF |  |  |  | 4974.353
|  | Total annual capital costs for all large Group A HCFs |  |  |  |  | 43375.0421 |  | Total annual capital costs for all very large Group B HCFs |  |  |  | 0
| Calculations: annual recurrent costs | [6 empty] | Calculations: annual recurrent costs
| # | Item |  | Unit price | Quantity | Notes | Annual cost | # | Item | Unit price | Quantity | Notes | Annual cost
| 1 | Safety boxes |  | 0.5 | 781.1 |  | 390.55 | 1 | Safety boxes | 0.5 | 0 |  | 0
| 2 | 50-liter plastic bags |  | 0.12 | 14235 |  | 1708.2 | 2 | 50-liter plastic bags | 0.12 | 730 |  | 87.6
| 3 | Fuel usage |  | 0.8 | 2 | 4-hr burn/wk | 124.8 | 3 | Fuel usage | 0.8 | 1 | 4-hr burn/wk | 62.4
| 4 | Staff wages (HCW worker) |  | 3 | 2.14 |  | 2343.3 | 4 | Staff wages (HCW worker) | 3 | 0 |  | 0
| 5 | Staff wages (Waste mgt officer) |  | 24 | 1 | full-time | 8760 | 5 | Staff wages (Waste mgt officer) | 24 | 1 | full-time | 8760
| 6 | Maintenance |  |  | 5 | % of capital cost | 271.094 | 6 | Maintenance |  | 5 | % of capital cost | 248.7177
| 7 | Training |  | 24 | 42.8 |  | 1027.2 | 7 | Training | 24 | 0 |  | 0
|  | Total recurrent costs per large Group A HCF |  |  |  |  | 14625.144 |  | Total recurrent costs per very large Group B HCF |  |  |  | 9158.7177
|  | Total recurrent costs for all large Group A HCFs |  |  |  |  | 117001.1521 |  | Total recurrent costs for all very large Group B HCFs |  |  |  | 0
| Option 3 | [6 empty] | Option 3
| Calculations: annual capital costs | [6 empty] | Calculations: annual capital costs
| # | Item |  | Unit price | Quantity | Lifespan | Annual cost | # | Item | Unit price | Quantity | Lifespan | Annual cost
| 1 | 50-liter bins |  | 20 | 39 | 2 | 407.6365 | 1 | 50-liter bins | 20 | 2 | 2 | 20.9044
| 2 | Personal protection equipment |  | 35 | 2 | 2 | 36.5828 | 2 | Personal protection equipment | 35 | 0 | 2 | 0
| 3 | Needle remover |  | 30 | 21 | 4 | 169.487 | 3 | Needle remover | 30 | 0 | 4 | 0
| 4 | 240-liter wheeled bin |  | 45 | 2 | 4 | 24.2124 | 4 | 240-liter wheeled bin | 45 | 0 | 4 | 0
| 5 | Storage area |  | 2000 | 1 | 10 | 234.461 | 5 | Storage area | 2000 | 1 | 10 | 234.461
| 6 | 125-liter autoclave |  | 31200 | 1 | 10 | 3657.5918 | 6 | 340-liter autoclave | 36500 | 1 | 10 | 4278.9135
| 7 | Shelter for treatment system |  | 2000 | 1 | 10 | 234.461 | 7 | Shelter for treatment system | 2000 | 1 | 10 | 234.461
| 8 | Reusable sharps containers |  | 35 | 21 | 2 | 384.119 | 8 | Reusable sharps containers | 35 | 0 | 2 | 0
| 9 | Small pit (for needles) |  | 25 | 1 | 2 | 13.0653 | 9 | Small pit (for needles) | 25 | 1 | 2 | 13.0653
|  | Total annual capital costs per large Group A HCF |  |  |  |  | 5161.6168 |  | Total annual capital costs per very large Group B HCF |  |  |  | 4781.8052
|  | Total annual capital costs for all large Group A HCFs |  |  |  |  | 41292.934 |  | Total annual capital costs for all very large Group B HCFs |  |  |  | 0
| Calculations: annual recurrent costs | [6 empty] | Calculations: annual recurrent costs
| # | Item |  | Unit price | Quantity | Notes | Annual cost | # | Item | Unit price | Quantity | Notes | Annual cost
| 1 | 50-liter plastic bags |  | 0.12 | 14235 |  | 1708.2 | 1 | 50-liter plastic bags | 0.12 | 730 |  | 87.6
| 2 | Electricity |  | 0.047 | 1041.4667 | kWh | 48.9489 | 2 | Electricity | 0.047 | 0 | kWh | 0
| 3 | Water & sewage |  | 1.09 | 9 | liter/day | 3.5807 | 3 | Water & sewage | 1.09 | 3 | liter/day | 1.1936
| 4 | Autoclave test indicators |  | 0.187 | 1 | test/day | 68.255 | 4 | Autoclave test indicators | 0.187 | 1 | test/day | 68.255
| 5 | Staff wages (HCW worker) |  | 3 | 2.14 |  | 2343.3 | 5 | Staff wages (HCW worker) | 3 | 0 |  | 0
| 6 | Staff wages (Waste mgt officer) |  | 24 | 1 | full-time | 8760 | 6 | Staff wages (Waste mgt officer) | 24 | 1 | full-time | 8760
| 7 | Maintenance |  |  | 5 | % of capital cost | 258.0808 | 7 | Maintenance |  | 5 | % of capital cost | 239.0903
| 8 | Training |  | 24 | 42.8 |  | 1027.2 | 8 | Training | 24 | 0 |  | 0
|  | Total recurrent costs per large Group A HCF |  |  |  |  | 14217.5654 |  | Total recurrent costs per very large Group B HCF |  |  |  | 9156.1388
|  | Total recurrent costs for all large Group A HCFs |  |  |  |  | 113740.5234 |  | Total recurrent costs for all very large Group B HCFs |  |  |  | 0
|  | Potential revenues for all large HCFs: | [6 empty] | Potential revenues for all large HCFs:
|  | Estimate of potential revenues from |  | Unit price | Quantity | Notes | Annual revenues |  | Estimate of potential revenues from | Unit price | Quantity | Notes | Annual revenues
|  | sale of plastics for re-melting |  | 0.4 | 6248.8 | kg | 2499.52 |  | sale of plastics for re-melting | 0.4 | 0 | kg | 0
| Option 4 | [6 empty] | Option 4
| Calculations: annual capital costs | [6 empty] | Calculations: annual capital costs
| # | Item |  | Unit price | Quantity | Lifespan | Annual cost | # | Item | Unit price | Quantity | Lifespan | Annual cost
| 1 | 50-liter bins |  | 20 | 39 | 2 | 407.6365 | 1 | 50-liter bins | 20 | 2 | 2 | 20.9044
| 2 | Personal protection equipment |  | 35 | 2 | 2 | 36.5828 | 2 | Personal protection equipment | 35 | 0 | 2 | 0
| 3 | Needle remover |  | 30 | 21 | 4 | 169.487 | 3 | Needle remover | 30 | 0 | 4 | 0
| 4 | 240-liter wheeled bin |  | 45 | 2 | 4 | 24.2124 | 4 | 240-liter wheeled bin | 45 | 0 | 4 | 0
| 5 | Storage area |  | 2000 | 1 | 10 | 234.461 | 5 | Storage area | 2000 | 1 | 10 | 234.461
| 6 | Incinerator (50 kg/hr) |  | 37500 | 1 | 10 | 4396.144 | 6 | Incinerator (50 kg/hr) | 37500 | 1 | 10 | 4396.144
| 7 | Shelter for treatment system |  | 2000 | 1 | 10 | 234.461 | 7 | Shelter for treatment system | 2000 | 1 | 10 | 234.461
| 8 | Lined ash pit |  | 250 | 1 | 3 | 88.3826 | 8 | Lined ash pit | 250 | 1 | 3 | 88.3826
|  | Total annual capital costs per large Group A HCF |  |  |  |  | 5502.9847 |  | Total annual capital costs per very large Group B HCF |  |  |  | 4885.9705
|  | Total annual capital costs for all large Group A HCFs |  |  |  |  | 44023.8777 |  | Total annual capital costs for all very large Group B HCFs |  |  |  | 0
| Calculations: annual recurrent costs | [6 empty] | Calculations: annual recurrent costs
| # | Item |  | Unit price | Quantity | Notes | Annual cost | # | Item | Unit price | Quantity | Notes | Annual cost
| 1 | Safety boxes |  | 0.5 | 781.1 |  | 390.55 | 1 | Safety boxes | 0.5 | 0 |  | 0
| 2 | 50-liter plastic bags |  | 0.12 | 14235 |  | 1708.2 | 2 | 50-liter plastic bags | 0.12 | 730 |  | 87.6
| 3 | Fuel usage |  | 0.8 | 2 | 4-hr burn/wk | 124.8 | 3 | Fuel usage | 0.8 | 1 | 4-hr burn/wk | 62.4
| 4 | Staff wages (HCW worker) |  | 3 | 2.14 |  | 2343.3 | 4 | Staff wages (HCW worker) | 3 | 0 |  | 0
| 5 | Staff wages (Waste mgt officer) |  | 24 | 1 | full-time | 8760 | 5 | Staff wages (Waste mgt officer) | 24 | 1 | full-time | 8760
| 6 | Maintenance |  |  | 5 | % of capital cost | 275.1492 | 6 | Maintenance |  | 5 | % of capital cost | 244.2985
| 7 | Training |  | 24 | 42.8 |  | 1027.2 | 7 | Training | 24 | 0 |  | 0
|  | Total recurrent costs per large Group A HCF |  |  |  |  | 14629.1992 |  | Total recurrent costs per very large Group B HCF |  |  |  | 9154.2985
|  | Total recurrent costs for all large Group A HCFs |  |  |  |  | 117033.5939 |  | Total recurrent costs for all very large Group B HCFs |  |  |  | 0

## Clusters
Calculations for treatment clusters or central treatment facilities
Assumptions
| Item |  | Value | Unit | Default
| Infectious waste generation |  | 0.2 | kg/bed-day | 0.2
| Infectious waste generation in small HCFs |  | 1 | kg/day | 1
| Bulk density, infectious waste |  | 0.15 | kg/liter | 0.15
| Sharps waste generation |  | 0.01 | kg/bed-day | 0.01
| Sharps waste generation in small HCFs |  | 0.02 | kg/day | 0.02
| Days of operation for small HCF |  | 261 | days/year | 261
| Days of operation for treatment cluster or facility |  | 261 | days/year | 261
| Days of operation for medium & large HCF |  | 365 | days/year | 365
| Average 15L bins per small HCF |  | 4 | bins/facility | 4
| Average 15L plastic bags per small HCF |  | 1 | bag/day | 1
| Cost of water & sewage |  | 1.09 | $/cubic meter | 0.5
| Wages for HCW worker and cleaner |  | 3 | $/day | 2
| Number of 8 hour shifts in treatment facility |  | 1 | shift/day | 1 to 3
| Average staff per small HCF |  | 3 | staff/facility | 3
| Number of HCW worker per bed |  | 0.01 | worker/bed | 0.01
| Wages for WMO and facility manager |  | 10 | $/day | 10
| Cost of electricity |  | 0.047 | $/kWh | 0.08
| Average staff per bed for medium & large HCFs |  | 0.2 | staff/bed | 0.2
| Training for small HCF or treatment operator |  | 24 | $/staff-year | 5
| Training for small & medium HCF |  | 24 | $/staff-year | 10
| Number of reusable sharps containers per small HCF |  | 2 | containers/facility | 2
| No. of reusable sharps containers/bed for medium & large HCF |  | 0.1 | containers/bed | 0.1
| Facility construction cost for medium clusters |  | 7000 | $ | 3500
| Facility construction cost for large clusters |  | 15000 | $ | 15000
| Number of workers per shift in treatment facility (excluding cleaner) |  | 2 | workers/shift | 2
| Average transportation cost per day per vehicle (fuel, oil, driver, etc.) |  | 23 | $/day per vehicle | 23
| Landfill fees (tipping, hauling, etc.) |  | 40 | $/tonne | 40
Basic calculations
| MEDIUM CLUSTER |  |  | Value | Unit | Default | LARGE CLUSTER |  |  | Value | Unit | Default
| Average total kilograms infectious waste per day in the cluster |  |  | 339 | kg/day | 339 | Average total kilograms infectious waste per day in the cluster |  |  | 0 | kg/day | 0
| Average total kilograms infectious waste per year in the cluster |  |  | 115727 | kg/yr | 115727 | Average total kilograms infectious waste per year in the cluster |  |  | 0 | kg/yr | 0
| Average total volume infectious waste per day in the cluster |  |  | 2260 | liters/day |  | Average total volume infectious waste per day in the cluster |  |  | 0 | liters/day
| Average total sharps waste per day in the cluster |  |  | 14.64 | kg/day | 14.64 | Average total sharps waste per day in the cluster |  |  | 0 | kg/day | 0
| Average total sharps waste per year in the cluster |  |  | 5183.44 | kg/yr | 5183.44 | Average total sharps waste per year in the cluster |  |  | 0 | kg/day | 0
| Number of full-time equivalent HCW workers in the cluster |  |  | 23 | full-time | 23 | Number of full-time equivalent HCW workers in the cluster |  |  | 0 | full-time | 0
| MEDIUM CLUSTER | [5 empty] | LARGE CLUSTER
| Option 1: Large autoclave and shredder | [5 empty] | Option 1: Very large autoclave and shredder
| Calculations: facility-level annual capital costs for the cluster | [5 empty] | Calculations: facility-level annual capital costs for the cluster
| # | Item | Unit price | Quantity | Lifespan | Annual cost | # | Item | Unit price | Quantity | Lifespan | Annual cost
| 1 | 15-liter bins | 5 | 308 | 2 | 804.8207 | 1 | 15-liter bins | 5 | 0 | 2 | 0
| 2 | 50-liter bins | 20 | 233 | 2 | 2435.3665 | 2 | 50-liter bins | 20 | 2 | 2 | 20.9044
| 3 | Personal protection equipment | 35 | 91 | 2 | 1664.5155 | 3 | Personal protection equipment | 35 | 0 | 2 | 0
| 4 | 240-liter wheeled bin | 45 | 14 | 4 | 169.487 | 4 | 240-liter wheeled bin | 45 | 0 | 4 | 0
| 5 | Storage area for medium HCFs | 1000 | 1 | 10 | 117.2305 | 5 | Storage area for medium HCFs | 1000 | 0 | 10 | 0
| 6 | Storage area for large HCFs | 2000 | 5 | 10 | 1172.3051 | 6 | Storage area for large HCFs | 2000 | 0 | 10 | 0
| 7 | Reusable sharps containers | 35 | 283 | 2 | 5176.4603 | 7 | Reusable sharps containers | 35 | 0 | 2 | 0
|  | Total facility-level annual capital costs for a medium cluster |  |  |  | 11540.1857 |  | Total facility-level annual capital costs for a large cluster |  |  |  | 20.9044
|  | Total annual facility-level capital costs for all medium clusters |  |  |  | 11540.1857 |  | Total annual facility-level capital costs for all large clusters |  |  |  | 0
| Calculations: annual facility-level recurrent costs | [5 empty] | Calculations: annual facility-level recurrent costs
| # | Item | Unit price | Quantity | Notes | Annual cost | # | Item | Unit price | Quantity | Notes | Annual cost
| 1 | 15-liter plastic bags | 0.06 | 20097 |  | 1205.82 | 1 | 15-liter plastic bags | 0.06 | 0 |  | 0
| 2 | 50-liter plastic bags | 0.12 | 85045 |  | 10205.4 | 2 | 50-liter plastic bags | 0.12 | 730 |  | 87.6
| 3 | Staff wages (HCW worker) | 3 | 23 |  | 18009 | 3 | Staff wages (HCW worker) | 3 | 0 |  | 0
| 4 | Staff wages (Waste mgt officer) | 10 | 5.25 | full-time | 13702.5 | 4 | Staff wages (Waste mgt officer) | 10 | 0 | full-time | 0
| 5 | Maintenance |  | 5 | % of capital cost | 577.0093 | 5 | Maintenance |  | 5 | % of capital cost | 1.0452
| 6 | Training for small HCFs | 24 | 231 |  | 5544 | 6 | Training for small HCFs | 24 | 0 |  | 0
| 7 | Training for medium & large HCFs | 24 | 262 |  | 6288 | 7 | Training for medium & large HCFs | 24 | 0 |  | 0
|  | Total facility-level recurrent costs for a medium cluster |  |  |  | 55531.7293 |  | Total facility-level recurrent costs for a large cluster |  |  |  | 88.6452
|  | Total facility-level recurrent costs for all medium clusters |  |  |  | 55531.7293 |  | Total facility-level recurrent costs for all large clusters |  |  |  | 0
| Calculations: cluster-level annual capital costs for the cluster | [5 empty] | Calculations: cluster-level annual capital costs for the cluster
| # | Item | Unit price | Quantity | Lifespan | Annual cost | # | Item | Unit price | Quantity | Lifespan | Annual cost
| 1 | 340-liter autoclave | 36500 | 1 | 10 | 4278.9135 | 1 | 2300-liter autoclave | 125000 | 1 | 10 | 14653.8133
| 2 | Medium HCW shredder | 25000 | 1 | 5 | 5458.8643 | 2 | Large HCW shredder | 56000 | 1 | 5 | 12227.856
| 3 | Installation cost |  | 0.05 | of cap. cost | 1825 | 3 | Installation cost |  | 0.05 | of capital cost | 6250
| 4 | Facility construction | 7000 | 1 | 10 | 820.6135 | 4 | Facility construction | 15000 | 1 | 10 | 1758.4576
| 5 | Transport vehicle | 40000 | 1 | 5 | 8734.1829 | 5 | Transport vehicle | 40000 | 1 | 5 | 8734.1829
|  | Total cluster-level annual capital costs for a medium cluster |  |  |  | 21117.5742 |  | Total cluster-level annual capital costs for a large cluster |  |  |  | 43624.3098
|  | Total annual cluster-level capital costs for all medium clusters |  |  |  | 21117.5742 |  | Total annual cluster-level capital costs for all large clusters |  |  |  | 0
| Calculations: annual cluster-level recurrent costs | [5 empty] | Calculations: annual cluster-level recurrent costs
| # | Item | Unit price | Quantity | Notes | Annual cost | # | Item | Unit price | Quantity | Notes | Annual cost
| 1 | Staff wages (HCW worker) | 3 | 3 |  | 2349 | 1 | Staff wages (HCW worker) | 3 | 6 |  | 4698
| 2 | Staff wages (manager) | 10 | 1 | full-time | 2610 | 2 | Staff wages (manager) | 10 | 1 | full-time | 2610
| 3 | Transportation (fuel, oil, etc.) | 23 | 1 |  | 6003 | 3 | Transportation (fuel, oil, etc.) | 23 | 1 |  | 6003
| 4 | Maintenance |  | 5 | % of capital cost | 1055.8787 | 4 | Maintenance |  | 5 | % of capital cost | 2181.2155
| 5 | Landfill fees | 40 | 115.727 | tonnes/yr | 4629.08 | 5 | Landfill fees | 40 | 0 | tonnes/yr | 0
| 6 | Electricity | 0.047 | 9555.732 | kWh | 449.1194 | 6 | Electricity | 0.047 | 0 | kWh | 0
| 7 | Water & sewage | 1.09 | 3474 | liter/day | 988.3183 | 7 | Water & sewage | 1.09 | 3 | liter/day | 0.85347
| 8 | Autoclave test indicators | 0.187 | 1 | test/day | 48.807 | 8 | Autoclave test indicators | 0.187 | 1 | test/day | 48.807
| 9 | Training for cluster personnel | 24 | 192 |  | 4608 | 9 | Training for cluster personnel | 24 | 336 |  | 8064
|  | Total cluster-level recurrent costs for a medium cluster |  |  |  | 22741.2034 |  | Total cluster-level recurrent costs for a large cluster |  |  |  | 23605.876
|  | Total cluster-level recurrent costs for all medium clusters |  |  |  | 22741.2034 |  | Total cluster-level recurrent costs for all large clusters |  |  |  | 0
| MEDIUM CLUSTER | [5 empty] | LARGE CLUSTER
| Option 2: Large incinerator and ash pit | [5 empty] | Option 2: Very large incinerator and ash pit
| Calculations: facility-level annual capital costs for the cluster | [5 empty] | Calculations: facility-level annual capital costs for the cluster
| # | Item | Unit price | Quantity | Lifespan | Annual cost | # | Item | Unit price | Quantity | Lifespan | Annual cost
| 1 | 15-liter bins | 5 | 308 | 2 | 804.8207 | 1 | 15-liter bins | 5 | 0 | 2 | 0
| 2 | 50-liter bins | 20 | 233 | 2 | 2435.3665 | 2 | 50-liter bins | 20 | 2 | 2 | 20.9044
| 3 | Personal protection equipment | 35 | 91 | 2 | 1664.5155 | 3 | Personal protection equipment | 35 | 0 | 2 | 0
| 4 | 240-liter wheeled bin | 45 | 14 | 4 | 169.487 | 4 | 240-liter wheeled bin | 45 | 0 | 4 | 0
| 5 | Storage area for medium HCFs | 1000 | 1 | 10 | 117.2305 | 5 | Storage area for medium HCFs | 1000 | 0 | 10 | 0
| 6 | Storage area for large HCFs | 2000 | 5 | 10 | 1172.3051 | 6 | Storage area for large HCFs | 2000 | 0 | 10 | 0
|  | Total facility-level annual capital costs for a medium cluster |  |  |  | 6363.7253 |  | Total facility-level annual capital costs for a large cluster |  |  |  | 20.9044
|  | Total annual facility-level capital costs for all medium clusters |  |  |  | 6363.7253 |  | Total annual facility-level capital costs for all large clusters |  |  |  | 0
| Calculations: annual facility-level recurrent costs | [5 empty] | Calculations: annual facility-level recurrent costs
| # | Item | Unit price | Quantity | Notes | Annual cost | # | Item | Unit price | Quantity | Notes | Annual cost
| 1 | Safety boxes | 0.5 | 5183.44 | boxes/yr | 2591.72 | 1 | Safety boxes | 0.5 | 0 | boxes/yr | 0
| 2 | 15-liter plastic bags | 0.06 | 20097 |  | 1205.82 | 2 | 15-liter plastic bags | 0.06 | 0 |  | 0
| 3 | 50-liter plastic bags | 0.12 | 85045 |  | 10205.4 | 3 | 50-liter plastic bags | 0.12 | 730 |  | 87.6
| 4 | Staff wages (HCW worker) | 3 | 23 |  | 18009 | 4 | Staff wages (HCW worker) | 3 | 0 |  | 0
| 5 | Staff wages (Waste mgt officer) | 10 | 5.25 | full-time | 13702.5 | 5 | Staff wages (Waste mgt officer) | 10 | 0 | full-time | 0
| 6 | Maintenance |  | 5 | % of cap. cost | 318.1863 | 6 | Maintenance |  | 5 | % of capital cost | 1.0452
| 7 | Training for small HCFs | 24 | 231 |  | 5544 | 7 | Training for small HCFs | 24 | 0 |  | 0
| 8 | Training for medium & large HCFs | 24 | 262 |  | 6288 | 8 | Training for medium & large HCFs | 24 | 0 |  | 0
|  | Total facility-level recurrent costs for a medium cluster |  |  |  | 57864.6263 |  | Total facility-level recurrent costs for a large cluster |  |  |  | 88.6452
|  | Total facility-level recurrent costs for all medium clusters |  |  |  | 57864.6263 |  | Total facility-level recurrent costs for all large clusters |  |  |  | 0
| Calculations: cluster-level annual capital costs for the cluster | [5 empty] | Calculations: cluster-level annual capital costs for the cluster
| # | Item | Unit price | Quantity | Lifespan | Annual cost | # | Item | Unit price | Quantity | Lifespan | Annual cost
| 1 | Incinerator (50 kg/hr) | 37500 | 1 | 10 | 4396.144 | 1 | Incinerator (350 kg/hr) | 200000 | 1 | 10 | 23446.1013
| 2 | Air pollution control (minimal) | 37500 | 1 | 10 | 4396.144 | 2 | Air pollution control (international std) | 286000 | 1 | 10 | 33527.9249
| 3 | Installation cost |  | 0.15 | of cap cost | 5625 | 3 | Installation cost |  | 0.15 | of capital cost | 30000
| 4 | Transport vehicle | 40000 | 1 | 5 | 8734.1829 | 4 | Transport vehicle | 40000 | 1 | 5 | 8734.1829
| 5 | Facility construction & installation | 7000 | 1 | 10 | 820.6135 | 5 | Facility construction | 15000 | 1 | 10 | 1758.4576
| 6 | Ash pit | 500 | 1 | 2 | 261.3054 | 6 | Ash pit | 500 | 1 | 1 | 515
|  | Total cluster-level annual capital costs for a medium cluster |  |  |  | 24233.3898 |  | Total cluster-level annual capital costs for a large cluster |  |  |  | 97981.6667
|  | Total annual cluster-level capital costs for all medium clusters |  |  |  | 24233.3898 |  | Total annual cluster-level capital costs for all large clusters |  |  |  | 0
| Calculations: annual cluster-level recurrent costs | [5 empty] | Calculations: annual cluster-level recurrent costs
| # | Item | Unit price | Quantity | Notes | Annual cost | # | Item | Unit price | Quantity | Notes | Annual cost
| 1 | Staff wages (HCW worker) | 3 | 3 |  | 2349 | 1 | Staff wages (HCW worker) | 3 | 6 |  | 4698
| 2 | Staff wages (manager) | 10 | 1 | full-time | 2610 | 2 | Staff wages (manager) | 10 | 1 | full-time | 2610
| 3 | Transportation (fuel, oil, etc.) | 23 | 1 |  | 6003 | 3 | Transportation (fuel, oil, etc.) | 23 | 1 |  | 6003
| 4 | Maintenance |  | 5 | % of cap. cost | 1211.6695 | 4 | Maintenance |  | 5 | % of capital cost | 4899.0833
| 5 | Fuel usage | 0.8 | 884.79 |  | 707.832 | 5 | Fuel usage | 0.8 | 0 |  | 0
| 6 | Cost of air pollution control |  | 5 | % of cap. cost | 1875 | 6 | Cost of air pollution control | 83100 | 1 |  | 83100
| 6 | Training for cluster personnel | 24 | 192 |  | 4608 | 7 | Training for cluster personnel | 24 | 336 |  | 8064
|  | Total cluster-level recurrent costs for a medium cluster |  |  |  | 19364.5015 |  | Total cluster-level recurrent costs for a large cluster |  |  |  | 109374.0833
|  | Total cluster-level recurrent costs for all medium clusters |  |  |  | 19364.5015 |  | Total cluster-level recurrent costs for all large clusters |  |  |  | 0

## National
Calculations for national level costs
Assumptions
| Item |  | Value | Unit | life span (yr)
| Cost of office & equipment |  | 10000 | $ | 10
| Set of informational materials |  | 10 | $/set | 5
| Item |  | Value | Unit | Default
| Wages for full-time staff |  | 4130 | $/yr | 6000
| Minimum national full-time staff |  | 3 | staff | 3
| Additional national full-time staff |  | 0 | added staff/total beds | 0
| Annual "training of trainers" |  | 100 | $/trainer | 100
| Number of national trainers |  | 0.002 | trainers/total beds | 0.002
| Transportation for monitoring |  | 40 | $/month | 40
| National meetings, per diem |  | 500 | $/year | 500
Basic calculations
| Item |  |  |  | Value
| Sets of informational materials for small HCFs |  |  |  | 452
| Sets of informational materials for medium HCFs |  |  |  | 95
| Sets of informational materials for large Group A HCFs |  |  |  | 160
| Sets of informational materials for large Group B HCFs |  |  |  | 0
Calculations: annual capital costs
| # | Item |  | Unit price | Quantity | Lifespan | Annual cost
| 1 | Office and equipment |  | 10000 | 1 | 10 | 1172.3051
| 2 | Informational materials |  | 10 | 707 | 5 | 1543.7668
|  | Total annual capital costs at national level |  |  |  |  | 2716.0719
Calculations: annual recurrent costs
| # | Item |  | Unit price | Quantity | Notes | Annual cost
| 1 | Wages of national staff |  | 4130 | 3 |  | 12390
| 2 | Transportation for monitoring |  | 40 |  | $/month | 480
| 3 | National meetings, per diem, etc. |  | 500 |  | $/yr | 500
| 4 | Training of trainers |  | 100 | 7 | trainers | 700
| 5 | Maintenance |  |  | 5 | % of cap. cost | 135.8036
|  | Total recurrent costs at national level |  |  |  |  | 14205.8036

## Results
Results of Calculations
| General |  | kg/year | tonnes/year | syringes/yr
| Total infectious waste generation: kg per year |  | 422477 | 422.477
| Total health-care waste generation: kg per year |  | 2816513.3333 | 2816.5133
| Total sharps waste generation: kg per year |  | 16981.78 | 16.9818
| Total sharps waste generation: syringes per year |  |  |  | 1698178
| Option 1: Autoclaves and sharps pits |  |  | $/year | $/year | $/yr (sharps only)
| Total annual capital costs for all small HCFs |  |  | 151166.8782
| Total recurrent costs for all small HCFs |  |  | 139331.9018
|  | Total annual costs for all small HCFs |  |  | 290498.78 | 5809.9756
| Total annual capital costs for all medium HCFs |  |  | 17152.6964
| Total recurrent costs for all medium HCFs |  |  | 68121.5973
|  | Total annual costs for all medium HCFs |  |  | 85274.2937 | 4263.7147
| Total annual capital costs for all large Group A HCFs |  |  | 40007.1992
| Total recurrent costs for all large Group A HCFs |  |  | 113676.2366
|  | Total annual costs for all large Group A HCFs |  |  | 153683.4358 | 7684.1718
| Total annual capital costs for all very large Group B HCFs |  |  | 0
| Total recurrent costs for all very large Group B HCFs |  |  | 0
|  | Total annual costs for all very large Group B HCFs |  |  | 0 | 0
| Total annual facility-level capital costs for all medium clusters |  |  | 11540.1857
| Total facility-level recurrent costs for all medium clusters |  |  | 55531.7293
| Total annual cluster-level capital costs for all medium clusters |  |  | 21117.5742
| Total cluster-level recurrent costs for all medium clusters |  |  | 22741.2034
|  | Total annual costs for all medium clusters |  |  | 110930.6925 | 4968.6122
| Total annual facility-level capital costs for all large clusters |  |  | 0
| Total facility-level recurrent costs for all large clusters |  |  | 0
| Total annual cluster-level capital costs for all large clusters |  |  | 0
| Total cluster-level recurrent costs for all large clusters |  |  | 0
|  | Total annual costs for all large clusters |  |  | 0 | 0
| Total annual capital costs at national level |  |  | 2716.0719
| Total recurrent costs at national level |  |  | 14205.8036
|  | Total annual costs at national level |  |  | 16921.8755 | 846.0938
| GRAND TOTAL ANNUAL COSTS (OPTION 1) |  |  |  | 657309.0774 | 23572.5681
Indicative values for option 1
| GRAND TOTAL ANNUAL COSTS PER BED |  |  |  | 168.5408 | /bed-yr
| GRAND TOTAL ANNUAL COSTS PER [BED+SMALL HCF] |  |  |  | 151.0361 | /(bed+small HCF)-yr
| GRAND TOTAL ANNUAL COSTS PER CAPITA |  |  |  | 0.37241 | /population-yr
| PERCENT OF ANNUAL NATIONAL HEALTH-CARE BUDGET: % |  |  |  | 0.17991 | %
| PERCENT OF GROSS DOMESTIC PRODUCT: % |  |  |  | 6.3711 | %
| GRAND TOTAL COSTS PER KG INF WASTE |  |  |  | 1.5558 | /kg
| GRAND TOTAL COSTS PER KG TOTAL WASTE |  |  |  | 0.23338 | /kg
| TOTAL COSTS (SHARPS ONLY) PER KG SHARPS |  |  |  | 1.3881 | /kg
| TOTAL COSTS (SHARPS ONLY) PER SYRINGE |  |  |  | 0.013881 | /syringe
| Option 2: Incinerators and ash pits |  |  | $/year | $/year | $/yr (sharps only)
| Total annual capital costs for all small HCFs |  |  | 360070.4842
| Total recurrent costs for all small HCFs |  |  | 80049.5642
|  | Total annual costs for all small HCFs |  |  | 440120.0484 | 8802.401
| Total annual capital costs for all medium HCFs |  |  | 21742.1835
| Total recurrent costs for all medium HCFs |  |  | 68750.8592
|  | Total annual costs for all medium HCFs |  |  | 90493.0427 | 4524.6521
| Total annual capital costs for all large Group A HCFs |  |  | 43375.0421
| Total recurrent costs for all large Group A HCFs |  |  | 117001.1521
|  | Total annual costs for all large Group A HCFs |  |  | 160376.1942 | 8018.8097
| Total annual capital costs for all very large Group B HCFs |  |  | 0
| Total recurrent costs for all very large Group B HCFs |  |  | 0
|  | Total annual costs for all very large Group B HCFs |  |  | 0 | 0
| Total annual facility-level capital costs for all medium clusters |  |  | 6363.7253
| Total facility-level recurrent costs for all medium clusters |  |  | 57864.6263
| Total annual cluster-level capital costs for all medium clusters |  |  | 24233.3898
| Total cluster-level recurrent costs for all medium clusters |  |  | 19364.5015
|  | Total annual costs for all medium clusters |  |  | 107826.2429 | 4829.5632
| Total annual facility-level capital costs for all large clusters |  |  | 0
| Total facility-level recurrent costs for all large clusters |  |  | 0
| Total annual cluster-level capital costs for all large clusters |  |  | 0
| Total cluster-level recurrent costs for all large clusters |  |  | 0
|  | Total annual costs for all large clusters |  |  | 0 | 0
| Total annual capital costs at national level |  |  | 2716.0719
| Total recurrent costs at national level |  |  | 14205.8036
|  | Total annual costs at national level |  |  | 16921.8755 | 846.0938
| GRAND TOTAL ANNUAL COSTS (OPTION 2) |  |  |  | 815737.4036 | 27021.5198
Indicative values for option 2
| GRAND TOTAL ANNUAL COSTS PER BED |  |  |  | 209.1634 | /bed-yr
| GRAND TOTAL ANNUAL COSTS PER [BED+SMALL HCF] |  |  |  | 187.4397 | /(bed+small HCF)-yr
| GRAND TOTAL ANNUAL COSTS PER CAPITA |  |  |  | 0.46217 | /population-yr
| PERCENT OF ANNUAL NATIONAL HEALTH-CARE BUDGET: % |  |  |  | 0.22327 | %
| PERCENT OF GROSS DOMESTIC PRODUCT: % |  |  |  | 7.9067 | %
| GRAND TOTAL COSTS PER KG INF WASTE |  |  |  | 1.9308 | /kg
| GRAND TOTAL COSTS PER KG TOTAL WASTE |  |  |  | 0.28963 | /kg
| TOTAL COSTS (SHARPS ONLY) PER KG SHARPS |  |  |  | 1.5912 | /kg
| TOTAL COSTS (SHARPS ONLY) PER SYRINGE |  |  |  | 0.015912 | /syringe
| Option 3: Option 1 with on-site needle removers |  |  | $/year | $/year | $/yr (sharps only)
| Total annual capital costs for all small HCFs |  |  | 148488.5598
| Total recurrent costs for all small HCFs |  |  | 91737.9858
|  | Total annual costs for all small HCFs |  |  | 240226.5456 | 4804.5309
| Total annual capital costs for all medium HCFs |  |  | 17446.7675
| Total recurrent costs for all medium HCFs |  |  | 68136.3008
|  | Total annual costs for all medium HCFs |  |  | 85583.0684 | 4279.1534
| Total annual capital costs for all large Group A HCFs |  |  | 41292.934
| Total recurrent costs for all large Group A HCFs |  |  | 113740.5234
|  | Total annual costs for all large Group A HCFs |  |  | 155033.4574 | 7751.6729
| Total annual capital costs for all very large Group B HCFs |  |  | 0
| Total recurrent costs for all very large Group B HCFs |  |  | 0
|  | Total annual costs for all very large Group B HCFs |  |  | 0 | 0
| Total annual facility-level capital costs for all medium clusters |  |  | 11540.1857
| Total facility-level recurrent costs for all medium clusters |  |  | 55531.7293
| Total annual cluster-level capital costs for all medium clusters |  |  | 21117.5742
| Total cluster-level recurrent costs for all medium clusters |  |  | 22741.2034
|  | Total annual costs for all medium clusters |  |  | 110930.6925 | 4968.6122
| Total annual facility-level capital costs for all large clusters |  |  | 0
| Total facility-level recurrent costs for all large clusters |  |  | 0
| Total annual cluster-level capital costs for all large clusters |  |  | 0
| Total cluster-level recurrent costs for all large clusters |  |  | 0
|  | Total annual costs for all large clusters |  |  | 0 | 0
| Total annual capital costs at national level |  |  | 2716.0719
| Total recurrent costs at national level |  |  | 14205.8036
|  | Total annual costs at national level |  |  | 16921.8755 | 846.0938
| GRAND TOTAL ANNUAL COSTS (OPTIONS 3 & 1) |  |  |  | 608695.6394 | 22650.0632
Indicative values for option 3 (Decentralized) & option 1 (Cluster)
| GRAND TOTAL ANNUAL COSTS PER BED |  |  |  | 156.0758 | /bed-yr
| GRAND TOTAL ANNUAL COSTS PER [BED+SMALL HCF] |  |  |  | 139.8657 | /(bed+small HCF)-yr
| GRAND TOTAL ANNUAL COSTS PER CAPITA |  |  |  | 0.34487 | /population-yr
| PERCENT OF ANNUAL NATIONAL HEALTH-CARE BUDGET: % |  |  |  | 0.1666 | %
| PERCENT OF GROSS DOMESTIC PRODUCT: % |  |  |  | 5.8999 | %
| GRAND TOTAL COSTS PER KG INF WASTE |  |  |  | 1.4408 | /kg
| GRAND TOTAL COSTS PER KG TOTAL WASTE |  |  |  | 0.21612 | /kg
| TOTAL COSTS (SHARPS ONLY) PER KG SHARPS |  |  |  | 1.3338 | /kg
| TOTAL COSTS (SHARPS ONLY) PER SYRINGE |  |  |  | 0.013338 | /syringe
|  | TOTAL Revenues from small, medium and large HCFs: |  |  |  | $/yr
|  | Revenues from sale of plastics for re-melting |  |  |  | 4719.336
| Option 4: Option 2 with on-site needle removers |  |  | $/year | $/year | $/yr (sharps only)
| Total annual capital costs for all small HCFs |  |  | 363718.4909
| Total recurrent costs for all small HCFs |  |  | 81824.5865
|  | Total annual costs for all small HCFs |  |  | 445543.0774 | 8910.8615
| Total annual capital costs for all medium HCFs |  |  | 21471.7264
| Total recurrent costs for all medium HCFs |  |  | 68737.3363
|  | Total annual costs for all medium HCFs |  |  | 90209.0627 | 4510.4531
| Total annual capital costs for all large Group A HCFs |  |  | 44023.8777
| Total recurrent costs for all large Group A HCFs |  |  | 117033.5939
|  | Total annual costs for all large Group A HCFs |  |  | 161057.4716 | 8052.8736
| Total annual capital costs for all very large Group B HCFs |  |  | 0
| Total recurrent costs for all very large Group B HCFs |  |  | 0
|  | Total annual costs for all very large Group B HCFs |  |  | 0 | 0
| Total annual facility-level capital costs for all medium clusters |  |  | 6363.7253
| Total facility-level recurrent costs for all medium clusters |  |  | 57864.6263
| Total annual cluster-level capital costs for all medium clusters |  |  | 24233.3898
| Total cluster-level recurrent costs for all medium clusters |  |  | 19364.5015
|  | Total annual costs for all medium clusters |  |  | 107826.2429 | 4829.5632
| Total annual facility-level capital costs for all large clusters |  |  | 0
| Total facility-level recurrent costs for all large clusters |  |  | 0
| Total annual cluster-level capital costs for all large clusters |  |  | 0
| Total cluster-level recurrent costs for all large clusters |  |  | 0
|  | Total annual costs for all large clusters |  |  | 0 | 0
| Total annual capital costs at national level |  |  | 2716.0719
| Total recurrent costs at national level |  |  | 14205.8036
|  | Total annual costs at national level |  |  | 16921.8755 | 846.0938
| GRAND TOTAL ANNUAL COSTS (OPTIONS 4 & 2) |  |  |  | 821557.73 | 27149.8452
Indicative values for option 4 (Decentralized) & option 2 (Cluster)
| GRAND TOTAL ANNUAL COSTS PER BED |  |  |  | 210.6558 | /bed-yr
| GRAND TOTAL ANNUAL COSTS PER [BED+SMALL HCF] |  |  |  | 188.7771 | /(bed+small HCF)-yr
| GRAND TOTAL ANNUAL COSTS PER CAPITA |  |  |  | 0.46547 | /population-yr
| PERCENT OF ANNUAL NATIONAL HEALTH-CARE BUDGET: % |  |  |  | 0.22487 | %
| PERCENT OF GROSS DOMESTIC PRODUCT: % |  |  |  | 7.9631 | %
| GRAND TOTAL COSTS PER KG INF WASTE |  |  |  | 1.9446 | /kg
| GRAND TOTAL COSTS PER KG TOTAL WASTE |  |  |  | 0.29169 | /kg
| TOTAL COSTS (SHARPS ONLY) PER KG SHARPS |  |  |  | 1.5988 | /kg
| TOTAL COSTS (SHARPS ONLY) PER SYRINGE |  |  |  | 0.015988 | /syringe

## Summary
Summary
| Option | Description | Total Annual Costs ($/yr)
| 1 | Autoclaves and sharps pits for small and medium HCFs; autoclaves, reusable sharps containers and sharps pits for large HCFs; transport vehicle(s), medium to large autoclaves and shredders for clusters | 657309.0774
| 2 | Incinerators and lined ash pits for small, medium and large HCFs; transport vehicle(s), medium to large incinerators and lined ash pits for clusters; only the incinerator for large clusters meets international standards | 815737.4036
| 3 | Needle removers, autoclaves and small pits for small and medium HCFs; needle removers, autoclaves, reusable sharps containers and small pits for large HCFs; transport vehicle(s), medium to large autoclaves and shredders for clusters | 608695.6394
| 4 | Needle removers, incinerators and lined ash pits for small, medium and large HCFs; transport vehicle(s), medium to large incinerators and lined ash pits for clusters; only the incinerator for large clusters meets international standards | 821557.73
| Option | Description | Annual Revenue
| 3 | Sale of plastics | 4719.336
| 4 | Sale of plastics if decontaminated