EXPLANATORY STATEMENT

Issued by the authority of the Assistant Minister for Climate Change and Energy

Greenhouse and Energy Minimum Standards Act 2012

Greenhouse and Energy Minimum Standards (LED Lamps) Determination 202X

# Purpose and Operation

The Greenhouse and Energy Minimum Standards Act 2012 (the Act) established a national framework for regulating the energy efficiency and labelling standards of appliances and equipment supplied or used within Australia. This national legislation allows the Australian Government to set mandatory minimum efficiency requirements for certain products, supporting the move towards greater energy efficiency. The Act also allows the Australian Government to set nationally-consistent labelling requirements, to increase Australians’ awareness of options to improve energy efficiency and reduce energy consumption, energy costs and greenhouse gas emissions. Further, the Act provides for the imposition of requirements relating to product performance and the effect of relevant products on the environment or human health.

The Greenhouse and Energy Minimum Standards (LED Lamps) Determination 202X (the instrument) introduces minimum energy performance standards (MEPS) and labelling requirements for light emitting diode (LED) lamps, which are common energy-efficient lighting products. Testing is to be conducted in accordance with the relevant energy efficiency standard, aligned with the European Union’s ecodesign standards. Clearer information will make it easier for consumers to identify the lighting products that best meet their needs. These regulations will encourage the supply and purchase of more energy efficient lighting products, thereby reducing greenhouse gas emissions and energy costs for consumers.

Products regulated for energy efficiency must be registered with the GEMS Regulator before they can be sold or offered for supply in Australia.

Background

[Further information about LEDs will be added following feedback on the public consultation paper]

A key driver for this instrument is that on 20 April 2018, the former Council of Australian Governments (COAG) Energy Council agreed to further improve lighting energy efficiency regulation by phasing out inefficient incandescent lamps (light bulbs) in Australia and introducing minimum standards for LED lamps in Australia and New Zealand aligned with EU regulations.

The timing for introduction of the new regulation was agreed to align with the EU regulatory process. Finalisation of the EU regulation was delayed by 12 months (published in the Official Journal on 5 December 2019 to come into effect in September 2021), and the Australian regulations are expected to come into effect in 2023?. Further information about the EU regulation is included at Attachment X.

Following availability of the EU regulation, work commenced on the development, through a joint trans-Tasman Standards Australia process, of a draft test standard for LED lighting (AS/NZS 5341) and a revised MEPS standard for incandescent and halogen lighting (AS 4934-2 – Australia only), both of which were published in March 2021.

Authority

Under subsection 23(1) of the Act the Minister may, by legislative instrument, make a determination (a GEMS determination) that specifies one or more classes of products if the products in those classes use energy or affect the amount of energy used by other products. A GEMS determination is the vehicle by which energy efficiency requirements (GEMS level requirements), labelling requirements (GEMS labelling requirements) and other requirements are established for a product class covered by the determination.

Under section 25 of the Act, the GEMS level requirements specified in a GEMS determination may be:

- requirements relating to one or more of the following:

  - the amount of energy used in operating products in the relevant product class;

  - the amount of greenhouse gases resulting from operating products in the relevant product class;

  - the effect of those products on the amount of energy used by operating other products; and

- requirements for conducting tests in relation to products in the relevant product class in order to determine whether the products meet the specified requirements.

Under section 26 of the Act, the GEMS labelling requirements specified in a GEMS determination may be:

- requirements relating to the information that must be communicated in connection with supplying or offering to supply products in the relevant product class;

- requirements relating to the manner in which that information must be communicated; and

- requirements for conducting tests in relation to products in the relevant product class in order to rate them against certain specified criteria.

Under section 27 of the Act, other requirements that may be specified in a GEMS determination are:

- requirements for products in the relevant product class to meet a specified level (the high efficiency level);

- requirements relating to the performance of products in the relevant product class;

- requirements relating to the impact of products in that product class on the environment or on the health of human beings;

- requirements of a kind specified in the regulations; and

- requirements for conducting tests in relation to products in the relevant product class in order to determine whether the products meet requirements of the kind specified above.

# Incorporated material and copyright

- The instrument references Australian/New Zealand test and performance standards. A list of the Australian/New Zealand standards referred to or incorporated by reference in the instrument is included in section 4. The standards can be purchased from Standards Australia Ltd. Commercial users who have determined that they are likely to be covered by the instrument (which is possible from reading the instrument in isolation) would be expected to purchase the referenced standards in order to comply with the instrument.

- Other interested parties may be able to access the Australian/New Zealand standards without cost through the National Library of Australia, including by interlibrary loans.

- The Skills National Cabinet Reform Committee is working to ensure greater access to standards. Standards Australia Ltd is also working on improving access to Australian and Australian/New Zealand standards. In addition to purchasing the Australian/New Zealand standards incorporated by reference in the instrument through Standards Australia Ltd, these Australian/New Zealand standards can be purchased from SAI Global Limited and Techstreet Store.

- This instrument contains a copyright notice that clarifies the permitted use of the instrument by those seeking to comply with their obligations under it.

Consultation

Prior to preparation of the instrument, the Australian Government undertook industry consultation in development of the Consultation Regulatory Impact Statement (RIS), Decision RIS, and the new Standard AS/NZS 5341 LED lamps – Test methods – Energy and functional performance.

[Further information will be added following public consultation]

Regulatory Impact

A comprehensive COAG Decision Regulation Impact Statement (RIS) was prepared as part of the process of developing the instrument. In April 2018, COAG Energy Council Ministers agreed the preferred option in the Decision RIS.

The Office of Best Practice Regulation (now the Office of Impact Analysis) assessed the RIS as meeting the Council of Australian Government’s best practice regulation requirements. The RIS is set out in full at Attachment X.

Details of the instrument are set out at Attachment A.

The Decision RIS considered costs and benefits to businesses, consumers, government and the environment.

Details of the instrument

Part 1 – Preliminary

Section 1 - Name

This section sets out the title of the instrument.

Section 2 - Commencement

This section provides for the instrument to commence on xx.xx.xxxx. That commencement date is specified for the purposes of paragraph 34(b) of the GEMS Act. Section 34 provides that a GEMS determination comes into force either:

- 12 months after the day it is made (paragraph (a)), or

- if the determination specifies a different day (which must be after the day the determination is made), that alternative day (paragraph (b)).

Section 3 - Authority

This section states that the making of the instrument is authorised by section 23 of the Greenhouse and Energy Minimum Standards Act 2012.

Section 4 – Standards referred to in this instrument

This section establishes shorthand references for various Australian and International standards referred to in the instrument.

Section 5 – Definitions – other expressions used in this instrument

This section defines key terms used in the instrument.

Section 6 – Definition – reference control settings

This section defines ‘reference control settings’, which is relevant to LED lamps that allow the user to control certain settings (such as the luminous intensity and beam angle of the lamp).

Section 7 – Applicable definitions and applicable versions of standards and documents incorporated into standards

Section 7 provides guidance for interpreting certain aspects of the instrument.

Subsection 7(1)

The purpose of this section is to define the order of priority of source documents in interpretation, if there is any inconsistency in the definitions of words or expressions used in the instrument.

Subsection 7(2)

This subsection specifies that the applicable version of certain documents relevant to the operation of the instrument is the version that existed at the date the instrument was made. This rule applies to standards and other documents referred to in the instrument itself (see paragraph (a)). However, such standards often refer to other standards or documents which also contain requirements that must be applied to give effect to the instrument or a standard referred to in the instrument. Paragraph (b) makes it clear that the applicable version of these further documents is the version that existed on the day the instrument was made.

Section 8 – Families of models

Section 28 of the Act provides that a GEMS determination must specify, for each product class covered by the determination, the circumstances in which two or more models in that product class are in the same family of models. Section 8 defines these circumstances for the purposes of the product classes covered by this instrument.

Subsection 8(1)

Subsection 8(1) provides that two or more models will be in the same family of models when:

- they are members of a family that has been declared to the GEMS Regulator, and

- the requirements of the section are satisfied in relation to the models and the family.

Subsection 8(2) sets out a list of requirements for the purposes of the second dot-point above. Generally, these require the models to have a range of common features (eg, they must be in the same product class and have the same declared voltage). Subsections (3) and (4) build on, and specify certain carve-outs from, these requirements. Subsection 8(5) prevents more than 50 models from being included in a family.

Section 9 – Product category

Section 29 of the Act requires that a GEMS determination specify whether the products it covers are category A or category B products. Category B products are subject to higher penalties than category A products for certain offences under the Act, on the basis that category B products have a high impact on energy use or greenhouse gas production.

Section 9 specifies that LED lamps covered by the instrument are category A products.

Part 2 – Product classes and testing requirements

Division 2.1 - Product classes covered by this Division

Section 10 – Purpose of Division

This section states that the purpose of the Division is to specify the classes of products that are and are not covered by the instrument.

Section 11 – Classes of products that are covered by this instrument

This section defines the class of products that are covered by the instrument. To be covered, broadly speaking, a lamp must meet the technical specifications in subsection (4), and fall within either subsection (5) (single-capped lamps) or (6) (double-capped lamps). Lamps covered by subsection (5) form a different ‘product class’ to those covered by subsection (6).

Section 12 – Classes of products that are not covered by this instrument

This section specifies the classes of products that are not covered by this instrument. These are set out in Schedule 1.

Division 2.2 – Testing requirements: general

Section 13 – Purpose of this Division

This section provides that the purpose of the Division is to set out testing requirements for the purposes of various provisions of the GEMS Act.

Section 14 – Testing requirements – general

This section prescribes the standards that a person must apply when testing a product to determine whether it complies with the instrument. The relevant standard will usually be AS/NZS 5341, but alternative standards can sometimes be used.

Section 15 – Circumvention of testing

Subsection 15(1)

This section specifies that circumvention devices must not be used in any compliance testing specified in this instrument.

Subsection 15 (2)

This subsection defines ‘circumvention device’.

Part 3 - GEMS level requirements

Section 16 – Purpose of Part

The purpose of this part is to specify GEMS level requirements in accordance with section 25 of the GEMS Act for the product classes covered by the instrument.

Section 17 – Ecodesign requirements – energy efficiency

This section requires LED lamps covered by the instrument to meet or exceed the ‘minimum required efficacy’, and sets out how to calculate the relevant values. It also sets caps on the permissible ‘standby power’ and ‘networked standby power’ for certain LED lamps.

Part 4 – GEMS labelling Requirement

Section 18 – Purpose of Part

This section sets out the purpose of Part 4, which is to specify labelling requirements in accordance with the section 26 of the Act.

Section 19 – Information to be displayed on the LED lamp itself

This section specifies the information that must be displayed on the surface of the LED lamp and the action that can be taken if there is insufficient room on the surface to include all values without unduly obstructing the light emission.

Section 20 – Information to be visibly displayed on the packaging

This section specifies the information that must be displayed on the packaging of an LED lamp that is supplied, or offered for supply, in packaging that contains information that will be visibly displayed at a point of sale before the lamp is purchased.

Section 21 - Impact of replacement determination

This section specifies that a person is taken to have complied with a labelling requirement of the instrument where:

the instrument is revoked and replaced by another instrument that includes a transitional labelling requirement stating that, if the person complies with the replacement requirement, they are also taken to have complied with the labelling requirements of this instrument, and

the person complies with the replacement requirement.

This is to ensure that, in certain cases where a lamp is supplied in reliance on paragraph 16(2)(c) of the GEMS Act, it is not necessary to display two labels.

Part 5 – Other Requirements

Section 22 – Purpose of Part

This section states that the purpose of Part 5 is to specify ‘other’  requirements for an LED lamp in a product class covered by the instrument for the purposes of section 27 of the Act – specifically, performance, health and related testing requirements.

Section 23 – Other requirements – performance requirements

This section prescribes the performance requirements that need to be met against listed attributes (colour rendering, displacement factor, lumen maintenance factor, survival factor and colour consistency) for LED lamps covered by the instrument.

Section 24- Other requirements - impact on human health

This section prescribes the health requirements that need to be met against listed attributes (flicker, stroboscopic effect for MLL, and UV and blue light hazard) for LED lamps covered by the instrument. It also specifies testing requirements that are relevant to demonstrating whether a product meets the health requirements, and states when certain kinds of testing will not be required.

Schedule 1 - Product classes not covered

This schedule outlines product classes not covered by the instrument.  The product classes are aircraft lamps, aeronautical ground lights and other LED lamps with specified characteristics.

Schedule 2 – Incandescent or halogen equivalence claims

The packaging of an LED lamp may include a representation that the lamp’s brightness is equivalent to an incandescent or halogen lamp of a certain power level. Item 3 of column 2 of the table to section 20 requires any such claims to meet minimum accuracy standards. Specifically, it requires that the initial luminous flux of a relevant tested sample of the LED lamps must not be less than the minimum luminous flux listed for the claimed power of the equivalent incandescent or halogen lamp, as set out in Schedule 2. Accordingly, Schedule 2 sets out the minimum luminous flux figures for this purpose.

# ATTACHMENT X

# European Lighting Efficiency Regulation

The European Commission’s single lighting regulation under the Ecodesign Directive sets out mandatory product performance and quality requirements on a wide range of lighting products (light sources and separate control gears) placed on the market in Europe starting on September 2021.

The Ecodesign regulation for lighting is called COMMISSION REGULATION (EU) 2019/2020 of 1 October 2019 and lays down ecodesign requirements for light sources and separate control gears pursuant to Directive 2009/125/EC of the European Parliament and of the Council and repealing Commission Regulations (EC) No 244/2009, (EC) No 245/2009 and (EU) No 1194/2012

The scope of the EU regulation is much broader than the Australian/New Zealand proposed LED MEPS, encompassing incandescent, fluorescent, high intensity discharge, organic light emitting diodes (OLED) and LED lamps and integrated luminaires. Separate control gear (e.g. transformers, ballasts and drivers) are also subject to MEPS under the EU regulation.

The EU regulation applies to light sources:

- within a specified range of chromaticity coordinates

- below a specified luminous flux density at the light-emitting surface

- within a specified range of luminous flux, and

- with a colour rendering index greater than 0.

The EU Ecodesign regulation sets a minimum energy efficiency level using an equation that sets maximum power levels depending on the luminous flux of the light source (subject to eleven product design adjustment factors and twenty technology specific adjustment factors). The regulation also includes up to eight (for LED and OLED mains voltage light sources) other performance requirements:

- Colour rendering

- Displacement factor (also known as Fundamental Power Factor)

- Survival factor (endurance)

- Lumen maintenance factor

- Colour consistency

- Flicker (visible)

- Stroboscopic effect

- Standby power and networked standby power

Products exempted from all or part of the EU regulation are defined (note that many of the exemptions listed in the EU regulations are outside the narrower scope of the Australia LED lamp MEPS) and will not be included in the Australian regulations.

The EU regulation also specifies a range of product marking and package information requirements.

# Aligning with EU Lighting Regulation

It is acknowledged the EU regulation is intended for use within the European legislative context. Adaptions are needed to fit within the Australian legislative frameworks as:

- there are aspects of the EU regulation that are not relevant as the EU scope is broader than that proposed for the Australian regulation; and

- some relevant matters are not included in the EU lighting Ecodesign regulation because they are already addressed in other European regulation; and

- there may also be scope to allow for more flexible approaches to demonstrate compliance in the Australian regulation.

Stakeholder views were sought and incorporated on 10 issues associated with aligning with the EU regulation.  Those views are discussed below.

### Scope and LED Lamp Definition

The broader scope of the EU regulation is the key difference between it and the proposed Australian LED MEPS.  In order to narrow the scope, the concept of a lamp will be introduced, focusing on two main lamp types:

  - single capped lamps (encompassing non-directional and directional); and

  - tubular (linear) LED lamps.

It is proposed that the scope be defined by cap type as follows:

- Single capped lamps

Lamps with LED light sources of all shapes with a single cap of one of the following types:

- BA15d, B15d, B22d, E11, E12, E13, E14, E17, E26, E27, E39, E40, GU10, GZ10, GX10, GU24, GX53, G9 or

- Bi-pin caps G4, GU4, GY4, GU4, GZ4, GU5.3, G53

that are capable of emitting ≥ 100 lumens.

- Tubular LED lamps

Tubular double-capped LED lamps with a nominal length of 550 mm to 1500 mm including:

- Lamps with G5 and G13 caps, intended for replacing fluorescent lamps (as defined in IEC 60081) with the same caps (as defined in IEC 60081) or

- Lamps with caps as defined in IEC 60838-2-3.

### Measurement of Luminous Flux

Compliance with the EU regulation requires a decision as to whether a lamp is directional (criteria: at least 80% of the luminous flux is in a cone angle of 120°) and then if so, measurement of ‘useful’ luminous flux which, for directional lamps is measured within a cone angle of either 90° (for a beam angle less than or equal to 90°) or 120° (for a beam angle greater than 90°) rather than all forward facing lumens (i.e. cone angle of 180°).

Current Australian MEPS lighting regulations use a simple integrating sphere measurement method to determine the forward facing lumens of a directional lamp. This results in reduced test costs for both suppliers and regulators.

This method has been introduced as an alternative in this proposed MEPS (alongside the EU method) and is relevant for products not manufactured for the EU market.

This alternative requires a new definition for Directional Lamp based on a beam angle limit rather than the EU definition (percentage of luminous flux in a cone)

To account for the higher quantity of forward facing luminous flux, alternative adjustment factors are used in the calculation of minimum efficacy level for lamps measured in this way as shown in Annex II 1(a). These values have been calculated based on analysis of test results of LED lamps with a range of beam angles from 12° to 136°, comparing results of test data from measurement via both useful luminous flux and forward facing lumens.

Suppliers make a statement concerning use of this alternative measurement as part of product registration.

### Reference Control Settings

The availability of LED lamps which may be controlled by the user to adjust characteristics such as luminous flux, colour temperature and beam angle has resulted in the EU regulation introducing the concept of reference control settings – being the control setting or a combination of control settings that is used to verify compliance.

The recommended approach is for this setting to use the out-of-the-box values (taking into account any automatic software update during first installation). However, the EU regulation provides that in some instances where use of the out-of-box settings is not feasible, the reference control setting is to be specified in technical documentation. The GEMS Act’s powers in relation to specifying information in documentation are not as broad as in the EU legislative framework. In order for compliance testing to be carried out, the correct reference control settings may need to be supplied as part of product registration or specified on product packaging.

### Colour Consistency

This criterion aims to ensure that all lamps and luminaires of the same claimed colour temperature have a similar colour appearance when installed. The chromaticity (i.e. colour appearance) difference of light sources has often been expressed by the step size of MacAdam ellipses plotted in the CIE 1931 (x,y) chromaticity diagram. While the MacAdam ellipses served for many years for fluorescent lamps with only six nominal correlated colour temperatures (CCTs), this method does not serve well for LED lamps, which are more versatile in formation of colour appearance.

The EU approach to colour consistency, referencing MacAdam ellipses, presents potential problems as to how it can be successfully applied across the range of LED products in scope. The EU regulation refers to variations within a 6-step MacAdam’s ellipse or less, using x and y coordinates. These six ellipses would not satisfactorily encompass the range of LED lamps within scope. The verification tolerances allow an infinite range of centre points around which the MacAdam ellipses are drawn.

A less restrictive requirement allows chromaticity u’v’ circles to be used.  This proposed Australian MEPS accepts, as an alternative, claims made on the basis of conformance with 6-step u’v’ chromaticity circles.

If this alternative is used, it must be specified as part of product registration or on the product package.

### Minimum Lighting Efficiency

The EU regulation sets the minimum energy efficiency by applying an equation that sets the maximum allowed lamp power for the luminous flux of the product.

### Colour Rendering - CRI

The EU regulation sets a minimum CRI of 80 but provides for an exemption on this CRI level where lamps are:

“…. intended for use in outdoor applications, industrial applications or other applications where lighting standards allow a CRI<80, when a clear indication to this effect is shown on the light source packaging and in all relevant printed and electronic documentation …”

In the context of the broader EU scope, this partial exemption would have primarily been necessary to allow for some non LED products (e.g. some high intensity discharge (HID) lamps) which have a very low CRI. However, under the GEMS Act, alternative requirements (or exclusions) based on intended use are not possible.

### Proposed Additional Parameter: Harmonics

Harmonics is not included in EU Ecodesign regulation as it is already included in EU Electromagnetic Compatibility (EMC) regulation, which requires compliance with EU standard EN 61000-3-2. Harmonics requirements are not included in Australian EMC regulation.

Harmonics requirements are already included in the Australian Compact Fluorescent Lamp MEPS. Non-compliant products with high levels of harmonics can cause other appliances in the network to operate less efficiently (and have a shorter lifetime). Poor harmonics also impose real costs on electricity networks in terms of the need to install more robust equipment, with these costs to be passed on to consumers. Distribution Networks support inclusion of this requirement and EU test results support the need to regulate this parameter.

The scope of matters for which the Minister may make determinations under the GEMS Act includes the effect of those products on the amount of energy used by operating other products, so this may be considered in the future.

### Proposed Additional Parameter: Photo-biological safety

Excessive blue light in LED lamps can cause retinal damage in some circumstances and UV exposure can cause harm to vulnerable groups. Photo-biological safety is not included in the EU Ecodesign regulation as it is required in other EU safety regulation (2014/35/EU) which refers to EU Standard EN 62471. The LED determination includes a photo-biological safety requirement (referencing international standards IEC 62471 / CIE S009).  The scope of matters for which the Minister may make determinations under the GEMS Act includes impact of products on environment or human health (section 27 (3) of GEMS Act).

The Australian electrical safety regulation addresses photo-biological safety only for mains voltage lamps and does not extend to low voltage lamps. It is therefore proposed that the requirement for photobiological safety in the instrument only apply to lamps ≤ 50V.

### Product and Package Information Requirement

Market research has shown that consumers often lack knowledge about estimating the electricity use, equivalency and running costs for different lighting technologies. They may also make decisions based on incorrect or implied marketing information.

In a 2017 light bulb labelling consumer study a survey of 840 consumers across Australia and New Zealand found that 77% and 74% respectively referred to packaging information when making a lighting purchase. Nine in ten Australians considered it to be important for light bulb packaging to communicate the power (W). Over 80% also considered it important for the light emitted, expected lifespan, the energy efficiency and claimed incandescent equivalence to be printed on packaging. Three quarters would also like to see the estimated annual electricity cost reflected on packaging (76%).

The Lighting Regulation Impact Statement noted that basic product and package marking requirements will be necessary to allow consumers to effectively replace lamps. However, it is not proposed that a specific energy label be included, as is required for lamps and other electrical appliances in the EU and for some other non-lighting products regulated in Australia.  In addition to the EU energy label, the EU Ecodesign regulation specifies a range of product marking and package information requirements.

The planned consumer education program will assist consumers in understanding information on product packages so they can make an informed choice.

### Product Exclusions

As the Australian proposed scope is far narrower than the EU, many exemptions in the EU regulation are outside of the proposed scope for the LED lamp MEPS.