## Summary
CONSTRUCTION OF WASTE COLLECTION CENTRE - Lh. Kurendhoo
Bill of Quantities
SUMMARY SHEET
Bill No | Item | Amount
1 | Preliminaries
2 | Site preparation works
3 | Earth works
4 | Concrete works
5 | Structural steel works
6 | Masonary works
7 | Plastering works
8 | Painting works
9 | Roofing works
10 | Electrical works
11 | Plumbing works
12 | Doors and windows
13 | Firefighting
14 | Others
Sub Total
GST 6%
GRAND TOTAL

## BoQ
CONSTRUCTION OF WASTE MANAGEMENT CENTRE
Bill of Quantities
No | Item | Unit | Quantity | Rate | Amount
1 | Preliminaries
1.1 | Mobilization to site | LS | 1
1.2 | Site management cost including set up of tempory services for contractor's services as maybe ncessary | LS | 1
1.3 | Setup sign boards on site as specified | LS | 1
1.4 | Clean up site upon completion of works | LS | 1
1.5 | Demobilization | LS | 1
2 | Site preparation works
2.1 | Demolition of existing masonry walls of collection bay as shown in drawing. | LS | 1
2.2 | Demolition of existing perimeter fence and wall as shown in drawing. | LS | 1
2.3 | Removal of existing roofing sheets and roof framing of existing collection bay area. The materals shall be removed in such a way that these can be re-used to change roof slope. | LS | 1
3 | Earth works
Allow for all excavation work as follows
3.1 | Office and toilet foundation beam | m3 | 2.9934
3.2 | Perimeter fence foundation beam | m3 | 7.434
3.3 | Perimeter wall foundation beam | m3 | 6.165
3.4 | Flood light pole foundation | m3 | 0.243
3.5 | Septic tank | LS | 1
3.6 | Ground levelling and compaction works for ground slab works for office and toilet. | m² | 24.009
3.7 | Setting up a 900mm dia ground water well in the location shown | LS | 1
4 | Concrete works
Office/Toilet Building
4.1 | Provide 75mm concrete floor screed with slope in toilet towards drain. Reinforcement for the slab shall be R6@150 BW single layer. | m3 | 1.3775
4.2 | Wall Footing beam cast according to drawing. Reinforcement shall be as shown on drawing | m3 | 1.0885
4.3 | Roof beams cast according to drawing. Reinforcement shall be as shown on drawing. | m3 | 0.35392
4.4 | Columns cast according to drawing. Reinforcement shall be as shown on drawing. | m3 | 0.4725
Perimeter Wall
4.5 | Perimeter wall columns | m3 | 1.2285
4.6 | Perimeter wall foundation beam | m3 | 1.5413
4.7 | Perimeter fence column footings | m3 | 2.0459
4.8 | Perimeter fence foundation beam | m3 | 1.8585
Other
4.9 | Foundation for flood light pole | m3 | 0.2835
4.1 | Ground water well (900mm dia) casting work. Rate shall include setting the well in place to the required depth based on ground water level, including bottom slab and cover slab. | LS | 1
5 | Structural steel works
Perimeter fence
5.1 | Perimeter fence using 50mm G.I pipe as shown on drawing. GI pipes GI pipes taken from existing fence shall be used for horizonta members. New GI pipes shall be used for GI fence columns. Rate shall include all cuttings, weldings, applying of protective coating for welded joints, and, setting up the fence. | m | 38.3
Flood light pole
5.2 | Provide 75mm G.I pipe as flood light fixing poles. Rate shall include installation charges as shown on drawing. | Nos | 2
6 | Masonry works
Office/Toilet walls of thickness 150mm
6.1 | 3500mm high walls | m² | 65.6885
Collection bay area walls of thickness 150mm
6.2 | 3500mm high walls | m² | 59.71
Perimeter walls of thickness 150mm
6.3 | 600mm high wall for perimeter wall | m² | 40.215
6.4 | 2800mm high wall for perimeter wall | m² | 106.175
7 | Plastering works
Office/Toilet walls
7.1 | 25mm plastering on 3500mm high walls | m² | 131.377
Collection bay area walls
7.2 | 25mm plastering on 3500mm high walls | m² | 119.42
Perimeter Walls
7.3 | 25mm plastering on 600mm wall for perimeter fence | m2 | 80.43
7.4 | 25mm plastering on 2800mm perimeter wall | m2 | 212.35
8 | Painting works
Office/Toilet walls
8.1 | Apply emulsion paint coating on 3500mm high walls. Rate shall include 1 primer coat and 2 paint coats. | m² | 131.377
Collection bay area walls
8.2 | Apply emulsion paint coating on 3500mm high walls. Rate shall include 1 primer coat and 2 paint coats. | m² | 119.42
Perimeter Wall
8.3 | Apply emulsion paint coating on 600mm high walls. Rate shall include 1 primer coat and 2 paint coats. | m² | 80.43
8.4 | Apply emulsion paint coating on 2800mm high walls. Rate shall include 1 primer coat and 2 paint coats. | m² | 212.35
Perimeter Wall Steel members
8.5 | Apply emulsion paint coating on G.I members of newly proposed perimeter fence | LS | 1
8.6 | Apply emulsion paint coating on G.I members and MS Sheets of existing gate | no | 1
Other
8.7 | Apply paint coating on flood light pole | no | 2
9 | Roofing works
Office/Toilet area
9.1 | Lysaght roofing sheet. Rate shall include all necessary laps, fastening, fixtures and sealing of joints | m² | 26.3675
9.2 | Roof flashing. Rate shall include fastening and sealing of joints | m | 9.83
9.3 | Timber beams - 150 x 75mm. Rate shall include for all fixing and joints. | m | 5.3
9.4 | Timber rafters - 100 x 50mm. Rate shall include for all fixing and joints | m | 29.2972
9.5 | Timber battens - 50 x 35mm. Rate shall include for all fixing and joints. | m | 43.9458
Collection bay area
9.6 | Fixing of existing lysaght roofing sheet in existing collection bay area after changing the roof frame as shown in drawing in order to flip the roof slope. Existing roofing sheets to be re-used. Rate shall include all necessary laps, fastening, fixtures and sealing of joints | m² | 101.49
9.7 | Fixing of existing roofing frame members as shown in the drawing (existing roof slope needs to be flipped as shown). Existing roofing members to be re-used. | LS | 1
9.8 | Fixing of existing roof flashing in existing collection bay area after changing the roof frame as shown in drawing. Rate shall include fastening and sealing of joints | m | 17.06
For full length of roof
9.9 | Provide a 5" vinyl roof gutter with 2" x 3" down pipes as shown in drawings. Rates shall include all materials and fastenings. | LS | 1
10 | Electrical works
GENERAL
(a) Design, provide and install electrical network for the entire building complete in accordance to standards set by the local governing body.
(c) The cost shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
(d) The cost shall also include for trenching including: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus soil.
(e) Rates shall include switches, electrical isolators, conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces.
(h) Contractor shall provide all cabling, wiring, conduits, etc. required for completing all electrical installations.
(g) All sockets & switches shall be ABB or clipsal or equivalent
10.1 | Provide 13 A power sockets for office area as shown in drawing. Rate shall include connection to circuit breaker. | no | 2
10.2 | Provide 18W ceiling mount LED light as shown in drawing, with switches near respective entrance doors. Rate shall include connection to circuit breaker | no | 3
10.3 | Supply and installation of ceiling fan as shown in drawing. with fan controller near the respective entrance doors, connection to circuit breaker and all necessary accessories | no | 1
10.4 | Supply and installation of emergency light as shown in drawing. with required socket. Rate shall include connection to circuit breaker and all necessary accessories | no | 1
Other
10.5 | Provide 13 A power socket for well water pump inside equipment room. Rate shall include connection to circuit breaker. | no | 1
10.6 | Provide 200 W flood light for illuminating the waste yard. Rate shall include connecting each light to a switch near circuit breaker and providing power to the switch | no | 2
10.7 | Installation of existing well water pump inside equipment room. | no | 1
11 | Plumbing works
11.1 | Complete construction of fresh water pipe work including all pipe work, vent pipe work, fittings, valves, etc including outlet pipes to PVC taps, plumbing to toilet and wash area as shown in drawings. | LS | 1
11.2 | Wash Closet (one piece) (Cotto C1111 Victor or Equivalent) | no | 1
11.3 | Wash basin complete with pedestal and gully trap. | no | 2
11.4 | Muslim shower complete with valve, shower head and hose. | no | 1
11.5 | PVC tap for wash area | no | 1
11.6 | Floor drains | no | 2
11.7 | PVC taps at ends of outlet pipes. | no | 1
12 | Doors and windows
(a) Rates shall include for:
i) Locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all necessary door and window hardware as shown on the door and window schedule.
ii) Door and window frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings.
iii) Application of all painting, varnish, etc. as specified.
iv) Fixing sealant at joints as shown on the drawing.
v) Hanging doors in prepared frames and adjusting for correct fit.
(b) Sizes given in the drawing are overall outside dimensions of actual doors and windows. Exact sizes to be measured on site before fabrication.
(c) Thickness and sizes of glass panels are shown on the drawings and doors and windows schedule.
(d) Glass block panels and glazing assemblies shall be enumerated and include for all metal frames, reinforcement, joints and the like.
(e) All glass shall be from an approved manufacture to suit with the specific requirements.
12.1 | G1. Removing existing gate and fixing it to the proposed new boundary fence/wall. Rate shall include all cuts, welds, applying protective coating to welded joints, painting the frame and properly fixing the door to the fence. | no | 1
12.2 | D2. Rate shall include all cuts, and properly fixing the door to the fence. | no | 1
12.3 | D3. Rate shall include all cuts, and properly fixing the door to the fence. | no | 1
12.4 | W1. Rate shall include all cuts, and properly fixing the door to the fence. | no | 1
12.5 | W2. Rate shall include all cuts, and properly fixing the door to the fence. | no | 1
13 | Fire fighting
Supply and installation of fire fighting equipment
13.1 | 50KG DCP Trolley for collection bay | no | 2
13.2 | 50LTR Foam Trolley for collection bay | no | 1
13.3 | Wet Chemical 6Ltr with Cabinet for hazardous waste area | no | 1
13.4 | Water 9Ltr with Cabinet for Office Area - Outside | no | 1
13.5 | CO2 2KG with Cabinet for Office Area - Outside | no | 1
14 | Other Works
Office/Toilet area
14.1 | Provide HDPE membrane below collection bay floor slab | m2 | 18.3668
| Fixing of 300x300mm tiles in toilet floor and 1.2m height of toilet wall. | m2 | 10.425
Perimeter Wall
14.2 | 50 x 50 PVC coated mesh. Rate shall include properly securing the mesh to G.I steel frame | m2 | 90.86
Ground water well
14.3 | Provide alunimiun cover | no | 1
TOTAL