## Summary
MRC RENOVATION WORKS
Summary sheet
Bills | Description | Quantity
Bill 1 | Preliminaries | 0
Bill 2 | Masonry/Plastering | 0
Bill 3 | Doors and windows | 0
Bill 4 | Woodworks | 0
Bill 5 | Painting | 0
Bill 6 | Ceiling | 0
Bill 7 | Roofing | 0
Bill 8 | Tiling and floor finishes | 0
Bill 9 | Electrical | 0
Bill 10 | Miscellenous | 0
| Sub total | 0
| GST | 0
| Total | 0

## BOQ
RENOVATION OF MARINE RESEARCH CENTRE BUILDING
Bill of Quantities
# | Item | Qty | Unit | Rate | Amount
1 | Preliminaries
1.1 | Clean up and disposal of disposed materials from the renovation | 1 | LS |  | 0
| Sum of Bill no1: Carried over to summary sheet |  |  |  | 0
2 | Masonry/Plastering
All aluminium grids shall be installed using 1"x2" aluminium box channel, at 600mmx600mm grids. All M-board parititioning shall be installed using 9mm thick M-board (4'x8')
2.1 | Ground floor
2.1.1 | Library
2.1.1.1 | Remove existing door and window not in use and cover open area with masonry wall | 1 | item |  | 0
2.1.1.2 | Remove existing timber partition and install aluminium grid on the existing walls of the Library and install m-board partitions | 113.56 | m2 |  | 0
2.1.2 | Office area 1
2.1.2.1 | Remove existing timber partition and install aluminium grid on the existing walls of the filing room and m-board partitions | 106.52 | m2 |  | 0
2.1.2.2 | Remove existing door and door frame between main office area and the empty office area, and cover with M-board partition (details in sketch provided)
2.1.2.3 | Open new entrance at 4' width (details in sketch provided) | 2.6 | m2
2.1.3 | Empty office area
2.1.3.1 | Remove existing timber partition and install new aluminium grid on the existing walls of the filing room and install m-board partitions | 52.69 | m2 |  | 0
2.1.3.2 | Install new partition up to ceiling level using aluminium grid and M-board on either side of the grid (details in sketch provided) | 1 | LS
2.1.4 | Toilet
2.1.4.1 | Remove existing wall tiles and put 200 x 300 ceramic tiles upto ceiling level on all walls. Embed cable going to the observatory room into the wall and remove casing and pipes not in use. Patch existing holes on the wall | 26.45 | m2 |  | 0
2.1.5 | Storage 1
2.1.5.1 | Remove timber partition existing on two wall and build masonry wall upto roof level | 45.04 | m2 |  | 0
2.1.5.2 | Seal existing cracks on all masonry walls | 1 | LS |  | 0
2.1.6 | Storage 2
2.1.6.1 | Remove existing masonry wall partition between storage 1 and 2 | 1 | LS |  | 0
2.1.6.2 | Seal existing cracks on all remaining masonry walls | 1 | LS
2.1.7 | Pantry
2.1.7.1 | Remove existing timber partition and install new aluminium grid on the existing walls of the pantry and install m-board partitions | 38.89 | m2 |  | 0
2.2 | First floor
2.2.1 | Office area + bridge
2.2.1.1 | Remove existing timber partition on the exterior walls and install new aluminium grid on the existing walls of the filing room andm-board partitions | 249.63 | m2 |  | 0
2.2.1.2 | Open two entrances, 4' in width on the wall separating two office spaces | 1 | LS
2.2.2 | Server room
2.2.2.1 | Remove existing timber partition wall, install new aluminium grid, fix 3" rock wool insulation on either side of the grid and install m-board partition wall on either side of the grid | 38.92 | m2 |  | 0
2.2.2.2 | Install 3'x5' glass panel at 4' height, using 6mm thick glass sheet on the M-board partition | 1 | LS
| Sum of Bill no2: Carried over to summary sheet |  |  |  | 0
3 | Doors and windows
3.1 | Remove all timber framed windows and ventilators on ground floor and replace with aluminium frame windows and venitlators
3.1.1 | Two panel windows | 8 | nos |  | 0
3.1.3 | Ventilators | 4 | nos |  | 0
3.2 | Remove timber framed door at the exit of the pantry room and replace with treated timber framed door | 1 | nos
3.3 | Remove timber framed door at the entrance to the pantry room and replace with aluminium framed door | 1 | nos
| Sum of Bill no3: Carried over to summary sheet |  |  |  | 0
4 | Woodworks
4.1 | Remove existing deck on the first floor over the office area and the lobby+ reception area and replace with treated timber deck of same design as existing deck | 117.41 | m2 |  | 0
4.2 | Replacement of the roof support frame on the ground floor above filing, storage and backofhouse area. Use 50 x 100 timber rafters at 800 C/C, 50 x 38 timber battens at 500 C/C | 48.04 | m2 |  | 0
4.3 | Replacement of the roof support frame on the first floor area. Use of 50 x 150 timber rafters at 800 C/C and 50 x 37 timber battens at 500 C/C | 259.68 | m2 |  | 0
4.4 | Replacement of the roof support frame on the bridge area. Use of 50 x 150 timber rafters at 500 C/C and 50 x 37 timber battens at 500 C/C | 4.19 | m2 |  | 0
| Sum of Bill no4: Carried over to summary sheet |  |  |  | 0
5 | Painting
5.1 | Interior Painting on top of masonry walls and M-board walls (both new and existing) 1 coat of sealer and two coat of emulsion paint
5.1.1 | Ground floor
| Lobby | 49.94 | m2 |  | 0
| Reception | 37.69 | m2 |  | 0
| Storage under staircase | 17.01 | m2 |  | 0
| Office 1 | 106.52 | m2 |  | 0
| Filing area | 113.56 | m2 |  | 0
| Pantry | 38.89 | m2 |  | 0
| Storage 1 | 45.04 | m2 |  | 0
| Storage 2 | 38.98 | m2 |  | 0
| Empty office area | 52.69 | m2 |  | 0
5.1.2 | First floor
| Managers room | 49.91 | m2 |  | 0
| Directors room | 52.4 | m2 |  | 0
| Office area 2 | 136.16 | m2 |  | 0
| Office area 3 +Bridge | 249.63 | m2 |  | 0
| Managers room 2 | 36.57 | m2 |  | 0
| Server room | 38.92 | m2 |  | 0
5.2 | Exterior painting (1 coat of sealer and 2 coats of weather proof emulsion paint)
5.2.1 | Ground floor | 183.25 | m2 |  | 0
5.2.2 | First floor | 151.59 | m2 |  | 0
5.2.3 | Boundary wall on both sides | 106.18 | m2 |  | 0
5.3 | Floor paint
5.3.1 | Apply two coats of solignum over New timber deck (above and below) | 176.92 | m2 |  | 0
5.3.2 | Double layer floor paint on the staircase steps | 4.27 | m2 |  | 0
5.4 | Double layer Epoxy enamel paint on all timber doors | 16 | nos |  | 0
| Sum of Bill no5: Carried over to summary sheet |  |  |  | 0
6 | Ceiling
Remove existing timber frame ceiling (both concealed and exposed grid) and replace with alumium frame 600mm x 600mm ceiling with gypsum boards
6.1 | Ground floor
6.1.1 | Lobby | 16.95 | m2 |  | 0
6.1.3 | Reception | 10.04 | m2 |  | 0
6.1.4 | Office 1 | 34.55 | m2 |  | 0
6.1.5 | Filing area | 56.27 | m2 |  | 0
6.1.6 | Empty office area | 20.48 | m2 |  | 0
6.1.7 | Toilet | 5.19 | m2 |  | 0
6.2 | First floor
6.2.1 | Managers room | 16.54 | m2 |  | 0
6.2.2 | Directors room | 19.39 | m2 |  | 0
6.2.3 | Office area 2 | 32.05 | m2 |  | 0
6.2.4 | Office area 3 | 88.45 | m2 |  | 0
6.2.5 | Managers room 2 | 9.37 | m2 |  | 0
6.2.6 | Server room | 11.12 | m2 |  | 0
6.3 | Remove existing timber frame (exposed) eaves board ceiling and replace with cement board eaves | 55.47 | m2 |  | 0
6.4 | Install new aluminium frame 600 x 600 ceiling with gypsum boards
6.4.1 | Ground floor
| Back of house | 20.38 | m2 |  | 0
| Storage 1 | 9.43 | m2 |  | 0
| Storage 2 | 11.39 | m2 |  | 0
6.5 | Remove existing ceiling and replace with concealed grid timber frame 600 x 600 grid with Cement board eaves ceiling and two coats of paint
6.5.1 | First floor
| Bridge | 3 | m2 |  | 0
| Sum of Bill no6: Carried over to summary sheet |  |  |  | 0
7 | Roofing
7.1 | Ground floor
7.1.1 | Replace existing roofing sheets with Lysaght spandec roofing sheets. | 48.04 | m2 |  | 0
7.1.2 | Lysaght flashing | 20.58 | m |  | 0
7.1.3 | Lysaght gutter 150 width | 9.37 | m |  | 0
7.1.4 | 50 x 150 fascia board, painted with epoxy paint | 9.37 | m |  | 0
7.1.5 | 100 dia HP PVC downpipe directed to drain inside the boundary of the plot (single storey) | 1 | nos |  | 0
7.1.6 | Double sided polywool thermal insulation between the timber support frame and roofing sheets | 48.04 | m2 |  | 0
7.2 | First floor
7.2.1 | Main roof
7.2.1.1 | Replace existing roofing sheets with Lysaght spandec roofing sheets. | 259.68 | m2 |  | 0
7.2.1.2 | Ridge capping | 18.05 | m |  | 0
7.2.1.3 | Lysaght gutter 150 width | 36.09 | m |  | 0
7.2.1.4 | 50 x 150 fascia board, painted with epoxy paint | 36.09 | m |  | 0
7.2.1.5 | 100 dia HP PVC downpipe directed to drain inside the boundary of the plot (double storey) | 6 | nos |  | 0
7.2.1.6 | Double sided polywool thermal insulation between the timber support frame and roofing sheets | 259.68 | m |  | 0
7.2.2 | Bridge
7.2.2.1 | Replace existing roofing sheets with Lysaght roofing sheets. | 4.18 | m2 |  | 0
7.2.2.2 | Lysaght flashing | 24.13 | m |  | 0
7.2.2.3 | Lysaght gutter 150 width | 1.77 | m |  | 0
7.2.2.4 | 50 x 150 fascia board, painted with epoxy paint | 1.77 | m |  | 0
7.2.2.5 | 100 dia HP PVC downpipe directed to drain inside the boundary of the plot (double storey) | 1 | nos |  | 0
| Sum of Bill no7: Carried over to summary sheet |  |  |  | 0
8 | Tiling and floor finishes
8.1 | Ground floor
8.1.1 | Remove existing floor tiles and replace with 200mmx200mm homogenious ceramic floor tiles using tile bonding cement | 5.19 | m2 |  | 0
8.2 | First floor
8.2.1 | Server room
| Lay a 1.5" cement floor over the new deck, and put 200mmx200mm homogeneous ceramic floor tiles in server room area | 11.12 | m2
| Sum of Bill no8: Carried over to summary sheet |  |  |  | 0
9 | Electrical
9.1 | Replace existing electrical points after removing and installing on new base, including switches and sockets | 1 | LS |  | 0
9.1.1 | First Floor
| Reinstall new electrical double-socket switches as wall mount sockets | 14 | Nos
9.2 | Reinstall existing Lights after installing ceiling
9.3 | Replace existing lights in the library and server room with 1ftx1ft LED light | 9 | Nos
9.4 | Provide additional wiring as necessary for new points and redirecting existing wiring in casings throught the new ceiling | 1 | LS |  | 0
9.5 | Replace existing circuit breakers, ELCB, MCB and circuit breaker boxes with new breakers and boxes
| Circuit breaker box | 2 | nos
Circuit breakers
| 6A | 11 | nos
| 10A | 15 | nos
| 16A | 19 | nos
| 20A | 13 | nos
| 32A | 6 | nos
3 Phase MCB
| 100A | 1 | nos
| 63A | 1 | nos
| 32A | 1
ELCB
| 3 phase 63A | 2 | nos
| 32 A | 1 | nos
9.6 | Replace existing electrical wiring to the ground floor laboratory and install new cables | 1 | LS
| Sum of Bill no9: Carried over to summary sheet |  |  |  | 0
10 | Miscellenous
10.1 | Pantry renovation |  |  |  | 0
| Remove existing kitchen cabinets and replace with new cabinet as per sketch provided | 1 | LS
| Wall cabinet | 1 | Nos
| Standing cabinet with granite counter top and sink | 1 | Nos
10.2 | Replace toilet fittings | 1 | LS |  | 0
| Wash basin (rectangular, pedestal style) | 1 | Nos
| Mirror (rectangular, 30" x 24") | 1 | Nos
| Muslim Shower | 1 | Nos
| One piece toilet | 1 | Nos
| Head shower | 1 | Nos
10.3 | Replace existing timber gate at the main entrance to the centre with new, treated timber door and door frame (4' x 7') | 1 | Nos
10.4 | Storage room - file storage system installation
| Install hole angle bar uprights upto ceiling level on storage room walls, and fix adjustable file storage racks | 1 | LS
| Sum of Bill no10: Carried over to summary sheet |  |  |  | 0