## Cover
BILL OF QUANTITIES
PROJECT: VASHAFARU SCHOOL
CLIENT: MINISTRY OF EDUCATION
DATE: 25 AUGUST 2019

## Summary sheet
SUMMARY OF BILL OF QUANTITIES
# | Bill name | Description | Rate | %
1 | Total of Bill no.1 | Preliminaries
2 | Total of Bill no.2 | Concrete works
3 | Total of Bill no.3 | Masonry and plastering
4 | Total of Bill no.4 | Metal works
5 | Total of Bill no.5 | Roof works
6 | Total of Bill no.6 | Ceiling
7 | Total of Bill no.7 | Doors and windows
8 | Total of Bill no.8 | Tiling
9 | Total of Bill no.09 | Painting
10 | Total of Bill no.10 | Plumbing Works
11 | Total of Bill no.11 | Electrical installation
TOTAL

## Preliminaries
Bill No: 01 PRELIMINARIES
Sl no | Description | Qty | Unit | Rate | Amount
1.1 | General Notes
1 | Abbreviations
m - meter no - numbers m3 - cubic meter m2 - square meter lm - linear meter kg - kilograms incl - including mm - millimeter dia - diameter ss - stainless steel gi - galvanised iron
1.2 | Site Management Costs
1 | Allow for all on and off site management costs including costs of foreman and assistants, temporary services, telephone, fax, hoardings and similar | 1 | item
1.3 | Sign Board
1 | Allow for sign board | 1 | no
1.4 | Clean up
1 | Allow for clean up of completed works and site upon completion | 1 | item
TOTAL
1.5 | TOTAL OF BILL NO.1 (PRELIMINARIES) Carried over to the summary sheet

## Concrete works
Bill No: 02 CONCRETE WORKS
Sl no | Description | Qty | Unit | Rate | Amount
2.1 | General Notes
(a) Rate shall include for: placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances. b) Mix ratio for reinforced concrete shall be 1:2:3
2.2 | Testing
1 | Allow for concrete testing | 1 | item
2.3 | Lean concrete
1 | 50mm thick lean concrete | 2.9683 | m³ |  |  | F1=700X700X300 |  | 14 | 2.058
2.4 | Reinforced Concrete |  |  |  |  | F2=850X85X300 |  | 4 | 0.867
2.4.2 | Ground floor
1 | Slab (150mm thick) | 33.2325 | m³
2 | Column C1 | 1.512 | m³
3 | Column C2 | 0.588 | m³
4 | Roof beam | 6.2685 | m³
5 | Stub Column | 0.189 | m³ |  |  |  | 0.3024
2.5 | Formwork | [5 empty] | 0.0225
| a) Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes, removal of formwork and normal practices used. | [5 empty] | 0.288
2.5.1 | Ground floor
1 | Slab | 9.0795 | m²
2 | Column C1 | 28.8 | m²
3 | Column C2 | 11.2 | m²
4 | Roof beam | 99.5 | m²
5 | Stub Column | 4.8 | m²
2.6 | Reinforcement
a) Rates shall include for: cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wire and chair supports, laps, and wastages.
2.6.1 | Below ground level
1 | Foundation beam FB1
| 16mm Ø bar | 488.334 | kg
| 6mm Ø bar | 113.673 | kg
2 | Foundation beam FB2
| 16mm Ø bar | 185.9865 | kg
| 6mm Ø bar | 43.5855 | kg
3 | Column C1
| 16mm Ø bar | 238.6965 | kg
| 6mm Ø bar | 44.751 | kg
4 | Column C2
| 12mm Ø bar | 52.2165 | kg
| 6mm Ø bar | 17.409 | kg
5 | Stub Column
| 10mm Ø bar | 18.648 | kg
| 6mm Ø bar | 6.7095 | kg
2.6.2 | Ground floor
1 | Slab (150mm thick)
| 10mm Ø bar | 1119.363 | kg
2 | Column C1
| 16mm Ø bar | 471.4185 | kg
| 6mm Ø bar | 88.389 | kg
3 | Column C2
| 12mm Ø bar | 103.1205 | kg
| 6mm Ø bar | 34.377 | kg
4 | Roof beam
| 16mm Ø bar | 664.7025 | kg
| 6mm Ø bar | 155.0115 | kg
5 | Stub Column
| 10mm Ø bar | 38.85 | kg
| 6mm Ø bar | 13.986 | kg
2.7 | Other concrete works
2.7.1 | Lintel Beam as per the specifications and drawings
Lintel Beam (LT1)
| 6mm Ø bar | 3.4335 | kg
| 10mm Ø bar | 16.968 | kg
| Concrete | 0.21 | m³
Lintel Beam (LT2)
| 6mm Ø bar | 73.7415 | kg
| 10mm Ø bar | 398.2965 | kg
| 12mm Ø bar | 131.0925 | kg
| Concrete | 4.11 | m³
| Formworks | 19 | m²
RC Wall
| 10mm Ø bar | 59.0835 | kg
| Formworks | 16.16 | m²
| Concrete | 1.056 | m³
TOTAL
2.8 | TOTAL OF BILL NO.3 (CONCRETE WORKS) Carried over to the summary sheet

## Masonry and plastering
Bill No: 03 MASONRY AND PLASTERING
Sl no | Description | Qty | Unit | Rate | Amount
3.1 | General Notes
(a) Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good.
3.2 | Cement blockwork
a) 150mm wide solid blocks for all external walls (local sand) b) 150mm wide solid blocks for all internal walls (local sand)
3.2.1 | External walls
1 | 150mm thk RC WALL to be water proofed with water proofing agent | 126.84 | m²
3.2.2 | Internal walls
1 | 150mm thick solid block masonry wall (local sand), 16mm plastering | 112.64 | m²
3.3 | Plastering
3.3.1 | External walls
1 | Ground floor | 253.68 | m²
3.3.2 | Internal walls
150mm thick solid block masonry wall (local sand), 16mm plastering
1 | Ground floor | 225.28 | m²
3.4 | Floor screed
3.4.1 | Ground floor
1 | 50mm thick screed inside rooms | 114.6 | m²
2 | 50mm thick screed - toilet | 26.3 | m²
TOTAL Carried over to the summary sheet
3.5 | TOTAL OF BILL NO.3 (MASONRY AND PLASTERING) Carried over to the summary sheet

## Roof works
Bill No: 05 ROOF WORKS
Sl no | Description | Qty | Unit | Rate | Amount
5.1 | Roof Works
1 | 42.4mmØ x 2 CHS support truss | 77.7 | m
2 | 60.3mmØ x 3.2mm CHS | 153.3 | m
3 | ridge capping | 19.4 | m
4 | 50x100mm2.5 thk c-purlins@ 900 c/c | 291 | m
5 | 65x200 fascia board | 38.8 | m |  |  | L wool insulation |  | 4.902
6 | 50mm mineral wool insulation in bet. C-Sections | 232.8 | m² |  |  |  |  | 62.7456
7 | Lysaght Roofing Sheets | 238.62 | m² |  |  | R wool insulation |  | 7.051
8 | 16Ø HS Anchor Bolts with anchor fix chemical | 84 | no |  |  |  |  | 90.2528
9 | 12mm thk steel plate bracket welded to truss (support) | 89.019 | kg |  |  | 2.1195 | kg/pc
10 | 200 x 200mm Zinc Gutter | 38.7 | m
TOTAL Carried over to the summary sheet
5.2 | TOTAL OF BILL NO.5 (ROOF WORKS) Carried over to the summary sheet

## Ceiling
Bill No: 06 CEILING
Sl no | Description | Qty | Unit | Rate | Amount
6.1 | General Notes
a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws. b) Rate shall include for: timber priming and all painting as specified in the drawing
6.2 | Cement board ceiling
1 | a.) Cement board on roof eave/gable ceiling | 44.2 | m²
2 | b.) Suspended "BORAL" or equivalent plasterboard ceiling system with aluminum framing, applied with ground smooth finish in selected paint. Ceiling Height: +3106mm | 150.8 | m²
TOTAL
6.3 | TOTAL OF BILL NO.6 (CEILING WORKS) Carried over to the summary sheet

## Doors and windows
Bill No: 07 DOORS AND WINDOWS
Sl no | Description | Qty | Unit | Rate | Amount
7.1 | General Notes
Rates shall include for: locks (mortise double locks), latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
7.2 | Door units
7.2.1 | Ground floor
1 | D1 | 4 | no
2 | D2 | 3 | no
3 | D3 | 2 | no
4 | D4 | 3 | no
7.3 | Window units
7.3.1 | Ground floor
1 | W1 | 4 | no
2 | W2 | 4 | no
3 | W3 | 4 | no
TOTAL
7.4 | TOTAL OF BILL NO.7 (DOORS AND WINDOWS) Carried over to the summary sheet

## Tiling
Bill No: 08 TILING
Sl no | Description | Qty | Unit | Rate | Amount
8.1 | General Notes
(a) Rates shall include for: fixing, bedding, grouting, pointing, finishing and any other similar works to ensure the required finish. b) Rates shall include for all other beading works required at the corneres
8.2 | Floor tiling
1 | 600x600mm Homogenous Non-Slip Tiles over 50mm Screeding | 114.6 | m²
2 | 300x300mm Homogenous non-slip tiles over 50mm screeding | 26.3 | m²
TOTAL
8.3 | TOTAL OF BILL NO.8 (TILING) Carried over to the summary sheet

## Painting
Bill No: 09 PAINTING
Sl no | Description | Qty | Unit | Rate | Amount
9.1 | Walls
a) Weather proof emulsion paint system with textured finish on plastered and concrete surfaces of external and normal emulsion paint on internal walls.
1 | External painting 1 coat of wall sealer, & 2 coats of paints | 253.68 | m²
2 | Emulsion paint putty finish system on plastered and concrete surfaces of internal walls. | 225.28 | m²
9.2 | Ceilings
| Applied with ground smooth finish in selected paint | 390 | m²
9.3 | Floor paint
a) Epoxy floor paint
| Self levelling cement floor screed with epoxy floor paint corridor area | 117.2 | m²
TOTAL
9.4 | TOTAL OF BILL NO.09 (PAINTING) Carried over to the summary sheet

## Plumbing Works
Bill No: 10 PLUMBING WORKS
Sl no | Description | Qty | Unit | Rate | Amount
10.1 | Sanitary Fixtures & Accessories
| Water closet | 4 | no
| Wash basin including counter top | 2 | no
| Wash basin tap | 1 | no
| Towel hanger | 1 | no
10.2 | Drainage
| 82Ø RWP | 50 | m
| 82Ø Elbow | 18 | no
| 82Ø Wye | 2 | no
| 82Ø Tee | 2 | no
| 110Ø Soil pipe | 21 | m
| 110Ø Elbow | 5 | no
| 110Ø Wye | 2 | no
| Floor Drain | 2 | no
| Floor Gully | 3 | no
10.3 | Water Supply
| 16Ø cold water supply to cistern | 4.8 | m
| 16Ø cold water supply to bidet shower | 6 | m
| 16Ø Elbow | 4 | no
| 25Ø Pipe rise in wall | 29 | m
| 25Ø elbow | 7 | no
| 25Ø Tee | 10 | no
| 16Ø Cold water supply to basin/Sink | 5 | m
| 16ØPVC Elbow with thread | 3 | no
| 16Ø PVC Pipe | 2.3 | no
| 25Øx16Ø PVC Tee Reducer | 3 | no
TOTAL
10.4 | TOTAL OF BILL NO.10 PLUMBING WORKS Carried over to the summary sheet

## Electrical installations
Bill No: 11 ELECTRICAL INSTALLATION
Sl no | Description | Qty | Unit | Rate | Amount
11.1 | Lighting
1 | Light Switch | 18 | no
2 | Ceiling Fan (52"-54") | 3 | no
3 | C2 Ceiling Down Light (18W) | 6 | no
4 | WPD out door wall light | 13 | no
5 | H2 recessed down light 12W | 7 | no
6 | Ceiling Light 18W CFL | 2 | no
7 | 2x4' tube light with weather proof opal casing | 1 | no
8 | Switching Line | 113 | m
9 | CL2 2x4' Flourecent light with opal casing | 8 | no
10 | Mirror Light (7W Led Light) | 2 | no
11 | 2g | 2 | no
12 | 3g | 3 | no
13 | 4g | 6 | no
11.2 | ACV & Power Layout
All Electrical Component to be connected to their respective DB
1 | 15A. Switched/Spur unit @ H.L. | 2 | no
2 | Distribution Box | 2 | no
3 | Telephone outlet (RJ11, Connector) | 1 | no
4 | VGA cable for Projector | 2 | no
5 | 13A twin socket outlet | 16 | no
6 | Computer network outlet (RJ 45 Connectors) | 1 | no
7 | Speaker | 1 | no
8 | 20,000 BTU/hr Single split air-conditioner | 2 | no
9 | 25Ø Condensate drain pipe in tray | 6 | m
TOTAL
11.3 | TOTAL OF BILL NO.11 (ELECTRICAL INSTALLATIONS) Carried over to the summary sheet