## Cover
BILL OF QUANTITIES
MURAIDHOO SCHOOL
CLIENT : MINISTRY OF EDUCATION, GOVERNEMNT OF MALDIVES
DATE: 25TH AUGUST 2019

## Summary
PROJECT: MURAIDHOO SCHOOL
SUMMARY OF BILL OF QUANTITIES
Bl.no | Item Description | Amount
1 | PRELIMINARIES
2 | PLASTERING
3 | FINISHING
4 | DOORS & WINDOWS
5 | CEILING
6 | PAINTING
7 | HYDRAULICS & DRAINAGE
8 | ELECTRICAL INSTALLATIONS
9 | FIRE FIGHTING SYSTEM
10 | ADDITIONS
11 | OMISSIONS
| TOTAL Mrf | 0
| GST 6% Mrf | 0
| GRAND TOTAL Mrf | 0

## Boq
PROJECT : MURAIDHOO SCHOOL
Item | Description | Unit | Qty | Material Rate | Labour Rate | Total
BILL No: 01
PRELIMINARIES
1.1 | General Notes
(1) | Abbreviations
m - metre
no - numbers
m³ - cubic metre
m² - square metre
m - metre
t - tonnes
incl - including
mm - millimetre
dia - diameter
SS - Stainless Steel
GI - Galvanised Iron
1.2 | SITE MANAGEMENT COST
(1) | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone, fax, hoardings, fences, Crane/Concrete pump, Machinaries and similar items | Item | 1
1.3 | SIGN BOARD
(1) | Allow for sign board. | No | 1
1.4 | LOGISTICS / EQUIPMENTS
(1) | Charges for supply or shifting material to the site and Machines or equipments to be used for the project. | Item | 1
1.5 | Clean-up
(1) | Allow for clean-up of completed works and site upon completion. | Item | 1
0
BILL No: 01 PRELIMINARIES
TOTAL OF BILL No: 01 - Carried over to summary
BILL No: 02
2.1 | PLASTERING
(a) 20mm thick Cement plastering on Exterior surface of External masonry walls and concrete surfaces and 15mm thick plastering on interior walls and concrete surface as specified incl. wire mesh shall be fixed at the joints of concrete surfaces and walls before plastering. Quantity is measured including concrete surfaces - Parapetwalls, Liftwalls, columns & beams.
(b)Rates shall include for External plastering shall 20mm thick (12+8mm) 2 coats in 1:4 cement and river sand mix ratio
c) Rates shall include for approved brand water proofing compound shall be mixed with cement mortar for external wall plastering as per manufacturers specifications.
2.2 | GROUND FLOOR
1 ) | External Plastering
| External surface of exeterior wall | m2 | 32.715
2 ) | Internal Plastering
| Internal surface of external wall and both surface of Interior walls | m2 | 61.0575
2.3 | ROOF LEVEL
1 ) | Internal Plastering
| Internal surface of external wall. | m2 | 18.8
2.4 | PLASTERING ADMIXTURE
1 ) | Charges for Plastering admixture Conmix Megaflow MP to be mixed with the plastering mortar to all External and Interior plastering works. | item | 1
BILL No: 02 -PLASTERING
TOTAL OF BILL No: 02 - Carried over to summary
BILL N0: 03
FINISHING
3.1 | GENERAL
(a) Rates shall include for: Fixing, bedding, grouting, and pointing materials, making good around pipes, sanitary fixtures, and similar; cleaning & Polishing.
(b) All Tiling work in accordance with specifications and finishes schedule.
(c) Tiles for bed rooms, offices, Kitchen, Living, Dining, corridors, all general areas shall be 600 x 600mm Polished Porcelain/Homogeneous tiles.
(d) Toilet wall tiling shall be at 2.6m height from the floor level. Toilet wall tiles shall be 300 x 600 mm size Polished ceramic tiles including designed border tiles and Toilet Floor Tiles shall be 300 x 300mm Non- Slip ceramicTiles.
3.2 | GROUND FLOOR
A ) | FLOOR TILING
1 ) | 600 x 600mm Polished Porcelain tiles
| Class rooms | m2 | 10.3
| Chemistry Lab & Biology Lab | m2 | 51.4
| Store | m2 | 15.3
| Preparatory Room | m2 | 9
2 ) | 600 x 600mm Non Slip Porcelain tiles
| Verandah including Entrance Steps | m2 | 59.9
B ) | WALL TILING
300 x 600mm Polished Ceramic Wall Tiles. 600mm high on sink side walls of Laboratory & Preparatory room)
1 ) | Laboratory & Preparatory room | m2 | 12.7
B ) | LABORATORY COUNTER
1 ) | Charges for supply & Installation of 100mm thick R.c.c. Counter and finish the top surface with 600 x 600mm size polished tiles. | mtr | 19.35
C ) | SKIRTING
1 ) | Skirting - 600 x 100mm Porcelain Tiles | m | 115
3.3 | TILE ADHESIVE
1 ) | Charges for supplying special tiles adhesive Conmix C800 for fixing Porcelain tiles. | item | 1
2 ) | Charges for supplying special tiles adhesive Conmix C500 for fixing Ceramic tiles. | item | 1
3.4 | OTHERS
1 ) | Stage finish | item | 1
BILL No: 03 -FINISHING
TOTAL OF BILL No: 03 - Carried over to summary
BILL N0: 04
DOORS AND WINDOWS
4.1 | General
(a) Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
(b) Rates shall include for door frames and window frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings and installation.
(c) All Timber door frames shall be treated timber. Rate shall include for Paint/Varnish finish.
(d) All louvres, windows and sliding doors shall be 30 micron powder coated aluminium as per details given in Door/Window schedule.
(e) All doors and windows shall be accordance with door/window drawing details.
4.2 | GROUND FLOOR
Door units
1 ) | D1 - 40mm thick Solid Timber Framed door as per drawing details - 950 x 2000mm. | no | 1
BILL N0: 04 - DOORS AND WINDOWS
TOTAL OF BILL No: 04 - Carried over to summary
BILL No: 05
WOOD WORK & CEILING
5.1 | General
(a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails,bolts & screws.
(b) Rates shall include for applying approved quality wood preservators as per manufactures instructions for all Timber structures.
(c) Rates shall include for 6mm thick Cement board fixed on 35 x 50mm Timber frame,trimming, nails, screws,hooks, hangers, clips and similar.
5.2 | CEILING
1.0 | BELOW THE ROOFING
1 ) | Acoustic Palster board Ceiling on Aluminium frame - Class rooms, Laboratory & Store. | m2 | 169.765
2 ) | 6mm thick Cement Board ceiling on 35 x 50mm size Timber frame - Corridor & Eave Ceiling | m2 | 6.215
5.3 | FUME CUPBOARD
| Supply, Fabrication and Fixing Fume cup board as per clients' requirement. | no | 1
BILL No: 05 - WOOD WORK & CEILING
TOTAL OF BILL No: 05 - Carried over to summary
BILL No: 06
PAINTING
6.1 | General
(a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door and window furniture.
(b) All painting work shall be carried in accordance with the Specifications
(c)Rate shall include for Nippon brand weather proof paint finish for exterior surfaces of the wall complete including application of two coats of oil based wall sealer and two coats of weather bond paint
(d)Rate shall include for Conmix Conputty and Nippon brand Emulsion paint finish for interior surfaces of the wall and ceilings complete including application of two coats of wall sealer, two coats of putty finish and two coats of emulsion paint finish on top for Interior painting.
1.0 | GROUND FLOOR
1 ) | Painting, Nippon brand weather bond paint, exterior surfaces of External Wall, Columns & beams. | m2 | 218.1
2 ) | Painting, Nippon brand Emulsion paint, interior surfaces Wall, Columns & beams) | m2 | 407.05
3 ) | Painting, Nippon brand Emulsion paint, Soffit of Cement board Ceiling. | m2 | 62.15
2.0 | ROOF LEVEL
1 ) | Painting, Nippon brand weather bond paint, exterior surfaces of External Wall, Columns & beams. | m2 | 18.9
2 ) | Painting, Nippon brand Emulsion paint, Eave Ceiling. | m2 | 18.9
BILL No: 06 - PAINTING
TOTAL OF BILL No: 06 - Carried over to summary
BILL No: 07
HYDRAULICS & DRAINAGE
7.1 | General
(a) Design provide and install plumbing network for the entire building complete in accordance to standard set by the local governing body MWSC
(b) The following items and description and the plumbing drawings are given as guidance as to the nature of the information to be returned by the contractor.
(c) Ground water connection shall be made as specified in the drawings.
(d) The cost shall include for; sockets, running joints, connectors, elbows, junctions, reducers, expansion joints, back nuts and similar, incidental fittings, clips, saddles, brackets, straps, hangers, screws, nails , pvc glues, threadseals and fixing complete, including cutting and forming holes, excavating, laying pipes , backfilling trenches.
(e) All pipes shall be High Pressure uPVC "Mutha" or equivalent brand.
1.0 | GROUND FLOOR |  |  |  |  | 0
1 ) | HYDRAULICS
a ) | Charges for Piping for fresh water Pipe work | item | 1
b ) | Charges for Piping for Ground water supply pipe work. | item | 1
2 ) | SANITARY FIXTURES &ACCESSORIES
1 ) | Laboratory Sink, Ceramic with trap | no | 10
3 ) | Sink tap (Watertec brand) | no | 10
7 ) | Floor drain with trap | no | 4
9 ) | Stop valves | no | 3
3 ) | DRAINAGE
1 ) | SEWERAGE & DRAINAGE: Charges for piping for all discharge pipes and drainage pipes including connection to the Existing Inspection Chambers | item | 1
BILL No: 07 - HYDRAULICS AND DRAINAGE
TOTAL OF BILL No: 07 - Carried over to summary
BILL No: 08
ELECTRICAL INSTALLATIONS
8.1 | General
(a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates shall include for electrical conduits, fittings, equipment and similar all fixings to various building surfaces and also all elecetrical work shall be carried out according to STELCO standards and specifications.
(d) Each Light/ light fixture and its switch is measured as one one point; similarly each fan or each socket outlet is measured as one point;
(e) Rates shall include for supply and complete installation of fittings and fixtures.
(d) Rates shall include for all Sockets and Switches shall be ABB/LEGRAND brand.
1.0 | GROUND FLOOR
1 ) | ELECTRIC BOARDS |  |  |  |  | 0
a ) | Supply and Installation of STELCO approved (ABB or LEGRAND brand) Distribution board | no | 1
2 ) | ELECTRIC FIXTURES
| Lights - L 07 | nos | 25
| Lights - L 10 | nos | 7
| Lights - L 17 | nos | 8
| 1200mm dia. Ceiling Fan, KDK brand | nos | 13
| Exhaust Fan (Mechanical Ventilators) | nos | 6
| 1 x 13A Power Socket - P01 | nos | 3
| 2 x 13A Power Socket - P02 | nos | 19
| 1 x 15A Power Socket - P15 & P16 | nos | 8
| 1 gang 1way Switches - P19 | nos | 1
| 2 gang 1way Switches - P20 | nos | 1
| 3 gang 1way Switches - P21 | nos | 3
| 4 gang 1way Switches - P22 | nos | 7
| Fan Dimmer Switch - P23 | nos | 13
| Telephone Socket outlet - T01 | nos | 3
| TV - Socket outlet - T10 | nos | 3
| Sound system - Speakers - T11 | nos | 6
| Computer Network Socket outlet - T02 | nos | 3
| VGA Sockets - VGA 01 & VGA 02 | nos | 6
3 ) | ELECTRICAL WIRING
1 ) | 2.5mm2 Wiring to Light Points | points | 53
2 ) | 2.5mm2 Wiring to Power Points | points | 30
3 ) | 16mm2 Cabling to DBs | no | 1
4 ) | Cabling to Telephone Sockets | points | 3
5 ) | CatCabling to TV Sockets | points | 3
6 ) | Cabling to Speaker points | points | 6
7 ) | Cat 06 Cabling to Data Network points | points | 3
8 ) | VGA Cables to VGA sockets | points | 3
BILL No: 08 - ELECTRICAL INSTALLATIONS
TOTAL OF BILL No: 08 - Carried over to summary
BILL No: 09
FIRE FIGHTING SYSTEM
9.1 | GENERAL
a )Rates shall include for: sockets, running joints, connectors, elbows, junctions, reducers, expansion joints, back nuts, and similar incidental fittings, clips, saddles, brackets, straps, hangers screws nails and fixing complete including cutting and forming holes.
b ) Rate shall include for pipe works and inner and outer surface of all pipe work shall be galvanized steel.
c )All wiring and pipe work shall be done as specified in the drawing.
d ) All firefighting system equipments and fixtures has to be approved brand specified by Fire fighting department of MNDF prior to the installation. Shop drawings of the system shall be prepared to the standard of Fire fighting department of MNDF and submitted to the Consultant for approval.
9.2 | FIRE ALARM SYSTEM
Heat Resistant cable shall be laid for connecting the detectors.
1 | GROUND FLOOR
a ) | FIRE ALARM SYSTEM
1 ) | JUNCTION BOX | no | 1
2 ) | EXIT SIGN LIGHT - L12 | no | 7
3 ) | RESETABLE BREAK GLASS MANUAL CALL POINT - F02 | no | 1
4 ) | FIRE ALARM BELL - F05 | no | 1
5 ) | SMOKE DETECTOR - F03 | no | 8
6 ) | PORTABLE EXTINGUISHER (H2O) - F07 | no | 2
7 ) | PORTABLE EXTINGUISHER (CO2) - F08 | no | 2
8 ) | CONVENTIONAL FIRE ALARM PANEL - F09 | no | 1
BILL No: 09 - FIRE FIGHTING SYSTEM
TOTAL OF BILL No: 09 - Carried over to summary
BILL No: 10
ADDITIONS
10.1 | General
Provision to include quantities as per the drawing which is missed in the bill of quantities.
BILL No: 10 - ADDITIONS
TOTAL OF BILL No: 10 - Carried over to summary
BILL No: 11
OMISSIONS
11.1 | General
Provision to remove excess quantity given in the bill quantities than the drawing details
BILL No: 11 - OMISSIONS
TOTAL OF BILL No: 11 - Carried over to summary