## Cover (2)
BILL OF QUANTITIES
KALAAFAANU SCHOOL RENOVATION
CLIENT : MINISTRY OF EDUCATION

## BOQ Summary
SUMMARY OF BILL OF QUANTITIES
Project: KALAAFAANU SCHOOL | Date: | 2024-08-09
Version:
Client: | Prepared by:
DESCRIPTION |  | AMOUNT (MVR) | %
Bill №: 01 - PRELIMINARIES
Bill №: 02 - RENOVATION WORKS
Bill №: 03 - MASONRY
Bill №: 04 - CEILING / PARTITION
Bill №: 05 - WINDOWS
Bill №: 06 - DOORS
Bill №: 07 - PAINTING
Bill №: 08 - FINISHES
Bill №: 09 - FURNITURE
Bill №: 10 - HYDRAULICS AND DRAINAGE
Bill №: 11 - ELECTRICAL INSTALLATIONS
Bill №: 12- INSULATION, FIRE STOPPING & FIRE PROTECTION
Bill №: 13 - LABORATORY GAS SYSTEM
Bill №: 14- MISCELLANEOUS WORK
Bill №: 15- ADDITIONS AND OMMISIONS
Duration:
TOTAL AMOUNT
TOTAL 8 % GST AMOUNT
GRAND TOTAL INCLUDING 8 % GST
NOTES to BoQ:

## BOQ for tender
0
BILL OF QUANTITIES
ITEM |  |  |  | DESCRIPTION | UNIT | QTY | MATERIAL RATE | LABOUR RATE | AMOUNT
1.0.00 |  |  |  | Bill №: 01 - PRELIMINARIES |  |  |  |  | 0
1.1.00 | PREAMBLES
1.1.01 |  |  |  | General Preambles:
Renovation of KALAAFAANU SCHOOL below mentioned rooms.
COMPUTER LAB
SCIENCE LAB
GENERAL LAB
ARTS & CRAFTS LAB
1.2.00 | GENERAL NOTES
Abbreviations
|  |  | m | - metre
|  |  | nr | - numbers
|  |  | m3 | - cubic metres
|  |  | m2 | - square metres
|  |  | lm | - linear metre
|  |  | t | - tons
|  |  | inc. | - including
|  |  | mm | - millimetre
|  |  | item | - quote a lumpsum amount for the item
|  |  | SS | - stainless steel
|  |  | GI | - galvanized iron
1.3.00 | SITE MANAGEMENT COSTS
1.3.01 |  |  |  | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone, fax, hoardings & similar. | item | 1
1.3.02 |  |  |  | The contractor shall provide protective covering for carpet, furnishings, and finishes in existing areas not designated for demolition or new construction. the contractor shall be responsible for the repair of any damage caused by his work or any subcontractor. in particular, the contractor shall maintain a dust-free environment within the area. | item | 1
1.4.00 | SIGN BOARD
1.4.01 |  |  |  | Allow for sign board. | nr | 1
1.5.00 | CLEAN-UP
1.5.01 |  |  |  | Allow for clean-up upon completion of works. | item | 1
1.6.00 | INSURANCE, BONDS, GUARANTEES AND WARRANTIES
1.6.01 |  |  |  | Insurance: | item | 1
Contractor’s All Risk (CAR) insurance covering physical loss or damage.
Workers' compensation and employer’s liability insurance.
Third-party liability insurance.
1.6.02 |  |  |  | Bonds: | item | 1
Performance bonds ensuring project completion.
Payment bonds ensuring all subcontractors and suppliers are paid.
1.6.03 |  |  |  | Guarantees: | item | 1
Manufacturer guarantees for materials and equipment.
Contractor guarantees for workmanship and materials.
1.7.00 | SHOP DRAWINGS AND AS BUILT DRAWING
1.7.01 |  |  |  | As-Built Drawings: | item | 1
Final drawings reflecting all changes made during the construction process.
1.8.00 | SAFETY ON SITE
1.8.01 |  |  |  | Safety Measures: | item | 1
Provision and maintenance of personal protective equipment (PPE).
Implementation of safety protocols and emergency procedures.
Regular safety training and drills for all site personnel.
1.8.02 |  |  |  | Safety Signage: | item | 1
Clear and visible safety signs indicating hazards, emergency exits, and equipment.
1.8.03 |  |  |  | Safety Personnel: | item | 1
Appointment of a safety officer responsible for site safety compliance.
1.9.00 | SITE ESTABLISHMENT
1.9.01 |  |  |  | Allow for mobilization and demobilization | item | 1
1.10.00 | SERVICES AND FACILITIES
1.10.01 |  |  |  | Provision and maintenance of services and facilities such as Water, power supply, lighting and fuel required for the project, including Client facilities. | item | 1
1.11.00 | TEMPORARY FENCING AND HOARDING
1.11.01 |  |  |  | Supply, erect and maintenance of a fence through out the construction period and hoarding all along the perimeter of the of the site. | item | 1
1.12.00 | MATERIAL TESTING
Allow for material testing as per technical specifications. Testing shall include for concrete cube testing, testing of cement,
sand, aggregate, blocks, timber and similar as per standards specified in tender/MHI specificaions and
1.12.01 |  |  |  | as required as per site conditions. | item | 1
1.13.00 | TOTAL OF BILL №: 01 - Carried Over To Summary
2.0.00 |  |  |  | Bill №: 02 - RENOVATION WORKS
2.1.00 | GENERAL
|  |  | (a) | Rates shall include for: demolish, dismantle and remove building structures and materials including brick, timber, concrete and metal.
2.2.00 | COMPUETR LAB
Replacing of existing door Panels/window Panels. Replacing damaged locks, handles
2.2.01 |  |  |  | Installation of DoorCloser on Door - D1 | nr | 2
2.2.02 |  |  |  | Scratch any delaminated paint, clean the surface and apply wall sealer | m2 | 73.66
2.2.03 |  |  |  | Scratch any delaminated paint, clean ther surface and apply wall sealer | m2 | 38.51
2.2.04 |  |  |  | Removal of existing ceiling including fans / lights as per drawing | m2 | 67.23
2.2.05 |  |  |  | Cutting holes/ducts in walls to embed electrical conduit and fittings. | item | 1
2.2.06 |  |  |  | Repair all the crack on the walls using a durable crack filler | m | 17
2.3.00 | SCIENCE LAB
2.3.04 |  |  |  | Scratch any delaminated paint, clean the surafce, apply wall sealer and repaint | m2 | 140.42
2.3.05 |  |  |  | Scratch off existing paint coat on external surface of walls | m2 | 15.02
2.3.06 |  |  |  | Replace the existing fans with new fans ( include rewiring cost ) | nr | 6
2.3.07 |  |  |  | Rewire for the fans and lights using exposed hard conduit (20 mm Dia) pipes secured to slab soffit and wall | item | 1
2.3.08 |  |  |  | Coring of 30 mm Diametre Holes on 80 mm thick RC Slab (Bench Top with Tiles) | nr | 17
2.3.09 |  |  |  | Repair all cracks using a durable crack filler | Item | 1
2.4.00 | GENERAL LAB
2.4.01 |  |  |  | Scratch any delaminated paint, clean the surafce, apply wall sealer and repaint | m2 | 65.83
2.4.02 |  |  |  | Scratch any delaminated paint, clean the surafce, apply wall sealer | m2 | 10.99
2.4.03 |  |  |  | Removal of existing ceiling including fans / lights as per drawing | m2 | 51.6
2.4.04 |  |  |  | Rewire for the fans and lights using exposed hard conduit (20 mm Dia) pipes secured to slab soffit and wall | item | 1
2.4.05 |  |  |  | Repair all cracks using a durable crack filler | Item | 1
|  |  |  | Apply water proofing chemical (MoyaProof CWP / Equivalent) layer on the outer surfac eof the wall | Item | 1
2.5.00 | ARTS & CRAFTS LAB
2.5.01 |  |  |  | Repair all the crack on the walls using a durable crack filler | m | 17
2.5.02 |  |  |  | Remove existing fans | nr | 2
2.5.03 |  |  |  | Supply and installation of fans | nr | 4
2.5.04 |  |  |  | Cutting holes/ducts in walls to embed electrical conduit and fittings. | item | 1
2.5.05 |  |  |  | Rewire for the fans and lights using exposed hard conduit (20 mm Dia) pipes secured to slab soffit and wall | Item | 1
2.5.00 | TOTAL OF BILL №: 02 - Carried Over To Summary
3.0.00 |  |  |  | Bill №: 03 - MASONRY
3.1.00 | GENERAL
|  |  | (a) | Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leavingholes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashing, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good.
|  |  | (b) | For masonry and plastering Hilaveli should be used
|  |  | (c) | All works complete as per drawing and specification
3.5.00 |  |  |  | TOTAL OF BILL №: 03 - Carried Over To Summary
4.0.00 |  |  |  | Bill №: 04 - CEILING / PARTITION |  |  |  |  | 0
4.1.00 | GENERAL
|  |  | (a) | Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
|  |  | (b) | All works complete as per drawing and specification
4.2.00 | CEILING
9 mm Thick PVC Panel ceiling mounted on existing timber frames
4.2.01 |  |  |  | GENERAL LAB- COOKING | m2 | 56
4.2.02 |  |  |  | GENERAL LAB -SEWING | m2 | 56
4.3.00 |  |  |  | TOTAL OF BILL №: 04 - Carried Over To Summary
5.0.00 |  |  |  | Bill №: 05 - WINDOWS
5.1.00 | GENERAL
|  |  | (a) | Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
|  |  | (b) | Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings.
|  |  | (c) | Sizes are given overall outside dimensions of actual doors and windows.
|  |  | (d) | Thickness and sizes of glass panels are shown on the Drawings and doors and windows schedule
|  |  | (e) | Rates shall include for all painting as specified
|  |  | (f) | Rates shall include all items specified in the door schedule and specification.
|  |  | (g) | Frames and sashes to be 25-60 micron powder coated aluminium other wise specified.
|  |  | (h) | All works complete as per drawing and specification
5.2.00 | WINDOWS
COMPUTER LAB
5.2.01 | 3850 | x | 1121 | Supply and Installation Venetian Aluminium Blinds | nr | 1
5.2.02 | 6240 | x | 1616 | Supply and Installation Venetian Aluminium Blinds | nr | 1
5.2.03 |  |  |  | Replace damaged rubber packings, handles and locks
SCIENCE LAB
5.2.04 | 3850 | x | 1120 | Supply and Installation Venetian Aluminium Blinds - W4 | nr | 1
5.2.05 | 6240 | x | 1616 | Supply and Installation Venetian Aluminium Blinds - W2 | nr | 1
5.2.06 | 1948 | x | 1120 | Supply and Installation Venetian Aluminium Blinds - W3 | nr | 1
5.2.07 | 3135 | x | 1616 | Supply and Installation Venetian Aluminium Blinds - W4 | nr | 1
5.2.08 | 2095 | x | 1616 | Supply and Installation of SHERA BOARDS (12 mm THICK, CATEGORY A1 FIRE RATED ) to cover the window- W5 | nr | 1
5.02.09 | 3850 | x | 600 | Replacing Timber Louvers with Fixed Glass Windows -W1 | nr | 2
5.02.10 |  |  |  | Replace damaged rubber packings,handles and locks | nr | 10
5.02.11 | GENERAL LAB
5.02.12 | 1575 | x | 500 | Replace Louvers with fixed glass on existing windows - W1 | nr | 2
5.02.13 | 2450 | x | 500 | Replace Louvers with fixed glass on existing windows - - W2 | nr | 2
5.02.14 | 900 | x | 500 | Replace Louvers with fixed glass on existing Door-D1 | nr | 1
5.02.15 |  |  |  | Replace damaged rubber packings,handles and locks | nr | 4
5.03.00 | ARTS &CRAFTS LAB
5.03.01 | 2442 | X | 1120 | Supply and Installation Venetian Aluminium Blinds - W2 | nr | 1
5.03.02 | 1578 | X | 1120 | Supply and Installation Venetian Aluminium Blinds - W1 | nr | 1
5.03.04 |  |  |  | Replace andy damged rubber packings, handles and locks | item | 1
5.3.00 |  |  |  | TOTAL OF BILL №: 05 - Carried Over To Summary
6.0.00 |  |  |  | Bill №: 06 - DOORS
6.1.00 | GENERAL
|  |  | (a) | Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
|  |  | (b) | Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings.
|  |  | (c) | Sizes are given overall outside dimensions of actual doors and windows.
|  |  | (d) | Thickness and sizes of glass panels are shown on the Drawings and doors and windows schedule.
|  |  | (e) | Rates shall include for all painting as specified
|  |  | (f) | Rates shall include all items specified in the door schedule and specification.
|  |  | (g) | Frames and sashes to be 25-60 micron powder coated aluminium other wise specified.
|  |  | (h) | All works complete as per drawing and specification
6.2.00 | DOORS
COMPUTER LAB
6.2.01 | 900 | x | 2100 | Install Door Closer & stopper - D1 | nr | 2
6.2.02 | 800 | x | 2200 | Replace Sliding Timber Door Panels of Storage | nr | 8
SCIENCE LAB
6.2.03 | 920 | x | 2100 | Replace Door Panel with Door Closer & stopper - D1 | nr | 1
6.2.04 | 910 | x | 2100 | Replace Door Panel with Door Closer & stopper- D2 | nr | 1
6.2.05 | 800 | x | 2100 | Supply and Install 1.5 hours Fire Rated Door ( FD90) - D3 | nr | 2
GENERAL LAB
6.2.06 | 1000 | x | 2550 | Replace Door Panel with Door Closer - D1 | nr | 2
6.2.07 | 850 | x | 2100 | Replace Door Panel with Door Closer - D2 | nr | 1
ARTS &CRAFTS LAB
6.2.08 | 900 | X | 2100 | Replace Door Panel with Door Closer & stopper - D1 | nr | 1
6.3.00 |  |  |  | TOTAL OF BILL №: 06 - Carried Over To Summary |  |  |  |  | 0
7.0.00 |  |  |  | Bill №: 07 - PAINTING
7.1.00 | GENERAL
|  |  | (a) | Rates shall include for: the provision, erection and removal of scaffolding, preparation, wall putty application, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door & window furniture.
|  |  | (b) | All painting work shall be carried in accordance with the Specifications.
7.2.00 | WALL PAINTING
EXTERNAL SURFACES: Exterior grade matte emulsion paint finish ground smooth in as specified
7.2.01 |  |  |  | COMPUTER LAB | m2 | 40 |  |  | 0
7.2.02 |  |  |  | SCIENCE LAB | m2 | 15.018 |  |  | 0
7.2.03 |  |  |  | GENERAL LAB | m2 | 10.99 |  |  | 0
7.2.04 |  |  |  | ARTS &CRAFST LAB | m2 | 60 |  |  | 0
|  |  |  | INTERNAL SURFACES: Interior grade matte emulsion paint finish ground smooth and waterproof paint in specified areas as per drawing. |  |  |  |  | 0
7.2.04 |  |  |  | COMPUTER LAB | m2 | 40 |  |  | 0
7.2.05 |  |  |  | SCIENCE LAB | m2 | 123 |  |  | 0
7.2.06 |  |  |  | GENERAL LAB | m2 | 55 |  |  | 0
7.2.07 |  |  |  | ARTS &CRAFST LAB | m2 | 60 |  |  | 0
0
7.3.00 |  |  |  | TOTAL OF BILL №: 07 - Carried Over To Summary
8.0.00 |  |  |  | Bill №: 08 - FINISHES |  |  |  |  | 0
8.1.00 | GENERAL
|  |  | (a) | Rates shall include for: fixing, bedding, grouting, and pointing materials; making good around pipes, sanitary fixtures, and similar; cleaning down and polishing.
0
8.2.00 | FLOOR TILING |  |  |  |  | 0
Science Lab
18.201 |  |  |  | 600 x 600mm porcelain non-slip floor tile over mortar as specified in the drawing- Loose Tiles/ Missing Tiles | m2 | 9
8.3.00 | SKIRTING
Porcelain skirting tile over mortar
|  |  |  | General Labs |  | 0
8.3.01 |  |  |  | Supply and install Skirting Tiles where missiing / Damaged | Item | 1
8.4.00 | Roofs and Gutter
8.4.01 |  |  |  | Replace the Roof Gutter | m | 25
8.4.02 |  |  |  | Secure the Rainwater downpipes | Item | 1
8.5.00 | Electrical Works
8.5.01 |  |  |  | General Lab
8.5.02 |  |  |  | Supply and installation of 100 x50 x 2mm RHS with base Plate ( 200 x50 x 3 mm Plate with 2xM6 Bolts)- Height 500 mm | nr | 6
8.5.03 |  |  |  | Installation of Sockets with wiring on the RHS | Item | 1
8.4.00 |  |  |  | TOTAL OF BILL №: 08 - Carried Over To Summary
9.0.00 |  |  |  | Bill №: 09 - FURNITURE |  |  |  |  | 0
9.1.00 | GENERAL
|  |  | (a) | Rates shall include for: fixing, bedding, grouting, and pointing materials; making good around pipes, sanitary fixtures, and similar; cleaning down and polishing.
9.2.00 | SCIENCE LAB
9.2.01 |  |  |  | Replace all cupboard doors on existing works stations | m | 18
|  |  |  | Supply and Install Cupboard Divider ( Timber) at Half Height as per the drawing | nr | 12
|  |  |  | Supply of Lab Chairs | nr | 30
9.3.00 | COMPUTER LAB
9.3.01 |  |  |  | Supply and Installation of Computer Desks as per the drawings | nr | 30
9.4.00 | ARTS &CRAFTS LAB
9.4.01 |  |  |  | Arts and craft shelf - 1890m length including 300 x300 mm tiling finish oncounter top and 300x600mm backsplash tile finish as per drawing | nr | 1
9.4.00 |  |  |  | TOTAL OF BILL №: 09 - Carried Over To Summary
10.0.00 |  |  |  | Bill №: 10 - HYDRAULICS AND DRAINAGE |  |  |  |  | 0
10.1.00 | HYDRAULICS
10.2.00 | GENERAL
|  |  | (a) | Rates shall include for: sockets, running joints, connectors, elbows, junctions, valves, reducers, expansion joints; backnuts and similar; incidental fittings, clips, saddles, brackets, straps, hangers, screws, nails and fixing complete including cutting and forming holes; excavating, laying pipes and backfilling trenches.
|  |  | (b) | Rate shall also includes the provision for pipe marking, and tagging as indicated in the specifications.
|  |  | (c) | Rate shall also includes the provisional sum for testing such as but not limited to hydrostatic pressure test for pressure line, and gravity leak test for all gravity lines which was stipulated in the specifications., chlorination/disinfection of network and tanks, and testing and commissioning.
|  |  | (d) | Rate includes the complete delivery of the system and is of working condition.
|  |  | (e) | All pipe work and fittings shall be uPVC.
|  |  | (f) | All works complete as per drawing and specification
10.3.00 | FRESH WATER SUPPLY NETWORK
10.3.01 |  |  |  | SCIENCE LAB | item | 1
10.3.02 |  |  |  | GENERAL LAB | item | 1
10.3.03 |  |  |  | ARTS & CRAFTS LAB | Item | 1
10.4.00 | SANITARY FITTINGS
Replace all Flexible Drain Pipes. Rates must include cleaning of an blockage
SCIENCE LAB
10.4.01 |  |  |  | Replaced Flexible Drain Pipes of Sink | nr | 10
10.4.02 |  |  |  | Fix Water Leakage at all sinks | item | 1
10.4.03 |  |  |  | Replace Faucet Water Supply Tube and Shut off Valve | nr | 10
10.4.04 |  |  |  | Supply and installation Combination Eye Wash Station and Shower Emergency Shower ¦ OSHA Approved | Item | 1
10.4.05 |  |  |  | Replace all Faucets with pull down faucets | nr | 10
10.4.06 |  |  |  | GENERAL LAB
10.4.07 |  |  |  | Replaced Flexible Drain Pipes | nr | 2
10.4.07 |  |  |  | Fix Water Leakages | Item | 2
10.5.00 | DRAINAGE
10.6.00 | GENERAL
|  |  | (a) | Rates shall include for: excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus spoil; bends, junctions, reducers, expansion joints and all joints and other incidental materials.
|  |  | (b) | All pipeworks shall be uPVC.
|  |  | (c) | All works complete as per drawing and specification
10.7.00 | DRAINAGE WORKS
SCIENCE LAB
10.7.01 |  |  |  | Clean the existing Drainage System of the Lab and fix any blockage | item | 1
|  |  |  | Replace and damaged valves, connections etc | Item | 1
10.7.2 |  |  |  | Installation of Drainage System for Emergency Shower and Eyewash System | Item | 1
GENERAL LAB
10.7.03 |  |  |  | Clean the existing Drainage System of the Lab and fix any blockage | Item | 1
10.7.04 |  |  |  | Replace and damaged valves, connections etc | Item | 1
10.7.05 |  |  |  | ARTS & CRAFTS LAB
|  |  |  | Install drainage pipes and fittings including connection to existing drainage system | Item | 1
10.8.00 |  |  |  | TOTAL OF BILL №: 10 - Carried Over To Summary
11.0.00 |  |  |  | Bill №: 11 - ELECTRICAL INSTALLATIONS
11.1.00 | GENERAL
|  |  | (a) | Design, provide and install electrical network for the entire building complete in accordance to standards set by the local governing body STELCO / FENAKA.
|  |  | (b) | The following items and description and the drawings HULS -01 to HULS-05 are given as a guidance as to the nature of the information required to be returned by the contractor. Should they not be appropriate the contractor should provide a similar BOQ using the Additions/Ommisions sheets provided at the back of this BOQ.
|  |  | (c) | The cost shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
|  |  | (d) | The cost shall also include for trenching including: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil.
|  |  | (e) | Rates for electrical isolators, conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces.
|  |  | (f) | A light fixture is measured as one point; switch end of wire is not included in the quantity.
|  |  | (g) | A point wiring for power points is measured (regardless of 1 gang, 2 gang etc) as one point for each socket outlet; other end of wire is not included in the quantity.
|  |  | (h) | Contractor shall provide all cabling, wiring, conduits, etc. within the site boundaries. Cabling, wiring, conduits etc. outside the site boundaries are not included under this Contract.
|  |  | (i) | All works complete as per drawing and specification
11.2.00 | ELECTRICAL WIRING
Electrical wiring with copper conductor cable in conduits in walls as specified
11.2.01 |  |  |  | COMPUTER LAB | item | 1
11.2.02 |  |  |  | SCIENCE LAB | item | 1
11.2.03 |  |  |  | GENERAL LAB | item | 2
11.2.04 |  |  |  | ARTS &CRAFTS LAB | Item | 1
11.3.00 | DB
11.3.01 |  |  |  | COMPUTER LAB | nr | 1
11.3.02 |  |  |  | SCIENCE LAB | nr | 1
11.3.03 |  |  |  | GENERAL LAB | nr | 2
11.3.04 |  |  |  | ARTS &CRAFTS LAB | nr | 1
11.4.00 | LIGHTING
COMPUTER LAB
11.4.01 |  |  |  | Ceiling Mount LED DOWN LIGHT 36 W | nr | 12
11.4.02 |  |  |  | Emergency Light ( 2 hour Battery Life) | nr | 2
SCIENCE LAB
11.4.03 |  |  |  | Ceiling Mount LED DOWN LIGHT 36 W | nr | 20
11.4.04 |  |  |  | Emergency Light ( 2 hour Battery Life) | nr | 2
GENERAL LAB
11.4.05 |  |  |  | Ceiling Mount LED DOWN LIGHT 36 W | nr | 9
11.4.06 |  |  |  | Emergency Light ( 2 hour Battery Life) | nr | 2
ARTS & CRAFTS LAB
|  |  |  | Workbench Light -LED -24W | nr | 10
11.4.06 |  |  |  | Ceiling Mount LED DOWN LIGHT 36 W | nr | 9
11.5.00 | FAN |  |  | Emergency Light ( 2 hour Battery Life) | nr | 1
COMPUTOR LAB
11.5.01 |  |  |  | Ceiling fan ( 52"-54") | nr | 6
SCIENCE LAB
11.5.02 |  |  |  | Ceiling fan ( 52"-54") | nr | 10
GENERAL LAB
11.5.03 |  |  |  | Ceiling fan ( 52"-54") | nr | 6
ARTS & CRAFTS LAB
11.5.04 |  |  |  | Ceiling fan ( 52"-54") | nr | 4
11.6.00 | SWITCHES
COMPUTER LAB
11.6.01 |  |  |  | Ceiling fan switch, 2 gang | nr | 3
11.6.02 |  |  |  | 2 gang switch | nr | 6
SCIENCE LAB
11.6.03 |  |  |  | Ceiling fan switch, 2 gang | nr | 2
11.6.04 |  |  |  | Ceiling fan switch, 4 gang | nr | 2
11.6.05 |  |  |  | 2 gang switch | nr | 2
11.6.06 |  |  |  | 4 gang switch | nr | 4
GENERAL LAB
11.6.07 |  |  |  | Ceiling fan switch | nr | 4
11.6.08 |  |  |  | 3 gang switch | nr | 3
ARTS & CRAFTS LAB
11.6.08 |  |  |  | Ceiling fan switch | nr | 4
11.6.09 |  |  |  | 3 gang switch | nr | 3
11.7.00 | SOCKETS
COMPUTER LAB
11.7.01 |  |  |  | 13A twin switch type power outlet | nr | 38
11.7.02 |  |  |  | 15A single switch type power outlet | nr | 4
SCIENCE LAB
11.7.03 |  |  |  | 13A single switch type power outlet | nr | 2
11.7.04 |  |  |  | 13A twin switch type power outlet | nr | 8
11.7.05 |  |  |  | 15A single switch type power outlet | nr | 6
11.7.06 |  |  |  | 13A single switch type power outlet with weatherproof outlet | nr | 13
GENERAL LAB
11.7.07 |  |  |  | 13A single switch type power outlet | nr | 7
11.7.08 |  |  |  | 13A twin switch type power outlet | nr | 10
11.7.09 |  |  |  | 13A single switch type power outlet with weatherproof outlet | nr | 5
11.7.10 |  |  |  | 15A single switch type power outlet | nr | 4
ARTS & CRAFTS LAB
11.7.11 |  |  |  | 13A single switch type power outlet |  | 7
|  |  |  | 13A twin switch type power outlet |  | 10
|  |  |  | 13A single switch type power outlet with weatherproof outlet |  | 5
|  |  |  | 15A single switch type power outlet |  | 4
11.8.00 | IT, SECURITY
COMPUTER LAB
11.8.01 |  |  |  | Data socket point | nr | 32
11.8.02 |  |  |  | Coded Door Lock | nr | 1
11.8.03 |  |  |  | Exit switch ( 2 Hour Battery Life) | nr | 2
11.8.04 |  |  |  | Wall Mount Server Rack Cabinet ( 24"Wx24"Dx24"H) | nr | 1
11.8.05 |  |  |  | Cable Tray - Celing Mounted | Item | 1
SCIENCE LAB
11.8.09 |  |  |  | Data socket point | nr | 4
11.8.10 |  |  |  | Speaker | nr | 2
11.8.11 |  |  |  | Coded Door Lock | nr | 1
11.8.12 |  |  |  | Exit Switch/ Door Release | nr | 1 |  |  | 0
11.8.13 |  |  |  | Emergency door release | nr | 1 |  |  | 0
|  |  |  | GENERAL LAB |  |  |  |  | 0
11.8.14 |  |  |  | Coded Door Lock | nr | 1 |  |  | 0
11.8.15 |  |  |  | Exit Switch/ Door Release | nr | 1 |  |  | 0
11.8.16 |  |  |  | Emergency door release | nr | 1 |  |  | 0
|  |  |  | ART &CRAFTS LAB |  |  |  |  | 0
11.8.17 |  |  |  | Coded Door Lock | nr | 1
11.8.18 |  |  |  | Exit switch ( 2 Hour Battery Life) | nr | 1
0
11.9.00 | AIR CONDITION /VENTILATION | [7 empty] | 0
|  |  |  | a. All the ACV equipment should be Anti corrosive |  |  |  |  | 0
Rates shall include for complete installation of units
COMPUTER LAB
11.9.01 |  |  |  | Outdoor unit side discharge, 12000BTU | nr | 2
11.9.02 |  |  |  | Wall mounted AC unit, 12000BTU | nr | 2
11.9.03 |  |  |  | Outdoor unit side discharge, 18000BTU | nr | 2
11.9.04 |  |  |  | Wall mounted AC unit, 18000BTU | nr | 2
SCIENCE LAB
11.9.05 |  |  |  | Outdoor unit side discharge, 18000BTU | nr | 4
11.9.06 |  |  |  | Wall mounted AC unit, 18000BTU | nr | 4
11.9.07 |  |  |  | Outdoor unit side discharge, 9000BTU | nr | 2
11.9.08 |  |  |  | Wall mounted AC unit, 9000BTU | nr | 2
11.9.09 |  |  |  | Ceiling mount exhaust fan with shutter, 95LS | nr | 1
11.9.10 |  |  |  | Wall mount exhaust fan with shutter, 60LS with SS duct | nr | 1
11.9.11 |  |  |  | Louver with bird screen | nr | 1
GENERAL LAB
11.9.12 |  |  |  | Outdoor unit side discharge, 9000BTU | nr | 2
11.9.13 |  |  |  | Wall mounted AC unit, 9000BTU | nr | 2
ARTS & CRAFTS LABS
11.9.14 |  |  |  | Outdoor unit side discharge, 9000BTU | nr | 2
11.9.15 |  |  |  | Wall mounted AC unit, 9000BTU | nr | 2 |  |  | 0
0
0
0
0
0
0
0
0
11.10.00 |  |  |  | TOTAL OF BILL №: 11 - Carried Over To Summary
12.0.00 |  |  |  | Bill №: 12- INSULATION, FIRE STOPPING & FIRE PROTECTION
12.1.00 | GENERAL
|  |  | (a) | Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
|  |  | (b) | Rates for cable conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces
|  |  | (c) | Rates shall include for all necessary electrical wiring and accessories required for completion as per drawing and specification
|  |  | (d) | All items shall be supply and complete installation
|  |  | (e) | All works complete as per drawing and specification
12.2.00 | FIRE DECTECTION SYSTEM
COMPUTER LAB
12.2.01 |  |  |  | Smoke detectors | nr | 2
12.2.02 |  |  |  | Fire alarm sounder with strobe light 95DB | nr | 1
12.2.03 |  |  |  | Exit sign light ( 2 hour Battery Life) | nr | 2
12.2.03 |  |  |  | Fire resistance cable | Item | 1
12.2.04 |  |  |  | Supply nad Installation Conventional Fire Alarm Panel -2 Zone | No. | 1
SCIENCE LAB
12.2.05 |  |  |  | Smoke detectors | nr | 5
12.2.07 |  |  |  | Fire alarm sounder with strobe light 95DB | nr | 1
12.2.08 |  |  |  | Exit sign light | nr | 2
12.2.09 |  |  |  | Fire blanket | nr | 3
12.2.10 |  |  |  | Supply and Installation Conventional Fire Alarm Panel -2 Zone | item | 1
12.2.12 |  |  |  | Fire resistance cable
|  |  |  | GENERAL LAB | nr | 2
12.2.12 |  |  |  | Smoke detectors | nr | 2
12.2.14 |  |  |  | Fire alarm sounder with strobe light 95DB | nr | 2
12.2.15 |  |  |  | Exit sign light ( 2 hour Battery Life) | item | 1
|  |  |  | Supply and Installation Conventional Fire Alarm Panel -2 Zone | nr | 1
|  |  |  | Fire resistance cable | Item | 1
Arts & CRAFTS LAB
12.2.16 |  |  |  | Smoke detectors | nr | 2
12.2.17 |  |  |  | Fire alarm sounder with strobe light 95DB | nr | 1
12.2.18 |  |  |  | Exit sign light ( 2 hour Battery Life) | nr | 1
12.2.19 |  |  |  | Supply and Installation Conventional Fire Alarm Panel -2 Zone | nr | 1
12.3.00 | FIRE PROTECTION SYSTEM
COMPUTER LAB
12.3.01 |  |  |  | Fire extinguisher - 2Kg CO2 in Polycarbonate Enclosure | nr | 1
12.3.02 |  |  |  | Fire extinguisher - 6Kg DCP in Polycarbonate Enclosure | nr | 1
|  |  |  | SCIENCE LAB | nr
12.3.03 |  |  |  | Fire extinguisher - 2Kg CO2 in Polycarbonate Enclosure | nr | 2
12.3.04 |  |  |  | Fire extinguisher - 6Kg DCP in Polycarbonate Enclosure | nr | 2
|  |  |  | Supply and install Fire Ball Extinguisher (1.3 kg, 150mm Diameter | nr | 4
GENERAL LAB
12.3.05 |  |  |  | Fire extinguisher - 2Kg CO2 in Polycarbonate Enclosure | nr | 2
12.3.06 |  |  |  | Fire extinguisher - 6L H2O in Polycarbonate Enclosure | nr | 2
0
|  |  |  | ARTS & CRAFTS LAB |  |  |  |  | 0
12.3.07 |  |  |  | Fire extinguisher - 2Kg CO2 in Polycarbonate Enclosure | nr | 1
12.3.08 |  |  |  | Fire extinguisher - 6L H2O in Polycarbonate Enclosure | nr | 1
12.4.00
13.0.00 |  |  |  | TOTAL OF BILL №: 12 - Carried Over To Summary
Bill №: 13 - LABORATORY GAS SYSTEM
13.1.00 | SCIENCE LAB
Complete pipe work and installation of Lab gas to the allocated rooms with all necessary equipment and accessories and maintenance as per drawing,
13.10.01 |  |  |  | Flexible Burner Pigtail Tube 3ft, working Pressure 10 Bar, with forged brass end fitting with brass crimping for 8mm hose size 3/8" BSPF Swivel nut | nr | 20
13.10.02 |  |  |  | 25 mm Diameter Seemless Steel Pipe of Thickness 3.38 mm ( LPG Steel Pipes) | m | 25
13.10.03 |  |  |  | Supply and Installation of Bunsen Burners | nr | 20
13.10.04 |  |  |  | Supply and installation of 2-Way Gas Turret | nr | 10
13.10.05 |  |  |  | Gas Detetctor ( Ceiling Mount) | nr | 2
13.10.06 |  |  |  | Gas Pressure Regulator | nr | 1
13.10.07 |  |  |  | Isolation Valve | nr | 10
13.10.08 |  |  |  | Supply and installation Shut Off Valve Above the Desk | item | 2
13.10.09 |  |  |  | Flange Connection | Item | 2
13.10.10 |  |  |  | Supply and Installation of Gas Detector ( next Gas Cylinder) | nr | 1
13.10.11 |  |  |  | Supply of 10 KG LPG Cyclinders with Metal Frame to Secure the cylinder | nr | 2
13.10.12 |  |  |  | Cable Protection Ramp ( Wire Groove Speed Decleration belt) with inner grove size of 50 mm x 50 mm & Loading Capacity of minimum 200 kg | m | 4
13.2.00
14.0.00 |  |  |  | TOTAL OF BILL №: 13 - Carried Over To Summary |  |  |  |  | 0
Bill №: 14- MISCELLANEOUS WORK
14.1.00 | GENERAL
All works need to be completed as per drawing and specification
14.2.00 | ARTS &CRAFTS LAB
14.2.01 |  |  |  | supply and installation of wood extractor ( Suction Fan Ventilator for woodworking work shop (as given in specification) with flexible pipes mounted on a movable RHS frame | nr | 2
14.2.02 |  |  |  | Supply and Install First Aid kit
14.3.00 | SCIENCE LAB
14.3.01 |  |  |  | Supply and Installation of First Aid kit | nr | 1
14.3.02 |  |  |  | Clean and service the existing exhausters | item | 1
14.4.00 | COMPUTER LAB
14.4.01 |  |  |  | Supply and Install First Aid kit | nr | 1
14.4.00
15.0.00 |  |  |  | TOTAL OF BILL №: 14 - Carried Over To Summary
Bill №: 15 - ADDITIONS AND OMMISIONS
15.1.00 | ADDITIONS
15.1.01
15.1.02 |  |  |  | Bill №: 01 - PRELIMINARIES
15.1.03 |  |  |  | Bill №: 02 - RENOVATION WORKS
15.1.04 |  |  |  | Bill №: 03 - MASONRY
15.1.05 |  |  |  | Bill №: 04 - CEILING / PARTITION
15.1.06 |  |  |  | Bill №: 05 - WINDOWS
15.1.07 |  |  |  | Bill №: 06 - DOORS
15.1.08 |  |  |  | Bill №: 07 - PAINTING
15.1.09 |  |  |  | Bill №: 08 - FINISHES
15.1.10 |  |  |  | Bill №: 09 - FURNITURE
15.1.11 |  |  |  | Bill №: 10 - HYDRAULICS AND DRAINAGE
15.1.12 |  |  |  | Bill №: 11 - ELECTRICAL INSTALLATIONS
15.1.13 |  |  |  | Bill №: 12- INSULATION, FIRE STOPPING & FIRE PROTECTION
15.1.14 |  |  |  | Bill №: 13 - LABORATORY GAS SYSTEM
Bill №: 14- MISCELLANEOUS WORK
TOTAL
15.2.00 | OMISSIONS
15.2.01
15.2.02 |  |  |  | Bill №: 01 - PRELIMINARIES
15.2.03 |  |  |  | Bill №: 02 - RENOVATION WORKS
15.2.04 |  |  |  | Bill №: 03 - MASONRY
15.2.05 |  |  |  | Bill №: 04 - CEILING / PARTITION
15.2.06 |  |  |  | Bill №: 05 - WINDOWS
15.2.07 |  |  |  | Bill №: 06 - DOORS
15.2.08 |  |  |  | Bill №: 07 - PAINTING
15.2.09 |  |  |  | Bill №: 08 - FINISHES
15.2.10 |  |  |  | Bill №: 09 - FURNITURE
15.2.11 |  |  |  | Bill №: 10 - HYDRAULICS AND DRAINAGE
15.2.12 |  |  |  | Bill №: 11 - ELECTRICAL INSTALLATIONS
15.2.13 |  |  |  | Bill №: 12- INSULATION, FIRE STOPPING & FIRE PROTECTION
15.2.14 |  |  |  | Bill №: 13 - LABORATORY GAS SYSTEM
Bill №: 14- MISCELLANEOUS WORK
TOTAL
15.3.00
TOTAL OF BILL №: 15 - Carried Over To Summary