## SUMMARY
Maldives Police Service
Infrastructure and Development Department
Infrastructure and Building Development
Male' Rep of Maldives
PROJECT: Renovation of Police Station
CLIENT: Maldives police service
LOCATION: B. Eydafushi
Date: 6th July 2025
GRAND SUMMARY
Item | Description | Amount
1 | BILL NO. 01 - PRELIMINARIES
2 | BILL NO. 02 - CONCRETE & WOOD WORKS
3 | BILL NO. 03 - MASONRY WALLS / PARTITIONS
4 | BILL NO. 04 - CEILING
5 | BILL NO. 05 - TILING
6 | BILL NO. 06 - DOORS AND WINDOWS
7 | BILL NO. 07 - PAINTING
8 | BILL NO. 08 - ROOFING & METAL WORKS
9 | BILL NO. 09 - HYDRAULICS & DRAINAGE
10 | BILL NO. 10 - ELECTRICAL & SPECIFIC INSTALLATIONS
11 | BILL NO. 11 - CELL BLOCK
12 | BILL NO. 12 - KITCHEN (OUTSIDE)
13 | BILL NO. 13 - ADDITIONS
14 | BILL NO. 14 - OMMISSIONS
TOTAL
GST 8%
| GRAND TOTAL |  | 0

## BOQ REV
Maldives Police Service
Infrastructure Development Department
Infrastructure and Building Development
Male' Rep of Maldives
Date: 6th July 2025
PROJECT: Renovation of Police Station
CLIENT: Maldives police service
LOCATION: B. Eydafushi
BILL OF QUANTITIES
NO | DESCRIPTION | QTY. | UNIT | RATE | AMOUNT
1 | BILL NO 1: PRELIMINARIES
1.1 | SITE MANAGEMENT COST
| Allow for all on and off site management cost including cost of certified site engineer, foreman and assistants, temporary services, telephone, fax, hoardings, guards, temporary fencing inside and outside the premises and similar. | 1 | item
1.2 | CLEAN - UP
| Allow for clean- up of completed works and site up on completion. Allow for removal of debris away from the site. | 1 | item
BILL NO. 01 - PRELIMINARIES
TOTAL OF BILL No: 01 - Carried over to summary
2 | BILL NO 2: CONCRETE & WOOD WORKS
Rates shall include for provision of scaffolding and other necessary works to carryout the described works.
a) Rate shall include for: placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
b) Mix ratio for reinforced concrete shall be 1:2:3
2.1 | REINFORCED CONCRETE
1 | Restoration of concrete in window sill and parapet wall decoration. | 1 | item
Note: (a) Minor cracked and rusted areas shall be chipped to expose rebars, cut and clean-up rusted rebars to receive Structural repair mortar MasterEmaco S 488 or equivalent. (b) If the cracking is severe, remove concrete, clean and wire brush re-bars to remove rusts, place fresh concrete. Rate shall include for provision of shuttering and formworks for new concrete.
2.2 | Flag Post ( refer detail )
1 | As per the drawings construct a flag post. Rates should include all necessary works. ( eg: ELECTRICAL WIRING , lighting etc ) | 1 | Item
2 | Demolition of existing flag post | 1 | Item
2.3 | WOODEN RECEPTION COUNTER
1 | Reception counter with finishing works as per detailed drawings. ( Rates should include all necessary works ) | 1 | Item
GROUND FLOOR
2.4 | FEMALE BARRACKS
2.4.1 | DISMANTLING WORK
1 | Remove the existing toilet door and relocate. Rate must include all necessary works (refer drawing) | 1 | item
2 | Remove the existing window from the store room and relocate it as per drawing and specification. Rate must include all necessary works. | 1 | item
2.5 | LAUNDRY & OUTSIDE
2.5.1 | WOOD WORK
1 | Supply and fix wall mount cabinet using 18mm thick white foam board with 25mm diameter UV-coated closed edges, and 5mm thick PVC backboard. The work includes installation of pneumatic soft-close hinges at laundry (as per drawing) | 1 | item
FIRST FLOOR
2.6 | LAUNDRY (BARRACKS 2)
1 | Reinforced Concrete 150mm thk. Rate shall include formwork, reinforcement and any other modification works to accomodate connection of two washing machines | 1 | item
2.7 | WATERPROOFING WORKS
1 | Provision for waterproofing front RCC gutter slab as per drawing, specification and detail. Rate shall include for all necessary works as per consultant's instruction. All material used shall be pre-approved with relevant technical details | 1 | item
BILL NO. 02 - CONCRETE & WOOD WORKS
TOTAL OF BILL No: 02 - Carried over to summary
3 | BILL NO 03: MASONRY WALLS / PARTITION
a) Existing plastering layer shall be removed and the surface shall be prepared using PVC coated wire mesh to receive the new plastering layer. Plastering thickness as required ≤20mm and mortar ratio shall be 1:4.
b) All cracked surfaces of wall shall be repaired using ReCon GP repair mortar or equivalent chemical compound as per manufacture specification. Chemical shall be approved, prior to applying.
c)All repaired external cracks , must be textured (same pattern ) external texture should be approved.
3.1 | BOUNDARY WALL
1 | Rejoining existing 150mm thk masonry wall ( gate opening) with 25mm thk plastering on both side. | 16.4 | m2
3.2 | EXTERNAL WALLS
3.2.1 | Masonry kicker, including tile works & waterproofing chemical (First floor balconies). Approx 50mmx75mm x1.2m x 2nos | 1 | item
3.3 | INTERNAL WALLS
3.3.1 | 150mm thick masonry wall, including 15mm thick plastering on both sides in investigation room. Rate shall include for removal of existing wooden door. | 1.68 | m2
3.3.2 | 150mm thick masonry wall, including 15mm thick plastering on both sides in store( previous cell ) | 1.37 | m2
3.3.3 | Provision of 1" GI Pipe (2.3m) anchored on both sides at 600mm c/c to masonry wall in laundry area for cloth hanging. | 3 | nos
3.5 | PARTITION WORKS
3.5.1 | Removal of existing wooden partition wall and wooden door in INTEL room at first floor level, provide wooden framed (50x50mm timber) SCG smart board(9mm thick) partition. Rates shall include for installation of wooden door as size same as D5.& wood preservative treatment for frames. | 1 | item
3.5.2 | Removal of existing wooden partition wall in ADMIN STORE room at ground floor level, provide wooden framed (50x50mm timber) SCG smart board(9mm thick) partition. Rates shall include for wood preservative treatment for frames and application of 1 coat of primer and 2 coats of approved interior paint on both sides. | 1 | item
3.5.3 | GROUND FLOOR (RECEPTION AREA)
1 | Replace the damaged dry wall partition boards and repair with new boards. Rate must include all necessary works including finishing and painting. (refer drawing) | 1 | item
3.5.4 | GROUND FLOOR (RECORD ROOM)
1 | Remove the damaged dry wall partition boards and finish floor and wall to match with existing. Rate must include all necessary works including finishing and painting as required. (refer drawing) | 1 | item
BILL NO. 03 - MASONRY WALLS / PARTITIONS
TOTAL OF BILL No: 03 - Carried over to summary
4 | BILL NO 04: CEILING
GENERAL
a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and timber beading, etc.…. similar nail and screws.
b)All the frame for the ceiling wooden /G.I with cement board and gypsum. Rates shall include joint filling putty and all other necessary works
c) Rate shall include for ceiling borders where necessary
4.1 | INTERNAL CEILING
Note : Rate shall include for rectification works where necessary, and any other incidental works as a result of rectification. Entire removal of fungus infected ceiling and incidental areas. Care must be taken not to damage existing ceiling frame unless otherwise the frame is rusted or damaged
1 | Replace of gypsum ceiling, provide 6mm thick cement board ceiling at store ( previous cell ) Rate must include for replacing the rusted/damaged ceiling frames with similar material (GI or Aluminium). Provision of 6mm thick gypsum board ceiling including putty works 1 coat of primer coat and 2 coats of internal paint. Rate should include fixing existing wall plug using fisher injection mortar FIS P Plus 300 T. | 15.4 | m2
2 | Replace of gypsum ceiling, provide 6mm thick cement board ceiling at store ( ops room ) Rate must include for replacing the rusted/damaged ceiling frames with similar material (GI or Aluminium). Provision of 6mm thick gypsum board ceiling including putty works 1 coat of primer coat and 2 coats of internal paint. Rate should include fixing existing wall plug using fisher injection mortar FIS P Plus 300 T. | 1 | item
4.2 | EXTERNAL CEILING
Note : Rate shall include for rectification works where necessary, and any other incidental works as a result of rectification
4.2.1 | (a) Replace of balconies, toilets, laundry and pump room ceilings as necessary. Care must be taken not to damage existing ceiling frame unless otherwise the frame is rusted or damaged. Rate must include for replacing the rusted/damaged ceiling frames with similar material (GI or Aluminium). Provision of 6mm thick Cement board ceiling including putty works 1 coat of primer coat and 2 coats of external paint. Rate should include fixing existing wall plug using fisher injection mortar FIS P Plus 300 T.
1 | Ground floor | 1 | item
2 | First floor | 1 | item
BILL NO. 04 - CEILING
TOTAL OF BILL No: 04 - Carried over to summary
BILL NO 05: TILING
a) Rates shall include for: fixing, bedding, grouting, pointing, finishing and any other similar works to ensure the required finish.
b) Any removal of tile or other in the process of re-tiling shall be performed where necessary
5.1 | BARRACKS 1
1 | 300x600 CERAMIC wall tiles up to ceiling height in toilets & laundry. Rates shall include for tiling remaining untiled works | 1 | item
2 | 300x300mm anti-slip CERAMIC tiles on toilet & laundry floor.Rates shall include for skirting and tiling remaining untiled works | 1 | item
3 | 600x600mm PORCELAIN tiles on floor. Rates shall include for skirting and tiling remaining untiled works | 1 | item
5.2 | BARRACKS 2
1 | 300x600 CERAMIC wall tiles up to ceiling height in toilets & laundry. Rates shall include for tiling remaining untiled works | 1 | item
2 | 300x300mm anti-slip CERAMIC tiles on toilets & laundry floor. Rates shall include for skirting and tiling remaining untiled works | 1 | item
5.3 | ATOLL COMMANDER ROOM
1 | 300x600 CERAMIC wall tiles up to ceiling height in toilets & laundry. Rates shall include for tiling remaining untiled works | 1 | item
2 | 300x300mm anti-slip CERAMIC tiles on toilets & laundry floor. Rates shall include for skirting and tiling remaining untiled works | 1 | item
5.4 | GROUND FLOOR TOILETS & LAUNDARY
Stripping of tile works in toilet walls and floors with mortar. and removal of debris. Tiles shall be stripped together with mortar, while brick surface shall be cleaned with a wire brush.
1 | 300x600 ceramic wall tiles up to ceiling height in toilets & laundry. Rates shall include for demolition of existing tile, repairing of wall cracks by method of routing and sealing using Polyurethane Sealant (PU 25 or equivalent) as per manufacturer’s specifications. | 93 | m2
2 | 300x300mm anti-slip CERAMIC tiles on toilets & laundry floor. Rates shall include demolition of existing tiles, application of 2 coats of water proofing membrane, (MasterSeal 550 or similar). | 14 | m2
5.5 | GROUND FLOOR (FEMALE BARRACKS)
5.5.1 | COVERUP OF WINDOW OPENING
1 | Patch up and seal the existing window openings of interview room and atoll commander room from the female barracks with partition board as per the given drawing and specification. Rate must include all necessary works including finishing and painting. | 1 | item
5.6 | DIVISION COMMANDER ROOM
1 | 300x600 CERAMIC wall tiles up to ceiling height in toilets & laundry. Rates shall include for tiling remaining untiled works | 1 | item
2 | 300x300mm anti-slip CERAMIC tiles on toilets & laundry floor. Rates shall include for skirting and tiling remaining untiled works | 1 | item
3 | 600x600mm Porcelain floor tile at room. Rates shall include for skirting and tiling remaining untiled works | 32 | m2
5.7 | TILE SKIRTING
Note: Rates must include for: Cutting and installation of 100mm height tile skirting. Fix as per manufactures instructions.
Ground floor
1 | Reception & Corridor | 50 | m
2 | Mess room | 38 | m
First floor
1 | Forensic room | 18 | m
2 | Multi purpose room | 26 | m
3 | Reception & Corridor | 42 | m
BILL NO. 05 - TILING
TOTAL OF BILL No: 05 - Carried over to summary
BILL NO 06: DOORS AND WINDOWS
(a) Rates shall include for locks, latches, closures, push plates, pull handles, bolts, kick plates, hinges, door closer, door stoppers and all door & window hardware.
(b) Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boarding, framing, lining, fastenings and all fixings.
(c) All Aluminum door and windows shall be 60-80 micron aluminum.
(d) All Timber doors shall Solid timber paneled door with paint finish.
(e) Rates shall include application of wood putty in all timber door units to receive 2 coats of painting.
(f)Fabrication and installation of Aluminum casement doors 1.2mm thick powder coated 60-80microns; 6mm clear glass on top & 8mm clear glass with clear shatterguard film for larger panels, inclusive of weather strippings, PU antifungal sealant (Sikaflex 221) at all joints between wall & frame & sub frame, approved SS ironmongery i.e hinges, bolt locks, decorative lock with handle & door closer as described; Provision should all be given to provide RCC lintel where required;
6.1 | ALUMINUM DOORS
Removal of Wooden Doors and frames, replace with aluminum doors. Note: For all doors measure size at site before fabrication and delivery.
Ground Floor
1 | D1 (1800x2100mm) | 3 | nos
2 | D2 (1200x2100mm) | 1 | nos
2 | D3 (1200x2100mm) | 1 | nos
3 | D7 (900x2100mm) | 2 | nos
4 | FG1 (600X400mm) | 2 | nos
First Floor
1 | D2 (1200x2100mm) | 4 | nos
2 | New Door (1000x2100mm) (at laundries) | 3 | nos
6.2 | FIBER/ALUMINIUM
Removal of Wooden Doors and frames, replace with fiber/aluminium doors. Note: For all doors measure size at site before fabrication and delivery.
Ground Floor
1 | D5a (700x2000mm) | 2 | nos
2 | D6 (700x2000mm) | 5 | nos
3 | D6a (600x2000mm) | 1 | nos
First Floor
1 | D5a (700x2000mm) | 2 | nos
2 | D6 (700x2000mm) | 7 | nos
6.3 | WOODEN DOORS & ACCESSORIES
6.3.1 | Solid panel wooden doors as per drawing.
1 | D4a (800x2100mm) mess room | 1 | nos
6.3.2 | Re-furbish existing wooden doors. Application of clear varnish on wooden doors, rates shall include sanding and cleaning prior to varnish. Rates shall include for resolving sagging doors.
Ground Floor
1 | D4 (800x2100mm) | 8 | nos
2 | D8 (1200x2100mm) | 1 | nos
3 | D9 (700x2100mm) | 1 | nos
First Floor
4 | D4 (800x2100mm) | 5 | nos
5 | D8 (1200x2100mm) | 2 | nos
6 | D9 (700x2100mm) | 1 | nos
6.3.3 | Wooden Door Accessories
Change Door Locks
1 | Door Lock (Morise Lock) - Ground Floor | 12 | nos
2 | Door Lock (Morise Lock) - First Floor | 7 | nos
6.4 | Kitchen
| Provision for renewal of existing smoke vent mesh with frame in kitchen and at roof level of the kitchen building. Rate must include for removal of existing mesh and frame and all necessary works for completion. | 1 | item
6.5 | WINDOW ACCESSORIES
6.5.1 | Replacing casement window handles where necessary. | 20 | nos
6.5.2 | Replacing casement window hinges ( minimum 8") where necessary. | 20 | nos
6.5.3 | Removal of window sealant (external & internal) between frame and wall from all windows and ventilations, clean the area thoroughly and provide sikka flex 221 sealant.
Ground Floor
1 | W2 (1800x800mm) | 1 | nos
2 | W3 (2400x1200mm) | 6 | nos
3 | W4 (2400x600mm) | 1 | nos
4 | W6 (1200x1200mm) | 5 | nos
5 | W8 (1200x800mm) | 1 | nos
6 | W9 (800x1200mm) | 2 | nos
First Floor
7 | W1 (3200x1200mm) | 1 | nos
8 | W3 (2400x1200mm) | 5 | nos
9 | W5 (1800x1200mm) | 1 | nos
10 | W6 (1200x1200mm) | 7 | nos
11 | W5a (1800x400mm) | 1 | nos
12 | W7 (1200x400mm) | 2 | nos
13 | W10 (600x400mm) | 7 | nos
6.6 | CURTAIN , BLINDS & STICKER
Note: Supply and fixing of blind and curtain. Rates shall include for all accessories and completion of all necessary works as approved
6.6.1 | Vertical Blinds
1 | W3 (2400x1200mm) | 2 | nos
6.6.2 | Frosted Sticker in Wooden Door Glazing
1 | W8 (1200x800mm) | 2 | nos
BILL NO. 06 - DOORS AND WINDOWS
TOTAL OF BILL No: 06 - Carried over to summary
BILL NO 07: PAINTING
GENERAL
(a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work.
(b) All painting work must be carried in accordance with the Specifications of "SAMHWA PAINT or Equivalent".
7.1 | BUILDING EXTERNAL WALLS
1 | Removal of loose paint, clean the masonry surface to receive 1 coat of primer and 2 coats of paint. Rates shall include for surface treatments to prevent future chalking or flaking of paint. Rates shall include for filling defects such as voids in masonry walls prior to paint works. Rates shall include for painting as described where necessary Note: Remove the paint layer fully where chalking has occurred prior to the application primer. | 1 | item
7.2 | BUILDING INTERNAL WALLS
Stain (Fungus), Chalking & Lose Paint
Removal of loose, stained and fungus infected paint, clean the masonry surface to receive 1 coat of primer and 2 coats of paint. Rates shall include for application of 2 coats surface treatment (MasterCure 181 or equivalent) to prevent future chalking, fungus infection or flaking of paint. Rates shall include for filling defects such as voids in masonry walls prior to paint works.
1 | Ground Floor | 992.11 | m2
2 | First Floor | 822.8 | m2
7.3 | BOUNDARY WALL
1 | Removal of existing paint, clean the masonry surface to receive 1 coat of primer and 2 coats of paint. Rates shall include for surface treatments to prevent future chalking or flaking of paint, and include painting of wall as described | 904 | m2
7.4 | GATE
Removal paint and rusts from existing steel gates, clean the surface to receive 1 coats of primer and 2 coats of marine grade enamel paint.
1 | Steel Gate (1700x3000mm) | 1 | nos
2 | Steel Gate (1700x2000mm) | 1 | nos
3 | Steel Gate (1700x1000mm) | 1 | nos
4 | Sliding Gate | 1 | nos
7.5 | CEILING / SOFFIT OF SLAB
Note: Emulsion paint oil base finish surfaces of all CEILING AREA. 1 Coat of primer and 2 coats of paint.
1 | Total ceiling area | 545 | m2
BILL NO. 07 - PAINTING
TOTAL OF BILL No: 07 - Carried over to summary
8 | BILL NO 08: ROOFING & METAL WORKS
GENERAL
(a) Rates shall include for: fair edges, dressing over angle fillets, turning into grooves, all other labours, circular edges, nails, screws, standard cable fixing or supporting clips, brackets, straps, rivets, plugs, all incidental accessories and other fixing and laps.
(b) Rates shall include for fabrication and erection and temporary supports and fixing into position.
(c) All materials used shall ensure durability of the structure
8.1 | CLADDING
1 | Aluminum composite cladding, including GI 25x25mm square pipe framing to cover Lysaght gutter, as per the drawing. Works shall include for all necessary works required for completion. | 56.8 | m
8.2 | ROOF COVER AND ACCESSORIES
Specified for MSP Trim deck lysaght roofing sheets, fixed in accordance to manufacturer's instruction, inclusive of all necessary accessories.
1 | Rectify and paint damaged/scratched areas of existing lysaght roofing sheets where necessary. Paint should conform to marine grade enamel paint, and color to match with existing as per consultant. Rate should include all necessary rectification works required. | 1 | item
2 | Rectification and replace ridge cap where necessary as per consultants instruction. Rate should include removal of existing and all incidental rectification works required as necessary | 1 | item
3 | 25x330mm PVC or Cement FACIA BOARD | 62 | m
4 | Rectification and replace Valley gutter where necessary as per consultants instruction. Rate should include removal of existing and all incidental rectification works required as necessary | 1 | item
5 | G.I. Roof Frame, Rates shall include for: Repairing damage areas, Removal of rust, Painting steel trusses with application of one coat Redoxide and Two coat of marine paint of sigma or equivalent. | 1 | item
6 | Rectification and replace lysaght gutter where necessary as per consultants instruction. Rate should include removal of existing and all incidental rectification works required as necessary | 1 | item
8.3 | CUSTOM MADE STORAGE RACK
Note: Rate shall include for complete fabrication of rack using 2"x2" 2-3mm square pipe. Shelf must be made using 12mm thick smart board and rack must be painted with 1 coat of RED OXIDE and 2 coat of ENAMEL paint.
b) All dimensions must be confirmed prior to fabrication.
1 | GI square pipe rack L7100xW400xH2000mm (4 shelf) | 2 | item
BILL NO. 08 - ROOFING & METAL WORKS
TOTAL OF BILL No: 08 - Carried over to summary
BILL NO 09: HYDRAULICS & DRAINAGE
GENERAL
(a) Rates shall include for sockets, running joints, connectors, elbows, junctions, valves, reducers, expansion joints, backmost and similar, incidental fittings, clips saddles, brackets, straps, hangers, screws, nails and fixing complete, including cutting and forming holes, excavating, laying pipes and backfilling trenches.
(b) All pipe work and fittings shall be high pressure UPVC.
(c) Rates shall include for supply and fixing of all pipes.
(d) The Contractor shall submit shop drawing for the entire installation, including installation details for all items required for approval of the Consultant.
(e) Record drawing During Construction the Contractor shall keep an accurate record of all deviations between the work as shown on the Contract Drawings and that which is actually installed
(f)The Contractor shall make a complete record of all changes and revisions in the original design which exist in the completed work
9.1 | PIPE WORKS
1 | Allow for existing pipeline capping from all toilets, laundry's, kitchen and wash basin counters etc. Rate shall include rectification works where necessary | 1 | Item
2 | Allow for fresh water connection to all toilets, laundry's, kitchen and counters inc from pump room. supply and laying of all pipes. | 1 | Item
3 | Allow for fresh water connection to Barracks 2 (laundry area) from existing connection. Rate shall include supply and laying of all pipes and any other incidental works as necessary | 1 | Item
9.2 | SANITARY FIXTURES & FITTINGS
(a)Installation of fixtures and fittings. Rates shall include for all necessary connection and relevant works required for complete installation of fixtures.
(b)All sanitary fittings shall be of 'JAQUAR' or Equivalent".
(c)All fixtures shall be of 'JAQUAR'or Equivalent".
(d) Rate must include for proper installation, functioning as per drawing and specifications. (refer drawing)
Ground floor
1 | Water Closet | 3 | nos
2 | Muslim Shower | 3 | nos
3 | Wash basin with bottle trap gully | 1 | nos
4 | Wash basin tap | 1 | nos
5 | Head Shower set ( with handshower ) | 1 | nos
6 | Head Shower | 1 | nos
7 | Water Tap (1 nos in Laundry, Ground Floor) | 5 | nos
8 | Floor Drain | 10 | nos
9 | Mirror | 3 | nos
10 | Towel Bar, 2 feet | 2 | nos
11 | Stop valves | 10 | nos
12 | Repurpose shower area to new urinal at Toilet near Laundry. Rate shall include for 1 nos water closet, 1 nos muslim shower, 1 nos wall tap and provision for all necessary water & drainage connections required for proper functioning. Rate shall include all incidental works such as removing tile, re-finishing floor & wall as per existing | 1 | item
First floor
13 | Water Closet | 5 | nos
14 | Muslim Shower | 5 | nos
15 | Wash basin with bottle trap gully | 1 | nos
16 | Wash basin tap | 1 | nos
17 | Head Shower set ( with handshower ) | 2 | nos
18 | Head Shower | 3 | nos
19 | Water Tap | 5 | nos
20 | Floor Drain | 10 | nos
21 | Mirror | 4 | nos
22 | Towel Bar, 2 feet | 2 | nos
23 | Towel Bar, 4 feet | 1 | nos
24 | Stop valves | 10 | nos
25 | Washing machine tap | 2 | nos
9.3 | RCC COUNTERS
Rate shall include for removal of existing counters, counter side wall re-tiling where necessary
9.3.1 | Refinish pantry sink counter with natural granite top, including kitchen sink with bottle trap gully, & sink tap. Rate must include all necessary works including replacing below counter doors, and fabrication of wall mount cabinet, as detailed in the drawing (refer drawing) | 1 | item
9.3.2 | Refinish food counter at mess with natural granite top. Rate must include all necessary works as detailed as in the drawing (refer drawing) | 1 | item
9.3.3 | RCC wash basin counter, finished with natural granite top, including counter wash basin, wash basin tap, PVC gully, at all toilet areas. Rate must include all necessary works as detailed as in the drawing including formwork, reinforcement, concrete as required (refer drawing)
1 | Ground floor (female barracks toilet, outside laundry, mess room) | 4 | item
2 | First floor (forensic room, dc room toilet, barracks 1 & 2 toilet) | 6 | item
9.4 | DRAINAGE WORKS
9.4.1 | Rain water discharge pipe
1 | 75mm ø UPVC Rainwater down pipe from roof to existing discharge pipe as per drawing | 1 | item
BILL NO. 09 - HYDRAULICS & DRAINAGE
TOTAL OF BILL No: 09 - Carried over to summary
BILL NO 10 : ELECTRICAL & SPECIFIC INSTALLATIONS
Note: (a) Electrical wiring with copper conductor cable in conduits in walls and concrete as per government regulations including necessary D-boards at each level.
(b) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
(c) Rates for electrical isolators, conduits, fittings, equipment and similar Items shall include for: all fixings to various building surfaces.
(d) Light end and switch end of wiring together measured as one point.
(e) A point wiring for power points is measured as one point for each socket outlet; other end of wire is not included in the quantity.
(f) Rates shall include for supply and complete installation.
(g) The Contractor shall submit shop drawing for the entire installation, including installation details for all items required for approval of the Consultant.
(h) Record drawing During Construction; the Contractor shall keep an accurate record of all deviations between the work as shown on the Contract Drawings and that which is actually installed
(i) Provide & install with all necessary wiring, fittings & accessories as necessary
(j) The Contractor shall make a complete record of all changes and revisions in the original design which exist in the completed work, and submit the drawings after completion of project.
10.1 | ELECTRICAL WORKS
1 | Relocation and renewal (to other side of current location) of Distribution board in Barracks 2. Rates shall include for DB Box with cover, all circuit breakers and any other required works for completion. | 1 | item
2 | Provisional sum for checking conduit pipe laid on ceiling ( for water containing and clearing conduit pipe if necessary ). Rate should include prepare of access panel to ceiling and all necessary works required for completion. | 1 | item
3 | Allow for connection to electrical mains from main panel board to floor distribution boards. (from existing DB) | 1 | Item
10.2 | ELECTRICAL BOARDS
1 | 3 Phase Distribution Board | 6 | Item
2 | Provision for renewal of existing Distribution boards (36 nos-Surface mount) at ground and first floor level. Rates shall include for DB Box with cover, all circuit breakers and any other required works for completion. | 3 | Item
10.3 | ELECTRICAL WIRING
Note: (a) Electrical wiring with copper conductor cable in conduits in walls and concrete as per government regulations including necessary D-boards at each level.
(b) All AC power sockets connections from DB must be isolated as one circuit per AC.
1 | Loop Wiring from existing lights to Lights and fans. | 24 | points
2 | Wiring to Lights and fans. | 8 | points
3 | Wiring to Socket outlets & switch. | 121 | points
10.4 | LIGHTING
Note: All lights shall be of 'JAQUAR brand or equivalent', all switches, sockets etc. shall be 'JAQUAR brand or equivalent'.
10.4.1 | Renewal works
Note: Refers to all existing, and needs to be replaced
1 | One way switch 1.2m (1gang) | 22 | nos
2 | One way switch 1.2m (2gang) | 12 | nos
3 | One way switch 1.2m (3gang) | 12 | nos
4 | One way switch 1.2m (4gang) | 7 | nos
5 | power socket 13A (1G) | 50 | nos
6 | power socket 13A (2G) | 20 | nos
7 | Power socket weather proof 1.2m (1G) | 14 | nos
8 | Surface mount LED light (18W x 8") | 90 | nos
9 | Surface mount LED light (weatherproof) (18W x 8") | 24 | nos
10 | KDK or equivalent Ceiling Fan 48" | 29 | nos
11 | Fan dimmer switch | 29 | nos
12 | Weatherproof socket cover | 6 | nos
13 | Mirror light | 1
10.4.2 | Additional works
Note: Refers to additional works that needs to be newly fixed
1 | One way switch 1.2m (1gang) | 10 | nos
2 | One way switch 1.2m (2gang) | 1 | nos
3 | One way switch 1.2m (3gang) | 4 | nos
4 | One way switch 1.2m (4gang) | 4 | nos
5 | power socket 13A (1G) | 18 | nos
6 | power socket 13A (2G) | 71 | nos
7 | Surface mount LED light (18W x 8") | 24 | nos
8 | KDK or equivalent Ceiling Fan 48" with fan dimmer switch | 2 | nos
9 | Weatherproof 300W LED light | 4 | nos
10 | Isolator Switch 20A | 2 | nos
11 | Photocell switch 10A | 2 | nos
12 | Globe light | 2 | nos
10.5 | INSULATION WORKS
| Provision for renewal of all AC sleeve and insulation with PVC casing. Rate shall include for proper sealing of AC pipe runs from walls and finish with putty / paint and all necessary works for completion. | 1 | item
10.6 | AIR CONDITION SYSTEM
Supply and installation of appropriate capacity CEILING MOUNT SINGLE SPLIT TYPE AIR-CONDITIONING SYSTEM including electricity and completion for proper functioning. Rates shall include pipes, fixing and all necessary works. Contractor's shall submit shop drawings subject to consultants approval
(a) Rates shall include for submission of shop drawings along with indoor unit capacities and out door capacity
(b) All outdoor unit cover must be in plastic and all indoor units must be as specified
(c) Rate shall include separate Isolator for each outdoor unit and AC pipe duct system as per drawing.
(d) Rate shall include for trays, ducts and proper sleeve insulations as per manufacturer specification.
DC Room, Store, Corridor
1 | Supply and installation of 12000 BTU A/C unit, including 2 nos 15A single gang power socket 2.4m(H). | 3 | nos
Corridor, Female barracks
2 | Supply and installation of 18000 BTU A/C unit, including 2 nos 15A single gang power socket 2.4m(H) | 5 | nos
Mess room
3 | Supply and installation of 24000 BTU A/C unit, including 2 nos 15A single gang power socket 2.4m(H) | 2 | nos
10.7 | SHOWER HEATER
a) "JAQUAR Shower heater, Power 3500W" or Equivalent
b) Rate shall include for all ancillary works including wiring, plumbing etc
c) All items shall be of approved quality
1 | Provision for supply, installation, testing & commissioning as per approved specifications | 1 | nos
BILL NO. 10 - ELECTRICAL & SPECIFIC INSTALLATIONS
TOTAL OF BILL No: 10 - Carried over to summary
BILL NO 11: CELL BLOCK
a) All discrepancies, method of executing and completing of this work must be referred to the general notes provided in relevant bills, sections, work items of this BOQ.
11.1 | PAINTING (Internal Walls)
1 | Removal of loose paint, clean the masonry surface to receive 2 coats of paint. | 199.35 | m2
11.2 | DOORS
Replacing of wooden door at exercise yard and replace with a grill door - Refer to the drawing.
1 | Steel Grill Door, GD1 (2100x900mm). Rates shall include fabrication, 1 coat of redoxide and 2 coats of marine grade paint, and sliding lock system and lock. | 1 | nos
2 | D4 (2100x900mm) | 1 | nos
11.3 | ELECTRICAL WORKS
1 | Installation of wall mount exhaust fan, KDK or equivalent. (350x350mm). Rates shall include for provision of wall opening, edge plastering, electrical connection and paint works required. | 1 | nos
11.4 | OFFICE BUILDING MODIFICATION
Rate shall include for all finishing works, including putty, painting, plastering, masonry and other incidental works
1 | Previous cell modification including demolition works, masonry, plaster & painting as per drawings & specifications. Rate shall include for all necessary incidental works related | 1 | item
Note : Approx masonry area = 12 sqm Approx plaster area = 24 sqm Approx demolition area =4.5 sqm
2 | Modification at female barracks, store area ; including demolition works, masonry, plaster, painting, tiling at demolished areas & door relocation as per drawings & specifications. | 1 | item
Note : Approx masonry area = 25 sqm Approx plaster area = 50 sqm Approx demolition area = 10 sqm No of doors/window to remove = 3 nos No of doors/window to relocate = 3 nos
3 | Demolition and removal of existing wall structure and door. Rate must include to patch up the ceiling and tile area along with the wall length and other necessary works. | 1 | item
Note : Approx masonry area 150thk = 3 sqm Approx plaster/paint area = 6 sqm Approx demolition area = 2 sqm
BILL NO. 11 - CELL BLOCK
TOTAL OF BILL No: 11 - Carried over to summary
BILL NO 12: KITCHEN (OUTSIDE)
a) All discrepancies, method of executing and completing of this work must be referred to the general notes provided in relevant bills, sections, work items of this BOQ.
12.1 | DEMOLITION WORKS
1 | Removal of the existing kitchen counter tiles, including removal of any debris, mortar, and fittings. Rates shall include for stripping of Kitchen counter tiles with mortar, chipping of concrete along cracks. Expose rebars if corrosion has occurred. Clean up the rusts with wire brush, repair cracked areas using chemical (MasterEmaco S 488 or equivalent) | 1 | item
2 | Removal of existing kitchen cabinet, including the removal of all associated frame, hardware, and fittings. | 1 | item
12.2 | FINISHING WORK
1 | Refinish kitchen counter with natural granite top, including side wall tiling, replacing kitchen sink with bottle trap gully, & sink tap. Rate shall include for all incidental works, necessary for completion of the counter, including replacing below counter cabinet doors as per drawings & specifications | 1 | item
2 | Stain (Fungus), Chalking & Lose Paint Removal of loose, stained and fungus infected paint, clean the masonry surface to receive 1 coat of primer and 2 coats of paint. Rates shall include for application of 2 coats surface treatment (MasterCure 181 or equivalent) to prevent future chalking, fungus infection or flaking of paint. Rates shall include for filling defects such as voids in masonry walls prior to paint works. | 1 | item
BILL NO. 12 - KITCHEN (OUTSIDE)
TOTAL OF BILL No: 12 - Carried over to summary
BILL NO 13: ADDITIONS
BILL NO. 13 - ADDITIONS
TOTAL OF BILL No: 13 - Carried over to summary
BILL NO 14: OMMISSIONS
BILL NO. 14 - OMMISSIONS
TOTAL OF BILL No: 14 - Carried over to summary