## SUMMARY
PROJECT:
CONSTRUCTION OF NELLAIDHOO DHATHURUVERINGE HIYAA
SUMMARY OF BILLS OF QUANTITIES
SL.NO | BILL NAME | TOTAL | Common Works | Work Below Ground Floor Level | Ground FLR
1 ) | TOTAL OF BILL NO. 01 (PRELIMINARIES)
2 ) | TOTAL OF BILL NO. 02 (GROUND WORKS)
3 ) | TOTAL OF BILL NO. 03 (CONCRETE WORKS)
4 ) | TOTAL OF BILL NO. 04 (MASONRY AND PLASTERING)
5 ) | TOTAL OF BILL NO. 05 (METAL WORKS)
6 ) | TOTAL OF BILL NO. 06 (WOOD WORKS)
7 ) | TOTAL OF BILL NO. 07 (CEILINGS)
8 ) | TOTAL OF BILL NO. 08 (DOORS AND WINDOWS)
9 ) | TOTAL OF BILL NO. 9 (FLOOR & WALL TILES)
10 ) | TOTAL OF BILL NO. 10 (PAINTING)
11 ) | TOTAL OF BILL NO. 11 (HYDRAULICS AND DRAINAGE)
12 ) | TOTAL OF BILL NO. 12 (ELECTRICAL INSTALLATIONS)
13 ) | TOTAL OF BILL NO. 13 (ROOFING)
14) | TOTAL OF BILL NO. 14 (COMMON WORKS)
GRAND TOTAL
GST 8%
GRAND TOTAL

## BOQ
SL.NO | DESCRIPTION | QTY | UNIT | MATERIAL RATE | MATERIAL AMOUNT | LABOUR RATE | LABOUR AMOUNT | TOTAL | SUB-TOTAL
Bill No: 01
PRELIMINARIES
1.1 | General Notes
1 ) | Abbreviations
m - meter
No - numbers
m3 - cubic meter
m2 - square meter
Lm - Linear meter
t - tonnes
incl - including
mm - millimeter
dia - diameter
SS - Stainless Steel
GI - Galvanised Iron
1.2 | Site Management Costs
1 ) | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone,fax,hoardings and similar. | 1 | item
1.3 | Sign Board
1 ) | Allow for sign board | 1 | no
1.4 | Service and Facilities
1 ) | Provision and maintenance of service and facilities such as Water, Power supply, lighting and fuel required for the project | 1 | no
1.5 | Temporary Fencing and hoarding
1 ) | Supply, erect and maintenance of a fence through out the construction period and hoarding all along the perimeter of the site. | 1 | no
1.6 | Site clearing and Demolition
1 ) | Demolition of any existing buildings and removal of those material from the site.Removing and clearingany shrubs or trees from the site. | 1 | no
1.7 | Clean - up
1 ) | Allow for clean - up of completed works and site upon completion. | 1 | item
TOTAL OF BILL NO. 01 (PRELIMINARIES)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 02
GROUND WORKS
2.1 | General
a) Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating and disposing surplus soil.
2.2 | Protection of Existing Foundations
1) | Protecting foundation of adjacent houses foundation, by using the method of foundation protection as specified by the engineer and drawing. (If required) | 1 | item
2.3 | Excavation
a) Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork, back fill, dewatering and others Shoring works
1) | Excavation for raft footings and Foundation beams | 15.6 | cbm
2.4 | Dewatering
1) | This item shall include for all the piping, pumps, etc. Water needs to be pumped to an assigned area as per local regulation. Shall follow EPA regulations and shall take the necessary permits | 1 | item
2.8 | Water Proofing
a) Water proofing and damproofing rates shall include for: dressing around and sealing to all penetrations.
1) | Water proofing membrane polythene sheet under foundation raft including turn up | 1 | item
2) | Apply bituminous type waterproofing to all surfaces of concrete below ground level in accordance with the specifications and manufacturer's instructions | 1 | item
TOTAL OF BILL NO. 02 (GROUND WORKS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 03
CONCRETE WORKS
3.1 | General
a) Rate shall include for: placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
b) Mix ratio for reinforced concrete shall be 1:2:3
c) Rate shall include for testing of concrete cube tests and slump tests etc
d) Rate shall include admixtures used to enhance the properties of concrete be it waterproofing workability and strength
3.2 | Reinforced Concrete
In-situ reinforced concrete to:
*Add water proofing compound / admixture to concrete mix for walls GL and Roof Slabs
3.3 | Formwork
a) Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes, removal of formwork and normal practices used.
b) All materials such as plywood, shutter oils and other items and transportation to site and secure the formwork in highly precise manner guaranteeing straight and smooth concrete edges.
c) Formwork for Foundation beam above raft foundation can be of masonry wall with plastering
3.4 | Reinforcement
a) Rates shall include for: cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wire and chair supports, laps, and wastages.
b) All reinforcement bars except 6 mm dia bars shall be of deformed high strength bars. 6 mm bar shall be round mild steel bars.
c) Binding wire shall be of 1.6 mm or 1.4 mm soft iron wire.
| d) Reinforcement bars shall be cleaned before use i.e. should be free from rust, oil, din, or other coatings that reduces bonds, all reinforced bars and binding wires shall be stored under cover of at least 450 mm above the ground, cutting and bending according to approved manner. | [8 empty] | 0.05
[10 empty] | 0.4 | 123 | 49.2
3.5 | Foundation | [8 empty] | 0.8 | 55 | 44
1) | Lean Concrete | 19.5 | sqm | [6 empty] | 2.4 | 55 | 132
Lean concrete under the raft/ footing/beams with a mix of 1:2:4 as specified in drawings or as specified by consultant.
2) | Reinforced Concrete
In-Situ reinforced concrete to:
| Foundation Beam FB | 3.575 | cbm
| Ground Beam GB | 0.65 | cbm
| Column C1 | 0.216 | cbm
| Column C2 | 0.16 | cbm
| Cement | 37 | bags
| River Sand | 74 | bags
| Aggregate | 111 | bags
3) | Formwork
| Foundation Beam FB | 13 | sqm
| Ground Beam GB | 3.25 | sqm
| Column C1 | 6.48 | sqm
| Column C2 | 3.2 | sqm
4) | Reinforcement
Foundation Beam FB
| 12 mm dia. Steel bars | #REF! | Nos
| 06 mm dia. Steel bars | #REF! | Nos
Ground Beam GB
| 12 mm dia. Steel bars | #REF! | Nos
| 06 mm dia. Steel bars | #REF! | Nos
Column C1
| 12 mm dia. Steel bars | #REF! | Nos
| 06 mm dia. Steel bars | #REF! | Nos
Column C2
| 12 mm dia. Steel bars | #REF! | Nos
| 06 mm dia. Steel bars | #REF! | Nos
3.6 | Ground Floor
1) | Reinforced Concrete
In-Situ reinforced concrete to:
| Column C1 | 13 | cbm
| Column C2 | 1.08 | cbm
| Beam RB1 | 1.9125 | cbm
| Beam RB2 | 0.78 | cbm
| Cement | 134 | bags
| River Sand | 268 | bags
| Aggregate | 402 | bags
2) | Formwork
| Column C1 | 28.8 | sqm
| Column C2 | 16 | sqm
| Beam RB1 | 33.15 | sqm
| Beam RB2 | 10.4 | sqm
3) | Reinforcement
Column C1
| 12 mm dia. Steel bars | #REF! | Nos
| 06 mm dia. Steel bars | #REF! | Nos
Column C2
| 12 mm dia. Steel bars | #REF! | Nos
| 06 mm dia. Steel bars | #REF! | Nos
Beam RB1
| 12 mm dia. Steel bars | #REF! | Nos
| 06 mm dia. Steel bars | #REF! | Nos
Beam RB2
| 12 mm dia. Steel bars | #REF! | Nos
| 06 mm dia. Steel bars | #REF! | Nos
5 | Water Proofing
1) | Apply crystalline or equivalent type waterproofing material to the surface of roof slab & terrace in accordance with the specifications and manufacturer's instructions | 1 | item
TOTAL OF BILL NO. 03 (CONCRETE WORKS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 04
MASONRY AND PLASTERING
4.1 | General
a) Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good.
b) All blocks shall be fabricated from manufactured sand and machine pressed and average compression strength for blocks should not be less than 2.8N/mm2 and shall comply with physical requirements of ISO 6073:1981
c) All walls shall be laid on and incl. 1:5 Cement Mortor, tie rods, compression gap filler, nylon / plastic mesh as specified.
d) Cement plastering on external walls and concrete surfaces with 1:4 Cement mortor mix as specified incl. wire mesh at joints of concrete surfaces and walls (first,second coats).
e) Cement plastering on internal walls and concrete surfaces with 1:4 Cement mortor mix as specified incl. wire mesh at joints of concrete surfaces and walls (one coat).
f) Cement screeding on the concrete floor with 1:4 cement mortar mix incl. trowel finish;
Ground Floor
1 ) | External walls with 150 mm thick solid blocks | 69.154 | sqm
| No.of blocks | 1536.6019 | nos
| Cement | 4.6098 | bags
| Riversand | 23.049 | bags
2 ) | Internal Walls with 150 mm thick solid blocks | 49 | sqm
| No.of blocks | 1088.78 | nos
| Cement | 3.2663 | bags
| Riversand | 16.3317 | bags
3 ) | External Wall Plastering with 25 mm thick (2 coats) | 69.154 | sqm
| Cement | 10.3731 | bags
| Riversand | 51.8655 | bags
| Wiremesh | 744.097 | sft
4 ) | Internal Wall Plastering with 15 mm thick | 167.154 | sqm
| Cement | 15.0439 | bags
| Riversand | 75.2193 | bags
| Wiremesh | 1798.577 | sft
5 ) | Screeding with 75 mm thick | 92 | sqm
| Cement | 27.6 | bags
| Riversand | 138 | bags
6) | Staircase Screeding with 30 mm thick | 0 | sqm
| Cement | 0 | bags
| Riversand | 0 | bags
7) | Sill / Lintel / brace / kicker beams/Planter wall GB | 1 | item
8) | RCC Ground Slab 80 mm thick or as specified in drawing, (Rate shall include for reinforcement and shuttering required as per the drawings) | 92 | sqm
9) | Polythene damp proof membrane (500 gauge) laid on blinding layer under slab | 92 | sqm
10) | Allow for masonary closer to all plumbing and electrical ducts including masoanry, plastering, finshes inclduign access openings covers, ss trims and hooks | 1 | item
11) | Allow for construction of 1mtr ramp at porch | 1 | item
TOTAL OF BILL NO. 04 (MASONRY AND PLASTERING)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 05
METAL WORKS
5.1 | General
a) Rates shall include for: all fabrication work, welding, marking, drilling for bolts incl. those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
b) Rates shall include for fabrication and erection and temporary supports and fixing into position.
c) Stair railing and balcony railing made as shown in drawings.
5.2 | Roof Gutter Area Cladding
Roof Gutter to be cladded using Aluminum Composite Panels, supported by GI RHS Section 50x38mm frame, rate shall include cost of fixtures, waterproofing and sealant chemicals
1 ) | GI RHS Section 50x38x2.5mm | 400.1667 | m
| Aluminum Composite Panel 6mm thk | 98 | sqm
| Lysaght flashing | 20.188 | sqm
TOTAL OF BILL NO. 05 (METAL WORKS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 06
WOOD WORKS
6.1 | General
a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
b) Rate shall include for: timber priming and all painting as specified in the drawing
6.2 | Timber Columns
| a)Ground floor timber columns 200x200 | 0 | m
TOTAL OF BILL NO. 06 (WOOD WORKS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 07
CEILING
7.1 | General
a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
b) Rate shall include for: timber priming and all painting as specified in the drawing
7.2 | Cement Board Ceiling
4.5 mm Cement fibre board and/or 6 mm thick plywood on 35mm x 50mm treated timber frame at 600 X 600mm grid, smoothed and painted including framing, beading, nails and screws.
1) | Ground Floor | 92 | sqm
TOTAL OF BILL NO. 07 (CEILINGS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 08
DOORS AND WINDOWS
8.1 | General
a) Rates shall include for: locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
b) Rates shall include for door frames and window frame,mullions,transms,trims,glazing,tinting,timber panels, boardings,framing,lining,fastenings and all fixing and installation
b) All Aluminium windows shall be white powder coated aluminium or as specified in drawings
c) All timber doors shall be solid timber panneled door with varnish finish or as specified in drawings
d) All glazing shall be 6mm Tinted or as specified in drawings
(Profiles to be chosen by client).
Ground Floor
Door and window units
1 ) | D1 | 1 | Nos
2 ) | D2 | 3 | Nos | [6 empty] | D1 | 1 | 1.3 | 1.3
3 ) | D3 | 1 | Nos | [6 empty] | D2 | 3 | 0.7 | 0.7
4 ) | D4 | 1 | Nos | [6 empty] | D3 | 1 | 0.7 | 0.7
5 ) | V1 | 2 | Nos | [6 empty] | D4 | 1 | 0.7 | 0.7
6 ) | FG | 1 | Nos | [6 empty] | V1 | 2 | 0.6 | 1.2
7 ) | [9 empty] | FG | 1 | 3.6 | 7.2
TOTAL OF BILL NO. 08 (DOORS AND WINDOWS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 9
FLOOR & WALL TILES
9.1 | General
a) Rates shall include for: fixing, bedding, grouting and pointing materials; making good around pipes, Sanitary fixtures, and similar: Cleaning down and polishing
b) Rates shall include for all other beading works required at the corneres
c) All tiles shall be ISO approved tiles or smilar as given in drawings or Techinical Specification.
d) where there may be any descripencies between the drawings and bill of quantities, detail given in the drawings shall be precede.
e) All items are for supply and complete installation
f) All tiles shall be fixed using tile adhesive with proper water proofing (where ever necessary) application by using water proofing Membrane as per the manufacture guidelines and instruction.
Ground Floor
1 ) | General Area tiling 600 X 600 mm Homogeneous tiles with 100 mm skirting | 83 | sqm
2 ) | Toilet Floor tiling 300 X 300 mm non slip tiles | 9 | sqm
3 ) | Toilet wall tiling 300 X 450 mm glazed tiles | 39.2 | sqm
TOTAL OF BILL NO. 9 (FLOOR & WALL TILES)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 10
PAINTING
10.1 | General
a) Rates shall include for: the provition, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and / or making floors, fittings and similar work, removing and replacing door and window furniture
b) All painting work shall be carried in accordance with the specifications.
c)Weather proof emulsion paint system with textured finish on plastered and concrete surfaces of external walls.
d) Emulsion paint putty finish system on plastered and concrete surfaces of internal walls.
e) Emulsion paint putty finish on concrete slab and beams, plywood / cement fibre board of all internal surfaces.
Ground Floor
| External wall Paint | 69.154 | sqm
| Internal wall Paint | 167.154 | sqm
| Ceiling Paint | 92 | sqm
TOTAL OF BILL NO. 10 (PAINTING)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 11
HYDRAULICS & DRAINAGE
11.1 | General
a) Design,Suply and install plumbing network for the entire building complete in accordance to standard set by the local governing body FENAKA.
b) Rates shall include for: sockets, running joints, connections, elbows, junctions, reducers, expansion joints; backnuts and similar; incidental fittings, clips, saddles, brackets, straps, hanges, screws, nails and fixing complete, including cutting and
Ground Floor
11.2 | Well / Fresh water supply pipework
1) | Allow for Water meter tenching inclding concrete works , masonary works , trench covering all complete as per drawings | 1 | item
2) | Allow for water network connection from all floor to ground
3 ) | Allow for water connection to fixtures from FENAKA mains / Well to source (toilets in Ground floor) | 1 | item
4 ) | Supply and fixing FENAKA fresh water mains (meters) | 1 | nos
11.3 | Sanitary Fixtures & Accessories
Sanitary Fixtures complete including brackets flush pipes, overflows and washers etc.
1 ) All toilet fittings shall be "Cotto" or equivalent - chrome plated
2 ) All toilet fixtures shall be "Cotto" or equivalent brand.
3 ) All piping shall be of UPVC
4 ) All kitchen sinks shall be of SS type with chrome plated taps.
5 ) All water pumps shall be of "Davie Jet" brand or equivalent.
1 ) | Water Closet | 2 | nos
2 ) | Wash basin | 2 | nos
3 ) | Wash basin tap | 2 | nos
4 ) | Muslim Shower | 2 | nos
5 ) | Floor waste with gully trap | 4 | nos
6 ) | Shower set | 2 | nos
9 ) | Mirror with accessories | 4 | nos
10 ) | Water Taps / Faucet | 10 | nos
11 ) | Valves | 10 | nos
11.4 | Drainage
Discharge pipework
1 ) | Supply & Install complete Discharge pipe work | 1 | item
11.5 | Well Water pump
1) | Installation of well water pump | 1 | item
TOTAL OF BILL NO. 11 (HYDRAULICS AND DRAINAGE)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 12
ELECTRICAL INSTALLATIONS
1) | General
a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
b) Rate shall include for electrical conduits, fittings, equipment and similar all fixings
c) Each light / light fixture and its switches shall measure as one one point: similarly each sockets or each fans shall measured as one point.
d) Rate shall include for supply and complete installation of all floors.
e) Provide junction box for each separate unit of Computer network and cable tv system.
12.1 | Ground Floor
a) | Electrical boards
Complete installation incl. for all connection earthing, painting, testing and similar of;
1 ) | Distribution boards (Inc circuit,brakers & etc..) | 1 | nos
2) | Complete installation incl. for all connection earthing, painting, testing and similar of Electric Meter | 1 | nos
b) | Electrical wiring
Electrical wiring with copper conductor cable in conduits in walls and slab as specified to
1 ) | 2.5mm2 Wiring to light fixtures, fans and its switches | 55 | points
2 ) | Wiring to Socket Switches | 40 | points
3 ) | Cabling to Distribution boards | 1 | points
4 ) | Cabling to Telephone sockets | 1 | points
5 ) | Cabling to Television sockets | 1 | points
6) | Cabling to Network points | 1 | points
c) | Ceiling Fans
1 ) | " USHA" or similar of 48" dia. Complete | 6 | nos
2 ) | Fan Dimmer Switch | 6 | nos
d) | Lighting
1 ) | Wall mount light | 3 | nos
2 ) | Ceiling mount light | 20 | nos
3 ) | Weather proof wall mount light | 3 | nos
4 ) | Weather proof ceiling mount light | 5 | nos
e) | Socket outlets
All sockets shall be "Clipsal"or equivalent
1 ) | 13 Amps Socket Switch single | 9 | nos
2 ) | 13 Amps Socket Switch double | 20 | nos
3 ) | 13 Amps Socket Switch double W proof | 4 | nos
4 ) | 15 Amps Socket Switch | 10 | nos
5 ) | Telephone Socket | 1 | nos
5) | Computer Network Socket | 1 | nos
6) | Television Socket | 1 | nos
f) | Light Switches
All switches shall be "Clipsal"or equivalent
1) | One Way switches- 1 Gang | 5 | nos
2) | One Way switches- 2 Gang |  | nos
3) | One Way switches- 4 Gang | 9 | nos
4) | Two Way switches- 1 Gang |  | nos
5) | One Way switches- 5 Gang | 1 | nos
TOTAL OF BILL NO. 12 (ELECTRICAL INSTALLATIONS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 13
Roofing
1) | General
a) Rates shall include for: Fair edges,dressing over angel fillets,turining into groves, all other labours, circular edges, nails, screws and other fixing and laps.
13.1 | Roof framing
| a) 50x150mm timber rafters | 165.6 | m
| b) 50x200mm Timber ridge | 8 | m
| c) 50x50mm timber battens | 250 | m
| c) 25x200mm facia board | 49 | m
| e) 50x150mm timber hip rafter | 28 | m
13.2 | Roof Covering
| a) Lysuaght roof including the all fixings, fixed in accordance with manufacturer's instrcution. | 132 | sqm
| b) Rockwool insulation | 132 | sqm
| c) Flashing; MSP colorbond flat sheet flashing | 36 | m
13.3 | Gutter
| a) MSP Colorbond flatsheet gutter including framing, and supports, straps, brackets, clips, stop ends, overflow, downpipe outlets and all fixings and fastenings. | 49 | m
13.4 | Down pipie
| a) 75mm dia PVC down pipe including bends, juction,straps,brakets, clips and all fixing | 22.5 | m
TOTAL OF BILL NO. 13 (ROOFING)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 14
COMMON WORKS
1) | General
a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
b) Rate shall include for electrical conduits, fittings, equipment and similar all fixings
c) Rate shall include for all necessary electrical wiring and accessaries required for completion of lift installation.
14.1 | LIFTS
1 ) | Supply and install lift complete: "Mitsubishi / Otis or Equivalent, to lift 6 person capacity, serving all levels ( 10 floors) as per manufacturer's instructions. |  | no
14.1 | ELECTRICAL MAIN CONNECTION
1 ) | Allow for three phase main connection from FENAKA board to Panel board from FENAKA Transformer / Road DB | 1 | item
2 ) | Allow for Panel board base including concrete foundation, maosanry wall includign finish complete | 1 | Item
14.2 | FENAKA SEWER CONNECTION
1 ) | FENAKA main sewer connection | 1 | Item
2 ) | Constructing Inspection Chamber of required size with all provisions to connect pipelines as per drawing. | 1 | nos
14.3 | Pumping System
Supply and installation of water pump complete including connecting valves to pipework and electricity as per requirements.
1) | FENAKA booster water pump |  | nos |  | 0 |  | 0 | 0
14.4 | Access Constrol system | [7 empty] | 0
| Access control system as required for all floors (call buttons, monitors etc) |  | Item |  | 0 |  | 0 | 0
14.5 | CCTV SYSTEM | [7 empty] | 0
1 ) | CCTV system full system incluing all hardwear, wiring as required for all floors all inclusive installation and commissioning |  | Item |  | 0 |  | 0 | 0
TOTAL OF BILL NO. 14 (COMMON WORKS) | [7 empty] | 0 | 0
(CARRIED OVER TO THE GENERAL SUMMARY)