## Cover
BILL OF QUANTITIES
Proposed SEN Classroom & Toilet Block at Adh.Omadhoo School
CLIENT : MINISTRY OF EDUCATION, GOVERNEMNT OF MALDIVES

## BOQ Summary
SUMMARY OF BILLS OF QUANTITIES
Proposed SEN Classroom & Toilet Block at Adh.Omadhoo School
| DESCRIPTION | AMOUNT | %
Bill №: 01 - PRELIMINARIES
Bill №: 02 - ROOFING
Bill №: 03 - WINDOWS, SCREENS & LIGHTS
Bill №: 04 - DOORS, SHUTTERS & HATCHES
Bill №: 05 - FLOOR FINISHES
Bill №: 06 - SUSPENDED CEILING
Bill №: 07 - PAINTING & DECORATIONS
Bill №: 08 - RAILINGS
Bill №: 09 - MECHANICAL & ELECTRICAL SERVICES
Bill №: 10 - PLUMBING
Bill №: 11 - INSULATION, FIRE STOPPING & FIRE PROTECTION
Bill №: 12 - ADDITIONS AND OMMISIONS
Sub-Total
GST 8%
Grand-Total

## Premables
PREAMBLE NOTES
1.1 | Discrepancies
All participants in the Tender exercise are deemed to have read the Specifications and BOQ carefully in conjunction with all the Contract Drawings. Any discrepancies between these documents are to be brought to the attention of the Employer and clarified prior to the closing of the Tender. Should any said discrepancies be discovered at a later date, the decision of the Employer is final and any extra cost due to the contractor as a result of such discrepancies will NOT be entertained whatsoever. The Contractor shall, at all times, exercise with care and professional scrutiny to ensure that there are no discrepancies and/or divergence between Contract Drawings and specifications prior to execution of any portion of the Works on site. The Contractor shall immediately give the Employer a written notice specifying any such discrepancies or divergence should he discovered such issues and the Employer shall issue instructions in regard thereto. The Contractor should exercise due diligence in this matter as a failure and/or negligence in complying with the above stated requirements may result in extra costs. Any extra costs incurred in respect therefore shall be borne solely by the Contractor.
1.2 | General Notes
1. The Bill of Quantities shall be read in conjunction with the Instruction to Bidders, General Conditions of Contract, Appendix to bid, Technical Specification and Tender Drawings.
2. The rates and prices tendered in the priced Bill of Quantities shall, except in so far as it is otherwise provided under the Contract, include all constructional plant, labour, supervision, materials, transportation, installation/erection, profit, together with all general risks, liabilities and obligations set out or implied in the Contract.
3. The Tenderer is deemed to have visited the site/s and fully acquainted himself as to the location of each of the items and works to be carried out and to all conditions which may affect the performance of the works, including but not limited to: -Access to each of the roads where solid waste transfer process will be carried out, and Access for the dump site. -Restrictions applicable to working in proposed area. -All safety regulations and employer site safety procedures.
4. A rate or price shall be entered against each item in the Bill of Quantities, whether quantities are stated or not. All quantities given herein shall be deemed to be estimated quantities of the work to be done. Tenderer shall check and verify the quantities before submitting the tender.
5. The whole cost of complying with the provisions of the Contract shall be included in the items provided in the priced Bill of Quantities, and where no items are provided but required for completion of contract works, the cost shall be deemed to be distributed among the rates and prices entered for the related item of work.
6. General directions and descriptions of work and materials are not necessarily repeated or summarized in the Bill of Quantities. The Bidder shall refer to relevant sections of the Contract Document to fully understand the item requirements before entering rates or prices against each item in the Bill of Quantities. No variation is allowed for the given scope of work.
7. All quantities have been rounded to the nearest whole number. Quantities less than one unit has been given as one unit. Measurement standard applied for calculation of quantities are according to NRM-2, RICS.

## BOQ for tender
0
Proposed SEN Classroom & Toilet Block at Adh.Omadhoo School
Republic of Maldives
BILL OF QUANTITIES
FIRST FLOOR |  |  |  | Bill №: 01 - PRELIMINARIES
1.1.00 | GENERAL NOTES
Abbreviations
|  |  | m | - metre
|  |  | nr | - numbers
|  |  | m3 | - cubic metres
|  |  | m2 | - Square metres
|  |  | m | - linear metre
|  |  | inc. | - including
|  |  | mm | - millimetre
|  |  | SS | - stainless steel
|  |  | GI | - galvanized iron
1.2.00 | SITE MANAGEMENT COSTS
1.2.01 |  |  |  | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone, fax, hoardings & similar. | item | 1
1.3.00 | SIGN BOARD
1.3.01 |  |  |  | Allow for sign board. | nr | 1
1.4.00 | CLEAN-UP
1.4.01 |  |  |  | Allow for clean-up upon completion of works. | item | 1
1.5.00 | INSURANCE, BONDS, GUARANTEES AND WARRANTIES
|  |  |  | Insurance as stated in the general conditions. | item | 1
1.6.00 | SAFETY ON SITE
1.6.01 |  |  |  | Safety on site:- Providing and maintaining adequate safety measures on site for all workers and all authorized visitors on site and protecting adjoining properties and people against falling objects or other with regard to the construction works | item | 1
1.7.00 | TOTAL OF BILL №: 01 - Carried Over To Summary
2.0.00 |  |  |  | Bill №: 02 - ROOFING
6.1.00 | GENERAL
|  |  | (a) | Rates shall include for: fair edges, dressing over angel fillets, roof sealant, turning into grooves, all other labours, circular edges, nails, screws and other fixings and laps.
|  |  | (b) | supply of pipe, couplers, bends, shoes/outlets, clamps/bracket, flashings, sealants, cutting, jointing, support, connection to existing drainage/gully, temporary protection, testing and making good.
2.2.00 | DOWN PIPE
2.2.01 |  |  |  | Supply and installation of 82 mm diameter rainwater downpipe, vertical PVC-U, including all fittings, brackets, connections to gutters/downstream drainage and testing, as per detailed drawings and manufacturer’s recommendations. | item | 1
2.3.00 |  |  |  | TOTAL OF BILL №: 02 - Carried Over To Summary
3.0.00 |  |  |  | Bill №: 03 - WINDOWS, SCREENS & LIGHTS
3.1.00 | GENERAL
Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings.
Sizes are given overall outside dimensions of actual doors and windows.
Thickness and sizes of glass panels are shown on the Drawings and doors and windows schedule
Rates shall include for all painting as specified
Rates shall include all items specified in the door schedule and specification.
Frames and sashes to be 25-60 micron white powder coated aluminium other wise specified.
3.2.00 | WINDOWS
GROUND FLOOR
3.2.01 | 1575 | x | 1100 | W1- Aluminium window with aluminium frame and clear glass | nr | 2
3.2.02 | 2450 | x | 1450 | W2- Aluminium window with aluminium frame and reflective glass | nr | 3
3.2.03 | 650 | x | 785 | W3- Aluminium window with aluminium frame and aluminium louvers | nr | 1
3.3.00 |  |  |  | TOTAL OF BILL №: 03 - Carried Over To Summary
4.0.00 |  |  |  | Bill №: 04 - DOORS, SHUTTERS & HATCHES
4.1.00 | GENERAL
Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings.
Sizes are given overall outside dimensions of actual doors and windows.
Thickness and sizes of glass panels are shown on the Drawings and doors and windows schedule.
Rates shall include for all painting as specified
Rates shall include all items specified in the door schedule and specification.
Frames and sashes to be 25-60 micron white powder coated aluminium other wise specified.
4.2.00 | DOORS
GROUND FLOOR
4.2.01 | 1000 | x | 2300 | D1 - Aluminium panel door on Aluminium frame with clear glass | nr | 1
4.2.02 | 1000 | x | 2300 | D5 - Aluminium panel door on Aluminium frame | nr | 1
4.3.00 |  |  |  | TOTAL OF BILL №: 04 - Carried Over To Summary
5.0.00 |  |  |  | Bill №: 05 - FLOOR FINISHES
5.1.00 | GENERAL
Rates shall include for: fixing, bedding, grouting, and pointing materials; making good around pipes, sanitary fixtures, and similar; cleaning down and polishing.
"Masterseal 550" or equivalent should be applied on top of screeds and walls upto 600mm in corridor areas and toilets.
5.2.00 | FLOOR PAINT
5.2.01 |  |  |  | Supply and application of 2.5 mm thick self-leveling cementitious screed topped with epoxy paint on entrance ramp, including surface preparation, priming, finishing, and curing as per detailed drawings. | m2 | 5.88
5.3.00 |  |  |  | TOTAL OF BILL №: 05 - Carried Over To Summary
6.0.00 |  |  |  | Bill №: 06 - SUSPENDED CEILING
6.1.00 | GENERAL
Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
6.2.00 | PLASTERBOARD CEILING
6mm Cement board ceiling with timber framing
6.2.01 |  |  |  | GROUND FLOOR | m2 | 74.05
6.3.00 |  |  |  | TOTAL OF BILL №: 06 - Carried Over To Summary
7.0.00 |  |  |  | Bill №: 07 - PAINTING & DECORATIONS
7.1.00 | GENERAL
Rates shall include for: the provision, erection and removal of scaffolding, preparation, wall putty application, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door & window furniture.
All painting work shall be carried in accordance with the Specifications.
7.2.00 | WALL PAINTING
Weatherbound paint finish as specified (EXTERNAL SURFACES)
7.2.01 |  |  |  | Surface preparation and painting of all external walls, including previously painted surfaces, applying primer where required, and 2 coats of approved exterior paint. Work includes final touch-ups and corrections of previous paint defects. | m2 | 92.095
Emulsion paint finish including putty application on brick walls as specified (INTERNAL SURFACES)
7.2.02 |  |  |  | Surface preparation and painting of all internal walls, including previously painted surfaces, applying primer where required, and 2 coats of approved interior emulsion paint. Includes final touch-ups and correction of previous paint defects. | m2 | 98.8675
7.3.00 | CEILING PAINTING
External paint finish including putty and sealer application on cement board ceiling
7.3.01 |  |  |  | Surface preparation and painting of all ceilings with 2 coats of approved ceiling paint, including final touch-ups. Previously painted surfaces shall be lightly sanded or cleaned to ensure adhesion. | m2 | 117.25
7.4.00 |  |  |  | TOTAL OF BILL №: 07 - Carried Over To Summary
8.0.00 |  |  |  | Bill №: 08 - RAILINGS
8.1.00 | GENERAL
Rates shall include for: all fabrication work, welding, marking, drilling for bolts incl. those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
Rates shall include for fabrication and erection and temporary supports and fixing into position.
8.2.00 | RAMP RAILING
Supply and application of paint on 50 mm diameter galvanized iron (GI) pipe handrail installed at 900 mm height on entrance ramp, including surface preparation, primer, finishing coats, and final touch-ups, as per detailed drawings.
8.2.01 |  |  |  | Ramp railing (Entrance area) | m | 9.375
8.3.00 |  |  |  | TOTAL OF BILL №: 08 - Carried Over To Summary
9.0.00 |  |  |  | Bill №: 09 - MECHANICAL & ELECTRICAL SERVICES
9.1.00 | GENERAL
Design, provide and install electrical network for the entire building complete in accordance to standards set by the local governing body STELCO/FENAKA.
The following items and description and the drawings are given as a guidance as to the nature of the information required to be returned by the contractor. Should they not be appropriate the contractor should provide a similar BOQ using the Additions/Ommisions sheets provided at the back of this BOQ.
The cost shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
Rate shall include for necessary chasings, trenching, conduits, cables, cable trays, fittings and clips, cutting holes and chases in brick work/ block work/ concrete work complete with all necessary accessories such as sockets, connections, cable glands and boxes, hardware clips, soldering and jointing materials etc., for proper installing and laying of cables.
Rates for electrical isolators, conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces.
A light fixture is measured as one point; switch end of wire is not included in the quantity.
A point wiring for power points is measured (regardless of 1 gang, 2 gang etc) as one point for each socket outlet; other end of wire is not included in the quantity.
All under ground cables directly buried in ground/run in trenches to be properly laid and covered with cable tiles/trench covers. Rate for under ground cables shall include for all necessary excavation, sand layers, concrete tiles, warning strips and back filling with approved quality earth properly compacted, hot dipped galvenized brackets for trenches, accessories, etc as applicable.
The contractors are requested to refer Conditions of Contract, Special Conditions of Contract, Drawings and Specification and other relevant documents related to this tender prior to pricing of the following items
The contractor shall provide a schedule of all builder's work in connection with details of such items as necessary, along with the tender.
Rates for materials/ plants/ equipments not approved for duty free facilities to be quoted on duty paid basis.
All equipments shall be guaranteed for a period of 12 months from the date of commissioning or date of practical completion of the project which ever later
The rate shall include for insurance during handling, rehandling, transport, storage until ready for installation, delivery of equipments up to the point of installation and until handing over.
The rates shall include for comprehensive maintenance during defects liability period of 12 months from the date of handing over
The tenderer shall submit the following information on the items/equipments quoted for together with the tender.
a. make
b. model No.
c. technical data
d. country of manufacture
e. delivery period
f. lead time for manufacturing.
g. port of shipping
h. CIF value of each item in foreign currency.
j. Optional items and their additional cost. (additional cost
to be submitted separately)
k. Schedule of items to be carried out by others connected to
installation of generators/transformers/Electrical panels
such as some builders work and electrical connection.
l. Details of all special features
m. schedule attached to specification.
Rate for all electrical panels shall include for supply and installation of all necessary MCCBs, MCBS, EFRs, ELCBs, auxiliary contacts, Voltmeters, ammeters, Digital analyser,kWh meters, indicator lamps, selector switches, copper bus bars, inter locks, aligning and grounding of the panel, inter connectors, internal wiring connections to switch gear,steel channels and necessary hardware fixing insulating materials,all in fully enclosed metal clad panels and distribution boards completed as shown in drawing. They shall comply with the specifications andI.E.E.regulations and be complete to working order to the approval of local authorities.
Rate shall include for supply, installation, maintaining, testing and commissioning of the system for power and lighting according to drawings and specifications to working order.
All materials, equipment wiring shall confirm to local codes, specifications, standards/latest I.E.E. regulations ( BS 7671 ).
9.2.00 | MAIN DISTRIBUTION, SUB DISTRIBUTION AND DISTRIBUTION SYSTEM
Distribution Panel for each floor as shown on the drawing, complete with all incoming and outgoing MCBs, RCCBs, etc any other item required to working order, wall mounted wall mount steel powder coated, IP44 enclouser with neutral link, earth bar and required accessories, all complete as per the specifications & drawings.
9.2.01 |  |  |  | Main Panel Board | nr | 1
9.2.02 |  |  |  | Distribution Boards | nr | 1
All under ground cables directly buried in ground/ in the trenches as appilcable, to be laid properly and covered with cable tiles, protection tapes, etc for mechanical protection, PVC sleeves may use if required. Rate shall include for all necessary works/accessories such as excavation, sand layers, cable tiles, warning strips and back filling with approved quality earth,properly compacted, to the satisfication of the Engineer.
All above ground cables shall be laid on cable tray/ trucnking /conduits as appilcable and covered by tray covers, etc. for mechanical protection. PVC sleeves may use if required. Rate shall include for all necessary works/ accessories such as galvernized brackets, supporting materials, fittings, nails, cable ties, earthing, etc, trays shall be of required sizes, GI powder coated, and shotted, to the satisfication of Engineer
CABLING UP TO MDB
9.2.03 |  |  |  | Supply and installation of feeder cable from Stelco/Fenaka main distribution board to the Main Panel Board within the school boundary, including excavation, laying cable in GI pipe/conduit, backfilling, and testing, | item | 1
9.2.04 |  |  |  | Supply and installation of electrical cables from Main Panel Board (MPB) to all Distribution Boards (DBs) within the building, including conduit/pipe laying, terminations, testing, and commissioning, as per detailed drawings. | item | 1
9.3.00 | GENERAL EARTHING
9.3.01 |  |  |  | Allow for the total earthing system inclusive of the necessary cables from all the DBs | item | 1
9.4.00 | POINT WIRING AND FITTINGS
Rate shall include for supply & installation of cable, conduits for point wiring in concealed installations including lights,switches, power outlet,data points,isolators, etc, all as specified in the drawing
9.4.01 |  |  |  | Supply and Installation of 2 x 1C 2.5mm2 PVC/PVC/Cu + 2.5mm2 PVC/Cu earth cable c/w uPVC conduit, junction boxes etc. for lights and switches point wiring | nr | 40
9.4.02 |  |  |  | Supply and Installation of 2 x 1C 2.5mm2 PVC/PVC/Cu + 2.5mm2 PVC/Cu earth cable c/w uPVC conduit, junction boxes,ethernet cables, RJ45 Connectors, VGA cables etc. for the Socket outlets point wiring | nr | 13
9.5.00 | LIGHTS,SWITCHES AND SOCKETS
Rate shall include supply and installation of following lighting fixtures, socket outlets as specified and detailed, fixed in position including all fixing accessories, supports and connect to power, under following conditions
1. All bathrooms, out door light fixtures shall be IP65
2. All switches & sockets shall be Legrand brand or equivalent brand.
LIGHTS AND SWITCHES
9.5.01 |  |  |  | LED Tube light with weather proof opal casing | nr | 12
9.5.02 |  |  |  | Outdoor wall light 40W (IP65) | nr | 10
9.5.03 |  |  |  | LED Recessed down light 12W | nr | 1
9.5.04 |  |  |  | Ceiling Fan (52"-54") | nr | 6
9.5.05 |  |  |  | Light switch (1 G) | nr | 1
9.5.06 |  |  |  | Light switch (2 G) | nr | 4
9.5.07 |  |  |  | Light switch (4 G) | nr | 5
9.5.08 |  |  |  | Emergency light | nr | 1
SOCKETS
9.5.09 |  |  | 13 | A twin socket outlet | nr | 8
9.5.10 |  |  | 13 | A power outlet | nr | 4
9.5.11 |  |  |  | Twin computer network outlet | nr | 1
9.5.12 |  |  |  | HDMI,VGA & RAC AV Socket | nr | 1
9.5.13 |  |  |  | HDMI,VGA & RAC AV Twin Socket | nr | 1
9.5.14 |  |  |  | Data Point | nr | 1
9.5.15 |  |  |  | Spreakers | nr | 3
9.5.16 |  |  |  | Two gang TV/Sat Socket outlet | nr | 1
9.5.17 |  |  |  | 15A Socket outlet | nr | 2
9.6.00 |  |  |  | TOTAL OF BILL №: 09 - Carried Over To Summary
10.0.00 |  |  |  | Bill №: 10 - PLUMBING
10.1.00 | GENERAL
Rates shall include for sockets, running joints, connectors, elbows, junctions, valves, reducers, expansion joints, backnuts and similar, incidental fitting, clips saddles, brackets, straps, hangers, screws, nails and fixing complete, including cutting and forming holes, excavating, laying pipes and backfilling trenches.
All pipe work and fittings shall be high pressure PVC/CPVC
Rates shall include for supply and fixing of all pipes.
All sinks used shall be of superior quality and approved by the architect/consultant on submission of samples.
10.2.00 | WATER SUPPLY
Provide and fix UPVC high pressure pipes including piping, connections, fittings, valves, excavations, ducting, fixing with brackets and leak testing.
10.2.01 |  |  |  | Note: Internal plumbing to all sinks including supply and laying of pipes. | item | 1
10.2.02 |  |  |  | Connection to MWSC/FENAKA water meters. | item | 1
10.2.03 |  |  |  | All pipe works under groundfloor screed/slab to be laid for Waste water, sewage, fresh water and well water connection. | item | 1
10.3.00 | DISCHARGE WORK
Note: Internal plumbing to toilet including supply and laying of pipes.
10.3.01 |  |  |  | Provide and fix CPVC pipes including vent pipes, vent cowls, cleaning eye, connections, fittings, valves, excavations, ducting, fixing with brackets, connecting to Dilution tank and leak testing. | item | 1
10.3.02 |  |  |  | Connection to the existing sewer pipe | item | 1
10.4.00 | FIXTURES
DISABLED TOILET
10.4.01 |  |  |  | Wash basin | nr | 1
10.4.02 |  |  |  | Wash basin tap | nr | 1
10.4.03 |  |  |  | Muslim shower with stop valve | nr | 1
10.4.04 |  |  |  | Toilet Paper holder | nr | 1
10.4.05 |  |  |  | Floor Gully | nr | 1
10.4.06 |  |  |  | Face Mirror | nr | 1
10.4.07 |  |  |  | Water Closet | nr | 1
10.4.08 |  |  |  | SS grab bar (Fixed) | nr | 1
10.4.09 |  |  |  | SS grab bar (Movable) | nr | 1
10.5.00 |  |  |  | TOTAL OF BILL №: 10 - Carried Over To Summary
11.0.00 |  |  |  | Bill №: 11 - INSULATION, FIRE STOPPING & FIRE PROTECTION
11.1.00 | GENERAL
Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
Rates for cable conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces
Rates shall include for all necessary electrical wiring and accessories required for completion
All items shall be supply and complete installation
11.2.00 | EXIT LIGHTS
11.2.01 |  |  |  | Supply and installation of exit sign lights | nr | 2
11.3.00 | FIRE EXTINGUISHERS (Confirming to BS EN 3-10)
11.3.01 |  |  |  | Supply and installation of 2Kg CO2 Extinguishers | nr | 1
11.3.02 |  |  |  | Supply and installation of 9 Lt. water Extinguishers. | nr | 1
11.4.00 |  |  |  | TOTAL OF BILL №: 11 - Carried Over To Summary
12.0.00 |  |  |  | Bill №: 12 - ADDITIONS AND OMMISIONS
12.1.00 | ADDITIONS
12.1.01 |  |  |  | Bill №: 01 - PRELIMINARIES
12.1.02 |  |  |  | Bill №: 02 - ROOFING
12.1.03 |  |  |  | Bill №: 03 - WINDOWS, SCREENS & LIGHTS
12.1.04 |  |  |  | Bill №: 04 - DOORS, SHUTTERS & HATCHES
12.1.05 |  |  |  | Bill №: 05 - FLOOR FINISHES
12.1.06 |  |  |  | Bill №: 06 - SUSPENDED CEILING
12.1.07 |  |  |  | Bill №: 07 - PAINTING & DECORATIONS
12.1.08 |  |  |  | Bill №: 08 - RAILINGS
12.1.09 |  |  |  | Bill №: 09 - MECHANICAL & ELECTRICAL SERVICES
12.1.10 |  |  |  | Bill №: 10 - PLUMBING
12.1.11 |  |  |  | Bill №: 11 - INSULATION, FIRE STOPPING & FIRE PROTECTION
12.1.12 |  |  |  | Bill №: 12 - INSTALLATION OF AIR CONDITIONER
12.1.13 |  |  |  | Bill №: 13 - 24000 BTS AIR CONDITIONER X 4
TOTAL
12.2.00 | OMISSIONS
12.2.01 |  |  |  | Bill №: 01 - PRELIMINARIES
12.2.02 |  |  |  | Bill №: 02 - ROOFING
12.2.03 |  |  |  | Bill №: 03 - WINDOWS, SCREENS & LIGHTS
12.2.04 |  |  |  | Bill №: 04 - DOORS, SHUTTERS & HATCHES
12.2.05 |  |  |  | Bill №: 05 - FLOOR FINISHES
12.2.06 |  |  |  | Bill №: 06 - SUSPENDED CEILING
12.2.07 |  |  |  | Bill №: 07 - PAINTING & DECORATIONS
12.2.08 |  |  |  | Bill №: 08 - RAILINGS
12.2.09 |  |  |  | Bill №: 09 - MECHANICAL & ELECTRICAL SERVICES
12.2.10 |  |  |  | Bill №: 10 - PLUMBING
12.2.11 |  |  |  | Bill №: 11 - INSULATION, FIRE STOPPING & FIRE PROTECTION
TOTAL
12.3.00 |  |  |  | TOTAL OF BILL №: 12 - Carried Over To Summary