## Preanalytical Systems-List
BID FORM
Item # | Generic Name | Description | Suggested Size/Volume Range | Recommended Tube Size (Diameter x Length) | Additive/Purpose | Proposing size | Brand | TOTAL PRICE WITH GST
1 | Serum Tube with Clot Activator (No Gel) | Used for serum separation in chemistry and serology testing. | 1-1.5ml | 08-15 x 60-100 mm | Clot Activator
2 | Serum Tube with Clot Activator (No Gel) | Used for serum separation in chemistry and serology testing. | 1-2ml | 08-15 x 60-100 mm | Clot Activator
3 | Serum Tube with Clot Activator (No Gel) | Used for serum separation in chemistry and serology testing. | 2-2.5ml | 08-15 x 60-100 mm | Clot Activator
4 | Serum Tube with Clot Activator (No Gel) | Used for serum separation in chemistry and serology testing. | 2-4ml | 08-15 x 60-100 mm | Clot Activator
5 | Serum Tube with Clot Activator (No Gel) | Used for serum separation in chemistry and serology testing. | 4-5ml | 08-15 x 60-100 mm | Clot Activator
6 | Serum Tube with Clot Activator (No Gel) | Used for serum separation in chemistry and serology testing. | 5-7ml | 08-15 x 60-100 mm | Clot Activator
7 | Serum Separator Tubes Gel | Ideal for Transportations & Storage | 1-1.5ml | 08-15 x 60-100 mm | Gel
8 | Serum Separator Tubes Gel | Ideal for Transportations & Storage | 1-2ml | 08-15 x 60-100 mm | Gel
9 | Serum Separator Tubes Gel | Ideal for Transportations & Storage | 2-2.5ml | 08-15 x 60-100 mm | Gel
10 | Serum Separator Tubes Gel | Ideal for Transportations & Storage | 2-4ml | 08-15 x 60-100 mm | Gel
11 | Serum Separator Tubes Gel | Ideal for Transportations & Storage | 4-5ml | 08-15 x 60-100 mm | Gel
12 | Serum Separator Tubes Gel | Ideal for Transportations & Storage | 5-7ml | 08-15 x 60-100 mm | Gel
13 | Lithium Heparin Plasma Tube ( No Gel) | Ideal for urgent Plasma prepartions | 1-1.5 mL | 08-15 x 60-100 mm | LiHeparin
14 | Lithium Heparin Plasma Tube ( No Gel) | Ideal for urgent Plasma prepartions | 1-2ml | 08-15 x 60-100 mm | LiHeparin
15 | Lithium Heparin Plasma Tube ( No Gel) | Ideal for urgent Plasma prepartions | 2-2.5ml | 08-15 x 60-100 mm | LiHeparin
16 | Lithium Heparin Plasma Tube ( No Gel) | Ideal for urgent Plasma prepartions | 2-4ml | 08-15 x 60-100 mm | LiHeparin
17 | Lithium Heparin Plasma Tube ( No Gel) | Ideal for urgent Plasma prepartions | 4-5ml | 08-15 x 60-100 mm | LiHeparin
18 | Lithium Heparin Plasma Tube ( No Gel) | Ideal for urgent Plasma prepartions | 5-7ml | 08-15 x 60-100 mm | LiHeparin
19 | Lithium Heparin Plasma Separator Tube | Ideal for urgent Plasma prepartions & Transport | 1-1.5 mL | 08-15 x 60-100 mm | LiHeparin GEL
20 | Lithium Heparin Plasma Separator Tube | Ideal for urgent Plasma prepartions & Transport | 1-2ml | 08-15 x 60-100 mm | LiHeparin GEL
21 | Lithium Heparin Plasma Separator Tube | Ideal for urgent Plasma prepartions & Transport | 2-2.5ml | 08-15 x 60-100 mm | LiHeparin GEL
22 | Lithium Heparin Plasma Separator Tube | Ideal for urgent Plasma prepartions & Transport | 2-4ml | 08-15 x 60-100 mm | LiHeparin GEL
23 | Lithium Heparin Plasma Separator Tube | Ideal for urgent Plasma prepartions & Transport | 4-5ml | 08-15 x 60-100 mm | LiHeparin GEL
24 | Lithium Heparin Plasma Separator Tube | Ideal for urgent Plasma prepartions & Transport | 5-7ml | 08-15 x 60-100 mm | LiHeparin GEL
25 | EDTA Tube for Hematology | Ideal for hematology testing; prevents blood from clotting. | 1-1.5 mL | 08-15 x 60-100 mm | K3 EDTA (anticoagulant)
26 | EDTA Tube for Hematology | Ideal for hematology testing; prevents blood from clotting. | 1-2ml | 08-15 x 60-100 mm | K3 EDTA (anticoagulant)
27 | EDTA Tube for Hematology | Ideal for hematology testing; prevents blood from clotting. | 2-2.5ml | 08-15 x 60-100 mm | K3 EDTA (anticoagulant)
28 | EDTA Tube for Hematology | Ideal for hematology testing; prevents blood from clotting. | 2-4ml | 08-15 x 60-100 mm | K3 EDTA (anticoagulant)
29 | EDTA Tube for Hematology | Ideal for hematology testing; prevents blood from clotting. | 4-5ml | 08-15 x 60-100 mm | K3 EDTA (anticoagulant)
30 | EDTA Tube for Hematology | Ideal for hematology testing; prevents blood from clotting. | 5-7ml | 08-15 x 60-100 mm | K3 EDTA (anticoagulant)
31 | Glucose Tube with Fluoride/EDTA | Used for glucose determination; additives prevent glycolysis. | 1-1.5 mL | 08-15 x 60-100 mm | Sodium Fluoride and EDTA
32 | Glucose Tube with Fluoride/EDTA | Used for glucose determination; additives prevent glycolysis. | 1.5-2ml | 08-15 x 60-100 mm | Sodium Fluoride and EDTA
33 | Glucose Tube with Fluoride/EDTA | Used for glucose determination; additives prevent glycolysis. | 2-2.5ml | 08-15 x 60-100 mm | Sodium Fluoride and EDTA
34 | Glucose Tube with Fluoride/EDTA | Used for glucose determination; additives prevent glycolysis. | 2-3ml | 08-15 x 60-100 mm | Sodium Fluoride and EDTA
35 | Coagulation Tube with Sodium Citrate | Maintains blood-to-additive ratio for coagulation studies. | 1-1.5 mL | 08-15 x 60-100 mm | 3.2% Sodium Citrate
36 | Coagulation Tube with Sodium Citrate | Maintains blood-to-additive ratio for coagulation studies. | 1-2ml | 08-15 x 60-100 mm | 3.2% Sodium Citrate
37 | Coagulation Tube with Sodium Citrate | Maintains blood-to-additive ratio for coagulation studies. | 2-2.5ml | 08-15 x 60-100 mm | 3.2% Sodium Citrate
38 | Coagulation Tube with Sodium Citrate | Maintains blood-to-additive ratio for coagulation studies. | 2-4ml | 08-15 x 60-100 mm | 3.2% Sodium Citrate
39 | Coagulation Tube with Sodium Citrate | Maintains blood-to-additive ratio for coagulation studies. | 4-5ml | 08-15 x 60-100 mm | 3.2% Sodium Citrate
40 | Coagulation Tube with Sodium Citrate | Maintains blood-to-additive ratio for coagulation studies. | 5-8ml | 08-15 x 60-100 mm | 3.2% Sodium Citrate
41 | Micro ESR Tube | Contains sodium citrate for ESR testing. | 500-1000 µL | N/A | 3.8% Sodium Citrate
42 | Capillary Pipette for ESR | Transparent polypropylene pipette for sedimentation rate testing per Westergren standard. | 0-200 mm (graduated) | Ø 2.5 mm | None
43 | Integrated Collection & Sedimentation ESR Tube | Contains sodium citrate for ESR testing. | 1-3 mL | N/A | 3.8% Sodium Citrate
44 | Sedimentation Tube with Graduation markings | For ESR Westergren method | 1-3 mL | N/A | No Additive
45 | ESR Rack for Westergren Method | ESR RAck with 10 positions
46 | No Additive Tube or Discard tube or Neutral Tube | Used to prime blood collection | 2-4 ml | 08-15 x 60-100 mm | No Additive
47 | Partial Draw ( low Vacuum ) tube or Equivalent | For partial draw or collection from CVC | 3-6ml | 13 x 75 mm | LH Plasma mechanical seperator
48 | Closed urine Transfer Urine Tube Round Bottom | For Urine Preparation | 4-6ml | 13-16 x 75-100 mm | No Additive
49 | Closed urine Transfer Urine Tube Round Bottom | For Urine Preparation | 6-8ml | 13-16 x 75-100 mm | No Additive
50 | Closed urine Transfer Urine Tube Round Bottom | For Urine Preparation | 8-10ml | 13-16 x 75-100 mm | No Additive
51 | Urine Cup with Integrated Transfer Device | Container with CLEAR/WHITE/YELLOWscrew cap, 80-120 ml, , PP, with paper label transparent and sterile. Individually packed or with safety label. | 80-120ml | 50-80mm | No Additive
52 | Serum Crossmatch Tube | Used for Blood Crosmatch serum yield | 4-6 mL | 13-15 x 60-100 mm | Clot Activator
53 | Serum Crossmatch Tube | Used for Blood Crosmatch serum yield | 5-7 mL | 13-15 x 60-100 mm | Clot Activator
54 | Serum Crossmatch Tube | Used for Blood Crosmatch serum yield | 6-8 mL | 13-15 x 60-100 mm | Clot Activator
55 | EDTA Crossmatch Tube | Used for Blood Crosmatch plasma yield Blood Grouping | 4-6 mL | 13-15 x 60-100 mm | CPDA or ACD
56 | EDTA Crossmatch Tube | Used for Blood Crosmatch plasma yield Blood Grouping | 5-7 mL | 13-15 x 60-100 mm | CPDA or ACD
57 | EDTA Crossmatch Tube | Used for Blood Crosmatch plasma yield Blood Grouping | 6-8 mL | 13-15 x 60-100 mm | CPDA or ACD
58 | Capillary Blood Collection Tube with Heparin | Edge of tube mouth designed for easy blood transfer; made of clear PET/PP. | 200-500 µL | Ø 8-10 x 30-50 mm | Heparin
59 | EDTA Haematology Tube | Edge of tube mouth designed for easy blood transfer; made of clear PET/PP. | 200-500 µL | Ø 8-10 x 30-50 mm | EDTA
60 | Clotting Activator Serum Tube | For small volume serum separation, designed with dry coated activator and easy blood collection. | 200-500 µL | Ø 8-10 x 30-50 mm | Clot Activator
61 | Glucose Sodium Fluoride Tube | Designed with dry coated sodium fluoride for glucose preservation, clear PET/PP construction. | 200-500 µL | Ø 8-10 x 30-50 mm | Sodium Fluoride
62 | Coagulation Citrate Tube | Contains sodium citrate for micro coagulation studies; includes capillary for accurate measurement. | 150-500 µL | N/A | 3.2% Sodium Citrate
63 | Safety Blood Collection Needle 21G | Safety needle, color-coded green, (Ø x L) 21G x 1½", sterile, pyrogen-free. Compatible with Blood Collection Tube Valve Piston aspiration Method. | 21G, 1" | N/A | N/A
64 | Safety Blood Collection Needle 22G | Safety needle, color-coded black, (Ø x L) 22G x 1½", sterile, pyrogen-free. | 22G, 1" | N/A | N/A
65 | Winged Blood Collection Set 21G | Multiple sample butterfly needle, color-coded green, (Ø x L) 21G x 3/4", sterile, pyrogen-free. Tube length: 120-200mm. | 21G, 3/4" | N/A | N/A
66 | Winged Blood Collection Set 22G | Multiple sample butterfly needle, color-coded black, (Ø x L) 22G x 3/4", sterile, pyrogen-free. Tube length: 120-250mm. | 22G, 3/4" | N/A | N/A
67 | Winged Blood Collection Set 23G | Multiple sample butterfly needle, color-coded blue, (Ø x L) 23G x 3/4", sterile, pyrogen-free. Tube length: 120-200mm. | 23G, 3/4" | N/A | N/A
68 | Butterfly Needle for venous Blood Collection | Pediatric patients, elderly patients, or situations needing a small blood sample | 23G,
69 | Butterfly Needle for venous Blood Collection | Pediatric patients, elderly patients, or situations needing a small blood sample | 24G,
70 | Butterfly Needle for venous Blood Collection | Pediatric patients, elderly patients, or situations needing a small blood sample | 25G,
71 | Micro Pipette Tips | Non-filter, clear graduation; bagged and sealed for sterility. | 1-5 mL |  | Transfer medium volumes
72 | Graduated Pipette Tips | Sterile, polypropylene, snap cap with flip cap, clear graduation; packed and sealed (500-1000/pack). | 1-2 mL |  | Sample packing and aliquoting
73 | Sterile Conical Micro Centrifuge Vial | Sterile, polypropylene, snap cap with flip cap, clear graduation; packed and sealed (500-1000/pack). | 1-2 mL |  | for centrifugation of body fluids and aliqueting
74 | Sterile Conical Micro Centrifuge Vial | Sterile, polypropylene, snap cap with flip cap, clear graduation; packed and sealed (100-1000/pack). | 1-5 mL |  | for centrifugation of body fluids and aliqueting
75 | Sterile Graduated Conical Centrifuge Tube | Sterile, polypropylene, screw cap, clear graduation; individually bagged and sealed. | 5-10 mL |  | for centrifugation of body fluids
76 | Sterile Graduated Conical Micro Centrifuge Vial | Sterile, polypropylene, screw cap, clear graduation; individually bagged and sealed. | 10-15 mL |  | PRP and IUI sample processing
77 | Graduated Conical Centrifuge Tube | Sterile, polypropylene, screw cap, clear graduation; individually bagged and sealed. | 3 mL, 5 mL, 10 mL |  | General lab use
78 | Disposable Syringe with Needle, Tubeculin Syringe | Sterile, single-use, luer lock with needle; suitable for fluid handling and sample transfer. | 1ml | 23G to 26G | General Medical use
79 | Disposable Syringe with Needle | Sterile, single-use, luer lock with needle; suitable for fluid handling and sample transfer. | 2 mL | 23G to 25G | General Medical use
80 | Disposable Syringe with Needle | Sterile, single-use, luer lock with needle; suitable for fluid handling and sample transfer. | 3 mL | 22G to 25G | General Medical use
81 | Disposable Syringe with Needle | Sterile, single-use, luer lock with needle; suitable for fluid handling and sample transfer. | 5 mL | 21G to 23G | General Medical use
82 | Disposable Syringe with Needle | Sterile, single-use, luer lock with needle; suitable for fluid handling and sample transfer. | 10 mL | 20G to 22G | General Medical use
83 | Disposable Syringe without Needle | Sterile, single-use, luer lock without needle; suitable for fluid handling and sample transfer. | 2 mL |  | General Medical use
84 | Disposable Syringe without Needle | Sterile, single-use, luer lock with needle; suitable for fluid handling and sample transfer. | 3 mL |  | General Medical use
85 | Disposable Syringe without Needle | Sterile, single-use, luer lock with needle; suitable for fluid handling and sample transfer. | 5 mL |  | General Medical use
86 | Disposable Syringe without Needle | Sterile, single-use, luer lock with needle; suitable for fluid handling and sample transfer. | 10 mL |  | General Medical use
87 | Disposable Needle | Sterile, single-use, luer lock with needle; suitable for fluid handling and sample transfer. | 2 mL | 23G to 25G | General Medical use
88 | Disposable Needle | Sterile, single-use, luer lock with needle; suitable for fluid handling and sample transfer. | 3 mL | 22G to 25G | General Medical use
89 | Disposable Needle | Sterile, single-use, luer lock with needle; suitable for fluid handling and sample transfer. | 5 mL | 21G to 23G | General Medical use
90 | Disposable Needle | Sterile, single-use, luer lock with needle; suitable for fluid handling and sample transfer. | 10 mL | 20G to 22G | General Medical use
91 | Micro Pipette Tips | Non-filter, clear graduation; bagged and sealed for sterility; compatible with racked trays. | 100-1000 µL |  | For micropipettes
92 | Graduated Pipette Tips | Non-filter, clear graduation; bagged and sealed for sterility. | 1-5 mL
93 | Sterile Cotton Swab | Individually packed, dry, sterile swab; no medium required. | Wooden stick |  | For ABST testing and lab use
94 | Sterile Transport Swab | Dry swab with applicator in a sealed plastic tube with plug cap; individually packed for sterility. | Plastic tube with cap |  | Microbiology sample collection and transport
95 | Viral universal Transport tubes | Dry cotton swab with an applicator and viral universal transport medium in a sealed plastic tube with plug cap; individually packed for sterility. | Plastic tube with cap |  | Microbiology sample collection and transport
96 | Test tubes round bottom clear plastic 13mm x 100mm | Plastic polypropylene transparent tubes round bottom size: Ø 13 x 100mm | 13mm x 100mm |  | for centrifugation of body fluids and aliqueting
97 | Test tubes round bottom clear plastic 13mm x 75mm | Plastic polypropylene transparent tubes round bottom size: Ø 13 x 75mm | 13mm x 100mm |  | for centrifugation of body fluids and aliqueting
98 | Single use urine collection cup | Container with CLEAR/WHITE /YELLOWscrew cap, 80-120 ml, , PP, with paper label transparent and sterile. Individually packed or with safety label. | 80-120ml |  | urine collection container sterile
99 | Single use urine 24 hrs collection bottle | 24 hour urine collection, 3000 ml amber with screw cap, leak resistant, with graduation marks, non sterile. | 3000ml |  | 24 hrs urine colllection bottle
100 | Urine collection and transfer container | 500-600ml plastic or polypropylene collection cup or container for the collection and transfer of urine sample to the 24hrs urine collecting bottle. | 500-600ml |  | 24 hrs urine colllection and transfer container
101 | Single use faeces collection bottle | Container with screw cap, 50-60 ml, polypropylene, with paper label and transfer spoon, transparent & sterile. Individually packed OR with safety label. | 50-60ml |  | Faeces collection container sterile
102 | Single use sputum collection bottle | Sputum container 30 - 60 ml in polypropylene with screw cap, transparent & sterile with paper label, individually wrapped OR with safety label | 30-60ml |  | Sputum collection container sterile
103 | Micro needle | Micro needle for minute amount of venous blood collection, Needle ( Ø x L) 21G, 23G, 25G x 1 3/4", sterile pyrogen free. Color coded International Standards. | 21G x 3/4, 23G x 3/4, 25G x 3/4 |  | for minute amount of venous blood collection
104 | Safety lancet depth 1.6mm | Sterile Sigle use Safety lancet, Mini, Ø needle: 21 G, colur coded, penetration depth: 1.6-1.8 mm, for capillary blood collection, for puncturing finger, ear, heel | 21G - 24G |  | for capillary blood collection, for puncturing finger, ear, heel
105 | Safety lancet depth 1.2mm | Sterile Sigle use Safety lancet, Mini, Ø needle: 25G - 30G, colur coded, penetration depth: 0.8-1.5 mm, for capillary blood collection, for puncturing finger, ear, heel | 25G - 30G |  | for capillary blood collection, for puncturing finger, ear, heel
106 | Needle Holder for evacuated tubes | Tube Holder with Luer Lock Adapter to be used together with evacuated blood collection infusion sets & safety needle |  |  | Needle Holder for evacuated blood colletion systems
107 | Blood Culture adaptor long neck | Should be compatible with VersaTREK Blood culture systems. Direct draw adaptor for paediatric blood culture bottles |  |  | Blood culture bottle holder for long neck bottles
108 | Universal Blood Culture adaptor | Should be compatible with VersaTREK Blood culture systems. Direct draw adaptor for Adult blood culture bottles. |  |  | Universal holder for blood culture bottles
109 | Buckle tourniquet multiple use- Adult | Made of Nylon, woth plastic buckle which is quickly released on touch by finger.Size: 2.5-3 x40- 60cm | Phlebotomy tourniquet |  | Torniquet for adult blood collection
110 | Buckle tourniquet reusable- Pediatric | Made of Nylon, woth plastic buckle which is quickly released on touch by finger.Size: 2.5- 3x25- 40cm | Phlebotomy tourniquet |  | Torniquet for pediatric blood collection
111 | Neonatal torniquet reusable | Infant tourniquets | Phlebotomy tourniquet |  | Torniquet for neonatal blood collection
112 | Sharp containers biohazard needle disposal with Lid | Polypropylene, Leak proof, puncture resistant, autoclaveable yellow with biohazard label printed. Sliding lid , lockable when full. | Capacity : 2-5 liters |  | Bioharard Sharps Box for safe disposal of hypodermic needles and lancets
113 | Spot adhesive bandages sterile | Absorbent , non-stick pad breathable. Size: 2-2.5 cm. | Size: 2-2.5 cm |  | plastic adhesive bandage for blood collection
114 | Transport Box for Inhouse sample Transport with racks | Ideal for transport of samples within Hospital | Medium
115 | Specimen Mailers Universal | idal for specimen Shipping Air Cargo | 200 x 150 x 90 mm
116 | 70% isopropyl alcohol skin cleansing swabs | Sterile antiseptic wipes, 70% alcohol impregnated swas for skin disinfection. 2 Ply . Size: 23- 65mm | Size: 23- 65mm |  | Alcohol swabs for disinfection of skin
117 | Plastic test tube racks | Plastic polypropylene test tube racks for 12-13mm diameter tubes, hole diameter 13-14mm, holds 50 tubes, stackable | For 12-13mm tubes |  | For sample storage and transport
118 | Plastic test tube racks | Plastic polypropylene test tube racks for 13-16mm diameter tubes, hole diameter 16-17mm, holds 30-50 tubes, stackable | For 13-16mm tubes |  | For sample storage and transport
TOTAL (MVR)
- PRICES QUOTED MUST BE THE FINAL PRICE INCLUSIVE OF GST
- MUST PROVIDE SPECIFICATION DETAILS
- CONSUMABLE DELIVERY PERIOD** MUST NOT EXCEED 25 DAYS
- DELIVERY PERIODS MUST BE IN DAYS (INCLUDING WEEKENDS AND PUBLIC HOLIDAYS). ITEMS MUST BE DELIVERED TO AEH
- ATTACH SIGNED AND SEALED COPY OF THIS FORM WITH BID
NAME:
DESIGNATION:
SIGN AND SEAL: