## COVER PG
BILL OF QUANTITIES
RENOVATION WORKS OF POLICE HQ
Shaheedh Hussain Adam Building
Date: 31st January 2026

## SUMMARY
INFRASTRUCTURE AND BUILDING DEVELOPMENT
DESIGNING AND DEVELOPMENT
MALDIVES POLICE SERVICE
PROJECT: Renovation works of Police HQ
CLIENT: Maldives police service
LOCATION: Shaheedh Hussain Adam Building
Date: 31st January 2026
SUMMARY
Item | Description | Amount
1 | BILL NO. 01 - PRELIMINARIES
2 | BILL N0: 02 - DEMOLITION WORKS
3 | BILL N0: 03 -MASONRY & PLASTERING
4 | BILL N0: 04 -PARTITION WORKS
5 | BILL N0: 05 - DOORS, WINDOWS & BLINDS
6 | BILL N0: 06 - CEILING WORKS
7 | BILL N0: 07 - FINISHES
8 | BILL N0: 08 - PAINTING
9 | BILL N0: 09- HYDRAULICS & DRAINAGE
10 | BILL N0: 10 - ELECTRICAL & SPECIFIC INSTALLATIONS
11 | BILL N0: 11 - FURNITURE
12 | BILL No: 12 -ADDITIONS
13 | BILL No: 13 -OMISSIONS
TOTAL
GST 8%
GRAND TOTAL

## 1
INFRASTRUCTURE AND BUILDING DEVELOPMENT
DESIGNING AND DEVELOPMENT
MALDIVES POLICE SERVICE
Date: 31st January 2026
PROJECT: Renovation works of Police HQ
CLIENT: Maldives police service
LOCATION: Shaheedh Hussain Adam Building
BILL OF QUANTITIES
Item | Description | Qty | Unit | Rate | Amount
Bill No. 01
PRELIMINARIES
General Notes
Abbreviations
m - meter
Nos - numbers
m³ - cubic meter
m² - square meter
t - tones
inch - including
mm - millimeter
dia - diameter
SS - Stainless Steel
GI - Galvanized Iron
1.1 | Site Management Costs
1 ) | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone,fax,hoardings and similar. | 1 | item
1.2 | SAFETY & SITE CLEAN-UP
1 ) | Maintain the safety of the compound existing works & occupants. Ensure site clean-up after work completion | 1 | Item
1.3 | Insurance, Bonds, Guarantees and Warranties
1 ) | Provide, execute and maintain all applicable bonds and guarantees required under the Conditions of Contract, including but not limited to Performance Bond, Advance Payment Guarantee and any other securities as specified, valid for the periods stated in the Contract Documents | 1 | Item
BILL NO. 01 - PRELIMINARIES
TOTAL OF BILL No: 01 - Carried over to summary

## 2
BILL N0: 02
DEMOLITION WORKS
GENERAL
(a) Rates for demolishing shall include for carrying out all work with equipment suitable to the nature of this work with out any damage to the existing and neighbouring structures on an approved method. Any damages to be rectified at Contractor's cost to the approval of the Consultant. All precautionary measures to be done to the approval of the Consultant prior to commencement of any demolishing work to avoid damages to workers, outsiders, existing services, fittings and equipment. existing structure, adjoining properties, public services and to minimize dust, noise and disturbances to others etc.,
(b) Rates shall include for removal and disposal of all rubbish and debris away from the site in an acceptable manner subject to the consultants approval
2.1 | Cyber Police
1 | Removal of existing masonry walls (approx. 15.4 sqm) as per drawing detail | 1 | item
2 | Removal of existing partition walls including existing doors & windows & the like (approx. 54.5 sqm) as per drawing detail | 1 | item
3 | Removal of existing door (2100x900mm) & filling gap with masonry, plaster & paint as per the existing walls (refer drawing) | 1 | nos
2.2 | Marine police / Media center
1 | Removal of existing masonry walls including demolition works for new door openings (approx. 12.58 sqm) as per drawing detail | 1 | item
2 | Removal of existing partition walls including existing doors & windows & the like (approx. 67.92 sqm) as per drawing detail | 1 | item
3 | Removal of existing door (2100x900mm) & filling gap with masonry, plaster & paint as per the existing walls (refer drawing) | 1 | nos
BILL N0: 02 - DEMOLITION WORKS
TOTAL OF BILL No: 02 - Carried over to summary

## 3
BILL N0: 03
MASONRY & PLASTERING
GENERAL
(a)Rates shall include for: blocks, cutting or leaving holes and openings as recesses, building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashing, bedding frames.
(b) Mix ratio for Plastering & masonry shall be 1:4 Cement Mortar, Ground rods, compression gap filler, nylon / plastic mesh as specified.
3.1 | MASONRY
3.1.1 | Cyber Police
1 | 150 thk masonry block wall | 3.025 | m²
3.1.2 | Marine police / Media center
1 | 150 thk masonry block wall | 4.7 | m²
3.2 | PLASTERING
Note: 15mm Thick cement plastering on all INTERNAL WALLS and concrete surface with 1:4 cement mortar mix as specified incl. wire mesh at joints of concrete surfaces and walls.
1 | Cyber Police | 6.05 | m²
2 | Marine police / Media center | 9.4 | m²
BILL N0: 03 -MASONRY & PLASTERING
TOTAL OF BILL No: 03 - Carried over to summary

## 4
BILL N0: 04
PARTITION WORKS
GENERAL
(a) Rates shall include for: all labour in framing, notching and fitting around projections, complete with all fixing accessories
(b) Framing material shall be as per drawing
(c) Rate shall include for all ancillary required upto completion including all finishes
d) Rate shall include for matching wood skirting along all edges, corners of partition area, rates shall also include for: Cutting and installation of 100mm height wood skirting including paint.
4.1 | Gypsum partition works
4.1.1 | Cyber police
1 | Full height partition works including all framing, fixing and other incidental works upto completion | 18.88 | m²
2 | 4ft high partition works including all framing, fixing and other incidental works upto completion | 26.85 | m²
4.1.2 | Marine police / Media center
1 | Full height partition works including all framing, fixing and other incidental works upto completion (refer drawing for framing details) | 98.745 | m²
2 | GI C stud partition with acoustic insulation | 9.075 | m²
Note: Partition adjacent to recording room shall have acoustic insulation properties ensuring sound proofness of the Recording room, as per drawing. Rate shall include for such insulation as deemed to be essential by the consultant
BILL N0: 04 -PARTITION WORKS
TOTAL OF BILL No: 04 - Carried over to summary

## 5
BILL N0: 05
DOORS, WINDOWS & BLINDS
GENERAL
(a) Rates shall include for locks, latches, closures, push plates, pull handles, bolts, kick plates, hinges,door closer,door stoppers and all door & window hardware.
(b) Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boarding, framing, lining, fastenings and all fixings.
(c) All Aluminum doors shall be 80 micron white powder coated aluminum frame door
(d) All Timber doors shall Solid timber paneled door with paint finish.
(e) All D&W, glazing, accessories shall be as per the door and window schedule given in the drawings
(f) All accessories including hinges, handles, locks, brushes, rubber EPDM, and angles must be the original type, and subjected to the approval.
(g) All Aluminium doors and windows must be installed using FIXSEAL 190
5.1 | DOORS & WINDOWS
5.1.1 | Cyber Police
1 | Supply & installation of Wooden Door D01 (900mmx2100mm) | 2 | nos
Note: Rate shall include for installation of a lintel beam at storage room door
2 | Supply & installation of Fixed Glass FG1 (1500mmx700mm) at partitions | 2 | nos
3 | Supply & installation of Fiber door at toilets (650mmx2100mm) | 4 | nos
5.1.2 | Marine police / Media center
1 | Supply & installation of Wooden Door D01 / D02 (900mmx2100mm) | 9 | nos
Note a: Rate shall include for removal of a door at store room prior to installation of new door
Note b: Rate shall include for installation of a lintel beam at entrance new door
2 | Supply & installation of Fixed Glass W01 (1200mmx700mm) at partitions | 3 | nos
5.2 | BLINDS
GENERAL
Note: Supply and fixing of vertical blinds. Rates shall include for all accessories and completion of all necessary works. Specifications manufactures details, color shall be submitted for consultants approval. Measurements to be confirmed by the contractor on site prior to fabrication/installation. Color to be light beige
5.2.1 | Cyber Police
1 | Vertical Blinds VB7 (3600x1900mm) | 1 | nos
2 | Vertical Blinds VB8 (3200x1900mm) | 1 | nos
3 | Vertical Blinds VB9 (3500x1900mm) | 1 | nos
4 | Vertical Blinds VB10 (4600x1900mm) | 1 | nos
5.2.2 | Marine police / Media center
1 | Vertical Blinds VB1 (1950x1900mm) | 1 | nos
2 | Vertical Blinds VB2 (1630x1900mm) | 1 | nos
3 | Vertical Blinds VB3 (4600x1900mm) | 1 | nos
4 | Vertical Blinds VB4 (3600x1900mm) | 1 | nos
5 | Vertical Blinds VB5 (3200x1900mm) | 1 | nos
6 | Vertical Blinds VB6 (3500x1900mm) | 1 | nos
BILL N0: 05 - DOORS, WINDOWS & BLINDS
TOTAL OF BILL No: 07 - Carried over to summary

## 6
BILL N0: 06
CEILING WORKS
GENERAL
a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and timber beading, etc…. similar nail and screws.
b) All ceiling frames must be aluminum size 600x600c/c bothways
c) Rates shall include all necessary works to complete.
6.1 | Cyber Police
1 | 6mm Cement board ceiling | 11.65 | m²
2 | 9mm Gypsum board ceiling | 158.46 | m²
3 | Provsional sum for ceiling access traps (400x400mm) | 9 | nos
6.2 | Marine police / Media center
1 | 6mm Cement board ceiling | 9.39 | m²
2 | 9mm Gypsum board ceiling | 168.1 | m²
3 | Provsional sum for ceiling access traps (400x400mm) | 11 | nos
BILL N0: 06 - CEILING WORKS
TOTAL OF BILL No: 06 - Carried over to summary

## 7
BILL N0: 07
FINISHES
GENERAL
| a)Rates for tiling shall include for: fixing, bedding, grouting, pointing, finishing and any other similar works to ensure the required finish. |  | 0
| b)All porcelain tiles shall be full body original type and tile adhesive must be Conmix C800 or Equivalent. |  | 0
c) Rate shall include for matching skirting along all edges, corners of tiling area, rates shall also include for: Cutting and installation of 100mm height tile skirting. Fix as per manufactures instructions.
d) Tile & skirting Color: Beige/ White
7.1 | TILE FINISHES |  | 0
Note: Rate shall include for careful strip and remove of existing tiles, including tile mortar in accordance with the existing floor plan.
7.1.1 | Cyber Police
1 | Floor tiling 600x600 (non skid porcelain tile.) | 166 | m²
2 | 300x300mm non-skid Ceramic tiles on toilet floor | 12.57 | m²
3 | 300x600mm porcelain tiles on toilet walls (2750mm Height.) | 71.57 | m²
4 | Provisional Sum for supply and installation of granite countertop at wash basin counter including edge finish and side cover (approx size: 2000x600mm) | 1 | item
7.1.2 | Marine police / Media center
1 | Floor tiling 600x600 (non skid porcelain tile.) | 172.77 | m²
7.2 | RAISED FLOOR (SERVER ROOM)
Note: (a) Rate must include for all the works including any ancillary/incidental works to proper functioning.
(b) Rate must include complete installation and configuration of the flooring system.
(c ) Rate must include for any charges relating to site cleanliness and maintaining work site safety as required.
1 | Provisional Sum for the supply and installation of a raised access flooring system in accordance with the specifications outlined below. | 1 | item
Raised access flooring system
Server room area 391SQFT
HPL-800 Grade Panel Specialized for Computer Rooms and Datacenters
Floor Panel Flatness: +0.75 mm in any direction
Floor Panel Width: + 0.50 mm
Floor Panel Squareness: + 0.38 mm
Gaps between installed
adjacent panels: +0.50 mm
Concentrated Load: 363 kgs (800 lbf) according to CISCA Testing Standards 2007
Uniformally Distributed Load: 1900 kg/m2 UDL Pneumatic Bag TEST as per CISCA testing Standards 2007 Section VII
Fire Rating: Class O as per British Building Regulations & Class 1 as per BS 476 (Part 6 & Part 7), Conforming to ASTM E84 1998 (Flammability) & ASTM E136 (Combustibility)
BILL N0: 07 - FINISHES
TOTAL OF BILL No: 07 - Carried over to summary

## 8
BILL N0: 08
PAINTING
GENERAL
(a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door window furniture
| (b) All painting work shall be carried in accordance with the Specifications & color codes as stated in the drawing |  | 0
8.1 | WALL |  | 0
Note: Emalution paint mat finish surfaces of all INTERNAL WALL. Rates shall include 2 coats of wall Primer / Sealer, putty and 2 coats of paint.
1 | Cyber police | 418.55 | m²
2 | Marine police / Media center | 412.5 | m²
8.2 | CEILING
Note: Emulsion paint matt finish surfaces of all INTERIOR CEILING . 2 coat of wall sealer, Putty and 2 coat of paint.
1 | Cyber police | 170.11 | m²
2 | Marine police / Media center | 177.49 | m²
BILL N0: 08 - PAINTING
TOTAL OF BILL No: 08 - Carried over to summary

## 9
BILL N0: 9
HYDRAULICS & DRAINAGE
GENERAL
(a) Rates shall include for sockets, running joints, connectors, elbows, junctions, valves, reducers, expansion joints, backnuts and similar, incidental fittings, clips saddles, brackets, straps, hangers, screws, nails and fixing complete, including cutting and forming holes, excavating, laying pipes and backfilling trenches.
(b) All pipe work and fittings shall be high pressure PVC.
(c) Rates shall include for supply and fixing of all pipes.
(d) The Contractor shall submit shop drawing for the entire installation, including installation details for all items required for approval of the Consultant.
(e) Record drawing During Construction the Contractor shall keep an accurate record of all deviations between the work as shown on the Contract Drawings and that which is actually installed
(f)The Contractor shall make a complete record of all changes and revisions in the original design which exist in the completed work
10.2 | SANITARY FIXTURES & ACCESSORIES
Note: (a)Sanitary fixtures complete including brackets, stop valves, fittings etc.
(b)All sanitary fittings shall be of 'JAQUAR' or Equivalent".
(c)All fixtures shall be of 'JAQUAR' or Equivalent".
(d) All pipes shall be of 'UPVC' .
1 | Water Closets | 2 | nos
2 | Oval Wash Basin with SS bottle trap | 2 | nos
3 | Aluminium framed mirror (1500x1000mm) | 1 | set
4 | Floor drain | 4 | nos
5 | Muslim Shower | 2 | nos
6 | Stop Valves | 3 | nos
7 | SS Wash Basin Taps | 2 | nos
BILL N0: 09- HYDRAULICS & DRAINAGE
TOTAL OF BILL No: 09 - Carried over to summary

## 10
BILL N0: 10
ELECTRICAL & SPECIFIC INSTALLATIONS
GENERAL
(a) Design, provide and install electrical network for the entire building complete in accordance to the standards set by the local governing body 'STELCO and URA,
| (b) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories |  | 0
(c) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil.
(d) Rates for electrical isolators, conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces.
(e) Light end and switch end of wiring together measured as one point.
(f) A point wiring for power points is measured as one point for each socket outlet; other end of wire is not included in the quantity.
(g) Rates shall include for supply and complete installation of three phase power supply.
(h) The Contractor shall submit shop drawing and load calculation sheet and panel design for approval and the entire installation, including installation details for all items required for approval of the Consultant.
(i) Record drawing During Construction the Contractor shall keep an accurate record of all deviations between the work as shown on the Contract Drawings and that which is actually installed
(j)The Contractor shall make a complete record of all changes and revisions in the original design which exist in the completed work
10.1 | ELECTRICAL BOARDS
Note: Complete installation, including for all connections, earthing, painting, testing and similar of:
Note: Distribution board capacity should be aligning with the required power for the entire floor
1 | Three Phase Distribution Board (AC, Lights and Power sockets) - Cyber Police | 1 | nos
2 | Three Phase Distribution Board (AC, Lights and Power sockets) - Marine police | 1 | nos
10.2 | CABLE TRAYS & CABLE TRENCH
1 | Supply and installation of powder coated cable trays for electric conduit, data cables and aircondition pipes above ceiling as specified in the drawings. (Cyber police) | 1 | Item
2 | Supply and installation of powder coated cable trays for electric conduit, data cables and aircondition pipes above ceiling as specified in the drawings. (Marine police / Media center) | 1 | Item
10.3 | ELECTRICAL WIRING |  | 0
| Note: Electrical wiring with copper conductor cable in conduits in walls and concrete as per government regulations including necessary D-boards at each level. |  | 0
1 | Wiring to Lights/ Socket outlets (cyber police) | 120 | Points
2 | Wiring to Lights/ Socket outlets (Marine police / Media center) | 99 | Points
10.4 | LIGHTING
Note: All lights shall be of 'PHILIPS brand or equivalent', all switches, sockets etc. shall be 'LEGRAND brand.
10.4.1 | Cyber Police
1 | Wall mount emergency LED 20W Emergency light ( Provide 13A single socket) | 1 | nos
2 | 1 gang switch | 7 | nos
3 | 2 gang switch | 4 | nos
4 | 3 gang switch | 4 | nos
5 | 4 gang switch | 5 | nos
6 | 13A Power socket 0.3M (2GNG) | 44 | nos
7 | 13A Power socket 2.4M (2GNG) | 3 | nos
8 | 13A Power Socket 1.2M (2GNG) | 1 | nos
9 | Ceiling mounth exhaust fan with delay timer | 4 | nos
10 | Ceiling mount 18W led light | 5 | nos
11 | Ceiling mount 18W led light (weather proof) | 4 | nos
12 | Ceiling mount 63W led panel light (600x600mm) | 38 | nos
10.4.2 | Marine police / Media center
1 | Wall mount emergency LED 20W Emergency light ( Provide 13A single socket) | 2 | nos
2 | 1 gang switch | 2 | nos
3 | 2 gang switch | 8 | nos
4 | 3 gang switch | 5 | nos
5 | 4 gang switch | 1 | nos
6 | 13A Power socket 0.3M (2GNG) | 36 | nos
7 | 13A Power socket 2.4M (2GNG) | 1 | nos
8 | 13A Power Socket 1.2M (2GNG) | 1 | nos
9 | Ceiling mounth exhaust fan with delay timer | 3 | nos
10 | Ceiling mount 18W led light | 4 | nos
11 | Ceiling mount 18W led light (weather proof) | 3 | nos
12 | Ceiling mount 63W led panel light (600x600mm) | 33 | nos
10.5 | CABLE TV EXTENSION
Note: Cable TV extension as per the drawings and from the concern authorities rules and regulations including all the connections and required TAPS/DBs, etc.
10.5.1 | Cyber Police
1 | Cable TV sockets outlets | 2 | nos
2 | HCMI Port (with face plate) | 2 | nos
10.6 | IT NETWORK
Provide & install with all necessary wiring, fittings & accessories IT Network System for the entire building as per drawings, specifications & contractor's shop drawings subject to consultants approval.
Network cable must be CAT6.
10.6.1 | Cyber Police
1 | Internet outlet extension sockets (double gang with separate cable ) | 41 | nos
2 | CCTV camera point | 4 | nos
3 | Controlled ( card ) access point (including 13A power socket with connection) | 2 | nos
4 | Provsional sum for Rack unit (RU) | 1 | item
10.6.2 | Marine police / Media center
1 | Internet outlet extension sockets (double gang with separate cable ) | 32 | nos
2 | CCTV camera point | 5 | nos
3 | Controlled ( card ) access point (including 13A power socket with connection) | 2 | nos
4 | Provsional sum for Rack unit (RU) | 1 | item
10.7 | AIR CONDITION SYSTEM
Air Condition system shall be a Single Split Type Ceiling casette AC as per the drawings and specification. Follow the specification provided by "HITACHI" Air Conditioning system or equivalent. Rate shall include all indoor units & Outdoor units including materials supply and installation etc.
(a) Rates shall include for submission of shop drawings along with indoor unit capacities and out door capacity.
(b) All outdoor unit cover must be in plastic and all indoor units must be ceiling mount cassette type AC
(c) Rate shall include separate Isolator for each outdoor unit and AC pipe duct system as per drawing.
(d) Rate shall include for trays, ducts and proper sleeve insulations as per manufacturere specification.
10.7.1 | Cyber Police
1 | 18000 BTU (indoor unit & outdoor unit) | 5 | nos
2 | 12000 BTU (indoor unit & outdoor unit) | 5 | nos
10.7.2 | Marine police / Media center
1 | 18000 BTU (indoor unit & outdoor unit) | 3 | nos
2 | 12000 BTU (indoor unit & outdoor unit) | 9 | nos
BILL N0: 10 - ELECTRICAL & SPECIFIC INSTALLATIONS
TOTAL OF BILL No: 10 - Carried over to summary

## 11
BILL N0: 11
FURNITURE
GENERAL
(a) The contractor must ensure actual site dimensions
(b) Supply, Installation/Assemling price should be included.
(c)The contractor shall acertain that the work characters stipulated herein shall complete the whole of the work. No change or variation whatsoever shall be entertained unless or otherwise the written instructions from the owner.
(d)Catalog should be included and all materials shall be of approved (superior) quality delivered and fixed in the first class workmanship
(e) Contractor must refer given Floor layouts ( Architectural floor plans ) for furniture orientation and dimensions. E.g: Left sided and right sided workstations shown in floor plans.
(f) All furniture should be as per drawing, & subjected to approval
11.1 | CYBER POLICE
1 | WORK STATION (ST) | 24 | nos
Table (1200mm x 700mm) with cable grommet
Partitions - front (1200 x 1200mm) 1" Thk as per drawing
Partitions - side (600 x 1200mm) 1" Thk as per drawing
Attached Three drawer set (L390 x B600 x H730) and CPU holder should be included.
Material :Solid Wood / Ready made wood
Material: Catalogue must be sent for approval
2 | EXECUTIVE WORKSTATION - LEFT (EXL) | 4 | nos
Executive Workstation - Left
1500W x 1400D x 750H with cable grommet
Drawer set and CPU holder should be included.
Material / Colour: Subject to approval
refer drawing for details
3 | EXECUTIVE WORKSTATION - RIGHT (EXR) | 2 | nos
Executive Workstation - Right
1500W x 1400D x 750H with cable grommet
Drawer set and CPU holder should be included.
Material / Colour: Subject to approval
refer drawing for details
4 | SHELF / FILING CABINET (SH) | 12 | nos
Dimensions: 1200W x 400D x 1750H
Lock on each drawer
Material / Colour: Subject to approval
refer drawing for details
5 | MEDIUM BACK CHAIR (MC) | 30 | nos
Size : 565W x 520D x 1050H
Swivel chair with hydraulic height adjustment
Polyurethane arm rest
Lockable reclining system
Material : Fabric
Colour & Design: Catalogue must be sent for approval
6 | HIGH BACK CHAIR (HC) | 6 | nos
Size : 640W x 720D x 1110H
Swivel chair with hydraulic height adjustment
Polyurethane arm rest
Lockable reclining system
Material : Leather
Colour: Black
7 | CONFERENCE TABLE (CT) | 1 | nos
6 person
Dimension: 1600W x 700D x 760H
Material: Solid wood
Colour & desgin: Catalogue must be send for approval
8 | SOFA - 2 SEATER (TS) | 1 | nos
2 seater
1750 x 900
Material: faux Leather sofa
Design& color : catalogue must be sent for approval
11.2 | MARINE POLICE/ MEDIA CENTER
1 | WORK STATION (ST) | 24 | nos
Table (1200mm x 700mm) with cable grommet
Partitions - front (1200 x 1200mm) 1" Thk as per drawing
Partitions - side (600 x 1200mm) 1" Thk as per drawing
Attached Three drawer set (L390 x B600 x H730) and CPU holder should be included.
Material :Solid Wood / Ready made wood
Material: Catalogue must be sent for approval
2 | EXECUTIVE WORKSTATION - LEFT (EXL) | 2 | nos
Executive Workstation - Left
1500W x 1400D x 750H with cable grommet
Drawer set and CPU holder should be included.
Material / Colour: Subject to approval
refer drawing for details
3 | EXECUTIVE WORKSTATION - RIGHT (EXR) | 1 | nos
Executive Workstation - Right
1500W x 1400D x 750H with cable grommet
Drawer set and CPU holder should be included.
Material / Colour: Subject to approval
refer drawing for details
4 | SHELF / FILING CABINET (SH) | 3 | nos
Dimensions: 1200W x 400D x 1750H
Lock on each drawer
Material / Colour: Subject to approval
refer drawing for details
5 | MEDIUM BACK CHAIR (MC) | 24 | nos
Size : 565W x 520D x 1050H
Swivel chair with hydraulic height adjustment
Polyurethane arm rest
Lockable reclining system
Material : Fabric
Colour & Design: Catalogue must be sent for approval
6 | HIGH BACK CHAIR (HC) | 3 | nos
Size : 640W x 720D x 1110H
Swivel chair with hydraulic height adjustment
Polyurethane arm rest
Lockable reclining system
Material : Leather
Colour: Black
7 | GUEST CHAIR (GC) | 1 | nos
630W x 550D x 930H
Swivel chair with hydraulic height adjustment
Polyurethane arm rest
Lockable reclining system
Material : Fabric
Colour: Black
BILL N0: 11 - FURNITURE
TOTAL OF BILL No: 11 - Carried over to summary

## 12
BILL No: 12
ADDITIONS
BILL No: 12 -ADDITIONS
TOTAL OF BILL No: 12 - Carried over to summary

## 13
BILL No: 13
OMISSIONS
BILL No: 13 -OMISSIONS
TOTAL OF BILL No: 13 - Carried over to summary