## Cover
BILL OF QUANTITIES
PUBLIC PARK DH.MEEDHOO
CLIENT : DH.MEEDHOO COUNCIL

## BOQ Summary
SUMMARY OF BILLS OF QUANTITIES
PUBLIC PARK DH.MEEDHOO
| DESCRIPTION | Material Cost | Labour Cost | AMOUNT
| Bill №: 01 - PRELIMINARIES | 0 | 0 | 0
| Bill №: 02 - EVENT SPACE/LIBRARY/STORAGE | 0 | 0 | 0
| Bill №: 03 - RECREATIONAL ACTIVITY AREA | 0 | 0 | 0
| Bill №: 04 -FISH POND | 0 | 0 | 0
| Bill №: 05 -TOILET AREA | 0 | 0 | 0
| Bill №: 6 -GUARD ROOM | 0 | 0 | 0
| Bill №: 07 - SWING AREA | 0 | 0 | 0
| Bill №: 08 - KIDS PLAY AREA 1 | 0 | 0 | 0
| TOTAL AMOUNT | 0 | 0 | 0
| GST 8% |  |  | 0
| TOTAL AMOUNT including GST |  |  | 0

## BOQ
0
PUBLIC PARK DH.MEEDHOO
Republic of Maldives
BILL OF QUANTITIES
ITEM |  |  |  | DESCRIPTION | UNIT | QTY | MATERIAL RATE | LABOUR RATE | MATERIAL AMOUNT | LABOUR AMOUNT | AMOUNT
1.0.00 |  |  |  | Bill №: 01 - PRELIMINARIES
1.1.00 | GENERAL NOTES
Abbreviations
|  |  | m | - metre
|  |  | nr | - numbers
|  |  | m3 | - cubic metres
|  |  | m2 | - square metres
|  |  | m | - linear metre
|  |  | t | - tons
|  |  | inc. | - including
|  |  | mm | - millimetre
|  |  | SS | - stainless steel
|  |  | GI | - galvanized iron
1.4.00 | CLEAN-UP
|  |  |  | Allow for clean-up upon completion of works. (labour) | item | 1 |  |  | 0 | 0 | 0
|  |  |  | Allow for site clearing works. (labour) | m2 | 2500.41 |  |  | 0 | 0 | 0
1.5.00 | TOTAL OF BILL №: 01 - Carried Over To Summary | [7 empty] | 0 | 0 | 0
2.0.00 |  |  |  | Bill №: 02 - EVENT SPACE/LIBRARY/STORAGE
EVENT SPACE/LIBRARY/STORAGE
2.3.00 | EXCAVATION
Excavation quantities are measured to the faces of concrete members. Rates shall include for all the additional excavation required to place the formwork. Rates shall include for backfilling.
2.3.01 |  |  |  | Excavation | m3 | 73.98 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
[9 empty] | 0 | 0
2.4.00 | FILLING | [7 empty] | 0 | 0
|  |  |  | Rate shall include for: levelling, grading, trimming, compacting and similar |  |  |  |  | 0 | 0
2.4.01 |  |  |  | Compacted earth filling under ground slab | m2 | 69 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
[9 empty] | 0 | 0
2.5.00 | DAMP-PROOF MEMBRANE | [7 empty] | 0 | 0
|  |  |  | Rate shall include for: dressing around and sealing to all penetrations,laps and turnups. |  |  |  |  | 0 | 0
2.5.01 |  |  |  | Polythene damp proof membrane (500 gauge) | m2 | 103.2 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
3.2.00 | MASS CONCRETE | [7 empty] | 0 | 0
|  |  |  | Quantity is measured to the edges of concrete foundation members. Rates shall be inclusive for any additional concrete required to place the formwork. |  |  |  |  | 0 | 0
[9 empty] | 0 | 0
3.2.01 |  |  | 50 | mm Lean Concrete | m3 | 1.84 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
3.3.00 | REINFORCED INSITU CONCRETE | [7 empty] | 0 | 0
[9 empty] | 0 | 0
|  | FOUNDATION & FOUNDATION BEAMS | [6 empty] | 0 | 0
3.3.01 | 800 | x | 800 | Foundation F1 | m3 | 3.84 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
3.3.08 | 350 | x | 200 | mm Tie Beam TB | m3 | 8.4 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
|  | COLUMNS | [6 empty] | 0 | 0
3.3.10 | 200 | x | 200 | mm Concrete columns C1 | m3 | 1.12 |  |  | 0 | 0 | 0
3.3.10 |  |  | 250 | mm Dia Concrete columns C2 | m3 | 7.065 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
|  | FLOOR SLAB | [6 empty] | 0 | 0
3.4.04 |  |  | 100 | mm floor slab | m3 | 16.589 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0 | 0
|  | BEAM | [6 empty] | 0 | 0 | 0
3.4.06 | 450 | x | 200 | mm Beam B1 | m3 | 4.9816 |  |  | 0 | 0 | 0
3.4.06 | 200 | x | 300 | mm Beam HB | m3 | 4.4628 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0 | 0
|  | ROOF SLAB | [6 empty] | 0 | 0 | 0
3.4.11 |  |  | 200 | mm roof slab | m3 | 30.782 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0 | 0
|  | LINTEL, SILL BEAMS & MID BAND | [6 empty] | 0 | 0 | 0
3.7.01 | 150 | x | 100 | mm lintel | m3 | 0.5313 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0 | 0
|  |  |  | Cement | Bag | 638 |  |  | 0 | 0 | 0
|  |  |  | Coarse Sand | Bag | 1276 |  |  | 0 | 0 | 0
|  |  |  | Aggregate | Bag | 1914 |  |  | 0 | 0 | 0
|  |  |  | Admixture | Ltr | 63.8 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0 | 0
3.8.00 |  | FORM WORK | [6 empty] | 0 | 0 | 0
|  | FOUNDATION & FOUNDATION BEAMS | [6 empty] | 0 | 0 | 0
3.8.01 | 800 | x | 800 | Foundation F1 | m² | 19.2 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0 | 0
3.8.07 | 350 | x | 200 | mm Tie Beam TB | m² | 84 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0 | 0
|  | COLUMNS | [6 empty] | 0 | 0
3.8.09 | 200 | x | 200 | mm Concrete columns C1 | m² | 22.4 |  |  | 0 | 0 | 0
3.8.09 |  |  | 250 | mm Dia Concrete columns C2 | m² | 133.1046 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
|  | FLOOR SLAB | [6 empty] | 0 | 0
3.9.04 |  |  | 100 | mm floor slab | m² | 17 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
|  | BEAM | [6 empty] | 0 | 0
3.9.06 | 450 | x | 200 | mm Beam B1 | m² | 47.0483 |  |  | 0 | 0 | 0
3.9.06 | 200 | x | 300 | mm Beam HB | m² | 59.504 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
|  | ROOF SLAB | [6 empty] | 0 | 0
3.9.09 |  |  | 200 | mm roof slab | m² | 153.91 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
|  | LINTEL, SILL BEAMS & MID BAND | [6 empty] | 0 | 0
3.12.01 | 100 | x | 100 | mm Lintel | m² | 10.626 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0 | 0
|  |  |  | Plywood 12mm flim faced | Nos | 127 |  |  | 0 | 0 | 0
|  |  |  | Timber 35x50mm | m3 | 1.6089 |  |  | 0 | 0 | 0
|  |  |  | Timber 50x50mm | m3 | 1.0825 |  |  | 0 | 0 | 0
|  |  |  | Timber Nail 1 1/2" | Kg | 10 |  |  | 0 | 0 | 0
|  |  |  | Timber Nail 2" | Kg | 5 |  |  | 0 | 0 | 0
|  |  |  | 3"Wooden Screw | Nos | 1330 |  |  | 0 | 0 | 0
|  |  |  | 4" Wooden Screw | Nos | 80 |  |  | 0 | 0 | 0
|  |  |  | Jack Rental | Nos | 715 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
3.13.00 |  | STEEL WORK | [6 empty] | 0 | 0
|  | FOUNDATION & FOUNDATION BEAMS | [6 empty] | 0 | 0
3.13.01 |  | 6 | mm | Steel bar in foundation | nr | 162 |  |  | 0 | 0 | 0
3.13.01 |  | 12 | mm | Steel bar in foundation | nr | 192 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
|  | COLUMNS | [6 empty] | 0 | 0
3.13.06 |  | 6 | mm | in column | nr | 163 |  |  | 0 | 0 | 0
3.13.07 |  | 12 | mm | in column | nr | 72 |  |  | 0 | 0 | 0
3.13.07 |  | 16 | mm | in column | nr | 32 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
|  | FLOOR SLAB | [6 empty] | 0 | 0
3.14.08 |  | 6 | mm | in Floor slab | nr | 344 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
|  | BEAM | [6 empty] | 0 | 0
3.14.05 |  | 6 | mm | in beam | nr | 328 |  |  | 0 | 0 | 0
3.14.05 |  | 16 | mm | in beam | nr | 258 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
|  | ROOF SLAB | [6 empty] | 0 | 0
3.14.08 |  | 10 | mm | in Roof slab | nr | 1234 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
|  | LINTEL, SILL BEAMS & MID BAND | [6 empty] | 0 | 0
3.17.01 |  | 10 | mm | Lintel, Sill beams & Mid band | nr | 12 |  |  | 0 | 0 | 0
|  |  |  | Binding Wire | Kg | 162.226 |  |  | 0 | 0 | 0
5.1.00 | DOORS | [7 empty] | 0 | 0
5.1.05 | 850 | x | 2100 | D1-Timber Door | nr | 1 |  |  | 0 | 0 | 0
5.1.12 | 3419 | x | 2100 | D2-Aluminium Folding Door | nr | 1 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
6.1.00 | BLOCK WORK | [7 empty] | 0 | 0
[9 empty] | 0 | 0
|  |  |  | Cement block wall, bricks laid to form alternate courses of headers and stretchers, laid on and inc. mortar. (EXTERNAL WALLS) |  |  |  |  | 0 | 0
|  |  | 150 | mm thk full height (Full block) |  |  |  |  | 0 | 0
6.1.03 |  |  |  | EVENT SPACE/LIBRARY/STORAGE | m2 | 80.9931 |  |  | 0 | 0 | 0
|  |  |  | 4" Solid Bricks | Nos | 1862.8413 |  |  | 0 | 0 | 0
|  |  |  | Cement | Bag | 18.6284 |  |  | 0 | 0 | 0
|  |  |  | Coarse Sand | Bag | 93.1421 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
7.1.00 | PLASTERING | [7 empty] | 0 | 0
|  |  | 20 | mm thk cement plaster on external surface as specified on the drawing. Waterproofed with Masterpel 777 or equivalent. |  |  |  |  | 0 | 0
7.1.03 |  |  |  | EVENT SPACE/LIBRARY/STORAGE EXTERIOR | m2 | 102.7071 |  |  | 0 | 0 | 0
|  |  |  | Cement | Bag | 17.1179 |  |  | 0 | 0 | 0
|  |  |  | Coarse Sand | Bag | 68.4714 |  |  | 0 | 0 | 0
|  |  |  | Fine Sand | Bag | 68.4714 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
7.1.03 |  |  |  | EVENT SPACE/LIBRARY/STORAGE INTERIOR | m2 | 117.4743 |  |  | 0 | 0 | 0
|  |  |  | Cement | Bag | 14.6843 |  |  | 0 | 0 | 0
|  |  |  | Fine Sand | Bag | 58.7371 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
[9 empty] | 0 | 0
7.2.00 | CEMENT SCREED | [7 empty] | 0 | 0
[9 empty] | 0 | 0
|  |  | 50 | mm thk cement screed |  |  |  |  | 0 | 0
7.2.01 |  |  |  | EVENT SPACE/LIBRARY/STORAGE | m2 | 170.42 |  |  | 0 | 0 | 0
|  |  |  | Cement | Bag | 56.8067 |  |  | 0 | 0 | 0
|  |  |  | Coarse Sand | Bag | 227.2267 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
7.2.01 |  |  |  | OPEN TERRACE | m2 | 170.42 |  |  | 0 | 0 | 0
|  |  |  | Cement | Bag | 56.8067 |  |  | 0 | 0 | 0
|  |  |  | Coarse Sand | Bag | 227.2267 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
7.3.00 | FLOOR TILING | [7 empty] | 0 | 0
[9 empty] | 0 | 0
| 600 | x | 600 | mm Homogenous tiles |  |  |  |  | 0 | 0
7.3.01 |  |  |  | EVENT SPACE/LIBRARY/STORAGE | m2 | 170.42 |  |  | 0 | 0 | 0
|  |  |  | 600x600mm Floor tiles | Nos | 520.7278 |  |  | 0 | 0 | 0
|  |  |  | Tile adhesive 25kg | bag | 130.1819 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0 | 0
7.3.01 |  |  |  | OPEN TERRACE | m2 | 170.42 |  |  | 0 | 0 | 0
|  |  |  | 600x600mm Floor tiles | Nos | 520.7278 |  |  | 0 | 0 | 0
|  |  |  | Tile adhesive 25kg | bag | 130.1819 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0 | 0
| 600 | x | 100 | mm Homogenous skirting tiles |  |  |  |  | 0 | 0 | 0
7.3.04 |  |  |  | EVENT SPACE/LIBRARY/STORAGE | m | 102 |  |  | 0 | 0 | 0
|  |  |  | 600x600mm Floor tiles | Nos | 34 |  |  | 0 | 0 | 0
|  |  |  | Tile adhesive 25kg | bag | 8.5 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0 | 0
9.1.00 | WALL PAINTING | [7 empty] | 0 | 0
[9 empty] | 0 | 0
|  |  |  | Weatherbound paint finish as specified (EXTERNAL SURFACES) |  |  |  |  | 0 | 0
9.1.02 |  |  |  | EVENT SPACE/LIBRARY/STORAGE EXTERIOR | m2 | 102.7071 |  |  | 0 | 0 | 0
|  |  |  | Exterior Wall sealer | Ltr | 29.3449 |  |  | 0 | 0 | 0
|  |  |  | Enamel Paint | Ltr | 29.3449 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
9.2.01 |  |  |  | EVENT SPACE/LIBRARY/STORAGE INTERIOR | m2 | 117.4743 |  |  | 0 | 0 | 0
|  |  |  | Interior Wall sealer | Ltr | 26.1054 |  |  | 0 | 0 | 0
|  |  |  | Interior Putty | Kg | 117.4743 |  |  | 0 | 0 | 0
|  |  |  | Emulsion Paint | Ltr | 26.1054 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
9.2.00 | CEILING PAINTING | [7 empty] | 0 | 0
[9 empty] | 0 | 0
|  | 128 |  | Selected paint finish including putty application on ceiling as specified (CEILING) |  |  |  |  | 0 | 0
9.2.01 |  | 36 |  | EVENT SPACE/LIBRARY/STORAGE | m2 | 170.42 |  |  | 0 | 0 | 0
|  |  |  | Interior Wall sealer | Ltr | 37.8711 |  |  | 0 | 0 | 0
|  |  |  | Interior Putty | Kg | 170.42 |  |  | 0 | 0 | 0
|  |  |  | Emulsion Paint | Ltr | 37.8711 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
[9 empty] | 0 | 0
10.0.00 | MECHANICAL & ELECTRICAL SERVICES | [7 empty] | 0 | 0
[9 empty] | 0 | 0
10.1.00 | MAIN DISTRIBUTION, SUB DISTRIBUTION AND DISTRIBUTION SYSTEM | [7 empty] | 0 | 0
[9 empty] | 0 | 0
|  |  | Distribution Boards ( DB ) | [5 empty] | 0 | 0
|  |  |  | Distribution Panel for each floor as shown on the drawing, complete with all incoming and outgoing MCBs, RCCBs, etc any other item required to working order, wall mounted wall mount steel powder coated, IP44 enclouser with neutral link, earth bar and required accessories, all complete as per the specifications & drawings. |  |  |  |  | 0 | 0
[9 empty] | 0 | 0
10.1.01 |  |  |  | Distribution Boards | nr | 1 |  |  | 0 | 0 | 0
10.1.02 |  |  |  | 12 Mod Distribution Board | nr | 1 |  |  | 0 | 0 | 0
10.1.03 |  |  |  | 40A ELCB (2POLE) | nr | 1 |  |  | 0 | 0 | 0
10.1.04 |  |  |  | 40A MCB (2POLE) | nr | 1 |  |  | 0 | 0 | 0
10.1.06 |  |  |  | 10A MCB | nr | 5 |  |  | 0 | 0 | 0
10.1.07 |  |  |  | 6A MCB | nr | 7 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0 | 0
|  |  | MAIN / SUB CABLING | [5 empty] | 0 | 0
|  |  |  | All under ground cables directly buried in ground/ in the trenches as appilcable, to be laid properly and covered with cable tiles, protection tapes, etc for mechanical protection, PVC sleeves may use if required. Rate shall include for all necessary works/accessories such as excavation, sand layers, cable tiles, warning strips and back filling with approved quality earth,properly compacted, to the satisfication of the Engineer. |  |  |  |  | 0 | 0
[9 empty] | 0 | 0
|  |  |  | All above ground cables shall be laid on cable tray/ trucnking /conduits as appilcable and covered by tray covers, etc. for mechanical protection. PVC sleeves may use if required. Rate shall include for all necessary works/ accessories such as galvernized brackets, supporting materials, fittings, nails, cable ties, earthing, etc, trays shall be of required sizes, GI powder coated, and shotted, to the satisfication of Engineer |  |  |  |  | 0 | 0
[9 empty] | 0 | 0
[9 empty] | 0 | 0
11.2.00 | GENERAL EARTHING | [7 empty] | 0 | 0
11.2.01 |  |  |  | Allow for the total earthing system inclusive of the necessary cables from all the DBs | item | 1 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
[9 empty] | 0 | 0
11.3.00 | POINT WIRING AND FITTINGS | [7 empty] | 0 | 0
|  |  |  | Rate shall include for supply & installation of cable, conduits for point wiring in concealed installations including lights,switches, power outlet,data points,isolators, etc, all as specified in the drawing |  |  |  |  | 0 | 0
[9 empty] | 0 | 0
11.3.01 |  |  |  | Supply and Installation of 2 x 1C 1.5mm2 PVC/PVC/Cu + 2.5mm2 PVC/Cu earth cable c/w uPVC conduit, junction boxes etc. for lights and switches point wiring | nr | 33 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
11.3.02 |  |  |  | Supply and Installation of 2 x 1C 2.5mm2 PVC/PVC/Cu + 2.5mm2 PVC/Cu earth cable c/w uPVC conduit, junction boxes,ethernet cables, RJ45 Connectors, VGA cables etc. for the Socket outlets point wiring | nr | 14 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
11.4.00 | FIXTURES | [7 empty] | 0 | 0
|  |  |  | Rate shall include supply and installation of following lighting fixtures, socket outlets as specified and detailed, fixed in position including all fixing accessories, supports and connect to power, under following conditions |  |  |  |  | 0 | 0
|  |  |  | 1. All bathrooms, out door light fixtures shall be IP65 |  |  |  |  | 0 | 0
|  |  |  | 2. All switches & sockets shall be ABB or equivalent brand. |  |  |  |  | 0 | 0
[9 empty] | 0 | 0
| LIGHTS AND SWITCHES | [7 empty] | 0 | 0
11.4.03 |  |  |  | Outdoor wall light 40W (IP65) | nr | 4 |  |  | 0 | 0 | 0
11.4.04 |  |  |  | 150mm Ceiling light 18W LED | nr | 24 |  |  | 0 | 0 | 0
11.4.06 |  |  |  | Ceiling fan (52" - 54") | nr | 5 |  |  | 0 | 0 | 0
11.4.08 |  |  |  | Light switch (1 G) | nr | 2 |  |  | 0 | 0 | 0
11.4.09 |  |  |  | Light switch (4 G) | nr | 6 |  |  | 0 | 0 | 0
11.4.13 |  |  |  | Fan Switch | nr | 5 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
| SOCKETS | [7 empty] | 0 | 0
11.4.14 |  |  | 13 | A twin sockets | nr | 8 |  |  | 0 | 0 | 0
11.4.14 |  |  | 13 | A sockets | nr | 4 |  |  | 0 | 0 | 0
11.4.15 |  |  | 15 | A Sockets | nr | 2 |  |  | 0 | 0 | 0
11.4.19 |  |  |  | Fiber Socket | nr | 1 |  |  | 0 | 0 | 0
11.4.20 |  |  |  | Cable TV Socket | nr | 1 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
2.8.00 | TOTAL OF BILL №: 02 - Carried Over To Summary | [7 empty] | 0 | 0 | 0
3.0.00 |  |  |  | Bill №: 03 - RECREATIONAL ACTIVITY AREA
RECREATIONAL ACTIVITY AREA
2.3.00 | EXCAVATION
Excavation quantities are measured to the faces of concrete members. Rates shall include for all the additional excavation required to place the formwork. Rates shall include for backfilling.
2.3.01 |  |  |  | Excavation | m3 | 25.8768 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
[9 empty] | 0 | 0
2.4.00 | FILLING | [7 empty] | 0 | 0
|  |  |  | Rate shall include for: levelling, grading, trimming, compacting and similar |  |  |  |  | 0 | 0
2.4.01 |  |  |  | Compacted earth filling under ground slab | m2 | 25.8768 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
[9 empty] | 0 | 0
2.5.00 | DAMP-PROOF MEMBRANE | [7 empty] | 0 | 0
|  |  |  | Rate shall include for: dressing around and sealing to all penetrations,laps and turnups. |  |  |  |  | 0 | 0
2.5.01 |  |  |  | Polythene damp proof membrane (500 gauge) | m2 | 38.336 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
3.2.00 | MASS CONCRETE | [7 empty] | 0 | 0
|  |  |  | Quantity is measured to the edges of concrete foundation members. Rates shall be inclusive for any additional concrete required to place the formwork. |  |  |  |  | 0 | 0
[9 empty] | 0 | 0
3.2.01 |  |  | 50 | mm Lean Concrete | m3 | 1.198 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
3.3.00 | REINFORCED INSITU CONCRETE | [7 empty] | 0 | 0
[9 empty] | 0 | 0
3.3.08 | 200 | x | 250 | mm Foundation Beam FB | m3 | 4.792 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
|  | FLOOR SLAB | [6 empty] | 0 | 0
3.4.04 |  |  | 100 | mm floor slab | m3 | 27.0265 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
|  |  |  | Cement | Bag | 265 |  |  | 0 | 0 | 0
|  |  |  | Coarse Sand | Bag | 530 |  |  | 0 | 0 | 0
|  |  |  | Aggregate | Bag | 795 |  |  | 0 | 0 | 0
|  |  |  | Admixture | Ltr | 26.5 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
3.8.00 |  | FORM WORK | [6 empty] | 0 | 0
3.8.07 | 200 | x | 250 | mm Foundation Beam FB | m² | 38.336 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
|  | FLOOR SLAB | [6 empty] | 0 | 0
3.9.04 |  |  | 100 | mm floor slab | m² | 27 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0 | 0
|  |  |  | Plywood 12mm flim faced | Nos | 30 |  |  | 0 | 0 | 0
|  |  |  | Timber 35x50mm | m3 | 0.8386 |  |  | 0 | 0 | 0
|  |  |  | Timber Nail 1 1/2" | Kg | 10 |  |  | 0 | 0 | 0
|  |  |  | Timber Nail 2" | Kg | 5 |  |  | 0 | 0 | 0
|  |  |  | 3"Wooden Screw | Nos | 319 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
3.13.00 |  | STEEL WORK | [6 empty] | 0 | 0
|  | FOUNDATION & FOUNDATION BEAMS | [6 empty] | 0 | 0
3.13.01 |  | 6 | mm | Steel bar in foundation | nr | 123 |  |  | 0 | 0 | 0
3.13.01 |  | 12 | mm | Steel bar in foundation | nr | 77 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
|  | FLOOR SLAB | [6 empty] | 0 | 0
3.14.08 |  | 6 | mm | in Floor slab | nr | 560 |  |  | 0 | 0 | 0
|  |  |  | Binding Wire | Kg | 44.08 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
10.1.00 | METAL WORKS | [7 empty] | 0 | 0
[9 empty] | 0 | 0
10.1.01 |  |  |  | 100mm GI Pipe column | Nos | 8 |  |  | 0 | 0 | 0
10.1.02 |  |  |  | 50mm GI Pipe column | Nos | 95 |  |  | 0 | 0 | 0
10.1.03 |  |  |  | 8mm Thk Metal Plate 2.544m x 0.25m | Nos | 1 |  |  | 0 | 0 | 0
10.1.04 |  |  |  | 8mm Thk Metal Plate 6.222m x 0.25m | Nos | 1 |  |  | 0 | 0 | 0
10.1.05 |  |  |  | 8mm Thk Metal Plate 6.161m x 0.25m | Nos | 1 |  |  | 0 | 0 | 0
10.1.06 |  |  |  | 8mm Thk Metal Plate 5.86m x 0.25m | Nos | 1 |  |  | 0 | 0 | 0
10.1.07 |  |  |  | 50x150mm RHS Section | m | 34 |  |  | 0 | 0 | 0
10.1.08 |  |  |  | 40x75mm RHS Section | m | 172 |  |  | 0 | 0 | 0
10.1.09 |  |  |  | Cement Board 12mm | Nos | 19 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
11.1.00 | SEATING | [7 empty] | 0 | 0
[9 empty] | 0 | 0
11.1.01 |  |  |  | Seating 1 1753mm | Nos | 1 |  |  | 0 | 0 | 0
11.1.02 |  |  |  | Seating 2 3053mm | Nos | 1 |  |  | 0 | 0 | 0
11.1.03 |  |  |  | Seating 3&4 3830mm | Nos | 2 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
7.2.00 | CEMENT SCREED WITH LEVELING | [7 empty] | 0 | 0
[9 empty] | 0 | 0
|  |  | 50 | mm thk cement screed |  |  |  |  | 0 | 0
7.2.01 |  |  |  | RECREATIONAL ACTIVITY AREA | m2 | 27.027 |  |  | 0 | 0 | 0
|  |  |  | Cement | Bag | 9.009 |  |  | 0 | 0 | 0
|  |  |  | Coarse Sand | Bag | 36.036 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
9.1.00 | WALL PAINTING | [7 empty] | 0 | 0
[9 empty] | 0 | 0
|  |  |  | Weatherbound paint finish as specified (EXTERNAL SURFACES) |  |  |  |  | 0 | 0
9.1.02 |  |  |  | RECREATIONAL ACTIVITY AREA | m2 | 99 |  |  | 0 | 0 | 0
|  |  |  | Exterior Wall sealer | Ltr | 28.2857 |  |  | 0 | 0 | 0
|  |  |  | Enamel Paint | Ltr | 28.2857 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
3.8.00 | TOTAL OF BILL №: 03 - Carried Over To Summary | [7 empty] | 0 | 0 | 0
4.0.00 |  |  |  | Bill №: 04 -FISH POND
FISH POND
2.3.00 | EXCAVATION
Excavation quantities are measured to the faces of concrete members. Rates shall include for all the additional excavation required to place the formwork. Rates shall include for backfilling.
2.3.01 |  |  |  | Excavation | m3 | 12 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
2.4.00 | FILLING | [7 empty] | 0 | 0
|  |  |  | Rate shall include for: levelling, grading, trimming, compacting and similar |  |  |  |  | 0 | 0
2.4.01 |  |  |  | Compacted earth filling under ground slab | m2 | 11 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
2.5.00 | DAMP-PROOF MEMBRANE | [7 empty] | 0 | 0
|  |  |  | Rate shall include for: dressing around and sealing to all penetrations,laps and turnups. |  |  |  |  | 0 | 0
2.5.01 |  |  |  | Polythene damp proof membrane (500 gauge) | m2 | 27.4645 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
3.2.00 | MASS CONCRETE | [7 empty] | 0 | 0
|  |  |  | Quantity is measured to the edges of concrete foundation members. Rates shall be inclusive for any additional concrete required to place the formwork. |  |  |  |  | 0 | 0
[9 empty] | 0 | 0
3.2.01 |  |  | 50 | mm Lean Concrete | m3 | 6.5465 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
3.3.00 | REINFORCED INSITU CONCRETE | [7 empty] | 0 | 0
[9 empty] | 0 | 0
|  | FOUNDATION & FOUNDATION BEAMS | [6 empty] | 0 | 0
3.3.01 | 700 | x | 700 | Foundation F1 | m3 | 1.617 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
3.3.08 | 350 | x | 200 | mm Tie Beam TB | m3 | 1.8224 |  |  | 0 | 0 | 0
0
|  | COLUMNS | [6 empty] | 0
3.3.10 |  |  | 250 | mm Dia Concrete columns C1 | m3 | 0.80953 |  |  | 0 | 0 | 0
0
|  | FLOOR SLAB | [6 empty] | 0
3.4.04 |  |  | 100 | mm floor slab | m3 | 3.729 |  |  | 0 | 0 | 0
0
|  | BEAM | [6 empty] | 0
3.4.06 | 450 | x | 200 | mm Beam B1 | m3 | 3.204 |  |  | 0 | 0 | 0
0
|  | ROOF SLAB | [6 empty] | 0
3.4.11 |  |  | 180 | mm roof slab | m3 | 4.734 |  |  | 0 | 0 | 0
[9 empty] | 0 | 0
0
|  |  |  | Cement | Bag | 181 |  |  | 0 | 0 | 0
|  |  |  | Coarse Sand | Bag | 362 |  |  | 0 | 0 | 0
|  |  |  | Aggregate | Bag | 543 |  |  | 0 | 0 | 0
|  |  |  | Admixture | Ltr | 18.1 |  |  | 0 | 0 | 0
0
3.8.00 |  | FORM WORK | [6 empty] | 0
|  | FOUNDATION & FOUNDATION BEAMS | [6 empty] | 0
3.8.01 | 700 | x | 700 | Foundation F1 | m² | 9.24 |  |  | 0 | 0 | 0
0
3.8.07 | 350 | x | 200 | mm Tie Beam TB | m² | 18.2245 |  |  | 0 | 0 | 0
0
|  | COLUMNS | [6 empty] | 0
3.8.09 |  |  | 250 | mm Dia Concrete columns C1 | m² | 25.905 |  |  | 0 | 0 | 0
0
|  | FLOOR SLAB | [6 empty] | 0
3.9.04 |  |  | 100 | mm floor slab | m² | 4 |  |  | 0 | 0 | 0
0
|  | BEAM | [6 empty] | 0
3.9.06 | 450 | x | 200 | mm Beam B1 | m² | 30.26 |  |  | 0 | 0 | 0
0
|  | ROOF SLAB | [6 empty] | 0
3.9.09 |  |  | 180 | mm roof slab | m² | 26.3 |  |  | 0 | 0 | 0
0
[9 empty] | 0 |  | 0
|  |  |  | Plywood 12mm flim faced | Nos | 43 |  |  | 0 |  | 0
|  |  |  | Timber 35x50mm | m3 | 0.78575 |  |  | 0 |  | 0
|  |  |  | Timber 50x50mm | m3 | 0.583 |  |  | 0 |  | 0
|  |  |  | Timber Nail 1 1/2" | Kg | 10 |  |  | 0 |  | 0
|  |  |  | Timber Nail 2" | Kg | 5 |  |  | 0 |  | 0
|  |  |  | 3"Wooden Screw | Nos | 836 |  |  | 0 |  | 0
|  |  |  | 4" Wooden Screw | Nos | 160 |  |  | 0 |  | 0
0
3.13.00 |  | STEEL WORK | [6 empty] | 0
|  | FOUNDATION & FOUNDATION BEAMS | [6 empty] | 0
3.13.01 |  | 6 | mm | Steel bar in foundation | nr | 36 |  |  | 0 | 0 | 0
3.13.01 |  | 10 | mm | Steel bar in foundation | nr | 22 |  |  | 0 | 0 | 0
3.13.01 |  | 12 | mm | Steel bar in foundation | nr | 32 |  |  | 0 | 0 | 0
0
|  | COLUMNS | [6 empty] | 0
3.13.06 |  | 6 | mm | in column | nr | 19 |  |  | 0 | 0 | 0
3.13.07 |  | 12 | mm | in column | nr | 44 |  |  | 0 | 0 | 0
0
|  | FLOOR SLAB | [6 empty] | 0
3.14.08 |  | 6 | mm | in Floor slab | nr | 78 |  |  | 0 | 0 | 0
0
|  | BEAM | [6 empty] | 0
3.14.05 |  | 6 | mm | in beam | nr | 142 |  |  | 0 | 0 | 0
3.14.05 |  | 16 | mm | in beam | nr | 88 |  |  | 0 | 0 | 0
0
|  | ROOF SLAB | [6 empty] | 0
3.14.08 |  | 16 | mm | in Roof slab | nr | 136 |  |  | 0 | 0 | 0
|  |  |  | Binding Wire | Kg | 34.626 |  |  | 0 | 0 | 0
0
7.1.00 | PLASTERING | [7 empty] | 0
|  |  | 20 | mm thk cement plaster on external surface as specified on the drawing. Waterproofed with Masterpel 777 or equivalent. |  |  |  |  | 0
7.1.03 |  |  |  | FISH POND | m2 | 73.44 |  |  | 0 | 0 | 0
|  |  |  | Cement | Bag | 12.24 |  |  | 0 |  | 0
|  |  |  | Coarse Sand | Bag | 48.96 |  |  | 0 |  | 0
|  |  |  | Fine Sand | Bag | 48.96 |  |  | 0 |  | 0
0
7.2.00 | CEMENT SCREED | [7 empty] | 0
0
|  |  | 50 | mm thk cement screed |  |  |  |  | 0
7.2.01 |  |  |  | FISH POND | m2 | 129.184 |  |  | 0 | 0 | 0
|  |  |  | Cement | Bag | 43.0613 |  |  | 0 |  | 0
|  |  |  | Coarse Sand | Bag | 172.2453 |  |  | 0 |  | 0
0
7.2.00 | TILING | [7 empty] | 0
| 300 | x | 300 | Fish pond |  |  |  |  | 0
7.3.07 |  |  |  | FISH POND | m2 | 135.03 |  |  | 0 | 0 | 0
|  |  |  | 300x300mm Floor tiles | Nos | 1650.3667 |  |  | 0 |  | 0
|  |  |  | Tile adhesive 25kg | bag | 137.5306 |  |  | 0 |  | 0
[9 empty] | 0 |  | 0
9.1.00 | WALL PAINTING | [7 empty] | 0
0
|  |  |  | Weatherbound paint finish as specified (EXTERNAL SURFACES) |  |  |  |  | 0
9.1.02 |  |  |  | FISH POND | m2 | 73.44 |  |  | 0 | 0 | 0
|  |  |  | Exterior Wall sealer | Ltr | 20.9829 |  |  | 0 |  | 0
|  |  |  | Enamel Paint | Ltr | 20.9829 |  |  | 0 |  | 0
0
7.2.00 | Timber Handrail | [7 empty] | 0
0
7.2.01 |  |  |  | Timber Handrail for pond & Walkway | m | 55.2 |  |  | 0 | 0 | 0
0
4.8.00 | TOTAL OF BILL №: 04 - Carried Over To Summary | [7 empty] | 0 | 0 | 0
2.0.00 |  |  |  | Bill №: 05 -TOILET AREA
TOILET AREA
2.3.00 | EXCAVATION
Excavation quantities are measured to the faces of concrete members. Rates shall include for all the additional excavation required to place the formwork. Rates shall include for backfilling.
2.3.01 |  |  |  | Excavation | m3 | 15 |  |  | 0 | 0 | 0
2.4.00 | FILLING
Rate shall include for: levelling, grading, trimming, compacting and similar
2.4.01 |  |  |  | Compacted earth filling under ground slab | m2 | 15 |  |  | 0 | 0 | 0
2.5.00 | DAMP-PROOF MEMBRANE
Rate shall include for: dressing around and sealing to all penetrations,laps and turnups.
2.5.01 |  |  |  | Polythene damp proof membrane (500 gauge) | m2 | 18.671 |  |  | 0 | 0 | 0
3.2.00 | MASS CONCRETE
Quantity is measured to the edges of concrete foundation members. Rates shall be inclusive for any additional concrete required to place the formwork.
3.2.01 |  |  | 50 | mm Lean Concrete | m3 | 0.35 |  |  | 0 | 0 | 0
3.3.00 | REINFORCED INSITU CONCRETE
FOUNDATION & FOUNDATION BEAMS
3.3.01 | 600 | x | 600 | Foundation F1 | m3 | 0.54 |  |  | 0 | 0 | 0
3.3.08 | 350 | x | 200 | mm Tie Beam TB | m3 | 1.5071 |  |  | 0 | 0 | 0
COLUMNS
3.3.10 | 200 | x | 200 | mm Concrete columns C1 | m3 | 0.756 |  |  | 0 | 0 | 0
FLOOR SLAB
3.4.04 |  |  | 100 | mm floor slab | m3 | 2.712 |  |  | 0 | 0 | 0
BEAM
3.4.06 | 350 | x | 200 | mm Beam B1 | m3 | 1.3195 |  |  | 0 | 0 | 0
ROOF SLAB
3.4.11 |  |  | 150 | mm roof slab | m3 | 3.294 |  |  | 0 | 0 | 0
0
LINTEL, SILL BEAMS & MID BAND
3.7.01 | 100 | x | 100 | mm lintel | m3 | 0.261 |  |  | 0 | 0 | 0
|  |  |  | Cement | Bag | 87 |  |  | 0 | 0 | 0
|  |  |  | Coarse Sand | Bag | 174 |  |  | 0 | 0 | 0
|  |  |  | Aggregate | Bag | 261 |  |  | 0 | 0 | 0
|  |  |  | Admixture | Ltr | 8.7 |  |  | 0 | 0 | 0
3.8.00 |  | FORM WORK
FOUNDATION & FOUNDATION BEAMS
3.8.01 | 600 | x | 600 | Foundation F1 | m² | 3.6 |  |  | 0 | 0 | 0
3.8.07 | 350 | x | 200 | mm Tie Beam TB | m² | 15.071 |  |  | 0 | 0 | 0
COLUMNS
3.8.09 | 200 | x | 200 | mm Concrete columns C1 | m² | 15.12 |  |  | 0 | 0 | 0
FLOOR SLAB
3.9.04 |  |  | 100 | mm floor slab | m² | 3 |  |  | 0 | 0 | 0
BEAM
3.9.06 | 350 | x | 200 | mm Beam B1 | m² | 14.1375 |  |  | 0 | 0 | 0
ROOF SLAB
3.9.09 |  |  | 150 | mm roof slab | m² | 21.96 |  |  | 0 | 0 | 0
LINTEL, SILL BEAMS & MID BAND
3.12.01 | 100 | x | 100 | mm Lintel | m² | 7.83 |  |  | 0 | 0 | 0
[9 empty] | 0 |  | 0
|  |  |  | Plywood 12mm flim faced | Nos | 28 |  |  | 0 |  | 0
|  |  |  | Timber 35x50mm | m3 | 0.36785 |  |  | 0 |  | 0
|  |  |  | Timber 50x50mm | m3 | 0.5295 |  |  | 0 |  | 0
|  |  |  | Timber Nail 1 1/2" | Kg | 10 |  |  | 0 |  | 0
|  |  |  | Timber Nail 2" | Kg | 5 |  |  | 0 |  | 0
|  |  |  | 3"Wooden Screw | Nos | 361 |  |  | 0 |  | 0
|  |  |  | 4" Wooden Screw | Nos | 80 |  |  | 0 |  | 0
3.13.00 |  | STEEL WORK
FOUNDATION & FOUNDATION BEAMS
3.13.01 |  | 6 | mm | Steel bar in foundation | nr | 30 |  |  | 0 | 0 | 0
3.13.01 |  | 10 | mm | Steel bar in foundation | nr | 10 |  |  | 0 | 0 | 0
3.13.01 |  | 12 | mm | Steel bar in foundation | nr | 26 |  |  | 0 | 0 | 0
COLUMNS
3.13.06 |  | 6 | mm | in column | nr | 18 |  |  | 0 | 0 | 0
3.13.07 |  | 12 | mm | in column | nr | 24 |  |  | 0 | 0 | 0
FLOOR SLAB
3.14.08 |  | 6 | mm | in Floor slab | nr | 38 |  |  | 0 | 0 | 0
BEAM
3.14.05 |  | 6 | mm | in beam | nr | 24 |  |  | 0 | 0 | 0
3.14.05 |  | 16 | mm | in beam | nr | 32 |  |  | 0 | 0 | 0
ROOF SLAB
3.14.08 |  | 10 | mm | in Roof slab | nr | 185 |  |  | 0 | 0 | 0
LINTEL, SILL BEAMS & MID BAND
3.17.01 |  | 10 | mm | Lintel, Sill beams & Mid band | nr | 9 |  |  | 0 | 0 | 0
|  |  |  | Binding Wire | Kg | 22.968 |  |  | 0 | 0 | 0
5.1.00 | GROUND FLOOR
5.1.05 | 1000 | x | 2100 | D1-Timber Door | nr | 1 |  |  | 0 | 0 | 0
5.1.05 | 700 | x | 2100 | D2-Timber Door | nr | 5 |  |  | 0 | 0 | 0
5.1.12 | 600 | x | 500 | V1-Aluminium Vent | nr | 3 |  |  | 0 | 0 | 0
6.1.00 | BLOCK WORK
Cement block wall, bricks laid to form alternate courses of headers and stretchers, laid on and inc. mortar. (EXTERNAL WALLS)
|  |  | 100 | mm thk full height (Full block)
6.1.03 |  |  |  | TOILET AREA | m2 | 40.86 |  |  | 0 | 0 | 0
|  |  |  | 4" Solid Bricks | Nos | 939.78 |  |  | 0 |  | 0
|  |  |  | Cement | Bag | 9.3978 |  |  | 0 |  | 0
|  |  |  | Coarse Sand | Bag | 46.989 |  |  | 0 |  | 0
Cement block wall, bricks laid to form alternate courses of headers and stretchers, laid on and inc. mortar. (INTERNAL WALLS)
|  |  | 100 | mm thk full height (Full block)
6.1.03 |  |  |  | TOILET AREA | m2 | 34.6163 |  |  | 0 | 0 | 0
|  |  |  | 4" Solid Bricks | Nos | 796.1738 |  |  | 0 |  | 0
|  |  |  | Cement | Bag | 7.9617 |  |  | 0 |  | 0
|  |  |  | Coarse Sand | Bag | 39.8087 |  |  | 0 |  | 0
7.1.00 | PLASTERING
|  |  | 20 | mm thk cement plaster on external surface as specified on the drawing. Waterproofed with Masterpel 777 or equivalent.
7.1.03 |  |  |  | TOILET AREA | m2 | 50.514 |  |  | 0 | 0 | 0
|  |  |  | Cement | Bag | 8.419 |  |  | 0 |  | 0
|  |  |  | Coarse Sand | Bag | 33.676 |  |  | 0 |  | 0
|  |  |  | Fine Sand | Bag | 33.676 |  |  | 0 |  | 0
|  |  | 16 | mm thk cement plaster on internal surface as specified on the drawing. Waterproofed with Masterpel 777 or equivalent.
7.1.03 |  |  |  | TOILET AREA | m2 | 111.094 |  |  | 0 | 0 | 0
|  |  |  | Cement | Bag | 13.8868 |  |  | 0 |  | 0
|  |  |  | Fine Sand | Bag | 55.547 |  |  | 0 |  | 0
7.2.00 | CEMENT SCREED
|  |  | 50 | mm thk cement screed
7.2.01 |  |  |  | TOILET AREA | m2 | 12.293 |  |  | 0 | 0 | 0
|  |  |  | Cement | Bag | 4.0977 |  |  | 0 |  | 0
|  |  |  | Coarse Sand | Bag | 16.3907 |  |  | 0 |  | 0
7.2.01 |  |  |  | OPEN TERRACE | m2 | 25.56 |  |  | 0 | 0 | 0
|  |  |  | Cement | Bag | 8.52 |  |  | 0 |  | 0
|  |  |  | Coarse Sand | Bag | 34.08 |  |  | 0 |  | 0
7.3.00 | FLOOR TILING
| 600 | x | 600 | mm Homogenous tiles
7.3.01 |  |  |  | TOILET AREA | m2 | 1.604 |  |  | 0 | 0 | 0
|  |  |  | 600x600mm Floor tiles | Nos | 4.9011 |  |  | 0 |  | 0
|  |  |  | Tile adhesive 25kg | bag | 1.2253 |  |  | 0 |  | 0
0
7.3.01 |  |  |  | OPEN TERRACE | m2 | 25.56 |  |  | 0 | 0 | 0
|  |  |  | 600x600mm Floor tiles | Nos | 78.1 |  |  | 0 |  | 0
|  |  |  | Tile adhesive 25kg | bag | 19.525 |  |  | 0 |  | 0
0
| 300 | x | 300 | mm Homogenous tiles
7.3.07 |  |  |  | GROUND FLOOR | m2 | 10.689 |  |  | 0 | 0 | 0
|  |  |  | 300x300mm Floor tiles | Nos | 130.6433 |  |  | 0 |  | 0
|  |  |  | Tile adhesive 25kg | bag | 10.8869 |  |  | 0 |  | 0
0
7.3.00 | WALL TILING
| 300 | x | 600 | mm Homogenous tiles
7.4.02 |  |  |  | TOILET AREA | m2 | 77.4904 |  |  | 0 | 0 | 0
|  |  |  | 600x300mm Wall tiles | Nos | 473.5524 |  |  | 0 |  | 0
|  |  |  | Tile adhesive 25kg | bag | 47.3552 |  |  | 0 |  | 0
0
9.1.00 | WALL PAINTING
Weatherbound paint finish as specified (EXTERNAL SURFACES)
9.1.02 |  |  |  | TOILET AREA | m2 | 50.514 |  |  | 0 | 0 | 0
|  |  |  | Exterior Wall sealer | Ltr | 14.4326 |  |  | 0 |  | 0
|  |  |  | Enamel Paint | Ltr | 14.4326 |  |  | 0 |  | 0
Emulsion paint finish including putty application on brick walls as specified (INTERNAL SURFACES)
9.2.01 |  |  |  | TOILET AREA | m2 | 33.6036 |  |  | 0 | 0 | 0
|  |  |  | Interior Wall sealer | Ltr | 7.4675 |  |  | 0 |  | 0
|  |  |  | Interior Putty | Kg | 33.6036 |  |  | 0 |  | 0
|  |  |  | Emulsion Paint | Ltr | 7.4675 |  |  | 0 |  | 0
9.2.00 | CEILING PAINTING
Selected paint finish including putty application on ceiling as specified (CEILING)
9.2.01 |  |  |  | TOILET AREA | m2 | 25.56 |  |  | 0 | 0 | 0
|  |  |  | Interior Wall sealer | Ltr | 5.68 |  |  | 0 |  | 0
|  |  |  | Interior Putty | Kg | 25.56 |  |  | 0 |  | 0
|  |  |  | Emulsion Paint | Ltr | 5.68 |  |  | 0 |  | 0
11.0.00 | MECHANICAL & ELECTRICAL SERVICES
11.1.00 | MAIN DISTRIBUTION, SUB DISTRIBUTION AND DISTRIBUTION SYSTEM
Distribution Boards ( DB )
Distribution Panel for each floor as shown on the drawing, complete with all incoming and outgoing MCBs, RCCBs, etc any other item required to working order, wall mounted wall mount steel powder coated, IP44 enclouser with neutral link, earth bar and required accessories, all complete as per the specifications & drawings.
11.1.01 |  |  |  | Distribution Boards | nr | 1 |  |  | 0 | 0 | 0
11.1.02 |  |  |  | 12 Mod Distribution Board | nr | 1 |  |  | 0 |  | 0
11.1.03 |  |  |  | 40A ELCB (2POLE) | nr | 1 |  |  | 0 |  | 0
11.1.04 |  |  |  | 40A MCB (2POLE) | nr | 1 |  |  | 0 |  | 0
11.1.06 |  |  |  | 10A MCB | nr | 2 |  |  | 0 |  | 0
11.1.07 |  |  |  | 6A MCB | nr | 3 |  |  | 0 |  | 0
0
MAIN / SUB CABLING
All under ground cables directly buried in ground/ in the trenches as appilcable, to be laid properly and covered with cable tiles, protection tapes, etc for mechanical protection, PVC sleeves may use if required. Rate shall include for all necessary works/accessories such as excavation, sand layers, cable tiles, warning strips and back filling with approved quality earth,properly compacted, to the satisfication of the Engineer.
All above ground cables shall be laid on cable tray/ trucnking /conduits as appilcable and covered by tray covers, etc. for mechanical protection. PVC sleeves may use if required. Rate shall include for all necessary works/ accessories such as galvernized brackets, supporting materials, fittings, nails, cable ties, earthing, etc, trays shall be of required sizes, GI powder coated, and shotted, to the satisfication of Engineer
11.2.00 | GENERAL EARTHING
11.2.01 |  |  |  | Allow for the total earthing system inclusive of the necessary cables from all the DBs | item | 1 |  |  | 0 | 0 | 0
11.3.00 | POINT WIRING AND FITTINGS
Rate shall include for supply & installation of cable, conduits for point wiring in concealed installations including lights,switches, power outlet,data points,isolators, etc, all as specified in the drawing
11.3.01 |  |  |  | Supply and Installation of 2 x 1C 1.5mm2 PVC/PVC/Cu + 2.5mm2 PVC/Cu earth cable c/w uPVC conduit, junction boxes etc. for lights and switches point wiring | nr | 10 |  |  | 0 | 0 | 0
11.3.02 |  |  |  | Supply and Installation of 2 x 1C 2.5mm2 PVC/PVC/Cu + 2.5mm2 PVC/Cu earth cable c/w uPVC conduit, junction boxes,ethernet cables, RJ45 Connectors, VGA cables etc. for the Socket outlets point wiring | nr | 5 |  |  | 0 | 0 | 0
11.4.00 | FIXTURES
Rate shall include supply and installation of following lighting fixtures, socket outlets as specified and detailed, fixed in position including all fixing accessories, supports and connect to power, under following conditions
1. All bathrooms, out door light fixtures shall be IP65
2. All switches & sockets shall be ABB or equivalent brand.
LIGHTS AND SWITCHES
11.4.03 |  |  |  | Outdoor wall light 40W (IP65) | nr | 2 |  |  | 0 | 0 | 0
11.4.04 |  |  |  | 150mm Ceiling light 18W LED | nr | 6 |  |  | 0 | 0 | 0
11.4.08 |  |  |  | Light switch (1 G) | nr | 8 |  |  | 0 | 0 | 0
11.4.09 |  |  |  | Light switch (2 G) | nr | 1 |  |  | 0 | 0 | 0
SOCKETS
11.4.14 |  |  | 13 | A twin sockets | nr | 4 |  |  | 0 | 0 | 0
11.0.00 | PLUMBING
12.1.00 | WATER SUPPLY
Provide and fix UPVC high pressure pipes including piping, connections, fittings, valves, excavations, ducting, fixing with brackets and leak testing.
ALL PLUMBING
12.1.01 |  |  |  | Note: aLLl plumbing to kitchen including supply and laying of pipes. | item | 1 |  |  | 0 | 0 | 0
12.3.00 | FIXTURES
Complete installation, cleaning and testing of:
12.3.01 |  |  |  | Washbasin | nr | 4 |  |  | 0 | 0 | 0
12.3.02 |  |  |  | Washbasin tap | nr | 4 |  |  | 0 | 0 | 0
12.3.01 |  |  |  | Handicap Railing | nr | 1 |  |  | 0 | 0 | 0
12.3.01 |  |  |  | Water Closet | nr | 3 |  |  | 0 | 0 | 0
12.3.03 |  |  |  | Muslim shower with stop valve | nr | 3 |  |  | 0 | 0 | 0
12.3.09 |  |  |  | Water booster pump | item | 1 |  |  | 0 | 0 | 0
12.3.06 | 510 | x | 1110 | mm Face Mirror | nr | 4 |  |  | 0 | 0 | 0
12.3.05 |  |  |  | Floor Drain | nr | 5 |  |  | 0 | 0 | 0
6.8.00 | TOTAL OF BILL №: 05 - Carried Over To Summary | [7 empty] | 0 | 0 | 0
10.0.00 |  |  |  | Bill №: 6 -GUARD ROOM
GUARD ROOM
2.3.00 | EXCAVATION
Excavation quantities are measured to the faces of concrete members. Rates shall include for all the additional excavation required to place the formwork. Rates shall include for backfilling.
2.3.01 |  |  |  | Excavation | m3 | 3.286 |  |  | 0 | 0 | 0
2.4.00 | FILLING
Rate shall include for: levelling, grading, trimming, compacting and similar
2.4.01 |  |  |  | Compacted earth filling under ground slab | m2 | 3.286 |  |  | 0 | 0 | 0
2.5.00 | DAMP-PROOF MEMBRANE
Rate shall include for: dressing around and sealing to all penetrations,laps and turnups.
2.5.01 |  |  |  | Polythene damp proof membrane (500 gauge) | m2 | 7.51 |  |  | 0 | 0 | 0
3.2.00 | MASS CONCRETE
Quantity is measured to the edges of concrete foundation members. Rates shall be inclusive for any additional concrete required to place the formwork.
3.2.01 |  |  | 50 | mm Lean Concrete | m3 | 0.317 |  |  | 0 | 0 | 0
3.3.00 | REINFORCED INSITU CONCRETE
FOUNDATION & FOUNDATION BEAMS
3.3.01 | 600 | x | 600 | Foundation F1 | m3 | 0.36 |  |  | 0 | 0 | 0
3.3.08 | 350 | x | 200 | mm Tie Beam TB | m3 | 0.511 |  |  | 0 | 0 | 0
COLUMNS
3.3.10 | 200 | x | 200 | mm Concrete columns C1 | m3 | 0.39564 |  |  | 0 | 0 | 0
FLOOR SLAB
3.4.04 |  |  | 100 | mm floor slab | m3 | 0.233 |  |  | 0 | 0 | 0
BEAM
3.4.06 | 350 | x | 200 | mm Beam B1 | m3 | 0.427 |  |  | 0 | 0 | 0
ROOF SLAB
3.4.11 |  |  | 150 | mm roof slab | m3 | 1.233 |  |  | 0 | 0 | 0
0
LINTEL, SILL BEAMS & MID BAND
3.7.01 | 100 | x | 100 | mm lintel | m3 | 0.073 |  |  | 0 | 0 | 0
|  |  |  | Cement | Bag | 29 |  |  | 0 | 0 | 0
|  |  |  | Coarse Sand | Bag | 58 |  |  | 0 | 0 | 0
|  |  |  | Aggregate | Bag | 87 |  |  | 0 | 0 | 0
|  |  |  | Admixture | Ltr | 2.9 |  |  | 0 | 0 | 0
3.8.00 |  | FORM WORK
FOUNDATION & FOUNDATION BEAMS
3.8.01 | 600 | x | 600 | Foundation F1 | m² | 2.4 |  |  | 0 | 0 | 0
3.8.07 | 350 | x | 200 | mm Tie Beam TB | m² | 5.11 |  |  | 0 | 0 | 0
COLUMNS
3.8.09 | 200 | x | 200 | mm Concrete columns C1 | m² | 15.8256 |  |  | 0 | 0 | 0
FLOOR SLAB
3.9.04 |  |  | 100 | mm floor slab | m² | 0.25 |  |  | 0 | 0 | 0
BEAM
3.9.06 | 350 | x | 200 | mm Beam B1 | m² | 4.575 |  |  | 0 | 0 | 0
ROOF SLAB
3.9.09 |  |  | 150 | mm roof slab | m² | 8.22 |  |  | 0 | 0 | 0
LINTEL, SILL BEAMS & MID BAND
3.12.01 | 100 | x | 100 | mm Lintel | m² | 2.19 |  |  | 0 | 0 | 0
[9 empty] | 0 |  | 0
|  |  |  | Plywood 12mm flim faced | Nos | 15 |  |  | 0 |  | 0
|  |  |  | Timber 35x50mm | m3 | 0.13366 |  |  | 0 |  | 0
|  |  |  | Timber 50x50mm | m3 | 0.5295 |  |  | 0 |  | 0
|  |  |  | Timber Nail 1 1/2" | Kg | 10 |  |  | 0 |  | 0
|  |  |  | Timber Nail 2" | Kg | 5 |  |  | 0 |  | 0
|  |  |  | 3"Wooden Screw | Nos | 169 |  |  | 0 |  | 0
|  |  |  | 4" Wooden Screw | Nos | 80 |  |  | 0 |  | 0
3.13.00 |  | STEEL WORK
FOUNDATION & FOUNDATION BEAMS
3.13.01 |  | 6 | mm | Steel bar in foundation | nr | 11 |  |  | 0 | 0 | 0
3.13.01 |  | 10 | mm | Steel bar in foundation | nr | 8 |  |  | 0 | 0 | 0
3.13.01 |  | 12 | mm | Steel bar in foundation | nr | 10 |  |  | 0 | 0 | 0
COLUMNS
3.13.06 |  | 6 | mm | in column | nr | 12 |  |  | 0 | 0 | 0
3.13.07 |  | 12 | mm | in column | nr | 16 |  |  | 0 | 0 | 0
FLOOR SLAB
3.14.08 |  | 6 | mm | in Floor slab | nr | 6 |  |  | 0 | 0 | 0
BEAM
3.14.05 |  | 6 | mm | in beam | nr | 8 |  |  | 0 | 0 | 0
3.14.05 |  | 16 | mm | in beam | nr | 13 |  |  | 0 | 0 | 0
ROOF SLAB
3.14.08 |  | 10 | mm | in Roof slab | nr | 48 |  |  | 0 | 0 | 0
LINTEL, SILL BEAMS & MID BAND
3.17.01 |  | 10 | mm | Lintel, Sill beams & Mid band | nr | 3 |  |  | 0 | 0 | 0
|  |  |  | Binding Wire | Kg | 7.83 |  |  | 0 | 0 | 0
5.1.00 | DOORS
5.1.05 | 700 | x | 2100 | D1-Timber Door | nr | 1 |  |  | 0 | 0 | 0
5.1.05 | 800 | x | 1000 | W1-Aluminium Sliding Window | nr | 1 |  |  | 0 | 0 | 0
6.1.00 | BLOCK WORK
Cement block wall, bricks laid to form alternate courses of headers and stretchers, laid on and inc. mortar. (EXTERNAL WALLS)
|  |  | 100 | mm thk full height (Full block)
6.1.03 |  |  |  | GUARD ROOM | m2 | 20.43 |  |  | 0 | 0 | 0
|  |  |  | 4" Solid Bricks | Nos | 469.89 |  |  | 0 |  | 0
|  |  |  | Cement | Bag | 4.6989 |  |  | 0 |  | 0
|  |  |  | Coarse Sand | Bag | 23.4945 |  |  | 0 |  | 0
7.1.00 | PLASTERING
|  |  | 20 | mm thk cement plaster on external surface as specified on the drawing. Waterproofed with Masterpel 777 or equivalent.
7.1.03 |  |  |  | GUARD ROOM | m2 | 24.81 |  |  | 0 | 0 | 0
|  |  |  | Cement | Bag | 4.135 |  |  | 0 |  | 0
|  |  |  | Coarse Sand | Bag | 16.54 |  |  | 0 |  | 0
|  |  |  | Fine Sand | Bag | 16.54 |  |  | 0 |  | 0
7.1.03 |  |  |  | GUARD ROOM | m2 | 20.43 |  |  | 0 | 0 | 0
|  |  |  | Cement | Bag | 2.5537 |  |  | 0 |  | 0
|  |  |  | Fine Sand | Bag | 10.215 |  |  | 0 |  | 0
7.2.00 | CEMENT SCREED
|  |  | 50 | mm thk cement screed
7.2.01 |  |  |  | GUARD ROOM | m2 | 2.42 |  |  | 0 | 0 | 0
|  |  |  | Cement | Bag | 0.80667 |  |  | 0 |  | 0
|  |  |  | Coarse Sand | Bag | 3.2267 |  |  | 0 |  | 0
7.2.01 |  |  |  | OPEN TERRACE | m2 | 9.52 |  |  | 0 | 0 | 0
|  |  |  | Cement | Bag | 3.1733 |  |  | 0 |  | 0
|  |  |  | Coarse Sand | Bag | 12.6933 |  |  | 0 |  | 0
7.3.00 | FLOOR TILING
| 600 | x | 600 | mm Homogenous tiles
7.3.01 |  |  |  | GUARD ROOM | m2 | 2.42 |  |  | 0 | 0 | 0
|  |  |  | 600x600mm Floor tiles | Nos | 7.3944 |  |  | 0 |  | 0
|  |  |  | Tile adhesive 25kg | bag | 1.8486 |  |  | 0 |  | 0
0
7.3.01 |  |  |  | OPEN TERRACE | m2 | 9.52 |  |  | 0 | 0 | 0
|  |  |  | 600x600mm Floor tiles | Nos | 29.0889 |  |  | 0 |  | 0
|  |  |  | Tile adhesive 25kg | bag | 7.2722 |  |  | 0 |  | 0
0
| 600 | x | 100 | mm Homogenous skirting tiles |  |  |  |  | 0 | 0 | 0
7.3.04 |  |  |  | GUARD ROOM | m | 6.4 |  |  | 0 | 0 | 0
|  |  |  | 600x600mm Floor tiles | Nos | 2.1333 |  |  | 0 |  | 0
|  |  |  | Tile adhesive 25kg | bag | 0.53333 |  |  | 0 |  | 0
9.1.00 | WALL PAINTING
Weatherbound paint finish as specified (EXTERNAL SURFACES)
9.1.02 |  |  |  | GUARD ROOM | m2 | 24.81 |  |  | 0 | 0 | 0
|  |  |  | Exterior Wall sealer | Ltr | 7.0886 |  |  | 0 |  | 0
|  |  |  | Enamel Paint | Ltr | 7.0886 |  |  | 0 |  | 0
Emulsion paint finish including putty application on brick walls as specified (INTERNAL SURFACES)
9.2.01 |  |  |  | GUARD ROOM | m2 | 20.43 |  |  | 0 | 0 | 0
|  |  |  | Interior Wall sealer | Ltr | 4.54 |  |  | 0 |  | 0
|  |  |  | Interior Putty | Kg | 20.43 |  |  | 0 |  | 0
|  |  |  | Emulsion Paint | Ltr | 4.54 |  |  | 0 |  | 0
9.2.00 | CEILING PAINTING
Selected paint finish including putty application on ceiling as specified (CEILING)
9.2.01 |  |  |  | GUARD ROOM | m2 | 9.52 |  |  | 0 | 0 | 0
|  |  |  | Interior Wall sealer | Ltr | 2.1156 |  |  | 0 |  | 0
|  |  |  | Interior Putty | Kg | 9.52 |  |  | 0 |  | 0
|  |  |  | Emulsion Paint | Ltr | 2.1156 |  |  | 0 |  | 0
11.0.00 | MECHANICAL & ELECTRICAL SERVICES
11.1.00 | MAIN DISTRIBUTION, SUB DISTRIBUTION AND DISTRIBUTION SYSTEM
Distribution Boards ( DB )
Distribution Panel for each floor as shown on the drawing, complete with all incoming and outgoing MCBs, RCCBs, etc any other item required to working order, wall mounted wall mount steel powder coated, IP44 enclouser with neutral link, earth bar and required accessories, all complete as per the specifications & drawings.
11.1.01 |  |  |  | Distribution Boards | nr | 1 |  |  | 0 | 0 | 0
11.1.02 |  |  |  | 12 Mod Distribution Board | nr | 1 |  |  | 0 |  | 0
11.1.03 |  |  |  | 40A ELCB (2POLE) | nr | 1 |  |  | 0 |  | 0
11.1.04 |  |  |  | 40A MCB (2POLE) | nr | 1 |  |  | 0 |  | 0
11.1.06 |  |  |  | 10A MCB | nr | 2 |  |  | 0 |  | 0
11.1.07 |  |  |  | 6A MCB | nr | 1 |  |  | 0 |  | 0
0
MAIN / SUB CABLING
All under ground cables directly buried in ground/ in the trenches as appilcable, to be laid properly and covered with cable tiles, protection tapes, etc for mechanical protection, PVC sleeves may use if required. Rate shall include for all necessary works/accessories such as excavation, sand layers, cable tiles, warning strips and back filling with approved quality earth,properly compacted, to the satisfication of the Engineer.
All above ground cables shall be laid on cable tray/ trucnking /conduits as appilcable and covered by tray covers, etc. for mechanical protection. PVC sleeves may use if required. Rate shall include for all necessary works/ accessories such as galvernized brackets, supporting materials, fittings, nails, cable ties, earthing, etc, trays shall be of required sizes, GI powder coated, and shotted, to the satisfication of Engineer
11.2.00 | GENERAL EARTHING
11.2.01 |  |  |  | Allow for the total earthing system inclusive of the necessary cables from all the DBs | item | 1 |  |  | 0 | 0 | 0
11.3.00 | POINT WIRING AND FITTINGS
Rate shall include for supply & installation of cable, conduits for point wiring in concealed installations including lights,switches, power outlet,data points,isolators, etc, all as specified in the drawing
11.3.01 |  |  |  | Supply and Installation of 2 x 1C 1.5mm2 PVC/PVC/Cu + 2.5mm2 PVC/Cu earth cable c/w uPVC conduit, junction boxes etc. for lights and switches point wiring | nr | 10 |  |  | 0 | 0 | 0
11.3.02 |  |  |  | Supply and Installation of 2 x 1C 2.5mm2 PVC/PVC/Cu + 2.5mm2 PVC/Cu earth cable c/w uPVC conduit, junction boxes,ethernet cables, RJ45 Connectors, VGA cables etc. for the Socket outlets point wiring | nr | 5 |  |  | 0 | 0 | 0
11.4.00 | FIXTURES
Rate shall include supply and installation of following lighting fixtures, socket outlets as specified and detailed, fixed in position including all fixing accessories, supports and connect to power, under following conditions
1. All bathrooms, out door light fixtures shall be IP65
2. All switches & sockets shall be ABB or equivalent brand.
LIGHTS AND SWITCHES
11.4.03 |  |  |  | Outdoor wall light 40W (IP65) | nr | 1 |  |  | 0 | 0 | 0
11.4.04 |  |  |  | 150mm Ceiling light 18W LED | nr | 1 |  |  | 0 | 0 | 0
11.4.08 |  |  |  | Light switch (1 G) | nr | 2 |  |  | 0 | 0 | 0
SOCKETS
11.4.14 |  |  | 13 | A twin sockets | nr | 1 |  |  | 0 | 0 | 0
10.8.00 | TOTAL OF BILL №: 06 - Carried Over To Summary | [7 empty] | 0 | 0 | 0
14.0.00 |  |  |  | Bill №: 07 - SWING AREA
SWING AREA
2.3.00 | EXCAVATION
Excavation quantities are measured to the faces of concrete members. Rates shall include for all the additional excavation required to place the formwork. Rates shall include for backfilling.
2.3.01 |  |  |  | Excavation | m3 | 1.6875 |  |  | 0 | 0 | 0
2.4.00 | FILLING
Rate shall include for: levelling, grading, trimming, compacting and similar
2.4.01 |  |  |  | Compacted earth filling under ground slab | m2 | 1.5 |  |  | 0 | 0 | 0
2.5.00 | DAMP-PROOF MEMBRANE
Rate shall include for: dressing around and sealing to all penetrations,laps and turnups.
2.5.01 |  |  |  | Polythene damp proof membrane (500 gauge) | m2 | 4 |  |  | 0 | 0 | 0
3.2.00 | MASS CONCRETE
Quantity is measured to the edges of concrete foundation members. Rates shall be inclusive for any additional concrete required to place the formwork.
3.2.01 |  |  | 50 | mm Lean Concrete | m3 | 0.10417 |  |  | 0 | 0 | 0
3.3.00 | REINFORCED INSITU CONCRETE
FOUNDATION
3.3.01 | 500 | x | 500 | Foundation F1 | m3 | 0.375 |  |  | 0 | 0 | 0
PEDASTAL COLUMN
3.3.08 | 200 | x | 200 | mm Pedastal Column C1 | m3 | 0.05 |  |  | 0 | 0 | 0
|  |  |  | Cement | Bag | 5 |  |  | 0 | 0 | 0
|  |  |  | Coarse Sand | Bag | 10 |  |  | 0 | 0 | 0
|  |  |  | Aggregate | Bag | 15 |  |  | 0 | 0 | 0
|  |  |  | Admixture | Ltr | 0.5 |  |  | 0 | 0 | 0
3.8.00 |  | FORM WORK
FOUNDATION
3.8.01 | 500 | x | 500 | Foundation F1 | m² | 3 |  |  | 0 | 0 | 0
PEDASTAL COLUMN
3.8.07 | 200 | x | 200 | mm Pedastal Column C1 | m² | 1 |  |  | 0 | 0 | 0
|  |  |  | Plywood 12mm flim faced | Nos | 2 |  |  | 0 |  | 0
|  |  |  | Timber 35x50mm | m3 | 0.1 |  |  | 0 |  | 0
|  |  |  | Timber Nail 1 1/2" | Kg | 10 |  |  | 0 |  | 0
|  |  |  | Timber Nail 2" | Kg | 5 |  |  | 0 |  | 0
|  |  |  | 3"Wooden Screw | Nos | 100 |  |  | 0 |  | 0
3.13.00 |  | STEEL WORK
FOUNDATION
3.13.01 |  | 12 | mm | Steel bar in foundation | nr | 18 |  |  | 0 | 0 | 0
PEDASTAL COLUMN
3.13.01 |  | 10 | mm | Steel bar in pedastal column | nr | 20 |  |  | 0 | 0 | 0
|  |  |  | Binding Wire | Kg | 2.204 |  |  | 0 | 0 | 0
7.2.00 | METAL WORKS
100mm GI column
7.2.01 |  |  |  | 100mm GI Column | m | 30 |  |  | 0 | 0 | 0
7.2.00 | SWING
7.2.01 |  |  |  | Swing with rope | Nos | 4 |  |  | 0 | 0 | 0
|  |  |  | TOTAL OF BILL №: 07 - Carried Over To Summary |  |  |  |  | 0 | 0 | 0
14.0.00 |  |  |  | Bill №: 08 - KIDS PLAY AREA 1
KIDS PLAY AREA 1
2.3.00 | EXCAVATION
Excavation quantities are measured to the faces of concrete members. Rates shall include for all the additional excavation required to place the formwork. Rates shall include for backfilling.
2.3.01 |  |  |  | Excavation | m3 | 2.27 |  |  | 0 | 0 | 0
2.5.00 | DAMP-PROOF MEMBRANE
Rate shall include for: dressing around and sealing to all penetrations,laps and turnups.
2.5.01 |  |  |  | Polythene damp proof membrane (500 gauge) | m2 | 7.56 |  |  | 0 | 0 | 0
3.2.00 | MASS CONCRETE
Quantity is measured to the edges of concrete foundation members. Rates shall be inclusive for any additional concrete required to place the formwork.
3.3.00 | REINFORCED INSITU CONCRETE
3.3.08 | 600 | x | 600 | x 300 mm footing | m3 | 3.49 |  |  | 0 | 0 | 0
|  |  |  | Cement | Bag | 17 |  |  | 0 | 0 | 0
|  |  |  | Coarse Sand | Bag | 34 |  |  | 0 | 0 | 0
|  |  |  | Aggregate | Bag | 51 |  |  | 0 | 0 | 0
3.8.00 |  | FORM WORK
3.8.07 | 600 | x | 600 | x 300 mm footing | m² | 24.7656 |  |  | 0 | 0 | 0
|  |  |  | Plywood 12mm flim faced | Nos | 5 |  |  | 0 |  | 0
|  |  |  | Timber 35x50mm | m3 | 0.25 |  |  | 0 |  | 0
|  |  |  | Timber Nail 1 1/2" | Kg | 5 |  |  | 0 |  | 0
|  |  |  | Timber Nail 2" | Kg | 5 |  |  | 0 |  | 0
3.13.00 |  | STEEL WORK
FOUNDATION & FOUNDATION BEAMS
3.13.01 |  | 6 | mm | Steel bar in footing | nr | 28 |  |  | 0 | 0 | 0
|  |  |  | Binding Wire | Kg | 2 |  |  | 0 | 0 | 0
|  |  |  | TOTAL OF BILL №: 08 - Carried Over To Summary |  |  |  |  | 0 | 0 | 0
0
Note on D73: User: Too thick