## BOQ
The Maldives National University
BILL OF QUANTITIES (BOQ)
Item | Description | Unit | Qty | Rate | Amount
BILL No: 01
1 | GENERAL & PRELIMINARIES
1.1 | GENERAL
a) | Abbreviations
b) | m - metre
c) | nos - numbers
d) | m³ - cubic metre
e) | m² - square metre
f) | m - Linear metre
g) | Kg-Kilogram
h) | t - Tonne
i) | incl - including
j) | mm - millimetre
k) | dia - diameter
l) | L/S -Lump Sum
1.2 | Notes
a) | The contractor should take adquate measurements and verify dimensions.
b) | On practical completion of project the contractor should at not extra cost thoroughly clean out each room by washing all floors, cleaning glasses, removing paint stains, mortar droppings, and clear site completely of all debris and restore to original conditions, with all services interrupted during construction.
2 | PRELIMINARIES
2.1 | Mobilization and Demobilization
a) | Mobilization and Demobilization of contractors personel, plants, machineries, equipments, materials, contractors facilities and the like. | Item | 1 |  | 0
2.2 | Services and Facilities
a) | Allow Provision for establishment and removal of services and facilities such as temporary water, power supply, food, lodging and the like. | Item | 1 |  | 0
2.3 | Temporary Structures
a) | Provide all necessary temporary fencing, hoarding, scaffolding, Safety nets, screens, fans, planked footways, guardrails, gantries, and the like to seal off the site and for the protection of the public and the occupants of any local or statutory authority, law or regulations and to the satisfaction of MNU. Provide all necessary lighting to same at night and for removing and making good any damage resulting there from on completion. | Item | 1 |  | 0
2.4 | Clean-ups and Handover
a) | Daily removal of debris and unnecessary materials from the project site to the dump site 'area as designated by MNU, The General Contractor shall allow all costs for proper housekeeping of the project site at all times. Making good of the compacted areas during final completion. | Item | 1 |  | 0
2.5 | Site Clearing
a) | Moving the furnitures and equipments to location specified by MNU | Item | 1 |  | 0
2.6 | Allow for all other cost not included elsewhere for General & Prelimineries. Each item to be detailed and priced seperately below.
a)
BILL No: 01 General & Preliminaries
TOTAL OF BILL No: 01 - Carried over to summary
Item | Description | Unit | Qty | Rate | Amount
Bill No: 02
2 | DEMOLISION WORKS
2.1 | Removal and Disposal of waste for labelled walls in Sheet 02 | Item | 1 |  | 0
2.2 | Removal and Disposal of waste & Tiles for labelled floor areas in Sheet 02 | Item | 1 |  | 0
2.3 | Emptying the Rooms, Removal and Disposal of miscelenious waste in Sheet 01 & 02 | Item | 1 |  | 0
BILL No: 02 demolision works
TOTAL OF BILL No: 02 - Carried over to summary
Item | Description | Unit | Qty | Rate | Amount
Bill No: 03
3 | MASONRY AND PLASTERING
3.1 | Brick Work
100mm thick solid block masonry wall, bricks laid to form alternate courses of headers and stretchers, laid on and incl. mortar
b) | Internal Walls | nos | 1 |  | 0
3.2 | Plastering
Internal plastering 13mm thk. One coats Plain Cement Plaster, 1:4 cement to river sand mix ratio on Internal surface
b) | Internal Walls & Concrete Surfaces | nos | 1 |  | 0
3.3 | Floor Screeding
a) | Supply and laying of 50mm thk floor screed, complete as per the drawing and specifications. The rates shall include Grinding/ Polishing floor with mechanical grinder or desirable toll. | nos | 1 |  | 0
BILL No: 03 MASONRY AND PLASTERING
TOTAL OF BILL No: 03 - Carried over to summary
Item | Description | Unit | Qty | Rate | Amount
Bill No: 04
DOORS & WINDOWS
Supply and complete Installation of :
a) | FG01 | nos | 1 |  | 0
b) | D01 | nos | 2 |  | 0
b) | D02 | nos | 1 |  | 0
BILL No: 04 DOORS & WINDOWS
TOTAL OF BILL No: 04- Carried over to summary
Item | Description | Unit | Qty | Rate | Amount
Bill No: 05
5 | WOOD, GLASS & METAL WORKS
5.1 | Ceiling Works
a) | Supply and Installation of Ceiling REF Drawing Sheet 05 | nos | 1 |  | 0
b) | Supply and Installation of the fixures as per the Drawings (Supplier references provided in Drawing for Reference only)
1 | Entrance Cupboard as per REF 06 & 7 | nos | 1 |  | 0
2 | Magazine Shelf REF 08 | nos | 1
3 | Trophy Cupboard REF Sheet 09 | nos | 1
4 | Display Shelf REF 10 | nos | 1
5 | Flag Post REF Sheet 11 | nos | 1
6 | Bench Cupboard and Cubes REF Sheet 12 & 13 | nos | 1
7 | Bench Cupboard and Cubes REF Sheet 12 , 13 & 14 | nos | 1
8 | Lockers REF 15 & 17 | nos | 1
9 | Open Shelf cupboards REF 16 | nos | 1
10 | Display Shelf and seating REF 18,19 & 20 | nos | 1
11 | Meeting Room Table REF 21 | nos | 1
12 | Stair Case Finishing REF 22 | nos | 1
13 | Floating Shelf REF 23 | nos | 1
14 | Storage Cupboard 1 REF 24 | nos | 1
15 | Storage Cupboard 2 REF 25 | nos | 1
16 | Storage Cupboard 3 REF 26 & 27 | nos | 1
17 | White Board REF 32 | nos | 1
18 | Desks REF 32 | nos | 6
19 | Chairs REF 32 | nos | 11
20 | Notice Board REF 32 | nos | 1
BILL No: 05 - WOOD & METAL WORKS
TOTAL OF BILL No: 05 - Carried over to summary
Item | Description | Unit | Qty | Rate | Amount
Bill No: 06
6 | FINISHING WORKS
6.1 | Painting & Wall Finish
Putty, Painting 2 coat of wall sealer, 2 coats of weather proof paint as specified to;
a) | External Partitions and Concrete Surfaces | LS | 1 |  | 0
Painting 1 coat of wall sealer & 2 coats of emulsion white matt paint as specified to;
b) | Internal Walls and Concrete Surfaces | LS | 1 |  | 0
6.2 | Ceiling Skim-Coat & Painting
a) | Client Approved Finishing Painting on ceiling and Soffit . | LS | 1 |  | 0
6.3 | Floor Finishes
a) | Tile finishing as per Sheet 04 | sqft | 593 |  | 0
a) | Vinyl finishing and Steps as per Sheet 04 | sqft | 193 |  | 0
BILL No: 06 - FINISHING WORKS
TOTAL OF BILL No: 06- Carried over to summary
Item | Description | Unit | Qty | Rate | Amount
BILL No: 07
7 | ELECTRICAL INSTALLATIONS
7.1 | Electrical Boards
a) | Referring to Sheet 34 - Supply and installation of Distribution Boards complete with MCBs, ELCBs, Breakers, etc any other item required to working order, wall mounted steel powder coated IP44 enclouser with neutral link, earth bar and required accessories required for complete installation as per the specifications. Rate shall include wiring and connection from electrical fixtures. | nos | 1 |  | 0
7.2 | Electrical wiring
a) | Electrical wiring with copper conductor cable in conduits in walls and in casing on soffits of slab or conduits as Detailed on Sheet 33 | nos | 1 |  | 0
b) | Supply and installation of Electrical Fixures including AC outdoor units as per Sheet 33 | nos | 1 |  | 0
BILL No: 07 - ELECTRICAL
TOTAL OF BILL No: 06- Carried over to summary
Item | Description | Unit | Qty | Rate | Amount
TENDERER'S ADJUSTMENTS
Additions & Omissions
Any adjustments, missing items, works, etc that are not specified in this BOQ but specified in drawings, specifications, etc and other document forming part of the contract that the contractor may deemed to consider necessary to complete the works should be written below and on similar continuation sheets if required, and the net amount of the adjustments is to be carried to the summary.
1 | Additions
a)
b)
c)
d)
e)
f)
g)
h)
i)
j)
k)
l)
m)
n)
ADDITIONS TOTAL
2 | Omissions
a)
b)
c)
d)
e)
f)
g)
h)
i)
j)
k)
l)
m)
n)
OMISSIONS TOTAL
BILL No: 08 - TENDERER'S ADJUSTMENTS
TOTAL OF BILL No: 08 - Carried over to summary

## SUMMARY
SU ROOM MODIFICATIONS
BILL OF QUANTITIES SUMMARY
1 | GENERAL & PRELIMINARIES | MRF | 0
2 | DEMOLISION WORKS | MRF | 0
3 | MASONRY AND PLASTERING | MRF | 0
4 | DOORS & WINDOWS | MRF | 0
5 | WOOD, GLASS & METAL WORKS | MRF | 0
6 | FINISHING WORKS | MRF | 0
7 | ELECTRICAL INSTALLATIONS | MRF | 0
8 | TENDERER'S ADJUSTMENTS | MRF | 0
| GRAND SUMMARY | MRfs. | 0

## Sheet1 (hidden)
GFL | 110 | [8 empty] | GFL |  | 1st |  | 2nd
| 103.9 | 213.9 | 9 | 1925.1 | -409.3875 | 1515.7125 | D | 4.2 | 8.25 | 1 | 34.65 | 0 | 0 | 0 | 0
[7 empty] | D1 | 2.5 | 6.25 | 3 | 46.875 | 3 | 46.875 | 3 | 46.875
1st FL | 120.25 | [5 empty] | D2 | 2 | 6.25 | 1 | 12.5 | 1 | 12.5 | 1 | 12.5
| 94 | 214.25 | 9 | 1928.25 | -323.275 | 1604.975 | DW | 11.25 | 8.25 | 2 | 185.625 | 1 | 92.8125 | 1 | 92.8125
[7 empty] | DW 1 | 3.7 | 8.25 | 2 | 61.05 | 1 | 30.525 | 0 | 0
2nd |  | 213 | 9 | 1917 | -308.375 | 1608.625 | FW | 2.5 | 2.5 | 1 | 6.25 | 1 | 6.25 | 1 | 6.25
[7 empty] | W 1 | 4.5 | 6.25 | 2 | 56.25 | 3 | 84.375 | 2 | 56.25
[7 empty] | W 2 | 2.25 | 2.75 | 1 | 6.1875 | 1 | 6.1875 | 1 | 6.1875
[7 empty] | W | 7 | 6.25 | 0 | 0 | 1 | 43.75 | 2 | 87.5
[11 empty] | 409.3875 |  | 323.275 |  | 308.375