## Cover
Bill of Quantities
Proposed saferoom Lhaimagu School
CLIENT
Ministry of Education, Maldives
Republic of Maldives

## BOQ Summary
SUMMARY OF BILLS OF QUANTITIES
SAFEROOM
| DESCRIPTION | AMOUNT | %
Bill №: 01 - PRELIMINARIES
Bill №: 02 - EXCAVATION AND FILLING
Bill №: 03 - INSITU CONCRETE WORKS
Bill №: 04 - MASONRY
Bill №: 05 - DOORS, SHUTTERS & HATCHES
Bill №: 06 - FLOOR, WALL, CEILING, AND ROOF FINISHINGS
Bill №: 07 - PAINTING & DECORATIONS
Bill №: 08 - MECHANICAL & ELECTRICAL SERVICES
Bill №: 09 - PLUMBING
Bill №: 10- ADDITIONS AND OMMISIONS
Sub-Total
GST 8%
Grand Total

## BOQ for saferoom
0
Proposed Saferoom
Male', Republic of Maldives
BILL OF QUANTITIES
ITEM |  |  |  | DESCRIPTION | UNIT | QTY | MATERIAL RATE | LABOUR RATE | AMOUNT
1.0.00 |  |  |  | Bill №: 01 - PRELIMINARIES
1.1.00 | GENERAL NOTES
Abbreviations
|  |  | m | - metre
|  |  | nr | - numbers
|  |  | m3 | - cubic metres
|  |  | m2 | - square metres
|  |  | m | - linear metre
|  |  | t | - tons
|  |  | inc. | - including
|  |  | mm | - millimetre
|  |  | SS | - stainless steel
|  |  | GI | - galvanized iron
1.2.00 | SITE MANAGEMENT COSTS
|  |  |  | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone, fax, hoardings & similar. | item | 1
1.3.00 | SIGN BOARD
|  |  |  | Allow for sign board. | nr | 1
1.4.00 | CLEAN-UP
|  |  |  | Allow for clean-up upon completion of works. | item | 1
1.5.00 | INSURANCE, BONDS, GUARANTEES AND WARRANTIES
|  |  |  | Insurance as stated in the general conditions. | item | 1
1.6.00 | TOTAL OF BILL №: 01 - Carried Over To Summary | [7 empty] | 0
2.0.00 |  |  |  | Bill №: 02 - EXCAVATION AND FILLING
2.1.00 | GENERAL
|  |  | (a) | Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating, and disposing surplus soil.
2.2.00 | SITE CLEARING
2.2.01 |  |  |  | Clear the area of site from rubbish and vegetable matters, stumps, roots. Rates shall include for removal of trees and tree stumps | m2 | 289.05
2.3.00 | EXCAVATION
Excavation quantities are measured to the faces of concrete members. Rates shall include for all the additional excavation required to place the formwork. Rates shall include for backfilling.
2.3.01 |  |  |  | Excavation for Foundation pads | m3 | 0.91
2.3.02 |  |  |  | Excavation for Foundation beams | m3 | 1.07
2.4.00 | FILLING
Rate shall include for: levelling, grading, trimming, compacting and similar
2.4.01 |  |  |  | Compacted earth filling under ground slab | m2 | 9.3
2.5.00 | DAMP-PROOF MEMBRANE
Rate shall include for: dressing around and sealing to all penetrations.
2.5.01 |  |  |  | Bituminous waterproofing membrane | m2 | 9.3
2.6.00 | DE-WATERING
2.6.01 |  |  |  | De-watering the excavation until completion of concrete work as required | item | 1
2.7.00 | TOTAL OF BILL №: 02 - Carried Over To Summary | [7 empty] | 0
3.0.00 |  |  |  | Bill №: 03 - INSITU CONCRETE WORKS
3.1.00 | GENERAL
|  |  | (a) | Rates shall include for: placing in position, making good after removal of formwork, mortar touch up to all concrete and casting in all required items; additional concrete required to conform to structural and excavated tolerances
|  |  | (b) | Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:2:6.
|  |  | (c) | All structural concrete shall be GRADE C30 and lean concrete shall be GRADE C15
|  |  | (d) | Rates shall include for: concrete, formwork, reinforcement, cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wires and chair supports, laps, distribution bars and wastage.
|  |  | (e) | Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes and removal of formwork.
|  |  | (f) | Rates shall include for: cleaning, fabrication, placing the provision for all necessary temporary fixings and supports including tie wires and chair supports, laps, distribution bars and wastage.
|  |  | (g) | All reinforcing bars shall be high strength bars.
|  |  | (h) | Slab soffits to be finished fairfaced, use plasteciser and formwork with reducing agent.
|  |  | (i) | Waterproofing shall be added to all areas specified.
3.1.01 |  |  |  | Allow for Concrete Testing. | item | 1
3.2.00 | MASS CONCRETE
Quantity is measured to the edges of concrete foundation members. Rates shall be inclusive for any additional concrete required to place the formwork.
3.2.01 |  |  | 50 | mm Lean Concrete (Foundations) | m3 | 0.17
3.3.00 | REINFORCED INSITU CONCRETE
SUB-STRUCTURE
FOUNDATION PADS
3.3.01 | 550 | x | 550 | x 250mm Foundation pads, F1 | m3 | 0.3
FOUNDATION BEAMS
3.3.02 | 300 | x | 175 | mm Foundation beam, TB | m3 | 0.64
COLUMNS
3.3.03 | 175 | x | 175 | mm Concrete columns C1 | m3 | 0.07
3.4.00 | GROUND FLOOR
COLUMNS
3.4.01 | 175 | x | 175 | mm Concrete columns C1 | m3 | 0.37
SLABS
3.4.02 |  |  | 75 | mm thk Concrete Slab on Ground floor | m3 | 0.7
3.5.00 | ROOF LEVEL @ 3.28m from N.G.L
BEAMS
3.5.01 | 350 | x | 175 | mm Beam RB | m3 | 0.75
SLABS
3.5.02 |  |  | 130 | mm thk Concrete Slab on Ground floor | m3 | 1.75
3.6.00 | OTHERS
LINTEL BEAMS
3.6.01 |  |  |  | Ground floor | item | 1
3.7.00 |  |  |  | TOTAL OF BILL №: 03 - Carried Over To Summary |  |  |  |  | 0
4.0.00 |  |  |  | Bill №: 04 - MASONRY
4.1.00 | GENERAL
|  |  | (a) | Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leavingholes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashing, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good.
4.2.00 | BLOCK WORK
Cement block wall, bricks laid to form alternate courses of headers and stretchers, laid on and inc. mortar. (EXTERNAL WALLS)
|  |  | 150 | mm thk full height
4.2.01 |  |  |  | GROUND FLOOR | m2 | 33.29
4.2.02 |  |  |  | ABOVE ROOF BEAM | m2 | 2.44
4.3.00 |  |  |  | TOTAL OF BILL №: 04 - Carried Over To Summary |  |  |  |  | 0
5.0.00 |  |  |  | Bill №: 05 - DOORS, SHUTTERS & HATCHES
5.1.00 | GENERAL
|  |  | (a) | Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
|  |  | (b) | Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings.
|  |  | (c) | Sizes are given overall outside dimensions of actual doors and windows.
|  |  | (d) | Thickness and sizes of glass panels are shown on the Drawings and doors and windows schedule.
|  |  | (e) | Rates shall include for all painting as specified
|  |  | (f) | Rates shall include all items specified in the door schedule and specification.
|  |  | (g) | Frames and sashes to be 25-60 micron black powder coated aluminium other wise specified.
|  |  | (g) | All solid timber doors are teak timber or equivalent.
5.2.00 | DOORS
GROUND FLOOR
5.2.01 | 850 | x | 2100 | D1 - Steel Framed Door with Steel Panel | nr | 1
5.3.00 |  |  |  | TOTAL OF BILL №: 05 - Carried Over To Summary |  |  |  |  | 0
6.0.00 |  |  |  | Bill №: 06 - FLOOR, WALL, CEILING, AND ROOF FINISHINGS
6.1.00 | GENERAL
|  |  | (a) | Rates shall include for: fixing, bedding, grouting, and pointing materials; making good around pipes, sanitary fixtures, and similar; cleaning down and polishing.
6.2.00 | PLASTERING
|  |  | 20 | mm thk cement plaster on external surface as specified on the drawing. Waterproofed with Sika product or equivalent.
6.2.01 |  |  |  | GROUND FLOOR | m2 | 33.29
6.2.02 |  |  |  | ABOVE ROOF BEAM | m2 | 4.88
|  |  | 16 | mm thk cement plaster on internal surface as specified on the drawing
6.2.03 |  |  |  | GROUND FLOOR | m2 | 33.29
6.3.00 | CEMENT SCREED
|  |  | 50 | mm thk cement screed
6.3.01 |  |  |  | GROUND FLOOR | m2 | 9.3
6.4.00 | TILING
600x600mm Homogenous tiles
6.4.01 |  |  |  | GROUND FLOOR | m2 | 9.3
WATERPROOFING
6.4.02 |  |  |  | Applying masterseal 555 or equivalent waterproofing agent on top of the roof slab | m2 | 9.3
6.5.00 |  |  |  | TOTAL OF BILL №: 06 - Carried Over To Summary |  |  |  |  | 0
7.0.00 |  |  |  | Bill №: 07 - PAINTING & DECORATIONS
7.1.00 | GENERAL
|  |  | (a) | Rates shall include for: the provision, erection and removal of scaffolding, preparation, wall putty application, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door & window furniture.
|  |  | (b) | All painting work shall be carried in accordance with the Specifications.
7.2.00 | WALL PAINTING
Weatherbound paint finish as specified (EXTERNAL SURFACES)
7.2.01 |  |  |  | GROUND FLOOR | m2 | 33.29
7.2.02 |  |  |  | FIRST FLOOR | m2 | 4.88
Emulsion paint finish including putty application on brick walls as specified (INTERNAL SURFACES)
7.2.03 |  |  |  | GROUND FLOOR | m2 | 33.29
7.3.00 | CEILING PAINTING
Emulsion paint finish including putty application on ceiling as specified (SLAB SOFFIT)
7.3.01 |  |  |  | GROUND FLOOR | m2 | 9.3
7.4.00 |  |  |  | TOTAL OF BILL №: 07 - Carried Over To Summary |  |  |  |  | 0
8.0.00 |  |  |  | Bill №: 08 - MECHANICAL & ELECTRICAL SERVICES
8.1.00 | GENERAL
|  |  | (a) | Design, provide and install electrical network for the entire building complete in accordance to standards set by the local governing body STELCO.
|  |  | (b) | The following items and description and the drawings are given as a guidance as to the nature of the information required to be returned by the contractor. Should they not be appropriate the contractor should provide a similar BOQ using the Additions/Ommisions sheets provided at the back of this BOQ.
|  |  | (c) | The cost shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
|  |  | (d) | Rate shall include for necessary chasings, trenching, conduits, cables, cable trays, fittings and clips, cutting holes and chases in brick work/ block work/ concrete work complete with all necessary accessories such as sockets, connections, cable glands and boxes, hardware clips, soldering and jointing materials etc., for proper installing and laying of cables.
8.2.00 | DISTRIBUTION BOARD
8.2.01 |  |  |  | DB | nr | 1
8.3.00 | MAIN CABLE
CABLING From DB
8.3.01 |  |  |  | Cabling from Main Panel Board to Distributuion Board | item | 1
8.4.00 | POINT WIRING AND FITTINGS
Rate shall include for supply & installation of cable, conduits for point wiring in concealed installations including switches, power outlet, isolators, etc, all as specified
8.4.01 |  |  |  | Supply and Installation of 2 x 1C 1.5mm2 PVC/PVC/Cu + 2.5mm2 PVC/Cu earth cable c/w uPVC conduit, junction boxes etc. for light point wiring | nr | 7
8.4.02 |  |  |  | Supply and Installation of 2 x 1C 2.5mm2 PVC/PVC/Cu + 2.5mm2 PVC/Cu earth cable c/w uPVC conduit, junction boxes etc. for following Socket outlet/isolator point wiring | nr | 1
8.5.00 | SWITCHES , LIGHTING AND SOCKETS
8.5.01 |  |  |  | Ceiling light 18W CFL | nr | 2
8.5.02 |  |  |  | Out door wall light | nr | 1
8.5.03 |  |  |  | Ceiling fan 52"-54" | nr | 1
8.5.04 |  |  |  | Ceiling fan Dimmer | nr | 1
8.5.05 |  |  |  | 1 Gang Switches | nr | 1
8.5.06 |  |  |  | 2 Gang Switches | nr | 1
8.5.07 |  |  |  | 13A Twin socket outlets | nr | 1
8.6.00 |  |  |  | TOTAL OF BILL №: 08 - Carried Over To Summary |  |  |  |  | 0
9.0.00 |  |  |  | Bill №: 09 - PLUMBING
9.1.00 | GENERAL
|  |  | (a) | Rates shall include for sockets, running joints, connectors, elbows, junctions, valves, reducers, expansion joints, backnuts and similar, incidental fitting, clips saddles, brackets, straps, hangers, screws, nails and fixing complete, including cutting and forming holes, excavating, laying pipes and backfilling trenches.
|  |  | (b) | All pipe work and fittings shall be high pressure PVC.
|  |  | (c) | Rates shall include for supply and fixing of all pipes.
|  |  | (d) | All sanitary fixtures used shall be of superior quality and approved by the architect/consultant on submission of samples.
9.2.00 | DRAINAGE PIPES
Provide and fix UPVC high pressure pipes including piping, connections, fittings, valves, excavations, ducting, fixing with brackets and leak testing.
RAIN WATER DRAINAGE
9.2.01 |  |  |  | Note: Supplying and laying rain water pipes | item | 1
9.3.00 |  |  |  | TOTAL OF BILL №: 09 - Carried Over To Summary |  |  |  |  | 0
10.0.00 |  |  |  | Bill №: 10- ADDITIONS AND OMMISIONS
10.1.00 | ADDITIONS
10.1.01 |  |  |  | Bill №: 01 - PRELIMINARIES
10.1.02 |  |  |  | Bill №: 02 - EXCAVATION AND FILLING
10.1.03 |  |  |  | Bill №: 03 - INSITU CONCRETE WORKS
10.1.04 |  |  |  | Bill №: 04 - MASONRY
10.1.05 |  |  |  | Bill №: 05 - DOORS, SHUTTERS & HATCHES
10.1.06 |  |  |  | Bill №: 06 - FLOOR, WALL, CEILING, AND ROOF FINISHINGS
10.1.07 |  |  |  | Bill №: 07 - PAINTING & DECORATIONS
10.1.08 |  |  |  | Bill №: 08 - MECHANICAL & ELECTRICAL SERVICES
10.1.09 |  |  |  | Bill №: 09 - PLUMBING
|  |  |  | TOTAL |  |  |  |  | 0
10.2.00 | OMISSIONS
10.2.01 |  |  |  | Bill №: 01 - PRELIMINARIES
10.2.02 |  |  |  | Bill №: 02 - EXCAVATION AND FILLING
10.2.03 |  |  |  | Bill №: 03 - INSITU CONCRETE WORKS
10.2.04 |  |  |  | Bill №: 04 - MASONRY
10.2.05 |  |  |  | Bill №: 05 - DOORS, SHUTTERS & HATCHES
10.2.06 |  |  |  | Bill №: 06 - FLOOR, WALL, CEILING, AND ROOF FINISHINGS
10.2.07 |  |  |  | Bill №: 07 - PAINTING & DECORATIONS
10.2.08 |  |  |  | Bill №: 08 - MECHANICAL & ELECTRICAL SERVICES
10.2.09 |  |  |  | Bill №: 09 - PLUMBING
TOTAL
10.3.00 |  |  |  | TOTAL OF BILL №: 10 - Carried Over To Summary