## 2.1 Mettler Toledo Chemicals
`
Maldives Food & Drug Authority
Ministry of Health, Family and Welfare
Tel : 3034269 /3034270
Company Name & Registered Address:
Iulaan Number: (IUL)23-PD(PMS)/23/2026/120
Lab Requisition Form
2.1 Brand Specific chemicals - METTLER TOLEDO
S NO | Catalogue No. | Description | Model details | Unit | Proposed Brand | Amount | Rate | GST | Total
Required for next 1 year
METTLER TOLEDO
1 | 30090847 | Cond. stand. 1.3 µs/cm (single-use), 250 mL | METTLER TOLEDO | 250 ml |  | 12 |  |  |  | https://www.mt.com/shop/de/en/product/30090847/cond-stand-1-3-s-cm-single-use
2 | 30094617 | Cond. stand. 5 µs/cm, 250mL | METTLER TOLEDO | 250 ml |  | 12 |  |  |  | https://www.mt.com/shop/de/en/product/30094617/cond-stand-5-s-cm-250ml
3 | 51350096 | Cond Standard 1413µS, 6 x 250mL | METTLER TOLEDO | 6x 250 ml |  | 3 |  |  |  | https://www.mt.com/in/en/home/products/Laboratory_Analytics_Browse/pH-meter/pH-buffer-standard-and-electrolyte/conductivity-standard/1413mScm-1-6x250mL.html
4 | 51350100 | Cleaning solution Pepsin-HCl, 250mL | METTLER TOLEDO | ea |  | 4 |  |  |  | https://www.mt.com/in/en/home/products/Laboratory_Analytics_Browse/pH-meter/pH-buffer-standard-and-electrolyte/pH-electrolyte/Cleaning-Solution-Pepsin-HCl-250mL.html
5 | 51350102 | Cleaning solution Thiourea, 250mL | METTLER TOLEDO | ea |  | 4 |  |  |  | https://www.mt.com/in/en/home/products/Laboratory_Analytics_Browse/pH-meter/pH-buffer-standard-and-electrolyte/pH-electrolyte/Cleaning-Solution-Thiourea-250mL.html
6 | 63056116 | NIST traceable pH buffer solution, pack contains two 500 mL bottles each of pH buffers 4.00, 7.00 and 10.00 | METTLER TOLEDO | 2 x500ml |  | 7 |  |  |  | https://www.mt.com/shop/us/en/product/63056116/ph-4-7-10-varty-pk-500ml-2-each
7 | Material No.: 51142599 | Melting Point Accessory Box, complete (melting point capillaries, reference substances { Benzoi acid, Benzophenone and Saccharin with certificates}, sample preparation tools, mortar and pestle, tweezers, spatula) | METTLER TOLEDO | ea |  | 1 |  |  |  | https://www.mt.com/my/en/home/products/Laboratory_Analytics_Browse/melting-point-apparatus/accessories-and-consumables/melting-point-accessory-box.html
8 | Material No.: 30312725 | Melting Point Accessory Box, complete (melting point capillaries, reference substances {Acetanilide, Caffeine, Vanillin with certificates}, sample preparation tools, mortar and pestle, tweezers, spatula) | METTLER TOLEDO | each |  | 1 |  |  |  | https://www.mt.com/my/en/home/products/Laboratory_Analytics_Browse/melting-point-apparatus/accessories-and-consumables/usp-melting-point-accessory-box.html
Total (MVR)
GST (liable items)
Delivery Duration (In Days)
1. Prices Quoted must be the Final Price inclusive of GST (for liable items). 2. If the listed brand is not available, Equivalent Alternative Brand can be quoted. 3. Brand must be mentioned in this form. 4. Delivery & work completion period must be in Calendar days (this include weekends & Public Holidays). 5. All the items to be deliver to the door step of Ministry of food and drug Authority (MFDA) 3rd floor. 6. Be aware to seal & sign each & every page of this list.

## 2.2 GPHF mini lab
`
Maldives Food & Drug Authority
Ministry of Health, Family and Welfare
Tel : 3034269 /3034270
Company Name & Registered Address:
Iulaan Number:(IUL)23-PD(PMS)/23/2026/120
Lab Requisition Form
2.2. Brand Specific chemicals - GPHF
S NO | Catalogue No. | Description | Model details | Unit | Proposed brand | AMOUNT | Rate | GST | Total | URL
Required for next 1 year
GPHF
1 | GPHF-minilab | GPHF-minilab 2025 complete set (including 126 reference compounds) with manual in English | GPHF | ea |  | 1 |  |  |  | https://www.gphf.org/en/minilab/bestellung.htm
Total (MVR)
GST (liable items)
Delivery Duration (In Days)
1. Prices Quoted must be the Final Price inclusive of GST (for liable items). 2. If the listed brand is not available, Equivalent Alternative Brand can be quoted. 3. Brand must be mentioned in this form. 4. Delivery & work completion period must be in Calendar days (this include weekends & Public Holidays). 5. All the items to be deliver to the door step of Ministry of food and drug Authority (MFDA) 3rd floor. 6. Be aware to seal & sign each & every page of this list.

## 2.3 HACH Chemicals
`
Maldives Food & Drug Authority
Ministry of Health, Family and Welfare
Tel : 3034269 /3034270
Company Name & Registered Address:
Iulaan Number: (IUL)23-PD(PMS)/23/2026/120
Lab Requisition Form
2.3. Brand Specific chemicals - HACH
S NO | Catalogue No. | Description | Model details | Unit |  | Proposed brand | Rate | GST | Total | URL
Required for next 1 year
HACH
1 | 2603700 | Aluminum Reagent Set (100 Tests) | HACH, USA | 100 Tests/Set | 2 |  |  |  |  | https://www.hach.com/p-aluminum-reagent-set-eriochrome-cyanin+L23:L53e-r-ecr-method-20-ml/2603700?promo=promoSpectro
2 | 1417442 | Aluminium Standard Solution, 100-mg/L as Al3+ | HACH, USA | 100 mL | 3 |  |  |  |  | https://www.hach.com/p-aluminum-standard-solution-100-mgl-as-al-nist-100-ml/1417442
3 | 1455232 | Bromphenol Blue Indicator Solution | HACH, USA | 100 mL | 1 |  |  |  |  | https://www.hach.com/p-bromphenol-blue-indicator-solution-100-ml-mdb/1455232
4 | 244932 | Sulfuric Acid Standard Solution, 5.25 N | HACH, USA | 100 mL | 2 |  |  |  |  | https://www.hach.com/p-sulfuric-acid-standard-solution/244932
5 | 2458200 | Ammonia Nitrogen Reagent Set | HACH, USA | ___ | 4 |  |  |  |  | https://www.hach.com/p-nitrogen-ammonia-reagent-set-nessler/2458200
6 | 189149 | Ammonia Standard Solution, 1 mg/L, 500 mL | HACH, USA | 500mL | 2 |  |  |  |  | https://www.hach.com/p-ise-standards-ammonium/189149
7 | 1479110 | Nitrogen Ammonia Standard Solution, 10-mL Voluette® Ampule, 50-mg/L NH3–N | HACH, USA | 16/pkg | 2 |  |  |  |  | https://www.hach.com/p-nitrogen-ammonia-standard-solution-50-mgl-as-nh3-n-pk16-10-ml-voluette-ampules/1479110
8 | 2833249 | Wastewater Effluent Standard Solution, Mixed Parameter, for NH3-N, NO3-N, PO43–,COD, SO42–, TOC | HACH, USA | 500mL | 2 |  |  |  |  | https://www.hach.com/p-wastewater-effluent-inorganics-quality-control-standard-500-ml/2833249
9 | 245032 | Sodium Hydroxide Standard Solution, 5.0 N, MDB | HACH, USA | 100 mL | 6 |  |  |  |  | https://www.hach.com/p-sodium-hydroxide-standard-solution-50-n-100-ml-mdb/245032
10 | 1456942 | Stannous Chloride Solution | HACH, USA | 100 mL | 3 |  |  |  |  | https://www.hach.com/p-stannous-chloride-solution-100-ml/1456942
11 | 79501 | Zinc, 20-mesh, ACS | HACH, USA | 454 g | 3 |  |  |  |  | https://www.hach.com/p-zinc-20-mesh-454-g/79501?promo=promoSpectro
12 | 127032 | Sulfuric acid standard solution, 1.000 N, 100 mL MDB | HACH, USA | 100 mL MDB | 3 |  |  |  |  | https://uk.hach.com/p-sulfuric-acid-standard-solution-1000-n-100-ml-mdb/127032
13 | 1206499 | BariVer™ 4 Barium Reagent Powder Pillow | HACH, USA | 100/pkg | 3 |  |  |  |  | https://uk.hach.com/p-barium-reagent-powder-pillows-2-100mgl-ba/1206499
14 | 1461142 | Barium Standard Solution, 1000-mg/L Ba | HACH, USA | 100 mL | 3 |  |  |  |  | https://uk.hach.com/p-standard-solution-barium-1000-mgl-as-ba-nist-100-ml/1461142
15 | 1417099 | BoroVer® 3 Boron Reagent Powder Pillow | HACH, USA | 100/pkg | 3 |  |  |  |  | https://uk.hach.com/p-boron-reagent-powder-pillows-02-140mgl-b/1417099
16 | 191442 | Boron Standard Solution, 1000-mg/L as B | HACH, USA | 100 mL | 3 |  |  |  |  | https://uk.hach.com/p-boron-standard-solution-1000-mgl-as-b-nist-100-ml/191442
17 | 2105669 | Chlorine, total, Reagent Powder Pillows, 100/pk, 10 mL | HACH, USA | 100/pkg | 4 |  |  |  |  | https://uk.hach.com/p-dpd-total-chlorine-reagent-powder-pillows/2105669
18 | 34332 | Potassium iodide solution, 30 g/L, 100 mL MDB | HACH, USA | 100 mL | 2 |  |  |  |  | https://www.hach.com/p-potassium-iodide-solution-30-gl-100-ml-mdb/34332
19 | 104732 | Sodium arsenite solution, 5.0 g/L, 100 mL | HACH, USA | 100 mL | 2 |  |  |  |  | https://www.hach.com/p-sodium-arsenite-solution-50-gl-100-ml/104732
20 | 2635300 | SpecCheck Secondary Gel Standards Set, DPD Chlorine - LR | HACH, USA | each | 3 |  |  |  |  | https://www.hach.com/p-speccheck-secondary-gel-standards-set-dpd-chlorine-lr/2635300
21 | 2242200 | Cadmium Reagent Set, Dithizone | HACH, USA | 100/pkg | 3 |  |  |  |  | https://www.hach.com/p-cadmium-reagent-set/2242200
22 | 1402442 | Cadmium Standard Solution, 100 mg/L as Cd (NIST), 100 mL | HACH, USA | 100 mL | 3 |  |  |  |  | https://www.hach.com/p-cadmium-standard-solution-100-mgl-as-cd-nist-100-ml/1402442
23 | 2240349 | Calcium Standard Solution, 1000 mg/L, 500 mL | HACH, USA | 500mL | 6 |  |  |  |  | https://www.hach.com/p-ise-standards-calcium/2240349
24 | 2105569 | DPD Free Chlorine Reagent Powder Pillow, 10-mL | HACH, USA | 100/pkg | 6 |  |  |  |  | https://www.hach.com/p-dpd-free-chlorine-reagent-powder-pillows-10-ml-pk100/2105569?promo=promoSpectro
25 | 2630020 | Primary Chlorine Standard Solution, 25 - 30 mg/L Cl₂, pk/20 - 2 mL PourRite Ampules | HACH, USA | Pack of 20 | 12 |  |  |  |  | https://www.hach.com/p-primary-chlorine-standard-solution-25-30-mgl-cl-pk20-2-ml-pourrite-ampules/2630020
26 | 1426820 | Chlorine Standard Solution, 2-mL PourRite® Ampules, 50–75 mg/L | HACH, USA | Pack of 20 | 12 |  |  |  |  | https://www.hach.com/p-primary-chlorine-standard-solution-50-75-mgl-cl-pk20-2-ml-pourrite-ampules/1426820
27 | 2551400 | Filter, glass microfiber, 1.0-micron 47-mm | HACH, USA | 100/pkg | 1 |  |  |  |  | https://www.hach.com/p-hach-glass-fiber-filters-47mm-100pk/2511207?srsltid=AfmBOopstS2Vx9vbsixTn7aU55V7S0BKznaWzJcT1g18tWnu1SQObdfA
28 | 104532 | Sodium Hydroxide Standard Solution, 1.0 N | HACH, USA | 100 mL MDB | 2 |  |  |  |  | https://www.hach.com/p-sodium-hydroxide-standard-solution-1000-n-100-ml-mdb/104532
29 | 1271099 | ChromaVer® 3 Chromium Reagent Powder Pillows, 5 or 10 mL, | HACH, USA | pk/100 | 3 |  |  |  |  | https://www.hach.com/p-chromaver-3-chromium-reagent-powder-pillows-5-or-10-ml-pk100/1271099?promo=promoSpectro
30 | 1425610 | Chromium, Hexavalent Standard Solution, 12.5 mg/L as Cr6+ (NIST), - 10 mL Voluette® Ampules | HACH, USA | pk/16 | 6 |  |  |  |  | https://www.hach.com/p-chromium-hexavalent-standard-solution-125-mgl-as-cr6-nist-pk16-10-ml-voluette-ampules/1425610
31 | 245053 | Standard solution, sodium hydroxide, 5.0 N, 1 L | HACH, USA | each | 3 |  |  |  |  | https://uk.hach.com/p-sodium-hydroxide-standard-solution/245053
32 | 2651600 | Cobalt / Nickel Reagent Set | HACH, USA | each | 6 |  |  |  |  | https://uk.hach.com/p-cobalt-nickel-reagent-set/2651600
33 | 2150342 | Standard solution, cobalt, 1000 mg/L as Co (NIST), 100 mL | HACH, USA | each | 3 |  |  |  |  | https://uk.hach.com/p-standard-solution-cobalt-1000-mgl-as-co-nist-100-ml/2150342
34 | 2603300 | Copper Reagent Set, Porphyrin, 10 mL | HACH, USA | 100/pkg | 3 |  |  |  |  | https://www.hach.com/p-copper-reagent-set/2603300?promo=promoSpectro
35 | 12932 | Copper Standard Solution, 10 mg/L as Cu NIST), | HACH, USA | 100 mL MDB | 6 |  |  |  |  | https://www.hach.com/p-copper-standard-solution-10-mgl-as-cu-nist-100-ml-mdb/12932
36 | 1407995 | Buffer Powder Pillows, pH 8.00, | HACH, USA | pk/15 | 6 |  |  |  |  | https://www.hach.com/p-buffer-powder-pillows-ph-800-pk15/1407995?promo=promoSpectro
37 | 141453 | Color Standard Solution, 500 Pt Co Units, 1 L | HACH, USA | each | 6 |  |  |  |  | https://www.hach.com/p-color-standard-solution-500-pt-co-units-1-l/141453
38 | 2602853 | Color Standard Solution, 15 Pt Co Units, 1 L | HACH, USA | each | 6 |  |  |  |  | https://www.hach.com/p-color-standard-solution-15-pt-co-units-1-l/2602853
39 | C20C270 | Conductivity Standard Solution, 1413 µS/cm, KCl, 500 mL | HACH, USA | ea | 12 |  |  |  |  | https://www.hach.com/p-conductivity-standard-solution-1413-scm-kcl-500-ml/C20C270
40 | LZW9701.99 | Conductivity Standard Solution, 147 µS/cm, KCl, 125mL | HACH, USA | ea | 10 |  |  |  |  | https://www.hach.com/p-sension-conductivity-standard-solution/LZW9701.99
41 | 2974449 | Conductivity Standard Solution, 12890 µS/cm, KCl, 500 mL | HACH, USA | ea | 6 |  |  |  |  | https://www.hach.com/p-conductivity-standard-solutions-12890-scm-7455-mgl-kcl/2974449
42 | 2662105 | Stablcal® Turbidity Standards Calibration Kit, 0-4000 NTU, Sealed Vials | HACH, USA | ea | 1 |  |  |  |  | Stablcal® Turbidity Standards Calibration Kit, 0-4000 NTU, Sealed Vials ¦ Hach
43 | 126936 | Silicone oil, 15 mL SCDB | HACH, USA | ea | 10 |  |  |  |  | https://www.hach.com/p-silicone-oil-15-ml-scdb/126936
44 | 237842 | Zinc Standard Solution, 100 mg/L, 100ml | HACH, USA | ea | 1 |  |  |  |  | https://ca.hach.com/zinc-standard-solution-100-mg-l-as-zn-nist-100-ml/product?id=14533967276&callback=qs
45 | 1417742 | Zinc Standard Solution, 1000 mg/L, 100ml | HACH, USA | ea | 1 |  |  |  |  | https://ca.hach.com/zinc-standard-solution-1000-mg-l-as-zn-nist-100-ml/product?id=14533964927&callback=qs
46 | 2429300 | Zinc Reagent Set, Zincon, 20 mL, 100 tests/kit | HACH, USA | ea | 2 |  |  |  |  | https://www.hach.com/p-zinc-reagent-set/2429300
47 | 1424610 | Zinc Standard Solution, 25 mg/L as Zn (NIST), pk/16 - 10 mL Voluette, Ampules | HACH, USA | pk/16 | 1 |  |  |  |  | https://www.hach.com/p-zinc-standard-solution-25-mgl-as-zn-nist-pk16-10-ml-voluette-ampules/1424610?srsltid=AfmBOoosOSVtkehKPVL-wn7AIUY4JSLNkrva35-2opit0farciG06AN5
48 | 2244600 | Tannin-Lignin Reagent Set | HACH, USA | ea | 2 |  |  |  |  | https://www.hach.com/p-tannin-lignin-reagent-set/2244600?srsltid=AfmBOorFuK1OjNbyUIDutdR6g4zIwHua8ArQmPZmuAp6nLZxHjk-O7Qo
49 | 67549 | Sodium carbonate solution, 500 mL | HACH, USA | ea | 1 |  |  |  |  | https://www.hach.com/p-sodium-carbonate-solution-500-ml/67549
50 | 1429525 | Sodium pyrophosphate, 50 g | HACH, USA | ea | 1 |  |  |  |  | https://www.hach.com/p-sodium-pyrophosphate-50-g/1429525?srsltid=AfmBOorB7a38udtpZjRWLcQ59Tt8eh5gGY5c8loi0gxQ0GO2lD3F8Syt
51 | 1132163 | Hach 79114 Tannic Acid 113G (SKU-1132163) | HACH, USA | ea | 1 |  |  |  |  | https://www.camlab.co.uk/hach-79114-tannic-acid-113g
52 | 2814300 | Immunoassay Reagent Set, TPH in Soil Pocket Colorimeter II Analysis System | HACH, USA | ea | 1 |  |  |  |  | https://www.hach.com/p-immunoassay-reagent-set-tph-in-soil-pocket-colorimeter-ii-analysis-system/2814300?srsltid=AfmBOopCorO1ntqINOI4o8UWbywekj5wRb0FOAbttI_lhg9l45d4og8e
53 | 2790800 | Total Trihalomethanes (THM) Reagent Set | HACH, USA | ea | 1 |  |  |  |  | https://www.hach.com/p-total-trihalomethanes-thm-reagent-set/2790800
54 | 2774300 | TPH Reagent Set | HACH, USA | 20 cuvettes | 4 |  |  |  |  | https://ca.hach.com/tph-immunoassay-reagent-set/product?id=14533985484&srsltid=AfmBOoorw8PuFNkeaQseKitKvccSMl3Z1rd5eLf0fuzAO3pFKU_LPorD
55 | 2756707 | THM standard, 10 ppm as chloroform, 2 mL - pk/7 | HACH, USA | ea | 2 |  |  |  |  | https://www.hach.com/p-thm-standard-10-ppm-as-chloroform-2-ml-pk7/2756707
56 | 32332 | Sodium thiosulfate standard solution, 0.1 N, 100 mL MDB | HACH, USA | ea | 1 |  |  |  |  | https://www.hach.com/p-sodium-thiosulfate-standard-solution-01-n-100-ml-mdb/32332?srsltid=AfmBOoodqLsx7fiq9VxME7lV2_7R6uQvXiskzJgvSwRmYkUVWRv8_eW5
57 | 2430200 | Cyanide Reagent Set, CyaniVer, 10 mL ( 100 tests / kit ) | HACH, USA | 100 / kit | 1 |  |  |  |  | https://www.hach.com/p-cyanide-reagent-set-cyaniver-10-ml/2430200?promo=promoSpectro
58 | 1458042 | Lead Acetate Solution, 10%, 100 mL (100mL) | HACH, USA | ea | 3 |  |  |  |  | https://www.hach.com/p-lead-acetate-solution-10-100-ml/1458042
59 | 141832 | Hydrochloric acid standard solution, 2.5 N, 100 mL MDB (100mL) | HACH, USA | ea | 3 |  |  |  |  | https://www.hach.com/p-hydrochloric-acid-standard-solution/141832
60 | 613826 | L-Ascorbic acid, 100 g | HACH, USA | ea | 3 |  |  |  |  | L-Ascorbic acid, 100 g ¦ Hach
61 | 44449 | SPADNS Fluoride Reagent Solution, 500 mL | HACH, USA | ea | 3 |  |  |  |  | https://www.hach.com/p-spadns-fluoride-reagent-solution-500-ml/44449
62 | 2833049 | Inorganics Quality Control Standard for Drinking Water, 500 mL | HACH, USA | ea | 2 |  |  |  |  | https://www.hach.com/p-inorganics-quality-control-standard-for-drinking-water-500-ml/2833049
63 | 23249 | Fluoride Standard Solution, 100 mg/L, 500 mL | HACH, USA | ea | 5 |  |  |  |  | https://www.hach.com/p-ise-standards-fluoride/23249
64 | 1479442 | Magnesium Standard Solution, 1000 mg/L as Mg (NIST), 100 mL | HACH, USA | ea | 3 |  |  |  |  | https://www.hach.com/p-magnesium-standard-solution-1000-mgl-as-mg-nist-100-ml/1479442
65 | 2537800 | Hydrogen Sulfide Test Kit, Model HS-C | HACH, USA | 50 tests | 10 |  |  |  |  | Hydrogen Sulfide Test Kit, Model HS-C ¦ Hach
66 | 2105769 | FerroVer® Iron Reagent Powder Pillows, 10 mL, pk/100 | HACH, USA | pk/100 | 8 |  |  |  |  | https://www.hach.com/search/Products?keywords=2105769
67 | 2833649 | Metals Quality Control Standard for Drinking Water, High Range, 500 mL | HACH, USA | ea | 3 |  |  |  |  | https://www.hach.com/p-metals-quality-control-standard-for-drinking-water-high-range-500-ml/2833649
68 | 2833749 | Metals Quality Control Standard for Drinking Water, Low Range, 500 mL | HACH, USA | ea | 3 |  |  |  |  | https://www.hach.com/p-metals-quality-control-standard-for-drinking-water-low-range-500-ml/2833749
69 | 1425310 | Iron Standard Solution, 25 mg/L as Fe (NIST), pk/16 - 10 mL Voluette« Ampules | HACH, USA | pk/16 | 3 |  |  |  |  | https://www.hach.com/p-iron-standard-solution-25-mgl-as-fe-nist-pk16-10-ml-voluette-ampules/1425310
70 | 1417542 | Iron Standard Solution, 100 mg/L as Fe (NIST), 100 mL | HACH, USA | ea | 10 |  |  |  |  | https://www.hach.com/search/Products?keywords=1417542
71 | 2375000 | LeadTrak™ Reagent Set, Fast Column Extraction Method, 20 tests | HACH, USA | 20 tests | 10 |  |  |  |  | https://www.hach.com/search/Products?keywords=2375000
72 | 2374820 | Lead Standard Solution, 10 mg/L as Pb (NIST), 25mL | HACH, USA | ea | 5 |  |  |  |  | https://www.hach.com/p-lead-standard-solution-10-mgl-as-pb-nist-25ml/2374820
73 | 1279642 | Lead Standard Solution, 1000 mg/L as Pb (NIST),100mL | HACH, USA | ea | 3 |  |  |  |  | https://www.hach.com/p-lead-standard-solution-1000-mgl-as-pb-nist/1279642
74 | 2368531 | pPb-1 Acid Preservative Solution, 236 mL | HACH, USA | ea | 3 |  |  |  |  | https://www.hach.com/p-ppb-1-acid-preservative-solution-236-ml/2368531
75 | 2368655 | pPb-2, Fixer Reagent Solution, 43 mL | HACH, USA | ea | 1 |  |  |  |  | https://www.hach.com/p-ppb-2-fixer-reagent-solution-43-ml/2368655
76 | 2651700 | Manganese Reagent Set, LR, PAN, 10 mL | HACH, USA | pk/50 | 10 |  |  |  |  | https://www.hach.com/p-manganese-reagent-set/2651700
77 | 2605820 | Manganese Standard Solution, 10 mg/L as Mn (NIST), pk/20 - 2 mL PourRite Ampules | HACH, USA | pk/20 | 10 |  |  |  |  | https://www.hach.com/p-manganese-standard-solution-10-mgl-as-mn-nist-pk20-2-ml-pourrite-ampules/2605820
78 | 2112820 | Manganese Standard Solution, 25 mg/L as Mn (NIST), pk/20 - 2 mL PourRite Ampules | HACH, USA | pk/20 | 10 |  |  |  |  | https://www.hach.com/p-manganese-standard-solution-25-mgl-as-mn-nist-pk20-2-ml-pourrite-ampules/2112820
79 | 194749 | Nitrate Standard Solution, 100 mg/L, 500 mL | HACH, USA | ea | 2 |  |  |  |  | https://www.hach.com/p-ise-standards-nitrate/194749
80 | 172533 | Rochelle salt solution, 29 mL DB | HACH, USA | ea | 5 |  |  |  |  | https://www.hach.com/p-rochelle-salt-solution-29-ml-db/172533
81 | 2430000 | Manganese Reagent Set, HR, 10 mL | HACH, USA | pk/100 | 5 |  |  |  |  | https://www.hach.com/p-manganese-reagent-set/2430000
82 | 1279142 | Manganese Standard Solution, 1000 mg/L as Mn (NIST), 100 mL | HACH, USA | ea | 5 |  |  |  |  | https://www.hach.com/p-manganese-standard-solution-1000-mgl-as-mn-nist-100-ml/1279142
83 | 1417642 | Nickel Standard Solution, 1000 mg/L as Ni (NIST), 100 mL | HACH, USA | 1 | 3 |  |  |  |  | https://www.hach.com/p-nickel-standard-solution-1000-mgl-as-ni-nist-100-ml/1417642
84 | 30749 | Nitrate Standard Solution, 10 mg/L, 500 mL | HACH, USA | 1 | 3 |  |  |  |  | https://www.hach.com/p-ise-standards-nitrate/30749
85 | 2107569 | NitriVer® 2 Nitrite Reagent Powder Pillows, 10 mL, pk/100 | HACH, USA | pk/100 | 5 |  |  |  |  | https://www.hach.com/p-nitriver-2-nitrite-reagent-powder-pillows-10-ml-pk100/2107569?promo=promoSpectro
86 | 1279249 | Nitrate Standard Solution, 1000 mg/L, 500 mL | HACH, USA | 1 | 3 |  |  |  |  | https://www.hach.com/p-ise-standards-nitrate/1279249
87 | 2833149 | Wastewater Influent Inorganics Quality Control Standard, 500 mL | HACH, USA | 1 | 1 |  |  |  |  | https://www.hach.com/p-wastewater-influent-inorganics-quality-control-standard-500-ml/2833149
88 | 211220 | Phenol Solution, 30 g/L, 29 mL | HACH, USA | 1 | 3 |  |  |  |  | https://www.hach.com/p-phenol-solution-30-gl-29-ml/211220
89 | 2107169 | NitriVer® 3 Nitrite Reagent Powder PIllows, 10 mL, pk/100 | HACH, USA | pk/100 | 3 |  |  |  |  | https://www.hach.com/p-nitriver-3-nitrite-reagent-powder-pillows-10-ml-pk100/2107169
90 | 2107569 | NitriVer® 2 Nitrite Reagent Powder Pillows, 10 mL, pk/100 | HACH, USA | pk/100 | 3 |  |  |  |  | https://www.hach.com/p-nitriver-2-nitrite-reagent-powder-pillows-10-ml-pk100/2107569
91 | 2429800 | Nitrate Reagent Set, low range, 10 mL | HACH, USA | 100/pkg | 2 |  |  |  |  | https://www.hach.com/p-nitrogen-nitrate-reagent-set-lr-10-ml-cadmium-reduction/2429800?srsltid=AfmBOopJdZvDDED2q_4Gfo_jqmKyiu5fSRrvjYsPrLWZxfyfuVUkj2Tm
92 | 221120 | Bromine Water, 30 g/L, 29 mL | HACH, USA | ea | 2 |  |  |  |  | https://www.hach.com/p-bromine-water-30-gl-29-ml/221120
93 | 2340249 | Nitrite Standard Solution, Stock, 250 mg/L as N, 500 mL | HACH, USA | ea | 2 |  |  |  |  | https://www.hach.com/p-nitrite-standard-solution-stock-250-mgl-as-n-500-ml/2340249
94 | 1481866 | Copper Sulfate Powder Pillows | HACH, USA | 50/pkg | 1 |  |  |  |  | https://www.hach.com/p-copper-sulfate-powder-pillows-pk50/1481866?srsltid=AfmBOoqLwsMS0xHt18qngDFaW82EY6X8rTEBHDUseQWJkKawmOHpegLs
95 | 1476932 | Phosphoric Acid Solution, 10%, 100 mL | HACH, USA | ea | 1 |  |  |  |  | https://www.hach.com/p-phosphoric-acid-10-100-ml-mdb/1476932?srsltid=AfmBOoqjjmN_-BZdl3eKgJ6Z2FfrIEmP0DhjgPsCXlt4DNTMvZuwPAPm
96 | 241899 | Sulfide Inhibitor Reagent Powder Pillows | HACH, USA | 100/pkg | 1 |  |  |  |  | https://www.hach.com/p-sulfide-inhibitor-reagent-powder-pillows-pk100/241899?srsltid=AfmBOop6JFqQgBdM3N8__xVHL9HybtvALz80nopDBJsyYoydAd5cUCli
97 | 256949 | Phosphate Standard Solution, 1 mg/L as PO4 (NIST), 500 mL | HACH, USA | ea | 1 |  |  |  |  | https://www.hach.com/p-phosphate-standard-solution-1-mgl-as-po4-nist-500-ml/256949
98 | 1479010 | Potassium Standard Solution, 250 mg/L as K (NIST), pk/16 - 10 mL Voluette Ampules | HACH, USA | pk/16 | 2 |  |  |  |  | https://www.hach.com/p-potassium-standard-solution-250-mgl-as-k-nist-pk16-10-ml-voluette-ampules/1479010
99 | 2244200 | Selenium Reagent Set | HACH, USA | ea | 1 |  |  |  |  | https://www.hach.com/p-selenium-reagent-set-air-freight-configuration/2244201?srsltid=AfmBOoomf1Ff4jzXO6qssV283o5dXF480E6FKAWbdP0F178GoCLyqFgn
100 | 2240742 | Selenium Standard Solution, 1000-mg/L | HACH, USA | 100ml/ bottle | 1 |  |  |  |  | https://www.hach.com/p-selenium-standard-solution-1000-mgl-as-se-nist-100-ml/2240742?srsltid=AfmBOopWPfzeme_sNPSZhnN24pJgy9ZloJepW30ebGXydfesHlGO1Bih
101 | 1481253 | Hydrochloric Acid Standard Solution, 0.1 N | HACH, USA | 1000 mL/ bottle | 1 |  |  |  |  | https://www.hach.com/p-hydrochloric-acid-standard-solution-010-n-1-l/1481253?srsltid=AfmBOoqIo1yOHeFudy8ZvdLTo2qae1-KrUsvalz40KpNSP4qP306Gd8g
102 | 1416442 | Potassium Permanganate Solution, 1-g/L | HACH, USA | 100 mL/ bottle | 1 |  |  |  |  | https://www.hach.com/p-potassium-permanganate-solution-1gl-100-ml/1416442?srsltid=AfmBOoqZiyPzs9QluWDlua27SDwZtaCW2aJ9f3cMHHMd64eNPHAlCCNC
103 | 203849 | Sulfuric Acid Standard Solution, 19.2 N | HACH, USA | 500 mL/ bottle | 1 |  |  |  |  | https://www.hach.com/p-sulfuric-acid-standard-solution-192-n-500-ml/203849?srsltid=AfmBOooLpdYqKtEoxDIZOeu-Us6oEED7IfCmmaIzVvq-mrS0zeSltzGO
104 | 2106269 | Citric Acid Reagent Powder Pillows for Silica, 10 mL, pk/100 | HACH, USA | 100/pk | 1 |  |  |  |  | https://www.hach.com/p-citric-acid-reagent-powder-pillows-for-silica-10-ml-pk100/2106269
105 | 2107369 | Molybdate Reagent Powder Pillows for HR Silica, 10 mL, pk/100 | HACH, USA | 100/pk | 1 |  |  |  |  | https://www.hach.com/p-molybdate-reagent-powder-pillows-for-hr-silica-10-ml-pk100/2107369
106 | 110649 | Silica Standard Solution, 1 mg/L as SiO2 (NIST), 500 mL | HACH, USA | 500ml/ bottle | 1 |  |  |  |  | https://www.hach.com/p-silica-standard-solution-1-mgl-as-sio2-nist-500-ml/110649
107 | 1461342 | Silver Standard Solution, 1000 mg/L Ag | HACH, USA | 100ml /bottle | 1 |  |  |  |  | https://www.pfstar.com/1461342-SILVER-STD-SOLN-1000MG-L-100ML
108 | 2119649 | Hydrogen Peroxide Solution, 50%, 490 mL | HACH, USA | 490ml/ bottle | 1 |  |  |  |  | https://www.hach.com/p-hydrogen-peroxide-solution-50-490-ml/2119649
109 | 218049 | Sodium Hydroxide Solution, 50%, 500 mL | HACH, USA | 500ml /bottle | 1 |  |  |  |  | https://www.hach.com/p-sodium-hydroxide-solution-50-500-ml/218049
110 | 2185336 | Thymolphthalein Indicator Solution, 1 g/L, 15 mL SCDB | HACH, USA | 15ml / bottle | 1 |  |  |  |  | https://www.hach.com/p-thymolphthalein-indicator-solution-1-gl-15-ml-scdb/2185336
111 | 2370853 | Chloride Standard Solution, 100 mg/L, 1 L | HACH, USA | 1000 ml/bottle | 1 |  |  |  |  | https://www.hach.com/p-ise-standards-chloride/2370853
112 | 99949 | Wash water buffer solution for detergents, 500 mL | HACH, USA | 500ml / bottle | 2 |  |  |  |  | https://www.hach.com/p-wash-water-buffer-solution-for-detergents-500-ml/99949
113 | 9265700 | Color Disc Detergents, 0-1.2 mg/L | HACH, USA | ea | 2 |  |  |  |  | https://www.hach.com/p-color-disc-detergents-0-12-mgl/9265700
114 | 1429900 | Demineralizer Bottle, 177 mL Capacity | HACH, USA | 177ml / bottle | 1 |  |  |  |  | https://www.hach.com/p-demineralizer-bottle-177-ml-capacity/1429900
115 | 252074 | Glass wool for detergents, 5 gram | HACH, USA | 5gm/ bottle | 2 |  |  |  |  | https://www.hach.com/p-glass-wool-for-detergents-5-gram/252074
116 | 2947600 | Buffer Solution Kit, Color-coded, pH 4.01, pH 7.00 and pH 10.01, 500 mL | HACH, USA | 3pk of 500ml | 4 |  |  |  |  | https://www.hach.com/p-ph-buffer-solution-kits-ph-4710-color-coded/2947600
117 | 50-199-4238 | Hach Company RoVer Rust Remover,454 g | HACH, USA | pk/12 | 1 |  |  |  |  | Hach Company RoVer Rust Remover, pk/12, Quantity: Pack of 12 ¦ Fisher Scientific
118 | 2974749 | Natural Water Standard Solution, 1000 ppm Total Dissolved Solids (TDS), 500 mL | HACH, USA | 500 mL | 6 |  |  |  |  | Natural Water Standard Solution, 1000 ppm Total Dissolved Solids (TDS), 500 mL ¦ Hach UK
119 | 234000 | Filter Holder, Glass, for Vacuum Filtration | HACH, USA | each | 8 |  |  |  |  | https://www.hach.com/p-filter-holder-glass-for-vacuum-filtration/234000
120 | 49200 | Spoon, Measuring, 0.05g Capacity | HACH, USA | each | 2 |  |  |  |  | https://www.hach.com/p-measuring-spoons/49200
121 | 51100 | Spoon, Measuring, 0.1g Capacity (0.1g) | HACH, USA | each | 3 |  |  |  |  | https://www.hach.com/p-spoon-measuring-01g-capacity/51100?srsltid=AfmBOorPg07men3OD6lDtTFORkyLL2gBtUZprXvjyZZWq61uIA-lo2aU
122 | 63800 | Spoon, Measuring, 0.2g Capacity | HACH, USA | each | 2 |  |  |  |  | https://www.hach.com/p-measuring-spoons/63800
123 | 90700 | Spoon, Measuring, 0.5g Capacity | HACH, USA | each | 2 |  |  |  |  | https://www.hach.com/p-measuring-spoons/90700
124 | 51200 | Filtering Thimble, Body is 74-mm (3") long, 18-mm (0.7") interior diameter. Stem is 41-mm (1.6") long, 9-mm (0.35") outside diameter | HACH, USA | each | 2 |  |  |  |  | https://www.hach.com/p-filtering-thimble/51200
Total (MVR)
GST (liable items)
Delivery Duration (In Days)
1. Prices Quoted must be the Final Price inclusive of GST (for liable items). 2. If the listed brand is not available, Equivalent Alternative Brand can be quoted. 3. Brand must be mentioned in this form. 4. Delivery & work completion period must be in Calendar days (this include weekends & Public Holidays). 5. All the items to be deliver to the door step of Ministry of food and drug Authority (MFDA) 3rd floor. nd 6. Be aware to seal & sign each & every page of this list.

## 2.4 Merck Millipore Sigma
`
Maldives Food & Drug Authority
Ministry of Health, Family and Welfare
Tel : 3034269 /3034270
Company Name & Registered Address:
Iulaan Number: (IUL)23-PD(PMS)/23/2026/120
Lab Requisition Form
2.4 Brand Specific chemicals - Merck Millipopre Sigma
S NO | Catalogue No. | Description | Model details | Unit | Amount | Proposed Brand | Rate | GST | Total | URL
Required for next 1 year
Merck Millipore/Sigma
1 | PHR1357 | Histamine Dihydrochloride Certified Reference Material traceable to USP and PhEur (Sigma-Aldrich), 500mg | Merck | ea | 1 |  |  |  |  | https://www.sigmaaldrich.com/catalog/product/sial/phr1357?lang=en&region=MV
2 | FAP80466 | FAP80466, Metals in seafood, reference material | Merck | ea | 1 |  |  |  |  | Metals in seafood reference material ¦ Sigma-Aldrich
3 | TDS1000-100ML | Total Dissolved Solids 1000 mg/L Calibration Standard, certified reference material | Merck | ea | 12 |  |  |  |  | https://www.sigmaaldrich.com/MV/en/product/sial/tds1000?srsltid=AfmBOorFq6iXS-rtLhUrLtJiMLH57gqugGG6bDLMuPLnCiiMukFWwnKS
4 | 1.7023 | Mercury Calibration Standard for ICP/AAS, Mercury standard solution traceable to SRM from NIST Hg(NO3)2 in HNO3 2 mol/l 1000 mg/l Hg Certipur® | Merck | ea | 2 |  |  |  |  | https://www.merckmillipore.com/CI/en/product/mm/170226
5 | HARD1000-500ML | Hardness, Calcium 1000 mg/L Calibration Standard certified reference material | 500 mL | ea | 6 |  |  |  |  | https://www.sigmaaldrich.com/MV/en/product/sial/hard1000?srsltid=AfmBOoqrM0YEaA_dFiy4Q5V_LKLRBFnKjobg1BInhzkTyvGv3WAZZVdm
6 | Z250171-1PAK | Wheaton wide-mouth bottle amber soda-lime glass bottle, capacity 125 mL, white polypropylene cap, (PTFE faced LDPE liner) | 24 /case | case | 1 |  |  |  |  | https://www.sigmaaldrich.com/MV/en/product/aldrich/z250171
Total (MVR)
GST (liable items)
Delivery Duration (In Days)
1. Prices Quoted must be the Final Price inclusive of GST (for liable items). 2. If the listed brand is not available, Equivalent Alternative Brand can be quoted. 3. Brand must be mentioned in this form. 4. Delivery & work completion period must be in Calendar days (this include weekends & Public Holidays). 5. All the items to be deliver to the door step of Ministry of food and drug Authority (MFDA) 3rd floor. 6. Be aware to seal & sign each & every page of this list.

## 2.5 ERWEKA
`
Maldives Food & Drug Authority
Ministry of Health, Family and Welfare
Tel : 3034269 /3034270
Company Name & Registered Address:
Iulaan Number: (IUL)23-PD(PMS)/23/2026/120
2.5 . Brand Specific chemicals - ERWEKA
S NO | Catalogue No. | Description | Model details | Unit |  | Proposed Brand | Rate | GST | Total | URL
Required for next 1 year
ERWEKA
1 | 20338 | Glass tube for autobasket type A (for Disintegration tester ZT 722) | ERWEKA | ea | 30 | Specific brand has to be used for this machine |  |  |  | https://www.labunlimited.com/s/4716/6-PSDISTUB-EW06/Disintegration-Tube-Glass-1.6-Tube-Ass-Process-Analysis-PSDISTUB-EW06
Total (MVR)
GST (liable items)
Delivery Duration (In Days)
1. Prices Quoted must be the Final Price inclusive of GST (for liable items). 2. If the listed brand is not available, Equivalent Alternative Brand can be quoted. 3. Brand must be mentioned in this form. 4. Delivery & work completion period must be in Calendar days (this include weekends & Public Holidays). 5. All the items to be deliver to the door step of Ministry of food and drug Authority (MFDA) 3rd floor. 6. Be aware to seal & sign each & every page of this list.

## 2.6 BELLINGHAM STANLEY
`
Maldives Food & Drug Authority
Ministry of Health, Family and Welfare
Tel : 3034269 /3034270
Company Name & Registered Address:
Iulaan Number: (IUL)23-PD(PMS)/23/2026/120
Lab Requisition Form
2.6 Brand Specific chemicals - BELLINGHAM STANLEY
S NO | Catalogue No. | Description | Model details | Unit | AMOUNT | Proposed Brand | Rate | GST | Total
Required for next 1 year
BELLINGHAM+STANLEY
1 | SS 25.00 Brix SKU:SS25 | Calibration, Refractometer, 15ml, Sucrose, Bellingham + Stanley | BELLINGHAM+STANLEY | ea | 1
2 | product code: 10-43 | Mono-bromonaphthalene Contact liquid (1.64 RI), 15ml | BELLINGHAM+STANLEY | ea | 1
Total (MVR)
GST (liable items)
Delivery Duration (In Days)
1. Prices Quoted must be the Final Price inclusive of GST (for liable items). 2. If the listed brand is not available, Equivalent Alternative Brand can be quoted. 3. Brand must be mentioned in this form. 4. Delivery & work completion period must be in Calendar days (this include weekends & Public Holidays). 5. All the items to be deliver to the door step of Ministry of food and drug Authority (MFDA) 3rd floor. 6. Be aware to seal & sign each & every page of this list.

## 2.7 Fisher Scientific Chemical
`
Maldives Food & Drug Authority
Ministry of Health, Family and Welfare
Tel : 3034269 /3034270
Company Name & Registered Address:
Iulaan Number: (IUL)23-PD(PMS)/23/2026/120
Lab Requisition Form
2.7 Brand Specific chemicals - FISHER SCIENTIFIC
S NO | Catalogue No. | Description | Model details | Unit | AMOUNT | Proposed Brand | Rate | GST | Total
Required for next 1 year
Fisher scientific
1 | 471-34-1 | Calcium carbonate, Puriss., meets analytical spec. of BP, FCC, Ph. Eur., USP, E170, precipitated, 98.5-100.5% (based on anhydrous substance), Honeywell Fluka™, 2.5 Kg | Fisher scientific | ea | 1
2 | 12386307 | Sherwood Scientific™ Acid Buffer, Combine Acid Buffer, 500ml | Fisher scientific | ea | 5
3 | 12886813 | Sherwood Scientific™ Silver Electrode | Fisher scientific | ea | 2
4 | 12386307 | Sherwood Scientific™ Electrode Polish Vial | Fisher scientific | ea | 2
5 | 12457570 | Sherwood Scientific™ Chloride Standard Solution, 200mg/L | Fisher scientific | ea | 4
6 | 50-199-4882 | Filter Holder, Magnetic | Fisher scientific | ea | 12
7 | 05-605 | DWK Life Sciences Kimble™ KIMAX™ 100mL 8 in. Oil Centrifuge Tubes | Fisher scientific | pack of 6 | 1
8 | S50276 | Flask Tongs | Fisher scientific | Each | 2
9 | 14-381-067 | BRANDTECH™ VITLAB™ Class A Graduated Cylinders | Fisher scientific | Pack of 2 | 2
Total (MVR)
GST (liable items)
Delivery Duration (In Days)
1. Prices Quoted must be the Final Price inclusive of GST (for liable items). 2. If the listed brand is not available, Equivalent Alternative Brand can be quoted. 3. Brand must be mentioned in this form. 4. Delivery & work completion period must be in Calendar days (this include weekends & Public Holidays). 5. All the items to be deliver to the door step of Ministry of food and drug Authority (MFDA) 3rd floor. 6. Be aware to seal & sign each & every page of this list.

## 2.8 Himedia
`
Maldives Food & Drug Authority
Ministry of Health, Family and Welfare
Tel : 3034269 /3034270
Company Name & Registered Address:
Iulaan Number: (IUL)23-PD(PMS)/23/2026/120
Lab Requisition Form
2.8 Brand Specific chemicals - Himedia
S NO | Catalogue No. | Description | Model details | Unit | AMOUNT | Proposed Brand | Rate | GST | Total
Required for next 1 year
HIMEDIA
1 | LE002A | Anaerogas Pak 3.5 L | Himedia | 5/pack | 10
2 | LE002F-5NO | Anaerogas Pak 1.5 L | Himedia | 5/pack | 10
3 | LE065 | Anaero Indicator Tablet Pack Size : 1 X 10 Nos. | Himedia | pack | 15
4 | DD018 | Oxidase Discs (Pack of 50) | Himedia | bottle(50disc /vl | 7
5 | DD008 | ONPG discs | Himedia | bottle(50disc /vl) | 2
6 | M001-500g | Nutrient Agar | Hi Media | Bottle | 2
7 | M1023I | M-lauryl sulfate broth | HIMEDIA | Bottle | 5
8 | M1527-500g | Lactose Peptone Water | Hi Media | Bottle | 5
9 | M463-500G | Tryptone water | Hi Media | Bottle | 2
10 | R008-100ml | Kovacs Indole Reagent | Hi Media | Bottle | 2
11 | M081-500G | MacConkey | Hi Media | Bottle | 2
12 | 50disc /vl | Oxidase Discs (Pack of 50) | Hi Media | Bottle | 3
13 | MM081-500G | MacConkey Medium 8. | Hi Media | Bottle | 4
14 | M1748 | Peptone Saline Diluent (0.1% Peptone Salt Solution) | Hi Media | Bottle | 2
15 | M456-500G | Yeast Extract Agar | Hi Media | Bottle | 8
16 | M612-500G | Slanetz & Bartley Medium | Hi Media | Bottle | 5
17 | M493-500G | Bile esculin azide agar | Hi Media | bottle | 2
18 | M837I | Perfringens Agar Base / Tryptose Sulphite Cycloserine Agar Base | Hi Media | bottle | 6
19 | FD014 | TSC Supplement | Hi Media | 5 vials per box | 10 box
20 | DD042 | Nitrate Reagent Discs (Twin pack) | Hi Media | 50 per vial | 02 vials
21 | GM525-100G | Ringer salt solution powder (ringers solution) | Hi Media | bottle | 4
22 | M1121-500G | M-PA Agar Base | Hi Media | bottle | 3
23 | FD202-5vl | M-PA selective supplement | Hi Media | 5 vials per box | 5 boxes
24 | M1121A-500G | M-PA Agar Base | Hi Media | bottle | 2
25 | M782 | Milk Agar (Modified Brown and Scott agar) | Hi Media | bottle | 2
26 | M052 | Selenite broth (selenite F broth) Twin pack A&B | Hi Media | bottle | 2
27 | M021 | Triple sugar iron agar | Hi Media | bottle | 2
28 | M377-100G | Lysine iron agar | Hi Media | bottle | 2
29 | M031-500G | Xylose-Lysine Deoxycholate Agar (XLD Agar) | Hi Media | bottle | 10
30 | M618-500G | Alkaline peptone water | Hi Media | bottle | 3
31 | M614 | Buffered peptone water | Hi Media | bottle | 3
32 | M1448-500G | Rappaport Vassiliadis Soyabean Meal Broth (RVSM Broth) | Hi Media | bottle | 2
33 | M111 | Urea Broth Base | Hi Media | bottle | 4
34 | M118-500G | Mannitol Salt Agar | Hi Media | bottle | 4
35 | M613F-100G | Dnase test agar w/methyl green (OR w/Toluidine Blue) w/touluidine blue DNA Agar modified | Hi Media | bottle | 3
36 | M091-500G | Plate Count Agar | Hi Media | bottle | 5
37 | R094-500mL | Butterfield's Phosphate Buffered dilution water | Hi Media | bottle | 10
38 | M1058-500G | MUG Violet Red bile agar | Hi Media | bottle | 10
39 | M1968-500G | Tryptic Soya Agar | Hi Media | bottle | 2
40 | FD045-50mlx5vl | Egg Yolk Emulsion | Hi Media | 5 vials per box | 20 boxes (5 vials of 50ml)
41 | FD052-5vl | Potassium Tellurite / PTe 1% Selective Supplement (1 ml per vial) | Hi Media | 5 vials per box | 10 boxes
42 | FD047-5vl | Potassium Tellurite / PTe 3.5% Selective Supplement (1 ml per vial) | Hi Media | 5 vials per box | 10 boxes
43 | FD248(5 vials per box) | Coagulase Plasma (from rabbit)(0.1gm per vial) | Himedia | 5 Vial per box | 10 box
44 | M1003 | Lactose Broth | Himedia | Bottle | 5
45 | M1494I-500G | Buffered peptone water | Himedia | Bottle | 5
46 | M1496I | Muller-Kauffmann Tetrathionate-Novobiocin Broth (MKTTn) | Himedia | Bottle | 2
47 | FD203 | MKTTn novobiocin supplement | Himedia | 5vl/box | 3 box
48 | M1491-500G | Rappaport vassiliadis Medium (RVS broth) | Himedia | bottle | 3
49 | M467F | Hektoen Enteric Agar | Himedia | bottle | 2
50 | M1372 | Universal pre enrichment broth | Himedia | Bottle | 2
51 | FD048 ( 5vl/box) | Urea 40% | Himedia | 5vl/box | 50 box
52 | M1875 | Tryptone Soya Broth, w/ Ferrous Sulphate | Himedia | Bottle | 2
53 | M1062-500G | Dey-Engley Neutralizing broth | Himedia | Bottle | 2
54 | M099-500G | Simmons citrate agar | Himedia | Bottle | 2
55 | M1578 | Buffered listeria enrichment broth base | Himedia | bottle | 3
56 | FD063I | Listeria Selective Supplement II | Himedia | 5 vials per box | 24 Box
57 | M1064 | Listeria identification agar base (PALCAM) | Himedia | bottle | 8
58 | FD061 | Listeria Selective Supplement (PALCAM) | Himedia | 5 vials per box | 10 Box
59 | M284D | Purple Carbohydrate Broth Base | Hi Media | bottle | 1
60 | M260 | Motility Test Medium | Hi Media | bottle | 2
61 | M1887-500G | Alkaline Saline Peptone Water (ASPW) | Hi Media | bottle | 2
62 | M870S-500G | TCBS Agar | Hi Media | bottle | 5
63 | M1241-100G | CPC Agar Base | Hi Media | bottle | 5
64 | FD110F | CPC Supplement | Hi Media | 5vl/box | 5
65 | CR014-500G | Tryptone Certified/ Casitose Certified | Hi Media | bottle | 2
66 | M112I | Urea Agar Base, Christensen | Hi Media | bottle | 2
67 | M1869-100G | Arginine-Glucose Yeast extract Agar | Hi Media | bottle | 2
68 | M1877-100G | Tryptone Salt Agar, w/1% NaCl | Hi Media | bottle | 1
69 | M636F | MYP agar base (Phenol red egg yolk polymyxin agar base) | Hi Media | bottle | 2
70 | FD003 | Polymyxin B Sulphate Supplement | Hi Media | 5vl/box | 5 box
71 | M056 | Phenol red dextrose broth | Hi Media | Bottle | 2
72 | M070F | Voges proskauer medium | Hi Media | Bottle | 2
73 | MB331 | L-trosine | Hi Media | Bottle | 1
74 | RM074 | Lysozyme | Hi Media | Bottle | 1
75 | M1326 | Shigella broth base | Hi Media | Bottle | 2
76 | FD108 | Shigella Selective Supplement | Hi Media | 5vl/box | 4 box
77 | M676 | Bromo Cresol Purple Broth Base | Hi Media | Bottle | 1
78 | RM001 | Peptone 0.1% | Hi Media | bottle | 3
79 | M1129 | Dichloran glycerol medium base (DGM) | Hi Media | bottle | 3
80 | M1881 | Dichloran Rose bengal Chloramphenicol Agar | Hi Media | bottle | 4
81 | TL 1102 | Sterile pH Buffer 6.0 , 0.1mol - HIMEDIA | Hi Media | each | 1
82 | M1783 | Sterile pH Buffer 8.0 , 0.1mol - HIMEDIA | Hi Media | each | 1
83 | LQ164 | Sterile pH Buffer 7.0 , 0.1mol - HIMEDIA 50X9ML | Hi Media | each | 1
84 | LQ 165 | Sterile pH Buffer 7.2, 0.01mol - HIMEDIA 50X9ML | Hi Media | each | 1
85 | M391 | Mueller Hinton Broth 500g | Hi Media | 1 jar | 1
86 | M1084 | Mueller Hinton Agar No. 2 500g | Hi Media | 1 jar | 1
87 | M1259-500G | Heamophillus test medium (HTM) 500g | Hi Media | 1 jar | 1
88 | SD063 - 1pk | Amoxiclav , Amoxicillin Clavulanic acid (AMC) 20/10mcg | Hi Media | 1 pack | 1
89 | SD737- 1pk | Gatifloxacin (GAT) 5mcg | Hi Media | 1 pack | 1
90 | SD215-1pk | Linezolid (LZ) 30mcg | Hi Media | 1 pack | 1
91 | SD727-1pk | Meropenem(MRP) 10mcg | Hi Media | 1 pack | 1
92 | SD217-1pk | Moxifloxacin (MO) 5mcg | Hi Media | 1 pack | 1
93 | SD021-1pk | Nalidixic acid (NA) 30mcg | Hi Media | 1 pack | 1
94 | SD023-1pk | Nitrofurantoin(NIT) 300mcg | Hi Media | 1 pack | 1
95 | SD057-1pk | Norfloxacin (NX 10mcg | Hi Media | 1 pack | 1
96 | SD210-1pk | Piperacillin / tazobactum (PIT) 100/10mcg | HIMEDIA | 1 pack | 1
97 | SD066-1pk | Piperacillin(PI) 100mcg | HIMEDIA | 1 pack | 1
98 | SD029-1pk | Polymyxin B(PB) 300 units | HIMEDIA | 1 pack | 1
99 | SD030-1pk | Rifampicin (RIF) 5mcg | HIMEDIA | 1 pack | 1
100 | SD201-1pk | Ticarcillin-clavulanate 75/10mcg | HIMEDIA | 1 pack | 1
101 | SD044-1pk | Tobramycin (TOB) 10mcg | HIMEDIA | 1 pack | 1
102 | SD010-pk | Trimethoprim-sulfamethoxazole (COT) 1.25/23.75mcg | HIMEDIA | 1 pack | 1
103 | SD045-1pk | Vancomycin (VA) 30mcg | HIMEDIA | 1 pack | 1
104 | ME009 | Fluid Thioglycollate Medium 500g | HIMEDIA | 1 Bottle | 5
105 | M011 | Soya bean casein digest medium, Casein soyabean digest broth, Tryptone soya broth 500g | HIMEDIA | 1 Bottle | 5
106 | M210I | BHI Broth | Himedia | 1 BOTTLE | 2
107 | MP290 | Soyabean Casein Digest Agar Plate (Tryptone Soya Agar Plate) | Himedia | Bottle | 2
Total (MVR)
GST (liable items)
Delivery Duration (In Days)
* The highlighted items are supplements with a very short expiry date
** Supplements and the Media bottles have to be delivered together as requested and if brought separately will be rejected
1. Prices Quoted must be the Final Price inclusive of GST (for liable items). 2. If the listed brand is not available, Equivalent Alternative Brand can be quoted. 3. Brand must be mentioned in this form. 4. Delivery & work completion period must be in Calendar days (this include weekends & Public Holidays). 5. All the items to be deliver to the door step of Ministry of food and drug Authority (MFDA) 3rd floor. 6. Be aware to seal & sign each & every page of this list.

## 2.9 Oxoid
`
Maldives Food & Drug Authority
Ministry of Health, Family and Welfare
Tel : 3034269 /3034270
Company Name & Registered Address:
Iulaan Number: (IUL)23-PD(PMS)/23/2026/120
Lab Requisition Form
2.9 Brand Specific chemicals - OXOID
S NO | Catalogue No. | Description | Model details | Unit | AMOUNT | Proposed Brand | Rate | GST | Total
Required for next 1 year
OXOID
1 | CM0956 | Briliance E. CoIi/Coliform Agar | Oxoid | Bottle | 2
2 | CM1084 | Oxoid Chromogenic Listeria Agar(OCLA) | Oxoid | bottle | 2
3 | SR0226 | OCLA (ISO) Selective Supplements | Oxoid | 5vl/box | 2 box
4 | SR0244 | OCLA (ISO) DIFFERENTIAL SUPPLEMENT | Oxoid | 5vl/box | 2 box
5 | CM0271B | BLOOD AGAR BASE NO 2 500G | OXOID | bottle | 1
6 | SR0051C | DEFIBRINATED SHEEP BLOOD 100ML | OXOID | bottle | 2
Total (MVR)
GST (liable items)
Delivery Duration (In Days)
1. Prices Quoted must be the Final Price inclusive of GST (for liable items). 2. If the listed brand is not available, Equivalent Alternative Brand can be quoted. 3. Brand must be mentioned in this form. 4. Delivery & work completion period must be in Calendar days (this include weekends & Public Holidays). 5. All the items to be deliver to the door step of Ministry of food and drug Authority (MFDA) 3rd floor. 6. Be aware to seal & sign each & every page of this list.

## 3. General chemicals
`
Maldives Food & Drug Authority
Ministry of Health, Family and Welfare
Tel : 3034269 /3034270
Company Name & Registered Address:
Iulaan Number: (IUL)23-PD(PMS)/23/2026/120
3. Lab Requisition Form - General Chemicals
S NO | Description/Pack size | Unit | AMOUNT | Proposed Brand | Rate | GST | Total
Required for next 1 year
1 | Histamine dihydrochloride ≥99% ,25g | Bottle | 1
2 | Ion-Exchange resin 1-X8, 50-100mesh or Dowex 1-X8, 50-100 mesh,,500g | Bottle | 1
3 | Anhydrous Sodium Carbonate,50g | Bottle | 1
4 | Methyl orange solution,0.1%, indicator pH 3.1-4.4 (red yellow-orange) (250mL) | Bottle | 1
5 | D-glucose, 500g | Bottle | 1
6 | Acetone, ACS, 500 mL | Bottle | 2
7 | Hydrochloric Acid, 0.100 N (N/10) in Methanol, (Methanolic HCL), 1L | Bottle | 2
8 | Tributyl phosphate, 99+%, 500ml | Bottle | 1
9 | Water bath Disinfection solution, 50ml | Bottle | 4
10 | Dimethyl sulfoxide, ACS reagent, ≥99.9%, 100ml | Bottle | 2
11 | Thioacetamide 250g | Bottle | 1
12 | Litmus solution 100ml | Bottle | 1
13 | Stabiliser for water bath, 100ml | pack of 15 | 1
14 | Methanol ACS reagent, ≥99.8%, 2.5L | Bottle | 35
15 | Potassium iodide, 500g | Bottle | 2
16 | Ethyl alcohol (Ethanol), anhydrous, ≥99.5%, 1000mL | Bottle | 20
17 | Wijs solution/Iodine monochloride solution, 1000mL | Bottle | 1
18 | Cyclohexane, ACS reagent, ≥99%, 500mL | Bottle | 1
19 | Silver Nitrate, 100g | Bottle | 1
20 | Ammonium thiocyanate, ACS reagent, ≥97.5%, 100g | Bottle | 1
21 | Copper(II)Sulphate pentahydrate (CuSO4.5H2O), 500g | Bottle | 1
22 | Potassium Sodium Tartrate tetrahydrate, Rochelle salt (KNaC4O6.4H2O), 500g | Bottle | 0
23 | Hydrogen Peroxide, 30% w/w, ACS Reagent Grade, 1 llitre | Each | 2
24 | Ammonium dihydrogenphosphate 99.999% trace metals basis | Each | 2
25 | Silver Diethyldithiocarbamate | 25g | 3
26 | Silver sulfate, ACS, 113 g | ea | 2
27 | Chemizorb® Powder | ea | 2
28 | Chemizorb® Hg | ea | 2
29 | Sodium hydroxide reagent grade, ≥98%, pellets (anhydrous) (500g) | ea | 10
30 | Potassium hydrogen phthalate, BioXtra, ≥99.95% (500g) | ea | 5
31 | Ammonium hydroxide solution , ACS reagent, 28.0-30.0% NH3 basis (500ml) | ea | 5
32 | Ammonium chloride, ACS reagent, ≥99.5% (500g) | ea | 2
33 | Calcium carbonate, ACS reagent, ≥99.0%, powder (500g) | ea | 1
34 | Ethylenediaminetetraacetic acid disodium magnesium salt hydrate 99% (250g) | ea | 1
35 | Potassium permanganate, ACS reagent, ≥99.0% (500g) | ea | 1
36 | Potassium Cyanide, ACS Reagent, Reagents (25g) | ea | 6
37 | Sterile Glycerol, 40% (Cat no. LQ263C), 100ml | Each | 10
38 | Glycerol A.R (GRM1027) , 500ml | Each | 10
39 | Bromothymol blue, 5g | Each | 5
40 | Mineral Oil, Sterile, 100ml | Each | 5
41 | Gram Stain Kit (K001) | Each | 2
42 | Paraffin Oil, sterile, 500ml | Each | 1
43 | Api 20E test kit,20100 bioMerieux | Each | 1
44 | McFarland Standard set -R092 | Set | 1
45 | Sulfuric acid ACS reagent, 95.0-98.0%, 500ml | Bottle | 2
46 | Hexane ≥97.0% (GC), suitable for HPLC, suitable for EPA 1613, EPA ACB B21-02, EPA OTM-45, and EPA ACB B23-05b ,1 L | Bottle | 15
47 | Sodium sulfate, ACS reagent, ≥99.0%, anhydrous, granular , 500 g | Bottle | 10
48 | Acetone, ACS reagent, ≥99.5% , 500ml | Bottle | 5
49 | Stearic acid, 98%, 100g | Bottle | 5
50 | Hexadecane, 98% minimum purity, 250 or 500 gram | Bottle | 5
51 | Propylene Glycol, 1L, Glass bottle | Bottle | 3
52 | Arsenic trioxide 125g | Bottle | 1
Total (MVR)
GST (liable items)
Delivery Duration (In Days)
1. Prices Quoted must be the Final Price inclusive of GST (for liable items). 2. If the listed brand is not available, Equivalent Alternative Brand can be quoted. 3. Brand must be mentioned in this form. 4. Delivery & work completion period must be in Calendar days (this include weekends & Public Holidays). 5. All the items to be deliver to the door step of Ministry of food and drug Authority (MFDA) 3rd floor. 6. Be aware to seal & sign each & every page of this list.

## 4. Consumables IULAN
`
Maldives Food & Drug Authority
Ministry of Health, Family and Welfare
Tel : 3034269 /3034270
Company Name & Registered Address:
Iulaan Number: (IUL)23-PD(PMS)/23/2026/120
4. Consumable Requisition Form - Consumables
S NO | Item Code | Description | Unit | AMOUNT | PROPOSED BRAND | Rate | GST | Total
Required for next 1 year
1 | - | Ampule Breaker, 10-mL Voluette® Ampules | ea | 1
2 | - | Borosilicate Glass Class A Graduated Cylinders (non stoppered) with Certificate of Calibration capacity: 25ml, graduations: 5ml | pack of 2 | 6
3 | - | Borosilicate Glass Class A Graduated Cylinders (non stoppered) with Certificate of Calibration capacity: 10ml, graduations: 5ml | pack of 2 | 20
4 | - | Cylinder, graduated, mixing, glass, 25 mL ±0.3 mL, 0.5 mL divisions, polyethylene stopper | ea | 20
5 | - | BRAND® BLAUBRAND® mixing cylinder with polypropylene stopper, volume 50mL | ea | 6
6 | - | Fisherbrand™ Serialized Class A Cylinders with Certificate of Traceability (50ml) | ea | 20
7 | - | Cylinder, Graduated, Polypropylene, 100 mL ±0.6 mL, 1.0 mL divisions | ea | 5
8 | - | Fisherbrand™ Serialized Class A Cylinders with Certificate of Traceability (100ml) | ea | 25
9 | - | Fisherbrand™ Serialized Class A Cylinders with Certificate of Traceability (250 ml) | ea | 15
10 | - | Borosilicate Glass Class A Graduated Measuring Cylinders (non stoppered) with Certificate of Calibration capacity: volume 500 mL, subdivision, 5 mL | ea | 25
11 | - | Cylinder, Graduated, Polypropylene, 500 mL +-2.6 mL, 5.0 mL divisions | ea | 3
12 | - | Borosilicate Glass, Class A Volumetric Flask with polypropylene stopper (10mL) | pack of 4 | 10 packs
13 | - | BRAND® BLAUBRAND® volumetric flask, PP stopper, amber glass, 10ml | pack of 2 | 10 packs
14 | - | Borosilicate Glass, Class A Volumetric Flask with polypropylene stopper (20mL) | pack of 2 | 13 packs
15 | - | BRAND® BLAUBRAND® volumetric flask, PP stopper, amber glass, 20ml | pack of 2 | 4 packs
16 | - | Borosilicate Glass, Class A Volumetric Flask with polypropylene stopper (25mL) | pack of 2 | 5 packs
17 | - | BRAND® BLAUBRAND® volumetric flask, PP stopper, amber glass, 50ml | pack of 2 | 2 packs
18 | - | Borosilicate Glass, Class A Volumetric Flask with polypropylene stopper (50mL) | pack of 2 | 3 packs
19 | - | Borosilicate Glass, Class A Heavy Duty Wide Mouth Volumetric Flasks with Glass Stopper (100ml) | pack of 6 | 5 packs
20 | - | BRAND® BLAUBRAND® volumetric flasks, PP stopper, ISO class A, volume 100 mL | Each | 20
21 | - | BRAND® BLAUBRAND® volumetric flasks, PP stopper, ISO class A, volume 200 mL | ea | 25
22 | - | BRAND® BLAUBRAND® volumetric flasks, PP stopper, ISO class A, volume 250 mL | ea | 18
23 | - | Corning™ PYREX™ Narrow Mouth Erlenmeyer Flask with Standard Taper Stopper, 250 mL | pack of 6 | 4
24 | - | BRAND® BLAUBRAND® volumetric flasks, PP stopper, ISO class A, volume 500 mL | ea | 12
25 | - | BRAND® BLAUBRAND® volumetric flasks, PP stopper, ISO class A, 1000mL | ea | 10
26 | - | Borosilicate Glass, Class A Volumetric Flask with polypropylene stopper (2000mL) | ea | 2
27 | - | Fisherbrand™ Reusable Glass Narrow-Mouth Erlenmeyer Flasks (250 ml) | pk/12 | 3
28 | - | Flask, filtering, 500 mL | ea | 8
29 | - | Corning™ PYREX™ Narrow Mouth Erlenmeyer Flask with Standard Taper Stopper, 250 mL | pack of 6 | 4
30 | - | Corning® universal fit pipet tips, 1-200 µL universal fit bulk packed pipet tips, yellow, non-sterile | 1000/bag | 1
31 | - | Eppendorf™ epT.I.P.S.™ Bulk - Pipette Tips, 2 to 200 μL, Should be transparent | 200 Tips (2 Bags x 100 Tips) | 2 bag
32 | - | Eppendorf™ epT.I.P.S.™ Bulk - Pipette Tips ,05-10mL,should be transparent | 200 Tips (2 Bags x 100 Tips) | 2 bag
33 | - | Corning™ PYREX™ Reusable Class A Volumetric Pipets, Color-Coded, 5ml | Case of 12/pk | 3
34 | - | Corning™ PYREX™ Reusable Class A Volumetric Pipets, Color-Coded, 20mL | Case of 12/pk | 1
35 | - | Corning™ PYREX™ Reusable Class A Volumetric Pipets, Color-Coded, 25ml | Case of 12/pk | 1
36 | - | Corning™ PYREX™ Reusable Class A Volumetric Pipets, Color-Coded, 50ml | Case of 12/pk | 1
37 | - | Corning™ PYREX™ Reusable Class A Volumetric Pipets, Color-Coded, 100ml | Case of 12/pk | 1
38 | - | Thermo Scientific™ Samco™ Graduated Transfer Pipettes | Pack of 500 | 4
39 | - | Bulbs for Small Pipettes, 2ml, Pack of 12 | ea | 1
40 | - | BRAND® glass beaker with spout, low form, volume 250 mL, with graduation | 10/pack | 1
41 | - | Pipette Support Rack | ea | 3
42 | - | Buerkle™ Wallmount Draining Rack (glassware drying rack) | ea | 6
43 | - | Interlocking Four-Way Tube Racks | ea | 1
44 | - | Universal carousel pipette stand | ea | 1
45 | - | Pipette stand | ea | 1
46 | - | BRAND® Titrette® digital bottle-top burette, capacity 50 mL, without interface RS 232 | ea | 3
47 | - | Pyrex™ Labware Class AS Borosilicate Glass Burette, 25 mL | ea | 2
48 | - | Pyrex™ Labware Class AS Borosilicate Glass Burette, 50 mL | ea | 6
49 | - | Burette Stand, White Edge Weighted | ea | 2
50 | - | Beaker, Griffin, Low Form, Glass, 50 mL | ea | 25
51 | - | Beaker, griffin, low form, glass, 100 mL | ea | 30
52 | - | Polypropylene Graduated Beakers - 100mL (Azlon™ Straight-sided Beakers) | Pack of 10 | 3
53 | - | Beaker, Polypropylene, Low Form, 150 mL | ea | 10
54 | - | Beaker, Berzelius glass, Tall Form, without spout, 200mL | ea | 5
55 | - | Beaker, polypropylene, low form, 250 ml | ea | 20
56 | - | Beaker, griffin, low form, glass, 400 mL | ea | 5
57 | - | Beaker, Griffin, Low Form, Glass, 600 mL | ea | 7
58 | - | Amber glass drug bottle container with closed PE cap (50ml) | ea | 100
59 | - | Fisherbrand™ Amber Wide Mouth Packer Glass Bottles with White Polypropylene Caps, 250 mL | pk/ 24 | 24
60 | - | Duran® Youtility bottle, GL 45, complete amber glass, capacity 250 mL | pk/4 | 1
61 | - | DWK Life Sciences Wheaton™ 300mL Black Borosilicate BOD Bottle | ea | 1
62 | - | Bottle, BOD, amber, 6/pk, 437 mL | pk/6 | 1
63 | - | Reagent bottle, wide neck, amber, 500ml | ea | 10
64 | - | Duran® amber GLS 80 wide mouth graduated laboratory bottles, capacity 1,000 mL, with cap | pk/10 | 2
65 | - | Bottle, Storage, Autoclavable, Wide Mouth, 125 mL, 12/pk | 12/pk | 2
66 | - | Nalgene™ Narrow-Mouth Bottles Made of Teflon™ FEP with Closure 125mL | 6/CASE | 3
67 | - | Thermo Scientific™ Nalgene™ FEP Bottles, Bulk Pack 250mL | 4/CASE | 1
68 | - | HDPE Storage Bottles, 2.5L | 4/CASE | 1
69 | - | Thermo Scientific Nalgene 2402-0500 Unitary Wide-Mouth Wash Bottle, 500 mL | Pack of 4 | 5
70 | - | Ampoule Bottle Cutter - Ampule Breaker Vial Opener & Pill Splitter, 2 Replaceable Grinding Wheels, Pharmacy Spatula, Vial Decapper | ea | 1
71 | - | AccuVac®, Snapper | ea | 3
72 | - | Fisherbrand™ pH Test Paper Rolls, pH range: 1-12, 100 Tests/Roll | Pack of 5 (15 ft. rolls) | 5
73 | - | Whatman® qualitative filter paper, Grade 1, circles, diam. 90 mm, pack of 100 | ea | 2
74 | - | Whatman® qualitative filter paper, Grade 4,circles, diam. 150 mm, pack of 100 | 100/pk | 2
75 | - | Whatman® qualitative filter paper, Grade 4 (No.1), circles, diam. 125 mm, pack of 100 | Pack of 100 | 8
76 | - | Whatman® quantitative filter paper, ashless, Grade 40 circles, diam. 125 mm, pack of 100 | pack of 100 | 5
77 | - | Whatman® quantitative filter paper, hardened ashless, Grade 541, circles, diam. 125 mm, pack of 100 | Pack of 100 | 2
78 | - | Whatman® lens cleaning tissue, Grade 105, size 200 mm × 300 mm, pkg of 100 ea | ea | 20
79 | - | Membrane, Cellulose, Pore Size 0.8 µm, Diameter 47 mm,, plain, non-sterile | 100/pk | 3
80 | - | TSS Glass Fiber Filter, Pore Size 1.5 µm, Diameter 47 mm, 100/pk | ea | 3
81 | - | Micro spoon and spatula weighing set | ea | 2
82 | - | Bochem™ 18/10 Stainless Steel Micro Spoon Spatulas, Spoon Shape (10094950) | ea | 6
83 | - | Fisherbrand™ Stainless Steel Offset Spoons (11533492) | ea | 1
84 | - | Teflon Coated Spatula to weigh chemicals | ea | 10
85 | - | Seperating funnel stand | ea | 2
86 | - | Seperating funnel holder (50ml - 250ml) | ea | 5
87 | - | Filter funnel glass (top diameter: 50mm) with low stem | ea | 10
88 | - | Corning™ PYREXPLUS™ Coated Squibb Separatory Funnel with PTFE Standard Stopcock and Glass Standard Taper Stopper (Fisher Scientific) ( 250ml) | ea | 6
89 | - | Corning™ PYREXPLUS™ Coated Squibb Separatory Funnel with PTFE Standard Stopcock and Glass Standard Taper Stopper (Fisher Scientific) 500ml | ea | 4
90 | CTECH catalogue no.: C40015-0001T | Titration stand, Marble, 200*125mm | ea | 2
91 | - | Porcelaine Motar and Pestle, O.D. × H 85 mm × 65 mm, capacity 150 mL | ea | 2
92 | - | Porcelaine Motar and Pestle, O.D. × H 120 mm × 88 mm, capacity 420 mL | ea | 2
93 | - | Agate mortar and pestle (D 26mm x ID 52mm × OD 75 mm) | ea | 5
94 | - | Mortar & Pestle for Crushing Hard, Tough Substances | ea | 1
95 | - | Porcelain Mortar & Pestle, 80mm D x 60ml | ea | 1
96 | - | Dish, evaporating, flat bottom, glass, 125 mm X 65 mm | ea | 4
97 | - | Pyrex® crystallizing dish O.D. × H ~170 mm × 90 mm | ea | 5
98 | - | Porcelain Evaporating Dish, 250ml | ea | 2
99 | - | Crystallizing dishes DURAN® without spout, 900 ml, 140 mm | ea | 3
100 | - | Ace Glass, Inc. Dow Corning, High vacuum grease, tube, 5.3 oz. (150g) | ea | 2
101 | - | Color Viewing Tube with 5 & 20 mL Marked | 6/ pk | 1
102 | - | Tube, test, 13 x 100 mm, 10/pk | 10/ pk | 1
103 | - | Flat bottom clear glass sample vial with screw cap (12ml) | 144/pk | 1
104 | - | TUBE FOR KJELDAHL DIGESTION, Mouth:47mm, height:300mm, Outer:42mm | 10/pk | 10
105 | - | Microcentrifuge Tubes: 1.5mL, pack of 500 ,Polypropylene | 500/pk | 1
106 | - | Test tube (colourless, transparent, neutral glass with a flat base and O.D. x Length (mm):12 x 75, Cap.(ml): 5) | 100/pk | 1
107 | - | Test tube (colourless, transparent, neutral glass with a flat base and O.D. x Length (mm):18 x 55, Cap.(ml): 26) | 100/pk | 20
108 | - | PP stopper for 200ml volumetric flask oint: ST/NS 14/23 | 2/pck | 40
109 | - | Stopper, rubber, one hole, size 7, | 6/pk | 3
110 | - | Stopper for Glass Viewing Tube, pk/6 | pk/6 | 10
111 | - | Stopper, Polyethylene, Hollow, Size 2, 6/pk | 6/ pk | 1
112 | - | Kontes Column with Reservoir, Reservoir capacities from 200 mL, Integral reservoir with size 2 PTFE stopcock plug, Diameter 11mm, Length 250 mm | ea | 20
113 | - | Rubber Policeman, Glass rod is 15 cm long | ea | 2
114 | - | Universal All Purpose Absorbent Pads | 200/pk | 3
115 | - | Stainless steel pan Type (L × W × H 12.75 in. × 6.9 in. × 2.5 in) | ea | 1
116 | - | Laboratory tray, PP white, in. LxW 180x240mm, 1,5l | ea | 2
117 | - | Laboratory tray, PP white, in. LxW 240x300 mm, 3 l | ea | 3
118 | - | Instrument Tray (stainless steel) 12.25 x 7.75 x 2.25 in. (31 x 20 x 5.7 cm) | ea | 1
119 | - | Dish ROTILABO®, Outer length: 365 mm | 1 per pack | 1
120 | - | Safety carrier to 1L and 2.5L bottles | ea | 2
121 | - | Spill granules 16 oz | ea | 5
122 | - | Soft sponge cleaning brush (for fragile glass items) | ea | 10
123 | - | Brush, bottle | ea | 2
124 | - | Basic laboratory brush kit | ea | 1
125 | - | Ampoule opener | ea | 2
126 | - | N95 Mask, small | pack of 20 | 15
127 | - | N95 Particulate Respirators, 8110S and 8210 Series, medium | Pack of 20 | 15
128 | - | N95 Dura-Mesh™ Molded Particulate Respirators | 10pk/case (10/pk) | 6
129 | - | P95 Particulate Respirators with Nuisance Level Relief | Pack of 10 | 5 packs
130 | - | 3-Ply Medical Face Mask (Headloop) | 50 pcs/box | 10 box
131 | - | Quick Action Spigot | ea | 5
132 | - | Transparent rectangular Polycarbonate Clearboy Carboy with Spigot, 9L | ea | 6
133 | - | Thermo Scientific™ Nalgene™ Rectangular Polycarbonate Clearboy™ Carboy with Spigot, 20L | ea | 6
134 | - | Labeling tape (W: 1.91 cm) | pkg of 1 roll | 20
135 | - | Aluminium foil roundings, Ø: 120 mm | 1000 units per pack | 3
136 | - | Aluminium foil roundings, Ø: 80 mm | 1000 units per pack | 5
137 | - | Mat set, suitable for setting down hot flat-bottom flasks, beakers, etc.Assortment consists of 2 squares 30 x 30 cm and 4 squares 15 x 15 cm. Thickness 10 mm. | ea | 1
138 | - | Gloves, Disposable, Powder Free, Nitrile, Small | 100/box | 55
139 | - | Gloves, Disposable, Powder Free, Nitrile, Medium | 100/box | 35
140 | - | Gloves, Disposable, Powder Free, Nitrile, Large | 100/box | 10
141 | - | Glove, chemical resistant, black, butyl II, PPE category III, light, unlined, rough finish, thickness 0.35mm, length 355mm, Size 7 | 1 Pair | 6
142 | - | Powder-Free disposable latex glove, small | Pack of 100 | 40
143 | - | Powder-Free disposable latex glove, medium | Pack of 100 | 30
144 | - | Powder-Free disposable latex glove, Large | Pack of 100 | 30
145 | - | Clear Safety Goggles | ea | 5
146 | - | Quartz boats, 1.5ml, set of 10 pieces | set of 10 pieces | 8
147 | - | Fisherbrand™ CRUCIBLE TONGS PTFE Coated TIPS 18in | ea | 1
148 | - | Fisherbrand™ CRUCIBLE TONGS Length: 9 in. (23cm) | ea | 1
149 | - | Crucible tongs, riveted, 200 mm (20cm) | ea | 2
150 | - | Glass beads | 100 /pk | 2
151 | - | Boiling chips, silicon carbide 500 g | ea | 1
152 | - | Reversable Silicone lab mat, L × W × thickness 14 in. × 23.5 in. × 2 mm | ea | 20
153 | - | Fisherbrand ™ Lab Matting, polyethylene, colour: clear, dimensions: 15ft. X 30inch. | ea | 1
154 | - | Low Form Inconel Crucibles | 2/pk | 6
155 | - | Parafilm™ M Wrapping Film (Sealing film - 2 inch) | Roll | 7
156 | - | Stainless Steel Laboratory Cart, Labconco ™ 8019000, dimensions: 34.88 x 19.0 x 36.38 inch. | Each | 1
157 | - | Fisherbrand ™ Fine Precision Medium Tipped Tweezers/ Forceps | ea | 15
158 | - | Kimberly-Clark Professional ™ KimWipes™ Delicate Task Wipers | Pack of 280 | 5 packs
159 | - | Weighing stand for sample boats | ea | 1
160 | - | Weighing scoop glass | 10/PK | 1
161 | - | Microcapillary pipettes with bulb assembly and dispenser vial, 5μL | pack of 100 | 5 pack
162 | - | TLC saturation pads, size 20 cm × 20 cm | pack of 100 | 2 pack
163 | - | Reagent sprayer for TLC plates, Glass Bottle Type, volume 250 mL | ea | 2
164 | - | TLC spray box | ea | 1
165 | - | Test Sieve No.25 (710µm) ASTM E11, frame diameter (3 inch) | each | 1
166 | - | HDPE Narrow-Mouth Boston Round Bottles, for inorganic trace analytes, 100ml |  | 1 case
167 | - | Bottletop Dispenser, High chemical resistance of all dispensing components., ablr to dispense 2.5 to 25 mL, 1 channel | Each | 2
168 | - | 50 mL centrifuge tubes, Clear polypropylene, sterile, Bottom style: conical, self-standing, cap | case of 500pcs | 2
169 | - | Capacity 15 mL, polypropylene tube, (ideal for long-term cryogenic storage of specimens at -18°C) | case of 500pcs | 3
170 | - | Micro Tubes, 2 mL, Non-skirted, Screw Cap, should be able to undergo vaporization under Liquid Nitrogen | Pack of 500 | 2
171 | - | 1.5ml Screw-thread Amber Vial with PTFE/white Silicone Septa, 100/pack | pack of 100 | 5
172 | - | 1.5mL screw cap, red cap, silicone/PTFE septum, 100/pack | pack of 100 | 5
173 | - | PTFE (Hydrophobic) Syringe Filters,0.2 μm | pack of 100 | 5
174 | - | Emergency eyewash faucet attachment, Exceeds minimum water flow of 0.4 GPM at 30 PSI | each | 1
175 | - | Macro Pipette Controller for bulb and graduated pipettes, | Each | 1
176 | - | Pipette, non-sterile, 2ml graduations with 0.5ml increments | Pack of 500 | 1 pack
177 | - | Amber borosilicate glass bottle with cap, 1L | Each | 5
178 | - | Sterile Swabs / Sterile cotton swab in polypropylene tube | 100 swabs/box | 20
179 | - | B. stearothermophilus No. of Spores per Ampoules = 106 (LA1123-Himedia) | vials/box, 1x50No | 2
180 | - | GeoBacillus stearothermophilus Strips (LA922-Himedia), 100 strips/box | 1x100No | 1
181 | - | Autoclave deodorizer capsules (LA008A/Himedia), 05 Vials per Pack(50 tab/vial) | 5x50No | 10
182 | - | Autoclave Indicator Tape (White 1 inch (25.4mm), LA984-Himedia | each | 5
183 | - | Petriseal (stretchable tape), LA311-Himedia | Each | 10
184 | - | Freezer gloves (cryogenic , insulated) | Each | 6
185 | - | Ice Scrapper for Freezer | Each | 4
186 | - | Antimoth w/Spray Pump in 500ml bottle, C0014-Himedia | Bottle | 15
187 | - | Stomacher bags (Clossure bags)-Seward, BA6141/CLR | 200bags/box | 20
188 | - | Stomacher (strainer bags)-Seward, BA6141/STR | 200bags/box | 10
189 | - | Standard Whirl-Pak Thio-Bags 500ml (B01018WA) | Pack of 500 bags | 3
190 | - | Standard Whirl-Pak Thio-Bags 384ml (B01018WA) | Pack of 500 bags | 3
191 | - | Sterile Sampling bag, Zip bag, small (18cm*20cm), 100/pk | each | 30
192 | - | Biohazard bag (Large) | each | 300
193 | - | Sterile, Disposable L-Spreader (PW1273) | 50/pack | 20
194 | - | Lab shoes size 06 | each | 5
195 | - | Autoclavable Glass Bottles with polypropylene screw cap with pouring ring -1000ml | Each | 20
196 | - | Autoclavable Glass Bottles with polypropylene screw cap with pouring ring-500ml | Each | 20
197 | - | Autoclavable Glass Bottles with polypropylene screw cap with pouring ring-250ml | Each | 40
198 | - | Autoclavable Glass Bottles with polypropylene screw cap with pouring ring-100ml | Each | 20
199 | - | Autoclavable Wide Neck Glass Bottles with polypropylene screw cap with pouring ring-500ml | Each | 6
200 | - | Borosilicate Glass Class A Graduated Measuring Cylinders (non stoppered) with Certificate of Calibration capacity: 1000ml, graduations: 100ml | Each | 3
201 | - | Borosilicate Glass Class A Borosilicate Graduated Cylinders (non stoppered with blue ceramic scale and a hexagonal base) with Certificate of Calibration capacity:250ml, graduations: 5ml | Each | 20
202 | - | Durham Tubes, neutral glass autoclavable length: 25mm, diameter: 6-7mm | Each (100 per box) | 5
203 | - | Mac Cartny (Bijou) Bottle (Screw cap, autoclavable) -7ml | Each | 100
204 | - | Plastic Test Tube Rack for 16mm*60 Wells, White, Detachable (60 Hole), 15ml tube box. | Each | 5 racks
205 | - | Petri dish (sterile, disposable)- 90mm | Each (600 per box) | 30 Box (18000 plates)
206 | - | Carrousel, Pipette Holder, 7 pipettes | Each | 3
207 | - | Pipette tips (1ml) with storage box | 96/box | 10 box
208 | - | Pipette tips(1ml) | 500pcs/bag | 5
209 | - | Pipette tips (5ml) with storage box | 500pcs/bag | 5
210 | - | Thermoscientific Finntip with box, volume: 5ml, 75/box | Each (75/box) | 2 box
211 | - | Screw Cap Culture Tubes with Phenolic Caps PYREX® (09ml)-13x100mm | Each | 1 box
212 | - | Cryogenic Vials with storage box(1.5ml)-81 vials/box | Each | 3
213 | - | Cryogenic Vials and Containers (4ml) -81 vials/box | Each | 2
214 | - | Dressing Drum 27x22cm | Each | 4
215 | - | BD GasPak™ EZ container systems | Each | 2
216 | - | Anaerobic rectangular jar system (7.5L) | Each | 2
217 | - | Pipettor Stand, Capacity holding 5 | Each | 3
218 | - | Brush kit (Sampler), Sampler Brush Kit (Sigma Z2813951(x1), Justman brush 96720 (x2)) | Each | 6
219 | - | Universal bottle rack 12 Slot, Colour: White, Material: Nylon coated steel, Dimensions: Suitable for 12 (2 rows of 6) universal bottles. Each hole is 30mm. square and overall size is 200mm. long x 78mm. wide x 60mm. high | Each | 20
220 | - | Centrifuge Tube Racks, 15 mL × 50 Place Rack, Autoclavable | Each | 10
221 | - | Test Tube Rack, 30 mm, 21 holes, polypropylene | Each | 5
222 | - | Inoculating loop stand (6 place) | Each | 2
223 | - | Dissecting needle | Each | 2
224 | - | Lens cleaning station | Each | 2
225 | - | PP Autoclavable Utility Tray (320x260x100mm)/ P90116(360 x 310 x 130 mm) | Each | 4
226 | - | Stainless steel flat smooth tipped forceps | Each | 10
227 | - | Cryogenic permanent Marker, black | Each | 20
228 | - | Cryogenic permanent Marker, blue | Each | 20
229 | - | Microscopic slides (plain)/ Glass Slides | 10 x 50Nos. | 2
230 | - | Innoculating loops (Metaloop SL)(Stab Loop) | 1 X 24 Nos | 2
231 | - | Innoculating loops (loop SS2) / Metaloop SS-2 | 1 X 24 Nos | 2
232 | - | Flask–Boiling, 125-mL (Corning No. 4100 or equivalent) | Each | 5
233 | - | Silica gel Inorganic Sorbent high-purity grade (Davisil Grade 923), 100-200 mesh, 1 kg | Each | 1
234 | - | DURAN® graduated amber laboratory bottle | 10 each | 2
Total (MVR)
GST (liable items)
Delivery Duration (In Days)
1. Prices Quoted must be the Final Price inclusive of GST (for liable items). 2. If the listed brand is not available, Equivalent Alternative Brand can be quoted. 3. Brand must be mentioned in this form. 4. Delivery & work completion period must be in Calendar days (this include weekends & Public Holidays). 5. All the items to be deliver to the door step of Ministry of food and drug Authority (MFDA) 3rd floor. 6. Be aware to seal & sign each & every page of this list.

## 5. Reference Cultures
`
Maldives Food & Drug Authority
Ministry of Health, Family and Welfare
Tel : 3034269 /3034270
Company Name & Registered Address:
Iulaan Number: (IUL)23-PD(PMS)/23/2026/120
5. Consumable Requisition Form - Reference Cultures
S NO | Item Code | Description/Pack size | Unit | AMOUNT | Proposed Brand | Rate | GST | Total
Required for next 1 year
1 | - | Vibrio cholerae Pacini (ATCC®25872™) | Each | 1
2 | - | Salmonella typhimurium (ATCC®13311™) | Each | 1
3 | - | Rhodococcus equi (ATCC®6939™) | Each | 1
4 | - | Listeria innocua (ATCC®33090™*) | Each | 1
5 | - | Listeria ivanovii (ATCC®19119™) | Each | 1
6 | - | Staphylococcus epidermidis (ATCC®14990™) | Each | 1
7 | - | Clostridium bifermentans (ATCC® 638™*) | Each | 1
Total (MVR)
GST (liable items)
Delivery Duration (In Days)
1. Prices Quoted must be the Final Price inclusive of GST (for liable items). 2. If the listed brand is not available, Equivalent Alternative Brand can be quoted. 3. Brand must be mentioned in this form. 4. Delivery & work completion period must be in Calendar days (this include weekends & Public Holidays). 5. All the items to be deliver to the door step of Ministry of food and drug Authority (MFDA) 3rd floor. 6. Be aware to seal & sign each & every page of this list. 7. All the above items must be accompanied by the certificates.