ޖަދުވަލު 2

ބީލަން ހުށަހަޅާ ފޯމް

|  |  |  |  |  |  | ބީލަން ހުށަހަޅާ ފަރާތުގެ މަޢުލޫމާތު |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1.1 | ނަން |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.2 | އެޑްރެސް |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | ހުށަހަޅާ ތަކެތީގައި އެންމެ ދައްވެގެން ހުންނަން ޖެހޭނެ ވަރު، އަގު އަދި މުއްދަތު |  |  |  |  |  |  |  |
| ތަފްސީލް |  |  |  |  |  |  |  |  | ޔުނިޓް | އަދަދު | އަގު | ޖީ.އެސް.ޓީ | ޖުމްލަ އަގު |
| Cement Hollow Blocks 12"x4"x6" |  |  |  |  |  |  |  |  | Nos | 17,000 |  |  |  |
| Cement (Masonry & Plaster) |  |  |  |  |  |  |  |  | Bags | 300 |  |  |  |
| River Sand (Masonry & Plaster) |  |  |  |  |  |  |  |  | Bags | 1,200 |  |  |  |
| Square Grass Paver Blocks 1'×1'x 4" thickness . Ratio: 1 : 1.5 : 3 (Cement : Sand : 6-10 mm Aggregate) |  |  |  |  |  |  |  |  | Nos | 42,000 |  |  |  |
| G.I. Pipe Light Poles 3 inch Pole light structure: - Pole height: 5m - Material: Hot-dip galvanized steel with a minimum zinc coating thickness of 85 microns (µm). - All bolts and Screws should be SS316 Stainless steel -The whole light pole structure should be black Mounting: Pole mounted |  |  |  |  |  |  |  |  | Nos | 19 |  |  |  |
| Outdoor LED Lights( IP Rating : IP66) Symmetrical downward illumination. Fixture shape: Circular Top with Traingular support frame Light and light fitting: - Power: 20W LED - Color temperature: 3000K Warm White - Lumens: around 1500-2000 lumens - IP rating: IP66 - All bolts and Screws should be SS316 stainless steel |  |  |  |  |  |  |  |  | Nos | 38 |  |  |  |
| 2.5mm 2 core Cable |  |  |  |  |  |  |  |  | Meter | 400 |  |  |  |
| ABB, ELCB/RCCB 63A 4 POLE |  |  |  |  |  |  |  |  | Nos | 1 |  |  |  |
| ABB, MCB 63A 4 POLE |  |  |  |  |  |  |  |  | Nos | 1 |  |  |  |
| ABB, MCB 10A |  |  |  |  |  |  |  |  | Nos | 12 |  |  |  |
| 3 Phase 63A Fork Busbar |  |  |  |  |  |  |  |  | Feet | 3 |  |  |  |
| Waterproof 3m scotch 23 Self-Fusing Tape |  |  |  |  |  |  |  |  | Nos | 24 |  |  |  |
| Electrical Insulation Tape |  |  |  |  |  |  |  |  | Nos | 24 |  |  |  |
| Pvc Flexible Conduit Pipe 2” X 6M |  |  |  |  |  |  |  |  | Nos | 24 |  |  |  |
| Pvc Electrical Conduit Tee 2" |  |  |  |  |  |  |  |  | Pcs | 24 |  |  |  |
| 2.5mm Green Cable |  |  |  |  |  |  |  |  | Roll | 10 |  |  |  |
| Cement for Footings |  |  |  |  |  |  |  |  | Bags | 20 |  |  |  |
| River Sand coarse for Footings |  |  |  |  |  |  |  |  | Bags | 30 |  |  |  |
| Aggregate for Footings |  |  |  |  |  |  |  |  | Bags | 40 |  |  |  |
| 10 mm Rebar 12m length |  |  |  |  |  |  |  |  | Nos | 30 |  |  |  |
| Binding Wire (16 SWG GI Annealed) |  |  |  |  |  |  |  |  | Kg | 5 |  |  |  |
| Formwork Plywood 18mm |  |  |  |  |  |  |  |  | Sheets | 10 |  |  |  |
| 2"×3"x12 ft Timber |  |  |  |  |  |  |  |  | Nos | 10 |  |  |  |
| 2"×2"x12 ft Timber (Bracing ) |  |  |  |  |  |  |  |  | Nos | 6 |  |  |  |
| 2.5" (65 mm) Galvanized wood screws |  |  |  |  |  |  |  |  | Pcs | 200 |  |  |  |
| 3" (75 mm) Galvanized Wood Screws |  |  |  |  |  |  |  |  | Pcs | 50 |  |  |  |
| 16mm×500mm Thread Rods s.s |  |  |  |  |  |  |  |  | Nos | 76 |  |  |  |
| 16mm Nuts s.s |  |  |  |  |  |  |  |  | Nos | 152 |  |  |  |
| 16mm Washers s.s |  |  |  |  |  |  |  |  | Nos | 152 |  |  |  |
| Exterior Wall Sealer |  |  |  |  |  |  |  |  | Liters | 150 |  |  |  |
| Exterior Emulsion Paint, Weatherbond, Grey Knight (NPN2001T) |  |  |  |  |  |  |  |  | Liters | 270 |  |  |  |
|  |  |  | މުއްދަތު: |  |  |  |  |  |  |  |  |  |  |
|  |  |  | - ބީލަން ހުށަހަޅާ ފަރާތުގެ އިގްރާރު |  |  |  |  |  |  |  |  |  |  |
| 3.1 |  |  |  |  | މަތީގައި ބަޔާންކޮށްފައިވާ މަސައްކަތް/ ޚިދުމަތް ފޯރުކޮށްދިނުމަށް ދީފައިވާ މަޢުލޫމާތާއި، އެގްރީމަންޓްގެ މާއްދާތައް ރަނގަޅަށް ބެލުމަށް ފަހު، މަތީގައި ދެންނެވިފައިވާ އަގަށް މި މަސައްކަތް ނުވަތަ ޚިދުމަތް ދިނުމަށް އަޅުގަނޑު / އަޅުގަނޑުމެން ބީލަން ހުށަހަޅަމެވެ. |  |  |  |  |  |  |  |  |
| 3.2 |  |  |  |  | މިބީލަން ހުށަހަޅާތާ 90 ދުވަސް ހަމަވަންދެން މިބީލަން ޤަބޫލުކޮށް، އެއާއި އެއްގޮތަށް ޢަމަލުކުރުމަށް އަޅުގަނޑު / އަޅުގަނޑުމެން އެއްބަސްވަމެވެ. މި މުއްދަތުގެ ތެރޭގައި އެއްބަސްވުމުގައި ސޮއިކުރުމަށް ވެރިފަރާތުން އެދިވަޑައި ގެންފިނަމަ، އެއްބަސްވުމުގައި ސޮއިކޮށް އެއްބަސްވުމާއި އެއްގޮތަށް މަސައްކަތް ކުރުމަށްވެސް އެއްބަސްވަމެވެ. |  |  |  |  |  |  |  |  |
|  |  |  | - ބީލަން ހުށަހަޅާ ފަރާތުން |  |  |  |  |  |  |  |  |  |  |
| ސޮއި: |  |  |  |  |  |  |  |  |  |  |  | އޮފިޝަލް ސްޓޭމްޕް |  |
| ނަން: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| މަޤާމު: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ތާރީޙް: |  |  |  |  |  |  |  |  |  |  |  |  |  |

ޖަދުވަލު 3

# Average Annual Turnover

Each Bidder must fill in this form

| Annual Turnover Data for the Last 3 Years |  |  |  |
| --- | --- | --- | --- |
| Year | Amount Currency | MVR Equivalent |  |
| 2025 |  |  |  |
| 2024 |  |  |  |
| 2023 |  |  |  |
| Average Annual Turnover |  |  |  |

The information supplied should be the Annual Turnover of the Bidder in terms of the amounts billed to clients for each year for contracts in progress or completed at the end of the period reported.

ޖަދުވަދު 4

މާލީހާލަތު ދެނެގަންނަ ފޯރމް

ހުރިހާ ފަރާތްތަކުން މި ފޯރމް ފުރިހަމަކުރަންވާނެއެވެ.

Each Applicant must fill in this form

| Financial Data for Previous 3 Years [MVR Equivalent] |  |  |  |
| --- | --- | --- | --- |
|  | Year 2025: | Year 2024: | Year 2023: |

Information from Balance Sheet

| Total Assets |  |  |  |
| --- | --- | --- | --- |
| Total Liabilities |  |  |  |
| Net Worth |  |  |  |
| Current Assets |  |  |  |
| Current Liabilities |  |  |  |
| Working Capital |  |  |  |

Information from Income Statement

| Total Revenues |  |  |  |
| --- | --- | --- | --- |
| Profits Before Taxes |  |  |  |
| Profits After Taxes |  |  |  |
| - Attached are copies of financial statements (balance sheets including all related notes, and income statements) for the last three years, as indicated above, complying with the following conditions. - All such documents reflect the financial situation of the Bidder. - Historic financial statements must be complete, including all notes to the financial statements. |  |  |  |

ޖަދުވަލު 5

ފާއިތުވި 3 (ތިނެއް) އަހަރުގެ ތެރޭގައި ކޮށްފައިވާ ގުޅުންހުރި މަސައްކަތްތައް

ބީލަން ހުށަހަޅާ ފަރާތުގެ ކޮށްފައިވާ ގުޅުންހުރި މަސައްކަތްތަކުގެ ތަފްސީލް. މަސައްކަތުގެ އަގު (ދިވެހި ރުފިޔާއިން); މަސައްކަތްކުރި އަހަރު; މަސައްކަތުގެ ވެރިފަރާތް; މަސައްކަތުގެ ނަން; #. ޖުމްލަ:.