## Anex-1 Chem & Consu& SP
`
Maldives Food & Drug Authority
Ministry of Health, Family and Welfare
Tel : 3034269 /3034270
Company Name & Registered Address:
Iulaan Number: (IUL)23-PD(PMS)/23/2026/200
Anex 1
CHEMICAL/CONSUMABLE AND EQUIPMENT LIST FOR PESTICIDE RESIDUE AND HEAVY METALS ANALYSIS
S NO | Description | Unit |  | Proposed brand | Rate | GST | Total | URL
Required for next 1 year
Chemical & Consumables
1 | Borosilicate Glass, Class A Volumetric Flask with polypropylene stopper (10mL) | pack of 4 | 10 packs |  |  |  |  | https://www.hach.com/p-aluminum-reagent-set-eriochrome-cyanin+L23:L53e-r-ecr-method-20-ml/2603700?promo=promoSpectro
2 | BRAND® BLAUBRAND® volumetric flask, PP stopper, amber glass, 10ml | pack of 2 | 10 packs |  |  |  |  | https://www.hach.com/p-aluminum-standard-solution-100-mgl-as-al-nist-100-ml/1417442
3 | Borosilicate Glass, Class A Volumetric Flask with polypropylene stopper (20mL) | pack of 2 | 10 packs |  |  |  |  | https://www.hach.com/p-bromphenol-blue-indicator-solution-100-ml-mdb/1455232
4 | Eppendorf™ epT.I.P.S.™ Bulk - Pipette Tips, 2 to 200 μL, Should be transparent | 200 Tips (2 Bags x 100 Tips) | 2 bag |  |  |  |  | https://www.hach.com/p-sulfuric-acid-standard-solution/244932
5 | Eppendorf™ epT.I.P.S.™ Bulk - Pipette Tips, 05-10mL, should be transparent | 200 Tips (2 Bags x 100 Tips) | 2 bag |  |  |  |  | https://www.hach.com/p-nitrogen-ammonia-reagent-set-nessler/2458200
6 | Interlocking Four-Way Tube Racks | ea | 1 |  |  |  |  | https://www.hach.com/p-ise-standards-ammonium/189149
7 | Microcentrifuge Tubes: 1.5mL, pack of 500, Polypropylene | 500/pk | 1 |  |  |  |  | https://www.hach.com/p-nitrogen-ammonia-standard-solution-50-mgl-as-nh3-n-pk16-10-ml-voluette-ampules/1479110
8 | 50 mL centrifuge tubes, Clear polypropylene, sterile, Bottom style: conical, self-standing, cap | case of 500pcs | 2 |  |  |  |  | https://www.hach.com/p-wastewater-effluent-inorganics-quality-control-standard-500-ml/2833249
9 | Micro-90 Concentrated Alkaline Cleaning Solution, 4L | Case | 8 |  |  |  |  | https://www.hach.com/p-sodium-hydroxide-standard-solution-50-n-100-ml-mdb/245032
10 | Water, Deionized, ASTM Type I, Certified ACS Grade, LabChem™, 4L | BOTTLE | 5 |  |  |  |  | https://www.hach.com/p-stannous-chloride-solution-100-ml/1456942
11 | High purity nitric acid , Concentrated (67-70%, sp1.42) double distilled, 475ml | BOTTLE | 5 |  |  |  |  | https://www.hach.com/p-zinc-20-mesh-454-g/79501?promo=promoSpectro
12 | High purity hydrochloric acid , Concentrated (30-35% , sp.1.18) double distilled, 500ml | BOTTLE | 5 |  |  |  |  | https://uk.hach.com/p-sulfuric-acid-standard-solution-1000-n-100-ml-mdb/127032
13 | Nitric acid for cleaning , concentrated, sp gravity 1.42, 1000ml | BOTTLE | 5 |  |  |  |  | https://uk.hach.com/p-barium-reagent-powder-pillows-2-100mgl-ba/1206499
14 | Hydrogen peroxide - Concentrated (30% ) , high purity or trace metal grade, 2500ml | BOTTLE | 5 |  |  |  |  | https://uk.hach.com/p-standard-solution-barium-1000-mgl-as-ba-nist-100-ml/1461142
15 | Mercury ICP-MS Standard, Certified Reference Material, 1000 µg/mL in 10% Nitric acid, 100ml | BOTTLE | 1 |  |  |  |  | https://uk.hach.com/p-boron-reagent-powder-pillows-02-140mgl-b/1417099
16 | Lead ICP-MS Standard, Certified Reference Material, 1000 µg/mL in 2-5% Nitric Acid, 100ml | BOTTLE | 1 |  |  |  |  | https://uk.hach.com/p-boron-standard-solution-1000-mgl-as-b-nist-100-ml/191442
17 | Arsenic ICP-MS Standard, Certified Reference Material, 1000 µg/mL in 2-5% Nitric Acid, 100 mL | BOTTLE | 1 |  |  |  |  | https://uk.hach.com/p-dpd-total-chlorine-reagent-powder-pillows/2105669
18 | Cadmium ICP-MS Standard, Certified Reference Material, 1000 µg/mL in 2-5% Nitric Acid, 100ml | BOTTLE | 1 |  |  |  |  | https://www.hach.com/p-potassium-iodide-solution-30-gl-100-ml-mdb/34332
19 | Chromium ICP-MS Standard, Certified Reference Material, 1000 µg/mL in 2-5% Nitric Acid, 100ml | BOTTLE | 1 |  |  |  |  | https://www.hach.com/p-sodium-arsenite-solution-50-gl-100-ml/104732
20 | NRC-DORM-5 - Fish Protein Certified Reference Material, 18g | Can | 1 |  |  |  |  | https://www.hach.com/p-speccheck-secondary-gel-standards-set-dpd-chlorine-lr/2635300
21 | Magnesium sulfate, anhydrous, reagent grade, ≥97%, 500g | Bottle | 2 |  |  |  |  | https://www.hach.com/p-cadmium-reagent-set/2242200
22 | Sodium acetate, anhydrous, ReagentPlus®, ≥99.0%, 500g | Bottle | 1 |  |  |  |  | https://www.hach.com/p-cadmium-standard-solution-100-mgl-as-cd-nist-100-ml/1402442
23 | QuEChERS Extraction Salt Packets, AOAC 2007.01 method, no centrifuge tubes, 50/pk. Contents: 6 g MgSO4, 1.5 g NaAcetate. QuEChERS AOAC 2007.01 method, extration salts | 50/PACK | 2 |  |  |  |  | https://www.hach.com/p-ise-standards-calcium/2240349
24 | QuEChERS Dispersive SPE 2 mL, fatty samples, AOAC method, 100/pk Removes polar organic acids, some sugars, more lipids, and sterols 50 mg PSA 50 mg C18EC 50 mg MgSO4 Fruits and vegetables with fats and waxes: Removes polar organic acids, some sugars, more lipids and sterols | 100/PACK | 2 |  |  |  |  | https://www.hach.com/p-dpd-free-chlorine-reagent-powder-pillows-10-ml-pk100/2105569?promo=promoSpectro
25 | L-Gulono-1,4-lactone, CAS Number1128-23-0, 25g, >95% purity | BOTTLE | 1 |  |  |  |  | https://www.hach.com/p-primary-chlorine-standard-solution-25-30-mgl-cl-pk20-2-ml-pourrite-ampules/2630020
26 | D-Sorbitol, CAS # 50-70-4: >95% purity. 100g | BOTTLE | 1 |  |  |  |  | https://www.hach.com/p-primary-chlorine-standard-solution-50-75-mgl-cl-pk20-2-ml-pourrite-ampules/1426820
27 | Triphenyl phosphate,TPP, CAS no. 115-86-6 50g | BOTTLE | 1 |  |  |  |  | https://www.hach.com/p-hach-glass-fiber-filters-47mm-100pk/2511207?srsltid=AfmBOopstS2Vx9vbsixTn7aU55V7S0BKznaWzJcT1g18tWnu1SQObdfA
28 | High Recovery Vials & Inserts, Part Number:5183-2086, Vial insert, 400 µL, deactivated glass, flat bottom, 500/pk Insert size: 5.6 x 31 mm | 500/PACK | 1 |  |  |  |  | https://www.hach.com/p-sodium-hydroxide-standard-solution-1000-n-100-ml-mdb/104532
29 | Screw cap, bonded blue PTFE/red silicone septa, cap size:12mm, 100/pk. | 100/PACK | 10 |  |  |  |  | https://www.hach.com/p-chromaver-3-chromium-reagent-powder-pillows-5-or-10-ml-pk100/1271099?promo=promoSpectro
30 | Vial, screw top, amber, write-on spot, certified, 2 mL, 100/pk. Vial size: 12 x 32 mm.This vial requires a 12 mm cap (cap not included) | 100/pack | 5 |  |  |  |  | https://www.hach.com/p-chromium-hexavalent-standard-solution-125-mgl-as-cr6-nist-pk16-10-ml-voluette-ampules/1425610
31 | Vial, screw top, clear, write-on spot, certified, 2 mL, 100/pk. Vial size: 12 x 32 mm (12 mm cap) | 100/pack | 5 |  |  |  |  | https://uk.hach.com/p-sodium-hydroxide-standard-solution/245053
32 | Pesticide Residues in Apple Purée Blank Material, 90g | BOTTLE | 1 |  |  |  |  | https://uk.hach.com/p-cobalt-nickel-reagent-set/2651600
33 | GC Multiresidue Pesticide Standards | Kit | 1 |  |  |  |  | https://uk.hach.com/p-standard-solution-cobalt-1000-mgl-as-co-nist-100-ml/2150342
34 | LC multi residue pesticides kit – 31971 | Kit | 1 |  |  |  |  | https://www.hach.com/p-copper-reagent-set/2603300?promo=promoSpectro
35 | Formic acid, ACS reagent, ≥96%, 500ml | Each | 2 |  |  |  |  | https://www.hach.com/p-copper-standard-solution-10-mgl-as-cu-nist-100-ml-mdb/12932
36 | Ammonium formate, eluent additive for LC-MS, LiChropur™, ≥99.0%, 25g | Each | 2 |  |  |  |  | https://www.hach.com/p-buffer-powder-pillows-ph-800-pk15/1407995?promo=promoSpectro
37 | Methanol, ≥99.9%, HPLC Plus, suitable for HPLC, 2.5L | pack of 4 | 10 |  |  |  |  | https://www.hach.com/p-color-standard-solution-500-pt-co-units-1-l/141453
38 | LC Multiresidue Pesticide Standards Kit, Catalog No. 31971 | 10 ampules | 1 |  |  |  |  | https://www.hach.com/p-color-standard-solution-15-pt-co-units-1-l/2602853
39 | Shim-pack XR-ODS III (2.2 um, 2.0 mm I.D. x 150 mm) | each | 1 |  |  |  |  | https://www.hach.com/p-conductivity-standard-solution-1413-scm-kcl-500-ml/C20C270
40 | Whatman® regenerated cellulose RC58 filter discs 0.2 μm pore size | 25/ pack | 4 |  |  |  |  | https://www.hach.com/p-sension-conductivity-standard-solution/LZW9701.99
41 | 1.5ml Screw-thread Clear Vial with write on spot, Red cap with PTFE/white Silicone Septa , 100/pack | 100 pack | 5 |  |  |  |  | https://www.hach.com/p-conductivity-standard-solutions-12890-scm-7455-mgl-kcl/2974449
42 | Nylon Syringe Filter, 0.22um, 13mm, 100/pack | 100 pack | 2 |  |  |  |  | Stablcal® Turbidity Standards Calibration Kit, 0-4000 NTU, Sealed Vials ¦ Hach
43 | Syringe PP/PE without needle, luer slip tip, centered, capacity 5 mL, graduated, 0.2 mL, non-steril | 100 pack | 5 |  |  |  |  | https://www.hach.com/p-silicone-oil-15-ml-scdb/126936
44 | Ethyl acetate, ACS reagent, ≥99.5%, 2.5L | Each | 5 |  |  |  |  | https://ca.hach.com/zinc-standard-solution-100-mg-l-as-zn-nist-100-ml/product?id=14533967276&callback=qs
45 | Toluene, HPLC Plus, for HPLC, GC, and residue analysis, ≥99.9%, 1L | Each | 5 |  |  |  |  | https://ca.hach.com/zinc-standard-solution-1000-mg-l-as-zn-nist-100-ml/product?id=14533964927&callback=qs
46 | Acetone, HPLC Plus, for HPLC, GC, and residue analysis, ≥99.9%, 1L | Each | 2 |  |  |  |  | https://www.hach.com/p-zinc-reagent-set/2429300
47 | Hexane, ≥95%, HPLC Plus, for residue analysis, suitable for gas chromatography (GC) and HPLC, 1L | Each | 15 |  |  |  |  | https://www.hach.com/p-zinc-standard-solution-25-mgl-as-zn-nist-pk16-10-ml-voluette-ampules/1424610?srsltid=AfmBOoosOSVtkehKPVL-wn7AIUY4JSLNkrva35-2opit0farciG06AN5
48 | Tri-Sodium citrate dihydrate, 500g | Each | 1 |  |  |  |  | https://www.hach.com/p-tannin-lignin-reagent-set/2244600?srsltid=AfmBOorFuK1OjNbyUIDutdR6g4zIwHua8ArQmPZmuAp6nLZxHjk-O7Qo
49 | Sodium hydrogencitrate sesquihydrate, 250g | Each | 1 |  |  |  |  | https://www.hach.com/p-sodium-carbonate-solution-500-ml/67549
50 | Bulk Sorbents, SPE Bulk Sorbent, carbon, 25 g | Each | 5 |  |  |  |  | https://www.hach.com/p-sodium-pyrophosphate-50-g/1429525?srsltid=AfmBOorB7a38udtpZjRWLcQ59Tt8eh5gGY5c8loi0gxQ0GO2lD3F8Syt
51 | Ceramic Homogenizers, 15 mL tubes, 100/pk. Used to grind and homogenize samples for your QuEChERS sample preparation workflow | 100/pk | 2 |  |  |  |  | https://www.camlab.co.uk/hach-79114-tannic-acid-113g
52 | Ceramic Homogenizers, 50 mL tubes, 100/pk | 100/pk | 2 |  |  |  |  | https://www.hach.com/p-immunoassay-reagent-set-tph-in-soil-pocket-colorimeter-ii-analysis-system/2814300?srsltid=AfmBOopCorO1ntqINOI4o8UWbywekj5wRb0FOAbttI_lhg9l45d4og8e
53 | Dodecane, anhydrous, ≥99%, 100ml | Each | 1 |  |  |  |  | https://www.hach.com/p-total-trihalomethanes-thm-reagent-set/2790800
54 | Thermo Scientific™ HyperSep™ C18 Cartridges, 500 mg, 6 mL, pack of 30 | 30/pk | 2 |  |  |  |  | https://ca.hach.com/tph-immunoassay-reagent-set/product?id=14533985484&srsltid=AfmBOoorw8PuFNkeaQseKitKvccSMl3Z1rd5eLf0fuzAO3pFKU_LPorD
55 | Sodium sulfate, ACS reagent, ≥99.0%, anhydrous, powder, 500g | Each | 2 |  |  |  |  | https://www.hach.com/p-thm-standard-10-ppm-as-chloroform-2-ml-pk7/2756707
https://www.hach.com/p-sodium-thiosulfate-standard-solution-01-n-100-ml-mdb/32332?srsltid=AfmBOoodqLsx7fiq9VxME7lV2_7R6uQvXiskzJgvSwRmYkUVWRv8_eW5
Equipments and Spare | [7 empty] | https://www.hach.com/p-cyanide-reagent-set-cyaniver-10-ml/2430200?promo=promoSpectro
56 | Nitrogen Generator and Zero Air gas generator. Nitrogen gas flow rate (Max): 1000cc/min, Ma. Output Pressure: 100psi/6.9bar, Max. purity: 99.995%. Air gas flow rate (Max): 3500cc/min, Pressure (Max): 100psi/6.9bar | Each | 1 |  |  |  |  | https://www.hach.com/p-lead-acetate-solution-10-100-ml/1458042
Total (MVR)
GST (liable items)
Delivery Duration (In Days)
1. Prices Quoted must be the Final Price inclusive of GST (for liable items). 2. If the listed brand is not available, Equivalent Alternative Brand can be quoted. 3. Brand must be mentioned in this form. 4. Delivery & work completion period must be in Calendar days (this include weekends & Public Holidays). 5. All the items to be deliver to the door step of Ministry of food and drug Authority (MFDA) 3rd floor. nd 6. Be aware to seal & sign each & every page of this list.
Note on B26: food chemistry: specific gravity is very crucial