## SUMMARY
SUMMARY OF BILLS OF QUANTITIES
SAFEROOM
DESCRIPTION | AMOUNT (MVR) | %
Bill No: 01-PRELIMINARIES | 0
Bill No: 02-EXCAVATION AND FILLING | 0
Bill No: 03-INSITU CONCRETE WORKS | 0
Bill No: 04-MASONRY | 0
Bill No: 05-DOORS, SHUTTERS & HATCHES | 0
Bill No: 06-FLOOR, WALL, CEILING, AND ROOF FINISHINGS | 0
Bill No: 07-PAINTING & DECORATIONS | 0
Bill No: 08-MECHANICAL & ELECTRICAL SERVICES | 0
Bill No: 09-PLUMBING | 0
Bill No: 10-ADDITIONS AND OMISSIONS | 0.00
Sub-Total | 0
GST 8% | 0
Grand Total | 0

## BOQ
Proposed Saferoom Extension at Golden Sun Beam
BILL OF QUANTITIES
ITEM | DESCRIPTION | UNIT | QTY | MATERIAL RATE | LABOUR RATE | AMOUNT (MVR)
1.0.00 | Bill No: 01-PRELIMINARIES
1.1.00 | SITE MANAGEMENT COSTS Allow for all on and off site management cost... | item | 1 |  |  | 0
1.2.00 | SIGN BOARD Allow for sign board. | item | 1 |  |  | 0
1.3.00 | CLEAN-UP Allow for clean-up upon completion of works. | item | 1 |  |  | 0
1.4.00 | TOTAL OF BILL NO: 01 - Carried Over To Summary |  |  |  |  | 0
2.0.00 | Bill No: 02-EXCAVATION AND FILLING
2.1.00 | SITE CLEARING
2.1.01 | Clear the area of site from rubbish and vegetable matters... (Area: 10.3m x 4.9m) | m² | 65 |  |  | 0
2.1.02 | Demolition of existing wall marked for removal (Length: 5.6m) | item | 1 |  |  | 0
2.2.00 | EXCAVATION
2.2.01 | Excavation for Foundation pads (10 Nos F1) | m³ | 10 |  |  | 0
2.2.02 | Excavation for Foundation beams (Approx 45.1m length) | m³ | 4 |  |  | 0
2.3.00 | FILLING
2.3.01 | Compacted earth filling under ground slab | m³ | 20 |  |  | 0
2.4.00 | DAMP-PROOF MEMBRANE
2.4.01 | Bituminous waterproofing membrane and 2000 DPM | m² | 58.42 |  |  | 0
2.5.00 | DE-WATERING De-watering the excavation until completion... | item | 1 |  |  | 0
2.6.00 | TOTAL OF BILL NO: 02 - Carried Over To Summary |  |  |  |  | 0
3.0.00 | Bill No: 03-INSITU CONCRETE WORKS
3.1.00 | MASS CONCRETE
3.1.01 | 50 mm Lean Concrete (Foundations) | m³ | 1.5 |  |  | 0
3.2.00 | REINFORCED INSITU CONCRETE (Including Grade C25/30 Concrete, Formwork, and High Yield/Mild Steel Rebar)
3.2.01 | 900 x 900 x 300mm Foundation pads, F1 (10 Nos) | m³ | 2.43 |  |  | 0
3.2.02 | 350 x 250 mm Foundation beam, TB | m³ | 3.95 |  |  | 0
3.2.03 | 250 x 250 mm Concrete columns, C1 | m³ | 2.13 |  |  | 0
3.2.04 | 100 mm thk Concrete Slab on Ground floor | m³ | 5.84 |  |  | 0
3.2.05 | Roof Beams B1, B1A, B2 (Avg 400x200mm) | m³ | 3.61 |  |  | 0
3.2.06 | 150 mm thk Concrete Slab on Roof | m³ | 9.75 |  |  | 0
3.2.07 | Concrete Testing | item | 1 |  |  | 0
3.3.00 | TOTAL OF BILL NO: 03 - Carried Over To Summary |  |  |  |  | 0
4.0.00 | Bill No: 04-MASONRY
4.1.00 | BLOCK WORK Solid block wall for perimeter and internal extensions
4.1.01 | GROUND FLOOR | m² | 88.51 |  |  | 0
4.1.02 | ABOVE ROOF BEAM (Parapets) 200mm high | m² | 6.64 |  |  | 0
4.2.00 | TOTAL OF BILL NO: 04 - Carried Over To Summary |  |  |  |  | 0
6.0.00 | Bill No: 06-FLOOR, WALL, CEILING, AND ROOF FINISHINGS
6.1.00 | PLASTERING
6.1.01 | Internal and External Cement Plastering | m² | 190.3 |  |  | 0
6.2.00 | SCREED & TILING
6.2.01 | Floor finishing (25mm Screed and Homogeneous tiling) - Ground Floor | m² | 58.42 |  |  | 0
6.3.00 | ROOF WATERPROOFING
6.3.01 | Liquid-applied PU or Torch-on membrane, inc. screed to fall and protective screed | m² | 58.42 |  |  | 0
6.4.00 | EXPANSION JOINT
6.4.01 | Supply and install closed-cell polyethylene backer rod and apply one-part polyurethane (PU) elastomeric sealant to expansion/isolation joints between the new extension and the existing building structure (ground floor and roof slab). Rate shall include for thorough raking out, cleaning, masking, and priming of joint faces prior to application, tooling to a smooth finish, and executing all work strictly in accordance with the manufacturer's specifications. | item | 1 |  |  | 0
6.5 | TOTAL OF BILL NO: 06 - Carried Over To Summary |  |  |  |  | 0
7.0.00 | Bill No: 07-PAINTING & DECORATIONS
7.1.00 | WALL PAINTING Weatherbound/Emulsion paint finish over primer
7.1.01 | Walls (Internal and External) | m² | 190.3 |  |  | 0
7.2.00 | CEILING PAINTING
7.2.01 | Emulsion paint finish (Slab soffit) | m² | 58.42 |  |  | 0
7.3.00 | TOTAL OF BILL NO: 07 - Carried Over To Summary |  |  |  |  | 0
8.0.00 | Bill No: 08-MECHANICAL & ELECTRICAL SERVICES
8.1.00 | DISTRIBUTION BOARD
8.1.01 | DB | nr | 1 |  |  | 0
8.2.00 | SWITCHES, LIGHTING AND SOCKETS
8.2.01 | 300x300mm LED Panel 25W | nr | 8 |  |  | 0
8.2.02 | 300x300mm LED Panel 25W EMERGENCY LIGHT | nr | 1 |  |  | 0
8.2.03 | Light Switches (1 Gang / 2 Gang) | nr | 2 |  |  | 0
8.2.04 | 32A AC Isolator (weatherproof) | nr | 2 |  |  | 0
8.2.05 | Wiring points | Points | 11 |  |  | 0
8.3.00 | TOTAL OF BILL NO: 08 - Carried Over To Summary |  |  |  |  | 0
9.0.00 | Bill No: 09-PLUMBING
9.1.00 | RAIN WATER DRAINAGE
9.1.01 | PVC rainwater downpipes (110mm dia) including roof outlets | item | 2 |  |  | 0
9.2.00 | TOTAL OF BILL NO: 09 - Carried Over To Summary |  |  |  |  | 0