{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["COVER SHEET","SUMMARY","BoQ"],"not_rendered":{"external_links":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"COVER SHEET","index":0,"n_rows":5,"n_cols":11,"rows_kept":5,"merged":[[1,0,1,11],[4,0,4,10],[6,5,6,9]],"flags":["formulas_cached_only"]}
[]
[]
[{"$nulls":10}," BILL OF QUANTITIES - NUMBER 1"]
[]
["UPGRADING THE FIRE PUMP SYSTEM, FIRE ALARMS SYSTEM, AND LOUDSPEAKER SYSTEM AT ROASHANEE BUILDING"]

{"sheet":"SUMMARY","index":1,"n_rows":18,"n_cols":5,"rows_kept":18,"merged":[[1,0,1,4],[2,0,2,4]],"flags":["formulas_cached_only"]}
[]
["SUMMARY OF BILLS OF QUANTITIES - NUMBER 1"]
["UPGRADING THE FIRE PUMP SYSTEM, FIRE ALARMS SYSTEM, AND LOUDSPEAKER SYSTEM AT ROASHANEE BUILDING"]
[]
["Bill No",null,"Description",null,"Amount"]
[]
[1,null,"PRELIMINARIES","Bill no. 01",0]
[2,null,"OVERHAULING THE FIRE PUMP SYSTEM","Bill no. 02",0]
[3,null,"UPGRADING THE FIRE ALARMS SYSTEM","Bill no. 03",0]
[4,null,"UPGRADING OR REPLACING THE LOUDSPEAKER SYSTEM","Bill no. 04",0]
[5,null,"PREPARING THE FIRE SAFETY AND EVACUATION PLAN","Bill no. 05"]
[6,null,"TENDERER'S ADJUSTMENTS","Bill no. 06",0]
[]
[null,null,"Sub total",null,0]
[null,null,"GST 8%",null,0]
[]
[]
[null,null,"GRAND TOTAL carried to form of bid",null,0]

{"sheet":"BoQ","index":2,"n_rows":117,"n_cols":8,"rows_kept":117,"merged":[[4,0,5,0],[4,1,5,1],[4,2,5,2],[4,3,5,3],[4,6,5,6],[4,7,5,7]],"flags":["formulas_cached_only"]}
["BILL OF QUANTITIES - NUMBER 1"]
["UPGRADING THE FIRE PUMP SYSTEM, FIRE ALARMS SYSTEM, AND LOUDSPEAKER SYSTEM AT ROASHANEE BUILDING"]
[]
[]
["Item","Description","Unit \n(U)","Quantity \n(Q)","Rate","Rate","Total Rate per Item \n(M+L)","Total Amount per Item\nQ x (M+L)"]
[{"$nulls":4},"Material (M)","Labour (L)"]
[null,"BILL No: 01"]
[null,"PRELIMINARIES"]
[]
[1.1,"General Notes"]
["(1)","Abbreviations"," "]
[null,"m - meter"]
[null,"No - numbers"]
[null,"m³ - cubic meter"]
[null,"m² - square meter"]
[null,"Lm - Linear meter"]
[null,"KG - Kilograms"]
[null,"incl - including"]
[null,"mm - millimeter"]
[null,"dia - diameter"]
[null,"SS - Stainless Steel"]
[null,"GI - Galvanized Iron"]
[]
[1.2,"Clean-up"]
[{"v":1,"d":"(1)"},"Allow for clean-up of completed works and site upon completion.","Item",{"v":1,"d":"1.00"}]
[]
[null,"BILL No: 01 PRELIMINARIES"]
[null,"TOTAL OF BILL No: 01 - Carried over to summary"]
[null,"BILL No: 02"]
[null,"OVERHAULING THE FIRE PUMP SYSTEM"]
[]
[2.1,"General"]
[null,"(a) Rates shall include for material, labour, and other expenses involved to complete the works."]
[]
[2.2,"Overhauling the Fire Pump System"]
[null,"(a) Rates shall include for the complete overhaul of the existing fire pump system at Roashanee Building, including the system's water delivery/discharge pipes."]
[null,"(b) Rates shall include for replacing the battery, union sockets, valves, pressure gauges, control panel, pumps, joints, filters, tank, engine/motor, switches, and discharge line of the system."]
[null,"(c) Rates shall include for material, labor, and other expenses required to bring the full system to running/working condition."]
[{"v":1,"d":"(1)"},"Complete overhaul of the existing fire pump system.","System",{"v":1,"d":"1.00"}]
[]
[2.3,"Conducting the Test Run of Fire Pump System after Overhaul"]
[null,"(a) Rates shall include for material, labor, capital, and other additional works involved in conducting the test run."]
[{"v":1,"d":"(1)"},"Conducting the test run of the fire pump system (after overhauling it as per bill number 2.2 of this BoQ)","System",{"v":1,"d":"1.00"}]
[]
[null,"BILL No: 02 - OVERHAULING THE FIRE PUMP SYSTEM"]
[null,"TOTAL OF BILL No: 02 - Carried over to summary"]
[null,"BILL No: 03"]
[null,"UPGRADING THE FIRE ALARMS SYSTEM"]
[]
[3.1,"General"]
[null,"(a) Rates shall include for material, labour, and other expenses involved to complete the works."]
[]
[3.2,"Upgrading the Fire Alarms System"]
[null,"(a) Rates shall include for the upgrade of the existing fire alarms system at Roashanee Building, including system's alarms/sounders, smoke detectors, manual call points (MCP), cables, and the control panel. "]
[null,"(b) Rates shall include for material, labor, and other expenses required to bring the full system to running/working condition."]
[{"v":1,"d":"(1)"},"Complete upgrade of the existing conventional fire alarms system.","System",{"v":1,"d":"1.00"}]
[]
[3.3,"Conducting the Test Run of Fire Alarms System after Upgrading the System"]
[null,"(a) Rates shall include for material, labor, capital, and other additional works involved in conducting the test run."]
[{"v":1,"d":"(1)"},"Conducting the test run of the fire alarms system (after upgrading it as per bill number 3.2 of this BoQ)","System",{"v":1,"d":"1.00"}]
[]
[null,"BILL No: 03 - UPGRADING THE FIRE ALARMS SYSTEM"]
[null,"TOTAL OF BILL No: 03 - Carried over to summary"]
[null,"BILL No: 04"]
[null,"UPGRADING OR REPLACING THE LOUDSPEAKER SYSTEM"]
[]
[4.1,"General"]
[null,"(a) Rates shall include for material, labour, and other expenses involved to complete the works."]
[]
[4.2,"Upgrading or Replacing the Loudspeaker System"]
[null,"(a) Rates shall include for the complete upgrade or replacement of the existing loudspeaker system at Roashanee Building, including system's ceiling-mounted speakers in each floor, microphone, mixer, power amplifier, cables, and adaptor plugs."]
[null,"(b) Rates shall include for material, labor, and other expenses required to bring the full system to running/working condition."]
[{"v":1,"d":"(1)"},"Complete upgrade or replacement of the existing loudspeaker system.","System",{"v":1,"d":"1.00"}]
[]
[4.3,"Conducting the Test Run of Loudspeaker System after Upgrading/Replacing the System"]
[null,"(a) Rates shall include for material, labor, capital, and other additional works involved in conducting the test run."]
[{"v":1,"d":"(1)"},"Conducting the test run of the loudspeaker system (after upgrading or replacing it as per bill number 4.2 of this BoQ)","System",{"v":1,"d":"1.00"}]
[]
[null,"BILL No: 04 - UPGRADING OR REPLACING THE LOUDSPEAKER SYSTEM"]
[null,"TOTAL OF BILL No: 04 - Carried over to summary"]
[null,"BILL No: 05"]
[null,"PREPARING THE FIRE SAFETY AND EVACUATION PLAN"]
[]
[5.1,"General"]
[null,"(a) Rates shall include for assessing and inspecting the Roashanee Building and it's fire safety equipment before preparing the plan."]
[null,"(b) Rates shall include for analysing, drafting, formating, revising, and submitting the final version of the Fire Safety and Evacuation Plan as well as the preparation and fixing of the exit boards/signages."]
[]
[5.2,"Preparing and Submitting the Fire Safety and Evacuation Plan"]
[{"v":1,"d":"(1)"},"Preparing and submitting the Fire Safety and Evacuation Plan for the Roashanee Building in the form of a report/SOP.","Unit",{"v":1,"d":"1.00"}]
[{"v":2,"d":"(2)"},"Preparing and fixing autoglow boards to show fire evacuation route/map in each floor of the Roashanee Building.","Unit",{"v":18,"d":"18.00"}]
[{"v":3,"d":"(3)"},"Preparing and fixing autoglow boards to show fire exit sign in each floor of the Roashanee Building.","Unit",{"v":9,"d":"9.00"}]
[]
[null,"BILL No: 05 - PREPARING THE FIRE SAFETY AND EVACUATION PLAN"]
[null,"TOTAL OF BILL No: 05 - Carried over to summary"]
[null,"BILL No:6"]
[null,"TENDERER'S ADJUSTMENTS"]
[6.1,"Any adjustments that the contractor may consider necessary should be written below and on similar continuation sheets if required, and the net amount of the adjustments is to be carried to the summary."]
[null,"(a) Provide detail description of work items under each bill and insert extra pages if required."]
[]
[6.2,"Additions"]
[{"v":1,"d":"(1)"},"PRELIMINARIES, Bill no. 01"]
[{"v":2,"d":"(2)"},"OVERHAULING THE FIRE PUMP SYSTEM, Bill no. 02"]
[{"v":3,"d":"(3)"},"UPGRADING THE FIRE ALARMS SYSTEM, Bill no. 03"]
[{"v":4,"d":"(4)"},"UPGRADING OR REPLACING THE LOUDSPEAKER SYSTEM, Bill no. 04"]
[{"v":5,"d":"(5)"},"PREPARING THE FIRE SAFETY AND EVACUATION PLAN, Bill no. 05"]
[null,"ADDITIONS TOTAL"]
[]
[6.3,"Omissions"]
[{"v":1,"d":"(1)"},"PRELIMINARIES, Bill no. 01"]
[{"v":2,"d":"(2)"},"OVERHAULING THE FIRE PUMP SYSTEM, Bill no. 02"]
[{"v":3,"d":"(3)"},"UPGRADING THE FIRE ALARMS SYSTEM, Bill no. 03"]
[{"v":4,"d":"(4)"},"UPGRADING OR REPLACING THE LOUDSPEAKER SYSTEM, Bill no. 04"]
[{"v":5,"d":"(5)"},"PREPARING THE FIRE SAFETY AND EVACUATION PLAN, Bill no. 05"]
[null,"OMISSIONS TOTAL"]
[]
[null,"BILL No: 6 - TENDERER'S ADJUSTMENTS"]
[null,"TOTAL OF BILL No: 6 - Carried over to summary"]