{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["COVER SHEET","SUMMARY","BoQ"],"not_rendered":{"external_links":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"COVER SHEET","index":0,"n_rows":5,"n_cols":11,"rows_kept":5,"merged":[[1,0,1,11],[4,0,4,10],[6,5,6,9]],"flags":["formulas_cached_only"]}
[]
[]
[{"$nulls":10}," BILL OF QUANTITIES - NUMBER 3"]
[]
["ADDING FIRE SAFETY EQUIPMENT AT ROASHANEE BUILDING"]

{"sheet":"SUMMARY","index":1,"n_rows":20,"n_cols":5,"rows_kept":20,"merged":[[1,0,1,4],[2,0,3,4]],"flags":["formulas_cached_only"]}
[]
["SUMMARY OF BILLS OF QUANTITIES - NUMBER 3"]
["ADDING FIRE SAFETY EQUIPMENT AT ROASHANEE BUILDING"]
[]
[]
["Bill No",null,"Description",null,"Amount"]
[]
[1,null,"PRELIMINARIES","Bill no. 01",{"v":0,"d":"0.00"}]
[2,null,"ADDING FIRE EXTINGUISHER CYLINDERS AT ROASHANEE BUILDING","Bill no. 02"]
[3,null,"ADDING SMOKE DETECTORS AT ROASHANEE BUILDING","Bill no. 03"]
[4,null,"ADDING MANUAL CALL POINTS AT ROASHANEE BUILDING","Bill no. 04"]
[5,null,"ADDING ALARMS/SOUNDERS AT ROASHANEE BUILDING","Bill no. 05"]
[6,null,"ADDING CEILING-MOUNTED SPEAKERS AT ROASHANEE BUILDING","Bill no. 06"]
[7,null,"TENDERER'S ADJUSTMENTS","Bill no. 07"]
[]
[null,null,"Sub total"]
[null,null,"GST 8%"]
[]
[]
[null,null,"GRAND TOTAL carried to form of bid",null,0]

{"sheet":"BoQ","index":2,"n_rows":121,"n_cols":8,"rows_kept":121,"merged":[[4,0,5,0],[4,1,5,1],[4,2,5,2],[4,3,5,3],[4,6,5,6],[4,7,5,7]],"flags":["formulas_cached_only"]}
["BILL OF QUANTITIES - NUMBER 3"]
["ADDING FIRE SAFETY EQUIPMENT AT ROASHANEE BUILDING"]
[]
[]
["Item","Description","Unit \n(U)","Quantity \n(Q)","Rate","Rate","Total Rate per Item \n(M+L)","Total Amount per Item\nQ x (M+L)"]
[{"$nulls":4},"Material (M)","Labour (L)"]
[null,"BILL No: 01"]
[null,"PRELIMINARIES"]
[]
[1.1,"General Notes"]
["(1)","Abbreviations"," "]
[null,"m - meter"]
[null,"No - numbers"]
[null,"m³ - cubic meter"]
[null,"m² - square meter"]
[null,"Lm - Linear meter"]
[null,"KG - Kilograms"]
[null,"incl - including"]
[null,"mm - millimeter"]
[null,"dia - diameter"]
[null,"SS - Stainless Steel"]
[null,"GI - Galvanized Iron"]
[]
[]
[null,"BILL No: 01 PRELIMINARIES"]
[null,"TOTAL OF BILL No: 01 - Carried over to summary",0,0,0,0,0,0]
[null,"BILL No: 02"]
[null,"ADDING FIRE EXTINGUISHER CYLINDERS AT ROASHANEE BUILDING"]
[]
[2.1,"General"]
[null,"(a) Rates shall include for material, labour, and other expenses involved to complete the works."]
[]
[2.2,"Adding CO2 Fire Extinguishers"]
[null,"(a) Rates shall include for material, labour, and other costs that would incur to supply and wall-mount fire extinguisher cylinders at Roashanee Building."]
[{"v":1,"d":"(1)"},"Supply and Installation/Wall-Mounting of 2KG CO2 Fire Extinguisher.\nDuring the project period (2 years), if the Ministry needs to add a fire extinguisher, the Ministry will inform the contractor about the quantity to be supplied and the contractor shall supply at this rate. The rate shall not be changed during the project period (2 years).","Unit",{"v":1,"d":"1.00"}]
[]
[2.3,"Adding DCP Fire Extinguishers"]
[null,"(a) Rates shall include for material, labour, and other costs that would incur to supply and wall-mount fire extinguisher cylinders at Roashanee Building."]
[{"v":1,"d":"(1)"},"Supply and Installation/Wall-Mounting of 2KG DCP Fire Extinguisher.\nDuring the project period (2 years), if the Ministry needs to add a fire extinguisher, the Ministry will inform the contractor about the quantity to be supplied and the contractor shall supply at this rate. The rate shall not be changed during the project period (2 years).","Unit",{"v":1,"d":"1.00"}]
[{"v":2,"d":"(2)"},"Supply and Installation/Wall-Mounting of 6KG DCP Fire Extinguisher.\nDuring the project period (2 years), if the Ministry needs to add a fire extinguisher, the Ministry will inform the contractor about the quantity to be supplied and the contractor shall supply at this rate. The rate shall not be changed during the project period (2 years).","Unit",{"v":1,"d":"1.00"}]
[{"v":3,"d":"(3)"},"Supply and Installation/Wall-Mounting of 9KG DCP Fire Extinguisher.\nDuring the project period (2 years), if the Ministry needs to add a fire extinguisher, the Ministry will inform the contractor about the quantity to be supplied and the contractor shall supply at this rate. The rate shall not be changed during the project period (2 years).","Unit",{"v":1,"d":"1.00"}]
[]
[2.4,"Adding Water Fire Extinguishers"]
[null,"(a) Rates shall include for material, labour, and other costs that would incur to supply and wall-mount fire extinguisher cylinders at Roashanee Building."]
[{"v":1,"d":"(1)"},"Supply and Installation/Wall-Mounting of 9L Water Fire Extinguisher.\nDuring the project period (2 years), if the Ministry needs to add a fire extinguisher, the Ministry will inform the contractor about the quantity to be supplied and the contractor shall supply at this rate. The rate shall not be changed during the project period (2 years).","Unit",{"v":1,"d":"1.00"}]
[]
[null,"BILL No: 02 - ADDING FIRE EXTINGUISHER CYLINDERS AT ROASHANEE BUILDING"]
[null,"TOTAL OF BILL No: 02 - Carried over to summary"]
[null,"BILL No: 03"]
[null,"ADDING SMOKE DETECTORS AT ROASHANEE BUILDING"]
[]
[3.1,"General"]
[null,"(a) Rates shall include for material, labour, and other expenses involved to complete the works."]
[]
[3.2,"Adding Smoke Detectors at Roashanee Building"]
[null,"(a) Rates shall include for material, labour, and other costs that would incur to supply and ceiling-mount smoke detectors at Roashanee Building."]
[{"v":1,"d":"(1)"},"Supply and Installation/Ceiling-Mounting of Smoke Detector.\nDuring the project period (2 years), if the Ministry needs to add a smoke detector, the Ministry will inform the contractor about the quantity to be supplied and the contractor shall supply at this rate. The rate shall not be changed during the project period (2 years).","Unit",{"v":1,"d":"1.00"}]
[]
[null,"BILL No: 03 - ADDING SMOKE DETECTORS AT ROASHANEE BUILDING"]
[null,"TOTAL OF BILL No: 03 - Carried over to summary"]
[null,"BILL No: 04"]
[null,"ADDING MANUAL CALL POINTS AT ROASHANEE BUILDING"]
[]
[4.1,"General"]
[null,"(a) Rates shall include for material, labour, and all other expenses involved to complete the works."]
[]
[4.2,"Adding Manual Call Points at Roashanee Building"]
[null,"(a) Rates shall include for material, labour, and other costs that would incur to supply and wall-mount/fix Manual Call Points at Roashanee Building."]
[{"v":1,"d":"(1)"},"Supply and Installation/Fixing of Manual Call Point.\nDuring the project period (2 years), if the Ministry needs to add a Manual Call Point, the Ministry will inform the contractor about the quantity to be supplied and the contractor shall supply at this rate. The rate shall not be changed during the project period (2 years).","Unit",{"v":1,"d":"1.00"}]
[]
[null,"BILL No: 04 - ADDING MANUAL CALL POINTS AT ROASHANEE BUILDING"]
[null,"TOTAL OF BILL No: 04 - Carried over to summary"]
[null,"BILL No: 05"]
[null,"ADDING ALARMS/SOUNDERS AT ROASHANEE BUILDING"]
[]
[5.1,"General"]
[null,"(a) Rates shall include for material, labour, and all other expenses involved to complete the works."]
[]
[5.2,"Adding Alarms/Sounders at Roashanee Building"]
[null,"(a) Rates shall include for material, labour, and other costs that would incur to supply and wall-mount/fix Alarms or Sounders at Roashanee Building."]
[{"v":1,"d":"(1)"},"Supply and Installation/Fixing of Alarms or Sounders.\nDuring the project period (2 years), if the Ministry needs to add an alarm/sounder, the Ministry will inform the contractor about the quantity to be supplied and the contractor shall supply at this rate. The rate shall not be changed during the project period (2 years).","Unit",{"v":1,"d":"1.00"}]
[]
[null,"BILL No: 05 - ADDING ALARMS/SOUNDERS AT ROASHANEE BUILDING"]
[null,"TOTAL OF BILL No: 05 - Carried over to summary"]
[null,"BILL No: 06"]
[null,"ADDING CEILING-MOUNTED SPEAKERS AT ROASHANEE BUILDING"]
[]
[6.1,"General"]
[null,"(a) Rates shall include for material, labour, and all other expenses involved to complete the works."]
[]
[6.2,"Adding Ceiling-Mounted Speakers at Roashanee Building"]
[null,"(a) Rates shall include for material, labour, and other costs that would incur to supply and ceiling-mount speakers at Roashanee Building."]
[{"v":1,"d":"(1)"},"Supply and Installation/Fixing of Ceiling-mount Speakers\nDuring the project period (2 years), if the Ministry needs to add a speaker, the Ministry will inform the contractor about the quantity to be supplied and the contractor shall supply at this rate. The rate shall not be changed during the project period (2 years).","Unit",{"v":1,"d":"1.00"}]
[]
[null,"BILL No: 06 - ADDING CEILING-MOUNTED SPEAKERS AT ROASHANEE BUILDING"]
[null,"TOTAL OF BILL No: 06 - Carried over to summary"]
[null,"BILL No:7"]
[null,"TENDERER'S ADJUSTMENTS"]
[7.1,"Any adjustments that the contractor may consider necessary should be written below and on similar continuation sheets if required, and the net amount of the adjustments is to be carried to the summary."]
[null,"(a) Provide detail description of work items under each bill and insert extra pages if required."]
[]
[7.2,"Additions"]
[{"v":1,"d":"(1)"},"PRELIMINARIES, Bill no. 01"]
[{"v":2,"d":"(2)"},"ADDING FIRE EXTINGUISHER CYLINDERS AT ROASHANEE BUILDING, Bill no. 02"]
[{"v":3,"d":"(3)"},"ADDING SMOKE DETECTORS AT ROASHANEE BUILDING, Bill no. 03"]
[{"v":4,"d":"(4)"},"ADDING MANUAL CALL POINTS AT ROASHANEE BUILDING, Bill no. 04"]
[{"v":5,"d":"(5)"},"ADDING ALARMS/SOUNDERS AT ROASHANEE BUILDING, Bill no. 05"]
[{"v":6,"d":"(6)"},"ADDING CEILING-MOUNTED SPEAKERS AT ROASHANEE BUILDING, Bill no. 06"]
[null,"ADDITIONS TOTAL"]
[]
[7.3,"Omissions"]
[{"v":1,"d":"(1)"},"PRELIMINARIES, Bill no. 01"]
[{"v":2,"d":"(2)"},"ADDING FIRE EXTINGUISHER CYLINDERS AT ROASHANEE BUILDING, Bill no. 02"]
[{"v":3,"d":"(3)"},"ADDING SMOKE DETECTORS AT ROASHANEE BUILDING, Bill no. 03"]
[{"v":4,"d":"(4)"},"ADDING MANUAL CALL POINTS AT ROASHANEE BUILDING, Bill no. 04"]
[{"v":5,"d":"(5)"},"ADDING ALARMS/SOUNDERS AT ROASHANEE BUILDING, Bill no. 05"]
[{"v":6,"d":"(6)"},"ADDING CEILING-MOUNTED SPEAKERS AT ROASHANEE BUILDING, Bill no. 06"]
[null,"OMISSIONS TOTAL"]
[]
[null,"BILL No: 7 - TENDERER'S ADJUSTMENTS"]
[null,"TOTAL OF BILL No: 7 - Carried over to summary"]