## COV
BILL OF QUANTITIES
THINADHOO CITY COUNCIL
THINADHOO CITY COUNCIL OFFICE BUILDING FOUNDATION WORKS
AT THINADHOO CITY
REPUBLIC OF MALDIVES
26 October 2026

## GRAND SUM
THINADHOO CITY COUNCIL OFFICE BUILDING FOUNDATION WORKS
AT THINADHOO CITY
COUNCIL BOQ
NO | DESCRIPTION | AMOUNT | CURRENCY
1 | PRELIMINARIES | 0 | MVR
2 | MAIN HALL | 0 | MVR
SUB TOTAL = |  | 0 | MVR
GST 8% = |  | 0 | MVR
GRAND TOTAL = |  | 0 | MVR
PROJECT DURATION = |  | 0 | DAYS

## GRAND SUM_MH (hidden)
CITY COUNCIL BUILDING-MAIN HALL
AL THINADHOO
SUMMARY - PHASE I
NO | DESCRIPTION | AMOUNT | CURRENCY
1 | PRELIMINARIES | #REF! | MVR
2 | GROUND FLOOR | 0 | MVR
3 | 1ST FLOOR | 0 | MVR
4 | ROOF | 0 | MVR

## SUM_PRE
CITY COUNCIL BUILDING
PRELIMINARIES
BILL NO | DESCRIPTION | AMOUNT
1 | PRELIMINARIES | 0
| TOTAL COST IN MVR | 0

## PREL.
SL.NO | DESCRIPTION | UNIT | QTY | RATE | TOTAL AMOUNT
BILL NO: 01
PRELIMINARIES
1.1 | GENERAL
Abbreviations
m - meter
nos - numbers
Cu.m - cubic meter
Sq.m - square meter
Rm - Running meter
Kg - Kilograms
incl - including
mm - millimeter
dia - diameter
SS - Stainless Steel
GI - Galvanized Iron
1.2 | MOBILIZATION
1.2.1 | Allow for Mobilization & Demobilization to/from the site. | LS | 1
1.3 | SITE MANAGEMENT COSTS
1.3.1 | Allow for all on and off site management cost including costs setting up of temporary services for contractor's services as maybe ncessary and other management costs required. | LS | 1 |  | 0
1.4 | SERVICES AND FACILITIES
1.4.1 | Provision and maintenance of services and facilities & obtaining the approvals from respective authorities such as Water, power supply, lighting and fuel required for the project. | LS | 1 |  | 0
1.5 | TEMPORARY FENCING AND HOARDING
1.5.1 | Supply, erect and maintenance of a fence through out the construction period and hoarding all along the perimeter of the site. | LS | 1 |  | 0
1.6 | SIGN BOARD
1.6.1 | Allow for project sign board & safety sign boards. | LS | 1 |  | 0
1.7 | SAFETY ON SITE
1.7.1 | Providing and maintaining adequate safety measures on site for all workers and all authorized visitors on site and protecting adjoining properties and people against falling objects or other with regard to the construction works. | LS | 1 |  | 0
1.8 | TRANSPORTATION CHARGES
1.8.1 | Rate shall include transport the Construction and finishing materilas to the Island and transport to the Site. | LS | 1 |  | 0
1.9 | CLEANING UPON COMPLETION
1.9.1 | Cleaning the site upon completion of all works. | LS | 1 |  | 0
TOTAL OF BILL NO. 01 - PRELIMINARIES |  |  |  |  | 0
(CARRIED OVER TO THE GENERAL SUMMARY)

## SUM_MH
CITY COUNCIL BUILDING
MAIN HALL
BILL NO | DESCRIPTION |  | AMOUNT
1 | GROUND WORKS | 0 | 0
2 | CONCRETE WORKS | 0 | 0
13 | ADDITIONS |  | 0
14 | OMISSIONS |  | 0
| TOTAL COST IN MVR |  | 0

## Main HALL.
SL.NO | DESCRIPTION | UNIT | QTY | RATE | TOTAL AMOUNT
BILL NO: 01
GROUND WORKS
1.1 | GENERAL
Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating and disposing surplus soil.
1.2 | SITE CLEARING
1.2.1 | Cleaning & shifting of the area of site from rubbish and vegetable matters, stumps, roots. Demolition shall be included (if any). | LS | 1 |  | 0
1.3 | EXCAVATION
Note:Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork, back fill, dewatering and others Shoring works.
1.3.1 | Excavation for footings and tie beams from ground level to lean concrete bottom. | Cu.m | 218.956 |  | 0
1.4 | BACK FILLING
(a) Rates shall include for: levelling, grading, trimming, compacting and similar.
(b) Ground need to be compacted to the required density by the consultant.
1.4.1 | Earth Filling as shown in the drawings | Cu.m | 147.6645 |  | 0
TOTAL OF BILL NO. 01 - GROUND WORKS |  |  |  |  | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
BILL NO: 02
CONCRETE WORKS
2.1 | GENERAL
| a) Mix ratio for reinforced concrete & lean concrete shall be as specified by the structural engineer/as per drawing. | note
| b) Rates for reinforcement shall include for: cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wire and chair supports, laps and wastage. | note
| c) Rates for reinforcement shall be given in compliance to all structural drawings and technical specifications. | note
| d) Rates includes all necessary curing as per standard and third party testing over the cement, concrete cube and on steel and cube has to be cast for testing as per standard. | note
2.2 | CONCRETE WORKS
LEAN CONCRETE
Note: Quantity is measured to the edges of concrete members. Rates shall be inclusive of any additional concrete required to place the formwork.
2.2.1 | 50mm thick lean concrete under the footing & tie beam with a mix of 1:2:4 | Cu.m | 7.6345 |  | 0
REINFORCED CONCRETE (1:2:3)
2.2.2 | Isolated footing | Cu.m | 36.587 |  | 0
2.2.3 | Tie beams | Cu.m | 21.47 |  | 0
2.2.4 | Columns | Cu.m | 4.9175 |  | 0
2.2.5 | Stair starter | Cu.m | 0.6825 |  | 0
2.2.6 | Grade slab - 100mm tk | Cu.m | 55.69 |  | 0
2.2.7 | Grade beam | Cu.m | 13.42 |  | 0
FORMWORK
2.2.8 | Isolated footing | item | 24 |  | 0
2.2.9 | Tie beams | Sq.m | 171.76 |  | 0
2.2.10 | Columns | Sq.m | 57.4 |  | 0
2.2.11 | Stair starter | Sq.m | 5.6 |  | 0
2.2.12 | Grade beam | Sq.m | 161.025 |  | 0
REINFORCEMENT
2.2.13 | Isolated footing
a) | T12 | Kg | 1861.06 |  | 0
2.2.14 | Tie beams
a) | T16 | Kg | 2.6707 |  | 0
b) | R6 | Kg | 0.5556 |  | 0
2.2.15 | Grade beam
a) | T12 | Kg | 0.90261 |  | 0
b) | R6 | Kg | 0.26751 |  | 0
2.2.16 | Columns
a) | T16 | Kg | 481.4064 |  | 0
b) | T12 | Kg | 93.0133 |  | 0
c) | R6 | Kg | 133.76 |  | 0
2.2.17 | Stair starter
a) | T10 | Kg | 85 |  | 0
2.2.18 | Grade slab - 100mm tk
a) | R6 | Kg | 2056.89 |  | 0
2.3 | GROUND FLOOR
RCC (1:2:3)
2.3.1 | Columns | Cu.m | 11.6615 |  | 0
2.3.2 | Attached beams | Cu.m | 17.42 |  | 0
2.3.3 | Slab | Cu.m | 96.34 |  | 0
2.3.4 | Staircase | Cu.m | 8.25 |  | 0
FORMWORK
2.3.5 | Columns | Sq.m | 136.12 |  | 0
2.3.6 | Attached beams | Sq.m | 206.38 |  | 0
2.3.7 | Slab | Sq.m | 593.09 |  | 0
2.3.8 | Staircase | Sq.m | 24.5 |  | 0
REINFORCEMENT
2.3.9 | Columns
a) | T16 | Kg | 998.9183 |  | 0
b) | T12 | Kg | 193.0027 |  | 0
c) | R6 | Kg | 323.2533 |  | 0
2.3.10 | Attached beams
a) | T20 | Kg | 50.86 |  | 0
b) | T16 | Kg | 2614.63 |  | 0
c) | R6 | Kg | 647.71 |  | 0
2.3.11 | Slab
a) | T10 | Kg | 11929 |  | 0
2.6 | DAMP PROOF MEMBRANE/WATER PROOFING
Rates shall include for: dressing around and sealing to all penetrations, laps and turnups
2.6.1 | Heavy duty Polythene sheet damp proof membrane (500 gauge) laid on blinding layer under footing and bottom of the tie beams. | LS | 1 |  | 0
2.6.2 | Apply bituminous type waterproofing in 2 coats to all surfaces of concrete below ground level in accordance with the specifications and manufacturer's instructions. | LS | 1 |  | 0
TOTAL OF BILL NO. 02 - CONCRETE WORKS |  |  |  |  | 0
Preliminary BOQ for the Office buildin project (Ground floor & First Floor)

## GRAND SUM_MPH (hidden)
CITY COUNCIL BUILDING-MULTIPURPOSE HALL
AL THINADHOO
SUMMARY - PHASE I
NO | DESCRIPTION | AMOUNT | CURRENCY
1 | PRELIMINARIES | #REF! | MVR
2 | GROUND FLOOR | 0 | MVR
3 | ROOF | 0 | MVR

## GRAND SUM_RH (hidden)
CITY COUNCIL BUILDING-RECREATION HALL
AL THINADHOO
SUMMARY - PHASE I
NO | DESCRIPTION | AMOUNT | CURRENCY
1 | PRELIMINARIES | 0 | MVR
2 | GROUND FLOOR | 0 | MVR
3 | ROOF | 0 | MVR

## GRAND SUM_PAR (hidden)
CITY COUNCIL BUILDING-PARKING AND UTILITIES
AL THINADHOO
SUMMARY - PHASE I
NO | DESCRIPTION | AMOUNT | CURRENCY
1 | PRELIMINARIES | 0 | MVR
2 | GROUND FLOOR | 0 | MVR
3 | ROOF | 0 | MVR