## Cover
Bill of Quantities
MALDIVIAN IOCC, CREW REST AND CLC OFFICE AT VIA T2
#VALUE!

## BOQ
BILL OF QUANTITIES
|  | MALDIVIAN IOCC, CREW REST AND CLC OFFICE AT VIA T2 |  |  | Date: |  | 2026-10-05
Bill No. |  | SUMMARY |  |  |  |  | Amount
1 |  | Preliminaries |  |  |  |  | 0
2 |  | IOCC |  |  |  |  | 0
3 |  | Crew Rest |  |  |  |  | 0
4 |  | CLC Office |  |  |  |  | 0
5 |  | Additions |  |  |  |  | 0
6 |  | Omissions |  |  |  |  | 0
|  | Subtotal |  |  |  |  | 0
|  | GST (8%) |  |  |  |  | 0
|  | Grand Total |  |  |  |  | 0
Item | Description |  | Unit | Qty | Material Rate (MVR) | Labour Rate (MVR) | Amount (MVR)
Bill No. 01
Preliminaries
1 |  | General Notes
m - metre
nr - numbers
m3 - cubic metres
m2 - square metres
lm - linear metre
t - tons
inc. - including
mm - millimetre
SS - stainless steel
GI - galvanized iron
pt - points
(a) Allow for all costs and expenses for complying with the General Conditions of Contract and General Requirements in Specifications.
(b) Any services not specifically provided for herein will be deemed to be included in the rates of other items in the BOQ or under additional works.
1.1 |  | Site Management, Staff & Office Maintain Cost
1.1.1 |  | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone, fax, hoardings & similar. | item | 1 |  |  | 0
1.2 |  | Temporary Fencing and Hoarding
1.2.1 |  | Supply, erect & maintain of a fence through out the construction period and hoarding all along the perimeter of the site until completion. | item | 1 |  |  | 0
1.3 |  | Clean-up
1.3.1 |  | Allow for keeping all the site tidy and clean, and for clearance of the site to the satisfaction of the Engineer/the Employer on completion of the contract. | item | 1 |  |  | 0
1.4 |  | Contractual Requirement
1.4.1 |  | Provide all insurances under the contract as in Conditions of Contract | item | 1 |  |  | 0
1.4.2 |  | Provide performance bond as per the conditions of contract. | item | 1 |  |  | 0
|  | Total of Bill No:01 - Carried to Bill Summary |  |  |  |  | 0
Bill No. 02
IOCC
2 |  | General Notes
(a) Rates shall include for fixing, paving, grouting, pointing, finishing and any other similar works to ensure the required finish.
(b) Rates shall include for fabrication and erection and temporary supports and fixing into position.
(c) All materials shall be approved by client prior to installation and must be a quality/brand or similar as given in the technical specifications and finishing schedule.
(d) The contractor shall submit samples of all finishing materials for approval of the Engineer.
(e) Where there may be any discrepancies between the drawings and BOQ , details given in the drawings shall prevail for completion.
2.1 |  | Demolition
2.1.1 |  | Demolition and disposal of existing cement board wall, 3 m height | m2 | 55.2 |  |  | 0
2.1.2 |  | Demolition and disposal of existing cement board wall for additional door | nr | 1 |  |  | 0
2.1.3 |  | Removal and disposal of existing fixed glass window | nr | 2 |  |  | 0
2.1.4 |  | Removal and disposal of cement board from LED screen wall | m2 | 27.6 |  |  | 0
2.1.5 |  | Demolition of existing floor finish for SS floor trunking | item | 1 |  |  | 0
2.2 |  | Cement Board Partition
2.2.1 |  | Supply and installation of cement board partition with galvanized framing for the demolished fixed glass area | m2 | 0.52 |  |  | 0
2.2.2 |  | Supply and installation of cement board partition - P1 | m2 | 62.1 |  |  | 0
2.2.3 |  | Supply and installation of cement board partition - P2 | m2 | 24.6 |  |  | 0
2.2.4 |  | Supply and installation of cement board partition with galvanized framing around the columns | m2 | 35.1 |  |  | 0
2.2.5 |  | Supply and installation of WPC wall panels | m2 | 255 |  |  | 0
2.3 |  | Glass Partition
Supply and installation of frameless glass partition
2.3.1 |  | 3m height 4+4 laminated glass with hidden framing | m | 17 |  |  | 0
2.3.2 |  | Glass frosting | m2 | 25.5 |  |  | 0
2.4 |  | Electrical, Power, and Network
Electrical wiring with copper conductor cable in conduits in walls and in casing on soffits of slab as specified to:
2.4.1 |  | Wiring to lights, fittings, and sockets | pt | 110 |  |  | 0
2.4.2 |  | Recessed distribution board | nr | 1 |  |  | 0
2.4.3 |  | Stainless Steel Floor Trunking to all floor mounted fixtures | item | 1 |  |  | 0
Sockets
2.4.2 |  | 1 gang 13A socket at ceiling level | nr | 2 |  |  | 0
2.4.3 |  | 1 gang 13A socket at 400 mm above floor finish level | nr | 7 |  |  | 0
2.4.4 |  | 1 gang 13A socket at 2000 mm above floor finish level | nr | 8 |  |  | 0
2.4.5 |  | 2 gang 13A socket at 400 mm above floor finish level | nr | 3 |  |  | 0
2.4.6 |  | 2 gang 13A socket at 2000 mm above floor finish level | nr | 3 |  |  | 0
2.4.7 |  | 2 gang 13A socket at floor finish level | nr | 5 |  |  | 0
2.4.8 |  | 3 gang 13A, at table top | nr | 1 |  |  | 0
2.4.9 |  | 3 gang 13A socket at floor finish level | nr | 28 |  |  | 0
2.4.10 |  | 3 gang 13A socket at 400 mm above floor finish level | nr | 2 |  |  | 0
Switches
2.4.11 |  | 1 gang switch | nr | 3 |  |  | 0
2.4.12 |  | 2 gang switch | nr | 7 |  |  | 0
Lights
2.4.13 |  | Supply and installation of additional ceiling led panel lights | nr | 18 |  |  | 0
2.4.14 |  | Relocating the existing lights as per the drawing | nr | 16 |  |  | 0
2.4.15 |  | Testing and commissioning | item | 1 |  |  | 0
Network
All network cables should be installed as per the cabling required provided by IASL.
2.4.16 |  | Ethernet Point - Recessed Floor Mount | pt | 31 |  |  | 0
2.4.17 |  | Ethernet Point | pt | 9 |  |  | 0
2.4.18 |  | HDMI cable wired as per drawing | pt | 15 |  |  | 0
2.4.19 |  | CCTV points - cabling provision | pt | 5 |  |  | 0
2.4.20 |  | Provision for door access control panels | pt | 3 |  |  | 0
2.4.21 |  | Testing, commissioning and certification | item | 1 |  |  | 0
2.6 |  | Ceiling Works
2.6.1 |  | Supply and installation of suspended ceiling system with supporting framework, hangers, accessories and finishing works | m2 | 15.06 |  |  | 0
2.7 |  | Flooring Works
2.7.1 |  | Installation of tile carpet flooring, including surface preparation, adhesives, trims, edge details, and all accessories required for a complete installation. Material to be provided by client. | m2 | 174 |  |  | 0
2.8 |  | Doors
Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
2.8.1 |  | D1 | nr | 4 |  |  | 0
2.8.2 |  | D2 | nr | 5 |  |  | 0
2.9 |  | AirConditioning Works
All the ACV equipment should be Anti corrosive
Rates should include refrigerant piping, insulation, condensate drain piping, control wiring, power cabling, supports, and all associated accessories required for a complete system
2.9.1 |  | 9,000 BTU with outdoor units | nr | 10 |  |  | 0
2.9.2 |  | 12,000 BTU with outdoor units | nr | 1 |  |  | 0
2.9.4 |  | Testing and commissioning | item | 1 |  |  | 0
|  | Total of Bill No:02 - Carried to Bill Summary |  |  |  |  | 0
Bill No. 03
Crew Rest
3 |  | General Notes
(a) Rates shall include for fixing, paving, grouting, pointing, finishing and any other similar works to ensure the required finish.
(b) Rates shall include for fabrication and erection and temporary supports and fixing into position.
(c) All materials shall be approved quality/brand or similar as given in the technical specifications and finishing schedule.
(d) The contractor shall submit samples of all finishing materials for approval of the Engineer.
(e) Where there may be any discrepancies between the drawings and BOQ , details given in the drawings shall prevail for completion.
3.1 |  | Demolition
3.1.1 |  | Demolition of existing aluminium partition | m2 | 15.957 |  |  | 0
3.2 |  | Wall Finish
3.2.1 |  | Supply and installation PVC wall panels | m2 | 93 |  |  | 0
3.3 |  | Partitions
3.2.3 |  | Supply and installation of cement board partition - P2 | m2 | 20 |  |  | 0
3.4 |  | Electrical and Power
Electrical wiring with copper conductor cable in conduits in walls and in casing on soffits of slab as specified to:
3.4.1 |  | Wiring to lights, fittings sockets | pt | 12 |  |  | 0
3.4.2 |  | Recessed distribution board | nr | 1 |  |  | 0
Sockets
3.4.2 |  | 1 gang 13A, at table top | nr | 3 |  |  | 0
3.4.3 |  | 1 gang 13A socket at 2000 mm above floor finish level | nr | 1 |  |  | 0
3.4.3 |  | 3 gang 13A socket at 1500 mm above floor finish level | nr | 1 |  |  | 0
3.4.5 |  | 3 gang 13A, at table top | nr | 1 |  |  | 0
3.4.6 |  | 3 gang 13A socket at 400 mm above floor finish level | nr | 1 |  |  | 0
Switches
3.4.7 |  | 2 gang switch | nr | 1 |  |  | 0
Lights
3.4.8 |  | Relocating the existing lights as per the drawing | nr | 4 |  |  | 0
3.4.9 |  | Testing and commissioning | item | 1 |  |  | 0
3.5 |  | Ceiling Works
3.5.1 |  | Supply and installation of suspended ceiling system with supporting framework, hangers, accessories and finishing works | m2 | 30 |  |  | 0
3.6 |  | Doors
Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
3.6.1 |  | D3 | nr | 1 |  |  | 0
3.7 |  | AirConditioning Works
All the ACV equipment should be Anti corrosive
Rates should include refrigerant piping, insulation, condensate drain piping, control wiring, power cabling, supports, and all associated accessories required for a complete system
3.7.1 |  | 9,000 BTU with outdoor units | nr | 1 |  |  | 0
3.7.2 |  | Relocation of existing AC unit | nr | 1 |  |  | 0
|  | Total of Bill No:03 - Carried to Bill Summary |  |  |  |  | 0
Bill No. 04
CLC Office
4 |  | General Notes
(a) Rates shall include for fixing , paving , grouting , pointing , finishing and any other similar works to ensure the required finish.
(b) Rates shall include for fabrication and erection and temporary supports and fixing into position.
(c) All materials shall be approved quality/brand or similar as given in the technical specifications and finishing schedule.
(d) The contractor shall submit samples of all finishing materials for approval of the Engineer.
(e) Where there may be any discrepancies between the drawings and BOQ , details given in the drawings shall prevail for completion.
4.1 |  | Demolition
4.1.1 |  | Demolition and removal cupboard | m2 | 14.34 |  |  | 0
4.2 |  | Wall finish
4.2.1 |  | Supply and installation of cement board | m2 | 14.34 |  |  | 0
4.2.2 |  | Application of 2 coats of white paint | m2 | 28.68 |  |  | 0
4.3 |  | Aluminium Glass Partition
4.3.1 |  | Supply and installation of glass partition at 3m height | m | 4.78 |  |  | 0
4.3.2 |  | Installation of frosting at 1.5m | m2 | 14.34 |  |  | 0
4.3.3 |  | Supply and installation of aluminium swing door, 850mm | nr | 1 |  |  | 0
|  | Total of Bill No:04 - Carried to Bill Summary |  |  |  |  | 0
Bill No. 05
Additions
5 |  | General Notes
The Contractor shall describe and price hereunder any items/quantities shown on the drawings, mentioned in the Specifications, or required for the satisfactory completion of the project, not mentioned in the BOQ.
|  | Total of Bill No:05 - Carried to Bill Summary |  |  |  |  | 0
Bill No. 06
Omissions
6 |  | General Notes
The Contractor shall identify and price all omitted work shown in the BOQ but excluded from the final scope. Omission values shall be entered as positive amounts and deducted from the Bill Summary.
|  | Total of Bill No:06 - Carried to Bill Summary |  |  |  |  | 0