**6 POLE WITH 24 LED FLOODLIGHT AND MAIN POWER DISTRIBUTION**

**Light pole**

6 poles 1000W per pole

13 meter, 4 head pole lamp

Flange 300x400x200mm

**LED Light**

24 LED floodlight

1000W, 5000K

Driver, AC100-240V

Bean Angle 30 Deg

**Main Power**

1 Main Power Distribution Vabinet for 40KW

200A circuit breaker x 1

32A leakage protection switch

**Single power**

6 Single power distribution cabinet for 6KW of each pole

32 leakage protection switch x 1

Cable 3x6 mm