## COVER
BILL OF QUANTITIES
Football Stadium Seating

## Summary
Client: Ministry of Youth, Sports & Community Empowerment
Project: Football Stadium Seating, Republic of Maldives.
SUMMARY
# | DESCRIPTION | AMOUNT
1 | PRELIMINARIES AND GENERAL ITEMS
2 | DEMOLITION AND SITE CLEARANCE
3 | GROUND WORKS
4 | CONCRETE WORKS
5 | MASONRY WALLS
6 | SUPER STRUCTURE STEEL WORK.
7 | WATERPROOFING
8 | WALL FINISHES
9 | DOOR AND WINDOW
10 | FLOOR FINISHES
11 | ELECTRICAL INSTALLTION
12 | HYDRAULICS & DRAINAGE
TOTAL (MVR)
| GST 6.0% | 0
| GRAND TOTAL with GST (MVR) | 0

## BOQ
Item |  | Description |  | Unit | Qty | Rate | Total (MVR)
01 |  | PRELIMINARIES AND GENERAL ITEMS
General Notes
(a) The contractor is advised to visit the site of the proposed work to ascertain the conditions governing access to the site, external working space, storage area, etc.
(b) A list of typical general items are given below. However, the contractor is requested to price only those items that may affect this contract.
(c) Any other item (s) not listed or measured on the bills but shown in drawings which are necessary for the successful completion of the project shall be included in the price, and no claims for extra payments for such, would be entertained.
(d) The contractor shall be responsible for any damage to completed sections of works, adjoining or adjacent structures during the contract period.
(e) No work in any trade shall be carried out in such a manner as to cause any damage and nuisance to adjacent owners or the public.
Site Management Costs
A |  | Allow for the provision of construction management services on site and also in the office. (One qualified Engineer at Office, One experienced Site Manager or Site Engineer as a minimum requirement). |  | item | 1
Setting out
B |  | Allow for setting out the building and other necessary works as required. |  | item | 1
Testing
C |  | Allow for arranging and carrying out all specific tests and trials to completed sections of works and materials if required, including all necessary preparation and provision of trial panels and samples. |  | item | 1
Sample Approval
D |  | Allow for approval of samples of all types products, materials, plants etc., used for the Project. (If the Employer wishes to inspect prior to shipment of any product, the costs associated with this shall be borne by the Employer). |  | item | 1
Temporary Works
Temporary Fencing and Gates
E |  | Allow for establishment, maintenance and removal of temporary fencing and gates as required by the works. |  | item | 1
Scaffoldings
F |  | Allow for establishment, maintenance and removal of necessary scaffoldings as required by the works. |  | item | 1
Site Facilities
G |  | Allow for establishment and removal of temporary areas for protection and storage of materials and maintain same for the duration of the contract. |  | item | 1
Sign board
H |  | Allow for installation and maintenance of sign board as per the approval of the Consultant. |  | item | 1
Statuary Requirements
I |  | Allow for obtaining all permits required for temporary works, demolition, construction, etc. for the duration of the contract. |  | item | 1
J |  | Ascertain and comply with the requirements of the relevant statutory bodies during construction. |  | item | 1
Record Drawings
K |  | Allow for preparation and submission of 2 (two) sets of “as constructed” record drawings and maintenance manuals at completion of the works. |  | item | 1
Electricity and Water supply
L |  | Allow for establishment, maintenance and removal of electricity required for the works. |  | item | 1
M |  | Allow for establishment, maintenance and removal of water supply as required for the works. |  | item | 1
Remove and Dispose of Debris
N |  | Remove and dispose any debris to designated dumps, for the duration of the contract. |  | item | 1
Clean-up
O |  | Allow for proper clean-up of floors, walls, glass, etc. upon completion of the works. |  | item | 1
Total of : '01' - Carried over to grand summary
02 |  | DEMOLITION AND SITE CLEARANCE
General Notes
(a) The contractor is requested to visit the site and to acquaint himself possible method of demolition, existing services, method of transportation of material, equipment to be used etc.
(b) The contractor's rates shall include for all precautions to minimize the noise, dust and vibrations etc. subject to the approval of the consultant.
(c) All precautionary measures to be carried out prior to commencement of any demolishing work to avoid damages to workers, outsiders, existing services, existing structure, adjoining properties, public services, etc.
|  | (d) Any re-usable material shall be disposed with consultation of the Consultant. |  |  |  |  | 0
Demolition
A |  | Demolition of the existing structures on the site including demolishing, dismantling the complete building up to bottom of foundation level and removing of all debris, useable and unusable materials away from the site. |  | item | 1
Site Clearing
B |  | Clear site generally from rubbish, vegetable matters, stump roots, etc. |  | m² | 360
Total of : '02' - Carried over to grand summary
03 |  | GROUND WORKS
General Notes
(a) Rates shall include for: leveling, grading, trimming, keep sides plumb, compacting to faces of excavation, consolidating, etc.
Excavation
(a) Excavation quantities are measured to the faces of concrete members.
(b) Rates shall include for all additional excavation required to place the formwork, working space, dewatering the trenches, etc.
Excavation, commencing from natural ground level in any material, maximum depth not exceeding 2.00m.
A |  | For column foundation basses and foundation beams. |  | m³ | 155.1395
Total of : '03' - Carried over to grand summary
04 |  | CONCRETE WORKS
General Notes
(a) Rates shall include for:
i) Mixing, handling, placing in position, compacting, vibrating, curing; making good after removal of formwork, necessary mortar touch up to all concrete and casting in all required items, etc.
ii) Waterproofing and plasticizing admixture to be used in all concrete if given in the drawings.
iii) Forming grooves and the like including necessary sealant and other accessories, unless otherwise separately measured.
iii) Provision for all listed in the structural notes.
(b) All concrete shall be so cast as to receive only that finish on its exposed face as shown in the drawings.
(c) Mix ratio for reinforced concrete shall be 1:2:3 and blinding concrete shall be 1:3:6 by volume, unless otherwise specified.
(d) All reinforcement and formwork have been measured separately (except the items in the Miscellaneous section).
(e) Slab M&E reservation drawing should be referred before casting the slabs.
Cast In-Situ Concrete
(a) Quantity is measured to the edges of concrete foundation members.
(b) Rates shall be inclusive for any additional concrete required to place the formwork.
Cast in-situ blinding Concrete as specified to:
Cast In-Situ Concrete (Cont'd)
Below Ground Floor level
A |  | 50mm thick screed below foundation col. Footings and beem bottoms |  | m³ | 3.2714
Cast in-situ reinforced Concrete as specified to:
Below Ground Floor level
B |  | 350mm thick foundation bass footing. |  | m³ | 20.2048
C |  | 0.25 x 0.3 Tie Beam |  | m³ | 10.4874
D |  | Columns shafts |  | m³ | 2.2176
E |  | 150mm thick floor slab |  | m³ | 17.424
Cast In-Situ Concrete (Cont'd)
Formwork to In-situ Concrete
(a) Rates shall include for: necessary supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, pipes and removal of formwork.
(b) Formwork is measured net to the contact surface of concrete and formwork. Formwork to attached columns and beams, measured only for the detached surfaces.
(c) Formwork and falsework shall be provided with adequate struts, braces, ties, clamps and the like so as to maintain the dimensions, lines and levels shown in the drawings during the entire operation of placing and compacting the concrete and to prevent any sagging under the weight of wet concrete including any other super imposed loads which would be subjected to during construction.
(d) Contractor may use masonry walls as formwork (d) Contractor may use masonry walls as formwork below ground, subjected to approval from the Consultant.
Sawn formwork, pre-fabricated formwork, masonry walls to:
Formwork to In-situ Concrete (Cont'd)
Below Ground Floor level
A |  | Sides of foundation, height ≤ 350mm |  | m | 49.28
B |  | Sides of Tie beams |  | m² | 104.874
C |  | Sides of columns |  | m² | 29.568
D |  | Sides of Slabs |  | m² | 11.649
Reinforcement to In-situ Concrete
(a) The size of reinforcement bars (yield or mild) described in the drawings shall be the minimum sizes and the rolling margin and any other tolerance shall be wholly above this size.
(b) Rates shall include for: cleaning, fabrication, cutting, bending, placing, all necessary temporary fixings, tie wire, chair supports, wastage, hooks, wastage, etc.
(c) All reinforcing bars shall conform the grade as specified in the drawings.
(d) All reinforcement shall be free from scale, dirt, oil, paint grease, or loose rust before fixing in position and shall be brushed with a stiff wire brush if so directed by the Consultant.
(e) Reinforcement shall be bent cold by applying a slow even pressure on an approved type of bending apparatus.
(f) Re-bending of incorrectly bent bars shall not be attempted.
Steel reinforcement bars as shown in the drawings and as specified to:
Reinforcement to In-situ Concrete (Cont'd)
Below Ground Floor level
A |  | In foundation footings
|  | 12mm diameter, high yield bars |  | Ton | 0.39385
B |  | In Tie Beam
|  | 16mm diameter, high yield bars |  | Ton | 0.19046
|  | 6mm diameter, mild steel bars |  | Ton | 0.38803
C |  | In floor slabs
|  | 10mm diameter, mild steel bars |  | Ton | 11.2601
|  | 6mm diameter, mild steel bars |  | Ton | 12.1856
D |  | In Columns
|  | 12mm diameter, high yield bars |  | Ton | 0.56264
|  | 20mm diameter, high yield bars |  | Ton | 0.12503
|  | 6mm diameter, mild steel bars |  | Ton | 0.12333
E |  | In Beams
|  | 16mm diameter, high yield bars |  | Ton | 1.1047
|  | 12mm diameter, high yield bars |  | Ton | 0.59194
|  | 6mm diameter, mild steel bars |  | Ton | 0.28456
Total of : '04' - Carried over to grand summary
05 |  | MASONRY WALLS
General Notes
(a) All masonry work shall be built accurately, true to the line, plumb and square at corners, etc.
(b) Rates shall include for:
i) Cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks and all necessary cutting, etc.
ii) Cutting or leaving holes, openings as recesses for and building in pipes, conduits and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, building in joists or similar, reinforcement in walls and for all necessary making good.
iii) Preparation of surfaces of floor slab, columns and wall surfaces for proper bonding.
iv) Lintel beams/Stiffener columns, etc. where necessary.
Masonry Walls
Solid block walls, using blocks from an approved Manufacturer, laid on and including cement and sand mortar, tie rods, etc.
Seating area
A |  | 150mm thick external walls as shown in the drawings |  | m² | 15.42
Building area
B |  | 150mm thick external walls as shown in the drawings |  | m² | 278.892
C |  | 120mm thick Internal walls as shown in the drawings |  | m² | 127.012
D |  | 120mm thick Internal low walls as shown in the drawings |  | m² | 35.46
Total of : '05' - Carried over to grand summary
06 |  | SUPER STRUCTURE STEEL WORK.
|  | All the roofing, steel structures, Canvas Covering and all super structure works, and truss cladding |  | item | 1
|  | Stair steel structure |  | item | 2
Total of : '06' - Carried over to grand summary
07 |  | WATERPROOFING
General Notes
(a) Rates shall include for:
i) Preparation, rubbing down between coats, etc.
ii) Dressing around and sealing all penetrations.
iii) Cutting, notching, bending and extra material for lapping, working into recesses, inserts, pipes, etc. and for working to falls and cross falls.
iv) Cleaning with wire brush where necessary, priming all joints including necessary additional material.
Waterproofing
Approved type of water proofing, as per manufacturer's instructions to:
Below ground floor level
B |  | Sides of column foundation shafts, Tie Beams vertically |  | m² | 154.154
C |  | Top of column foundation, include top of foundation beams |  | m² | 111.14
Damp Proof Course
A |  | Allow for approved DPC through all walls, one course above floor level. |  | item | 1
Total of : '07' - Carried over to grand summary
08 |  | WALL FINISHES
General Notes
(a) Where different finishes meet, where the surfaces are at the same level the surface at the joint shall show a smooth transition from one finish to the other with a straight sharp defining line between them with appropriate separator as necessary.
Tiling
(a) Rates shall include for: fixing, mortar bedding, grouting, pointing, divider strips, accessories, etc.; making good around pipes, sanitary fixtures and fittings, and similar; cleaning down and polishing.
(b) Contractor shall ensure that the colour of tiles over an area is even by selecting tiles from the same batch for a that area.
(c) Tiles shall have even grooves of consistent width and the grooves shall be straight in all directions and be well filled with grout to finish flush with the tile surface.
Plastering
(a) Rates shall include for:
i) The provision, erection and removal of scaffolding, preparation, wire mesh at joints, grooves and fillers and similar work.
ii) Application of waterproofing, crack controlling additive, etc.
Painting
(a) Rates shall include for:
i) The provision, erection and removal of scaffolding, rubbing down between coats and similar work, etc.
General Notes (Cont'd)
ii) Application of wall putty or others where indicated and ground smoothing for plastered walls.
iii) Protection of floors, fittings and cleaning upon completion.
(b) The paint system shall be from same supplier for the entire project.
Wall Finishes
Ground Level
A |  | 15mm thick cement plastering with 1:3 or 1:4 cement mortar mix include trowelling etc. to external walls and concrete members |  | m² | 278.892
B |  | 13mm thick cement plastering with 1:3 or 1:4 cement mortar mix include trowelling etc. to internal walls and concrete members |  | m² | 324.944
C |  | Acrylic weathershield paint (1-under coat and 2-final coats); include application, etc. to external plastered surfaces |  | m² | 278.892
D |  | Acrylic paint (1-under coat and 2-final coats); include application, etc. to internal plastered surfaces |  | m² | 324.944
Total of : '08' - Carried over to grand summary
09 |  | DOOR WINDOW SCHEDULE
DOORS AND WINDOWS
GENERAL
Notes: (a) Rates shall include for locks, latches, closures, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware and these materials should brass and of superior quality.
(b) Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boarding, framing, lining, fastenings and all fixings
(c) Rates shall include for all painting
ALUMINIUM DOORS AND WINDOWS
|  | D1 (2400 x 1800) |  | Nos | 1
|  | D2 (2400 x 1370) |  | Nos | 1
|  | D3 (2400 x 1370) |  | Nos | 1
|  | D4 (2400 x 800) |  | Nos | 4
|  | D5 (2400 x 700) |  | Nos | 16
|  | D6 (2400 x 3500) |  | Nos | 1
|  | FG1 (2400 x 4500) |  | Nos | 1
|  | FG2 (2400 x 3500) |  | Nos | 2
|  | V1 (500 x 600) |  | Nos | 15
Total of : '09' - Carried over to grand summary
10 |  | FLOOR FINISHES
General Notes
(a) Where different floor finishes meet, where the surfaces are at the same level the surface at the joint shall show a smooth transition from one finish to the other with a straight sharp defining line between them with appropriate separator as necessary.
(b) All floor finishes are laid to falls as indicated or towards external walls so as to prevent stagnation of water, particularly in wet areas.
Ground Floor Level.
A |  | Concrete floor 600x600mm Homogeneous tiles |  | m² | 165.6
B |  | 600x600mm Homogeneous tiles |  | m² | 34.4
600mm x 600mm toilet tiling area
C |  | 600x600mm Homogeneous tiles |  | m² | 118.26
600mm x 600mm Wall tiling area
D |  | Concrete roof terrace floor 600x600mm Homogeneous tiles |  | m² | 200
Total of : '10' - Carried over to grand summary
11 |  | ELECTRICAL INSTALLTION
General Notes
(a) Contractor shall get approval from the Consultant for electrical fittings before installation.
(b) Electrical wiring should be done according to the Local Authority's regulations.
(c) Contractor shall get the approval for position of fittings indicated in drawings from the Consultant before commencing the work.
(i) Rate shall include for:
i) All conduits, conduit fittings, clips, earth cables, draw wire, wiring accessories, hardware fixing, insulating materials, making holes and chases in brick work, concrete work, etc. and making good the same.
ii) Supply and installation of all the fittings complete with all the accessories, such as starters, bulbs, chokes, power factor correction capacitors, etc.
(d) A light point is measured including conduit, wiring, earthing, connecting to switches, fixture, etc.
Main Connection
A |  | Allow for the relevant charges for obtaining 3 phase power supply |  | item | 1
C |  | MPB Earthing system complete with Cu Plate and Inspection Pit, etc. all as shown in the drawings |  | nr | 1
Distribution Boards
A |  | Distribution Boards, Consisting of MCBs, MCCBs, RCCBs, etc., complete with approved enclosure and accessories |  | item | 4
B |  | Wiring from MSB to DB |  | item | 4
Lighting and Socket Outlets
Ground Floor Level
Wiring to lighting points and power points as specified to:
C |  | Wiring to light points as shown in the layout drawings |  | nr | 95
D |  | Wiring to power points as shown in the layout drawings |  | nr | 56
Supply and install the following light/other fixtures.
E |  | Supply and install the following switch socket outlets
|  | Switch socket outlet, 13A |  | nr | 37
|  | Switch socket outlet, 15A |  | nr | 15
|  | Switch socket outlet, 13A water proof |  | nr | 4
F |  | Supply and install the following fittings
|  | Four gang switch |  | nr | 4
|  | Ceiling Fan 56' |  | nr | 6
|  | Wall Mount Lamp 1 @ 2100mm High (Weather Proof) Out Door |  | nr | 10
|  | Ceiiling Recessed Light |  | nr | 62
|  | Telephone Socket Outlet |  | nr | 3
|  | Ac Unit 12000BTU |  | nr | 9
|  | Ac Unit 18000BTU |  | nr | 1
|  | Ceiling Fan Regulator |  | nr | 6
|  | One way Switch Outlet |  | nr | 44
Total of : '11' - Carried over to grand summary
12 |  | HYDRAULICS & DRAINAGE
Internal Plumbing
|  | Internal plumbing in toilets, pantries, Kitchens and laundries incl. Supply and laying of pipes | 1 | item | 1
External plumbing
|  | Direct Fenaka Water connection pipe work for ground floor to roof terrace with separate water meters incl. Supply and laying of pipes. | 1 | item | 1
|  | Fenaka water meters | 1 | Nos | 1
|  | Well water connection to all WC's, kitchen and pantry sinks and to laundries. Rate shall include for supply and laying of pipes | 1 | item | 1
|  | Waste water and sewage connection from all the toilets, kitchen, pantries and laundries to the municipality sewer line with Catch pits and Manhole. Also the well water over flow to the Municipality Drain incl. Supply and laying of pipes. | 1 | item | 1
Sanitary Fixtures & Accessories
Sanitary fixtures complete including brackets. All sanitary fittings shall be of superior quality. Taps, Hand shower, Head shower, Bidet shower, towel ring, and towel bar should be Stainless steel
Toliets
|  | WC suites incl. Flush tank and fittings with well water connection | 5 | Nos | 6
|  | Wash Basins incl. taps and fittings with water connection | 5 | Nos | 6
|  | Hand Shower with water connection | 5 | Nos | 8
|  | Muslim Shower with water connection | 5 | Nos | 6
|  | SS.soap tray | 5 | Nos | 6
|  | Towel bar | 5 | Nos | 6
|  | Floor drain | 5 | Nos | 17
|  | Sink tap connection | 1 | Nos | 2
|  | Pumps |  |  |  |  | 0
|  | Supply and installation of appropriate capacity Water pump 'Davey' or equivalent, complete including pump stand, connecting to pipe work and electricity as specified | 1 | Nos | 1
DRAINAGE
Preamble notes
|  | (a) Rates shall include for excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus soil, bends, junctions, reducers, expansion joints and all joints and other incidental materials. | 1 | item | 1
(b) All pipework shall be UPVC
Rainwater discharge pipe
|  | ø 75mm PVC Rainwater down pipe from Roof to the rainwater collection tank | 1 | item | 1
| BILL No:11 - HYDRAULIC AND DRAINAGE | Total of : '12' - Carried over to grand summary