## SUMMARY
SUMMARY
HMH 6 Story 4th Floor Finishing Works
Date:-
| Description | Amount
1 | PRELIMINARIES | 0
2 | MAS, PLAS & FLR | 0
3 | HYDRAULICS & DRAINAGE | 0
4 | FLOOR FINISHES | 0
5 | CEILINGS | 0
6 | PAINTING | 0
7 | ELECTRICAL INSTALLATIONS | 0
8 | ADDITION | 0
9 | OMISSION | 0
| TOTAL WITHOUT GST 6% | 0
| GST 6% | 0
| TOTAL WITH GST | 0
Duration:- days
Validity:- days
Authorized signature
Company seal

## BOQ
PROJECT: HMH 6 STORY 4th FLOOR FINISHING / BILL OF QUANTITIES
Client: HULHUMALE' HOSPITAL
Item No | Description | Unite | Qty | Material cost | Labour Rate | Material Amount | Labour Amount | Total
Bill No:01 PRELIMINARIES
1.1 | GENERAL NOTES
-1 | Abbreviations
m-metre
nos-numbers
m3-cubic metre
m2-square metre
kg-kilogramme
incl-including
mm-milimetre
SS-Stainless Steel
GI-Galvarnized iron
Al-Aluminium
1.1.1 | Site Management costs
1 | Allow for all on and off site management cost including cost of foreman and assistants, temporary services, telephone, fax, hoardings, temporary fences and similar. | Item | 1 |  |  | 0 | 0 | 0
1.1.2 | Site Safety
1 | Site Safety equipment’s / Labour force safety equipment. | Item | 1 |  |  | 0 | 0 | 0
2 | Allow for all safety sign boards | Item | 1 |  |  | 0 | 0 | 0
3 | Allow for all safety Fencing | Item | 1 |  |  | 0 | 0 | 0
1.1.3 | Sign Board
1 | Allow for sign board | no | 1 |  |  | 0 | 0 | 0
1.1.4 | Clean - up
1 | Allow for clean - up of completed works and site upon completion. | Item | 1 |  |  | 0 | 0 | 0
TOTAL OF BILL NO:01-Carried over to summary | [5 empty] | 0 | 0 | 0
BILL NO:02 FOURTH FLOOR / ADMIN FLOOR OFFICE
1.1 | MASONARY AND PLASTERING
(a) Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary, fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades, leaving surfaces rough or raking out joints for plastering and flashings, bedding, frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good. (b) River sand (coarse) shall be used for all masonry works. (c) River Sand (Fine) shall be used for all plastering works. (d) Reference to layout drawings. (e) Rates shall include demolishing brick walls manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable materials.
7.3.1 | Cement blockwork
125mm wide solid blocks wall, incl mortar,as specified (internal walls)
1 | 4th Floor bricks Works | m² | 170 |  |  | 0 | 0 | 0
7.3.2 | Plastering
(a) Cement plastering on wall and concrete surface as specified incl, 8mm PVC mesh at the joints of concrete surfaces and walls. Rates shall include for cutting all decorative grooves as shown in the drawing.
12mm thick plastering on internal surface of walls--mortar shall mixed with waterproofing compound.
1 | 4th Floor Plastering | m² | 340 |  |  | 0 | 0 | 0
7.3.4 | Cement screed
1 | 85mm thickness cement 1:4 incl.rough finish for tilling works. | m² | 596 |  |  | 0 | 0 | 0
7.5 | PAINTING
(a) Rate shall be including for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar works, the protection and / or masking floors, fittings and similar works, removing and replacing doors and windows furniture. (b) All painting works a hall be carried in accordance with the specifications. (c) Paint color cord and technical specification has to be approved before purchasing. Minimum two weeks before purchasing.
7.5.2 | Walls / interior surface
1 | Emunsion paint finish on all internal walls surfaces including putty finish as shown in the drawing (interior surface) | m² | 315 |  |  | 0 | 0 | 0
7.6 | CEILING
(a) Rates shall include concealed suspension systems with fixing, cutting, trimmings, nails, screws and other fixings according to manufactures instructions. (b)Rates shall include for all labour in framing, notching. Fitting around pojections, pipes, light fittings, hatches, grilles and similar completed with cleats, packers, wedges and timber beeding etc. similar and all nails and screws. (c) Ceiling materials and technical specification has to be approved before purchasing. Minimum two weeks before purchasing.
7.6.1 | Ceiling / interior surface
1 | Supply and installation boral board ceiling system as per the details given. All interior surface, excluding lift and staircase. | m² | 596 |  |  | 0 | 0 | 0
7.7 | FLOOR FINISHING
7.7.2 | Tiles Finishing
1 | (a) Rate shall include for: fixing, bedding, grouting and pointing meterials. Making good around pipes, sanitary fixtures, and similar, cleaning down and polishing.
2 | (b) Rate shall include for water proofing agents, adhesives and similar
3 | (c) Contractor shall submit sample and specification of tiles for client approval. Minimum two weeks before purchasing.
Raised flooring system
| Raised flooring system on server room | m² | 14.38 |  |  | 0 | 0 | 0
7.7.3 | Main Floor tiles
1 | 600x600mm glazed Homogeneous non skilled tiles on Main Floor GENERAL OFFICE AREA EXECUTIVE MEETING ROOM FINANCIAL CONTROLER ROOM TEA ROOM MEETING ROOM 1 MEETING ROOM 2 HR MEETING ROOM HR HOD HR LOBBY AND D-BOARD ROOM SERVER ROOM | m² | 569 |  |  | 0 | 0 | 0
7.7.4 | Ceramic tiles - floor (toilets )
1 | 300x300mm ceramic floor tile finish | m² | 26.59 |  |  | 0 | 0 | 0
7.7.5 | Ceramic tiles - wall (toilet block)
1 | 200x300mm non glazed ceramic wall tile finish | m² | 59 |  |  | 0 | 0 | 0
7.7.5 | Wash basin bench
1 | Marble Bench on top of the wash basing | Item | 1 |  |  | 0 | 0 | 0
7.8 | HYDRAULICS & DRAINAGE
7.8.1 | General
1 | (a) Rate shall include for: valves, sockets, running joints, connectors, elbows, junctions, reducers, expansion joints, back nuts and similar, incidental fittings, clips, saddles, brackets, straps, hangers, screws, nails and fixing complete, including cutting and forming holes, excavating, laying pipes and backfilling trenches. (b) All pipe works shall be UPVC. (c) Rates shall include for supply and fixing of all pipes. (d) All sanitary fixtures used shall be of superior quality and approved by the client or as per the agreement. Minimum two weeks before purchasing. e) Rates shall include for maintaining faces of drain pipe trenches and pits, disposal of surplus soil, bends, junctions, reducers, expansion joints and all joints and other incidental materials.
7.8.2 | MWSC Water connection and and water meter installation
1 | MWSC Water connection and water meter installation charges | Item | 1 |  |  | 0 | 0 | 0
7.8.3 | Toilet Internal Plumbing Works
1 | Internal plumbing of toilets and floor drains including supply and laying of pipes and fixtures. | Item | 8 |  |  | 0 | 0 | 0
7.8.4 | Toilet External Plumbing Works
1 | External plumbing of toilets and floor drains including supply and laying of pipes and fixtures. | Item | 1 |  |  | 0 | 0 | 0
7.8.5 | Pipe works - Sewerage Connections
1 | Allow for supply and installation of sewerage pipe connections work including all the necessary accessories and fittings. Sewerage connections for toilets. | Item | 1 |  |  | 0 | 0 | 0
7.8.6 | Sanitary fixtures and accessories
Sanitary fixtures complete including brackets, stop valves, fittings etc. All sanitary fittings shall be of superior quality. & Should be approve from Cilent. Minimum two weeks before purchasing.
1 | WC Complete / Wall Mount | Nos | 8 |  |  | 0 | 0 | 0
2 | WB Complete | Nos | 6 |  |  | 0 | 0 | 0
3 | Muslim shower | Nos | 8 |  |  | 0 | 0 | 0
4 | Floor drain | Nos | 12 |  |  | 0 | 0 | 0
5 | Faucet / tep | Nos | 2 |  |  | 0 | 0 | 0
7 | Basin tep | Nos | 6 |  |  | 0 | 0 | 0
8 | Mirror 8'x4' (2 Nos With Frame ) 4'x2' (1 Nos With Frame ) | Nos | 3 |  |  | 0 | 0 | 0
9 | Paper holder | Nos | 10 |  |  | 0 | 0 | 0
10 | Soap holder | Nos | 10 |  |  | 0 | 0 | 0
12 | Tea Room Cup Board / Bottem, Top and Stool Bench Counter | Set | 1 |  |  | 0 | 0 | 0
7.9 | ELECTRICAL INSTALLATION & NETWORKING
7.9.1 | General
(a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil.
(c) Rates shall include for electrical conduits, fittings, equipment and similar all fixings to various building surfaces
(d) Each Light/ light fixture and its switch is measured as one one point; similarly each fan or each socket outlet is measured as one point;
(e) Rates shall include for supply and complete installation
7.9.2 | Electrical boards
Complete installation, including for all connections, earthing, painting, testing and similar of:
1 | Main Cable (Grount To DB Room and Sub DBs) | Item | 1 |  |  | 0 | 0 | 0
2 | Distribution board wiring / light DB | Nos | 5 |  |  | 0 | 0 | 0
3 | Distribution board wiring / Sockets and A/C DB | Nos | 5 |  |  | 0 | 0 | 0
7.9.4 | Electrical wiring
Electrical wiring with copper conductor cable in conduits in walls and in casing on soffits of slab as specified to:
1 | Main Cable Tray under Ceiling (Including networks wiring ) 600mm width, 78mm cable laying depth, 85mm side wall. | m | 65.48 |  |  | 0 | 0 | 0
2 | Sub Cable Tray under Ceiling (Including networks wiring ) 300mm width, 78mm cable laying depth, 85mm side wall. | m | 58.36 |  |  | 0 | 0 | 0
3 | Cable trench under floor (for electrical wires) 200mm x 85mm | m | 51.53 |  |  | 0 | 0 | 0
4 | Cable trench under floor (for network wires) 200mm x 85 mm | m | 51.53 |  |  | 0 | 0 | 0
5 | Wiring with 1.5 mm² cable to lighting | point | 124 |  |  | 0 | 0 | 0
6 | Wiring with 2.5 mm² cable to power point | point | 297 |  |  | 0 | 0 | 0
7.9.6 | Lighting fans
1 | Emergency light 2hrs | Nos | 25 |  |  | 0 | 0 | 0
2 | Ceiling light | Nos | 123 |  |  | 0 | 0 | 0
3 | Exhost fan 12'' ceiling type | Nos | 11 |  |  | 0 | 0 | 0
4 | Wather proof light | Nos | 1 |  |  | 0 | 0 | 0
7.9.7 | Socket outlets
All socket outlets shall be ''clipsal'' or equelant
1 | Socket control system and sockets | Item | 1 |  |  | 0 | 0 | 0
7.9.8 | Light switches
All Light switches shall be ''clipsal'' or equelant
1 | Switch control system and Switch | Item | 1 |  |  | 0 | 0 | 0
7.9.9 | Television outlet
1 | TV outlet | Nos | 8 |  |  | 0 | 0 | 0
| TOTAL OF BILL NO:06 - Carried over to summary |  |  |  |  | 0 | 0 | 0
BILL NO:09 ADDITION AND OMISSION
9.1 | LIFT INSTALLATION WORKS
ADDITION
| PRELIMINARIES |  |  |  |  | 0 | 0 | 0
| DEMOLITION WORKS |  |  |  |  | 0 | 0 | 0
| CONCRETE |  |  |  |  | 0 | 0 | 0
| MAS, PLAS & FLR |  |  |  |  | 0 | 0 | 0
| MATAL WORK |  |  |  |  | 0 | 0 | 0
| HYDRAULICS & DRAINAGE |  |  |  |  | 0 | 0 | 0
| DOOR & WINDOWS |  |  |  |  | 0 | 0 | 0
| FLOOR FINISHES |  |  |  |  | 0 | 0 | 0
| CEILINGS |  |  |  |  | 0 | 0 | 0
| PAINTING |  |  |  |  | 0 | 0 | 0
| ELECTRICAL INSTALLATIONS |  |  |  |  | 0 | 0 | 0
| MEDICAL GASES PIPELINE |  |  |  |  | 0 | 0 | 0
| LIFT | item | 0 |  |  | 0 | 0 | 0
9.2 | OMISSION
| PRELIMINARIES |  |  |  |  | 0 | 0 | 0
| DEMOLITION WORKS |  |  |  |  | 0 | 0 | 0
| CONCRETE |  |  |  |  | 0 | 0 | 0
| MAS, PLAS & FLR |  |  |  |  | 0 | 0 | 0
| MATAL WORK |  |  |  |  | 0 | 0 | 0
| HYDRAULICS & DRAINAGE |  |  |  |  | 0 | 0 | 0
| DOOR & WINDOWS |  |  |  |  | 0 | 0 | 0
| FLOOR FINISHES |  |  |  |  | 0 | 0 | 0
| CEILINGS |  |  |  |  | 0 | 0 | 0
| PAINTING |  |  |  |  | 0 | 0 | 0
| ELECTRICAL INSTALLATIONS |  |  |  |  | 0 | 0 | 0
| MEDICAL GASES PIPELINE |  |  |  |  | 0 | 0 | 0
| LIFT |  |  |  |  | 0 | 0 | 0
| TOTAL OF BILL NO:09 - Carried over to summary |  |  |  |  | 0 | 0 | 0