## BOQ
Annex 4
Project - Renovation Work at MED Office - 11th Floor and 4th Floor of Velaanaage
Bill of Quantities
Item | Description | Unit | Qty | Total Amount (MVR)
1 | Demolition and Alteration work
1.1 | Demolition of existing Aluminium partition walls and brick wall partition walls at 11th floor as showing in the drawing. Rate to include domolition, dispose of demolished material, cleaning the floor and rectification of damages to the existing walls/floors as directed by the employer/Engineer | Item | 1
1.2 | Demolition of existing Gypsum board partitions at 11th floor as showing in the drawing. Rate to include domolition, dispose of demolished material, cleaning the floor and rectification of damages to the existing walls and floors as directed by the employer/Engineer | Item | 1
1.3 | Alteration to the existing toilet near proposed 20 pax meeting room.Rate to include remove all sanitary fittings and fixtues, close existing plumbing provisions, remove existing floor and wall tiles, laying new floor tiles and rectification work of walls (Internal side) and convert the room to a Prayer room | Item | 1
1.4 | Renovation of existing male and female toilets as shown in the drawings. Samples of the materials that is intended to be used for the permanent work should be submitted for the approval of the client before commencing the work. | Note
1.4.1 | Removal of existing wall tiles. Considered removal of the tiles up to ceiling height of the perimeter wall of the toilet area as shown in the drawing | m2 | 0
1.4.2 | Removal of existing floor tiles. Considered removal of the tiles of both male and female toilet areas as shown in the drawing | m2 | 0
1.4.3 | Removal of existing sanitary fittings,fixtures, cubicle doors as shown in the drawings and rectification work of existing plumbing provisions | Item | 1
1.4.4 | Removal of existing ceiling and replace with timber framed cement board ceiling. Rate to include application of putty and provide semi gloss white emulsion painted surface. | m2 | 0
1.4.5 | Apply of proper waterproofing material on wall and floor area as directed by the employer/Engineer. | m2 | 0
1.4.6 | Supply and laying floor tiles as per the specification and sizes instructed by the employer. Rate to include fixing, bedding for tiles, paving, grouting, pointing finishing and any other similar work to ensure the specified finish. | m2 | 0
1.4.7 | Supply and laying wall tiles as per the specification and sizes instructed by the employer. Rate to include fixing, bedding for tiles, paving, grouting, pointing finishing and any other similar work to ensure the specified finish. | m2 | 0
1.4.8 | Supply and installation of sanitary fittings and fixtures as per the specifications and directions of the employer. | Item | 1
1.4.9 | Supply and installation of Cubicle doors as per the specifications and directions of the employer. | Item | 1
1.4.10 | Convert 2 toilets from male and female toilet areas in to ablution area. Rate to include supply and installation of necessary sanitary fittings and interior alteration. | Item | 1
Total carried to main summary
2 | Internal Partition work
2.1 | Gypsum Board and Aluminium framed fixed glass hybrid partition
2.1.1 | DT-01 2990mm x 2100mm Partition wall consist with 900 mm high gypsum board section with skirting and 1200mm high Aluminium framed fixed glass section with frost sticker as shown in the drawing. Rate to include 900mm x 2100mm Aluminium framed frosted (Sticker) fixed glass door with all accessories including door closer. Aluminium profile thickness should be 1.2mm minimum and 60 microns white powder coated. | Nos | 0
2.1.2 | DT-02 3800mm x 2100mm Partition wall consist with 900 mm high gypsum board section with skirting and 1200mm high Aluminium framed fixed glass section with frost sticker as shown in the drawing. Rate to include 900mm x 2100mm Aluminium framed frosted (Sticker) fixed glass door with all accessories including door closer. Aluminium profile thickness should be 1.2mm minimum and 60 microns white powder coated. | Nos | 0
2.1.3 | DT-03 3200mm x 2100mm Partition wall consist with 900 mm high gypsum board section with skirting and 1200mm high Aluminium framed fixed glass section with frost sticker as shown in the drawing. Rate to include 900mm x 2100mm Aluminium framed frosted (Sticker) fixed glass door with all accessories including door closer. Aluminium profile thickness should be 1.2mm minimum and 60 microns white powder coated. | Nos | 0
2.1.4 | DT-04 4350mm x 2100mm Partition wall consist with 900 mm high gypsum board section with skirting and 1200mm high Aluminium framed fixed glass section with frost sticker as shown in the drawing. Rate to include 900mm x 2100mm Aluminium framed frosted (Sticker) fixed glass door with all accessories including door closer. Aluminium profile thickness should be 1.2mm minimum and 60 microns white powder coated. | Nos | 0
Total carried to main summary
2.2 | Dry wall partition
2.2.1 | PDT 01 2895mm x 1200mm/ 875mm x 1200mm L shaped Dry wall partition as shown in the drawing. 300mm high and 6mm thick glass panel need to be fixed on top as shown in the drawings. Refer to the attached drawing for further details. | Nos | 0
2.2.2 | PDT 02 "T" shaped 2538mm x 1500mm and 2372mm x 1500mm Dry Wall partition as shown in the drawing. Refer to the attached drawing for further details of the partition | Nos | 0
2.2.3 | PDT 03 875mm x 1500mm Dry Wall partition as shown in the drawing. Refer to the attached drawing for further details of the partition | Nos | 0
2.2.4 | PDT 04 1825mm x 1500mm Dry Wall partition as shown in the drawing. Refer to the attached drawing for further details of the partition | Nos | 0
2.2.5 | PDT 05 1825mm x 1500mm Dry Wall partition as shown in the drawing. Refer to the attached drawing for further details of the partition | Nos | 0
2.2.6 | PDT 06 1320mm x 1500mm Dry Wall partition as shown in the drawing. Refer to the attached drawing for further details of the partition | Nos | 0
2.2.7 | PDT 07 6432mm x 2400mm movable partition wall as shown in the drawing with the paint finish. Refer to the attached drawing for the details of the partition wall | Nos | 0
Total carried to main summary
2.3 | Gypsum Board Partition
Dry wall partition using 12mm thick Gypsum board including 75 x 50mm timber joists @ 600mm both ways as shown in the detailed drawing. Contractor should submit methodology for the construction of dry wall to the consultant/employer before commence any physical work. Appropriate C chanels, studs have to be used and joints should be sealed and firmly finish. Rate to include supply and fixing of 6mm/8mm thick fixed glass panels in dry wall. partition where necessary and rockwool for insulation. Full height (2700mm) partition walls have been considered in this BOQ and if the employer propose partition height as 2100mm, area has to be adjusted accordingly and the cost also will be decreased. 100mm high skirting has to be included in the proposed rate.
2.3.1 | Wall partitions, opposite side of the existing office | m2 | 0
2.3.2 | Wall partitions - alteration to the existing office partitions | m2 | 0
2.3.3 | Wall partition partitions - 1.5m/2.1m height | m2 | 0
Total carried to main summary
2.4 | DDT 01 open deck as per the specifications and details shown in the attached drawing. Rate to include for the 75 x 50mm frame consist with 50 x 50mm timber batterns at 400mm c/c, elevations as per the drawing with Mahogny Veneer finish. | Item | 1
2.5 | DDT 02 Stage as per the specifications and details shown in the attached drawing. Rate to include for the frame, timber batterns at specified intervals etc. | Item | 1
2.6 | Reception counter RD1-01 3158mm x 1200mm with Gloss white formica finish as per the specifications and the details shown in the attached drawing. | Item | 1
3 | Wall Painting - Gypsum partitions and Existing concrete and block surfaces
3.1 | Internal wall painting on Gypsum board partition areas and existing columns/walls | Note
3.1.1 | Dry wall partitions - Apply one coat of NIPPON or equivalent water based wall sealer where it is necessary and applying 2 coats of NIPPON Super VINILEX 5000 series or equivalent imulsion paint including the application of putty. (Only the new partition walls have been considered) | m2 | 0
3.1.2 | Apply 2 coats of NIPPON Super VINILEX 5000 series or equivalent imulsion paint on existing columns (White semi gloss paint preffered with putty rectification where necessary) | m2 | 0
3.1.3 | Apply 2 coats of NIPPON Super VINILEX 5000 series or equivalent imulsion paint on existing Brick/Concrete surfaces (White semi gloss paint preffered with putty rectification where necessary) | m2 | 0
Total carried to main summary
4 | Fabrication and installation of Store shelfs
4.1 | Supply fabrication and installation of lock store SDT 01 3800mm x 2400mm in the location shown in the drawing as per the given details. Rate to include all required materials, tools and workmanship. | Nos | 0
4.2 | Supply fabrication and installation of lock store SDT 02 2220mm x 2400mm in the location shown in the drawing as per the given details. Rate to include all required materials, tools and workmanship. | Nos | 0
4.3 | Supply fabrication and installation of lock store SDT 03 4600mm x 900mm in the location shown in the drawing as per the given details. Rate to include all required materials, tools and workmanship. | Nos | 0
4.4 | Supply fabrication and installation of lock store SDT 04 5100mm x 900mm in the location shown in the drawing as per the given details. Rate to include all required materials, tools and workmanship. | Nos | 0
4.5 | Supply fabrication and installation of lock store SDT 05 3640mm x 900mm in the location shown in the drawing as per the given details. Rate to include all required materials, tools and workmanship. | Nos | 0
Total carried to main summary
5 | Installation of Doors
5.1 | Supply and installation of D1-01 1400mm x 2100mm white powder coated Aluminium framed fixed glass with frosting sticker door at the location shown in the drawing as per the given specifications. Rate to include for all door accessories including pull bar and door closer. | Nos | 0
5.2 | Supply and installation of any additional doors as per the client's instructions if any | Nos
Total carried to main summary
6 | Electrical Works
| Electrical wiring to be routed from DB, through the ceiling trays and brought down at each column (with casing) and then terminated at the 13-amp sockets at the workstation | Note
| Rates for electrical isolators, conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces | Note
6.1 | Velaanaage 11th Floor
6.1.1 | Wiring to the power points | Nos | 0
6.1.2 | Supply and fixing of power outlets | Nos | 0
6.2 | Velaanaage 4th Floor
6.2.1 | Wiring to the power points | Nos | 0
6.2.2 | Supply and fixing of power outlets | Nos | 0
Total carried to main summary
7 | Preliminaries
7.1 | Mobilization, contractor's overheads and other expenses which is not covered under above work items | Item | 1
Total carried to main summary

## Summary
Annex 4
RENOVATION WORK AT MED OFFICE - VELAANAGE 11TH & 4TH FLOORS
SUMMARY OF BILL OF QUANTITIES
No | Description | Total Cost (MVR)
1 | Demolition and Alteration work
2 | Internal partition works
2.1 | Gypsum Board and Aluminium framed fixed glass hybrid partition
2.2 | Dry wall partition
2.3 | Gypsum Board Partition
2.4 | DDT - 01 Open Deck
2.5 | DDT - 02 Stage
2.6 | RD1 - 01 - Reception Counter
3 | Wall Painting - Gypsum partitions and Existing concrete and block surfaces
4 | Fabrication and installation of Store shelfs
5 | Installation of Doors
6 | Electrical Works
7 | Preliminaries
Total
Add - 6% GST
Total Sum with GST