## Cover
Bill of Quantities
PROPOSED LIFT & RAMP AT KALAAFAAN SCHOOL
CLIENT
-
-
PREPARED BY

## Summary
PROJECT: PROPOSED LIFT & RAMP AT KALAAFAAN SCHOOL
SUMMARY OF BILL OF QUANTITIES
Bl.no | Item Description | Amount
1 | PRELIMINARIES | 0
2 | GROUND WORKS | 0
3 | CONCRETE WORKS | 0
4 | MASONRY & PLASTERING | 0
5 | FLOORING & TILING | 0
6 | DOORS & WINDOWS | 0
7 | PAINTING | 0
8 | METAL WORK | 0
9 | ELECTRICAL INSTALLATIONS | 0
10 | LIFT & INSTALLATION | 0
11 | ADDITIONS | 0
12 | OMISSIONS | 0
0
| TOTAL Mvr | 0 | 0
| 6% GST Mvr | 0
| GRAND TOTAL Mvr | 0

## Boq
PROJECT : PROPOSED LIFT & RAMP AT KALAAFAANU SCHOOL
Item | Description | Unit | Qty | Material Rate | Labour Rate | Total
BILL No: 01
PRELIMINARIES
1.1 | General Notes
(1) | Abbreviations
m - metre
no - numbers
m³ - cubic metre
m² - square metre
m - metre
t - tonnes
incl - including
mm - millimetre
dia - diameter
SS - Stainless Steel
GI - Galvanised Iron
1.2 | Site Management Costs
(1) | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone, fax, hoardings, fences, Crane/Concrete pump, Machinaries and similar items | Item | 1 |  |  | 0
0
1.3 | Sign Board |  |  |  |  | 0
(1) | Allow for sign board. | No | 1 |  |  | 0
0
1.4 | SAFETY |  |  |  |  | 0
(1) | Safety - Providing and fixing scaffolding with G.I. pipes and clamps and pvc netting alaround building during construction | Item | 1 |  |  | 0
1.5 | Clean-up |  |  |  |  | 0
(1) | Allow for clean-up of completed works and site upon completion. | Item | 1 |  |  | 0
0
BILL No: 01 PRELIMINARIES
| TOTAL OF BILL No: 01 - Carried over to summary |  |  |  |  | 0
BILL NO : 02
GROUND WORK
2.1 | General
(a) Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating, additional working space and disposing surplus soil.
2.2 | Site clearance
| Clearing site - Demolition of Existing building and dispatch all debris, clearing and dispose all unwanted materials away from site and prepare site ready for proposed construction. | m² | 7.75 |  |  | 0 | 278.97
2.3 | Excavation
| (a) Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork , back fill , dewatering and others | [5 empty] | 7.26 | 16.82 | 20.0475 | 5.76 | 1.62 | 6.25 | 15.21 | 16.81 | 89.7775 | 112.2219
2.4.1 | Excavation | [5 empty] | 134 | 70.015 |  | 182.2369
(1) | Lift Foundation slab | m³ | 9.3 |  |  | 0
[7 empty] | 41.5 | 4.6688
2.4.2 | Back filling
(a) Rates shall include for: leveling, grading, trimming and compacting.
| (b) Ground need to be compacted to the density required by the consultant | m² | 3.5 |  |  | 0
2.5 | Damp Proof Membrane |  |  |  |  | 0
| (a) Rates shall include for: dressing around and sealing to all penetrations, laps and turnups. |  |  |  |  | 0
1 ) | Polythene damp proof membrane (500 gauge) laid on blinding layer. | m² | 7.75 |  |  | 0
BILL No: 02 GROUND WORKS
| TOTAL OF BILL No: 02 - Carried over to summary |  |  |  |  | 0
BILL NO : 03
3.0 | CONCRETE
(a) Rates shall include for: placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
(b) Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:2:6 by volume.
(c) Quantity is measured to the edges of concrete foundation members. Rates shall be inclusive for any additional concrete required to place the formwork.
3.1.1 | LEAN CONCRETE
| 50mm thick lean concrete below Foundation | [5 empty] | 7.26 | 16.82 | 20.0475 | 5.76 | 1.62 | 6.25 | 15.21 | 16.81 | 89.7775 | 89.7775
| Lift Foundation slab | m² | 7.75 |  |  | 0 | 134 | 73.7 |  | 163.4775
3.2 | REINFORCED CONCRETE
3.2.1 | FOUNDATIONS
(1) | Lift Foundation slab | m³ | 2.7125 |  |  | 0
3.2.2 | GROUND FLOOR
(1) | R.C.C. GROUND FLOOR SLAB |  |  |  |  | 0
| 100mm thick R.C. slab | m3 | 0.286 |  |  | 0 | 356.615 | 9.66 | 366.275 | 36.6275
(2) | Lift wall |  |  |  |  | 0
| 150mm thick R.C. wall below ground level | m3 | 1.0455 |  |  | 0 | 356.615 | 9.66 | 366.275 | 36.6275
| 150mm thick R.C. wall above ground level | m3 | 4.5924 |  |  | 0 | 356.615 | 9.66 | 366.275 | 36.6275
3.2.3 | FIRST FLOOR
(1) | FLOOR SLAB |  |  |  |  | 0
| 150mm thick R.c.c. Floor Slab | m3 | 0.459 |  |  | 0 | 246.5 | 70.84 | 317.34 | 47.601
(2) | Lift wall |  |  |  |  | 0
| 150mm thick R.C. wall above ground level | m3 | 3.5523 |  |  | 0 | 356.615 | 9.66 | 366.275 | 36.6275
3.2.4 | SECOND FLOOR
(1) | FLOOR SLAB |  |  |  |  | 0
| 150mm thick R.c.c. Floor Slab | m3 | 0.459 |  |  | 0 | 246.5 | 70.84 | 317.34 | 47.601
(2) | Lift wall |  |  |  |  | 0
| 150mm thick R.C. wall above ground level | m3 | 4.2988 |  |  | 0 | 356.615 | 9.66 | 366.275 | 36.6275
3.2.5 | ROOF LEVEL
(1) | ROOF SLAB |  |  |  |  | 0
| 150mm thick R.c.c. Floor Slab | m3 | 1.0419 |  |  | 0 | 246.5 | 70.84 | 317.34 | 47.601
3.3 | FORM WORK | [9 empty] | #REF!
(a) Exposed surface shall have fair finish while remaining may have rough finish.
(b) Timber used for unexposed concrete surface shall sound dressed and seasoned good quality common timber while for exposed concrete surfaces dressedand matched boards uniformly thick and not more than 251mm wide.
c) Plywood used for forms shall be of commercial standard, moisture resistane conrete form plywoodnot lessthan 6mm thick and atleast 12mm thick.
(d) Rates shall include for; all necessary boarding,supports, erecting, framing, temporary cambering cutting, perforations for reinforcing bars, bolts,straps,ties, hangers, pipes and removal of formwork.
3.3.1 | FOUNDATIONS
(1) | Lift Foundation slab | m2 | 4.416 |  |  | 0
3.3.2 | GROUND FLOOR
(1) | Lift wall |  |  |  |  | 0
| 150mm thick R.C. wall below ground level | m2 | 13.94 |  |  | 0 | 356.615 | 9.66 | 366.275 | 36.6275
| 150mm thick R.C. wall above ground level | m2 | 61.2324 |  |  | 0 | 356.615 | 9.66 | 366.275 | 36.6275
3.3.3 | FIRST FLOOR
(1) | FLOOR SLAB |  |  |  |  | 0
| 150mm thick R.c.c. Floor Slab | m2 | 3.06 |  |  | 0 | 246.5 | 70.84 | 317.34 | 47.601
(2) | Lift wall |  |  |  |  | 0
| 150mm thick R.C. wall above ground level | m2 | 47.3642 |  |  | 0 | 356.615 | 9.66 | 366.275 | 36.6275
3.3.4 | SECOND FLOOR
(1) | FLOOR SLAB |  |  |  |  | 0
| 150mm thick R.c.c. Floor Slab | m2 | 3.06 |  |  | 0 | 246.5 | 70.84 | 317.34 | 47.601
(2) | Lift wall |  |  |  |  | 0
| 150mm thick R.C. wall above ground level | m2 | 57.318 |  |  | 0 | 356.615 | 9.66 | 366.275 | 36.6275
3.3.5 | ROOF LEVEL
(1) | FLOOR SLAB |  |  |  |  | 0
| 150mm thick R.c.c. Floor Slab | m2 | 6.946 |  |  | 0 | 246.5 | 70.84 | 317.34 | 47.601
3.4 | REINFORCEMENT WORK
(a) Main reinforcement steel shall be high tensile steel hot rolled deformed bars complying with BS 1119 or BS 1172 Characteristic strength not less than 160N/mm2.
(b) Stirrups shall be hot rolled mildsteel round bars complying with BS 1119, Characteristic strength not less than 250N/mm2
(c ) Rates shall include for; distribution steel, cleaning, fabrication, placing, the provision for all necessary temporary fixings, and supports including chairs and tie wire , laps and wastage.
3.4.1 | BELOW GROUND
(1) | FOUNDATIONS
| Lift Foundation slab |  |  |  |  | 0 | 148.6 | 16.7175
| 12mm dia deformed bars - 6m | kg | 91.9667 |  |  | 0 | 340.4606 |  | 0 | 0 | 0
(2) | Lift wall |  |  |  |  | 0
| 150mm thick R.C. wall below ground level |  |  |  |  | 0 | 356.615 | 9.66 | 366.275 | 36.6275
| 10mm dia deformed bars - 6m Vertical | kg | 40.672 |  |  | 0 | 150.5677 |  | 0 | 0 | 0
| 10mm dia deformed bars - 6m Horizontal | kg | 40.672 |  |  | 0 | 150.5677 |  | 0 | 0 | 0
3.4.2 | GROUND FLOOR |  |  |  |  | 0
(1) | GROUND FLOOR SLAB |  |  |  |  | 0
| 10mm dia deformed bars - 6m | kg | 17.732 |  |  | 0 | 65.6439 |  | 2563.925 | 427.3208 | 71.2201
(2) | Lift wall |  |  |  |  | 0
| 150mm thick R.C. wall above ground level |  |  |  |  | 0 | 356.615 | 9.66 | 366.275 | 36.6275
| 10mm dia deformed bars - 6m Vertical | kg | 126.547 |  |  | 0 | 468.4768 |  | #REF! | #REF! | #REF!
| 10mm dia deformed bars - 6m Horizontal | kg | 126.547 |  |  | 0 | 468.4768 |  | #REF! | #REF! | #REF!
3.4.3 | FIRST FLOOR |  |  |  |  | 0
(1) | FLOOR SLAB |  |  |  |  | 0 |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
| 10mm dia deformed bars - 6m | kg | 50.592 |  |  | 0 | 187.2916
(2) | Lift wall |  |  |  |  | 0
| 150mm thick R.C. wall |  |  |  |  | 0 | 356.615 | 9.66 | 366.275 | 36.6275
| 10mm dia deformed bars - 6m Vertical | kg | 97.8861 |  |  | 0 | 362.3743 |  | #REF! | #REF! | #REF!
| 10mm dia deformed bars - 6m Horizontal | kg | 97.8861 |  |  | 0 | 362.3743 |  | 0 | 0 | 0
3.4.4 | SECOND FLOOR |  |  |  |  | 0
(1) | FLOOR SLAB |  |  |  |  | 0 |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
| 10mm dia deformed bars - 6m | kg | 50.592 |  |  | 0 | 187.2916
(2) | Lift wall |  |  |  |  | 0
| 150mm thick R.C. wall |  |  |  |  | 0 | 356.615 | 9.66 | 366.275 | 36.6275
| 10mm dia deformed bars - 6m Vertical | kg | 1.581 |  |  | 0 | 5.8529 |  | #REF! | #REF! | #REF!
| 10mm dia deformed bars - 6m Horizontal | kg | 1.581 |  |  | 0 | 5.8529 |  | #REF! | #REF! | #REF!
3.4.5 | ROOF LEVEL |  |  |  |  | 0
(1) | ROOF SLAB |  |  |  |  | 0 |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
| 10mm dia deformed bars - 6m | kg | 114.8405 |  |  | 0 | 425.1397
3.5.1 | OTHER CONCRETE WORKS
a ) | WINDOW SILL & LINTELS |  |  |  |  | 0
| Charges for construction of R.c.c. Sills and Lintels for the windows and doors as per details. Rate shall include for shuttering and Reinforcement works complete. | item | 1 |  |  | 0 | 4.116 | 4.8231 | 1.188 |  | 10.1271
b ) | RAMP |  |  |  |  | 0
| Charges for construction of 100mm thick Slab(reinforced with T10 @200 C/C BW) on top of compacted earth. And 200mm high 100∅ SS rail with vertical support of 150∅ SS posts @1000 C/C fixed to ramp floor | item | 1 |  |  | 0 | 33.6 | 2.856
3.5.2 | WATER PROOFING & ADD MIXTURES |  |  |  |  | 0
(a) | Apply Rubberised bitumin water proofing paint, Moya Shield RBE, 2 coats to all exposed concrete and masonry surface below ground level. | item | 1 |  |  | 0
(b) | Add approved water proofing admixture Mega Add WL1 as per specification to all concrete below ground level. | item | 1 |  |  | 0
(c) | Add Plasticiser admixture Mega Flow P as per specification to all concrete Substreucture and Super structure. | item | 1 |  |  | 0
BILL No: 03 - CONCRETE WORKS
| TOTAL OF BILL No: 03 - Carried over to summary |  |  |  |  | 0
BILL No: 04
MASONRY AND PLASTERING
4.1 | General
a )Rates shall include for cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs.
b )Cutting or leaving holes and openings as recesses for and building in pipes, conduits , sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building in joints.
c ) All external wall and all inetrenal walls shall be 100mm thick Solid cement blocks and for masonry mix ratio 1:5 (cement and river sand)
4.2.0 | MASONRY
4.2.1 | GROUND FLOOR
1 ) | External walls |  |  |  |  | 0
a ) | 300x150x150mm solid block single wall - 150mm thick | m2 | 0.99 |  |  | 0 | 73.2 | 239.73 | 81 | 158.73 | 163.4919
4.2.2 | FIRST FLOOR
1 ) | External walls |  |  |  |  | 0
a ) | 300x150x150mm solid block single wall - 150mm thick | m2 | 16.77 |  |  | 0 | 73.2 | 226.92 | 85 | 141.92 | 146.1776
4.2.3 | SECOND FLOOR
1 ) | External walls |  |  |  |  | 0
a ) | 300x150x200mm solid block single wall - 200mm thick | m2 | 16.77 |  |  | 0 | 73.2 | 226.92 | 85 | 141.92 | 146.1776
4.3 | PLASTERING
(a) 20mm thick Cement plastering on Exterior surface of External masonry walls and concrete surfaces and 15mm thick plastering on interior walls and concrete surface as specified incl. wire mesh shall be fixed at the joints of concrete surfaces and walls before plastering. Quantity is measured including concrete surfaces - Parapetwalls, Liftwalls, columns & beams.
(b)Rates shall include for External plastering shall 20mm thick (12+8mm) 2 coats in 1:4 cement and river sand mix ratio
c) Rates shall include for approved brand water proofing compound shall be mixed with cement mortar for external wall plastering as per manufacturers specifications.
4.3.2 | GROUND FLOOR
1 ) | External Plastering |  |  |  |  | 0 | 81.8 | 316.975 | 81 | 235.975 | 243.0543 | 5.8125 | 237.2418 | 37.2 | 24.18
| External surface of exeterior wall | m2 | 0.99 |  |  | 0 | 6.9863 | [6 empty] | 26.84 | 288.2618
2 ) | Internal Plastering |  |  |  |  | 0 | 41.5 | 278.05 |  | 75.8 | 253.93 | 172.93
| Internal surface of external wall and both surface of Interior walls | m2 | 0.99 |  |  | 0 | 16.65 | 111.555 | 6.24 | 105.315 |  | 556.295 | 572.9839
4.3.3 | FIRST FLOOR | [5 empty] | 81.8 | 286.3 | 85 | 201.3 | 207.339 | 9.15 | 198.189 | 37.2 | 24.18
1 ) | External Plastering |  |  |  |  | 0 | 6.9863 |  |  |  | 60.48 | 309.689 |  | 26.84 | 249.209
| External surface of exeterior wall | m2 | 16.77 |  |  | 0
2 ) | Internal Plastering |  |  |  |  | 0 | 41.5 | 290.5 |  | 75.8 | 265.3 | 180.3
| Internal surface of external wall and both surface of Interior walls | m2 | 16.77 |  |  | 0 | 16.95 | 118.65 | 8.9285 | 109.7215 |  | 580.5215 | 597.9371
4.3.4 | SECOND FLOOR | [5 empty] | 81.8 | 286.3 | 85 | 201.3 | 207.339 | 9.15 | 198.189 | 37.2 | 24.18
1 ) | External Plastering |  |  |  |  | 0 | 6.9863 |  |  |  | 60.48 | 309.689 |  | 26.84 | 249.209
| External surface of exeterior wall | m2 | 16.77 |  |  | 0
2 ) | Internal Plastering |  |  |  |  | 0 | 41.5 | 290.5 |  | 75.8 | 265.3 | 180.3
| Internal surface of external wall and both surface of Interior walls | m2 | 16.77 |  |  | 0 | 16.95 | 118.65 | 8.9285 | 109.7215 |  | 580.5215 | 597.9371
BILL No: 04 - MASONRY AND PLASTERING
| TOTAL OF BILL No: 04 - Carried over to summary |  |  |  |  | 0
BILL N0: 05
FLOORING & TILING
5.1 | General
(a) Rates shall include for laying 50mm thick cement mortar in 1 : 5 mix ratio,cleaning down to reveals where necessary and water proofing of Toilet and Balcony floors & Terrace.
5.2 | FLOORING
50mm thick Floor Screeding
5.2.1 | GROUND FLOOR |  |  |  |  | 0
| Lift lobby | m2 | 2.4 |  |  | 0 | 205.84
5.2.2 | FIRST FLOOR |  |  |  |  | 0
| Lift lobby | m2 | 2.4 |  |  | 0 | 59.57 | 11.475 | 1.32 | 2.475 | 74.84
5.2.3 | SECOND FLOOR |  |  |  |  | 0
| Lift lobby | m2 | 2.4 |  |  | 0 | 59.57 | 11.475 | 1.32 | 2.475 | 74.84
5.3 | TILING
(a) Rates shall include for: Fixing, bedding, grouting, and pointing materials, making good around pipes, sanitary fixtures, and similar; cleaning & Polishing.
(b) All Tiling work in accordance with specifications and finishes schedule.
(c) Tiles rate shall be given as specified in the drawing.
5.3.1 | GROUND FLOOR
A ) | FLOOR TILING
1 ) | Lift lobby | m2 | 2.4 |  |  | 0 | 205.84
5.3.2 | FIRST FLOOR
A ) | FLOOR TILING
1 ) | Lift lobby | m2 | 2.4 |  |  | 0 | 59.57 | 11.475 | 1.32 | 2.475 | 74.84
5.3.3 | SECOND FLOOR
A ) | FLOOR TILING
1 ) | Lift lobby | m2 | 2.4 |  |  | 0 | 59.57 | 11.475 | 1.32 | 2.475 | 74.84
5.4 | WATER PROOFING
Apply 2 coats of Water proofing Compound, on wet surfaces - Toilets, Balcony and Terrace Floors.
| Toilets | item | 1 |  |  | 0 | 0.4 | 320 | 320
| Corridor | item | 1 |  |  | 0
5.5 | TILE ADHESIVE
1 ) | Charges for supplying special tiles grout for fixing tiles to all floors. | item | 1 |  |  | 0
BILL No: 05 -FLOORING AND TILING
| TOTAL OF BILL No: 05 - Carried over to summary |  |  |  |  | 0
BILL N0: 06
DOORS AND WINDOWS
6.1 | General
(a) Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
(b) Rates shall include for door frames and window frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings and installation.
(c) All Timber door frames shall be treated timber. Rate shall include for Paint/Varnish finish.
(d) All louvres, windows and sliding doors shall be 30 micron powder coated aluminium as per details given in Door/Window schedule.
(e) All doors and windows shall be accordance with door/window drawing details.
6.2 | FIRST FLOOR
External
1 ) | Fixed glass / cladding with aluminum frame | no | 1 |  |  | 0 | 2.6885 | 2.6885 | #REF!
6.3 | SECOND FLOOR
External
1 ) | Fixed glass / cladding with aluminum frame | no | 1 |  |  | 0 | 2.6885 | 2.6885 | #REF!
BILL N0: 06 - DOORS AND WINDOWS
| TOTAL OF BILL No: 06 - Carried over to summary |  |  |  |  | 0
BILL No: 07
PAINTING
7.1 | General | [6 empty] | 80.6
(a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door and window furniture.
| (b) All painting work shall be carried in accordance with the Specifications | [6 empty] | 168.85
(c)Rate shall include for weather proof paint finish for exterior surfaces of the wall complete including application of two coats of oil based wall sealer and two coats of weather bond paint
| (d)Rate shall include for putty and paint finish for interior surfaces of the wall and ceilings complete including application of two coats of wall sealer, two coats of putty finish and two coats of emulsion paint finish on top for Interior painting. | [6 empty] | 139
7.2 | GROUND FLOOR
| Painting exterior surfaces of External Wall, | m2 | 0.99 |  |  | 0
| Painting interior surfaces Wall, | m2 | 0.99 |  |  | 0 |  | 143.2
| Painting Soffit of slab (Ceiling) | m2 | 2.4 |  |  | 0 | #REF!
7.3 | FIRST FLOOR
| Painting exterior surfaces of External Wall, | m2 | 16.77 |  |  | 0
| Painting interior surfaces Wall, | m2 | 16.77 |  |  | 0 |  | 143.2
| Painting Soffit of slab (Ceiling) | m2 | 2.4 |  |  | 0 | #REF! | #REF!
7.4 | SECOND FLOOR
| Painting exterior surfaces of External Wall, | m2 | 16.77 |  |  | 0
| Painting interior surfaces Wall, | m2 | 16.77 |  |  | 0 |  | 143.2
| Painting Soffit of slab (Ceiling) | m2 | 2.4 |  |  | 0 | #REF! | #REF!
BILL No: 07 - PAINTING
| TOTAL OF BILL No: 07 - Carried over to summary |  |  |  |  | 0
BILL No: 08
METAL WORK
8.1 | General
(a) Rates shall include for ; all labour in framing, cutting, welding, cleats, baseplates, flanges,screws, nails, bends, and similar complete with grinding, surface smoothening and polish finishes.
8.2 | RAILING
8.2.1 | GROUND FLOOR
1 ) | Railing - Ramp | no
| Supply, Fabrication and Fixing S.S.Railing -Ramp as per details | item | 1 |  |  | 0
BILL No: 08 - METAL WORK
| TOTAL OF BILL No: 08 - Carried over to summary |  |  |  |  | 0
BILL No: 09
ELECTRICAL INSTALLATIONS
9.1 | General
(a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates shall include for electrical conduits, fittings, equipment and similar all fixings to various building surfaces and also all elecetrical work shall be carried out according to STELCO standards and specifications.
(d) Each Light/ light fixture and its switch is measured as one one point; similarly each fan or each socket outlet is measured as one point;
(e) Rates shall include for supply and complete installation , fittings and fixtures.
9.2 | GROUND FLOOR
9.2.1 | ELECTRIC BOARDS & CONNECTION |  |  |  |  | 0
a | Supply and Installation of STELCO approved Panel board to the lift with connection to the building main grid | nos | 1 |  |  | 0
0
9.2.2 | ELECTRIC FIXTURES |  |  |  |  | 0
| Ceiling Light (12W) | nos | 1 |  |  | 0
| Light Switch (1 Gang ) | nos | 1 |  |  | 0
| 13A Power Socket in Weatherproof Polycarbonate Enclosure | nos | 1 |  |  | 0
| 15A Socket In Polycarbonate Box | nos | 1 |  |  | 0
| Distribution Board | nos | 1 |  |  | 0
9.2.3 | ELECTRICAL WIRING |  |  |  |  | 0
1 ) | 1.5mm2 Wiring to Light Points | points | 2 |  |  | 0
2 ) | 2.5mm2 Wiring to Power Points | points | 2 |  |  | 0
3 ) | Wiring to Lift Panel board as specified by lift manufacturer | points | 1
4 ) | 16mm2 Cabling to DBs | item | 1 |  |  | 0
9.3.0 | FIRST FLOOR
9.3.1 | ELECTRIC FIXTURES |  |  |  |  | 0
| Ceiling Light (12W) | nos | 1 |  |  | 0
| Light Switch (1 Gang ) | nos | 1 |  |  | 0
| 13A Power Socket in Weatherproof Polycarbonate Enclosure | nos | 1 |  |  | 0
9.3.2 | ELECTRICAL WIRING |  |  |  |  | 0
1 ) | 1.5mm2 Wiring to Light Points | points | 2 |  |  | 0
2 ) | 2.5mm2 Wiring to Power Points | points | 1 |  |  | 0
9.4.0 | SECOND FLOOR
9.4.1 | ELECTRIC FIXTURES |  |  |  |  | 0
| Ceiling Light (12W) | nos | 1 |  |  | 0
| Light Switch (1 Gang ) | nos | 1 |  |  | 0
| 13A Power Socket in Weatherproof Polycarbonate Enclosure | nos | 1 |  |  | 0
9.4.2 | ELECTRICAL WIRING |  |  |  |  | 0
1 ) | 1.5mm2 Wiring to Light Points | points | 2 |  |  | 0
2 ) | 2.5mm2 Wiring to Power Points | points | 1 |  |  | 0
BILL No: 09 - ELECTRICAL INSTALLATIONS
| TOTAL OF BILL No: 09 - Carried over to summary |  |  |  |  | 0
BILL No: 10
LIFT & INSTALLATION
10.1 | GENERAL
a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
b) Rate shall include for electrical conduits, fittings, equipment and similar all fixings
c) Rate shall include for all necessary electrical wiring and accessaries required for completion of lift installation.
10.2 | LIFT
| Supply and installation of Complete Lift (Machine room less,Passenger elevator, capacity 6 person), serving all levels ( groun,1st floor and 2nd floor) as per manufacturer's instructions. | no | 1 |  |  | 0
BILL No: 10 - FIRE FIGHTING SYSTEM
| TOTAL OF BILL No: 10 - Carried over to summary |  |  |  |  | 0
BILL No: 11
ADDITIONS
11.1 | General
Provision to include quantities as per the drawing which is missed in the bill of quantities.
0
BILL No: 11 - ADDITIONS
| TOTAL OF BILL No: 11 - Carried over to summary |  |  |  |  | 0
BILL No: 12
OMISSIONS
12.1 | General
Provision to remove the excess quantity given in the bill quantities if any as per the drawing details
0
BILL No: 12 - OMISSIONS
| TOTAL OF BILL No: 12 - Carried over to summary |  |  |  |  | 0