## cover page
BILL OF QUANTITIES
PROJECT:
PROPOSED EXTENSION
HULHUMALE HOSPITAL
February, 2021

## summary
SUMMARY OF BILL OF QUANTITIES
Proposed extension, Hulhumale Hospital
Bill No | Description | Amount
1 | PRELIMINERIES | 0
2 | GROUND WORK | 0
3 | CONCRETE | 0
4 | MASONRY, PLASTERING AND FLOORING | 0
5 | WOOD WORKS | 0
6 | DOORS AND WINDOWS | 0
7 | FINISHES | 0
8 | CIELINGS | 0
9 | PAINTING | 0
| GRAND TOTAL | 0

## premilinaries
Item | Description | Unit | Qty | Total
BILL No: 01
PRELIMINARIES
1.1 | General Notes
(1) | Abbreviations
m - metre
No - numbers
m3 - cubic metre
m2 - square metre
Lm - Linear metre
t - tonnes
incl - including
mm - millimetre
dia - diameter
SS - Stainless steel
GI - Galvonized iron
1.2 | Site Management Costs
(1) | Allow for all on and off site management cost including costs of forman and
| assistants,temporary services, telephone, fax, hoardings and similar | item | 1 | 0
1.3 | Sign Board
(1) | Allow for sign boards | item | 1 | 0
1.4 | Clean-up
(1) | Allow for clean-up of completed works and site upon completion. | item | 1 | 0
BILL No: 01 - PRELIMINERIES
| TOTAL OF BILL No: 01 - Carried over to summary |  |  | 0

## ground works
Item | Description | Unit | Qty | Total
BILL No: 02
GROUND WORKS
2.1 | General
(a) Rates shall include for: levelling, Grading, Trimming,Compacting to faces of
excavation, keeping sides plumb,backfilling, consolidating and disposing surplus
soil.
2.2 | Precautionary Work
(1) | Allow fo precautionary measures for existing building foundation up to 1200mm
| depth. | m2 | 54.312 | 0
2.3 | Excavation
(a) Excavation quantities are measured to the faces of concrete members. Rates
shall include for all additional excavation required to place the formwork.
Excavation for
(1) | Foundation Pad F1 | m3 | 8.64 | 0
(2) | Foundation Pad F2 | m3 | 16.46 | 0
(3) | Foundation Pad F3 | m3 | 3.6 | 0
(4) | Tie Beam TB1 | m3 | 16.45 | 0
(5) | Stair Foundation | m3 | 3.9 | 0
2.4 | Back filling
(a) Rates shall include for levelling, grading, trimming and compacting.
(1) | Backfilling to get level of 1200mm below G.L | item | 1 | 0
(2) | Minimum 150mm thick hardcore on compacted ground | item | 1 | 0
BILL No: 02 - GROUND WORKS
| TOTAL OF BILL No: 02 - Carried over to summary |  |  | 0

## concrete
Item | Description | Unit | Qty | Total
BILL No: 03
CONCRETE
3.1 | General
(a) Rates shall include for: placing in position; making good after removal of
formwork and casting in all required items to conform to structural and excavated
tolerences
(b) Rates shall include supply of all formwork item including form oil, timber,
plywood, nails etc.
(c) Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be
1:2:6 by volume.
(1) | Allow for concrete testing | item | 1 | 0
3.2 | Preparation for Foundation
(a) Quantity is measured to the edges of concrete foundation memebers. Rates
shall be inclusive of any additional concrete required to place the formwork.
3.2.1 | 50mm thick lean concrete to bottom of
(1) | Foundation Pad F1 | m3 | 0.22 | 0
(2) | Foundation Pad F2 | m3 | 0.49 | 0
(3) | Foundation Pad F3 | m3 | 0.15 | 0
(4) | Foundation Pad F4 | m3 | 0.11 | 0
(5) | Foundation Pad F5 | m3 | 0.14 | 0
(6) | Foundation Pad F6 | m3 | 0.13 | 0
(7) | Tie Beam TB1 | m3 | 0.79 | 0
(8) | Tie Beam TB2 | m3 | 0.1 | 0
(9) | Stair Foundation | m3 | 0.02 | 0
3.3 | Reinforced Concrete
In-situ reinforced concrete to:
3.3.1 | Foundation level
(1) | Foundation Pad F1 | m3 | 0.86 | 0
(2) | Foundation Pad F2 | m3 | 1.96 | 0
(3) | Foundation Pad F3 | m3 | 0.6 | 0
(4) | Foundation Pad F4 | m3 | 0.46 | 0
(5) | Foundation Pad F5 | m3 | 0.58 | 0
(6) | Foundation Pad F6 | m3 | 0.51 | 0
(7) | Tie Beam TB1 | m3 | 5.51 | 0
(8) | Tie Beam TB2 | m3 | 0.91 | 0
(9) | Raft | m3 | 2.06 | 0
(10) | Stair Foundation | m3 | 0.17 | 0
3.3.2 | Ground floor
Columns
(1) | Columns C1, 300x200 | m3 | 0.75 | 0
(2) | Columns C2, 300x200 | m3 | 0.75 | 0
(3) | Columns C3, 250x200 | m3 | 1.25 | 0
(4) | Columns C5, 300x250 | m3 | 0.36 | 0
(5) | Columns C6, 300x250 | m3 | 0.36 | 0
Stair
(5) | Stair | m3 | 1.41 | 0
3.3.3 | First floor
Columns
(1) | Columns C1, 300x200 | m3 | 0.72 | 0
(2) | Columns C2, 300x200 | m3 | 0.29 | 0
(3) | Columns C3, 250x200 | m3 | 1.2 | 0
(4) | Columns C4, 300 | m3 | 0.84 | 0
(5) | Columns C5, 300x250 | m3 | 0.27 | 0
(6) | Columns C6, 300x250 | m3 | 0.27 | 0
Slabs
(5) | Concrete slab, 130mm thick | m3 | 11.87 | 0
Attached beams
(6) | Beam B1, 400x200 | m3 | 1.13 | 0
(7) | Beam B2, 400x200 | m3 | 0.37 | 0
(8) | Beam B3, 350x200 | m3 | 2 | 0
(9) | Beam B4, 350x200 | m3 | 0.75 | 0
(10) | Beam B5, 300x200 | m3 | 0.17 | 0
(11) | Beam B7, 450x250 | m3 | 1.68 | 0
3.3.4 | Roof level
Slabs
(1) | Concrete slab, 130mm thick | m3 | 11.87 | 0
(2) | Roof slab, 130mm thick | m3 | 0.76 | 0
Attached beams
(3) | Beam B1, 400x200 | m3 | 1.5 | 0
(4) | Beam B2, 400x200 | m3 | 0.65 | 0
(5) | Beam B3, 350x200 | m3 | 1.02 | 0
(6) | Beam B4, 350x200 | m3 | 0.75 | 0
(7) | Beam B5, 300x200 | m3 | 0.17 | 0
(8) | Beam B6, 300x200 | m3 | 0.68 | 0
(9) | Beam B8, 450x250 | m3 | 0.77 | 0
3.3.5 | Lift hoistway
(1) | 150x150mm thick lit hoistway | m3 | 12.28 | 0
3.4 | Reinforcement
(a) Rates shall include for: cleaning, fabrication,placing,the provision for all
necessary temporary fixings and supports including tie wire and chair supports,
laps and wastage
(b) All reinforcing bars shall be high strength bars
3.4.1 | Foundation Level
(1) | 10mm dia. Bars in Foundation Pad F1 | m | 125.68 | 0
(2) | 10mm dia. Bars in Foundation Pad F2 | m | 279.02 | 0
(3) | 10mm dia. Bars in Foundation Pad F3 | m | 114.18 | 0
(4) | 10mm dia. Bars in Foundation Pad F4 | m | 100.32 | 0
(5) | 10mm dia. Bars in Foundation Pad F5 | m | 127.16 | 0
(6) | 10mm dia. Bars in Foundation Pad F6 | m | 112.2 | 0
(7) | 16mm dia. Bars in Tie Beam TB1 | m | 394.51 | 0
(8) | 6mm dia. Bars in Tie Beam TB1 | m | 492.77 | 0
(9) | 16mm dia. Bars in Tie Beam TB2 | m | 107.32 | 0
(10) | 12mm dia. Bars in Tie Beam TB2 | m | 53.66 | 0
(11) | 6mm dia. Bars in Tie Beam TB2 | m | 125.2 | 0
(12) | 12mm dia. Bars in Raft | m | 258.72 | 0
(13) | 12mm dia. Bars in Stair Foundation | m | 55.01 | 0
(14) | 10mm dia. Bars in Stair Foundation | m | 12.34 | 0
3.4.2 | Ground floor
(1) | 16mm dia. Bars in C1 | m | 76.08 | 0
(2) | 6mm dia. Bars in C1 | m | 52.38 | 0
(3) | 12mm dia. Bars in C2 | m | 75.75 | 0
(4) | 6mm dia. Bars in C2 | m | 52.38 | 0
(5) | 12mm dia. Bars in C3 | m | 101.76 | 0
(6) | 6mm dia. Bars in C3 | m | 87.3 | 0
(7) | 20mm dia. Bars in C5 | m | 31.68 | 0
(8) | 6mm dia. Bars in C5 | m | 47.52 | 0
(9) | 16mm dia. Bars in C6 | m | 31.68 | 0
(10) | 6mm dia. Bars in C6 | m | 47.52 | 0
(11) | 10mm dia. Bars in stair | m | 77.08 | 0
(12) | 12mm dia. Bars in stair | m | 152.64 | 0
3.4.3 | First floor
(1) | 16mm dia. Bars in C1 | m | 73.35 | 0
(2) | 6mm dia. Bars in C1 | m | 50.58 | 0
(3) | 12mm dia. Bars in C2 | m | 31.68 | 0
(4) | 6mm dia. Bars in C2 | m | 47.52 | 0
(5) | 12mm dia. Bars in C3 | m | 98.04 | 0
(6) | 6mm dia. Bars in C3 | m | 84.3 | 0
(7) | 12mm dia. Bars in C4 | m | 129.32 | 0
(8) | 6mm dia. Bars in C4 | m | 52.65 | 0
(9) | 20mm dia. Bars in C5 | m | 31.68 | 0
(10) | 6mm dia. Bars in C5 | m | 47.52 | 0
(11) | 16mm dia. Bars in C6 | m | 31.68 | 0
(12) | 6mm dia. Bars in C6 | m | 47.52 | 0
(13) | 12mm dia. Bars in B1 | m | 136.74 | 0
(14) | 6mm dia. Bars in B1 | m | 88.55 | 0
(15) | 16mm dia. Bars in B2 | m | 33.264 | 0
(16) | 12mm dia. Bars in B2 | m | 11.088 | 0
(17) | 6mm dia. Bars in B2 | m | 40.656 | 0
(18) | 12mm dia. Bars in B3 | m | 203.49 | 0
(19) | 6mm dia. Bars in B3 | m | 108.41 | 0
(20) | 12mm dia. Bars in B4 | m | 59.21 | 0
(21) | 6mm dia. Bars in B4 | m | 51.27 | 0
(22) | 12mm dia. Bars in B5 | m | 15.5 | 0
(23) | 6mm dia. Bars in B5 | m | 12.59 | 0
(24) | 20mm dia. Bars in B7 | m | 98.8 | 0
(25) | 16mm dia. Bars in B7 | m | 49.4 | 0
(26) | 6mm dia. Bars in B7 | m | 285.43 | 0
(27) | 10mm dia. Bars in floor slab | m | 2981.09 | 0
3.4.4 | Roof level
(1) | 12mm dia. Bars in B1 | m | 174.04 | 0
(2) | 6mm dia. Bars in B1 | m | 100.68 | 0
(3) | 16mm dia. Bars in B2 | m | 53.66 | 0
(4) | 12mm dia. Bars in B2 | m | 17.89 | 0
(5) | 6mm dia. Bars in B2 | m | 65.58 | 0
(6) | 12mm dia. Bars in B3 | m | 107.58 | 0
(7) | 6mm dia. Bars in B3 | m | 58.51 | 0
(8) | 12mm dia. Bars in B4 | m | 59.21 | 0
(9) | 6mm dia. Bars in B4 | m | 51.27 | 0
(10) | 12mm dia. Bars in B5 | m | 15.5 | 0
(11) | 6mm dia. Bars in B5 | m | 12.59 | 0
(12) | 12mm dia. Bars in B6 | m | 59.03 | 0
(13) | 6mm dia. Bars in B6 | m | 23.21 | 0
(14) | 16mm dia. Bars in B8 | m | 67.72 | 0
(15) | 6mm dia. Bars in B8 | m | 130.42 | 0
(16) | 10mm dia. Bars in floor slab | m | 2981.09 | 0
(17) | 10mm dia. Bars in roof slab | m | 218.24 | 0
3.5 | Other concrete works
(a) Rates shall include for: concrete, formwork,reinforcement & finish as
specified and shown on the drawings.
3.5.1 | Water proofing
Rates shall include for: dressing around and sealing to all penetrations
(1) | Apply 2 coat slurry type water proofing to all surfaces of concrete below ground
| level in accordance with manufacturer's instructions. | m2 | 236.52 | 0
(2) | Water proofing membrane terrace and roof slab accordance with manufacturer's
| instructions. | m2 | 117.91 | 0
BILL No: 03 - CONCRETE WORKS
| TOTAL OF BILL No: 03 - Carried over to summary |  |  | 0

## masonry, plastering & flooring
Item | Description | Unit | Qty | Total
BILL No: 04
MASONRY, PLASTERING AND FLOORING
4.1 | GENERAL
(a) Rates shall include for: cleaning out cavities, forming rebated reveals and pointing
and cleaning down to reveals where necessary; fractional size blocks, all necessary
machine cutting, cutting or forming chases or edges of floor slabs, cutting or leaving
holes and openings as recesses for and building in pipes, conduits, sleeves and
similar as required for all trades; leaving surfaces rough or raking out joints for
plastering and flashings, bedding frames or plates, building in joists, bearers or
similar,temporary supports to openings, templates, reinforcement in walls and for all
necessary making good
4.2 | Cement blockwork
4.2.1 | 150mm wide solid blocks, laid on and incl. mortar, tie rods, compression joint gap
filler, plastic wire mesh as specified
(external walls)
(1) | Roof Level | m2 | 54.11 | 0
4.2.2 | 150mm wide hollow blocks, laid on and incl. mortar, tie rods,tie rods, compression
joint gap filler, GI wire mesh as specified
(internal walls)
(1) | Ground Floor | m2 | 27.33 | 0
(2) | First Floor | m2 | 16.57 | 0
4.3 | Plastering
(a) Cement plastering on walls and concrete surfaces as specified incl. wire mesh at
the joints of concrete surfaces and walls and water proofing additives / admixtures for
all surfaces
4.3.1 | Plaster on exterior surfaces of walls (2 coat)
(1) | External walls | m2 | 216.44 | 0
(2) | External concrete surfaces | m2 | 83.6 | 0
4.3.2 | Plaster on interior surfaces of walls (1 coat)
(1) | Internal walls | m2 | 87.8 | 0
4.4 | Cement Screed
4.4.1 | 35mm thick rough screed slab. Rates shall include for water proofing for toilet floor
areas and terrace floor in addition to concrete water proofings.
(1) | Ground Floor | m2 | 104.04 | 0
(2) | First Floor | m2 | 105.4 | 0
(3) | Roof Level | m2 | 112.03 | 0
BILL No: 04 - MASONRY, PLASTERING AND FLOORING
| TOTAL OF BILL No: 04 - Carried over to summary |  |  | 0

## wood works
Item | Description | Unit | Qty | Total
BILL No: 05
WOOD WORK
5.1 | General
(a) Rates shall include for: all labour in framing, notching and fitting around projections,
pipes, light fittings, hatches, grilles and similar and complete with cleats, packers,
wedges and similar and all nails and screws.
5.2 | Ceiling framework
5.2.1 | Timber framework for gypsum board ceilings. Rates shall include for all bolts, screws,
| washers, angled fixtures | m2 | 209.44 | 0
BILL No: 05 - WOOD WORK
| TOTAL OF BILL No: 05 - Carried over to summary |  |  | 0

## doors & windows
Item | Description | Unit | Qty | Total
BILL No: 06
DOORS AND WINDOWS
6.1 | General
(a) Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick
plates, hinges and all door & window hardware.
(b) Rates shall include for door frames and window frames,
mullions, transoms, trims, glazing, tinting, timber panels,boardings, framing, lining,
fastenings and all fixings and insallation.
(c) Glazing marked as Powder coated Aluminium to be with 60 micron anodised
aluminium in metallic silver finish with 6mm green tinted clear glass as specified in the
drawing.
(d) Rates shall include for door and window jamb as specified in the drawing
(e) All doors and windows shall be as specified in the drawing
(f) Rates shall include for all painting as specified
(g) All fire doors shall have at least 1hr fire rating
6.2 | Glass Cladding
(1) | Reflective blue glass cladding | item | 1 | 0
BILL No: 06 - DOORS AND WINDOWS
| TOTAL OF BILL No: 06 - Carried over to summary |  |  | 0

## finishes
Item | Description | Unit | Qty | Total
BILL No: 07
FINISHES
7.1 | General
(a) Rates shall include for: fixing, bedding, grouting and pointing materials; making
good around pipes, sanitary fixtures and similar; cleaning down and polishing.
7.2 | Floor finish
7.2.1 | 600x600 homogeneous floor tile finish on the floor
(a) Rates shall include for 600x100 tile skirting of the same design and type or matching
one.
(1) | Ground Floor | m2 | 104.04 | 0
(2) | First Floor | m2 | 105.4 | 0
7.2.2 | 300x300 Non-slip ceramic outdoor floor tile finish on the floor
(a) Rates shall include for 300x100 tile skirting of the same design
and type or matching one.
(1) | Roof Level | m2 | 112.03 | 0
7.3 | Tile finish for stairs
7.3.1 | 200x200 homogenous non skid step tiles with nosing (staircase)
(1) | Ground Floor | item | 1 | 0
BILL No: 07 - FINISHES
| TOTAL OF BILL No: 07 - Carried over to summary |  |  | 0

## ceilings
Item | Description | Unit | Qty | Total
BILL No: 08
CEILINGS
8.1 | Gypsum ceilings
9mm gypsumd board ceiling on concealed timber framework including trimming, nails,
screws and other fixings.
(1) | Ground Floor | m2 | 104.04 | 0
(2) | First Floor | m2 | 105.4 | 0
BILL No: 08 - CEILINGS
| TOTAL OF BILL No: 08 - Carried over to summary |  |  | 0

## painting
Item | Description | Unit | Qty | Total
BILL No:09
PAINTING
9.1 | General
(a) Rates shall include for: the provision, erection and removal of scaffolding,
preparation, rubbing down between coats and similar work, the protection and / or
masking floors, fittings and similar work, removing and replacing door and window,
furniture.
(b) All painting work shall be in accordance with the
specifications
10.2 | Walls
10.2.1 | Emulsion paint finish on plastered (exterior walls)
(1) | Roof Level | m2 | 108.22 | 0
10.2.2 | Emulsion paint finish on plastered (interior walls)
(1) | Ground Floor | m2 | 54.66 | 0
(2) | First Floor | m2 | 33.14 | 0
10.2.3 | Emulsion paint finish or approved equivalent on plastered concrete surfaces | m2 | 41.8 | 0
BILL No: 09 - PAINTING
| TOTAL OF BILL No: 09 - Carried over to summary |  |  | 0