## Cover
13
13.3 | TOTAL OF BILL NO.13 (ELECTRICAL INSTALLATIONS) Carried over to the summary sheet
BILL OF QUANTITIES
PROJECT: KANDOODHOO SCHOOL
CLIENT: MINISTRY OF EDUCATION

## Summary sheet
SUMMARY OF BILL OF QUANTITIES
Item | Bill name | Description | Rate | %
1 | Total of Bill no.1 | Preliminaries
2 | Total of Bill no.2 | EXCAVATION AND FILLING
3 | Total of Bill no.3 | Concrete works
4 | Total of Bill no.4 | Masonry and plastering
5 | Total of Bill no.5 | Roof works
6 | Total of Bill no.6 | Ceiling
7 | Total of Bill no.7 | Doors and windows
8 | Total of Bill no.8 | Tiling
9 | Total of Bill no.9 | Painting
10 | Total of Bill no.10 | Plumbing Works
11 | Total of Bill no.11 | STAIRS, WALKWAYS AND BALUSTRADES
12 | Total of Bill no.12 | Electrical installation
13 | Total of Bill no.13 | FIRE SYSTEM
14 | Total of Bill no.14 | Additions
15 | Total of Bill no.15 | Omissions
TOTAL
13
13.3 | TOTAL OF BILL NO.13 (ELECTRICAL INSTALLATIONS) Carried over to the summary sheet

## BOQ
Bill No: 01 PRELIMINARIES
Item | Description | Qty | Unit | Rate | Amount
1.1 | General Notes
1.1.0 | Abbreviations
m - meter no - numbers m3 - cubic meter m2 - square meter lm - linear meter kg - kilograms incl - including mm - millimeter dia - diameter ss - stainless steel gi - galvanised iron
1.2 | Site Management Costs
1.2.0 | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone, fax, hoardings & similar. | 1 | item
1.3 | Sign Board
1.3.0 | Allow for sign board | 1 | no
1.4 | Clean up
1.4.0 | Allow for clean up of completed works and site upon completion | 1 | item
TOTAL
1.5 | TOTAL OF BILL NO.1 (PRELIMINARIES) Carried over to the summary sheet
Bill №: 02 - EXCAVATION AND FILLING
Item | Description | Qty | Unit | Rate | Amount
2.1 | General Notes
2.1.0 | (a) Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating, and disposing surplus soil.
2.2 | Site clearing
2.2.1 | Clear the area of site from rubbish and vegetable matters, stumps, roots. Rates shall include for removal of trees and tree stumps and disposal of such materials | 1 | item
TOTAL
2.3 | TOTAL OF BILL NO.2 (GROUND WORKS) Carried over to the summary sheet
Bill No: 03 CONCRETE WORKS
Item | Description | Qty | Unit | Rate | Amount
3.1 | General Notes
(a) Rates shall include for: placing in position, making good after removal of formwork, mortar touch up to all concrete and casting in all required items; additional concrete required to conform to structural and excavated tolerances
(b) Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:2:6.
(c) All structural concrete shall be GRADE M25 and lean concrete shall be GRADE M15
(d) Rates shall include for: concrete, formwork, reinforcement, cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wires and chair supports, laps, distribution bars and wastage.
(e) Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes and removal of formwork.
(f) Rates shall include for: cleaning, fabrication, placing the provision for all necessary temporary fixings and supports including tie wires and chair supports, laps, distribution bars and wastage.
(g) Slab soffits to be finished fairfaced, use plasteciser and formwork with reducing agent.
(h) All exposed & external concrete members shall be casted with Masterpel 777 or equivalent water proofing chemical.
(i) Rate shall include for applying 2 coats of waterproofing chemical to substructure.(Below ground level)
3.1.0
3.2 | Testing
3.2.1 | Allow for concrete testing | 1 | item
3.5 | SLABS
3.5.1 | 100 mm thk Concrete Slab on ramp | m3 | 0.85
3.5.2 | 100 m thk lean concrete (Ramp foundation ) | m3 | 0.11
TOTAL
3.9 | TOTAL OF BILL NO.3 (CONCRETE WORKS) Carried over to the summary sheet
Bill No: 04 MASONRY AND PLASTERING
Item | Description | Qty | Unit | Rate | Amount
4.1 | General Notes
(a)Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leavingholes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashing, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good.
4.2 | BLOCK WORK
Cement block wall, bricks laid to form alternate courses of headers and stretchers, laid on and inc. mortar. (BELOW GROUND)
150 mm Thk (Ramp foundation masonry wall)
| BELOW GROUND | m2 | 13.5
4.3 | Plastering
External walls
4.3.0 | Ground floor (Remaining Rectification work) | 1 | Item
Internal walls
150mm thick solid block masonry wall (local sand), 16mm plastering
4.3.1 | Ground floor (Remaining Rectification work) | 1 | Item
4.4 | Floor screed
Ground floor
4.4.0 | 50mm thick screed class rooms (Rectification work ) | 1 | Item
4.5 | Window size correction as specified in drawing (Rectification work) | 1 | Item
TOTAL Carried over to the summary sheet
4.4 | TOTAL OF BILL NO.4 (MASONRY AND PLASTERING) Carried over to the summary sheet
Bill No: 05 ROOF WORKS
Item | Description | Qty | Unit | Rate | Amount
5.0 | General
Rates shall include for: fair edges, dressing over angel fillets, roof sealant, turning into grooves, all other labours, circular edges, nails, screws and other fixings and laps.
5.1 | Roof Covering
5.1.2 | 65x200 fascia board | 56.6 | m
5.1.3 | 50mm mineral wool insulation in bet. C-Sections (Rectification work) | 1 | Item
5.1.4 | 200 x 200mm Zinc Gutter | 56.6 | m
5.1.5 | PVC mesh below the mineral wool insulation | 1 | Item
5.1.6 | Epoxy coating on C- section 'C' Purlins | 1 | Item
5.1.7 | Rust removal chemical to applied on truss GI pipes | 1 | Item
TOTAL Carried over to the summary sheet
5.2 | TOTAL OF BILL NO.5 (ROOF WORKS) Carried over to the summary sheet
Bill No: 06 CEILING
Item | Description | Qty | Unit | Rate | Amount
6.0 | General Notes
Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
6.1 | Ceiling
6.1.1 | 6mm THICK CEMENT BOARD CEILING WITH TIMBER FRAMES (ONE COAT OF PUTTY FOLLOWED BY SEALER AND 2 COATS OF PAINT) | 83.5 | m²
6.1.2 | 9mm THICK FIXED CEILING 'BORAL' OR EQUIVALENT PLASTERBOARD CEILING SYSTEM WITH TIMBER FRAMES, APPLIED WITH GROUND SMOOTH FINISH IN SELECTED PAINT | 158.43 | m²
TOTAL
6.2 | TOTAL OF BILL NO. 6 (CEILING WORKS) Carried over to the summary sheet
Bill No: 07 DOORS AND WINDOWS
Item | Description | Qty | Unit | Rate | Amount
7.0 | General Notes
(a) Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
(b) Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings.
(c) Sizes are given overall outside dimensions of actual doors and windows.
(d) Thickness and sizes of glass panels are shown on the Drawings and doors and windows schedule.
(e) Rates shall include for all painting as specified
(f) Rates shall include all items specified in the door schedule and specification.
(g) Frames and sashes to be 25-60 micron white powder coated aluminium other wise specified.
7.1 | Door units
7.1.1 | Ground floor
7.1.2 | D1 - 50mm thk powder coated (60 microns) aluminum framed w/ aluminum panel and clear glass (1000x1150) | 6 | no
7.2 | Window units
7.2.1 | Ground floor
7.2.2 | W1 - 50mm thk powder coated (60 microns) aluminum framed w/ aluminum panel and clear glass (1575x1100) | 6 | no
7.2.3 | W2 - 50mm thk powder coated (60 microns) aluminum framed w/ aluminum panel and clear glass (2450x1450) | 6 | no
TOTAL
7.3 | TOTAL OF BILL NO.7 (DOORS AND WINDOWS) Carried over to the summary sheet
Bill No: 08 TILING
Item | Description | Qty | Unit | Rate | Amount
8.0 | General Notes
(a) Rates shall include for: fixing, bedding, grouting, and pointing materials; making good around pipes, sanitary fixtures, and similar; cleaning down and polishing. (b) Tiles approved manufacture fixed with adhesive on and including cement / sand screed with all accessories in accordance with Engineer approvel (c) "Masterseal 550" or equivalent should be applied on top of screeds .
8.1 | Floor tiling
8.1.1 | 600X600mm HOMOGENOUS NON-SLIP TILES OVER 50mm SCREEDING | 162.1 | m²
8.1.2 | SKIRTING
120-150 mm high Homogenous tile skirting
| GROUND FLOOR | 81.79 | m
TOTAL
8.2 | TOTAL OF BILL NO.8 (TILING) Carried over to the summary sheet
Bill No: 9 PAINTING
Item | Description | Qty | Unit | Rate | Amount
9.0 | Walls
a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, wall putty application, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door & window furniture.
(b) All painting work shall be carried in accordance with the Specifications.
9.0.1 | External painting 1 coat of wall sealer, & 2 coats of paints | 243 | m²
9.0.2 | Emulsion paint putty finish system on plastered and concrete surfaces of internal walls. | 241.92 | m²
9.2 | Ceilings
9.2.1 | Applied with ground smooth finish in selected paint | 176.5 | m²
9.3 | Floor paint
a) Epoxy floor paint
9.3.1 | Self levelling cement floor screed with epoxy floor paint corridor area | 61.63 | m²
TOTAL
9.4 | TOTAL OF BILL NO.9 (PAINTING) Carried over to the summary sheet
Bill No: 10 PLUMBING WORKS
Item | Description | Qty | Unit | Rate | Amount
10 | General
(a) Rates shall include for sockets, running joints, connectors, elbows, junctions, valves, reducers, expansion joints, backnuts and similar, incidental fitting, clips saddles, brackets, straps, hangers, screws, nails and fixing complete, including cutting and forming holes, excavating, laying pipes and backfilling trenches.
(b)All pipe work and fittings shall be high pressure PVC.
(c) Rates shall include for supply and fixing of all pipes.
(d) All sanitary fixtures used shall be of superior quality and approved by the architect/consultant on submission of samples.
10.1 | Roof Drainage
10.1.2 | 82Ø RWP | 1 | Item
TOTAL
10.2 | TOTAL OF BILL NO.10 PLUMBING WORKS Carried over to the summary sheet
Bill No: 11 STAIRS, WALKWAYS AND BALUSTRADES
Item | Description | Qty | Unit | Rate | Amount
11 | GENERAL
(a) Rates shall include for: all fabrication work, welding, marking, drilling for bolts incl. those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
(b) Rates shall include for fabrication and erection and temporary supports and fixing into position.
11.1.1 | 50mm dia SS hollow pipe handrail at 900mm height as per drawing
| RAMP | 9.8 | m
TOTAL
11.2 | TOTAL OF BILL NO.11 STAIRS, WALKWAYS AND BALUSTRADES Carried over to the summary sheet
Bill No: 12 ELECTRICAL INSTALLATION
Item | Description | Qty | Unit | Rate | Amount
12 | POINT WIRING AND FITTINGS
(a) Design, provide and install electrical network for the entire building complete in accordance to standards set by the local governing body STELCO/FENAKA
(b) The following items and description and the drawings are given as a guidance as to the nature of the information required to be returned by the contractor. Should they not be appropriate the contractor should provide a similar BOQ using the Additions/Ommisions sheets provided at the back of this BOQ.
(c) The cost shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
(d) Rate shall include for necessary chasings, trenching, conduits, cables, cable trays, fittings and clips, cutting holes and chases in brick work/ block work/ concrete work complete with all necessary accessories such as sockets, connections, cable glands and boxes, hardware clips, soldering and jointing materials etc., for proper installing and laying of cables.
(e)Rates for electrical isolators, conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces.
(f) A light fixture is measured as one point; switch end of wire is not included in the quantity.
(g) A point wiring for power points is measured (regardless of 1 gang, 2 gang etc) as one point for each socket outlet; other end of wire is not included in the quantity.
(h) All under ground cables directly buried in ground/run in trenches to be properly laid and covered with cable tiles/trench covers. Rate for under ground cables shall include for all necessary excavation, sand layers, concrete tiles, warning strips and back filling with approved quality earth properly compacted, hot dipped galvenized brackets for trenches, accessories, etc as applicable.
(i) The contractors are requested to refer Conditions of Contract, Special Conditions of Contract, Drawings and Specification and other relevant documents related to this tender prior to pricing of the following items
(j) The contractor shall provide a schedule of all builder's work in connection with details of such items as necessary, along with the tender.
(k) Rates for materials/ plants/ equipments not approved for duty free facilities to be quoted on duty paid basis.
(l) All equipments shall be guaranteed for a period of 12 months from the date of commissioning or date of practical completion of the project which ever later
(m) The rate shall include for insurance during handling, rehandling, transport, storage until ready for installation, delivery of equipments up to the point of installation and until handing over.
(m) The rates shall include for comprehensive maintenance during defects liability period of 12 months from the date of handing over
(n) The tenderer shall submit the following information on the items/equipments quoted for together with the tender.
a. make
b. model No.
c. technical data
d. country of manufacture
e. delivery period
f. lead time for manufacturing.
g. port of shipping
h. CIF value of each item in foreign currency.
j. Optional items and their additional cost. (additional cost
to be submitted separately)
k. Schedule of items to be carried out by others connected to
installation of generators/transformers/Electrical panels
such as some builders work and electrical connection.
l. Details of all special features
m. schedule attached to specification.
Rate for all electrical panels shall include for supply and installation of all necessary MCCBs, MCBS, EFRs, ELCBs, auxiliary contacts, Voltmeters, ammeters, Digital analyser,kWh meters, indicator lamps, selector switches, copper bus bars, inter locks, aligning and grounding of the panel, inter connectors, internal wiring connections to switch gear,steel channels and necessary hardware fixing insulating materials,all in fully enclosed metal clad panels and distribution boards completed as shown in drawing. They shall comply with the specifications andI.E.E.regulations and be complete to working order to the approval of local authorities.
Rate shall include for supply, installation, maintaining, testing and commissioning of the system for power and lighting according to drawings and specifications to working order.
All materials, equipment wiring shall confirm to local codes, specifications, standards/latest I.E.E. regulations ( BS 7671 ).
12.1.0 | Supply and Installation of 2 x 1C 1.5mm2 PVC/PVC/Cu + 2.5mm2 PVC/Cu earth cable c/w uPVC conduit, junction boxes etc. for light point wiring | 13 | no
12.1.1 | Supply and Installation of 2 x 1C 2.5mm2 PVC/PVC/Cu + 2.5mm2 PVC/Cu earth cable c/w uPVC conduit, junction boxes etc. for following Socket outlet/isolator point wiring | 16 | no
12.1.2 | CABLING UP TO MDB
| Cabling from main Electrical source to DB | 1 | Item
12.1.3 | GENERAL EARTHING
| Allow for the total earthing system inclusive of the necessary cables from all the DBs | 1 | Item
12.1.4 | FIXTURES
Rate shall include supply and installation of following lighting fixtures, socket outlets as specified and detailed, fixed in position including all fixing accessories, supports and connect to power, under following conditions
12.1.5 | 1. ICU/ETU/ HDU/ operation theater lights shall be clean room type light fixtures.
2. All out door light fixtures shall be IP65
3. All lamps/fittings shall be supplied by reputed manufacturer and relevent technical specification for each every fittings to be forwarded
4. All switches and sockets shall be ABB or eqivalent brand.
12.1.6 | 40W (IP 65) outdoor wall light | 13 | nr
12.1.7 | LED tube light with opal casing | 24 | nr
12.1.8 | Emergency light | 3 | nr
12.1.9 | Ceiling fan (52" - 54") | 12 | nr
12.1.10 | Light switch (2 G) | 7 | nr
12.1.11 | Light switch (3 G) | 1 | nr
12.1.12 | Light switch (4 G) | 7 | nr
TELEPHONE/NETWORK POINTS
12.1.15 | Two gang TV/SAT socket outlet | 3 | nr
12.1.16 | TWIN COMPUTER NETWORK OUTLET | 3 | nr
12.1.17 | Speakers | 3 | nr
12.1.18 | HDMI, VGA & RAC AV SOCKET | 3 | nr
12.1.19 | HDMI, VGA & RAC AV TWIN SOCKET | 3 | nr
12.1.20 | Internet switch board | 1 | nr
12.1.21 | DATA POINT | 3 | nr
12.2 | Power Layout
1. Rate shall include supply and installation of following lighting fixtures, socket outlets as specified and detailed, fixed in position including all fixing accessories, supports and connect to power, under following conditions
2. All switches & sockets shall be ABB or equivalent brand.
12.2.0 | 13A Power Outlet | 16 | nr
12.2.1 | VGA cable for projector | 3 | nr
Distribution Boards ( DB )
Distribution Panel for each floor as shown on the drawing, complete with all incoming and outgoing MCBs, RCCBs, etc any other item required to working order, wall mounted wall mount steel powder coated, IP44 enclouser with neutral link, earth bar and required accessories, all complete as per the specifications & drawings.
12.2.3 | Distribution Box | 1 | nr
Bill No: 13 FIRE SYSTEM
Item | Description | Qty | Unit | Rate | Amount
13.0 | General Notes
(a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil.
(c) Rates for cable conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces
(d) Rates shall include for: sockets, running joints, connectors, elbows, junctions, reducers, expansion joints; backnuts and similar; incidental fittings, clips, saddles, brackets, straps, hangers, screws, nails and fixing complete, including cutting and forming holes; excavating, laying pipes and backfilling trenches.
(e) All items shall be supply and complete installation.
FIRE ALARM AND FIRE FIGHTING SYSTEM
NOTE: All fire resistant cables shall be enclosed in PVC conduite
| 2Kg Portable Fire Extinguisher, (CO2) | 1 | nr
| 9Liter Portable Fire Extinguisher, (H2O) | 1 | nr
| Exit | 6 | nr
TOTAL
13.3 | TOTAL OF BILL NO.13 (ELECTRICAL INSTALLATIONS) Carried over to the summary sheet
Bill No: 14 ADDITIONS
Item | Description | Qty | Unit | Rate | Amount
14 | General Notes
Include any item that, upon studying given drawing, is observed to be under estimated or missing in the BOQ
TOTAL
TOTAL OF BILL NO.14 (ADDITIONS) Carried over to the summary sheet |  |  |  |  | 0
Bill No: 15 OMISSIONS
Item | Description | Qty | Unit | Rate | Amount
15 | General Notes
Include any item that, upon studying given drawing, is observed to be over estimated in the BOQ
TOTAL
TOTAL OF BILL NO.15 (OMISSIONS) Carried over to the summary sheet |  |  |  |  | 0