## Cover
BILL OF QUANTITIES
ADMIN BLOCK AT Th.BURUNEE SCHOOL
CLIENT : MINISTRY OF EDUCATION, GOVERNEMNT OF MALDIVES

## BOQ Summary
SUMMARY OF BILLS OF QUANTITIES
ADMIN BLOCK AT Th.BURUNEE SCHOOL
| DESCRIPTION | AMOUNT | %
Bill №: 01 - PRELIMINARIES
Bill №: 02 - INSITU CONCRETE WORKS
Bill №: 03 - PARTITION WALL
Bill №: 04 - ROOFING
Bill №: 05 - WINDOWS, SCREENS & LIGHTS
Bill №: 06 - DOORS, SHUTTERS & HATCHES
Bill №: 07 - FLOOR, WALL, CEILING, AND ROOF FINISHINGS
Bill №: 08 - SUSPENDED CEILING
Bill №: 09 - PAINTING & DECORATIONS
Bill №: 10 - HYDRAULICS AND DRAINAGE
Bill №: 11 - MECHANICAL & ELECTRICAL SERVICES
Bill №: 12 - INSULATION, FIRE STOPPING & FIRE PROTECTION
Bill №: 13 - ADDITIONS AND OMMISIONS
TOTAL AMOUNT

## BOQ for tender
0
ADMIN BLOCK AT Th.BURUNEE SCHOOL
Male', Republic of Maldives
BILL OF QUANTITIES
ITEM |  |  |  | DESCRIPTION | UNIT | QTY | MATERIAL RATE | LABOUR RATE | AMOUNT
1.0.00 |  |  |  | Bill №: 01 - PRELIMINARIES
1.1.00 | GENERAL NOTES
Abbreviations
|  |  | m | - metre
|  |  | nr | - numbers
|  |  | m3 | - cubic metres
|  |  | m2 | - square metres
|  |  | m | - linear metre
|  |  | t | - tons
|  |  | inc. | - including
|  |  | mm | - millimetre
|  |  | SS | - stainless steel
|  |  | GI | - galvanized iron
1.2.00 | SITE MANAGEMENT COSTS
|  |  |  | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone, fax, hoardings & similar. | item | 1
1.3.00 | SIGN BOARD
|  |  |  | Allow for sign board. | nr | 1
1.4.00 | CLEAN-UP
|  |  |  | Allow for clean-up upon completion of works. | item | 1
INSURANCE, BONDS, GUARANTEES AND WARRANTIES
|  |  |  | Insurance as stated in the general conditions. | item | 1
1.5.00 | TOTAL OF BILL №: 01 - Carried Over To Summary
2.0.00 |  |  |  | Bill №: 02 - INSITU CONCRETE WORKS
2.1.00 | GENERAL
|  |  | (a) | Rates shall include for: placing in position, making good after removal of formwork, mortar touch up to all concrete and casting in all required items; additional concrete required to conform to structural and excavated tolerances
|  |  | (b) | Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:2:6.
|  |  | (c) | All structural concrete shall be GRADE C30 and lean concrete shall be GRADE C15
|  |  | (d) | Rates shall include for: concrete, formwork, reinforcement, cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wires and chair supports, laps, distribution bars and wastage.
|  |  | (e) | Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes and removal of formwork.
|  |  | (f) | Rates shall include for: cleaning, fabrication, placing the provision for all necessary temporary fixings and supports including tie wires and chair supports, laps, distribution bars and wastage.
|  |  | (g) | All reinforcing bars shall be high strength bars.
|  |  | (h) | Slab soffits to be finished fairfaced, use plasteciser and formwork with reducing agent.
|  |  | (i) | Waterproofing shall be added to all areas specified.
2.2.00 | MASS CONCRETE
2.3.00 | REINFORCED INSITU CONCRETE
2.4.00 | GROUND FLOOR
SLABS
2.4.01 |  |  | 150 | mm thk Concrete Slab on ground (For remaing toilet area) | m3 | 0.8
2.5.00 |  |  |  | TOTAL OF BILL №: 02- Carried Over To Summary
3.0.00 |  |  |  | Bill №: 03 - PARTITION WALL
3.1.00 | GENERAL
|  |  | (a) | Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leavingholes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashing, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good.
3.2.00 | GENERAL
|  |  | (a) | Rates shall include for: fixing, bedding, grouting, and pointing materials; making good around pipes, sanitary fixtures, and similar; cleaning down and polishing.
3.3.00 | BORAL PARTITION WALL
80mm THICK SINGLE LAYERED BORAL PARTITION WALL ( TRACKS, STUDS, M-BOARD, GAP FILLER, PUTTY AND EMULSION PAINT)
|  |  |  | GROUND FLOOR | m2 | 29.59
3.4.00 |  |  |  | TOTAL OF BILL №: 03 - Carried Over To Summary
4.0.00 |  |  |  | Bill №: 04 - ROOFING
4.1.00 | GENERAL
|  |  | (a) | Rates shall include for: fair edges, dressing over angel fillets, roof sealant, turning into grooves, all other labours, circular edges, nails, screws and other fixings and laps.
4.2.00 | GUTTER
4.2.01 | 200 | x | 200 | mm Zinc Aluminium gutter to dimensions specified in the drawing | m | 16.174
4.3.00 | DOWN PIPE
4.3.01 |  |  |  | Zinc Aluminium downpipes to dimensions specified by service engineer | item | 1
4.4.00 |  |  |  | TOTAL OF BILL №: 04 - Carried Over To Summary
5.0.00 |  |  |  | Bill №: 05 - WINDOWS, SCREENS & LIGHTS
5.1.00 | GENERAL
|  |  | (a) | Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
|  |  | (b) | Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings.
|  |  | (c) | Sizes are given overall outside dimensions of actual doors and windows.
|  |  | (d) | Thickness and sizes of glass panels are shown on the Drawings and doors and windows schedule
|  |  | (e) | Rates shall include for all painting as specified
|  |  | (f) | Rates shall include all items specified in the door schedule and specification.
|  |  | (g) | Frames and sashes to be 25-60 micron black powder coated aluminium other wise specified.
5.2.00 | WINDOWS
5.2.01 | 1575 | x | 1100 | W01 - Aluminium sliding window with reflective glass panel on aluminium frame | nr | 3
5.2.02 | 2450 | x | 1100 | W02 - Aluminium sliding window with reflective glass panel on aluminium frame | nr | 6
5.2.03 | 650 | x | 750 | W03 -Window with Aluminium Louvers | nr | 1
5.2.04 | 1476 | x | 1450 | W04 -Aluminium swing window with reflective glass panel on aluminium frame | nr | 2
5.2.05 | 1150 | x | 1450 | W05 - Aluminium swing window with reflective glass panel on aluminium frame | nr | 2
5.3.00 |  |  |  | TOTAL OF BILL №: 05 - Carried Over To Summary
6.0.00 |  |  |  | Bill №: 06 - DOORS, SHUTTERS & HATCHES
6.1.00 | GENERAL
|  |  | (a) | Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
|  |  | (b) | Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings.
|  |  | (c) | Sizes are given overall outside dimensions of actual doors and windows.
|  |  | (d) | Thickness and sizes of glass panels are shown on the Drawings and doors and windows schedule.
|  |  | (e) | Rates shall include for all painting as specified
|  |  | (f) | Rates shall include all items specified in the door schedule and specification.
|  |  | (g) | Frames and sashes to be 25-60 micron black powder coated aluminium other wise specified.
|  |  | (g) | All solid timber doors are teak timber or equivalent.
6.2.00 | DOORS
6.2.01 | 1000 | x | 2300 | D1 - Aluminium panel door on Aluminium frame (single swing) | nr | 7
6.2.02 | 700 | x | 2200 | D2 - PVC frame and panel door (single swing) | nr | 2
6.3.00 |  |  |  | TOTAL OF BILL №: 06 - Carried Over To Summary
7.0.00 |  |  |  | Bill №: 07 - FLOOR, WALL, CEILING, AND ROOF FINISHINGS
7.1.00 | GENERAL
|  |  | (a) | Rates shall include for: fixing, bedding, grouting, and pointing materials; making good around pipes, sanitary fixtures, and similar; cleaning down and polishing.
|  |  | (b) | Cracks on floor screeding to be rectify with propoer repair mortar
7.2.00 | PLASTERING
|  |  | 16 | mm thk cement plaster on internal surface as specified on the drawing (For conduit pipes and cabling installation area )
7.2.01 |  |  |  | GROUND FLOOR | Item | 1
7.3.00 | CEMENT SCREED
|  |  | 50 | mm thk cement screed waterproofed with SIKA product or equivalent
7.3.01 |  |  |  | GROUND FLOOR | m2 | 17.3
7.4.00 | FLOOR TILING
| 600 | x | 600 | mm Homogenous Non-slip tiles
7.4.01 |  |  |  | GROUND FLOOR | m2 | 128.19
| 300 | x | 300 | mm Homogenous Non-slip tiles
7.4.02 |  |  |  | GROUND FLOOR | m2 | 4.53
7.5.00 | WALL TILING
| 600 | x | 300 | mm Homogenous tiles
7.5.01 |  |  |  | GROUND FLOOR | m2 | 24.13
7.6.00 | FLOOR PAINING
Epoxy floor paint
7.6.01 |  |  |  | GROUND FLOOR | m2 | 38.36
7.7.00 |  |  |  | TOTAL OF BILL №: 07 - Carried Over To Summary
8.0.00 |  |  |  | Bill №: 08 - SUSPENDED CEILING
8.1.00 | GENERAL
|  |  | (a) | Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
8.2.00 | PLASTERBOARD CEILING
Fixed "Boral" or equivalent plasterboard ceiling system with timber framing
8.2.01 |  |  |  | GROUND FLOOR | m2 | 20.3
Cement board ceiling on roof eave / gable ceiling
8.2.03 |  |  |  | GROUND FLOOR | m2 | 10.6
8.3.00 |  |  |  | TOTAL OF BILL №: 08 - Carried Over To Summary
9.0.00 |  |  |  | Bill №: 09 - PAINTING & DECORATIONS
9.1.00 | GENERAL
|  |  | (a) | Rates shall include for: the provision, erection and removal of scaffolding, preparation, wall putty application, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door & window furniture.
|  |  | (b) | All painting work shall be carried in accordance with the Specifications.
9.2.00 | WALL PAINTING
Weatherbound paint finish as specified (EXTERNAL SURFACES)
9.2.01 |  |  |  | GROUND FLOOR | m2 | 131.78
Emulsion paint finish as specified (INTERNAL SURFACES)
9.2.02 |  |  |  | GROUND FLOOR | m2 | 307.63
9.3.00 | CEILING PAINTING
Weatherbound paint finish as specified (EXTERNAL SURFACES)
9.3.01 |  |  |  | GROUND FLOOR | m2 | 92.95
Emulsion paint finish including putty application on brick walls as specified (INTERNAL SURFACES)
9.3.02 |  |  |  | GROUND FLOOR | m2 | 133.94
9.4.00 |  |  |  | TOTAL OF BILL №: 09 - Carried Over To Summary
10.0.00 |  |  |  | Bill №: 10 - HYDRAULICS AND DRAINAGE
10.1.00 | GENERAL
|  |  | (a) | Rates shall include for: sockets, running joints, connectors, elbows, junctions, valves, reducers, expansion joints; backnuts and similar; incidental fittings, clips, saddles, brackets, straps, hangers, screws, nails and fixing complete including cutting and forming holes; excavating, laying pipes and backfilling trenches.
|  |  | (b) | All pipe work and fittings shall be uPVC.
10.2.00 | COLD WATER SUPPLY SYSTEM
Internal Piping
10.2.01 |  |  | 20 | mm Dia. PPR PN 10 | item | 1
Cold water main Piping (From existing supply)
10.2.02 |  |  | 25 | mm Dia. PPR PN10 | item | 1
10.3.00 | SEWER AND WASTE WATER DRAINAGE SYSTEM
Sewer and Waste Piping
10.3.01 |  |  | 40 | mm Dia. uPVC pipe - type 600 | item | 1
10.3.02 |  |  | 82 | mm Dia. uPVC pipe - type 600 | item | 1
10.3.03 |  |  | 110 | mm Dia. uPVC pipe - type 600 | item | 1
10.3.04 |  |  | 110 | mm Dia. uPVC pipe - type 600 Under ground installation | item | 1
10.4.00 | SANITARY FITTINGS
All the sanitary fittings & fixtures installed under this contract shall be Client/Architecture specified
10.4.01 |  |  |  | Installation of ceramic Normal wash basin wall mounted with semi pedestal complete with brackets, chromium plated mixer tap, waste outlet, waste plug, chromium plated chain, chromium plated bottle trap, flexible hose and angle valve inclusive of all the connections. | nr | 2
10.4.02 |  |  |  | Installation of ceramic, floor mounted type Normal Water Closet complete with 'S or P' (accordingly) traps and cistern of approved make and inclusive of flexible hose & all connections and accessories to the working order. | nr | 2
10.4.03 |  |  |  | (600X600)mm mirror with 4 hole nails, silver cap screwed fixed to wall with back board. | nr | 2
10.4.04 |  |  |  | Installation of uPVC trapped floor gulley, 150 x 150mm stainless steel cover flushed with floor level, inclusive of necessary water proofing work including material. | nr | 2
10.5.00 |  |  |  | TOTAL OF BILL №: 10 - Carried Over To Summary
11.0.00 |  |  |  | Bill №: 11 - MECHANICAL & ELECTRICAL SERVICES
11.1.00 | GENERAL
|  |  | (a) | Design, provide and install electrical network for the entire building complete in accordance to standards set by the local governing body STELCO.
|  |  | (b) | The following items and description and the drawings are given as a guidance as to the nature of the information required to be returned by the contractor. Should they not be appropriate the contractor should provide a similar BOQ using the Additions/Ommisions sheets provided at the back of this BOQ.
|  |  | (c) | The cost shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
|  |  | (d) | Rate shall include for necessary chasings, trenching, conduits, cables, cable trays, fittings and clips, cutting holes and chases in brick work/ block work/ concrete work complete with all necessary accessories such as sockets, connections, cable glands and boxes, hardware clips, soldering and jointing materials etc., for proper installing and laying of cables.
|  |  | (e) | Rates for electrical isolators, conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces.
|  |  | (f) | A light fixture is measured as one point; switch end of wire is not included in the quantity.
|  |  | (g) | A point wiring for power points is measured (regardless of 1 gang, 2 gang etc) as one point for each socket outlet; other end of wire is not included in the quantity.
|  |  | (h) | All under ground cables directly buried in ground/run in trenches to be properly laid and covered with cable tiles/trench covers. Rate for under ground cables shall include for all necessary excavation, sand layers, concrete tiles, warning strips and back filling with approved quality earth properly compacted, hot dipped galvenized brackets for trenches, accessories, etc as applicable.
|  |  | (i) | The contractors are requested to refer Conditions of Contract, Special Conditions of Contract, Drawings and Specification and other relevant documents related to this tender prior to pricing of the following items
|  |  | (j) | The contractor shall provide a schedule of all builder's work in connection with details of such items as necessary, along with the tender.
|  |  | (k) | Rates for materials/ plants/ equipments not approved for duty free facilities to be quoted on duty paid basis.
|  |  | (l) | All equipments shall be guaranteed for a period of 12 months from the date of commissioning or date of practical completion of the project which ever later
|  |  | (m) | The rate shall include for insurance during handling, rehandling, transport, storage until ready for installation, delivery of equipments up to the point of installation and until handing over.
|  |  | (n) | The rates shall include for comprehensive maintenance during defects liability period of 12 months from the date of handing over
|  |  | (o) | The tenderer shall submit the following information on the items/equipments quoted for together with the tender.
a. make
b. model No.
c. technical data
d. country of manufacture
e. delivery period
f. lead time for manufacturing.
g. port of shipping
h. CIF value of each item in foreign currency.
j. Optional items and their additional cost. (additional cost
to be submitted separately)
k. Schedule of items to be carried out by others connected to
installation of generators/transformers/Electrical panels
such as some builders work and electrical connection.
l. Details of all special features
m. schedule attached to specification.
|  |  | (p) | Rate for all electrical panels shall include for supply and installation of all necessary MCCBs, MCBS, EFRs, ELCBs, auxiliary contacts, Voltmeters, ammeters, Digital analyser,kWh meters, indicator lamps, selector switches, copper bus bars, inter locks, aligning and grounding of the panel, inter connectors, internal wiring connections to switch gear,steel channels and necessary hardware fixing insulating materials,all in fully enclosed metal clad panels and distribution boards completed as shown in drawing. They shall comply with the specifications andI.E.E.regulations and be complete to working order to the approval of local authorities.
|  |  | (q) | Rate shall include for supply, installation, maintaining, testing and commissioning of the system for power and lighting according to drawings and specifications to working order.
|  |  | (r) | All materials, equipment wiring shall confirm to local codes, specifications, standards/latest I.E.E. regulations ( BS 7671 ).
11.2.00 | MAIN DISTRIBUTION, SUB DISTRIBUTION AND DISTRIBUTION SYSTEM
Distribution Boards ( DB )
Distribution Panel for each floor as shown on the drawing, complete with all incoming and outgoing MCBs, RCCBs, etc any other item required to working order, wall mounted wall mount steel powder coated, IP44 enclouser with neutral link, earth bar and required accessories, all complete as per the specifications & drawings.
11.2.01 |  |  |  | DB | nr | 1
MAIN / SUB CABLING
All under ground cables directly buried in ground/ in the trenches as appilcable, to be laid properly and covered with cable tiles, protection tapes, etc for mechanical protection, PVC sleeves may use if required. Rate shall include for all necessary works/accessories such as excavation, sand layers, cable tiles, warning strips and back filling with approved quality earth,properly compacted, to the satisfication of the Engineer.
All above ground cables shall be laid on cable tray/ trucnking /conduits as appilcable and covered by tray covers, etc. for mechanical protection. PVC sleeves may use if required. Rate shall include for all necessary works/ accessories such as galvernized brackets, supporting materials, fittings, nails, cable ties, earthing, etc, trays shall be of required sizes, GI powder coated, and shotted, to the satisfication of Engineer
11.3.00 | POINT WIRING AND FITTINGS
Rate shall include for supply & installation of cable, conduits for point wiring in concealed installations including switches, power outlet, isolators, etc, all as specified
11.3.01 |  |  |  | Supply and Installation of 2 x 1C 1.5mm2 PVC/PVC/Cu + 2.5mm2 PVC/Cu earth cable c/w uPVC conduit, junction boxes etc. for light point wiring | nr | 40
Supply and Installation of 2 x 1C 2.5mm2 PVC/PVC/Cu + 2.5mm2 PVC/Cu earth cable c/w uPVC conduit, junction boxes etc. for following Socket outlet/isolator point wiring
11.3.02 |  |  | 13 | A Power Outlet | nr | 1
11.3.03 |  |  | 13 | A Twin Socket Outlet | nr | 31
11.3.04 |  |  | 13 | A Power Outlet with USB | nr | 30
11.3.05 |  |  | 15 | A Switched SSO @ HL | nr | 7
11.3.06 |  |  |  | Speaker | nr | 1
11.3.07 |  |  |  | Phone extension | nr | 12
11.3.08 |  |  |  | Computer network outlet | nr | 30
11.3.09 |  |  |  | Flex. Power outlet | nr | 5
11.4.00 | FIXTURES
Rate shall include supply and installation of following lighting fixtures, socket outlets as specified and detailed, fixed in position including all fixing accessories, supports and connect to power.
11.4.01 |  |  |  | Outdoor wall light | nr | 5
11.4.02 |  |  |  | Ceiling Down light (18W) | nr | 9
11.4.03 |  |  |  | Mirror Light | nr | 2
11.4.04 |  |  |  | 6W Recessed LED light | nr | 2
11.4.05 |  |  |  | 2 x 4' Flourescent light with OPAL casing | nr | 16
11.4.06 |  |  |  | Ceiling Fan (52" - 54") | nr | 4
11.4.07 |  |  |  | Wall mounted fan | nr | 3
11.4.08 |  |  |  | 2 way switch at 1400mm | nr | 4
11.4.09 |  |  |  | Single gang Light switch | nr | 2
11.4.10 |  |  |  | 2gang Light switch | nr | 8
11.4.11 |  |  |  | Ceiling fan switch | nr | 4
11.5.00 | AIRCONDITIONING AND MECHANICAL VENTILATION SYSTEM
|  |  | (a) | Rate shall include for necessary chasing, trenching, conduits, cables, cable trays, fittings and clips, cutting holes and chases in brick work/ block work/ concrete work, making good to all disturbed and complete with all necessary accessories such as sockets, connections, cable glands, boxes, hardware clips, soldering and jointing materials etc., for proper installing and laying of cables.
|  |  | (b) | Please refer to specifications and relevant drawings for specific details.
|  |  | (c) | Preferred makes are as follows-
a. Mitsubishi
b. Daikin
c. Hitachi
d. Carrier
e. Gree
|  |  | (d) | Toilet exhaust/ventilation fans shall be as below mention
a. SODECA
b. S & P
c. Greenheck
d. CASALS
e. KDK
|  |  | (e) | Rates for VRV/VRF Outdoor Units shall include for all Vibration Isolators, Power connection, Emergency stop switch, valves, refrigerant copper pipes complete with insulation and aluminum cladding with fittings and supports connections, fixing accessories necessary for complete to working order
|  |  | (f) | Rates for piping system shall include for all piping with all necessary pipe fittings and valves.
|  |  | (g) | Rates for ducting shall include for all supports, hangers, brackets, guide vanes, culverts ,flow regulating devices, sound attenuators, acoustic duct lining air plenum lining etc., (where necessary) dampers (unless otherwise measured separately), flexible connectors etc., hardware tools and fixing, jointing and insulating materials
|  |  | (h) | All ducts have been measured in meters inclusive of bends, tees, reducers, connections, hanging system elbows, branches etc. and rates for ducting shall be accordingly.
SINGLE SPLIT AIR CONDITIONING SYSTEM
GROUND FLOOR
11.5.01 |  |  |  | 24,000 BTU | nr | 2
11.5.02 |  |  |  | 18,000 BTU | nr | 2
11.5.03 |  |  |  | 9,000 BTU | nr | 3
Toilet Exhaust System
Supply and Installation of Mechanical Ventilation Fans - External Static to be verified as per the coordinated shop drawing prior to place the order
Rate shall include for all ducting
11.5.04 |  |  |  | Ceiling mounted Mechanical Ventilation fans with Auto Shutter 90m3/hr (Kruger KCE100X or appropriate) | nr | 2
11.6.00 |  |  |  | TOTAL OF BILL №: 11 - Carried Over To Summary
12.0.00 |  |  |  | Bill №: 12 - INSULATION, FIRE STOPPING & FIRE PROTECTION
12.1.00 | GENERAL
|  |  | (a) | Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
|  |  | (b) | Rates for cable conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces
|  |  | (c) | Rates shall include for all necessary electrical wiring and accessories required for completion
|  |  | (d) | All items shall be supply and complete installation
12.2.00 | FIRE EXTINGUISHERS (Confirming to BS EN 3-10)
12.2.01 |  |  |  | Supply and installation of 2Kg CO2 Extinguishers | nr | 2
12.2.02 |  |  |  | Supply and installation of 9 Lt. water Extinguishers. | nr | 2
12.3.00 |  |  |  | TOTAL OF BILL №: 12 - Carried Over To Summary
13.0.00 |  |  |  | Bill №: 13 - ADDITIONS AND OMMISIONS
13.1.00 | ADDITIONS
13.1.01 |  |  |  | Bill №: 01 - PRELIMINARIES
13.1.02 |  |  |  | Bill №: 02 - INSITU CONCRETE WORKS
13.1.03 |  |  |  | Bill №: 03 - PARTITION WALL
13.1.04 |  |  |  | Bill №: 04 - ROOFING
13.1.05 |  |  |  | Bill №: 05 - WINDOWS, SCREENS & LIGHTS
13.1.06 |  |  |  | Bill №: 06 - DOORS, SHUTTERS & HATCHES
13.1.07 |  |  |  | Bill №: 07 - FLOOR, WALL, CEILING, AND ROOF FINISHINGS
13.1.08 |  |  |  | Bill №: 08 - SUSPENDED CEILING
13.1.09 |  |  |  | Bill №: 09 - PAINTING & DECORATIONS
13.1.10 |  |  |  | Bill №: 10 - HYDRAULICS AND DRAINAGE
13.1.11 |  |  |  | Bill №: 11 - MECHANICAL & ELECTRICAL SERVICES
13.1.12 |  |  |  | Bill №: 12 - INSULATION, FIRE STOPPING & FIRE PROTECTION
TOTAL
13.2.00 | OMISSIONS
13.2.01 |  |  |  | Bill №: 01 - PRELIMINARIES
13.2.02 |  |  |  | Bill №: 02 - INSITU CONCRETE WORKS
13.2.03 |  |  |  | Bill №: 03 - PARTITION WALL
13.2.04 |  |  |  | Bill №: 04 - ROOFING
13.2.05 |  |  |  | Bill №: 05 - WINDOWS, SCREENS & LIGHTS
13.2.06 |  |  |  | Bill №: 06 - DOORS, SHUTTERS & HATCHES
13.2.07 |  |  |  | Bill №: 07 - FLOOR, WALL, CEILING, AND ROOF FINISHINGS
13.2.08 |  |  |  | Bill №: 08 - SUSPENDED CEILING
13.2.09 |  |  |  | Bill №: 09 - PAINTING & DECORATIONS
13.2.10 |  |  |  | Bill №: 10 - HYDRAULICS AND DRAINAGE
13.2.11 |  |  |  | Bill №: 11 - MECHANICAL & ELECTRICAL SERVICES
13.2.12 |  |  |  | Bill №: 12 - INSULATION, FIRE STOPPING & FIRE PROTECTION
TOTAL
13.3.00 |  |  |  | TOTAL OF BILL №: 15 - Carried Over To Summary