## COVER SHEET
BILL OF QUANTITIES
INSTALLATION TOILET AREA AT ROSHANEE BUILDING SIXTH (6) FLOOR ¦ ACCOUNTS DIVISION.
0

## SUMMARY
SUMMARY OF BILLS OF QUANTITIES
INSTALLATION TOILET AREA AT ROSHANEE BUILDING SIXTH (6) FLOOR ¦ ACCOUNTS DIVISION.
Bill No | Description |  | Amount
1 | PRELIMINARIES | Bill no. 01 | 0
2 | DOORS AND WINDOWS | Bill no. 02 | 0
3 | TILING | Bill no. 03 | 0
4 | PAINTING | Bill no. 04 | 0
5 | ELECTRICAL INSTALLATIONS | Bill no. 05 | 0
6 | WOOD WORKS, | Bill no. 06 | 0
7 | HYDRAULICS & DRAINAGE | Bill no. 07 | 0
8 | TENDERER'S ADJUSTMENTS | Bill no. 08 | 0
|  | Sub Total | 0
|  | GST 6% | 0
|  | GRAND TOTAL carried to form of bid | 0

## BoQ
BILL OF QUANTITIES
INSTALLATION TOILET AREA AT ROSHANEE BUILDING SIXTH (6) FLOOR ¦ ACCOUNTS DIVISION.
Item | Description | Unit | Quantity | Rate/ Unit | Rate/ Unit | Total Unit Rate | Amount
|  |  |  | Material | Labour | Rates per Units
BILL No: 01
PRELIMINARIES
1.1 | General Notes
(1) | Abbreviations
m - meter
No - numbers
m³ - cubic meter
m² - square meter
Lm - Linear meter
KG - Kilograms
incl - including
mm - millimeter
dia - diameter
SS - Stainless Steel
GI - Galvanized Iron
NOTE:
Rate shall include for all materials, items, fittings, accessories & labour. Contractor must refer to drawings, specification before pricing. All the details are provided in drawing.
All materials must be approved by the consultant/client representative before commencing the work.
1.2 | Clean-up
1 | Allow for clean-up of completed works and site upon completion. | Item | 1 |  |  | 0 | 0
| BILL No: 01 PRELIMINARIES | [5 empty] | 0
TOTAL OF BILL No: 01 - Carried over to summary
BILL N0: 02
DOORS AND WINDOWS
2.1 | General
Timber doors, Fabricate the doorframes and door panel to specified size using recommended timber fix same and other fittings such as locks etc. wood Paint specified and shown in approved working drawings and installation should be as per technical specifications. Rates shall include for locks (i.e. security lock & dead lock), latches, closures, push plates, pull handles, bolts, kick plates hinges, screws, washer and all door and window hardware and these materials should be of ss steel according to drawing and of superior quality.
(a) All door and window frames and panels shall be as specified in the drawing and timber boarder to be fixed all timber doors.
2.2 | Door / Windows units
1 | Design, Fabricate and Fixing of timber Door with panels (to toilets) with frame as per the drawings and specifications, width of the door should be 0.8M width and height should be 2.1 meter, width of door frame should be same as wall thickness. also timber border on both side. finishes of door should be varnish finish. | no | 2 |  |  | 0 | 0
| BILL N0: 02 - DOORS AND WINDOWS | [5 empty] | 0
TOTAL OF BILL No: 02 - Carried over to summary
BILL N0: 03
TILING
3.1 | General
Prepare surface for approved bedding tiles with reach bedding materials as per the technical specifications & approved working drawings, fix tiles with ct grout in a precise manner to maintain correct alignment, applying tile grout and wiping any excess grout to ensure the required standards of finished works. Rates shall include for: fixing, bedding, grouting, and pointing materials; making good around pipes, sanitary fixtures, and similar; cleaning down and polishing any other similar works to ensure the required finish. All tiles shall be White ceramic / Homogeneous or equivalent.
3.2 | Floor finish
3.2.1 | laying of 600x600 skid resistant White Ceramic (white ceramic body) floor tiles, (Beige ceramic tiles) as per Material selection. Tile selection and design to be finalized by Client.
1 | Bathroom area, and washing area, | m² | 4.09 |  |  | 0 | 0
3.3 | Wall finish |  |  |  |  | 0 | 0
3.3.1 | 300x600 mm glazed white ceramic (white ceramic body) wall tile, |  |  |  |  | 0 | 0
1 | Bath room area and toilets. | m² | 11.53 |  |  | 0 | 0
3.4 | Raised floor |  |  |  |  | 0 | 0
3.4.1 | Laying of 150mm high raised floor. Rates includes to fixing of 100X500mm C purling's and fixing of 18mm thick Shera board, laying of water proofing memebrane and completion of raised floor Client's instruction. |  |  |  |  | 0 | 0
1 | Bathroom area, and washing area, | m² | 4.09 |  |  | 0 | 0
3.5 | Water Proofing
3.5.1 | Apply polyethelene memebrane (0.3mm thk) with epoxy adhesives or equivalent type waterproofing material to the surface of floor in accordance with the specifications and manufacturer's instructions | Item | 1
| BILL No: 03 - TILING | [5 empty] | 0
TOTAL OF BILL No: 03 - Carried over to summary
BILL No: 04
PAINTING
4.1 | General
Interior wall shall be of 2-3 coats over 1 coat of water based sealer. Rates includes Erection of scaffolding, preparing working platforms, applying sealer, and two coats of paint on smooyth putty surface as specified in thespecification. Removal of scaffolding if any after completion of work. Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work.
All painting work shall be carried in accordance with the Specifications
4.2 | Wall painting
1 | Internal Painting 1 coat of sealer & 2 coats of paints, Emulsion paint putty finish system on drywalls and internal walls. | m² | 29.51 |  |  | 0 | 0
[6 empty] | 0 | 0
| BILL No: 04 - PAINTING | [5 empty] | 0
TOTAL OF BILL No: 04 - Carried over to summary
BILL No: 05
ELECTRICAL INSTALLATIONS
5.1 | General
(a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates shall include for electrical conduits, fittings, equipment and similar all fixings to various building surfaces
(d) Each Light/ light fixture and its switch is measured as one point; similarly each fan or each socket outlet is measured as one point;
(e) Rates shall include for supply and complete installation
(f) Point wiring including cables, socket outlets, patch codes and all the other necessary arrangements to complete to working order as per the detailed drawings and specifications. Cable shall be laid in PVC conduits when laid inside the ceiling.
[6 empty] | 0 | 0
5.2 | Electrical wiring |  |  |  |  | 0 | 0
| Rates to be included to connections from nearest DB. Electrical wiring with copper conductor cable in conduits as specified to: |  |  |  |  | 0 | 0
1 | Wiring with 2.5 mm² cable to Power points ( single sockets) | points | 4 |  |  | 0 | 0
2 | Wiring with 2.5 mm² cable to lights and fan | points | 3 |  |  | 0 | 0
3 | Wiring with 2.5 mm² cable to exhaust fan | points | 2
[6 empty] | 0 | 0
5.3 | Lighting / Fan |  |  |  |  | 0 | 0
1 | Ceiling recessed ultra slim line flat LED panel light, 200mm dia. 12 Watt. (day white). | no | 3 |  |  | 0 | 0
2 | Ceiling exhaust fans 50 CFM | no | 2 |  |  | 0 | 0
0
5.4 | Socket outlets
(a) All socket outlets shall be "Legrand" or equivalent.
1 | 1x13Amp wall Socket outlet, | no | 4 |  |  | 0 | 0
[6 empty] | 0 | 0
5.5 | Light switches |  |  |  |  | 0 | 0
| (a) All light switches shall be "Legrand" or equivalent. Each light should be control by one switch. |  |  |  |  | 0 | 0
1 | One gang switch | no | 1 |  |  | 0 | 0
2 | Two gang switch | no | 1 |  |  | 0 | 0
| BILL No: 05 - ELECTRICAL INSTALLATIONS | [5 empty] | 0
TOTAL OF BILL No: 05 - Carried over to summary
BILL No: 06
WOOD WORKS,
6.1 | Wood works
6.1.1 | General
(a) Rates shall include for: insect treatment, all labor in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails, screws and the necessary fixing cleats, putting and painting.
6.2 | Dry wal Partitions
1 | Fabrication and Completion of Dry wall partition at toilet area as per the drawings and specifications as well as Partition specification provided with this document. | Item | 1 |  |  | 0 | 0
6.3 | Cabinets
1 | Design and complete installation of kitchen cabinets (top & bottom) | Item | 1
2 | Design and complete installation of full height filing cabinets. | Item | 1
| BILL No: 06 - WOOD WORKS | [5 empty] | 0
TOTAL OF BILL No: 06 - Carried over to summary
BILL No: 07
HYDRAULICS & DRAINAGE
7.1 | Hydraulics
7.1.1 | General
(a) Rates shall include for excavation, laying pipes and backfilling trenches, maintaining faces of drainpipe trenches and pits, backfilling, disposal of surplus soil, bends, junctions, reducers, expansion joints brackets, joints, straps, hangers, screws, nails and fixing complete, and all joints and other incidental material, All Pipes and fittings area high pressure uPVC pipes
fixing complete, including cutting and forming holes; excavating, laying pipes and backfilling trenches.
(b) All pipe work shall be uPVC.
7.1.2 | Ground water supply pipe work
1 | Completion of pipe works and Connect water supply pipe work to existing system. | Item | 1 |  |  | 0 | 0
[6 empty] | 0 | 0
7.1.3 | Fresh water supply pipe work |  |  |  |  | 0 | 0
1 | Completion of pipe works and Connect Fresh water supply pipe work to existing system. | Item | 1 |  |  | 0 | 0
[6 empty] | 0 | 0
7.1.4 | Sanitary fixtures & accessories |  |  |  |  | 0 | 0
| Sanitary fixtures & Accessories: Sanitary fixtures complete including brackets, flush pipes, valves, overflows, plugs and washers, as specified. All the WC should be anti bacterial glazing. |  |  |  |  | 0 | 0
1 | Water closet (Cotto) or equivalent, (dual top flush) as shown in material selection. | no | 2 |  |  | 0 | 0
2 | Washbasin with cupboard as per drawing (Cotto) or equivalent | Item | 1 |  |  | 0 | 0
3 | Floor drain with gully & water trap. | no | 3 |  |  | 0 | 0
4 | Water tap for wash basin , ( Cotto) or equivalent | no | 2 |  |  | 0 | 0
5 | Muslim Shower with Stop valve, ( Cotto) or equivalent | no | 2 |  |  | 0 | 0
6 | Stop Valves, ( Cotto) or equivalent | no | 2 |  |  | 0 | 0
7 | Wash room full height mirror. | no | 1 |  |  | 0 | 0
8 | Wall tap ( Cotto) or equivalent | no | 1
9 | Gate Valve | no | 1
0
7.2 | Drainage |  |  |  |  | 0 | 0
7.2.1 | General |  |  |  |  | 0 | 0
| (a) Rates shall include for: excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus spoil; bends, junctions, reducers, expansion joints and all joints and other incidental materials. |  |  |  |  | 0 | 0
| (b) All pipe work shall be UPVC |  |  |  |  | 0 | 0
[6 empty] | 0 | 0
7.3 | Pipe work |  |  |  |  | 0 | 0
1 | Completion of pipe works and Connect Waste disposal pipe 75mm dia UPVC to existing system. | Item | 1 |  |  | 0 | 0
2 | Completion of pipe works and Connect Sewer pipe 100mm dia UPVC to existing system. | Item | 1 |  |  | 0 | 0
0
| BILL No: 07 - HYDRAULICS & DRAINAGE | [5 empty] | 0
TOTAL OF BILL No: 07 - Carried over to summary
BILL No:08
TENDERER'S ADJUSTMENTS
(a) Provide detail description of work items under each bill and insert extra pages if required.
8.1 | Additions
1 | PRELIMINARIES, Bill no. 01 |  |  |  |  | 0 | 0
2 | DOORS AND WINDOWS, Bill no. 02 |  |  |  |  | 0 | 0
3 | TILING, Bill no. 03 |  |  |  |  | 0 | 0
4 | PAINTING, Bill no. 04 |  |  |  |  | 0 | 0
5 | ELECTRICAL INSTALLATIONS, Bill no. 05 |  |  |  |  | 0 | 0
6 | WOOD WORKS, Bill no. 06 |  |  |  |  | 0 | 0
7 | HYDRAULICS & DRAINAGE, Bill no. 07 |  |  |  |  | 0 | 0
8 | TENDERER'S ADJUSTMENTS, Bill no. 08 |  |  |  |  | 0 | 0
| ADDITIONS TOTAL | [5 empty] | 0
8.2 | Omissions
1 | PRELIMINARIES, Bill no. 01 |  |  |  |  | 0 | 0
2 | DOORS AND WINDOWS, Bill no. 02 |  |  |  |  | 0 | 0
3 | TILING, Bill no. 03 |  |  |  |  | 0 | 0
4 | PAINTING, Bill no. 04 |  |  |  |  | 0 | 0
5 | ELECTRICAL INSTALLATIONS, Bill no. 05 |  |  |  |  | 0 | 0
6 | WOOD WORKS, Bill no. 06 |  |  |  |  | 0 | 0
7 | HYDRAULICS & DRAINAGE, Bill no. 07 |  |  |  |  | 0 | 0
8 | TENDERER'S ADJUSTMENTS, Bill no. 08 |  |  |  |  | 0 | 0
| OMISSIONS TOTAL | [5 empty] | 0
| BILL No: 08 - TENDERER'S ADJUSTMENTS | [5 empty] | 0
TOTAL OF BILL No: 08 - Carried over to summary