## Summary
CONSTRUCTION OF HUT (SURF SHECK)
SUMMARY OF BILL OF QUANTITIES
B.NO | Description | Amount (Mrf)
1 | GROUND WORKS | 0
2 | IN SITU CONCRETE | 0
3 | METAL WORKS & COVERING | 0
4 | WOOD WORKS | 0
| GRAND TOTAL MRF. | 0
DURATION : DAYS

## Kiosk (hidden)
BILL OF QUANTITIES
SL.No | Description | Unit | Qty | Rate | Amount
CONSTRUCTION OF KIOSK (1 NOS)
GENERAL
Rate shall include for mobilisation, site management costs, materials, labour, water, electricity, cleaning & proper disposal, demobilisation, vehicles, vessels, permits, equipment & tools including all necessary transport & storage required for the proper execution & completion of the works.
BILL No: 01
GROUND WORKS
D20 | Excavating & filling
1 | Excavating
Note: Excavation quantities are measured to the faces of concrete members. The quantities given are the bulk before excavating and no allowance is made for subsequent variations to bulk or for extra space for working space or to accomodate earthwork support. Rate shall include for all additional excavation required to place the formwork/shuttering, working space and dewatering the trenches for the required days.
Rate shall also include for site clearing including removing site vegetation & trees, grubbing up roots, filling voids, levelling, providing proper earthwork support to faces of excavations, & disposal of surplus materails offsite to an approved location by Island office.
Rate shall also include for filling to excavation with available sand arisen from excavations, in 150mm thick layers well ram and consolidate. Rate shall also include for Compacting and leveling bottoms of excavations. Compaction shall be done using appropriate method such as compactor to achieve appropriate degree of compaction minimum 150Kpa strength.
1 | Excavating Trenches, width ≤ 0.30m, maximum depth ≤ 1.00m, commencing from ground level | item | 1 | 4500 | 4500
2 | Filling & Compaction
Rate shall include for leveling & compaction to achieve appropriate degree of compaction.
Compaction shall be done in 150mm thick layers using appropriate method such as compactor to achieve minimum 150Kpa strength.
1 | Hardcore filling to make up levels, average thickness > 0.25m, with available sand arisen from excavations (after screening) or obtained offsite, in 150mm thick layers well ram and consolidate. | item | 1 | 2750 | 2750
3 | DPC
Note: Rates shall include for: dressing around and sealing to avoid all penetrations
1 | LDPE damp proofing membrane below RCC ground floor slab (500 gauge - black color) | item | 1 | 1850 | 1850
BILL No: 01 GROUND WORKS
| TOTAL OF BILL No: 01 - Carried over to summary |  |  |  | 9100
BILL No: 02
IN SITU CONCRETE
1 | GENERAL
(a) The volume of concrete measured includes that occupied by reinforcement, other metal sections & chamfers or internal splays each not exceeding 0.01m² in cross-section area.
(b) Rate shall include for: formwork, provision to place in position; casting of all required items and finishing after removal of formwork and additional concrete required to conform to structural and excavated tolerances.
(c) Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:2:4 by volume
(d) Rate shall also include for application of two coats of bitumastic paint (Fosroc or equivalent) to all concrete surfaces below ground level or in contact with soil.
(e) Any required chemical bonding agent shall be approved by client.
(f) NOTE: SRC shall be used for all under ground concrete works.MWSC will provide SRC cement from MWSC sites at greater Male' region ( Hulhumale' , Gulhifalhu or Thilafushi). Contractor shall arrange transportation and proper storage facilities once it is taken from MWSC sites.
2 | Mixing/Casting/Curing in situ concrete
Note: Quantity is measured to the edges of concrete members. Rate shall be inclusive of any additional concrete required to place the formwork.
2.1 | Lean Concrete
1 | Beds, thickness ≤ 150mm (50mm thick lean concrete to bottom of foundation beam, RO plant foundation bed, and Rain water plant foundation bed ) | m³ | 0.2 | 4617 | 923.4
2.2 | Reinforced Concrete
In-situ reinforced concrete to:
1 | Foundation beam (FB) | m³ | 1.01 | 9250 | 9342.5
2 | Columns (C1) | m³ | 0.3 | 9250 | 2775
3 | Reinforcement for in situ concrete
3.1 | GENERAL
(a) Rates shall include for: cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports, laps, hooks and tying wire, spacers and chairs and any wastage.
(b) All reinforcing bars except 6mm dia bars shall be high strength deformed bars
3.2 | Foundation beam (FB)
1 | R06mm nominal Ø bars, stirrups | Kg | 20.83 | 48 | 999.84
2 | T10mm nominal Ø bars, straight | Kg | 43.4 | 48 | 2083.2
3.3 | Columns (C1)
1 | R06mm nominal Ø bars, stirrups | Kg | 8.71 | 48 | 418.08
2 | T10mm nominal Ø bars, straight | Kg | 29.033 | 48 | 1393.584
BILL No: 02 IN SITU CONCRETE
| TOTAL OF BILL No: 02 - Carried over to summary |  |  |  | 17935.604
BILL No: 03
MASONRY & PLASTERING
1 | GENERAL
(a) Rate shall include for: Cleaning, out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary, fractional size blocks, all necessary machine cutting, cutting of leaving holes and openning as recesses for and building in pipes, conduits, sleaves and similar as required for all trades; leaving surfaces rough or racking out joints for plastering and flashing, bedding frames or plates, building in joists, bearers or similar , temporary supports to openings, templates, reinforcement in walls and for all necessary making good.
(b) Rate shall include for providing & fixing plastering mesh at joints between structural members and masonry walls.
2 | CEMENT BLOCK WALL
1 | 150mm thick, vertical masonry wall, with Hollow cement blocks 300mm x 150mm x 150mm, laid in courses of strecher bonds, with 1:4 cement : sand mortar | m² | 49.22 | 425 | 20918.5
3 | PLASTERING
1 | Plastering external and internal walls incl columns & beams with 16mm thick cement : sand mortar of 1:4 ratio in two coats (Including below Ground) | m² | 108.27 | 295 | 31939.65
BILL No: 03- MASONRY & PLASTERING
| TOTAL OF BILL No: 03 - Carried over to summary |  |  |  | 52858.15
BILL No: 04
PAINTING
1 | GENERAL
(a) All painting work shall be carried in accordance with the Specifications
(b) The work is deemed to include rubbing down with glass, emery or sand paper.
(c) All interior walls above ground & ceilings must be applied with one coat of putty before application of paint. Rate shall include for primer coat & two finishing coat as specified to manufacturers instructions.
(d) External walls above shall be applied with one coat of primer and two finishing coats of weatherbond wall paint as specified to manufacturers instructions.
(e) External & Internal Walls below ground or in contact with ground soil shall be painted with 2 coats bitumastic paint (Fosroc or equivalent)
(f) Unless otherwise sepcified all Internal floor surfaces shall be painted with one coat of primer and two finishing coats of floor paint (Sigma CM coat) as specified to manufacturers instructions.
(g) External exposed floor surfaces shall be painted with one coat of primer and two finishing coats of external floor paint (Sherwin Williams) as specified to manufacturers instructions.
2 | MASONRY WALLS
1 | External & Internal Walls
a | Above ground | m² | 108.27 | 115 | 12451.05
3 | CEILINGS
1 | External Ceilings
a) | Eaves | m² | 5.84 | 135 | 788.4
2 | Internal Ceilings
a) | Toilet, Counter room, | m² | 13.98 | 135 | 1887.3
BILL No: 04- PAINTING
| TOTAL OF BILL No: 04 - Carried over to summary |  |  |  | 15126.75
BILL No: 05
WOOD WORKS & COVERING
1 | GENERAL
(a) Rate shall include for; Timber, dressing over angle fillets, turning into grooves, all other labors, circular edges, nails, screws and ather fixings and laps.
(b) All structural framing timber shall be of hardwood of good quality free from defects, treated with solignum or equivalent material.
(c) All exposed timber members shall be painted with one coat of primer and two finishing coats.
2 | CEILINGS
2 | 4mm thick Cement board concealed type ceiling as per roof with 38x38mm timber frame, Timber spacing should be 600c/c BW. (Toilet) | m² | 16.5 | 550 | 9075
3 | ROOF
(a) Rate shall include: All the timber works ,Roof covering with torres blue lysaght.
(b) Rate shall include for; fair edges, dressing over angle fillets, turning into grooves, all other labors, circular edges, nails, screws and ather fixings and laps.
(c) Rate shall include for; all fabrication work, welding, marking drilling for bolts including those security timbers, steel, plates, bolts, nuts and any type of washer, reveted work, counter sinking and tapping for bolts or machine screws.
(d) Rates shall include for fabrication and errection and temporary supports and fixing into possition.
2 | Roof covering works as per the drawings | m² | 19.85 | 750 | 14887.5
BILL No: 05- CARPENTRY & WOOD WORKS
| TOTAL OF BILL No: 05 - Carried over to summary |  |  |  | 23962.5
BILL No: 06
FINISHING &, DOORS & WINDOWS
6 | FINISHING - CERAMIC TILING
(a) The work is deemed to include fair joints, cutting, drainage holes, bedding mortar and adhesives, grouting, cleaning, sealing & polishing
6.1.1 | Walls
1 | Tiling with 200 x 300mm ceramic floor tiles in toilet to ceiling level. Tiles item code DG.72042 or DG01 from Jausa ceramic city or equivalent approved by client | m² | 8.92 | 372 | 3318.24
6.1.2 | Floor
1 | Tiling with 300 x 300mm ceramic floor tiles in waiting area | m² | 12.22 | 385 | 4704.7
2 | Tiling with 250 x 250mm ceramic floor tiles (Non-skid) in toilet | m² | 1.21 | 378 | 457.38
6.2 | DOORS & WINDOWS
6.2.1 | General
Notes: (a) Rates shall include for S.S ironmongeries including locks, latches, keys, door closures, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
(b) Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, panels, boarding, framing, lining, fastenings, lintolm, sills and all fixings.
(c) Aluminum extrusions used in fabrication of doors & windows shall be 60micron white colour powder coated. Angle bars shall be painted with SIGMA marine paint (5198 Grey colour).
(d) Rates shall include for glazing, painting & finishing.
6.2.2 | Doors
1 | D1 - Timber framed door | Nr | 1 | 3985 | 3985
2 | D2 - Aluminum framed door | Nr | 1 | 2980 | 2980
6.2.3 | Windows
1 | W1 - Aluminum framed window | Nr | 3 | 5585 | 16755
4 | V1 - Aluminum framed & fixed louvered window | Nr | 1 | 1175 | 1175
BILL No: 06- FINISHING &, DOORS & WINDOWS
| TOTAL OF BILL No: 06 - Carried over to summary |  |  |  | 33375.32
BILL No: 07
HYDRAULICS & DRAINAGE
7.1 | HYDRAULICS
7.1.1 | Preamble notes
a) Rates shall include for sockets, running joints, connectors, elbows, junctions, valves, reducers, expansion joints, backnuts and similar, incidental fittings, clips saddles, brackets, straps, hangers, screws, nails and fixing complete, including cutting and forming holes, excavating, laying pipes and backfilling trenches.
(b) All pipe work and fittings shall be high pressure PVC
(c) Rate shall include for supply and fixing of all pipes.
7.1.2 | Fresh Water Supply
1 | 25mm Ø Fresh water supply complete incl connection to water Meter | Item | 1 | 3165 | 3165
7.1.3 | Sanitary Fixtures & Accessories
(a) All sanitary fixtures shall be cotto or equivalent
(b) All accessories shall be water tech or equivalent
1 | White colour two piece Water Closet S-Trap (Item code C1480 Tina w) or equivalent. | Nr | 1 | 3150 | 3150
2 | White colour wall hung Wash Basin with pedestal (item code C013/C404) or equivalent, incl. tap | Nr | 1 | 1662 | 1662
4 | Bidet Shower | Nr | 1 | 411 | 411
7 | Floor drain | Nr | 1 | 234 | 234
7.2 | DRAINAGE
1 | General
a) Rates shall include for excavation , maintaining faces,of drain pipe trenches and pits, backfilling, disposal of surplus soil, bends, junctions, reducers, expansion joints and other incideantal materials,
b) All pipe shall be UPVC
2 | Discharge pipe work
1 | Providing 100mm Ø & 50mm Ø discharge pipe connection complete up to local service providers swerage catchpit. | Item | 1 | 3870 | 3870
3 | Floor drainage pipe work
1 | 75mm Ø floor drainage pipe work from down spots of plant beds to brine well. | Item | 1 | 3850 | 3850
BILL No: 07 - HYDRAULIC AND DRAINAGE
| TOTAL OF BILL No: 07 - Carried over to summary |  |  |  | 16342
BILL No: 08
ELECTRICAL INSTALLATIONS
8.1 | GENERAL
(a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Light end and switch end of wiring together measured as one point
(d) A point wiring for power points is measured as one point for each socket outlet; other end of wire is not included in the quantity.
(e) Rates shall include for supply and complete installation of all required light control switches, sunk boxes, conduit pipes etc
(f) Electrical works shall be done according to the standards set by the local governing body & shall be certified.
(g) All sockets & switches shall be ABB or clipsal or equivalent
8.2 | ELECTRICAL BOARDS
(a) Rate shall include for complete installation, including for all connections, earthing, testing.
1 | 3 Phase Distribution Board with plastic housing, pluged & screwed to cement block wall. | Nr | 1 | 7850 | 7850
8.3 | ELECTRICAL WIRING
Electrical wiring with copper conductor cable in conduits in walls as per local regulatory body regulations & standards
1 | Wiring with 16mm² cables to Distribution board from Panel board located inside SG & Control room | Points | 2 | 525 | 1050
2 | Wiring with 1.5mm² cables to Lighting | Points | 7 | 525 | 3675
3 | Wiring with 2.5mm² cables to Power outlets | Points | 3 | 525 | 1575
8.4 | LIGHTING, POWER POINTS & FANS
1 | Ceiling mount lights | Nr | 5 | 925 | 4625
2 | Wall mount lights | Nr | 2 | 925 | 1850
7 | 13Amp. Switched Socket outlet (Single) | Nr | 3 | 185 | 555
BILL No: 08 - ELECTRICAL INSTALLATIONS
| TOTAL OF BILL No: 08- Carried over to summary |  |  |  | 21180
BILL No: 9
BUILDING FABRIC SUNDRIES
9.1 | Trench
(a) Rate shall include for excavating trenches, earthwork support, consolidation of trench bottoms, disposal of surplus excavated materials
(b) Rate shall include for fixings, fastenings, welding, bolts/ rivets, brackets, cleats & the like, cutting holes for keys etc.
(c) Rate shall include for painting MS angle bars with SIGMA marine paint (5198 Grey colour), & making provision for electrical cable entrance.
1 | Cable Trench 450mm width and 600mm depth (internal dimensions) with 150mm & 50mm solid block wall and internal plastering, painting including a 75mm thick lean concrete (1:2:4) bed below the trench base & 3mm thick Aluminium chequer plate covers with 50mm MS angle framing complete. | m | 3.65 | 4500 | 16425
2 | SS key as per drawing | Nr | 2 | 720 | 1440
BILL No: 9 - BUILDING FABRIC SUNDRIES
| TOTAL OF BILL No: 9 - Carried over to summary |  |  |  | 17865
(Carried forward to Summary) |  |  |  |  | 207745.324

## hut
BILL OF QUANTITIES
SL.No | Description | Unit | Qty | Rate | Amount
CONSTRUCTION OF HUT
GENERAL
Rate shall include for mobilisation, site management costs, materials, labour, water, electricity, cleaning & proper disposal, demobilisation, vehicles, vessels, permits, equipment & tools including all necessary transport & storage required for the proper execution & completion of the works.
1 | Site management Cost | item | 1 |  | 0
BILL No: 01
GROUND WORKS
D20 | Excavating & filling
1 | Excavating
Note: Excavation quantities are measured to the faces of concrete members. The quantities given are the bulk before excavating and no allowance is made for subsequent variations to bulk or for extra space for working space or to accomodate earthwork support. Rate shall include for all additional excavation required to place the formwork/shuttering, working space and dewatering the trenches for the required days.
Rate shall also include for site clearing including removing site vegetation & trees, grubbing up roots, filling voids, levelling, providing proper earthwork support to faces of excavations, & disposal of surplus materails offsite to an approved location by Island office.
Rate shall also include for filling to excavation with available sand arisen from excavations, in 150mm thick layers well ram and consolidate. Rate shall also include for Compacting and leveling bottoms of excavations. Compaction shall be done using appropriate method such as compactor to achieve appropriate degree of compaction minimum 150Kpa strength.
1 | Excavating Trenches, width ≤ 0.30m, maximum depth ≤ 1.00m, commencing from ground level | item | 1 |  | 0
2 | Filling & Compaction
Rate shall include for leveling & compaction to achieve appropriate degree of compaction.
Compaction shall be done in 150mm thick layers using appropriate method such as compactor to achieve minimum 150Kpa strength.
1 | Hardcore filling to make up levels, average thickness > 0.25m, with available sand arisen from excavations (after screening) or obtained offsite, in 150mm thick layers well ram and consolidate. | item | 1 |  | 0
3 | DPC
Note: Rates shall include for: dressing around and sealing to avoid all penetrations
1 | LDPE damp proofing membrane below RCC ground floor slab (500 gauge - black color) | item | 1 |  | 0
BILL No: 01 GROUND WORKS
| TOTAL OF BILL No: 01 - Carried over to summary |  |  |  | 0
BILL No: 02
IN SITU CONCRETE
1 | GENERAL
(a) The volume of concrete measured includes that occupied by reinforcement, other metal sections & chamfers or internal splays each not exceeding 0.01m² in cross-section area.
(b) Rate shall include for: formwork, provision to place in position; casting of all required items and finishing after removal of formwork and additional concrete required to conform to structural and excavated tolerances.
(c) Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:2:4 by volume
(d) Rate shall also include for application of two coats of bitumastic paint (Fosroc or equivalent) to all concrete surfaces below ground level or in contact with soil.
(e) Any required chemical bonding agent shall be approved by client.
2 | Mixing/Casting/Curing in situ concrete
Note: Quantity is measured to the edges of concrete members. Rate shall be inclusive of any additional concrete required to place the formwork.
2.1 | Lean Concrete
1 | Beds, thickness ≤ 150mm (50mm thick lean concrete to bottom of foundation beam, RO plant foundation bed, and Rain water plant foundation bed ) | m³ | 0.147 |  | 0
2.2 | Reinforced Concrete
In-situ reinforced concrete to:
1 | Footing (F1) | m³ | 0.735 |  | 0
2 | Columns (C1) | m³ | 0.09 |  | 0
0
3 | MASONARY WORKS |  |  |  | 0
1 | Masonary wall | m³ | 10.92 |  | 0
0
3.2 | Shower Area (Refer to Drawing ) | Item | 1 |  | 0
| BILL No: 02 IN SITU CONCRETE |  |  |  | 0
| TOTAL OF BILL No: 02 - Carried over to summary |  |  |  | 0
BILL No: 03
METAL WORKS & COVERING
1 | GENERAL
(a) Note: Rate shall include for: all fabrication work, painting, welding, marking, drilling for bolts including those securing steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws, SS falanges, SS elbows and SS brackets.
(b) Rate shall include for all painting and finishing as specified including application of Red Oxide Primer for metal surfaces.
(C) Rates shall include for: all fabrication work, welding, marking, drilling, for bolts including those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
(d) Rates for roofing sheets shall include for all cuttings and holes for pipes passing through roof, cleaning down on completion and for obtaining and furnishing necessary written guarantees.
2 | METAL WORKS
1 | SS Plate | nos | 4 |  | 0
2 | 16mm Dia G.I Bolt With Nut (300mm long) | nos | 16 |  | 0
3 | 16mm Dia G.I Bolt With Nut (150mm long) | nos | 12 |  | 0
4 | Truss (TR 1) | m | 10.2 |  | 0
5 | Truss (TR 2) | m | 10.2 |  | 0
6 | GI Column | m | 30.5 |  | 0
7 | Stair | Item | 1 |  | 0
3 | ROOFING
1 | Lysaught Roofing (Including Ridge Cap, Side Flashing ) | m² | 36 |  | 0
2 | Ply Wood (6mm) | m² | 36 |  | 0
BILL No: 03- METAL WORKS & COVERING
| TOTAL OF BILL No: 03 - Carried over to summary |  |  |  | 0
BILL No: 04
WOOD WORKS
1 | GENERAL
Rates shall include for: include supply of materials, labor, tools & equipment, consumables (nails, screws, bolts, nuts, washer, etc.), cutting, forming, drilling, & technical supervision and all other incidentals necessary to complete the work all in accordance with plans & specification as per the drawings
2 | RAILING
1 | Wooden Railing | m | 20.4 |  | 0
3 | DECK (Ground And First Floor)
1 | Rafter | nos | 24 |  | 0
2 | Deck Boards | nos | 70 |  | 0
4 | ROOF FRAME
1 | Ridge Beam |  | 1 |  | 0
2 | Rafter |  | 20 |  | 0
3 | Timber Battens |  | 50 |  | 0
5 | SURFBOAD STAND | Item | 2 |  | 0
BILL No: 04 - WOOD WORKS
| TOTAL OF BILL No: 04- Carried over to summary |  |  |  | 0