## COVER SHEET
BILL OF QUANTITIES
PCR LABORATORY AT LH. ATOLL HOSPITAL
#REF!

## SUMMARY
SUMMARY OF BILLS OF QUANTITIES
PCR LABORATORY AT LH. ATOLL HOSPITAL
Bill No | Description |  | Amount
1 | PRELIMINARIES | Bill no. 01 | 0
2 | MASONRY AND PLASTERING | Bill no. 02 | 0
3 | DOORS AND WINDOWS | Bill no. 03 | 0
4 | TILING | Bill no. 04 | 0
5 | CEILINGS | Bill no. 05 | 0
6 | PAINTING | Bill no. 06 | 0
7 | ELECTRICAL INSTALLATIONS | Bill no. 07 | 0
8 | SINK BANCH WORKS | Bill no. 08 | 0
9 | HYDRAULICS & DRAINAGE | Bill no. 09 | 0
10 | AIR CONDITIONING SYSTEM | Bill no. 10 | 0
11 | TENDERER'S ADJUSTMENTS | Bill no. 11 | 0
| Sub Total |  | 0
| GST 6% |  | 0
| GRAND TOTAL carried to form of bid |  | 0

## BoQ
BILL OF QUANTITIES
PCR LABORATORY AT LH. ATOLL HOSPITAL
Item | Description | Unit | Quantity | Rate/ Unit | Rate/ Unit | Total Unit Rate | Amount
|  |  |  | Material | Labour | Rates per Units
BILL No: 01
PRELIMINARIES
1.1 | General Notes
(1) | Abbreviations
m - meter
No - numbers
m³ - cubic meter
m² - square meter
Lm - Linear meter
KG - Kilograms
incl - including
mm - millimeter
dia - diameter
SS - Stainless Steel
GI - Galvanized Iron
NOTE:
Rate shall include for all materials, items, fittings, accessories & labour. Contractor must refer to drawings, specification before pricing. All the details are provided in drawing.
All materials must be approved by the consultant/client representative before commencing the work.
1.2 | Demolition works.
1 | Demolition of the existing wall at toilet area as per drawing, Rates to include demolition of walls, plastering of edges, painting, and cleaning of debris also include other necessary works required. Rates also include to leveling of flooring required to lay the vinyl flooring. | m² | 23.86 |  |  | 0 | 0
| BILL No: 01 PRELIMINARIES | [5 empty] | 0
TOTAL OF BILL No: 01 - Carried over to summary
BILL No: 02
MASONRY AND PLASTERING
2.1 | General
Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good. Bedding mortar (mixing ratio 1:4 i.e. cement: manufactured sand) shall be of OPC & fine aggregate shall be imported river sand shall be approved in grading & clean from any harmful substance. Masonry work shall be done with approved Machine compact cement blocks (300X150X150) with no defects. Lay in line and length as per approved working drawing Block making (mixing ratio 1:4 i.e. cement: Local sand, Free from salt) shall be of OPC & Local sand free form salt.
floor slabs, cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding
2.2 | Cement block work
[6 empty] | 0 | 0
| Internal walls |  |  |  |  | 0 | 0
2.3 | GENERAL: Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good. Bedding mortar (mixing ratio 1:4 i.e. cement: manufactured sand) shall be of OPC & fine aggregate shall be imported river sand shall be approved in grading & clean from any harmful substance. Masonry work shall be done with approved Machine compact cement blocks (300X150X150) with no defects. Lay in line and length as per approved working drawing Block making (mixing ratio 1:4 i.e. cement: Manufactured sand) shall be of OPC & free form salt. | m² | 11.64
[6 empty] | 0 | 0
[6 empty] | 0 | 0
2.4 | Plastering
| GENERAL: Interior and Exterior: Plaster All masonry wall have smooth finishing of 18 mm thick cement plastering with mix ratio 1:4 (i.e. cement: River Sand), plastering material shall be of OPC & fine aggregate shall be imported river sand shall be approved in grading & clean from any harmful substance. Plastic net should be provided wherever concrete surface and masonry meets, and cracks are unacceptable. Regular curing up to 7 days must be done, edges of doors, windows and ventilators included. | m² | 23.28
2.4 | Aluminum partition frame
Aluminum Partition frame, Fabricate and fix in position the aluminum partition frame - (white powder coated, 60-80 micron, 1.5mm profile thickness) using recommended material with specified fixtures as shown in approved working drawings and installation should be as per technical specifications. Rates shall include for fixing screws.
1 | Partiton Frame - A : with fixing 6mm thick forested glass and 6mm thick aluminum white cladding sheet. | item | 1 |  |  | 0 | 0
2 | Partiton Frame - B : with fixing 6mm thick clear glass and 6mm thick aluminum whitecladding sheet. | item | 1 |  |  | 0 | 0
3 | Partiton Frame - C : with fixing 6mm thick clear glass and 6mm thick aluminum whitecladding sheet. | item | 1 |  |  | 0 | 0
4 | Partiton Frame - D : with fixing 6mm thick clear glass and 6mm thick aluminum whitecladding sheet. | item | 1 |  |  | 0 | 0
| BILL No: 02 - MASONRY AND PLASTERING | [5 empty] | 0
TOTAL OF BILL No: 02 - Carried over to summary
BILL N0: 03
DOORS AND WINDOWS
3.1 | General
Timber doors, Fabricate the doorframes and door panel to specified size using recommended timber fix same and other fittings such as locks etc. wood Paint specified and shown in approved working drawings and installation should be as per technical specifications. Rates shall include for locks (i.e. security lock & dead lock), latches, closures, push plates, pull handles, bolts, kick plates hinges, screws, washer and all door and window hardware and these materials should be of ss steel according to drawing and of superior quality.
Aluminum Doors and windows, Fabricate and fix in position the aluminum doors and window frame - aluminum doors and window (white powder coated, 60-80 micron, 1.5mm profile thickness) using recommended material with specified fixtures as shown in approved working drawings and installation should be as per technical specifications. Rates shall include for locks, latches, closures, push plates, pull handles, bolts, kick plates hinges, screws, washer and all door and window hardware and these materials should be of ss steel according to drawing and of superior quality.
(a) All door and window frames and panels shall be as specified in the drawing and timber boarder to be fixed all timber doors.
(b) All glazing shall be 6mm Tinted.
(Profiles to be chosen by client).
3.2 | Door / Windows units
1 | Aluminum Door (SD1) :with fixing 6mm thick Clear glass and 6mm thick aluminum white cladding sheet. | Item | 1 |  |  | 0 | 0
2 | Aluminum Door (SD2) :with fixing 6mm thick Clear glass and 6mm thick aluminum white cladding sheet. | Item | 1 |  |  | 0 | 0
3 | Aluminum Door (D3) :with fixing 6mm thick aluminum white cladding sheet. | Item | 1 |  |  | 0 | 0
4 | Aluminum Door (D4) :with fixing 6mm thick aluminum white cladding sheet. | Item | 3 |  |  | 0 | 0
5 | Aluminum Windows (SDW) :with fixing 6mm thick Clear glass and 6mm thick aluminum white cladding sheet. | Item | 3 |  |  | 0 | 0
| BILL N0: 03 - DOORS AND WINDOWS | [5 empty] | 0
TOTAL OF BILL No: 03 - Carried over to summary
BILL N0: 04
TILING
4.1 | General
Prepare surface for approved bedding tiles with reach bedding materials as per the technical specifications & approved working drawings, fix tiles with grout in a precise manner to maintain correct alignment, applying tile grout and wiping any excess grout to ensure the required standards of finished works. Rates shall include for: fixing, bedding, grouting, and pointing materials; making good around pipes, sanitary fixtures, and similar; cleaning down and polishing any other similar works to ensure the required finish. All tiles shall be White ceramic / Homogeneous or equivalent.
4.2 | Floor finish
4.2.1 | laying of 300x300 skid-resistant White Ceramic (white ceramic body) floor tiles, Rates also includes to remove existing tiles and prepare the surface to fix new tiles. Rates also includes to remove existing tiles and prepare the surface to fix new tiles.
1 | Toilet and changing room area. | m² | 7.2 |  |  | 0 | 0
[6 empty] | 0 | 0
4.3 | Wall finish |  |  |  |  | 0 | 0
4.3.1 | 300x600 mm glazed white ceramic (white ceramic body) wall tile, Rates also includes to remove existing tiles and prepare the surface to fix new tiles. |  |  |  |  | 0 | 0
1 | Toilet and changing room area. | m² | 53.04 |  |  | 0 | 0
| BILL No: 4 - TILING | [5 empty] | 0
TOTAL OF BILL No: 4 - Carried over to summary
BILL No: 5
CEILINGS
5.1 | Existing Ceilings
Change to existing ceiling board to Gypsum board suspended ceiling, including framing beading nails and screws as per drawing and picture provided by this document. Rates include removing the existing ceiling, clean debris and supply and fabrication of frame, fixing of Gypsum boards, puttying and painting.
1 | Change to existing ceiling board to 9mm thick Gypsum board suspended ceiling | m² | 33.5 |  |  | 0 | 0
[6 empty] | 0 | 0
2.4 | Aluminum ceilin frame
Aluminum ceiling frame, Fabricate and fix in position the aluminum partition frame - (white powder coated, 60-80 micron, 1.5mm profile thickness) using recommended material with specified fixtures as shown in approved working drawings and installation should be as per technical specifications. Rates shall include for fixing screws.
1 | Aluminium ceiling frame with 20mm thick block board white gloss finishing. | m² | 15.6 |  |  | 0 | 0
| BILL N0: 5 CEILINGS | [5 empty] | 0
TOTAL OF BILL No: 5 - Carried over to summary
BILL No: 6
PAINTING
6.1 | General
Rates includes Erection of scaffolding, preparing working platforms, applying sealer and two coats of paint as specified in the working drawings. Removal of scaffolding if any after completion of work. Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door and window and including soffits and sides of beams.
Exterior & Exterior Ceiling (interior and exterior) shall be of 2 coats of (interior paint over 1 coat of primer or equivalent. Erection of scaffolding, preparing working platforms, applying sealer and two coats of paint as specified in the working drawings. Removal of scaffolding if any after completion of work. Rates shall include for the provision and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and or masking floors fittings and similar work removing and replacing door window furniture.
All painting work shall be carried in accordance with the Specifications
All emulsion and enemal paint should be Dulux or equivalent brands. (white Clour)
6.2 | Emulsion Wall painting
| Internal painting as per specification given above. (putty finish with texture painting (Scandinavian finishing), Terrace decorative paint or equivalent paint) |  |  |  |  | 0 | 0
1 | Internal walls | m² | 101.46 |  |  | 0 | 0
2 | Gypsum board celing | m² | 33.5 |  |  | 0 | 0
3 | Exteria walls | m² | 12.22 |  |  | 0 | 0
6.3 | Enemal Paint |  |  |  |  | 0 | 0
1 | Timber Door and frams. | item | 3 |  |  | 0 | 0
[6 empty] | 0 | 0
| BILL No: 6 - PAINTING | [5 empty] | 0
TOTAL OF BILL No: 6 - Carried over to summary
BILL No: 7
ELECTRICAL INSTALLATIONS
7.1 | General
(a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates shall include for electrical conduits, fittings, equipment and similar all fixings to various building surfaces
(d) Each Light/ light fixture and its switch is measured as one point; similarly each fan or each socket outlet is measured as one point;
(e) Rates shall include for supply and complete installation
(f) Point wiring including cables, socket outlets, patch codes and all the other necessary arrangements to complete to working order as per the detailed drawings and specifications. Cable shall be laid in PVC conduits when laid inside the ceiling.
[6 empty] | 0 | 0
7.2 | Electrical Boards |  |  |  |  | 0 | 0
1 | Three phase electrical distribution board (wall embedded): Supply and installation of D-Board . Rates Shall include all required Brackets and other electrical appliance as per drawings and Maldivian Regulations ( wall embedded ). All the light circuit should be one DB Sockets to be one DB. Rates to be included to connect main cable from nearest DB to hall area DB and complete all the works. | no | 1 |  |  | 0 | 0
7.3 | Electrical wiring |  |  |  |  | 0 | 0
| Single phase Electrical wiring with copper conductor cable in conduits in walls as specified to: |  |  |  |  | 0 | 0
1 | Wiring with 2.5 mm² cable to Power points ( single sockets) | points | 7 |  |  | 0 | 0
2 | Wiring with 2.5 mm² cable to Power points ( Double sockets) | points | 12
3 | Wiring with 2.5mm² cable to 1 x 15 Amp Power points | points | 6 |  |  | 0 | 0
4 | Wiring with 2.5mm² cable to 1 x 15 Amp Power points (for AC) | points | 4 |  |  | 0 | 0
5 | Wiring with 2.5 mm² cable to lights and fan | points | 18 |  |  | 0 | 0
[6 empty] | 0 | 0
7.4 | Lighting / Fan |  |  |  |  | 0 | 0
1 | Ceiling diffusing embedded down light 150mm dia with 19W LED bulb, (Philips) E27, Cool day light, (not crystal light or not Stellar bright) Total lumen 2300. or equivalent, | no | 18 |  |  | 0 | 0
0
7.5 | Socket outlets
(a) All socket outlets are single outlets shall be "Legrand" or equivalent.
1 | 1x13Amp wall Socket outlet, | no | 7 |  |  | 0 | 0
2 | 2x13Amp wall Socket outlet, | no | 24 |  |  | 0 | 0
3 | 1x15Amp wall socket outlet, | no | 6 |  |  | 0 | 0
4 | 1x15Amp wall socket outlet, for AC | no | 4 |  |  | 0 | 0
[6 empty] | 0 | 0
7.6 | Light switches |  |  |  |  | 0 | 0
| (a) All light switches shall be "Legrand" or equivalent. Each light should be control by one switch. |  |  |  |  | 0 | 0
[6 empty] | 0 | 0
1 | One gang switch | no | 4 |  |  | 0 | 0
2 | Two gang switch | no | 1 |  |  | 0 | 0
3 | four gang switch | no | 4 |  |  | 0 | 0
[6 empty] | 0 | 0
7.8 | Data, Network
Design, Supply and Complete Installation of computer networking, including CAT6 Cabling, Sockets and double layer switches, Allow for the provision of a completed and detailed set of shop drawings
1 | Completion of Data Network points (Data outlet (single gang)) | No | 6 |  |  | 0 | 0
3 | Supply and completion of 12 port network switch, double layer switch, D-Link or equivalent | No | 1 |  |  | 0 | 0
7.9 | Finger print scanner |  |  |  |  | 0 | 0
| (a) Finger printing scanner should be fixed on both side of the doors at entrance located in drawings to get excess IN and OUT |  |  |  |  | 0 | 0
| (b) Finger scan reader brand ZKFR 1200 with both card and finger reading |  |  |  |  | 0 | 0
| (c) A controller should come with a back-up battery in case power loss. |  |  |  |  | 0 | 0
1 | Supply and complete installation of Access control unit, specification mentioned above. Readers on both side. | Item | 3 |  |  | 0 | 0
7.11 | Fire Fighting
1 | CO2 Extinguisher | Item | 2 |  |  | 0 | 0
2 | H2O Extinguisher | Item | 2 |  |  | 0 | 0
| BILL No: 7 - ELECTRICAL INSTALLATIONS | [5 empty] | 0
TOTAL OF BILL No: 7 - Carried over to summary
BILL No: 8
SINK BANCH WORKS
8.1 | Partition Works.
8.1.1 | General
3.1 | GENERAL
(a) Rates shall include for: provision to place in position; casting of all required items and finishing after removal of formwork and additional concrete required to conform to structural and excavated tolerances
(b) Rates shall include supply of all formwork item including form oil, timber, plywood, nails etc.
(c) Rates shall include with ceramic tiles finishing.
(d) Mix ratio for reinforced concrete shall be 1:2:3
(e) T12 @150cc mash for concreat slab
1 | Reagent preparing area Sink cupboards | Item | 1
2 | PCR processing area Sink cupboards | Item | 1
3 | Sample preparing area Sink cupboards | Item | 1
[6 empty] | 0 | 0
| BILL No: 8 - WOOD WORKS | [5 empty] | 0
TOTAL OF BILL No: 8 - Carried over to summary
BILL No: 09
HYDRAULICS & DRAINAGE
``
9.1 | Hydraulics
9.1.1 | General
(a) Rates shall include for excavation, laying pipes and backfilling trenches, maintaining faces of drainpipe trenches and pits, backfilling, disposal of surplus soil, bends, junctions, reducers, expansion joints brackets, joints, straps, hangers, screws, nails and fixing complete, and all joints and other incidental material, All Pipes and fittings area high pressure uPVC pipes
fixing complete, including cutting and forming holes; excavating, laying pipes and backfilling trenches.
(b) All pipe work shall be uPVC.
9.1.2 | Ground water supply pipe work
1 | Removal of existing Pipelines and Completion of pipe works and Connect ground water supply pipe work to existing system for changing room toilet. | no | 1 |  |  | 0 | 0
[6 empty] | 0 | 0
9.1.3 | Fresh water supply pipe work |  |  |  |  | 0 | 0
1 | Removal of existing Pipelines and Completion of pipe works and Connect Fresh water supply pipe work to existing system for changing room toilet. | no | 1 |  |  | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
9.1.4 | Sanitary fixtures & accessories |  |  |  |  | 0 | 0
| sinks, Sanitary fixtures & Accessories: Sanitary fixtures complete including brackets, flush pipes, valves, overflows, plugs and washers, as specified. All the WC should be anti bacterial glazing. |  |  |  |  | 0 | 0
1 | Water closet (Cotto) or equivalent, (dual top flush) as shown in material selection. | no | 1 |  |  | 0 | 0
2 | Wash basin with pedestal (Cotto) or equivalent | Item | 1 |  |  | 0 | 0
3 | Floor drain with gully & water trap. | no | 1 |  |  | 0 | 0
4 | Water tap for wash basin , ( Cotto) or equivalent | no | 1 |  |  | 0 | 0
5 | Muslim Shower with Stop valve, ( Cotto) or equivalent | no | 1 |  |  | 0 | 0
6 | Stop Valves, ( Cotto) or equivalent | no | 6 |  |  | 0 | 0
7 | Mirror | no | 1 |  |  | 0 | 0
8 | SS Sinks | no | 3 |  |  | 0 | 0
0
9.2 | Drainage |  |  |  |  | 0 | 0
9.2.1 | General |  |  |  |  | 0 | 0
| (a) Rates shall include for: excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus spoil; bends, junctions, reducers, expansion joints and all joints and other incidental materials. |  |  |  |  | 0 | 0
| (b) All pipe work shall be UPVC |  |  |  |  | 0 | 0
[6 empty] | 0 | 0
9.3 | Pipe work |  |  |  |  | 0 | 0
[6 empty] | 0 | 0
1 | Completion of pipe works and Connect Waste disposal pipe 75mm dia UPVC to existing system. | Item | 1 |  |  | 0 | 0
2 | Completion of pipe works and Connect Sewer pipe 100mm dia UPVC to existing system. | Item | 1 |  |  | 0 | 0
0
0
0
0
0
| BILL No: 9 - HYDRAULICS & DRAINAGE | [5 empty] | 0
TOTAL OF BILL No: 9 - Carried over to summary
BILL No: 10
AIR CONDITIONING SYSTEM
10.1 | General
(a) Rates shall include for detail design, supply and complete installation of A/C units pipework, insulation, fixings, electrical wiring, drain pipes etc.
(b) The Contractor shall provide detailed and complete set of shop drawings
10.2 | Air Condition
10.2.1 | Design, supply and complete installation of indoor unit, , all AC unit is DAIKIN VRV digital wired thermostat or equivalent (INVERTER TYPE).
1 | 12000BTU Ceilling cassette air conditioner. | Item | 4 |  |  | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
| BILL No: 10 -AIR CONDITIONING SYSTEM | [5 empty] | 0
TOTAL OF BILL No: 10 - Carried over to summary
BILL No:11
TENDERER'S ADJUSTMENTS
(a) Provide detail description of work items under each bill and insert extra pages if required.
11.1 | Additions
1 | PRELIMINARIES, Bill no. 01 |  |  |  |  | 0 | 0
2 | MASONRY AND PLASTERING, Bill no. 02 |  |  |  |  | 0 | 0
3 | DOORS AND WINDOWS, Bill no. 03 |  |  |  |  | 0 | 0
4 | TILING, Bill no. 04 |  |  |  |  | 0 | 0
5 | CEILINGS, Bill no. 05 |  |  |  |  | 0 | 0
6 | PAINTING, Bill no. 06 |  |  |  |  | 0 | 0
7 | ELECTRICAL INSTALLATIONS, Bill no. 07 |  |  |  |  | 0 | 0
8 | SINK BANCH, Bill no. 08 |  |  |  |  | 0 | 0
9 | HYDRAULICS & DRAINAGE, Bill no. 09 |  |  |  |  | 0 | 0
10 | AIR CONDITIONING SYSTEM, Bill no. 10 |  |  |  |  | 0 | 0
11 | TENDERER'S ADJUSTMENTS, Bill no. 11 |  |  |  |  | 0 | 0
| ADDITIONS TOTAL | [5 empty] | 0
11.2 | Omissions
1 | PRELIMINARIES, Bill no. 01 |  |  |  |  | 0 | 0
2 | MASONRY AND PLASTERING, Bill no. 02 |  |  |  |  | 0 | 0
3 | DOORS AND WINDOWS, Bill no. 03 |  |  |  |  | 0 | 0
4 | TILING, Bill no. 04 |  |  |  |  | 0 | 0
5 | CEILINGS, Bill no. 05 |  |  |  |  | 0 | 0
6 | PAINTING, Bill no. 06 |  |  |  |  | 0 | 0
7 | ELECTRICAL INSTALLATIONS, Bill no. 07 |  |  |  |  | 0 | 0
8 | SINK BANCH, Bill no. 08 |  |  |  |  | 0 | 0
9 | HYDRAULICS & DRAINAGE, Bill no. 09 |  |  |  |  | 0 | 0
10 | AIR CONDITIONING SYSTEM, Bill no. 10 |  |  |  |  | 0 | 0
11 | TENDERER'S ADJUSTMENTS, Bill no. 11 |  |  |  |  | 0 | 0
| OMISSIONS TOTAL | [5 empty] | 0
| BILL No: 11 - TENDERER'S ADJUSTMENTS | [5 empty] | 0
TOTAL OF BILL No: 11 - Carried over to summary