**PART 3 – Requirements**

**Section V. Employer’s Requirements**

1. **Scope of Works**

Addu International Airport Pvt Ltd (hereinafter referred to as AIA or Employer) seeks to engage the services of a supplier who shall supply electric cables detailed below.

|  |  |  |  |
| --- | --- | --- | --- |
| **#** | **Description** | **QTY** | **Unit** |
| 1 | Electrical wire 2.5mm 1core 100M Green | 40 | Nos  |
| 2 | Electrical wire 2.5mm 1core 100M Black / Blue | 40 | Nos  |
| 3 | Electrical wire 2.5mm 1core 100M Red / Brown | 60 | Nos  |
| 4 | Electrical wire 1.5mm 1core 100M Black / Blue | 50 | Nos  |
| 5 | Electrical wire 1.5mm 1core 100M yellow | 80 | Nos  |
| 6 | Electrical wire 1.5mm 1core 100M Green | 50 | Nos  |
| 7 | Electrical insulation tape black  | 500 | Nos  |
| 8 | Electrical cable 2core / 6mm  | 500 | Meters |
| 9 | Electrical Cable 4core / 10mm  | 100 | Meters |
| 10 | Electrical cable 4core / 16mm , flexible , unarmored | 200 | Meters |
| 11 | Electrical cable 3core / 6mm ( underground ) | 500 | Meters |
| 12 | Electrical cable 4core / 6mm / , flexible , armored | 800 | Meters |
| 13 | Electrical cable 4core / 35mm / / armored | 35 | Meters |
| 14 | Electrical cable 5C X 1mm (32/0.20mm) flexible / 100meters | 1 | Nos  |
| 15 | Electrical cable 5C X 1.5mm (30/0.25mm) flexible / 100meters | 1 | Nos  |
| 16 | Electrical cable 2core / 1mm /flexible / 100meter coil | 2 | Nos  |
| 17 | Electrical cable 2core / 1.5mm /flexible / 100meters coil | 2 | Nos  |

* 1. The bidder shall specify the brand and specification of the products being offered
	2. The brand of the cables shall must be approved by Utility Regulatory Authority (URA) . Bidder shall provide documentation from URA approving the products being supplied.
	3. If the goods do not comply with the above, bid will be rejected during evaluation.
	4. If the supplied goods donot meet the required items, then the goods will be rejected and retuned.
	5. Goods must be packed properly . Cables should be packed in in drums other than single core cables.