## Cover
BILL OF QUANTITIES
PROJECT:Interior Works for Ombudspersons Office for Transitional Justice
H. KELEETHIA Gr.1st, & 5th Floor

## Summary
BOQ - SUMMARY
No. | Description
TOTAL
1 | PARTITION | 0
2 | ELECTRICAL WORKS | 0
3 | NETWORK | 0
4 | BLINDS | 0
5 | CUSTOMISED FURNITURE | 0
6 | FLOORING | 0
SUB TOTAL |  | 0
6% GST |  | 0
GRAND TOTAL |  | 0
DURATION
| QUOTATION VALIDITY | 60 Days

## BOQ Partition
BILL OF QUANTITIES
PROJECT:Interior Works for Ombudspersons Office for Transitional Justice
H. KELEETHIA Gr.1st, & 5th Floor
NO | DESCRIPTION | QTY | UNIT | RATE | TOTAL
1 | GROUND FLOOR |  |  |  | 0
1.1 | Internal Partition Walls & Doors
| Fabricate, Supply & Installation of Full Height Wooden Solid Partion (FSP) | 4.9 | Lm |  | 0
| Fabricate, Supply & Installation of Full Height Wooden Solid Partion (Prayer Room) | 2.2 | Lm |  | 0
| Fabricate, Supply & Installation of D1 as shown in the drawing. | 1 | Nos |  | 0
| Fabricate, Supply & Installation of D2 as shown in the drawing. | 1 | Nos |  | 0
1.2 | Contingencies
| Any other material or labour work not covered under this bill, but required to complete the work. | 1 | Item |  | 0
2 | 1ST FLOOR |  |  |  | 0
2.1 | Internal Partition Walls & Doors
| Fabricate, Supply & Installation of Full Height Wooden Solid Partion (FSP) | 12.22 | Lm |  | 0
| Fabricate, Supply & Installation of Full Height Aluminium farmed Partion (FS) with 4ft height frost sticker | 9.6 | LM |  | 0
| Fabricate, Supply & Installation of Full Height Aluminium farmed Partion (FFS) with full height frost sticker | 2.9 | LM |  | 0
| Fabricate, Supply & Installation of D3 as shown in the drawing. | 1 | No.s |  | 0
| Fabricate, Supply & Installation of D4 as shown in the drawing. | 1 | No.s |  | 0
| Fabricate, Supply & Installation of D5 as shown in the drawing. | 1 | Nos |  | 0
| Fabricate, Supply & Installation of D6 as shown in the drawing. | 1 | Nos |  | 0
2.2 | Contingencies
| Any other material or labour work not covered under this bill, but required to complete the work. | 1 | Item |  | 0
3 | 5th FLOOR |  |  |  | 0
3.1 | Internal Partition Walls & Doors
| Fabricate, Supply & Installation of Full Height Wooden Solid Partion (FSP) | 16.5 | Lm |  | 0
| Fabricate, Supply & Installation of Full Height Aluminium farmed Partion (FS) with 4ft height frost sticker | 17.5 | LM |  | 0
| Fabricate, Supply & Installation of D7 as shown in the drawing. | 1 | No.s |  | 0
| Fabricate, Supply & Installation of D8 as shown in the drawing. | 1 | No.s |  | 0
| Fabricate, Supply & Installation of D9 as shown in the drawing. | 1 | Nos |  | 0
| Fabricate, Supply & Installation of D10 as shown in the drawing. | 1 | Nos |  | 0
| Fabricate, Supply & Installation of D11 as shown in the drawing. | 1 | Nos |  | 0
| Fabricate, Supply & Installation of D12 as shown in the drawing. | 1 | Nos |  | 0
| Fabricate, Supply & Installation of D13 as shown in the drawing. | 1 | Nos |  | 0
| Fabricate, Supply & Installation of Server room door as shown in the drawing. | 1 | Nos |  | 0
3.2 | Contingencies
| Any other material or labour work not covered under this bill, but required to complete the work. | 1 | Item |  | 0
|  |  |  | Sub Total | 0
|  |  |  | 6% GST | 0
|  |  |  | Total | 0

## Boq Electrical
BILL OF QUANTITIES
PROJECT:Interior Works for Ombudspersons Office for Transitional Justice
H. KELEETHIA Gr.1st, & 5th Floor
NO | DESCRIPTION | QTY | UNIT | RATE | TOTAL
1 | GROUND FLOOR |  |  |  | 0
1.1 | Electrical Works
ELECTRICAL BOARDS & MAIN CONNECTION
| Distribution Boards | 1 | nos |  | 0
0
| ELECTRICAL WIRING |  |  |  | 0
| Wiring to DB | 1 | nos |  | 0
| Wiring to Sockets | 35 | nos |  | 0
0
| ELECTRICAL FIXTURES AND FITTINGS |  |  |  | 0
| Wall Socket outlet, 13A, Single Gang | 3 | nos |  | 0
| Wall Socket outlet, 13A, Double Gang | 12 | nos |  | 0
| Floor Mount Sockets 13A, Double | 20 | nos |  | 0
| AC Sockets 15A, Single | 1 | nos |  | 0
| Contingencies |  |  |  | 0
| Any other material or labour work not covered under this bill, but required to complete the work. | 1 | Item |  | 0
2 | 1ST FLOOR |  |  |  | 0
1.1 | Electrical Works
ELECTRICAL BOARDS & MAIN CONNECTION
| Distribution Boards | 1 | nos |  | 0
0
| ELECTRICAL WIRING |  |  |  | 0
| Wiring to DB | 1 | nos |  | 0
| Wiring to Sockets | 31 | nos |  | 0
0
| ELECTRICAL FIXTURES AND FITTINGS |  |  |  | 0
| Wall Socket outlet, 13A, Single Gang | 3 | nos |  | 0
| Wall Socket outlet, 13A, Double Gang | 18 | nos |  | 0
| Floor Mount Sockets 13A, Double | 10 | nos |  | 0
| AC Sockets 15A, Single | 4 | nos |  | 0
| Contingencies |  |  |  | 0
| Any other material or labour work not covered under this bill, but required to complete the work. | 1 | Item |  | 0
3 | 5th FLOOR |  |  |  | 0
1.1 | Electrical Works
ELECTRICAL BOARDS & MAIN CONNECTION
| Distribution Boards | 1 | nos |  | 0
0
| ELECTRICAL WIRING |  |  |  | 0
| Wiring to DB | 1 | nos |  | 0
| Wiring to Sockets | 39 | nos |  | 0
0
| ELECTRICAL FIXTURES AND FITTINGS |  |  |  | 0
| Wall Socket outlet, 13A, Single Gang | 3 | nos |  | 0
| Wall Socket outlet, 13A, Double Gang | 32 | nos |  | 0
| Floor Mount Sockets 13A, Double | 4 | nos |  | 0
| AC Sockets 15A, Single | 7 | nos |  | 0
| Contingencies |  |  |  | 0
| Any other material or labour work not covered under this bill, but required to complete the work. | 1 | Item |  | 0
|  |  |  | Sub Total | 0
|  |  |  | 6% GST | 0
|  |  |  | Total | 0

## Networt
BILL OF QUANTITIES
PROJECT:Interior Works for Ombudspersons Office for Transitional Justice
H. KELEETHIA Gr.1st, & 5th Floor
NO | DESCRIPTION | QTY | UNIT | RATE | TOTAL
1 | GROUND FLOOR |  |  |  | 0
1.1 | Networking
NETWORK MAINS CONNECTION
| Nework main switch | 1 | nos |  | 0
0
| NETWORK WIRING |  |  |  | 0
| Wiring to Network Switch | 1 | nos |  | 0
| Wiring to Network Switches | 18 | nos |  | 0
| Cabling for Door Access System | 1 | item |  | 0
| Main Cabling from 5th floor server room to ground floor | 1 | item |  | 0
0
| FIXTURES AND FITTINGS |  |  |  | 0
| Networ Switch (Faceplate) | 18 | nos |  | 0
| Contingencies |  |  |  | 0
| Any other material or labour work not covered under this bill, but required to complete the work. | 1 | Item |  | 0
2 | 1ST FLOOR |  |  |  | 0
1.1 | Networking
NETWORK MAINS CONNECTION
| Nework main switch | 1 | nos |  | 0
0
| NETWORK WIRING |  |  |  | 0
| Wiring to Network Switch | 1 | nos |  | 0
| Wiring to Network Switches | 14 | nos |  | 0
| Main Cabling from 5th floor server room to 1st floor | 1 | item |  | 0
0
| FIXTURES AND FITTINGS |  |  |  | 0
| Networ Switch (Faceplate) | 14 | nos |  | 0
| Contingencies |  |  |  | 0
| Any other material or labour work not covered under this bill, but required to complete the work. | 1 | Item |  | 0
3 | 5th FLOOR |  |  |  | 0
1.1 | Networking
NETWORK MAINS CONNECTION
| Nework main switch | 1 | nos |  | 0
0
| NETWORK WIRING |  |  |  | 0
| Wiring to Network Switch | 1 | nos |  | 0
| Wiring to Network Switches | 14 | nos |  | 0
| Cabling for Door Access System | 1 | item |  | 0
| Main Cabling from 5th floor server room | 1 | item |  | 0
0
| FIXTURES AND FITTINGS |  |  |  | 0
| Networ Switch | 14 | nos |  | 0
| Contingencies |  |  |  | 0
| Any other material or labour work not covered under this bill, but required to complete the work. | 1 | Item |  | 0
|  |  |  | Sub Total | 0
|  |  |  | 6% GST | 0
|  |  |  | Total | 0

## Blinds
BILL OF QUANTITIES
PROJECT:Interior Works for Ombudspersons Office for Transitional Justice
H. KELEETHIA Gr.1st, & 5th Floor
NO | DESCRIPTION | QTY | UNIT | RATE | TOTAL
1 | FIRST FLOOR |  |  |  | 0
1.1 | Roller Blinds
| Fixing Rooler Blinds at the front door | 1 | nos |  | 0
1.2 | Contingencies |  |  |  | 0
| Any other material or labour work not covered under this bill, but required to complete the work. | 1 | Item |  | 0
2 | 5th FLOOR |  |  |  | 0
2.1 | Roller Blinds
| Fixing Rooler Blinds at the front door | 1 | nos |  | 0
2.2 | Contingencies |  |  |  | 0
| Any other material or labour work not covered under this bill, but required to complete the work. | 1 | Item |  | 0
0
|  |  |  | Sub Total | 0
|  |  |  | 6% GST | 0
|  |  |  | Total | 0

## Furn
BILL OF QUANTITIES
PROJECT:Interior Works for Ombudspersons Office for Transitional Justice
H. KELEETHIA Gr.1st, & 5th Floor
NO | DESCRIPTION | QTY | UNIT | RATE | TOTAL
1 | CUTOMISED FURNITURE |  |  |  | 0
1.1 | Fabrication of Furnitre
| Fabrication of Bench with 100mm Seat Cushion | 1 | nos |  | 0
1.2 | Contingencies |  |  |  | 0
| Any other material or labour work not covered under this bill, but required to complete the work. | 1 | Item |  | 0
0
|  |  |  | Sub Total | 0
|  |  |  | 6% GST | 0
|  |  |  | Total | 0

## Flooring
BILL OF QUANTITIES
PROJECT:Interior Works for Ombudspersons Office for Transitional Justice
H. KELEETHIA Gr.1st, & 5th Floor
NO | DESCRIPTION | QTY | UNIT | RATE | TOTAL
1 | GROUND FLOOR |  |  |  | 0
1.1 | Supply and Installation of flooring
| Supply & Installation of Vinyl Roll Flooring with skirting. | 23 | sqm |  | 0
1.2 | Supply and Installation of carpet flooring |  |  |  | 0
| Supply & Installation of Mosque Carpet Roll Flooring with skirting. | 3.4 | sqm |  | 0
0
| Note: Flooring, Skirting Material & Color as selected by OTJ |  |  |  | 0
0
1.3 | Contingencies |  |  |  | 0
| Any other material or labour work not covered under this bill, but required to complete the work. | 1 | Item |  | 0
2 | 1ST FLOOR |  |  |  | 0
1.1 | Supply and Installation of flooring
| Supply & Installation of Vinyl Roll Flooring with skirting. | 17 | sqm |  | 0
Note: Flooring, Skirting Material & Color as selected by OTJ
Contingencies
| Any other material or labour work not covered under this bill, but required to complete the work. | 1 | Item |  | 0
2 | 5TH FLOOR |  |  |  | 0
1.1 | Supply and Installation of flooring
| Supply & Installation of Vinyl Roll Flooring with skirting. | 38 | sqm |  | 0
Note: Flooring, Skirting Material & Color as selected by OTJ
Contingencies
| Any other material or labour work not covered under this bill, but required to complete the work. | 1 | Item |  | 0
|  |  |  | Sub Total | 0
|  |  |  | 6% GST | 0
|  |  |  | Total | 0