## COVER SHEET
BILL OF QUANTITIES
INTERIOR MODIFICATIONS AT SECOND FLOOR OF H.REAL
10th January 2022
0

## SUMMARY
SUMMARY OF BILLS OF QUANTITIES
INTERIOR MODIFICATIONS AT SECOND FLOOR OF H.REAL
Bill No | Description |  | Amount
1 | PRELIMINARIES | Bill no. 01 | 0
2 | DOORS AND WINDOWS | Bill no. 02 | 0
3 | DRY WALL PARTITION WORKS | Bill no. 03 | 0
4 | PAINTING | Bill no. 04 | 0
5 | ELECTRICAL INSTALLATIONS | Bill no. 05 | 0
6 | HYDRAULICS & DRAINAGE | Bill no. 06 | 0
7 | AIR CONDITIONING SYSTEM | Bill no. 07 | 0
8 | TENDERER'S ADJUSTMENTS | Bill no. 08 | 0
| Sub Total |  | 0
| GST 6% |  | 0
| GRAND TOTAL carried to form of bid |  | 0

## BoQ
BILL OF QUANTITIES
INTERIOR MODIFICATIONS AT SECOND FLOOR OF H.REAL
Item | Description | Unit | Quantity | Rate/ Unit | Rate/ Unit | Total Unit Rate | Amount
|  |  |  | Material | Labour | Rates per Units
BILL No: 01
PRELIMINARIES
1.1 | General Notes
(1) | Abbreviations
m - meter
No - numbers
m³ - cubic meter
m² - square meter
Lm - Linear meter
KG - Kilograms
incl - including
mm - millimeter
dia - diameter
SS - Stainless Steel
GI - Galvanized Iron
NOTE:
Rate shall include for all materials, items, fittings, accessories & labour. Contractor must refer to drawings, specification before pricing. All the details are provided in drawing.
All materials must be approved by the consultant/client representative before commencing the work.
All the rates shall be as per the specifications provided in the BOQ and the DRAWINGS. All the materials shall be as per the specifications, and shall be submitted for approval during the construction phase before procurement or delivery to site. All materials submitted for approval shall be approved by the consultant in writing before using at site.
1.2 | Site Management , Mobilization & Demobilization
Establishment of transportation and establishment of all personnel, plants & machineries, tools, equipments, materials and all neccesary items for the execution of the work. This shall include offsite works related to this project.
1.3 | Clean-up
1 | Allow for clean-up of completed works and site upon completion. | Item | 1 |  |  | 0 | 0
| BILL No: 01 PRELIMINARIES | [5 empty] | 0
TOTAL OF BILL No: 01 - Carried over to summary
BILL N0: 02
DOORS AND WINDOWS
2.1 | General
Aluminum Doors and windows, Fabricate and fix in position the aluminum doors and window frame - aluminum doors and window (white powder coated, 60-80 micron, 1.5mm profile thickness) using recommended material with specified fixtures as shown in approved working drawings and installation should be as per technical specifications. Rates shall include for locks, latches, closures, push plates, pull handles, bolts, kick plates hinges, screws, washer and all door and window hardware and these materials should be of ss steel according to drawing and of superior quality.
(a) All door and window frames and panels shall be as specified in the drawing and boarder to be fixed all timber doors.
(b) All glazing shall be 6mm Tinted.
2.2 | Door / Windows units
1 | Design, Fabricate and Fixing of timber Door with panels (D1-850x2150mm) with frame as per the drawings and specifications, width of of door frame should be same as wall/Partition thickness. Rates shall include fabrication, installation, painting, installation of a decorative timber border at the door frame and partition seam along the perimeter of the door frame at both sides of the partition excluding the bottom. | no | 6 |  |  | 0 | 0
2 | Design, Fabricate and Fixing of Aluminum Door with panels (D2- 750x2150mm) with frame as per the drawings and specifications. Rates shall include all neccesary works. | no | 2 |  |  | 0 | 0
| BILL N0: 02 - DOORS AND WINDOWS | [5 empty] | 0
TOTAL OF BILL No: 02 - Carried over to summary
BILL No: 3
DRY WALL PARTITION WORKS
3.1 | Interior Partitions
Fabrication and installation of interior parttions as per the layout at second floor. Interior partions shall consist of 82x50mm timber frame ( at 600c/c bothways) with 9mm Gypsum board on both sides including framing beading nails and screws as per drawing provided by this document. Rates includes, supply and fabrication of frame, fixing of Gypsum boards, puttying and painting. Rates shall include installation of fischer or equivalent expansion bolt with sealing epoxy at stud and concrete member connection. All frames shall be Rondo Stud 64x35x0.5mm at 600mm c/c. All partitions are full height (from FFL to upper 3rd floor slab/beam soffit. PVC Decorative skirting shall be installed at all rooms. All Timber used shall be treated, free from rots, knots and other defects such as warping or other deformations. If Untreated timber is to be used; all timbers shall be coated with soligum or equivalent wood preservative as per the manufacturer's instruction before installation.
1 | Fabrication and installation of partitions as per specification and drawing at second floor. | item | 1 |  |  | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
| BILL N0: 3 DRY WALL PARTITION WORKS | [5 empty] | 0
TOTAL OF BILL No: 3 - Carried over to summary
BILL No: 4
PAINTING
4.1 | General
Exterior wall shall be of 1 coat of oil based textured paint and 2 coats of Sigma weather bond paint ( oil based ) over 1 coat of oil based sealer ( white) or equivalent (according to technical specifications or approved drawings). Erection of scaffolding, preparing working platforms, applying sealer and two coats of paint as specified in the working drawings. Removal of scaffolding if any after completion of work. Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door and window and including soffits and sides of beams.
Interior wall shall be of 2-3 coats over 1 coat of water based sealer. Rates includes Erection of scaffolding, preparing working platforms, applying sealer and two coats of paint as specified in the working drawings. Removal of scaffolding if any after completion of work. Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door and window and including soffits and sides of beams.
Exterior & Exterior Ceiling (interior and exterior) shall be of 2 coats of (bodelac 9000) high gloss wood paint over 1 coat of wood primer (bodelac 9000 undercoat) or equivalent. Erection of scaffolding, preparing working platforms, applying sealer and two coats of paint as specified in the working drawings. Removal of scaffolding if any after completion of work. Rates shall include for the provision and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and or masking floors fittings and similar work removing and replacing door window furniture.
All painting work shall be carried in accordance with the Specifications
4.2 | Wall painting
[6 empty] | 0 | 0
4.2.1 | Internal Painting 1 coat of sealer & 2 coats of paints, Emulsion paint putty finish system on plastered and concrete surfaces of internal walls. |  |  |  |  | 0 | 0
1 | White finish for the rest of wall. | item | 1 |  |  | 0 | 0
2 | Wall paint. (Pantone 130905 Birch) show in the material selection as well as pictures.
[6 empty] | 0 | 0
| BILL No: 4- PAINTING | [5 empty] | 0
TOTAL OF BILL No: 4 - Carried over to summary
BILL No: 5
ELECTRICAL INSTALLATIONS
5.1 | General
(a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates shall include for electrical conduits, fittings, equipment and similar all fixings to various building surfaces
(d) Each Light/ light fixture and its switch is measured as one point; similarly each fan or each socket outlet is measured as one point;
(e) Rates shall include for supply and complete installation
(f) Point wiring including cables, socket outlets, patch codes and all the other necessary arrangements to complete to working order as per the detailed drawings and specifications. Cable shall be laid in PVC conduits when laid inside the ceiling.
[6 empty] | 0 | 0
5.2 | Electrical Boards |  |  |  |  | 0 | 0
1 | Single phase electrical Sub distribution board (surface mounted): Supply and installation of D-Board . Rates Shall include all required Brackets and other electrical appliance as per drawings and Maldivian Regulations ( wall mounted ). All the light circuit should be one DB Sockets to be one DB. Rates to be included to connect main cable from nearest DB. | no | 1 |  |  | 0 | 0
[6 empty] | 0 | 0
5.3 | Electrical wiring |  |  |  |  | 0 | 0
| Three phase Electrical wiring with copper conductor cable in conduits in walls as specified to: |  |  |  |  | 0 | 0
1 | Wiring with 2.5 mm² cable to Power points ( single sockets) | points | 4 |  |  | 0 | 0
2 | Wiring with 2.5 mm² cable to Power points ( Double sockets) | points | 20
3 | Wiring with 2.5 mm² cable to 1 x 15 Amp Power points (for AC) | points | 6 |  |  | 0 | 0
[6 empty] | 0 | 0
0
5.4 | Socket outlets
(a) All socket outlets shall be "Legrand" or equivalent.
1 | 1x13Amp wall Socket outlet, | no | 4 |  |  | 0 | 0
2 | 2x13Amp wall Socket outlet, | no | 20 |  |  | 0 | 0
3 | 1x15Amp wall socket outlet, for AC | no | 6 |  |  | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
5.5 | Data, Network
Design, Supply and Complete Installation of computer networking, including CAT6 Cabling/HDMI Cabling , Sockets, Allow for the provision of a completed and detailed set of shop drawings
1 | Completion of Data Network points (Data outlet (Double gang)) | No | 10 |  |  | 0 | 0
2 | Completion of HDMI points (HDMI outlet (single gang) | No | 2 |  |  | 0 | 0
| BILL No: 5 - ELECTRICAL INSTALLATIONS | [5 empty] | 0
TOTAL OF BILL No: 5 - Carried over to summary
BILL No: 06
HYDRAULICS & DRAINAGE
6.1 | Hydraulics
6.1.1 | General
(a) Rates shall include for excavation, laying pipes and backfilling trenches, maintaining faces of drainpipe trenches and pits, backfilling, disposal of surplus soil, bends, junctions, reducers, expansion joints brackets, joints, straps, hangers, screws, nails and fixing complete, and all joints and other incidental material, All Pipes and fittings area high pressure uPVC pipes
fixing complete, including cutting and forming holes; excavating, laying pipes and backfilling trenches.
(b) All pipe work shall be uPVC.
6.1.2 | Fresh water supply pipe work |  |  |  |  | 0 | 0
1 | Completion of pipe works and Connect Fresh water supply pipe work to existing system. | no | 1 |  |  | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
6.1.3 | Sanitary fixtures & accessories |  |  |  |  | 0 | 0
| Sanitary fixtures & Accessories: Sanitary fixtures complete including brackets, flush pipes, valves, overflows, plugs and washers, as specified. All the WC should be anti bacterial glazing. |  |  |  |  | 0 | 0
1 | Tea room sink (1 sink) with sink cupboard as per drawing and shown in Material selection, (Cotto) or equivalent as per drawing | Item | 1 |  |  | 0 | 0
2 | Water tap for wash basin , ( Cotto) or equivalent | no | 1 |  |  | 0 | 0
0
6.2 | Drainage |  |  |  |  | 0 | 0
6.2.1 | General |  |  |  |  | 0 | 0
| (a) Rates shall include for: excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus spoil; bends, junctions, reducers, expansion joints and all joints and other incidental materials. |  |  |  |  | 0 | 0
| (b) All pipe work shall be UPVC |  |  |  |  | 0 | 0
[6 empty] | 0 | 0
6.3 | Pipe work |  |  |  |  | 0 | 0
[6 empty] | 0 | 0
1 | Completion of pipe works of tea room sink and Connect Waste disposal pipe 75mm dia UPVC to existing system. | Item | 1 |  |  | 0 | 0
0
0
0
0
0
| BILL No: 6 - HYDRAULICS & DRAINAGE | [5 empty] | 0
TOTAL OF BILL No: 6 - Carried over to summary
BILL No: 7
AIR CONDITIONING SYSTEM
7.1 | General
(a) Rates shall include for detail design, supply and complete installation of A/C units pipework, insulation, fixings, electrical wiring, drain pipes etc.
(b) The Contractor shall provide detailed and complete set of shop drawings
7.2 | Air Condition
7.2.1 | Design, supply and complete installation of indoor unit, with 40ø drop in water (type) 25ø extended as Cd drop in 32 flex conduit 18ø Cd drain (typ0 run above FC insulated, CU1/3 48,000 BTU/HR, all AC unit is DAIKIN VRV IV digital wired thermostat or equivalent (INVERTER TYPE).
(b) All the Air conditions are Inverter type, DAIKIN or equivalent brand, All indoor unit should be split type air conditions.
1 | 9000BTU Split type Air condtions (Inverter) - Supply and installation as per drawing. | Item | 6 |  |  | 0 | 0
| BILL No: 7 -AIR CONDITIONING SYSTEM | [5 empty] | 0
TOTAL OF BILL No: 7 - Carried over to summary
BILL No:8
TENDERER'S ADJUSTMENTS
(a) Provide detail description of work items under each bill and insert extra pages if required.
11.1 | Additions
1 | PRELIMINARIES, Bill no. 01 |  |  |  |  | 0 | 0
2 | DOORS AND WINDOWS, Bill no. 02 |  |  |  |  | 0 | 0
3 | DRY WALL PARTITION WORKS Bill no.03 |  |  |  |  | 0 | 0
4 | PAINTING, Bill no. 4 |  |  |  |  | 0 | 0
5 | ELETRICAL INSTALATION, Bill no.05 |  |  |  |  | 0 | 0
6 | HYDRAULICS & DRAINAGE, Bill no. 06 |  |  |  |  | 0 | 0
7 | AIR CONDITIONING SYSTEM, Bill no. 07
8 | TENDERER'S ADJUSTMENTS, Bill no. 11 |  |  |  |  | 0 | 0
| ADDITIONS TOTAL | [5 empty] | 0
9.2 | Omissions
1 | PRELIMINARIES, Bill no. 01 |  |  |  |  | 0 | 0
2 | DOORS AND WINDOWS, Bill no. 02 |  |  |  |  | 0 | 0
3 | DRY WALL PARTITION WORKS Bill no.03 |  |  |  |  | 0 | 0
4 | PAINTING, Bill no. 4 |  |  |  |  | 0 | 0
5 | ELETRICAL INSTALATION, Bill no.05 |  |  |  |  | 0 | 0
6 | HYDRAULICS & DRAINAGE, Bill no. 06 |  |  |  |  | 0 | 0
7 | AIR CONDITIONING SYSTEM, Bill no. 07 |  |  |  |  | 0 | 0
8 | TENDERER'S ADJUSTMENTS, Bill no. 11 |  |  |  |  | 0 | 0
| OMISSIONS TOTAL | [5 empty] | 0
| BILL No: 8 - TENDERER'S ADJUSTMENTS | [5 empty] | 0
TOTAL OF BILL No:8 - Carried over to summary