## BOQ
Infrastructure & Building Development
Auxiliary Services
Maldives Police Service
Project: Renovation of B.Eydafushi Police Station
Location: B. Eydafushi
Date: 10 February 2022
SUMMARY
BILL | DESCRIPTION |  |  |  | AMOUNT
1 | PRELIMINARIES |  |  |  | 0
2 | CONCRETE WORKS |  |  |  | 0
3 | MASONRY WALLS / PARTITION |  |  |  | 0
4 | CEILING |  |  |  | 0
5 | TILING |  |  |  | 0
6 | DOORS AND WINDOWS |  |  |  | 0
7 | PAINTING |  |  |  | 0
8 | ROOFING |  |  |  | 0
9 | SANITARY & ELECTRICAL |  |  |  | 0
10 | CELL BLOCK |  |  |  | 0
TOTAL (MVR) |  |  |  |  | 0
ADD 6% GST |  |  |  |  | 0
GRAND TOTAL (MVR) |  |  |  |  | 0
Infrastructure & Building Development
Auxiliary Services
Maldives Police Service
Project: Renovation of B.Eydafushi Police Station
Location: B. Eydafushi
Date: 10 February 2022
BILL OF QUANTITIES
BILL | DESCRIPTION | QTY. | UNIT | RATE | AMOUNT
1 | BILL NO 1: PRELIMINARIES
1.1 | SITE MANAGEMENT COST
| Allow for all on and off site management cost including cost of certified site engineer, foreman and assistants, temporary services, telephone, fax, hoardings, guards, temporary fencing inside and outside the premises and similar. | 1 | item |  | 0
1.2 | CLEAN - UP
| Allow for clean- up of completed works and site up on completion. Allow for removal of debris away from the site. | 1 | item |  | 0
| TOTAL (BILL NO 01:PRELIMINARIES) |  |  |  | 0
2 | BILL NO 2: CONCRETE WORKS
Rates shall include for provision of scaffolding and other necessary works to carryout the described works.
a) Rate shall include for: placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
b) Mix ratio for reinforced concrete shall be 1:2:4
2.1 | DEMOLITION WORKS
1 | Demolition of concrete gutter. Rates shall include for placing of scaffolds, provision of safety measures and removal of debris away from the site. | 1 | item |  | 0
Note: Existing rebars of gutter slab and continuous bars from beams shall be cut from a distance of 25mm from the adjacent roof beams. Gutter Length: 56.80m Total demolition Area: 102.24sqm Refer attached drawings for cross section and details of RC gutter.
2 | Controlled demolition of gutter slab concrete. Demolition should be carried out with care not to damage top reinforcement of the slab. Rates shall include for placing of scaffolds, provision of safety measures and removal of debris away from the site. | 1 | item |  | 0
Note: Gutter Length: 22.40m Total demolition Area: 33.60sqm Refer attached drawings for cross section and details of RC gutter.
2.2 | REINFORCED CONCRETE
1 | Reinforced concrete as per the drawing in gutter slab. | 4.5 | m3 |  | 0
Note: Slab thickness 150mm. Top reinforcement shall be cleaned of concrete debris, damaged or corroded bars shall be replaced. Rusted rebars shall be cut and removed, usable rebars free from rust and damaged should be kept and cleaned. Bottom reinforcement T10@150c/c both ways. Where ever required, bottom bars should be anchored into existing roof beams. (Effective embedment depth: 90mm)
Refer to attached drawing for more details.
2 | Restoration of concrete in window sill and parapet wall decoration. | 1 | item |  | 0
Note: (a) Minor cracked and rusted areas shall be chipped to expose rebars, cut and clean-up rusted rebars to receive Structural repair mortar MasterEmaco S 488 or equivalent. (b) If the cracking is severe, remove concrete, clean and wire brush re-bars to remove rusts, place fresh concrete. Rate shall include for provision of shuttering and formworks for new concrete.
| TOTAL (BILL NO 02: CONCRETE WORKS) |  |  |  | 0
3 | BILL NO 03: MASONRY WALLS / PARTITION
3.1 | BOUNDAY WALL
1 | Routing and Sealing of Cracks using Acrylic or Polyurethane Sealant as per manufacturer’s specifications | 1 | item |  | 0
2 | Remove swollen plastering, re-plastering where necessary. | 1 | item |  | 0
3.2 | EXTERNAL WALLS
3.2.1 | Wall Cracks and Defects
1 | Routing and Sealing of Cracks in external masonry walls and decorations using Acrylic or Polyurethane Sealant (PU 25 or equivalent) as per manufacturer’s specifications. | 1 | item |  | 0
3.2.2 | 50x75mm (length:1.2m) masonry kicker, including tile works (First floor balconies). | 2 | nos |  | 0
3.3 | INTERNAL WALLS
3.3.1 | Wall Cracks
1 | Routing and Sealing of Cracks using Acrylic or Polyurethane Sealant as per manufacturer’s specifications | 1 | item |  | 0
3.3.2 | Demolition of masonry walls. Rates shall include for removal of debris away from site. Rates shall include for removal of existing grill doors. | 14.7 | m2 |  | 0
3.3.3 | 150mm thick masonry wall, including 15mm thick plastering on both sides in investigation room. Rate shall include for removal of existing wooden door. | 1.68 | m2 |  | 0
3.3.4 | 150mm thick masonry wall, including 15mm thick plastering on both sides. | 1.365 | m2 |  | 0
3.3.5 | Provision of 1" GI Pipe (2.3m) anchored on both sides at 600mm c/c to masonry wall in laundry area for cloth hanging. | 3 | nos |  | 0
3.4 | PARTITION WORKS
3.4.1 | Removal of existing wooden partition wall and wooden door in IT room at first floor level, provide wooden framed (50x50mm timber) gypsum (12mm thick) partition. Rates shall include for installation of wooden door as size same as D5. | 1 | item |  | 0
| TOTAL (BILL NO 03: MASONRY WALLS / PARTITION) |  |  |  | 0
4 | BILL NO 04: CEILING
4.1 | EXTERNAL CEILING
1 | Removal of gypsum ceiling, provide 6mm thick cement board ceiling in first floor balcony. | 14.05 | m2 |  | 0
4.2 | INTERNAL CEILING
1 | Repair damaged gypsum ceiling (Atoll Commander Room). Provision of 9mm thick Gypsum ceiling including putty works and 1 coat of primer coat. | 10.83 | m2 |  | 0
2 | Repair damaged gypsum ceiling (Ground Floor - OPS Room). Provision of 9mm thick Gypsum ceiling including putty works and 1 coat of primer coat. | 10.02 | m2 |  | 0
3 | Removal of fungus infected ceiling. Provision of 9mm thick Gypsum ceiling including putty works and 1 coat of primer coat. | 26.95 | m2 |  | 0
| TOTAL (BILL NO 04: CEILING) |  |  |  | 0
5 | BILL NO 05: TILING
5.1 | WASH BASIN COUNTER
1 | 300x300mm CERAMIC tiles. Rates shall include for stripping of wash basin counter tiles with mortar, chipping of concrete along cracks. Expose rebars if corrosion has occurred. Clean up the rusts with wire brush, repair cracked areas using chemical (MasterEmaco S 488 or equivalent). | 3 | nos |  | 0
5.2 | BARRACKS 1
Stripping of tile works in toilet walls and floors with mortar. and removal of debris. Tiles shall be stripped together with mortar, while brick surface shall be cleaned with a wire brush.
1 | 300x600 CERAMIC wall tiles up to 2.1m height in toilets. Rates shall include for repairing of wall cracks by method of routing and sealing using Polyurethane Sealant (PU 25 or equivalent) as per manufacturer’s specifications. | 27.72 | m2 |  | 0
2 | 300x300mm anti-slip CERAMIC tiles on floor. Rates shall include application of 2 coats of water proofing membrane, (MasterSeal 550 or similar). | 6.2 | m2 |  | 0
3 | 450x450mm PORCELAIN tiles on floor. Rates shall include application of 2 coats of water proofing membrane, (MasterSeal 550 or similar). | 2.43 | m2 |  | 0
5.3 | BARRACKS 2
Stripping of tile works in toilet walls and floors with mortar. and removal of debris. Tiles shall be stripped together with mortar, while brick surface shall be cleaned with a wire brush.
1 | 300x600 CERAMIC wall tiles up to 2.1m height in toilets. Rates shall include for repairing of wall cracks by method of routing and sealing using Polyurethane Sealant (PU 25 or equivalent) as per manufacturer’s specifications. | 60.9 | m2 |  | 0
2 | 300x300mm anti-slip CERAMIC tiles on floor. Rates shall include application of 2 coats of water proofing membrane, (MasterSeal 550 or similar). | 14.186 | m2 |  | 0
5.4 | ATOLL COMMANDER ROOM
Stripping of tile works in toilet walls and floors with mortar. and removal of debris. Tiles shall be stripped together with mortar, while brick surface shall be cleaned with a wire brush.
1 | 300x600 ceramic wall tiles up to 2.1m height in toilets. Rates shall include for repairing of wall cracks by method of routing and sealing using Polyurethane Sealant (PU 25 or equivalent) as per manufacturer’s specifications. | 11.76 | m2 |  | 0
2 | 300x300mm anti-slip CERAMIC tiles on floor. Rates shall include application of 2 coats of water proofing membrane, (MasterSeal 550 or similar). | 2.3 | m2 |  | 0
5.5 | STORE ROOM
1 | Removal of tiles and motar, clean and level the surface to receive 600x600mm PORCELAIN tiles. | 15.4 | m2 |  | 0
5.6 | FLAG POST
1 | Removal of tiles and motar, clean and level the surface to receive 600x600mm homogeneous tiles. | 1 | item |  | 0
| TOTAL (BILL NO 05: TILING) |  |  |  | 0
6 | BILL NO 06: DOORS AND WINDOWS
(a) Rates shall include for locks, latches, closures, push plates, pull handles, bolts, kick plates, hinges, door closer, door stoppers and all door & window hardware.
(b) Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boarding, framing, lining, fastenings and all fixings.
(c) All Aluminum door and windows shall be 60-80 micron aluminum.
(d) All Timber doors shall Solid timber paneled door with paint finish.
(e) Rates shall include application of wood putty in all timber door units to receive 2 coats of painting.
(f) All Windows Glazing shall be 6-12mm blue reflective glass. (see door and window schedule)
6.1 | ALUMINUM DOORS
Removal of Wooden Doors and frames, replace with aluminum doors. Note: For all doors measure size at site before fabrication and delivery.
Ground Floor
1 | D1 (1400x2100mm) | 3 | nos |  | 0
2 | D2 (1200x2100mm) | 2 | nos |  | 0
3 | D3 (1200x2100mm) | 1 | nos |  | 0
4 | D5a (700x2100mm) | 2 | nos |  | 0
5 | D6a (600x2100mm) | 5 | nos |  | 0
6 | D7 (800x2100mm) | 2 | nos |  | 0
7 | FG1 (600X400mm) | 2 | nos |  | 0
First Floor
9 | D2 (1200x2100mm) | 4 | nos |  | 0
6.1 | FIBER/WPC DOORS
Removal of Wooden Doors and frames, replace with fiber/wpc doors. Note: For all doors measure size at site before fabrication and delivery.
Ground Floor
1 | D6 (700x2100mm) | 5 | nos |  | 0
First Floor
3 | D5 (700x2100mm) | 1 | nos |  | 0
3 | D5a (700x2100mm) | 2 | nos |  | 0
4 | D6 (700x2100mm) | 7 | nos |  | 0
6.2 | WOODEN DOORS & ACCESSORIES
6.2.2 | Solid panel wooden doors as per drawing.
1 | D4a (800x2100mm) | 1 | nos |  | 0
6.2.2 | Re-furbish existing wooden doors. Application of clear varnish on wooden doors, rates shall include sanding and cleaning prior to varnish. Rates shall include for resolving sagging doors.
Ground Floor
1 | D4 (800x2100mm) | 8 | nos |  | 0
2 | D8 (1200x2100mm) | 1 | nos |  | 0
3 | D9 (700x2100mm) | 3 | nos |  | 0
First Floor
4 | D4 (800x2100mm) | 4 | nos |  | 0
5 | D8 (1200x2100mm) | 2 | nos |  | 0
6 | D9 (700x2100mm) | 1 | nos |  | 0
6.2.3 | Wooden Door Accessories
Change Door Locks
1 | Door Lock (Morise Lock) - Ground Floor | 12 | nos |  | 0
2 | Door Lock (Morise Lock) - First Floor | 7 | nos |  | 0
6.3 | WINDOW ACCESSORIES
6.3.1 | Replacing casement window handles where necessary. | 20 | nos |  | 0
6.3.2 | Removal of window sealant (external & internal) between frame and wall from all windows and ventilations, clean the area thoroughly and provide new weather proof sealant.
Ground Floor
1 | W3 (2400x1200mm) | 6 | nos |  | 0
2 | W4 (2400x600mm) | 1 | nos |  | 0
3 | W6 (1200x1200mm) | 4 | nos |  | 0
4 | W8 (1200x800mm) | 1 | nos |  | 0
First Floor
5 | W1 (3200x1200mm) | 1 | nos |  | 0
6 | W3 (2400x1200mm) | 6 | nos |  | 0
7 | W5 (1800x1200mm) | 1 | nos |  | 0
8 | W6 (1200x1200mm) | 7 | nos |  | 0
6.4 | CURTAIN , BLINDS & STICKER
Note: Supply and fixing of blind and curtain. Rates shall include for all accessories and completion of all necessary works.
6.4.1 | Vertical Blids
1 | W3 (2400x1200mm) | 2 | nos |  | 0
6.4.2 | Frosted Sticker in Wooden Door Glazing
1 | W8 (1200x800mm) | 2 | nos |  | 0
| TOTAL (BILL NO 06: DOORS AND WINDOWS) |  |  |  | 0
7 | BILL NO 07: PAINTING
GENERAL
(a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door window furniture
7.1 | BUILDING EXTERNAL WALLS
1 | Removal of loose paint, clean the masonry surface to receive 1 coat of primer and 2 coats of paint. Rates shall include for surface treatments to prevent future chalking or flaking of paint. Rates shall include for filling defects such as voids in masonry walls prior to paint works. Note: Remove the paint layer fully where chalking has occurred prior to the application primer. | 617.899 | m2 |  | 0
7.2 | BUILDING INTERNAL WALLS
Stain (Fungus), Chalking & Lose Paint
Removal of loose, stained and fungus infected paint, clean the masonry surface to receive 1 coat of primer and 2 coats of paint. Rates shall include for application of 2 coats surface treatment (MasterCure 181 or equivalent) to prevent future chalking, fungus infection or flaking of paint. Rates shall include for filling defects such as voids in masonry walls prior to paint works.
1 | Ground Floor | 1122.1095 | m2 |  | 0
2 | First Floor | 902.8095 | m2 |  | 0
7.3 | CEILING
Removal of loose paint, and application of 2 coats of paint in ceiling.
7.3.1 | Ground Floor
1 | Internal Ceiling | 342.33 | m2 |  | 0
2 | External Ceiling | 37.45 | m2 |  | 0
7.3.2 | First Floor
1 | Internal Ceiling | 300 | m2 |  | 0
2 | External Ceiling | 53.95 | m2 |  | 0
7.4 | BOUNDARY WALL
1 | Removal of existing paint, clean the masonry surface to receive 1 coat of primer and 2 coats of paint. Rates shall include for surface treatments to prevent future chalking or flaking of paint. | 903.84 | m2 |  | 0
7.5 | GATE
Removal paint and rusts from existing steel gates, clean the surface to receive 1 coats of primer and 2 coats of marine grade enamel paint.
1 | Steel Gate (1700x3000mm) | 1 | nos |  | 0
2 | Steel Gate (1700x2000mm) | 1 | nos |  | 0
3 | Steel Gate (1700x1000mm) | 1 | nos |  | 0
4 | Sliding Gate | 1 | nos |  | 0
7.6 | ROOF COVER
1 | Removal of existing paint from roofing sheets, apply 2 coats of enamel paint. Works shall include removal of rust and cleaning. | 1 | item |  | 0
| TOTAL (BILL NO 07: PAINTING) |  |  |  | 0
8 | BILL NO 08: ROOFING
8.1 | LYSAGHT GUTTER
Installation of Lysaght gutter and connection to existing down pipes. Replace fascia board.
1 | Lysaght Gutter | 52.8 | m |  | 0
2 | Fascia Board | 48 | m |  | 0
3 | Replacing Lysaght Gutter/Flahing near overhead water tank. | 4 | m |  | 0
8.2 | CLADDING
1 | Aluminum composite cladding, including GI 25x25mm square pipe framing to cover Lysaght gutter, as per the drawing. Works shall include for all necessary works required for completion. | 56.8 | m |  | 0
| TOTAL (BILL NO 08: ROOFING) |  |  |  | 0
9 | BILL NO 09: SANITARY & ELECTRICAL
9.1 | FIXTURES & FITTINGS
Installation of fixtures and fittings. Rates shall include for all necessary connection and relevant works required for complete installation of fixtures.
1 | Muslim Shower | 5 | nos |  | 0
2 | Head Shower | 5 | nos |  | 0
3 | Water Tap (1 nos in Laundry, Ground Floor) | 8 | nos |  | 0
4 | Floor Drain | 12 | nos |  | 0
5 | Wall hung Mirror | 3 | nos |  | 0
6 | Towel Bar, 2 feet | 4 | nos |  | 0
7 | Towel Bar, 4 feet | 1 | nos |  | 0
9.2 | ELECTRICAL
1 | Relocation (to other side of current location) of Distribution board in Barracks 2. Rates shall include for DB Boxwith cover and any other required works during relocation. | 1 | item |  | 0
| TOTAL (BILL NO 09: SANITARY & ELECTRICAL ) |  |  |  | 0
10 | BILL NO 10: CELL BLOCK
10.1 | PAINTING
Removal of loose paint, clean the masonry surface to receive 1 coat of paint.
2 | Internal Walls (Cells) | 167.48 | m2 |  | 0
3 | Ceiling (Cells) | 34.45 | m2 |  | 0
4 | Epoxy Paint on roof slab. | 90.4 | m2 |  | 0
10.2 | DOORS
Replacing of wooden door at exercise yard and replace with a grill door - Refer to the drawing.
1 | Steel Grill Door, GD1 (2100x900mm). Rates shall include fabrication, 1 coat of redoxide and 2 coats of enamel paint, and sliding lock system and lock. | 1 | nos |  | 0
2 | D4 (2100x900mm) | 1 | nos |  | 0
10.3 | ELECTRICAL WORKS
1 | Instalation of wall mount exhaust fan, KDK or equivalent. (350x350mm). Rates shall include for provision of wall opening, edge plastering, electrical connection and paint works required. | 1 | nos |  | 0
| TOTAL (BILL NO 10: CELL BLOCK) |  |  |  | 0

## Sheet1 (hidden)
External Walls |  |  | Internal Walls |  |  | Internal Walls |  |  | Boundary Wall |  |  | Cell Block
|  |  | Ground Floor |  |  | Ground Floor
Length | Height | Area | Length | Height | Area | Length | Height | Area | Length | Height | Area | Length | Height | Area
24.15 | 7.5 | 181.125 | 3.825 | 3 | 11.475 | 15.7 | 3 | 47.1 | 65.42 | 3 | 196.26 | 12.825 | 3 | 38.475
24.15 | 7.5 | 181.125 | 3.825 | 3 | 11.475 | 15.7 | 3 | 47.1 | 20.25 | 3 | 60.75 | 12.825 | 3 | 38.475
15.425 | 7.5 | 115.6875 | 3.825 | 3 | 11.475 | 3.85 | 3 | 11.55 | 17.9 | 1.5 | 26.85 | 40.8 | 3 | 122.4
15.425 | 7.5 | 115.6875 | 3.3 | 3 | 9.9 | 3.85 | 3 | 11.55 | 36 | 1.5 | 54
24.15 | 4.5 | 108.675 | 3.3 | 3 | 9.9 | 19.15 | 3 | 57.45 | 17.3 | 1.5 | 25.95 |  |  | 199.35
5.475 | 4.5 | 24.6375 | 3.3 | 3 | 9.9 | 19.15 | 3 | 57.45 | 29.37 | 3 | 88.11
|  |  | 3.3 | 3 | 9.9 | 19.15 | 3 | 57.45
|  | 726.9375 | 2.475 | 3 | 7.425 | 2.425 | 3 | 7.275 |  |  | 451.92
|  |  | 2.475 | 3 | 7.425
|  |  | 3.775 | 3 | 11.325
|  |  | 3.775 | 3 | 11.325
|  |  | 3.775 | 3 | 11.325
|  |  | 3.775 | 3 | 11.325
|  |  | 3.85 | 3 | 11.55
|  |  | 3.85 | 3 | 11.55
|  |  | 3.85 | 3 | 11.55
|  |  | 3.85 | 3 | 11.55
|  |  | 3.85 | 3 | 11.55
|  |  | 24.15 | 3 | 72.45
|  |  | 24.15 | 3 | 72.45
|  |  | 13.775 | 3 | 41.325
|  |  | 6.125 | 3 | 18.375
|  |  | 3.35 | 3 | 10.05
[5 empty] | 406.575 |  |  | 296.925