## DIA2PF
CAMMESA – GERENCIA ESTUDIOS ELÉCTRICOS BIBLIOTECA DE MODELOS PSS/E
DIA2PF: PF Control | [5 empty] | Generador: |  |  |  | Fecha: | Enero 2017
Modelo escrito por el Usuario
This model is located at system bus |  |  |  |  | IBUS
Machine identifier |  |  |  |  | ID
This model uses CONs starting with |  |  |  |  | J
and STATEs starting with |  |  |  |  | K
and VARs starting with |  |  |  |  | L
and ICONs starting with |  |  |  |  | M
CONs | # |  | Value | Description |  |  | STATEs | # | Description
J |  |  |  | Kp_PF |  |  | K |  | CCT.Int
J+1 |  |  |  | Ki_PF |  |  | K+1 |  | PF_control.PIaw
J+2 |  |  |  | Ls_PFC_in |  |  | K+2 |  | PF_control.PT1
J+3 |  |  |  | Li_PFC_in |  |  | K+3 |  | PF_control.PT2
J+4 |  |  |  | Rlim_up_PFC_in |  |  | K+4 |  | PF_control.RateLimiter.Int0
J+5 |  |  |  | Rlim_down_PFC_in |  |  | K+5 |  | PF_control 2.PI
J+6 |  |  |  | Rlim_up_PFC_out |  |  | K+6 |  | CCT.PT1
J+7 |  |  |  | Rlim_down_PFC_out
J+8 |  |  |  | Ls_PF_out, |  |  | VARs | # | Description
J+9 |  |  |  | Li-PF_out, |  |  | L |  | CCT.Vref
J+10 |  |  |  | Tr_pelec, |  |  | L+1 |  | PF_control_Pfref
J+11 |  |  |  | Tr_qelec, |  |  | L+2 |  | CCT.Ratelimiter0
J+12 |  |  |  | KP_VBUS, |  |  | L+3 |  | PF_control.Limit.Ratelimiter
J+13 |  |  |  | Ki_VBUS |  |  | L+4 |  | Power Factor
J+14 |  |  |  | Ls_CCT_out, |  |  | L+5 |  | PF_Control 2_out
J+15 |  |  |  | Li_CCT_out, |  |  | L+6 |  | PF_control 2_PFref
J+16 |  |  |  | VBUS_Rlim_out_up,
J+17 |  |  |  | VBUS_Rlim_out_down
J+18 |  |  |  | VBUS_lim_Ki_up
J+19 |  |  |  | VBUS_Rlim_out_down,
J+20 |  |  |  | Kp_PF 2,
J+21 |  |  |  | Ki_PF 2,
J+22 |  |  |  | Ls_PFC_in2
J+23 |  |  |  | Li_PFC_in2,
J+24 |  |  |  | Ls_PF_out,
J+25 |  |  |  | Li_PF_out,
J+26 |  |  |  | Tr_VBus,
ICONs | # |  | Value | Description
M |  |  |  | CCT on/off (ver Tabla 1)
M +1 |  |  |  | PF on/off (ver Tabla 1)
M +2 |  |  |  | PF2 on/off (ver Tabla 1)
M +3 |  |  |  | Barra del generador
M +4 |  |  |  | ID del generador
0 'USRMDL' 0 'DIA2PF' 8 0 5 27 7 7,
ICON(M) to ICON(M+4), CON(J) to CON(J+26) /
Diagrama de Bloques
Figura 1 - Diagrama de bloques del CCTyPFC (control conjunto de tensión y Control de Factor de Potencia).
Figura 2 - Diagrama de bloques del Control Conjunto de Tensión (CCT).
Figura 3 - Diagrama de bloques del Control de Factor de Potencia 1 (PFC I).
Figura 4 - Diagrama de bloques del Control de Factor de Potencia 2 (PFC II).