## GOV_OVATION_V2
CAMMESA – GERENCIA ESTUDIOS ELÉCTRICOS BIBLIOTECA DE MODELOS PSS/E
GOV_OVATION_V2: Turbine-Governor Model Data Sheets | [5 empty] | Generador: |  |  |  | Fecha: | Abril 2025
ESTUDIOS ELÉCTRICOS S.A.
This model is located at system bus |  |  |  |  | IBUS
Machine identifier |  |  |  |  | ID
This model uses CONs starting with |  |  |  |  | J
and STATEs starting with |  |  |  |  | K
and VARs starting with |  |  |  |  | L
and ICONs starting with |  |  |  |  | M
CONs | # |  | Value | Description |  |  | STATEs | # | Description
J |  |  |  | db: Banda muerta de frecuencia |  |  | K |  | GOV_OVATION/SMTH_FREC
J+1 |  |  |  | TRATE: TRATE de turbina [MW] |  |  | K+1 |  | GOV_OVATION/Turbina/Int
J+2 |  |  |  | Tf: Cte de tiempo del filtro de frecuencia [s] |  |  | K+2 |  | GOV_OVATION/FC/PIaw
J+3 |  |  |  | H: Turbina - Salto Hidraulico [pu] |  |  | K+3 |  | GOV_OVATION/FC/KDT1
J+4 |  |  |  | Tw: Turbina - Ctte. de tiempo del agua |  |  | K+4 |  | GOV_OVATION/FC/PadeDelay/Int1
J+5 |  |  |  | Pnl: Turbina - Perdidas en vacio |  |  | K+5 |  | GOV_OVATION/FC/PadeDelay/Int0
J+6 |  |  |  | Bflow: Turbina - Influencia Pos Rodete |  |  | K+6 |  | GOV_OVATION/FC/PadeDelay_0/Int1
J+7 |  |  |  | X: Turbina - Posicion distribuidor (WG) [pu] / position 0 |  |  | K+7 |  | GOV_OVATION/FC/PadeDelay_0/Int0
J+8 |  |  |  | X: Turbina - Posicion distribuidor (WG) [pu] / position 1 |  |  | K+8 |  | GOV_OVATION/RB_CTRL/PID1
J+9 |  |  |  | X: Turbina - Posicion distribuidor (WG) [pu] / position 2 |  |  | K+9 |  | GOV_OVATION/RB_CTRL/PID2
J+10 |  |  |  | X: Turbina - Posicion distribuidor (WG) [pu] / position 3 |  |  | K+10 |  | GOV_OVATION/RB_CTRL/PT1
J+11 |  |  |  | X: Turbina - Posicion distribuidor (WG) [pu] / position 4 |  |  | K+11 |  | GOV_OVATION/RB_CTRL/POS_RU/Intaw
J+12 |  |  |  | X: Turbina - Posicion distribuidor (WG) [pu] / position 5 |  |  | K+12 |  | GOV_OVATION/RB_CTRL/POS_RU/PT1
J+13 |  |  |  | X: Turbina - Posicion distribuidor (WG) [pu] / position 6 |  |  | K+13 |  | GOV_OVATION/WG_CTRL/PDT1
J+14 |  |  |  | X: Turbina - Posicion distribuidor (WG) [pu] / position 7 |  |  | K+14 |  | GOV_OVATION/WG_CTRL/KDT1
J+15 |  |  |  | X: Turbina - Posicion distribuidor (WG) [pu] / position 8 |  |  | K+15 |  | GOV_OVATION/WG_CTRL/POS/Intaw
J+16 |  |  |  | X: Turbina - Posicion distribuidor (WG) [pu] / position 9 |  |  | K+16 |  | GOV_OVATION/WG_CTRL/POS/PT1
J+17 |  |  |  | X: Turbina - Posicion distribuidor (WG) [pu] / position 10 |  |  | K+17 |  | GOV_OVATION/POC/PT1_PELEC
J+18 |  |  |  | X: Turbina - Posicion distribuidor (WG) [pu] / position 11 |  |  | K+18 |  | GOV_OVATION/POC/DT1
J+19 |  |  |  | X: Turbina - Posicion distribuidor (WG) [pu] / position 12 |  |  | K+19 |  | GOV_OVATION/POC/SMTH_FF
J+20 |  |  |  | Y: Turbina - Area efectiva de apertura A(WG) [pu] / position 0 |  |  | K+20 |  | GOV_OVATION/POC/PID/KDT1
J+21 |  |  |  | Y: Turbina - Area efectiva de apertura A(WG) [pu] / position 1 |  |  | K+21 |  | GOV_OVATION/POC/PID/Intaw
J+22 |  |  |  | Y: Turbina - Area efectiva de apertura A(WG) [pu] / position 2 |  |  | K+22 |  | GOV_OVATION/POC/Freeze/SMTH_Freeze
J+23 |  |  |  | Y: Turbina - Area efectiva de apertura A(WG) [pu] / position 3
J+24 |  |  |  | Y: Turbina - Area efectiva de apertura A(WG) [pu] / position 4 |  |  | VARs | # | Description
J+25 |  |  |  | Y: Turbina - Area efectiva de apertura A(WG) [pu] / position 5 |  |  | L |  | APREF
J+26 |  |  |  | Y: Turbina - Area efectiva de apertura A(WG) [pu] / position 6 |  |  | L+1 |  | FREF
J+27 |  |  |  | Y: Turbina - Area efectiva de apertura A(WG) [pu] / position 7 |  |  | L+2 |  | FCREF
J+28 |  |  |  | Y: Turbina - Area efectiva de apertura A(WG) [pu] / position 8 |  |  | L+3 |  | GOV_OVATION/dFVC
J+29 |  |  |  | Y: Turbina - Area efectiva de apertura A(WG) [pu] / position 9 |  |  | L+4 |  | GOV_OVATION/FC_Out
J+30 |  |  |  | Y: Turbina - Area efectiva de apertura A(WG) [pu] / position 10 |  |  | L+5 |  | GOV_OVATION/OPC_Out
J+31 |  |  |  | Y: Turbina - Area efectiva de apertura A(WG) [pu] / position 11 |  |  | L+6 |  | GOV_OVATION/POC_Out
J+32 |  |  |  | Y: Turbina - Area efectiva de apertura A(WG) [pu] / position 12 |  |  | L+7 |  | GOV_OVATION/At
J+33 |  |  |  | Kp_1: FC - Ganancia proporcional del PD [pu] |  |  | L+8 |  | GOV_OVATION/Turbina/Area
J+34 |  |  |  | Kd: FC - Ganancia Derivativa del PD [pu] |  |  | L+9 |  | GOV_OVATION/FC/FC_Err
J+35 |  |  |  | Td: FC - Cte de tiempo Derivativa del PD [s] |  |  | L+10 |  | GOV_OVATION/FC/Memory
J+36 |  |  |  | Hi_Lim_PD: FC - Lim. superior del PD [pu] |  |  | L+11 |  | GOV_OVATION/OPC/Ratelimiter
J+37 |  |  |  | Lo_Lim_PD: FC - Lim. inferior del PD [pu] |  |  | L+12 |  | GOV_OVATION/RB_CTRL/Backlash_ROD
J+38 |  |  |  | Kp: FC - Ganancia proporcional del PI [pu] |  |  | L+13 |  | GOV_OVATION/RB_CTRL/RB_POS
J+39 |  |  |  | Hi_Lim_PI: FC - Lim. superior del PI [pu] |  |  | L+14 |  | GOV_OVATION/WG_CTRL/Ratelimiter_Ap
J+40 |  |  |  | Lo_Lim_PI: FC - Lim. inferior del PID 2 [pu] |  |  | L+15 |  | GOV_OVATION/WG_CTRL/Backlash_DIST
J+41 |  |  |  | R: FC - Droop de frecuencia [pu] |  |  | L+16 |  | GOV_OVATION/WG_CTRL/WG_POS
J+42 |  |  |  | Ts: FC - Sample Time [s] |  |  | L+17 |  | GOV_OVATION/POC/Ratelimiter_Psp
J+43 |  |  |  | Rlimit: OPC - Tasa de cambio de apertura [pu/s] |  |  | L+18 |  | GOV_OVATION/POC/POC_Err
J+44 |  |  |  | X: RB - Consigna de distribuidor (WG) [pu] / position 0 |  |  | L+19 |  | GOV_OVATION/POC/FF_Table_In
J+45 |  |  |  | X: RB - Consigna de distribuidor (WG) [pu] / position 1 |  |  | L+20 |  | GOV_OVATION/POC/FF_Table_Out
J+46 |  |  |  | X: RB - Consigna de distribuidor (WG) [pu] / position 2 |  |  | L+21 |  | GOV_OVATION/POC/PID/Relay
J+47 |  |  |  | X: RB - Consigna de distribuidor (WG) [pu] / position 3 |  |  | L+22 |  | GOV_OVATION/POC/Freeze/TD_OFF_LWI
J+48 |  |  |  | X: RB - Consigna de distribuidor (WG) [pu] / position 4 |  |  | L+23 |  | GOV_OVATION/POC/Freeze/TD_OFF_RAI
J+49 |  |  |  | X: RB - Consigna de distribuidor (WG) [pu] / position 5 |  |  | L+24 |  | GOV_OVATION/POC/Freeze/Der_Freeze
J+50 |  |  |  | X: RB - Consigna de distribuidor (WG) [pu] / position 6 |  |  | L+25 |  | GOV_OVATION/POC/Freeze/V_RAI
J+51 |  |  |  | X: RB - Consigna de distribuidor (WG) [pu] / position 7 |  |  | L+26 |  | GOV_OVATION/POC/Freeze/V_LWI
J+52 |  |  |  | X: RB - Consigna de distribuidor (WG) [pu] / position 8
J+53 |  |  |  | X: RB - Consigna de distribuidor (WG) [pu] / position 9
J+54 |  |  |  | Y: RB - Posicion de rodete RB(WG) [pu] / position 0
J+55 |  |  |  | Y: RB - Posicion de rodete RB(WG) [pu] / position 1
J+56 |  |  |  | Y: RB - Posicion de rodete RB(WG) [pu] / position 2
J+57 |  |  |  | Y: RB - Posicion de rodete RB(WG) [pu] / position 3
J+58 |  |  |  | Y: RB - Posicion de rodete RB(WG) [pu] / position 4
J+59 |  |  |  | Y: RB - Posicion de rodete RB(WG) [pu] / position 5
J+60 |  |  |  | Y: RB - Posicion de rodete RB(WG) [pu] / position 6
J+61 |  |  |  | Y: RB - Posicion de rodete RB(WG) [pu] / position 7
J+62 |  |  |  | Y: RB - Posicion de rodete RB(WG) [pu] / position 8
J+63 |  |  |  | Y: RB - Posicion de rodete RB(WG) [pu] / position 9
J+64 |  |  |  | Kp: RB - Cte proporcional del PID [pu]
J+65 |  |  |  | Ki: RB - Cte integral del PID [pu]
J+66 |  |  |  | Kd: RB - Cte derivativa del PID [pu]
J+67 |  |  |  | Td: RB - Cte de tiempo derivativa del PID [s]
J+68 |  |  |  | hilim: RB - Limite superior del PID [pu]
J+69 |  |  |  | lolim: RB - Limite inferior del PID [pu]
J+70 |  |  |  | K: RB - Ganancia del PT1 [pu]
J+71 |  |  |  | Tr: RB - Cte de tiempo del PT1 [s]
J+72 |  |  |  | hilim_PT1: RB - Limite superior del PT1 [pu]
J+73 |  |  |  | lolim_PT1: RB - Limite inferior del PT1 [pu]
J+74 |  |  |  | Kpilot: RB - Ganancia valvula piloto [pu]
J+75 |  |  |  | dbs: RB - Banda muerta del servo [pu]
J+76 |  |  |  | Ks: RB - Ganancia del servomotor [pu]
J+77 |  |  |  | OPN_SPD: RB - Velocidad max. de apertura [pu]
J+78 |  |  |  | CLS_SPD: RB - Velocidad max. de cierre [pu]
J+79 |  |  |  | MAX_OPN: RB - Posicion limite de valvula [pu]
J+80 |  |  |  | Tpilot: RB - Cte de tiempo de valvula piloto [s]
J+81 |  |  |  | band: RB - Juego mecanico [pu]
J+82 |  |  |  | Vopen: WG - Vel. de apertura del distribuidor [pu/s]
J+83 |  |  |  | Vclose: WG - Vel. de cierre del distribuidor [pu/s]
J+84 |  |  |  | Kp: WG - Cte proporcional del PID [pu]
J+85 |  |  |  | Kd: WG - Cte derivativa del PID [pu]
J+86 |  |  |  | Td: WG - Cte de tiempo derivativa del PID [s]
J+87 |  |  |  | K: WG - Ganancia del PDT1
J+88 |  |  |  | T1: WG - Cte lead del PDT1
J+89 |  |  |  | T2: WG - Cte lag del PDT1
J+90 |  |  |  | hilim: WG - Limite superior del PDT1 [pu]
J+91 |  |  |  | lolim: WG - Limite inferior del PDT1 [pu]
J+92 |  |  |  | Kpilot: WG - Ganancia valvula piloto [pu]
J+93 |  |  |  | dbs: WG - Banda muerta del servo [pu]
J+94 |  |  |  | Ks: WG - Ganancia del servomotor [pu]
J+95 |  |  |  | OPN_SPD: WG - Vel. max de apertura de la valvula [pu/s]
J+96 |  |  |  | CLS_SPD: WG - Vel. max de cierre de la valvula [pu/s]
J+97 |  |  |  | MAX_OPN: WG - Posicion limite de valvula [pu]
J+98 |  |  |  | Tpilot: WG - Ctte de tiempo de valvula piloto [s]
J+99 |  |  |  | band: WG - Juego mecanico [pu]
J+100 |  |  |  | Kp: POC - Ganancia proporcional [pu]
J+101 |  |  |  | Ti: POC - Cte de tiempo integral [s]
J+102 |  |  |  | Kd: POC - Ganancia derivativa [pu]
J+103 |  |  |  | Td: POC - Cte de tiempo derivativa [s]
J+104 |  |  |  | Hi_Lim_PID: POC - Lim. superior del PID [%]
J+105 |  |  |  | Lo_Lim_PID: POC - Lim. inferior del PID [%]
J+106 |  |  |  | DBND: POC - Banda muerta del PID [%]
J+107 |  |  |  | ErrD: POC - Ganancia de la banda muerta [pu]
J+108 |  |  |  | R: POC - Droop de potencia [pu]
J+109 |  |  |  | Tr_P: POC - Filtro PELEC [s]
J+110 |  |  |  | Tr_FF: POC - Filtro Feed Forward [s]
J+111 |  |  |  | X: POC - Curva Feed Forward - Valores P [%] / position 0
J+112 |  |  |  | X: POC - Curva Feed Forward - Valores P [%] / position 1
J+113 |  |  |  | X: POC - Curva Feed Forward - Valores P [%] / position 2
J+114 |  |  |  | X: POC - Curva Feed Forward - Valores P [%] / position 3
J+115 |  |  |  | X: POC - Curva Feed Forward - Valores P [%] / position 4
J+116 |  |  |  | X: POC - Curva Feed Forward - Valores P [%] / position 5
J+117 |  |  |  | X: POC - Curva Feed Forward - Valores P [%] / position 6
J+118 |  |  |  | X: POC - Curva Feed Forward - Valores P [%] / position 7
J+119 |  |  |  | X: POC - Curva Feed Forward - Valores P [%] / position 8
J+120 |  |  |  | X: POC - Curva Feed Forward - Valores P [%] / position 9
J+121 |  |  |  | X: POC - Curva Feed Forward - Valores P [%] / position 10
J+122 |  |  |  | X: POC - Curva Feed Forward - Valores P [%] / position 11
J+123 |  |  |  | Y: POC - Curva Feed Forward - Valores WG(P) [%] / position 0
J+124 |  |  |  | Y: POC - Curva Feed Forward - Valores WG(P) [%] / position 1
J+125 |  |  |  | Y: POC - Curva Feed Forward - Valores WG(P) [%] / position 2
J+126 |  |  |  | Y: POC - Curva Feed Forward - Valores WG(P) [%] / position 3
J+127 |  |  |  | Y: POC - Curva Feed Forward - Valores WG(P) [%] / position 4
J+128 |  |  |  | Y: POC - Curva Feed Forward - Valores WG(P) [%] / position 5
J+129 |  |  |  | Y: POC - Curva Feed Forward - Valores WG(P) [%] / position 6
J+130 |  |  |  | Y: POC - Curva Feed Forward - Valores WG(P) [%] / position 7
J+131 |  |  |  | Y: POC - Curva Feed Forward - Valores WG(P) [%] / position 8
J+132 |  |  |  | Y: POC - Curva Feed Forward - Valores WG(P) [%] / position 9
J+133 |  |  |  | Y: POC - Curva Feed Forward - Valores WG(P) [%] / position 10
J+134 |  |  |  | Y: POC - Curva Feed Forward - Valores WG(P) [%] / position 11
J+135 |  |  |  | Pmax: POC - Potencia maxima [%]
J+136 |  |  |  | Pmin: POC - Potencia minima [%]
J+137 |  |  |  | dP: POC - Velocidad de toma de carga [pu/s]
J+138 |  |  |  | Tr_Lead: POC - Cte de tiempo del DT1 [s]
J+139 |  |  |  | hilim_DT1: POC - Limite superior del DT1 [%]
J+140 |  |  |  | lolim_DT1: POC - Limite inferior del DT1 [%]
J+141 |  |  |  | AtGain: POC - Ganancia Transitoria [pu]
J+142 |  |  |  | AtOff: POC - Offset Transitorio [pu]
J+143 |  |  |  | K: POC - Ganancia final del lazo derivador [pu]
J+144 |  |  |  | TARG: POC - Target TD OFF
ICONs | # |  | Value | Description
M |  |  |  | 1: Modo Control Potencia, 2: Modo Control Apertura, 3: Modo Control Frecuencia
M + 1 |  |  |  | FRZ_Logic: Freeze Logic [1:Activated - 0:Disable]
IBUS, ‘USRMDL’, ID, ’GOV_OVATION_v2’, 5, 0, 2, 145, 23, 27, ICON(M) to ICON(M+1) , CON(J) to CON(J+144) /
Diagrama de Bloques
OVATION
PELEC
PMECH
FREC