## UELVAX
CAMMESA – GERENCIA ESTUDIOS ELÉCTRICOS BIBLIOTECA DE MODELOS PSS/E
UELVAX: Excitation System Model Data Sheets | [5 empty] | Generador: |  |  |  | Fecha: | Julio 2011
Modelo escrito por el Usuario
This model is located at system bus |  |  |  |  | IBUS
Machine identifier |  |  |  |  | ID
This model uses CONs starting with |  |  |  |  | J
and STATEs starting with |  |  |  |  | K
and VARs starting with |  |  |  |  | L
CONs | # |  | Value | Description |  |  | STATEs | # | Description
J |  |  |  | XC |  |  | K |  | UEL Sensed IX
J+1 |  |  |  | TIX |  |  | K+1 |  | UEL Sensed IR
J+2 |  |  |  | KPR |  |  | K+2 |  | UEL Sensed VT
J+3 |  |  |  | KIR |  |  | K+3 |  | UEL Integral Controler
J+4 |  |  |  | VRMAX |  |  | K+4 |  | Sensed IX
J+5 |  |  |  | VRMIN |  |  | K+5 |  | Sensed VT
J+6 |  |  |  | KA |  |  | K+6 |  | Integral Controler
J+7 |  |  |  | VR0
J+8 |  |  |  | aMAX |  |  | VARs | # | Description
J+9 |  |  |  | aMIN |  |  | L |  | VUEL / VOEL
J+10 |  |  |  | K |  |  | L+1 |  | Entrada al primer PI
J+11 |  |  |  | TV |  |  | L+2 |  | a
J+12 |  |  |  | KX |  |  | L+3 |  | Entrada al PI del regulador de mínima excitación (PQSIG1)
J+13 |  |  |  | TX
J+14 |  |  |  | KR |  |  | L+4 |  | PQSIG2
J+15 |  |  |  | TR |  |  | L+5 |  | Entrada a la lógica de corriente negativa
J+16 |  |  |  | KV
J+17 |  |  |  | T |  |  | L+6 |  | I imaginaria
J+18 |  |  |  | V0 |  |  | L+7 |  | I real
J+19 |  |  |  | Kpu |  |  | L+8 |  | VT
J+20 |  |  |  | KIU
J+21 |  |  |  | LIMAX |  |  | IBUS, ‘USRMDL’,ID,’UELVAX’, 4, 0, 0, 27, 7, 9,
J+22 |  |  |  | LIMIN |  |  | CON(J) to CON(J+26) /
J+23 |  |  |  | V0S
J+24 |  |  |  | VIMIN
J+25 |  |  |  | VIMAX
J+26 |  |  |  | RC / RFD
Diagrama de Bloques
UELVAX
EFD
VOTHSG
IX
IR
XADIFD
ETERM
ETERM
ETERM
ETERM
VOTHSG
XADIFD