## WSHYGP_USR
CAMMESA – GERENCIA ESTUDIOS ELÉCTRICOS BIBLIOTECA DE MODELOS PSS/E
WSHYGP_USR: Turbine-Governor Model Data Sheets | [5 empty] | Generador: |  |  |  | Fecha: | Enero 2025
ESTUDIOS ELÉCTRICOS S.A.
This model is located at system bus |  |  |  |  | IBUS
Machine identifier |  |  |  |  | ID
This model uses CONs starting with |  |  |  |  | J
and STATEs starting with |  |  |  |  | K
and VARs starting with |  |  |  |  | L
and ICONs starting with |  |  |  |  | M
CONs | # |  | Value | Description |  |  | STATEs | # | Description
J |  |  |  | db1: Dead band of measurement [pu] |  |  | K |  | PDT1_0_LL_Out
J+1 |  |  |  | err: Gain dead band [pu] |  |  | K+1 |  | PT1_TD_meas err
J+2 |  |  |  | Td: Measurement time constant [s] |  |  | K+2 |  | PT1_Tt_meas pelec
J+3 |  |  |  | KI: Integral time constant [s] |  |  | K+3 |  | PT1aw
J+4 |  |  |  | KD: Derivative gain [pu] |  |  | K+4 |  | Intaw_0_CV
J+5 |  |  |  | Tf: Controlled time constant [s] |  |  | K+5 |  | IntK
J+6 |  |  |  | KP: Controller gain [pu] |  |  | K+6 |  | KDT1
J+7 |  |  |  | R: Droop [pu]
J+8 |  |  |  | Tt: Electric power measurement time constant [s]
J+9 |  |  |  | KG: Speed gain [pu]
J+10 |  |  |  | TP: Speed time constant [s]
J+11 |  |  |  | VELOPEN: Maximum speed open [pu] |  |  | VARs | # | Description
J+12 |  |  |  | VELCLOSE: Maximum speed close [pu] (VELCLOSE>0) |  |  | L |  | Referencia de velocidad
J+13 |  |  |  | PMAX: Maximum power output [pu] |  |  | L+1 |  | Backlash
J+14 |  |  |  | PMIN: Minimum power output [pu] |  |  | L+2 |  | Frec_error
J+15 |  |  |  | db2: Dead band of measurement [pu] |  |  | L+3 |  | CV
J+16 |  |  |  | Aturb: Lead multiplication constant [s]
J+17 |  |  |  | Bturb: Lag multiplication constant [s]
J+18 |  |  |  | Tturb: Lead-Lag constant [s]
J+19 |  |  |  | Trate: Turbine Rated Power [MVA]
J+20 |  |  |  | GV: Valve position (x) [pu] / position 0
J+21 |  |  |  | GV: Valve position (x) [pu] / position 1
J+22 |  |  |  | GV: Valve position (x) [pu] / position 2
J+23 |  |  |  | GV: Valve position (x) [pu] / position 3
J+24 |  |  |  | GV: Valve position (x) [pu] / position 4
J+25 |  |  |  | GV: Valve position (x) [pu] / position 5
J+26 |  |  |  | PGV: Power GV (y) [pu] / position 0
J+27 |  |  |  | PGV: Power GV (y) [pu] / position 1
J+28 |  |  |  | PGV: Power GV (y) [pu] / position 2
J+29 |  |  |  | PGV: Power GV (y) [pu] / position 3
J+30 |  |  |  | PGV: Power GV (y) [pu] / position 4
J+31 |  |  |  | PGV: Power GV (y) [pu] / position 5
ICONs | # |  | Value | Description
M |  |  |  | Rsel: Droop selector (1: Potencia – 0: Posición CV)
100 'USRMDL' 1 'WSHYGP_USR' 5 0 1 32 7 4, ICON(M), CON(J) to CON(J+31) /
Diagrama de Bloques
WSHYGP_USR
BSFREQ
PMECH
PELEC