This file outlines the errors fixed and new features introduced in each version of HyperXtract

# Version 1.1

- The excel files with event start time and end time does not take capacitive time into account when computing these two values. Thus, in some cases, these two values are underestimated (capacitive time is on by default for every analysis window when the lowpass filter option is ON. For all other cases, it is only ON in the first analysis window).

- Added event information view under the events tab (Analytica/Daughter File)

- Daughter file skipping event indexes while saving.

- In the file that saves Fit Event metrics, the sub-event durations are saved in 'seconds', not in 'milli seconds' a indicated by the respective column labels.

# Version 1.2

- Daughter file analysis: file close was introduced for events that are <4 data points to properly close the bin file before re-opening for the subsequent event

# Version 1.3

- Typo in 'Adaptive Baseline' description: <5 seconds is better was erroneously mentioned as >5 seconds is better

- Fixed errors associated with loading .bin file.

- A parameter file along with the .bin file in the following nature is desired (to update file attributes from the said parameter file). If the .bin file name is my_file.bin, the parameter file name should be my_file_ParameterFile.txt with following rows;

Data Precision:	int16

Bytes Per Reading:	2

Data Scaling:	1

Header Offset:	0

Signal Channel:	1

Total Data Channels:	1

endianness:	n

Current Unit:	pA

Sampling Rate (Hz):	500000

- Hold Limit Settings (under Scatter Plot in the main tab): The scatter plot bounds are locked and not automatically updated in subsequent analysis.

- File attributes are no longer grayed out. They can be changed anytime and updated using the 'update FA-TA' button (FA-TA = File Attributes-Trace Attributes)

- Sampling rate is now displayed up to 1 decimal point for <999 kHz sampling rates and up to 3 decimals for other cases.

- Fixed error associated with lowpass filtering (‘The cutoff frequencies must be within the interval of (0,1)’)