[image: image3.png]



[image: image4.png]



[image: image5.jpg]dical Resg

K








FROM CONVENTIONAL TO COGNITIVE DRUG DELIVERY: THE ROLE OF AI, IOT, AND BIOELECTRONIC SYSTEMS IN PRECISION MEDICINE

Dr. S. Eugine Leo Prakash*, S. Beetha Rohini1, Dr. S. Akilandeswari2

*Professor, School of Pharmacy, Dhanalakshmi Srinivasan University, Trichy.

1Research Scholar, School of Pharmacy, Dhanalakshmi Srinivasan University, Trichy.

2Dean, School of Pharmacy, Dhanalakshmi Srinivasan University, Trichy.

Article Received on 16/05/2026                                 Article Revised on 05/06/2026                                Article Published on 10/06/2026

INTRODUCTION
Drug delivery systems play a pivotal role in modern medicine, encompassing the methods and pathways through which therapeutic agents are transported to their intended sites of action within the human body. The efficacy of a drug depends not only on its intrinsic chemical properties but also on the precision, control, and efficiency of its delivery mechanism. Advanced drug delivery strategies are designed to enhance bioavailability, achieve targeted action, and reduce systemic side effects. The development of effective drug delivery systems requires a multidisciplinary approach, integrating principles from pharmacology, biology, chemistry, and engineering. Such collaborative efforts aim to optimize therapeutic outcomes, improve patient compliance, and enable the development of safer and more efficient treatment modalities.
Smart drug delivery systems represent a significant advancement in modern therapeutic technologies, integrating advanced devices, biosensors, and intelligent software to enable real-time monitoring and controlled drug administration. These systems leverage the capabilities of Internet of Things (IoT) technologies to create adaptive platforms that can dynamically adjust drug dosage based on continuously collected physiological data. As a result, they facilitate highly precise and personalized treatment, minimizing human error and enhancing therapeutic efficacy compared to conventional delivery methods.
The incorporation of IoT into healthcare has accelerated the development of both wearable and implantable drug delivery devices capable of continuous monitoring and targeted therapy. These systems utilize real-time inputs from biosensors to regulate drug release patterns, ensuring optimal dosing at the appropriate time. Notable examples include smart infusion pumps, insulin pens, connected inhalers, and auto-injectors, all of which contribute to improved patient adherence and better clinical outcomes.
However, despite their considerable potential, IoT-enabled drug delivery systems face several critical challenges. Data security and patient privacy remain major concerns due to the continuous transmission and storage of sensitive health information. Additionally, stringent regulatory requirements, device interoperability issues, and integration with existing healthcare infrastructures present significant barriers to widespread adoption. Ensuring system reliability and robustness under real-world conditions is also essential before these technologies can achieve full clinical translation.
Classification of Smart Drug Delivery Systems Based on Device Type, Functional Features, and Therapeutic Applications
	Drug Delivery System
	Examples
	Key Advantages / Functional Features
	Therapeutic Applications

	Oral Delivery Systems
	Tablets, Capsules, Smart pills
	Convenient, non-invasive, high patient compliance, potential for controlled release
	Chronic diseases (e.g., diabetes, hypertension), gastrointestinal disorders

	Injectable Delivery Systems
	Intravenous (IV), Intramuscular (IM), Subcutaneous (SC) injections, Auto-injectors
	Rapid onset of action, high bioavailability, precise dosing
	Emergency care, biologics delivery, vaccines

	Transdermal Systems
	Nicotine patches, Hormonal patches, Microneedle patches
	Sustained and controlled drug release, non-invasive, bypasses first-pass metabolism
	Hormone therapy, pain management, smoking cessation

	Nanoparticle-based Delivery
	Liposomes, Polymeric micelles, Dendrimers, Solid lipid nanoparticles
	Targeted delivery, enhanced bioavailability, reduced toxicity, controlled release
	Cancer therapy, CNS disorders, gene/drug co-delivery

	Wearable Drug Delivery Systems
	Insulin pumps, Wearable injectors, Smart inhalers
	Real-time monitoring, automated dosing, integration with biosensors and IoT
	Diabetes management, respiratory diseases, chronic conditions

	Implantable Drug Delivery Systems
	Microchip implants, Osmotic pumps, Biodegradable implants
	Long-term controlled release, reduced dosing frequency, improved adherence
	Oncology, contraception, chronic pain, neurological disorders

	Gene Therapy Delivery Systems
	Viral vectors (AAV, Lentivirus), Non-viral vectors (liposomes, nanoparticles)
	High specificity, targeted genetic modification, potential for curative treatment
	Genetic disorders, cancer, rare diseases

	Smart/Stimuli-responsive Systems
	pH-sensitive, temperature-sensitive, enzyme-responsive systems
	On-demand drug release, site-specific targeting, minimal side effects
	Tumor targeting, inflammatory diseases, precision medicine


BASIC CONCEPT OF SMART WEARABLE DEVICE SYSTEMS
Smart wearable device systems represent an advanced integration of miniaturized electronics, biosensors, and wireless communication technologies designed for continuous health monitoring and real-time decision-making. These systems function as user-friendly, body-worn platforms capable of collecting, processing, and transmitting physiological, behavioral, and environmental data, thereby enabling personalized and proactive healthcare.
At their core, wearable systems rely on embedded sensors that continuously monitor key biological parameters such as heart rate, body temperature, blood oxygen saturation, motion, and biochemical markers. The collected data is processed by onboard microprocessors using intelligent algorithms to generate meaningful insights. In healthcare applications, this enables automated responses; for instance, in drug delivery systems, real-time glucose monitoring can trigger insulin release when required.
A defining feature of smart wearable systems is their connectivity, achieved through wireless technologies such as Bluetooth, Wi-Fi, and cellular networks. These communication modules enable seamless data transfer to smartphones, cloud platforms, or healthcare databases, facilitating remote monitoring, data storage, and integration with clinical decision-making systems. This interconnected ecosystem enhances the ability of healthcare providers to deliver timely and personalized interventions.
Power management is a critical design consideration in wearable devices. Most systems operate on rechargeable batteries, while emerging technologies explore energy harvesting from body motion, heat, or ambient sources. Efficient power utilization is essential to maintain continuous operation without compromising device portability or user comfort.
In addition, wearable systems incorporate intuitive user interfaces, including displays, indicator lights, and mobile application dashboards, to provide real-time feedback, alerts, and actionable insights. These features significantly improve user engagement, compliance, and overall effectiveness of the system.
Smart wearable devices have broad applications across healthcare and lifestyle domains. In clinical settings, they are extensively used for continuous monitoring of vital signs, early detection of abnormalities, and management of chronic diseases. In drug delivery, systems such as insulin pumps and transdermal patches enable automated, controlled, and personalized medication administration. Furthermore, wearable technologies support rehabilitation by tracking patient movement and providing biofeedback during therapy.
Despite these advantages, several challenges limit widespread adoption. Data privacy and cybersecurity concerns remain critical due to the handling of sensitive health information. Ensuring device accuracy, reliability, and performance under varying real-world conditions is essential for clinical acceptance. Additionally, limitations in battery life, along with issues related to interoperability and integration with existing healthcare infrastructure, require further technological and regulatory advancements.
In summary, smart wearable device systems are transforming healthcare by enabling continuous monitoring, real-time analysis, and personalized intervention. Their integration into medical practice supports a shift toward preventive, patient-centric, and data-driven healthcare models.
COMPONENTS OF SMART WEARABLE DEVICE SYSTEMS
Smart wearable systems consist of several interconnected components that work synergistically:
1. Sensors
Sensors form the foundation of wearable devices by capturing physiological and environmental data. Common examples include heart rate sensors, accelerometers, gyroscopes, temperature sensors, and biochemical sensors. 
2. Microprocessors and Actuators
Microprocessors analyze sensor data using embedded algorithms and facilitate decision-making. Actuators execute responses based on processed data, such as triggering drug release in wearable drug delivery systems. 
3. Connectivity Modules
These modules enable communication between the wearable device and external systems using technologies such as Bluetooth, Wi-Fi, or cellular networks, supporting remote monitoring and data sharing. 
4. Power Source
Wearable devices are powered by rechargeable batteries or emerging energy-harvesting technologies. Efficient energy management is essential for prolonged and uninterrupted operation. 
5. User Interface
Interfaces such as displays, LEDs, and mobile applications provide real-time feedback, alerts, and insights, enhancing user interaction and adherence. 
ADVANTAGES OF WEARABLE DRUG DELIVERY DEVICES
Wearable drug delivery devices have emerged as transformative tools in modern healthcare by enabling automated, controlled, and patient-centric medication administration. These systems enhance therapeutic outcomes while improving patient comfort and reducing dependence on frequent clinical visits.
1. Real-time Monitoring and Feedback
Wearable devices integrate with biosensors and digital health platforms to enable continuous monitoring of physiological parameters and drug delivery patterns. For instance, insulin pumps combined with continuous glucose monitors (CGMs) can dynamically adjust insulin dosing based on real-time glucose levels. This closed-loop functionality helps prevent complications such as hypoglycaemia and hyperglycaemia. Additionally, many wearable systems transmit data to healthcare providers, facilitating remote monitoring and timely clinical intervention.
2. Improved Patient Adherence
Automated and pre-programmed drug delivery significantly reduces the likelihood of missed or incorrect dosing, particularly in chronic conditions such as diabetes, cardiovascular disorders, and pain management. Non-invasive delivery methods, including transdermal patches and microneedle systems, improve patient comfort and acceptance. Furthermore, integrated reminders, alerts, and mobile applications support consistent medication adherence.
3. Personalized and Adaptive Dosing
Advanced wearable systems enable individualized therapy by adjusting drug delivery based on patient-specific physiological data. For example, insulin pumps equipped with machine learning algorithms can modulate insulin release according to lifestyle patterns and metabolic fluctuations. This personalization minimizes the risks of over- or under-dosing, thereby improving both safety and efficacy.
4. Enhanced Therapeutic Efficiency
Wearable devices allow controlled and sustained drug release, maintaining optimal drug concentrations within the therapeutic window. This reduces fluctuations associated with conventional dosing and enhances overall treatment effectiveness.
5. Reduced Healthcare Burden
By enabling self-administration and remote monitoring, wearable drug delivery systems decrease the need for frequent hospital visits and clinical supervision. This not only reduces healthcare costs but also improves patient convenience and quality of life.
CHALLENGES AND LIMITATIONS OF WEARABLE DRUG DELIVERY DEVICES
Despite their significant advantages, wearable drug delivery systems face several technical, economic, and user-related challenges that may limit their widespread adoption.
1. High Cost and Limited Accessibility
The integration of advanced sensors, microelectronics, and precision drug delivery mechanisms makes these devices expensive. This limits accessibility, particularly in low- and middle-income regions and resource-constrained healthcare systems.
2. Device Malfunction and Reliability Issues
Mechanical failures, software errors, or battery depletion can lead to incorrect dosing, posing serious health risks. For example, malfunction of an insulin pump may result in life-threatening hypoglycaemia or hyperglycaemia. Ensuring reliability under real-world conditions remains a critical requirement.
3. Skin Irritation and Biocompatibility Concerns
Prolonged use of wearable patches or microneedle systems may cause skin irritation, inflammation, or allergic reactions. Sensitivity to adhesives or materials used in device fabrication can further limit patient acceptance.
4. Complexity and Need for Patient Training
Effective use of wearable devices often requires proper training. Elderly patients or individuals with limited technological literacy may face difficulties in operating these systems, increasing the risk of misuse or non-compliance.
5. Power and Maintenance Constraints
Most wearable drug delivery devices rely on batteries or rechargeable systems, requiring regular charging and maintenance. Power failure or inadequate battery life can disrupt continuous drug delivery and compromise treatment outcomes.
6. Regulatory and Safety Challenges
Wearable drug delivery systems must meet stringent regulatory requirements due to their direct involvement in automated drug administration. Ensuring long-term safety, accuracy, and consistency of these devices requires extensive clinical validation and ongoing monitoring.
WEARABLE TECHNOLOGIES IN DRUG DELIVERY: MECHANISMS AND WORKING PRINCIPLES
Wearable drug delivery systems are advanced medical devices designed to administer therapeutic agents in a controlled, precise, and patient-friendly manner. These technologies integrate drug reservoirs, delivery mechanisms, and, in many cases, biosensors to enable real-time monitoring and adaptive dosing. By improving medication adherence, minimizing systemic side effects, and enabling personalized therapy, wearable systems are transforming modern healthcare.
1. Insulin Pumps
Insulin pumps are among the most widely used wearable drug delivery devices, particularly in diabetes management. These systems deliver rapid-acting insulin subcutaneously through a catheter using programmable infusion rates. They operate in two primary modes: basal delivery, which provides continuous insulin to maintain glucose homeostasis, and bolus delivery, which administers additional doses during meals or hyperglycemic events.
Modern insulin pumps are often integrated with continuous glucose monitors (CGMs), forming closed-loop or “artificial pancreas” systems. These systems use real-time glucose data to automatically adjust insulin delivery, thereby closely mimicking physiological insulin secretion and improving glycemic control.
2. Transdermal Patches
Transdermal patches are non-invasive systems that deliver drugs across the skin into systemic circulation. These devices typically consist of a drug reservoir or matrix that enables sustained and controlled drug release over extended periods.
The primary mechanism involves passive diffusion through the stratum corneum. However, advanced systems employ enhancement strategies such as:
· Microneedles to bypass the skin barrier 
· Iontophoresis to drive charged drug molecules using electrical current 
These approaches improve drug permeability and bioavailability. Transdermal systems are widely used in hormone therapy, pain management, and smoking cessation.
3. Wearable Injectors (On-Body Delivery Systems)
Wearable injectors are designed for the subcutaneous administration of large-volume or high-viscosity biologics over prolonged durations. These devices are typically prefilled and adhere to the body, allowing for self-administration outside clinical settings.
They utilize mechanical (spring-based) or electronic infusion systems to deliver precise drug doses at controlled rates. Activation may be manual or automated, depending on device design. Wearable injectors significantly enhance patient convenience and adherence, especially in chronic conditions such as rheumatoid arthritis, cancer, and autoimmune diseases.
4. Electroceutical Drug Delivery Devices
Electroceutical systems employ electrical stimulation to facilitate drug delivery across biological barriers. A key technique used is iontophoresis, where a low-intensity electrical current drives charged drug molecules through the skin.
This mechanism enhances transdermal drug penetration and allows for controlled, localized delivery. Electroceutical patches are particularly useful in pain management, dermatological conditions, and localized therapies where systemic exposure needs to be minimized.
5. Microneedle-Based Drug Delivery Systems
Microneedle patches represent an emerging and minimally invasive alternative to conventional injections. These systems consist of micron-scale needles that penetrate the outer skin layer without reaching pain receptors, enabling painless drug administration.
[image: image1.png]WEARABLE DRUG DELIVERY SYSTEMS

Smartwatch
Integration

Wearable
Pump

Remote Monitoring  Drug Release Control Continious Delivery  Microneedles

=8

Personalized Treatment

Advantages

[

té

Improved Compliance Real-Time Monitoring




Microneedles can be classified as:
· Dissolvable microneedles: Made of biodegradable polymers that encapsulate the drug and dissolve after insertion 
· Hollow microneedles: Allow direct infusion of liquid formulations 
This technology enables rapid drug absorption into dermal capillaries and offers significant potential for vaccine delivery, insulin administration, and biologics.
APPLICATIONS OF WEARABLE DRUG DELIVERY SYSTEMS (WDDS)
Wearable drug delivery systems (WDDS) have emerged as a transformative approach in modern therapeutics by enabling controlled, continuous, and patient-specific drug administration. These systems integrate sensing, monitoring, and delivery mechanisms to enhance treatment efficacy and patient compliance. Their applications span multiple therapeutic domains, as outlined below.
1. Chronic Diseases
Diabetes Management
Wearable insulin delivery systems, including insulin pumps and Continuous Glucose Monitors (CGMs), enable real-time glucose monitoring and automated insulin administration. Advanced systems function as closed-loop (artificial pancreas) systems, adjusting insulin doses dynamically.
Benefits
· Improved glycemic control 
· Reduced hypoglycemic episodes 
· Enhanced patient convenience and adherence 
· Remote monitoring by healthcare providers 
Hypertension and Cardiovascular Diseases
Wearable devices such as smartwatches and biosensors continuously monitor blood pressure and cardiovascular parameters. These systems can be integrated with drug delivery modules for on-demand antihypertensive therapy.
Benefits
· Early detection of abnormalities 
· Personalized treatment adjustments 
· Reduced risk of cardiovascular complications 
2. Oncology (Cancer Treatment)
Chemotherapy Delivery
Wearable infusion pumps enable continuous subcutaneous delivery of chemotherapeutic agents (e.g., 5-fluorouracil), maintaining stable plasma drug concentrations.
Targeted Drug Delivery
Integration of nanotechnology-based carriers in wearable systems allows localized delivery to tumor tissues, minimizing systemic toxicity.
Benefits
· Reduced hospital visits 
· Lower systemic side effects 
· Improved therapeutic efficiency 
· Enhanced patient quality of life 
3. Neurological Disorders
Pain Management
Wearable devices such as Transcutaneous Electrical Nerve Stimulation (TENS) systems can be combined with drug delivery mechanisms to provide multimodal pain relief.
Epilepsy Management
Advanced wearables can detect seizure onset and trigger automated anticonvulsant drug release.
Parkinson’s Disease
Continuous delivery of dopaminergic agents through patches or pumps ensures stable dopamine levels, reducing motor fluctuations.
Benefits
· Continuous symptom control 
· Reduced frequency of acute episodes 
· Improved patient independence and quality of life 
4. Hormonal Therapies
Insulin Patches
Non-invasive wearable patches deliver insulin transdermally, often guided by predictive algorithms.
Hormone Replacement Therapy (HRT)
Wearable systems enable controlled delivery of hormones such as estrogen and testosterone.
Benefits
· Improved patient compliance 
· Stable plasma drug levels 
· Reduced dosing frequency and side effects 
5. Vaccination
Microneedle Patches
Wearable microneedle systems deliver vaccines painlessly through the skin, dissolving after application.
Benefits
· Needle-free, self-administration 
· Improved vaccine accessibility 
· Reduced need for trained healthcare personnel 
· Enhanced immunization coverage during pandemics 
6. Pain Management and Local Anesthesia
Transdermal Drug Delivery Systems
Wearable patches provide controlled release of analgesics (e.g., lidocaine) for chronic and post-operative pain management.
Benefits
· Targeted drug delivery 
· Reduced systemic side effects 
· Sustained and consistent pain relief 
7. Respiratory Disorders
Smart Inhalers
Wearable-enabled inhalers for asthma and COPD track usage patterns and ensure correct drug administration.
Benefits
· Improved medication adherence 
· Real-time feedback and reminders 
· Better long-term disease control
ROLE OF AI AND IOT IN SMART DRUG DELIVERY
Integration of Artificial Intelligence (AI) and Internet of Things (IoT)
The integration of Artificial Intelligence (AI) and the Internet of Things (IoT) into wearable drug delivery systems has significantly transformed modern healthcare. These advanced technologies enable the development of intelligent, adaptive, and real-time drug delivery systems, allowing personalized treatment tailored to individual patient needs.
AI plays a crucial role by analyzing large volumes of real-time data generated from IoT-enabled medical devices such as continuous glucose monitors, heart rate sensors, and wearable injectors. Through advanced algorithms, AI systems can detect patterns, predict physiological changes, and automatically adjust drug delivery.
For instance, in diabetes management, smart insulin pumps use AI algorithms to predict fluctuations in blood glucose levels and adjust insulin dosage accordingly without requiring patient intervention. This not only enhances therapeutic effectiveness but also reduces the risk of human error.
On the other hand, IoT facilitates the creation of a connected healthcare ecosystem. Wearable devices continuously collect and transmit patient data to cloud-based platforms, enabling remote monitoring by healthcare professionals. This allows clinicians to track patient health status in real time and make timely interventions, reducing the need for frequent hospital visits.
Additionally, IoT integrates data from multiple sources, providing a comprehensive view of patient health, which supports more accurate diagnosis and personalized treatment planning.
Together, AI and IoT enable
· Real-time, data-driven decision-making 
· Improved treatment precision and patient outcomes 
· Efficient management of chronic diseases such as diabetes, cardiovascular disorders, and chronic pain 
· Reduced healthcare costs by minimizing hospital admissions and complications
[image: image2.png]OLE OF Al AND loT IN SMART DELIVER

( Integration of Artificial Intelligence (Al) and Internet of Things (loT) enables intelligent, adaptive, and real-time

drug delivery systems for personalized treatment and improved patient outcomes.

1. loT-Enabled
Wearable Devices

Continuous
Glucose Monitor

Heart Rate
Sensor

Wearable
Injector

Other Biosensors
(Temperature,
Activity, etc.)

—_—

Real-time
Data
Collection

—
i

2. Al-Based Data Processing

& Analytics

Al

« Analyzes vast reak-time data
« Identifies patterns

« Predicts physiological changes
(e.g., glucose fluctuations)

« Determines optimal drug dose
and timing

Al Capabilities

Machine Learning
Deep Learning
Predictive Analytics

|

—_—

Decision /
Dose
Recommendation

3. Smart Drug Delivery

[

System
Data
b Tran.smlsslon
via loT
550 —_—
° Cloud Platform
0°°  Secure Data Storage
() (® « Data Integration

Intelligent & Adaptive
Drug Delivery
« Adjusts drug dose automatically
« Real-time closed-loop control
« Minimizes human error
« Improves efficacy and safety

A
1
Ay

Feedback Loop
(Treatment Adjustment)

it

T

* Remote Access

v

4. Healthcare Providers
(Remote Mol

ing)

Monitor patient status in real-time
Track treatment progress

Early intervention & alerts
Adjust treatment plan if needed

Real-time,
Data-driven
Decision Making

| o

Improved Treatment Efficient Management
j Precision & of Chronic Diseases
" | I Patient Outcomes [ J (Diabetes, Heart Disease,

(Chronic Pain, etc.)

Reduced Hospital
Visits and
Complications

N S
3

®

Lower Healthcare
Costs




Real-Time Monitoring and Intelligent Drug Dose Optimization
Remote monitoring and automated drug dosing represent one of the most significant advancements in modern healthcare, particularly in the management of chronic diseases. Wearable drug delivery systems equipped with advanced technologies enable continuous monitoring of patient health and precise, real-time adjustment of drug dosage.
These systems collect physiological data such as blood glucose levels, pain signals, and other vital parameters through integrated sensors. This data is transmitted via connected technologies to centralized platforms, where it can be accessed and monitored by healthcare professionals remotely.
A key feature of these systems is the ability to automatically adjust drug dosing based on real-time data. For example, insulin pumps integrated with continuous glucose monitors can regulate insulin delivery according to fluctuations in blood glucose levels. This ensures that patients receive the correct dose at the appropriate time without requiring manual intervention, thereby reducing the risk of human error and improving glycemic control.
Similarly, in pain management, programmable drug delivery pumps can adjust opioid dosing in response to patient needs, providing consistent and controlled pain relief while minimizing the risks associated with over-dosing or under-dosing.
Remote monitoring is especially beneficial for patients who are homebound or living in remote areas with limited access to healthcare facilities. Healthcare providers can continuously track patient progress, detect abnormalities early, and intervene promptly when necessary. In emergency situations, these systems can generate alerts, allowing immediate medical response.
Overall, the integration of real-time monitoring and automated drug delivery enhances treatment efficiency, improves patient adherence, reduces the need for frequent hospital visits, and lowers the overall healthcare burden. This approach ultimately leads to better disease management, improved patient safety, and enhanced clinical outcomes.
Data Security and Privacy Concerns
With the increasing use of AI- and IoT-enabled wearable drug delivery systems, data security and patient privacy have become critical issues. These devices continuously collect sensitive health data such as glucose levels, drug dosage, and vital signs, which must be securely stored and transmitted.
To protect this information, strong data security measures are required. These include encrypted communication channels, secure cloud storage, and protection against unauthorized access, hacking, or data tampering. Regulatory frameworks such as the Health Insurance Portability and Accountability Act (HIPAA) ensure that patient data is handled confidentially and used only for authorized purposes.
In addition to security, data privacy is a major concern. Patients must be clearly informed about how their data is collected, used, shared, and stored. Proper informed consent mechanisms are essential to maintain transparency and trust.
Another important issue is the risk of cyberattacks. Since these devices are internet-connected, hackers could potentially interfere with drug delivery systems, leading to incorrect dosing or device malfunction. To prevent this, robust cybersecurity strategies such as multi-factor authentication, encryption protocols, and secure system design are necessary.
Overall, maintaining strong data protection, privacy, and regulatory compliance is essential to ensure patient safety and trust in smart drug delivery systems.
Clinical Applications and Case Studies
1. Diabetes Management (Insulin Pumps with CGM)
Diabetes management has significantly improved with the use of insulin pumps integrated with continuous glucose monitoring (CGM) systems. These systems create a closed-loop mechanism, allowing real-time adjustment of insulin delivery based on glucose levels.
Devices like automated insulin delivery systems (often called an artificial pancreas) continuously monitor glucose fluctuations and adjust insulin dosing accordingly. This helps in maintaining stable blood glucose levels during fasting, meals, and daily activities.
Benefits include
· Reduced risk of hypoglycemia and hyperglycemia 
· Improved glycemic control (lower HbA1c levels) 
· Reduced need for frequent finger-prick testing 
· Better patient compliance and quality of life 
2. Neurological Disorders (Parkinson’s Disease and Epilepsy)
Wearable and implantable drug delivery systems are increasingly used in neurological conditions.
In Parkinson’s disease, continuous drug delivery systems provide steady administration of medications like levodopa, reducing motor fluctuations and improving symptom control.
In epilepsy, advanced systems use responsive neurostimulation (RNS) to detect abnormal brain activity and deliver electrical stimulation or medication to prevent seizures. These systems reduce seizure frequency and improve patient outcomes.
Key advantages
· Continuous and controlled drug delivery 
· Reduction in symptom variability 
· Improved quality of life 
3. Oncology (Targeted Chemotherapy)
In cancer treatment, wearable and implantable systems enable targeted drug delivery, improving therapeutic efficiency while minimizing side effects.
Examples include
· Implantable infusion pumps delivering drugs directly to tumor sites 
· Central venous systems for continuous chemotherapy 
· Nanotechnology-based carriers (e.g., liposomes) targeting cancer cells 
These approaches
· Reduce systemic toxicity 
· Increase drug concentration at tumor sites 
· Minimize side effects like nausea and hair loss 
4. Cardiovascular Diseases (Antihypertensive Implants)
In cardiovascular disorders such as hypertension, implantable systems provide controlled and continuous drug release.
Examples include
· Osmotic pumps delivering antihypertensive drugs steadily 
· Drug-eluting stents releasing medication directly into blood vessels 
Benefits
· Stable blood pressure control 
· Improved patient compliance 
· Reduced risk of complications such as stroke 
Regulatory Challenges and Ethical Considerations
1. Regulatory Guidelines (FDA and EMA)
Regulatory bodies such as the FDA (Food and Drug Administration) and EMA (European Medicines Agency) ensure the safety and effectiveness of drug delivery systems.
Key regulatory requirements include:
· Device classification based on risk level 
· Preclinical and clinical testing 
· Biocompatibility and safety evaluation 
· Post-market surveillance 
· Quality control and traceability (UDI systems) 
With the integration of AI and IoT, regulations are evolving to address challenges related to data security, connectivity, and interoperability.
2. Patient Consent, Safety, and Ethics
Ethical considerations are crucial in the use of advanced drug delivery systems.
Important aspects include:
· Informed consent: Patients must understand risks, benefits, and limitations 
· Safety assurance: Devices must be biocompatible and safe for long-term use 
· Patient autonomy: Patients should have control over treatment decisions 
· Transparency in AI systems: Patients should be aware of automated decision-making 
Data privacy also remains a key ethical issue, requiring strict protection of patient information.
3. Market Adoption and Cost-Effectiveness
The widespread adoption of smart drug delivery systems depends on cost and accessibility.
Challenges
· High development and production costs 
· Limited affordability in low-income settings 
· Insurance and reimbursement issues 
However, long-term benefits include:
· Reduced hospital visits 
· Improved treatment adherence 
· Lower complication rates 
· Overall reduction in healthcare costs 
As technology advances and production scales up, these systems are expected to become more affordable and widely adopted.
NEXT-GENERATION TRENDS AND RESEARCH DEVELOPMENTS
Progress in Advanced Therapeutic Delivery Systems
The future of smart drug delivery systems is focused on developing highly personalized, adaptive, and self-regulating technologies that can deliver drugs precisely based on individual patient needs. These next-generation systems will integrate advanced sensors, artificial intelligence (AI), and smart biomaterials to create a seamless link between patient health status and drug administration.
Such systems will continuously monitor physiological parameters such as blood glucose levels, heart rate, and biomarkers, and automatically adjust drug release in real time. For example, future insulin pumps may use AI-driven predictive models to anticipate glucose fluctuations and optimize insulin dosing without patient intervention, significantly improving chronic disease management.
In addition, these systems will enhance remote monitoring and data sharing, enabling healthcare providers to track patient health and intervene when necessary. This will be particularly useful in managing complex diseases such as cancer, neurological disorders, and cardiovascular conditions.
Overall, next-generation systems will:
· Reduce human error 
· Improve patient adherence 
· Enable real-time adaptive therapy 
· Provide truly personalized treatment through advanced feedback mechanisms 
Development of Self-Regulated Drug Delivery Mechanisms
Advancements in nanotechnology and bioelectronics are expected to revolutionize drug delivery systems.
Nanotechnology enables the development of nanocarriers such as liposomes, micelles, and nanoparticles that can deliver drugs directly to target sites in the body. These carriers improve:
· Drug solubility and bioavailability 
· Target specificity 
· Controlled and sustained drug release 
They also allow multi-drug delivery, which is especially useful in treating complex diseases like cancer and autoimmune disorders.
On the other hand, bioelectronic devices such as wearable patches and implantable sensors can both monitor physiological signals and respond by adjusting drug delivery. These systems provide real-time feedback on drug effectiveness and patient response.
Future innovations may include
· Miniaturized and implantable devices 
· Self-powered systems using bioenergy 
· Seamless integration with the human body for continuous monitoring and therapy 
Development of Intelligent Self-Operating Drug Delivery
One of the most promising future directions is the development of fully autonomous drug delivery systems, which require minimal or no human intervention.
These systems combine
· Real-time data collection 
· AI-based decision-making 
· Automated drug delivery mechanisms 
They continuously monitor patient health parameters such as glucose levels, blood pressure, and neurological signals, and adjust treatment instantly.
For example
· Autonomous insulin systems can regulate insulin based on glucose levels, meals, and physical activity 
· Neurostimulation devices can adjust electrical signals for pain or neurological disorders 
· Emergency systems may deliver drugs during conditions like anaphylaxis or stroke 
Key benefits include
· Precise dosing at the right time 
· Reduced risk of over- or under-dosing 
· Improved patient outcomes and safety 
However, challenges such as data security, device reliability, and regulatory approval must be addressed before widespread clinical use.
CONCLUSION
Smart drug delivery systems have significantly advanced personalized medicine by enabling precise, patient-specific treatments. The integration of wearable devices, implantable systems, AI, IoT, and nanotechnology has introduced real-time monitoring and adaptive drug delivery, improving both treatment effectiveness and patient adherence.
Technologies such as insulin pumps, neurostimulation systems, and targeted oncology therapies demonstrate how controlled and on-demand drug delivery can enhance clinical outcomes and quality of life. Nanotechnology has further improved targeted delivery, reducing side effects by focusing treatment on diseased tissues.
These innovations are particularly impactful in managing chronic diseases like:
· Diabetes 
· Cardiovascular disorders 
· Neurological conditions 
Despite these advancements, several challenges remain:
· Evolving regulatory requirements 
· High cost and limited accessibility 
· Data security and privacy concerns 
· Need for transparency in AI-based decisions 
However, the future remains highly promising. With continued advancements and improved affordability, AI, IoT-, and nanotechnology-driven systems may enable fully autonomous drug delivery, transforming healthcare into a more dynamic, precise, and patient-centered model.
REFERENCES
1. P. Sugavaneshwari and K. G. Saranya, "A Study on Machine Learning Techniques for Precision Medicine Recommendation," 2023 International Conference on Intelligent Systems for Communication, IoT and Security (ICISCoIS), Coimbatore, India, 2023; 365-370. 
2. Dhanushyar, C. K, S. S and T. K, "Enhancing Precision Medicine with Machine Learning in Thyroid Diagnosis," 2023 7th International Conference on I-SMAC (IoT in Social, Mobile, Analytics and Cloud) (I-SMAC), Kirtipur, Nepal, 2023; 675-680. 
3. M. Shah, P. Padhiyar, K. Parmar, J. Patel, S. Panesar and K. Raja, "Recent Challenges in Medical Science using Machine Learning Techniques: A Review," 2023 7th International Conference on I-SMAC (IoT in Social, Mobile, Analytics and Cloud) (ISMAC), Kirtipur, Nepal, 2023; 516-523.
4. Shrivastava, M. Chakkaravarthy and M. A. Shah, "Improved IoT for Health Behaviour System Based on Machine Learning Model," 2022 2nd International Conference on Technological Advancements in Computational Sciences (ICTACS), Tashkent, Uzbekistan, 2022; 755-760.
6. S. A. Shampa, M. S. Islam and A. Nesa, "Machine Learning-based Diabetes Prediction: A Cross-Country Perspective," 2023 International Conference on Next-Generation Computing, IoT and Machine Learning (NCIM), Gazipur, Bangladesh, 2023; 1-6.
7. Barhate, P. Kumar, P. Verma, N. Jikar, A. Tale and V. Hikre, "Smart Healthcare: Harnessing the Power of Machine Learning for Predictive Analysis," 2024 Parul International Conference on Engineering and Technology (PICET), Vadodara, India, 2024; 1-7.
8. G. Kazanjian and V. Margapuri, "The Role of Machine Learning and Neural Networks in Predicting Treatments for Colorectal Cancer Patients," 2025 IEEE World AI IoT Congress (AIIoT), Seattle, WA, USA, 2025; 0926- 0931.
9. G. Kazanjian and V. Margapuri, "The Role of Machine Learning and Neural Networks in Predicting Treatments for Colorectal Cancer Patients," 2025 IEEE World AI IoT Congress (AIIoT), Seattle, WA, USA, 2025; 0926- 0931.
10. V. Malpe and P. Tugaonkar, "Machine LearningTrends in Medical Sciences," 2018 2nd International Conference on I-SMAC (IoT in Social, Mobile, Analytics and Cloud) (I-SMAC)I-SMAC (IoT in Social, Mobile, Analytics and Cloud) (I-SMAC), 2018 2nd International Conference on, Palladam, India, 2018; 495-499.
11. Mary PA, Darshan BD, Patra KC, Velmurugan S, Jose JJ, Nathani S. Wearable IoT Device for Automated Drug Delivery Using Adaptive Machine Learning Models. Int J Drug Deliv Technol. 2026; 16(6s): 716-724.
12. Jain KK. An overview of drug delivery systems. Drug delivery systems, 2020; 1-54.
13. Etrych T, Braunova A, Zogala D, Lambert L, Renesova N, Klener P. Targeted drug delivery and theranostic strategies in malignant lymphomas. Cancers, 2022; 14(3): 626.
14. Ding H, Tan P, Fu S, Tian X, Zhang H, Ma X, et al. Preparation and application of pH-responsive drug delivery systems. Journal of Controlled Release. 2022; 348: 206-38.
15. Pathak K, Saikia R, Das A, Das D, Islam MA, Pramanik P, et al. 3D printing in biomedicine: Advancing personalized care through additive manufacturing. Exploration of Medicine, 2023; 4(6): 1135-67.
16. Elumalai K, Srinivasan S, Shanmugam A. Review of the efficacy of nanoparticle-based drug delivery systems for cancer treatment. Biomedical Technology, 2024; 5: 109-22.
17. Trenfield SJ, Awad A, Madla CM, Hatton GB, Firth J, Goyanes A, et al. Shaping the future: recent advances of 3D printing in drug delivery and healthcare. Expert opinion on drug delivery, 2019; 16(10): 1081-94.
18. Zorkina Y, Abramova O, Ushakova V, Morozova A, Zubkov E, Valikhov M, et al. Nano carrier drug delivery systems for the treatment of neuropsychiatric disorders: Advantages and limitations. Molecules, 2020; 25(22): 5294.
19. Tekade RK. Basic fundamentals of drug delivery: Academic Press, 2018.
20. Yadav S, Palei NN, Dinda SC, Dhar AK. Drug Delivery in Biotechnology: Present and Future. Concepts in Pharmaceutical Biotechnology and Drug Development: Springer, 2024; 103-38.
21. Keservani RK, Bandopadhyay S, Bandyopadhyay N, Sharma AK. Design and fabrication of transdermal/skin drug delivery system. Drug Delivery Systems: Elsevier 2020; 131-78.
22. Allen L, Ansel HC. Ansel's pharmaceutical dosage forms and drug delivery systems: Lippincott Williams & Wilkins, 2013.
23. Khalilov R. A COMPREHENSIVE REVIEW OF ADVANCED NANO-BIOMATERIALS IN REGENERATIVE MEDICINE AND DRUG DELIVERY. Advances in Biology & Earth Sciences, 2023; 8(1).
24. Sivasankaran S, Jonnalagadda S. Advances in controlled release hormonal technologies for contraception: A review of existing devices, underlying mechanisms, and future directions. Journal of Controlled Release, 2021; 330: 797-811.
25. Katakam P, Kumar R, Ranjan N, Babbar A. Handbook of 3D Printing in Pharmaceutics: Innovations and Applications: CRC Press, 2024.
26. Senthil P. Recent Advances In Pharmaceutical & Medical Sciences. 2024. [49] Zu H, Gao D. Non-viral vectors in gene therapy: recent development, challenges, and prospects. The AAPS journal, 2021; 23(4): 78. 
27. Tan M, Xu Y, Gao Z, Yuan T, Liu Q, Yang R, et al. Recent advances in intelligent wearable medical devices integrating biosensing and drug delivery. Advanced Materials, 2022; 34(27): 2108491. 
28. Kar A, Ahamad N, Dewani M, Awasthi L, Patil R, Banerjee R. Wearable and implantable devices for drug delivery: Applications and challenges. Biomaterials, 2022; 283: 121435.
29. Marks BE, Williams KM, Sherwood JS, Putman MS. Practical aspects of diabetes technology use: Continuous glucose monitors, insulin pumps, and automated insulin delivery systems. Journal of clinical & translational endocrinology, 2022; 27: 100282.
30. Adepu S, Ramakrishna S. Controlled drug delivery systems: current status and future directions. Molecules, 2021; 26(19): 5905. 
31. Beg S, Handa M, Shukla R, Rahman M, Almalki WH, Afzal O, Altamimi ASA. Wearable smart devices in cancer diagnosis and remote clinical trial monitoring: Transforming the healthcare applications. Drug discovery today, 2022; 27(10): 103314.
32. Wang T, Shi X, Wang Y, Sun H, Sun Y, Wang G, Jiang H. Lidocaine-Loaded Iontophoresis-Driven Fiber-Based Microneedle Patch for Controllable and Long-Lasting Transdermal Local Analgesia. Advanced Fiber Materials, 2024; 1-15.
33. Shravanth S, Osmani RAM, Anupama V, Rahamathulla M, Gangadharappa H. Microneedles-based drug delivery for the treatment of psoriasis. Journal of Drug Delivery Science and Technology, 2021; 64: 102668. 
34. Raikar AS, Kumar P, Raikar GS, Somnache SN. Advances and challenges in IoT-based smart drug delivery systems: a comprehensive review. Applied System Innovation, 2023; 6(4): 62.
35. Kapadia J. The Failure of Automated Insulin Delivery System: University of Illinois at Chicago, 2024.
36. Arif U, Haider S, Haider A, Khan N, Alghyamah AA, Jamila N, et al. Biocompatible polymers and their potential biomedical applications: A review. Current pharmaceutical design, 2019; 25(34):    3608-19.
37. Alam MA, Sohel A, Uddin M, Siddiki A. Big Data and Chronic Disease Management Through Patient Monitoring And Treatment With Data Analytics. Academic Journal on Artificial Intelligence, Machine Learning, Data Science and Management Information Systems, 2024; 1(01): 77-94.
38. Judd T. Post-market Surveillance (PMS) of Medical Devices: From a Clinical Engineering Perspective. Inspection of Medical Devices: For Regulatory Purposes: Springer, 2023; 93-114. 
39. Amaral C, Paiva M, Rodrigues AR, Veiga F, Bell V. Global regulatory challenges for medical devices: impact on innovation and market access. Applied Sciences, 2024; 14(20): 9304. 
40. Fearne J. Establishing a patient centred medical device body. 2024. [139] Verma SJ, Baldi A. Evidence-based recommendations for comprehensive regulatory guidelines in medical devices: the imperative for global harmonization. Naunyn-Schmiedeberg's Archives of Pharmacology, 2025: 1-15.
41. Klugman CM, Dunn LB, Schwartz J, Cohen IG. The ethics of smart pills and self-acting devices: autonomy, truth telling, and trust at the dawn of digital medicine. The American journal of bioethics, 2018; 18(9): 38-47.
42. Trucillo P. Biomaterials for drug delivery and human applications. Materials, 2024; 17(2): 456.
43. Cicha I, Priefer R, Severino P, Souto EB, Jain S. Biosensor-integrated drug delivery systems as new materials for biomedical applications. Biomolecules, 2022; 12(9): 1198.
44. Peeriga R. Individualization of Drug Dosage. A Short Guide to Clinical Pharmacokinetics: Springer, 2024; 97 120.
45. Xie, J., Chen, Q., Shen, H. & Li, G. Review—Wearable Graphene Devices for Sensing. J. Electrochem. Soc., 167: 037541 (2020).
46. Kozitsina, A. N. et al. Sensors based on bio and biomimetic receptors in medical diagnostic, environment, and food analysis. Biosensors, 2018; 8: 1–34. 
47. Bhalla, N., Jolly, P., Formisano, N. & Estrela, P. Introduction to biosensors. Essays Biochem. 60,1–8 (2016). 6. Kim, J., Campbell, A. S., de Ávila, B. E. F. & Wang, J. Wearable biosensors for healthcare monitoring. Nat. Biotechnol., 2019; 37: 389–406. 
48. Salim, A. & Lim, S. Recent advances in noninvasive flexible and wearable wireless biosensors. Biosens. Bioelectron. 141, 111422 (2019). 8. Stylios, G. K. Novel smart textiles. Materials, 2020; 13: 10–12.
49. Ayaz, H., Khan, A., Khan, N., Hasnain, M., Mesbah, S., Ahmad, A., … Sana, A. (2025). Smart Drug Delivery Systems: Current Technologies, Clinical Applications, and Future Perspectives in Precision Therapeutics. International Journal of Scientific Research and Modern Technology, 4(10): 18–38. https://doi.org/10.38124/ijsrmt.v4i10.912
50. Darwich, A.S., et al., Model-informed precision dosing: background, requirements, validation, implementation, and forward trajectory of individualizing drug therapy. Annual review of pharmacology and toxicology, 2021; 61(1): 225 245. 
51. Aliper, A., et al., Deep learning applications for predicting pharmacological properties of drugs and drug repurposing using transcriptomic data. Molecular pharmaceutics, 2016; 13(7): 2524 2530.
52. Chenthamara, D., et al., Therapeutic efficacy of nanoparticles and routes of administration. Biomaterials research, 2019; 23(1): 20.
53. Karimi, M., et al., Smart micro/nanoparticles in stimulus-responsive drug/gene delivery systems. Chemical society reviews, 2016; 45(5): 1457 1501.
54. Kumar, R., S.V. Dalvi, and P.F. Siril, Nanoparticle based drugs and formulations: current status and emerging applications. ACS Applied Nano Materials, 2020; 3(6): 4944-4961.
55. Chu, S., et al., pH-responsive polymer nanomaterials for tumor therapy. Frontiers in oncology, 2022. 12: p. 855019. [25]. Kocak, G., C. Tuncer, and V. Bütün, pH Responsive polymers. Polymer Chemistry, 2017; 8(1): 144-176.
56. Guo, X., et al., Multifunctional nanoplatforms for subcellular delivery of drugs in cancer therapy. Progress in Materials Science, 2020; 107: 100599. 
57. Yao, C., et al., Near-Infrared-Triggered Azobenzene-Liposome/Upconversion Nanoparticle Hybrid Vesicles for Remotely Controlled Drug Delivery to Overcome Cancer Multidrug Resistance. Advanced Materials (Deerfield Beach, Fla.), 2016; 28(42): 9341-9348.
58. Mahdi, K., et al., Smart Nanostructures for Cargo Delivery: Uncaging and Activating by Light, 2017.



EUROPEAN JOURNAL OF PHARMACEUTICAL


AND MEDICAL RESEARCH


� HYPERLINK "http://www.ejpmr.com" �www.ejpmr.com�











EJPMR, 2026, 13(6), 771-782                                                                                                              Impact Factor: 8.158


  








ISSN (O): 2394-3211


ISSN (P): 3051-2573


Coden USA: EJPMAG








Review Article











ABSTRACT


The evolution of drug delivery systems from conventional formulations to intelligent, technology-driven platforms has transformed the landscape of precision medicine. Smart drug delivery systems integrate advanced technologies such as Artificial Intelligence (AI), the Internet of Things (IoT), wearable devices, biosensors, nanotechnology, and bioelectronic systems to enable real-time monitoring, personalized therapy, and adaptive drug administration. These systems continuously collect physiological data, analyze patient-specific responses, and optimize drug dosing to improve therapeutic outcomes while minimizing adverse effects. Wearable technologies, including insulin pumps, smart inhalers, transdermal patches, and microneedle-based devices, have demonstrated significant benefits in managing chronic diseases, cancer, neurological disorders, and hormonal therapies. AI-driven predictive algorithms and IoT-enabled connectivity facilitate remote monitoring, automated dose adjustments, and enhanced patient adherence. Furthermore, bioelectronic and nanotechnology-based approaches provide targeted and controlled drug release, advancing the concept of individualized treatment. Despite promising clinical applications, challenges related to data security, privacy, regulatory compliance, device reliability, and cost remain significant barriers to widespread adoption. Future developments are expected to focus on autonomous, self-regulating drug delivery systems capable of responding dynamically to physiological changes. Overall, the convergence of AI, IoT, and bioelectronic technologies is reshaping drug delivery and accelerating the transition toward patient-centered precision healthcare.





KEYWORDS: Smart Drug Delivery Systems, Precision Medicine, Artificial Intelligence, Internet of Things (IoT), Wearable Drug Delivery Devices, Bioelectronic Systems, Personalized Therapeutics.





�











�

















*Corresponding Author: Dr. S. Eugine Leo Prakash


Professor, School of Pharmacy, Dhanalakshmi Srinivasan University, Trichy.


DOI: � HYPERLINK "https://doi.org/10.5281/zenodo.20641741" �https://doi.org/10.5281/zenodo.20641741� 





How to cite this Article: Dr. S. Eugine Leo Prakash*, S. Beetha Rohini1, Dr. S. Akilandeswari2 (2026). From Conventional To Cognitive Drug Delivery: The Role Of Ai, Iot, And Bioelectronic Systems In Precision Medicine. European Journal of Pharmaceutical and Medical Research, 13(6), 771–782.


This work is licensed under Creative Commons Attribution 4.0 International license. 




















771

