# 2025 Consumer Confidence Report Data
FOND DU LAC TN WATER UTILITY, PWS ID: 42004292

### Este informe contiene información importante acerca de su agua potable. Haga que alguien lo traduzca para usted, o hable con alguien que lo entienda.

### Dlaim ntawv tshaabzu nuav muaj lug tseemceeb heev nyob rua huv kws has txug cov dlej mej haus. Kuas ib tug paab txhais rua koj, los nrug ib tug kws paub lug thaam.

## Water System Information

If you would like to know more about the information contained in this report, please contact Steve Bein at (920) 929-3765.

## Opportunity for input on decisions affecting your water quality

Town of Fond du Lac Town Hall, W5590 Pioneer Road Fond du Lac, WI 54937. Meetings are held 2nd Monday of each Month.

## Health Information

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the Environmental Protection Agency's safe drinking water hotline (800-426-4791).

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune systems disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA/CDC guidelines on appropriate means to lessen the risk of infection by cryptosporidium and other microbial contaminants are available from the Environmental Protection Agency's safe drinking water hotline (800-426-4791).

## Source(s) of Water

| Source ID | Source | Depth (in feet) | Status |
| --- | --- | --- | --- |
| 1 | Purchased Groundwater |  | Active |

## Purchased Water

| PWS ID | PWS Name |
| --- | --- |
| 42004050 | NORTH FOND DU LAC WATERWORKS |

To obtain a summary of the source water assessment please contact, Steve Bein at (920) 929-3765.

## Educational Information

The sources of drinking water, both tap water and bottled water, include rivers, lakes, streams, ponds, reservoirs, springs and wells. As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

- Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations and wildlife.

- Inorganic contaminants, such as salts and metals, which can be naturally- occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining or farming.

- Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban stormwater runoff and residential uses.

- Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff and septic systems.

- Radioactive contaminants, which can be naturally occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, EPA prescribes regulations that limit the amount of certain contaminants in water provided by public water systems. FDA regulations establish limits for contaminants in bottled water, which shall provide the same protection for public health.

## Definitions

| Term | Definition |
| --- | --- |
| AL | Action Level: The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow. |
| HA and HAL | HA: Health Advisory. An estimate of acceptable drinking water levels for a chemical substance based on health effects information. HAL: Health Advisory Level is a concentration of a contaminant which, if exceeded, poses a health risk and may require a system to post a public notice. Health Advisories are determined by US EPA. |
| HI | HI: Hazard Index: A Hazard Index is used to assess the potential health impacts associated with mixtures of contaminants. Hazard Index guidance for a class of contaminants or mixture of contaminants may be determined by the US EPA or Wisconsin Department of Health Services. If a Health Index is exceeded a system may be required to post a public notice. |
| Level 1 Assessment | A Level 1 assessment is a study of the water system to identify potential problems and determine, if possible, why total coliform bacteria have been found in our water system. |
| Level 2 Assessment | A Level 2 assessment is a very detailed study of the water system to identify potential problems and determine, if possible, why an E. coli MCL violation has occurred or why total coliform bacteria have been found in our water system, or both, on multiple occasions. |
| MCL | Maximum Contaminant Level: The highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology. |
| MCLG | Maximum Contaminant Level Goal: The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety. |
| MFL | million fibers per liter |
| MRDL | Maximum residual disinfectant level: The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants. |
| MRDLG | Maximum residual disinfectant level goal: The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants. |
| mrem/year | millirems per year (a measure of radiation absorbed by the body) |
| NTU | Nephelometric Turbidity Units |
| pCi/l | picocuries per liter (a measure of radioactivity) |
| ppm | parts per million, or milligrams per liter (mg/l) |
| ppb | parts per billion, or micrograms per liter (ug/l) |
| ppt | parts per trillion, or nanograms per liter |
| ppq | parts per quadrillion, or picograms per liter |
| PHGS | PHGS: Public Health Groundwater Standards are found in NR 140 Groundwater Quality. The concentration of a contaminant which, if exceeded, poses a health risk and may require a system to post a public notice. |
| RPHGS | RPHGS: Recommended Public Health Groundwater Standards: Groundwater standards proposed by the Wisconsin Department of Health Services. The concentration of a contaminant which, if exceeded, poses a health risk and may require a system to post a public notice. |
| SMCL | Secondary drinking water standards or Secondary Maximum Contaminant Levels for contaminants that affect taste, odor, or appearance of the drinking water. The SMCLs do not represent health standards. |
| TCR | Total Coliform Rule |
| TT | Treatment Technique: A required process intended to reduce the level of a contaminant in drinking water. |

## Detected Contaminants

Your water was tested for many contaminants last year. We are allowed to monitor for some contaminants less frequently than once a year. The following tables list only those contaminants which were detected in your water. If a contaminant was detected last year, it will appear in the following tables without a sample date. If the contaminant was not monitored last year, but was detected within the last 5 years, it will appear in the tables below along with the sample date.

### Disinfection Byproducts

| Contaminant (units) | Site | MCL | MCLG | Level Found | Range | Sample Date (if prior to 2025) | Violation | Typical Source of Contaminant |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| HAA5 (ppb) | TFDLWT01 | 60 | 60 | 4 | 4 |  | No | By-product of drinking water chlorination |
| TTHM (ppb) | TFDLWT01 | 80 | 0 | 59.5 | 59.5 |  | No | By-product of drinking water chlorination |

### Inorganic Contaminants

| Contaminant (units) | Action Level | MCLG | 90th Percentile Level Found | Range | # of Results | Sample Date (if prior to 2025) | Violation | Typical Source of Contaminant |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| COPPER (ppm) | AL=1.3 | 1.3 | 0.1900 | 0.0150 - 0.1900 | 0 of 11 results were above the action level. | 8/9/2023 | No | Corrosion of household plumbing systems; Erosion of natural deposits; Leaching from wood preservatives |
| LEAD (ppb) | AL=15 | 0 | 3.60 | 0.00 - 7.50 | 0 of 11 results were above the action level. | 8/9/2023 | No | Corrosion of household plumbing systems; Erosion of natural deposits |

### Unregulated Contaminants

Unregulated contaminants are those for which EPA has not established drinking water standards. The purpose of unregulated contaminant monitoring is to assist EPA in determining the occurrence of unregulated contaminants in drinking water and whether future regulation is warranted. EPA required us to participate in this monitoring.

| Contaminant (units) | Level Found | Range | Sample Date (if prior to 2025) |
| --- | --- | --- | --- |
| DIBROMOMETHANE (ppb) | 0.22 | 0.22 | 7/19/2022 |

### Additional Health Information

Lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. Fond Du Lac Tn Water Utility is responsible for providing high quality drinking water and removing lead pipes, but cannot control the variety of materials used in plumbing components in your home. You share the responsibility for protecting yourself and your family from the lead in your home plumbing. You can take responsibility by identifying and removing lead materials within your home plumbing and taking steps to reduce your family's risk. Before drinking tap water, flush your pipes for several minutes by running your tap, taking a shower, doing laundry or a load of dishes. You can also use a filter certified by an American National Standards Institute accredited certifier to reduce lead in drinking water. If you are concerned about lead in your water and wish to have your water tested, contact Fond Du Lac Tn Water Utility (Steve Bein at (920) 929-3765). Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available at http://www.epa.gov/safewater/lead.

#### Additional Information on Service Line Materials

We developed an inventory of service lines connected to our distribution system. You can access the inventory by following these instructions: The Town of Fond du lac website is : Townoffdl,com

### Purchased Water

Our water system purchases water from NORTH FOND DU LAC WATERWORKS. In addition to the detected contaminants listed above, these are the results from NORTH FOND DU LAC WATERWORKS.

### Inorganic Contaminants

| Contaminant (units) | Site | MCL | MCLG | Level Found | Range | Sample Date (if prior to 2025) | Violation | Typical Source of Contaminant |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ARSENIC (ppb) |  | 10 | n/a | 1 | 1 | 1/24/2023 | No | Erosion of natural deposits; Runoff from orchards; Runoff from glass and electronics production wastes |

| ARSENIC (ppb) |  | 10 | n/a | 1 | 1 | 1/24/2023 | No | Erosion of natural deposits; Runoff from orchards; Runoff from glass and electronics production wastes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BARIUM (ppm) |  | 2 | 2 | 0.043 | 0.043 | 1/24/2023 | No | Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits |
| FLUORIDE (ppm) |  | 4 | 4 | 0.4 | 0.4 | 1/24/2023 | No | Erosion of natural deposits; Water additive which promotes strong teeth; Discharge from fertilizer and aluminum factories |
| NICKEL (ppb) |  | 100 |  | 1.1000 | 1.1000 | 1/24/2023 | No | Nickel occurs naturally in soils, ground water and surface waters and is often used in electroplating, stainless steel and alloy products. |
| SODIUM (ppm) |  | n/a | n/a | 35.00 | 35.00 | 1/24/2023 | No | n/a |

| Contaminant (units) | Action Level | MCLG | 90th Percentile Level Found | Range | # of Results | Sample Date (if prior to 2025) | Violation | Typical Source of Contaminant |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| COPPER (ppm) | AL=1.3 | 1.3 | 0.1800 | 0.0190 - 0.2600 | 0 of 21 results were above the action level. | 8/22/2023 | No | Corrosion of household plumbing systems; Erosion of natural deposits; Leaching from wood preservatives |

### Radioactive Contaminants

| Contaminant (units) | Site | MCL | MCLG | Level Found | Range | Sample Date (if prior to 2025) | Violation | Typical Source of Contaminant |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| GROSS ALPHA, EXCL. R & U (pCi/l) |  | 15 | 0 | 4.4 | 0.8 - 8.5 |  | No | Erosion of natural deposits |
| RADIUM, (226 + 228) (pCi/l) |  | 5 | 0 | 2.6 | 1.8 - 4.2 |  | No | Erosion of natural deposits |
| GROSS ALPHA, INCL. R & U (n/a) |  | n/a | n/a | 4.5 | 1.0 - 8.6 |  | No | Erosion of natural deposits |
| COMBINED URANIUM (ug/l) |  | 30 | 0 | 0.2 | 0.1 - 0.2 |  | No | Erosion of natural deposits |

### Unregulated Contaminants

Unregulated contaminants are those for which EPA has not established drinking water standards. The purpose of unregulated contaminant monitoring is to assist EPA in determining the occurrence of unregulated contaminants in drinking water and whether future regulation is warranted. EPA required us to participate in this monitoring.

Within the last 12 months we conducted Unregulated Contaminant Monitoring in accordance with US EPA rules. We are required to inform you of this sampling. We are only required to include results showing detections within this report; however, if you would like a copy of all results, please contact us at (920) 929-3765.

| ### Collection Date | ### Sample Id | ### Contaminant | ### MRL | ### Un | ### Method | ### Analytical Results |
| --- | --- | --- | --- | --- | --- | --- |
| ### 5/16/2023 | ### 104368P | ### Lithium | ### 9 | ### Ug/l | ### EPA 200.7 | ### 9.9 |
| ### 11/21/2023 | ### 110133P | ### Lithium | ### 9 | ### Ug/l | ### EPA 200.7 | ### 9.7 |

## Other Compliance

### Uncorrected Significant Deficiencies

| Deficiency Description and Progress to Date | Date System Notified | Scheduled Correction Date |
| --- | --- | --- |
| 2025 SD1. Past inspection deficiencies have not been corrected as required. | 12/29/2025 | 12/1/2026 |
| 2025 SD1. The Town has not resolved a deficiency from a prior sanitary survey report. There are several properties served by the Town water system which also have private wells. No private well permits have been issued and no paperwork for well inspections or safe bacteriological samples were available as required by s. NR 810.16, Wis. Adm. Code. | 12/29/2025 | 12/1/2026 |

### Actions Taken

2025 SD1 The Village has the ordinances in place the fee schedule for Private well inspection is being updated and the frequency of well inspection is being updated. As soon the Village has Ordinances and fee schedule and inspection frequency in place. The township will adopt our ordinances fee schedule and inspection frequency. The Township will submit by December 1, 2026, submit completed private well permit requirements for all wells in the service area. The requirements include safe bacteriological samples, inspection reports for compliance with NR 812, and issued permits or, alternatively, proof of well abandonment.

## Additional Notices:

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

Town of Fond du Lac Water District failed to inventory lead service lines, a significant source of lead in drinking water

Our water system recently violated a drinking water requirement. Even though this is not an emergency, as our customers, you have a right to know what happened, what you should do, and what we did (are doing) to correct this situation.

We were required to complete and make publicly accessible a materials inventory of service lines for our distribution system by October 16, 2024. Town of Fond du Lac Water District did not submit an initial inventory of service line materials in our distribution system, indicating which service lines are made of lead, galvanized requiring replacement, unknown, or non-lead materials. Town of Fond du Lac Water District did not complete an adequate initial inventory of service line materials in our distribution system, indicating which service lines are made of lead, galvanized requiring replacement, unknown, or non-lead materials. Town of Fond du Lac Water District did not make our initial inventory of service line materials in our distribution system publicly accessible. Lead can cause serious health problems, especially for pregnant women and young children. Please read this information closely to see what you can do to reduce lead in your drinking water.

What should I do?

Listed below are some steps you can take to reduce your exposure to lead:

- Use your filter properly.  Using a filter can reduce lead in drinking water. If you use a filter, make sure you use a filter certified to remove lead. Read the directions to learn how to properly install and use your cartridge and when to replace it. Using the cartridge after it has expired can make it less effective at removing lead. Do not run hot water through the filter.

- Clean your aerator. Regularly clean your faucet’s screen (also known as an aerator). Sediment, debris, and lead particles can collect in your aerator. If lead particles are caught in the aerator, lead can get into your water.

- Use cold water. Use only cold water for drinking, cooking and making baby formula. Remember, boiling water does not remove lead from water.

- Run your water. The more time water has been sitting in pipes, the more lead it may contain. Before drinking, flush your home’s pipes by running the tap, taking a shower, doing laundry, or doing a load of dishes. The amount of time to run the water will depend on whether your home has a lead service line or not, and the length of the lead service line. Residents should contact their water utility for recommendations about flushing times in their community.

- Learn if you have a lead service line. Find out if the pipe that connects your home to the water main (called a service line) is made from lead.  Ask your water utility or if your utility doesn't have information a licensed plumber may be able to assist. Protect Your Tap: A quick check for lead is EPA's step by step guide to learn how to find lead pipes in your home.

- Learn about construction in your neighborhood.  If you have a lead service line, you should be aware of any nearby construction or maintenance work that could disturb the line. Ground tremors from construction may suddenly cause more lead to be released from a lead service lines in the area.

- Have your water tested. Contact your water utility to have your water tested and to learn more about the lead levels in your drinking water.

What does this mean?

This is not an emergency. If it had been, you would have been notified within 24 hours. Typically, lead enters water supplies by leaching from lead pipes, brass faucets, plumbing with leaded solder, and other plumbing components containing lead. In homes with lead pipes that connect the home to the water main, also known as lead services lines, these pipes are typically the most significant source of lead in the water.  Lead pipes are more likely to be found in older cities and homes built before 1986. Service lines made of galvanized iron or steel that are (or were previously) downstream of lead service lines are classified as galvanized requiring replacement (GRR). Identifying and ultimately removing lead and GRR service lines is an important way to protect public health. To find out about what we are doing to identify and replace lead service lines, please visit https://townoffdl.com/ or contact us at 920-922-3030 and/or clerk@townoffonddulacwi.gov . Among homes without lead service lines, the most common problem is with brass or chrome-plated brass faucets and plumbing with lead solder.

*Exposure to lead in drinking water can cause serious health effects in all age groups. Infants and children can have decreases in IQ and attention span. Lead exposure can lead to new learning and behavior problems or exacerbate existing learning and behavior problems. The children of women who are exposed to lead before or during pregnancy can have increased risk of these adverse health effects. Adults can have increased risks of heart disease, high blood pressure, kidney or nervous system problems.*

What is being done?

We completed the initial service line inventory and have begun making it publicly accessible at https://townoffdl.com/news-notices/.  You should have received a notice explaining how to access the inventory.

For more information, please contact  Terri  Klapperich at 920-922-3030 or clerk@townoffonddulacwi.gov .

For more information on reducing lead exposure around your home/building and the health effects of lead, visit EPA's Web site at http://www.epa.gov/lead or contact your health care provider.

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by Town of Fond du Lac Water District. State Water System ID#: 42004292.

Date distributed: July 11, 2025.

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

Reporting Requirement(s) Not Met for Town of Fond du Lac Water District

Our water system recently violated a drinking water requirement. Although this situation does not create a health risk, as our customers, you have a right to know what happened, what you should do, and what we did (are doing) to correct this situation.

Town of Fond du Lac Water District failed to report to the State’s drinking water program that we completed a materials inventory of service lines in our distribution system. We were required to report this information by October 16, 2024.

Typically, lead enters water supplies by leaching from lead pipes, brass faucets, plumbing with leaded solder, and other plumbing components containing lead. In homes with lead pipes that connect the home to the water main, also known as lead services lines, these pipes are typically the most significant source of lead in the water.  Lead pipes are more likely to be found in older cities and homes built before 1986. Service lines made of galvanized iron or steel that are (or were previously) downstream of lead service lines are classified as galvanized requiring replacement (GRR). Identifying and ultimately removing lead and GRR service lines is an important way to protect public health. To find out about what we are doing to identify and replace lead service lines, please visit https://townoffdl.com/ or contact us at 920-922-3030 and/or clerk@townoffonddulacwi.gov . Among homes without lead service lines, the most common problem is with brass or chrome-plated brass faucets and plumbing with lead solder.

Exposure to lead in drinking water can cause serious health effects in all age groups. Infants and children can have decreases in IQ and attention span. Lead exposure can lead to new learning and behavior problems or exacerbate existing learning and behavior problems. The children of women who are exposed to lead before or during pregnancy can have increased risk of these adverse health effects. Adults can have increased risks of heart disease, high blood pressure, kidney or nervous system problems.

What should I do?

There is nothing you need to do at this time. If a situation arises where the water is no longer safe to drink, you will be notified within 24 hours.

Listed below are some steps you can take to reduce your exposure to lead:

- Use your filter properly.  Using a filter can reduce lead in drinking water. If you use a filter, make sure you use a filter certified to remove lead. Read the directions to learn how to properly install and use your cartridge and when to replace it. Using the cartridge after it has expired can make it less effective at removing lead. Do not run hot water through the filter.

- Clean your aerator. Regularly clean your faucet’s screen (also known as an aerator). Sediment, debris, and lead particles can collect in your aerator. If lead particles are caught in the aerator, lead can get into your water.

- Use cold water. Use only cold water for drinking, cooking and making baby formula. Remember, boiling water does not remove lead from water.

- Run your water. The more time water has been sitting in pipes, the more lead it may contain. Before drinking, flush your home’s pipes by running the tap, taking a shower, doing laundry, or doing a load of dishes. The amount of time to run the water will depend on whether your home has a lead service line or not, and the length of the lead service line. Residents should contact their water utility for recommendations about flushing times in their community.

- Learn if you have a lead service line. Find out if the pipe that connects your home to the water main (called a service line) is made from lead.  Ask your water utility or if your utility doesn't have information a licensed plumber may be able to assist. Protect Your Tap: A quick check for lead is EPA's step by step guide to learn how to find lead pipes in your home.

- Learn about construction in your neighborhood.  If you have a lead service line, you should be aware of any nearby construction or maintenance work that could disturb the line. Ground tremors from construction may suddenly cause more lead to be released from a lead service lines in the area.

- Have your water tested. Contact your water utility to have your water tested and to learn more about the lead levels in your drinking water.

What is being done?

We completed the initial service line inventory and recently submitted it to Wisconsin Department of Natural Resources on December 26, 2024.

We completed the initial service line inventory and have begun making it publicly accessible https://townoffdl.com/news-notices/ . You should have received a notice explaining how to access the inventory.

For more information, please contact Terri Klapperich  at 920-922-3030  or clerk@townoffonddulacwi.gov .

For more information on reducing lead exposure around your home/building and the health effects of lead, visit EPA's Web site at http://www.epa.gov/lead or contact your health care provider.

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by Town of Fond du Lac Water District. State Water System ID#: 42004292.

Date distributed: January 12, 2026.