Septic Hauler Discharge Permit

The City of Mineral Point (City) herby grants to the septic hauler (Hauler) listed below, the right to discharge holding and septic waste into the public sanitary system of the City of Mineral Point, under the following terms and conditions:

- The City will require samples to be taken of every load brought into the City for unloading. All discharging will be at the Wastewater Treatment Plant in the specified area.

- All Haulers will be required to notify the Utility Superintendent when they will be arriving, to verify information. The City will supply paperwork and sampling supplies that each Hauler will need to complete when unloading at the Wastewater Treatment Plant.

- Waste discharging will typically only be allowed Wednesday-Friday during business hours (subject to change).

- The total discharged waste into the public sanitary sewer system of the City of Mineral Point shall not exceed the following:

Holding waste: A maximum limit of 40,000 gallons per day may be accepted (subject to operator discretion). Each individual hauler may not exceed 10,000 gallons per day.

Septic waste: A maximum limit of 20,000 gallons per day may be accepted (subject to operator discretion). Each individual hauler may not exceed 10,000 gallons per day.

- The City will not accept any of the following: grease, gasoline, oil, acid, alkali, rags, volatile or flammable liquids, industrial waste, earth and sand.

- Any person dumping in an unauthorized location or unacceptable waste shall be fined up to $5,000.00 per violation.

- All waste brought into the City of Mineral Point public sanitary sewer system shall not exceed a pollutant concentration of 500 milligrams per liter (mg/L) per day of Biochemical Oxygen Demand (BOD); 500 mg/l per day of Total Suspended Solids (TSS); 225 mg/l of Total Phosphorus (TP); 15 mg/l of Ammonia Nitrogen (NH3-N); and 395 mg/l of Chloride.

The City will enforce the surcharge amount for any discharge exceedances as per section 52.37 of its Sewer Use Ordinance. * ALL CONCENTRATIONS AND LOADING ARE SUBJECT TO CHANGE WITH ANY REVISION OF THE CITY’S WPDES PERMIT.

| BOD5 | $0.70/# BOD 5 |  |
| --- | --- | --- |
| TSS | $0.60/# TSS |  |
| Ammonia nitrogen | $1.50/# NH 3 -N |  |
| Phosphorus | $7.00/# P |  |
| Chloride | $3.00/# Cl |  |
| Plus, the applicable fixed service charge. |  |  |

- Violation of the Sewer Use Ordinance or disruption to the City’s wastewater treatment process or facilities will not be tolerated. Such violations or disruptions to include, but not be limited to, the following: excess chemical discharges, toxic discharges, or any discharges as described in Section 52.37 of the Sewer Use Ordinance. Any violator shall pay a penalty of $5,000.00 per violation or disruption to the City’s Wastewater Treatment Plant process and facilities. Violators will also not be allowed back to discharge waste into the City’s public sanitary sewer system.

- Septic waste charge is $60.00/1000 gallons

- Holding waste charge is $25.00/1000 gallons

- Haulers will be billed each month for holding and/or septic and will be subject to a $15.00 administration fee per month of hauling in the City.

- Any Industrial Hauler disposing of waste must carry and furnish liability insurance in the amount of $100,000.00 to protect any person or property from injury or damage.

- The person disposing of waste agrees to identify and save harmless the City from all liability and claims of damages arising out of or resulting from work and labor performed.

Please sign permit and return to City of Mineral Point City Clerk at the following address or return via email at cityclerk@cityofmineralpointwi.gov and utilities@cityofmineralpointwi.gov.

City of Mineral Point

City Clerk

137 High Street, Suite 1

Mineral Point, WI 53565

I have read and understand the following terms of the permit for The City of Mineral Point.

Company Name:    __________________________

License Number:    __________________________

Name (Print):          __________________________

Signature:                __________________________

Billing Address:       __________________________

__________________________

__________________________