## Instructions
Food Services Preventive Maintenance Calendar | #VALUE!
This calendar is for food service staff to plan and document preventive maintenance for school food infrastructure and equipment. The calendar is divided into tasks that should be completed annually, weekly, and daily. Schools that follow a preventive maintenance schedule can help extend the lifecycles of their equipment, keep staff safe, and proactively identify potential problems.
Next Steps
1. Make a copy of this document for each school food site in your district.
2. Add or delete equipment as needed for your sites. For each site, document the equipment manufacturer, item description, model/serial number, tasks, person responsible for completing each task, date completed, and any relevant notes. We've included examples based on what equipment kitchens may have.
3. Reach out to your TA provider with any questions.

## Annual
Annual Food Services Preventive Maintenance Calendar | [6 empty] | #VALUE!
|  | School Site: |  | School Year:
Equipment Manufacturer | Item Description | Model/ Serial Number | Annual Tasks (complete once per year) | Month | Person Responsible | Date Completed | Notes
Infrastructure
| Hood System |  | 1. Painted hood exterior surfaces should be cleaned with a mild detergent solution. 2. Stainless steel hood exterior surfaces should be cleaned with a mild detergent and then polished with a good grade stainless steel polish to preserve the original luster. Note: Never use abrasive cleaners or chemicals on hood surfaces. Never use chlorine-based cleaners or iron wool pads to clean the hood. They may scratch or tarnish the material. Always rub with the grain of the stainless steel. 3. To maintain optimum performance of your hood and fan, duct cleaning should be performed as often as the application and code require. 4. Recaulk the hoods with an NSF-approved silicone caulk (GE SCS1009 or its equivalent) as needed. 5. Inspect the supply air discharge portion on external supply plenums to ensure the airstream is free from debris or other blockage. | May
Equipment
| Combi Oven |  | 1. Inspect/test - proper draining of the oven cavity. 2. Inspect - all drain lines for leaks or clogs. 3. Inspect - all solenoid hoses (both ends). 4. Inspect - upper browning valve hose. 5. Inspect - Convection element seal (from the electrical compartment). 6. Inspect - oven temperature probe seal. 7. Inspect - product probe. 8. Inspect - oven cavity for any signs of scale buildup. 9. Inspect - oven cavity lamp. 10. Inspect - oven cavity for signs of grease/carbon buildup. 11. Inspect - behind the fan panel inside the oven cavity for signs of grease/carbon buildup 12. Inspect - behind the fan panel inside the oven for signs of scale buildup. 13. Inspect - convection elements for signs of cracking, deformation, or damage. 14. Replace - oven lamp cover(s) & gasket(s). 15. Descale - oven interior. | January
|  |  | 16. Inspect - upper and lower door hinges and pins. 17. Inspect - door gaskets (replace as needed). 18. Inspect - front drip tray (clean as needed). 19. Inspect - control overlay. 20. Inspect and tighten - all electrical connections 21. Inspect and tighten - all cooling fans for proper operation. 22. Inspect and tighten - door hinges, lower hinge pin, and door handle. 23. Review - error code history. 24. Note - software version and update if not current. 25. Record - water pressure (static & dynamic). 26. Record - line voltage across all lines. 27. Record - line voltage to ground on each line. 28. Function test - all components. | January
| Kettle |  | 1. Replace the agitator drive gearbox oil. Use Shell Omala Oil 220 or equivalent. | January
| Burners w/ Oven |  | 1. Check the flue when it is cool to be sure it's free of obstructions. 2. Check all moving parts for wear and lubricate if necessary. 3. Lubricate all valves and controls with high-temperature grease. | January
| Steamers |  | 1. De-lime and de-scale.
| Walk in Cooler |  | If not in use, power off for the summer. 1. Wash all walls. 2. Wash all metro shelving. 3. Sweep and mop the floor. 4. Inspect the compressor. Clean if necessary by using a brush or vacuum cleaner. More frequent cleaning may be required depending on location. 5. Leave the door open to air dry. Only if powered off. | May
| Walk in Freezer |  | If not in use, power off for the summer. 1. Wash all walls. 2. Wash all metro shelving. 3. Sweep and mop the floor. 4. Inspect the compressor. Clean if necessary by using a brush or vacuum cleaner. More frequent cleaning may be required depending on the location. 5. Leave the door open to air dry. Only if powered off. If not powered off for the summer. 1. Remove the metro shelving from the freezer and wash it in the kitchen or outdoors if available. 2. Sweep the floor. 3. Inspect the compressor. Clean if necessary by using a brush or vacuum cleaner. More frequent cleaning may be required depending on the location. | May
| Reach in Cooler |  | If not in use, power off for the summer. 1. Power down for the summer and unplug. 2. Wash, rinse, and sanitize inside and outside of the unit. 3. Wash all racks. 4. Let air dry over the summer. 5. Inspect the compressor. Clean if necessary by using a brush or vacuum cleaner. More frequent cleaning may be required depending on the location. | May
| Reach in Freezer |  | If not in use, power off for the summer. 1. Power down for summer and unplug. 2. Wash, rinse, and sanitize inside and outside of the unit. 3. Wash all racks. 4. Let air dry over the summer. 5. Inspect the compressor. Clean if necessary by using a brush or vacuum cleaner. More frequent cleaning may be required depending on the location.
| Milk Cooler |  | If not in use, power off for the summer. 1. Power down for summer and unplug. 2. Wash, rinse, and sanitize inside and outside of the unit. 3. Wash milk bib holders and drain pan. 4. Let air dry over the summer. 5. Inspect the compressor. Clean if necessary by using a brush or vacuum cleaner. More frequent cleaning may be required depending on the location.
| Ice Machine |  | If not in use, power off for the summer. 1. Clean and sanitize the ice maker and dispenser unit/ice storage bin. 2. Close the Ice Maker water supply line shut-off valve and drain the water system. Clean the water supply inlet screen. 3. Inspect condenser. Clean if necessary by using a brush or vacuum cleaner. More frequent cleaning may be required depending on the location. 4. Inspect the water hoses and clean/replace if necessary.
| Dish Machine |  | 1. De-lime and de-scale. 2. Power down the machine and the booster heater. 3. Remove detergent and sanitizer. Put in chemical storage for summer.
| Salad Bar |  | 1. Wash, rinse, and sanitize the entire salad bar. 2. Wash, rinse, and sanitize ice packs and chillers. 3. Cover and stow ice packs or chillers for summer. 4. Cover and stow the salad bar for the summer.

## Weekly
Weekly Food Services Preventive Maintenance Calendar | [5 empty] | #VALUE!
|  | School Site: |  | School Year:
Equipment Manufacturer | Item Description | Model/ Serial Number | Weekly Tasks | Person Responsible | Date Completed | Notes
Infrastructure
| Hood System |  | 1. Remove the grease filters or cartridges and wash in the dishwasher or pot sink. Note: Filters installed over heavy grease-producing equipment may require more frequent cleaning. 2. Before replacing filters, clean the interior plenum surfaces of any residual grease accumulations.
Equipment
| Blast Chiller |  | 1. Inspect for ice build-up. Should be uniform or non-existent across all coils. If 1/4" or more, check refrigeration system parameters.
| Combi Oven |  | 1. Remove all wire shelves from inside the appliance. 2. Remove the left side rack from the oven cavity. 3. Flip the tabs or loosen the thumb screws on the fan panel to the open position and swing the fan guard cover plate toward the back of the oven. 4. Inspect - Loosen thumb screws to inspect behind the fan panel inside the oven cavity for signs of grease/carbon buildup. 5. Inspect the convection elements for signs of cracking, grease and/or carbon buildup, scale buildup, and any signs of major deformation. 6. Inspect the oven cavity lamp. 7. Inspect oven cavity for signs of grease/carbon buildup. 8. Inspect - Loosen thumb screws to inspect behind the fan panel inside the oven cavity for signs of scale buildup. 9. Clean ventless hood grease filters.
| Convection Oven |  | 1. In addition to the daily cleaning, it may be necessary to clean the air intakes, such as the blower motor, rear cooling fan, and fan guard, on a weekly basis.
| Steamer |  | 1. Inspect the drain screen and the drain line for blockage. 2. Rotate the drain screen 90 degrees to inspect the drain opening. 3. Clean the opening and restore the screen to its operating position. 4. Clean the drain with a USDA-approved drain cleaner. 5. Follow the instructions of the drain cleaner manufacturer. 6. Flush the drain with clean water.
| Walk in Cooler |  | 1. Sweep and mop.
| Walk in Freezer |  | 1. Sweep.
| Milk Cooler/Machine |  | 1. Remove drip tray, plastic nozzles, and bib holders. Wash, rinse, and sanitize. 2. Wash, rinse, and sanitize dispenser openings.
| Dish Machine |  | 1. De-lime and de-scale.
| Hot Service Line |  | 1. Drain. Wash, rinse, and sanitize.
| Cold Service Line |  | 1. Drain. Wash, rinse, and sanitize.
| Insulated Food Totes |  | 1. Wash, rinse, and sanitize.

## Daily
Weekly Food Services Preventive Maintenance Calendar | [5 empty] | #VALUE!
|  | School Site: |  | School Year:
Equipment Manufacturer | Item Description | Model/ Serial Number | Daily Tasks | Person Responsible | Date Completed | Notes
Equipment
| Blast Chiller |  | 1. Inspect for ice build-up. Should be uniform or non-existent across all coils. 2. Clean the outside of the machine.
| Combi Oven |  | 1. Wipe up any spills or crumbs. 2. Wash, rinse, and sanitize the outside of the machine.
| Convection Oven |  | 1. Wipe up any spills or crumbs. 2. Wash, rinse, and sanitize the outside of the machine.
| Steamer |  | 1. Flush and drain with clean water 2. Wash, rinse, and sanitize the outside of the machine.
| Walk in Cooler |  | 1. Sweep and mop.
| Walk in Freezer |  | 1. Sweep.
| Milk Cooler/Machine |  | 1. Wash, rinse, and sanitize the inside and outside of the machine.
| Dish Machine |  | 1. Drain. Wash, rinse, and sanitize. 2. Power down the machine and the booster heater.
| Hot Service Line |  | 1. Drain. Wash, rinse, and sanitize.
| Cold Service Line |  | 1. Drain. Wash, rinse, and sanitize.
| Insulated Food Totes |  | 1. Wash, rinse, and sanitize.
| Salad Bar |  | 1. Wash, rinse, and sanitize the entire salad bar. 2. Wash, rinse, and sanitize ice packs and chillers as needed. 3. Re-freeze ice packs or chillers. 4. Stow salad bar for next service.
Note on D16: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Rachel fill in