NPCC REGIONAL STANDARDS COMMITTEE

AGENDA FOR MEETING #20-3

August 17, 2020 2:00 p.m. – 4:00 p.m. EST WebEx Meeting

Dial-In: 415-655-0003 (USA) / 416-915-6530 (Canada)

Guest Code: 1713701154

Password: g3H3FUmya2? (43433869 from phones and video systems)

For Reference:

Glossary of Terms Used in NERC Reliability Standards, dated June 2, 2020

NPCC Glossary of Terms, dated October 2, 2019

|  | Name | Organization | Sector(s) | Day(s) |
| --- | --- | --- | --- | --- |
| 1. | Guy Zito | Northeast Power Coordinating Council |  | 1 |
| 2. | Gerry Dunbar | Northeast Power Coordinating Council |  | 1 |
| 3. | Ruida Shu | Northeast Power Coordinating Council |  | 1 |
| 4. | Kal Ayoub | FERC | Guest | 1 |
| 5. | Allen Schriver | Proxy for NextEra Energy, LLC | 4 | 1 |
| 6. | Avani Pandya | Consolidated Edison Co. of New York, Inc. | 4 | 1 |
| 7. | Brian Robinson | Utility Services, Inc. | 5 | 1 |
| 8. | Chantal Mazza | Hydro Quebec | 2 | 1 |
| 9. | Chris Moir | Ontario Power Generation | Guest | 1 |
| 10. | Cristhian Godoy | Consolidated Edison Co. of New York, Inc. | 5 | 1 |
| 11. | Dave Kwan | Ontario Power Generation | 4 | 1 |
| 12. | David Burke | Orange and Rockland | 3 | 1 |
| 13. | David Kiguel | Independent | 7 | 1 |
| 14. | Donald Nelson | Mass DPU | Guest | 1 |
| 13. | Erick Barrios |  | Guest | 1 |
| 14. | Herb Schrayshuen | Power Advisors, LLC | Guest | 1 |
| 15. | Jim Grant | NYISO | 2 | 1 |
| 16. | John Pearson | ISO-NE | 2 | 1 |
| 17. | Kurtis Chong | IESO | Guest | 1 |
| 18. | Mike Jones | National Grid | 3 | 1 |
| 19. | Mike Ridolfino | Central Hudson Gas and Electric | 1 | 1 |
| 20. | Michele Tondalo | UI | 1 | 1 |
| 21. | Nicolas Turcotte | Hydro Quebec |  |  |
| 22. | Nurul Abser | New Brunswick Power Corporation | 1 | 1 |
| 23. | Payam Farahbakhsh | Hydro One Networks | 1 | 1 |
| 24. | Quintin Lee | Eversource | 1 | 1 |
| 25. | Salvatore Spagnolo | NYPA | 4 | 1 |
| 26. | Tim Kucey | PSEG | 4 | 1 |
| 27. | Vijay Puran | New York State Department of Public Service | 6 | 1 |
| 28. | Norm Dang | IESO | Guest | 1 |
| 29. | David Lemmons | Cooper Compliance | Guest | 1 |
| 30. | Tony Hall | Project 2018-04 Drafting Team Member | Guest | 1 |
| 31. | Giannuzzi Giuseppe | Hydro Quebec | Guest | 1 |
| 32. | Matt Harward | SPP | Guest | 1 |

Introductions and Chair’s Remarks- COVID-19, NERC and FERC

Guy Zito provided an update on the NERC, FERC, NARUC and how entities are responding to

COVID-19.

Guy Zito provided a brief update on Hurricane Isaias and how it impacted the Northeast region.

The NERC Board of Trustees approved the NPCC Regional Standards Processes Manual and it

will be filed with the FERC.

NPCC Antitrust Compliance Guidelines

The NPCC Antitrust Compliance Guidelines were read by Ruida Shu.

Agenda Items:

- Review of Agenda

Guy Zito reviewed the meeting agenda and since it is a two-hour meeting, we will be focusing our efforts on the status of NERC projects and NPCC non-standard activities.

- RSC Meeting Minutes (Approval Item)

Approval of Agenda-No revision is necessary to the draft RSC meeting agenda.

Mike Jones made the motion for approval.

Quintin Lee seconded the motion.

The meeting agenda were approved as read.

- Items Requiring RSC Discussion

  - NPCC DER Guidance Revision

Five sets of comments received during the comment period.  NPCC will be compiling the comments and using the same group that participated in the development of the first draft of Version 2 to consider the comments submitted.  Additional volunteers to help with revising the draft were solicited.

  - DER Forum for October, Topics

We will have presenters from NY-ISO and ISO-NE to share their interconnection practices. Also EPRI will be making a presentation on Effective Grounding of DER installations and the Task Force on System Protection will have a member present on protection challenges related to increased amounts of DER on the distribution feeders

  - FERC and NPCC Redesigned Websites

FERC and NPCC have redesigned their websites.  FERC’s website has undergone major changes.  NPCC has been working with FERC to navigate through the new design.

In addition, NPCC updated its website and may be accessed at www.npcc.org . The old website can still be accessed through http://old.npcc.org/default.aspx.  Instructions to access the new website will be sent out to the NPCC Members soon. Two-factor authentication will continue to be required to access the Member portion of the website.  The old website will be available to the public until September 14, 2020, however will be kept available to Staff for some time thereafter as the new website is implemented and reviewed for completeness and quality.

  - PURPA and FERC Order 872

Guy Zito summarized the Order and materials that were in the package.  There are a number of important changes that will have an impact on deployment of renewables, determination of costs associated with Qualifying Facilities (“QFs”)and changes to rules pertaining to thresholds of QF units, the one-mile rule, and allowances for adjustments to market rates paid to QFs.

- NERC Reliability Standards
http://www.nerc.com/pa/Stand/Pages/Standards-Under-Development.aspx

  - Currently Posted Projects

| Project | Comment Period End Date | Ballot Period End Date |
| --- | --- | --- |
| Project 2015-09 Establish and Communicate System Operating Limits Dean Laforest from ISO-NE @ 4:00 PM NC | 8/3/20 (F) | 8/3/20 (I/A) |
| Project 2016-02 Modifications to CIP Standards Norm Dang from IESO @ 2:30 PM | 12/16/19 (F) | 4/6/20 (F) |
| Project 2017-01 Modifications to BAL-003-1.1 David Lemmons from Cooper Compliance @ 3:00 PM | 4/17/19 (I) | 10/24/19 (F) |
| Project 2019-02 BES Cyber System Information Access Management William Vesely from Con Edison @ 3:30 PM | 9/21/20 (F) | 9/21/20 (A) |
| Project 2019-03 Cyber Security Supply Chain Risks Tony Hall from DT @ 2:45 PM | 9/10/20 (F) | 9/10/20 (A) |
| Project 2019-04 Modifications to PRC-005-6 Chantal Mazza will update on behalf of Giannuzzi Giuseppe | 7/8/20 (F) |  |
| Project 2019-05 Modifications to PER-003-2 Project is currently on hold pending action from PCGC | 8/30/19 (I) |  |
| Project 2019-06 Cold Weather Matthew Harward or Venona Greaff @ 3:15 PM | 5/21/20 (F) |  |
| Technical Rationale for Reliability Standards Al McMeekin is not available | 4/20/20 (I) | 4/20/20 (I) |
| Project 2020-01 Modifications to MOD-032-1 SAR | 4/24/20 (I) |  |
| Project 2020-02 Transmission-connected Dynamic Reactive Resources SAR | 5/13/20 (I) |  |
| Project 2020-03 Supply Chain Low Impact Revisions SAR | 6/3/20 (I) |  |
| Project 2020-04 Modifications to CIP-012 SAR | 6/11/20 (I) |  |
| Comments: (I) – Informal; (F) – Formal; (N) – Nomination Period Ballots: (I) – Initial; (A) – Additional; (F) – Final |  |  |

Project 2016-02 Modifications to CIP Standards:

Project 2019-03 SDT (Supply Chain EACMS/PACS) will be making changes to CIP-005-6, CIP-010-3, and CIP-013-1 (leaving EACMS). This project has priority due to a FERC submission deadline of December 26, 2020.

Project 2019-02 SDT (BCSI in Cloud) is working on making changes to CIP-004-6 and CIP-011-2. (leaving EACMS)

Project 2016-02 SDT will not post until the other SDTs go through their final posting. (Now tentative January/February 20201)

CIP-002-6 is adopted by NERC BOT on May 14, 2020, and it is submitted a petition to FERC for approval on June 12, 2020.

Further needed work for CIP-002 – update of “Planned and Unplanned changes” language as well as to fix other issues that are outside the existing CIP-002 SAR.

Project 2016-02 will be having a virtualization industry workshop on September 30, 2020.

Hardware and software reduction/network access control/automation of compliance/evidence mini webinars are to be announced.

The virtualization industry workshop will introduce the proposed virtualization requirements language for CIP-005, CIP-007, and CIP-10.

Solicit informal feedback from entities on the proposed requirements language.

SDT will also be using a web-based application called “SLIDO” to solicit near real-time feedback from participants during the workshop.

Participants will be able to submit questions.

The workshop will take sample assets through the proposed virtualization requirements language.

Project 2019-03 Cyber Security Supply Chain Risks:

The project is posted for a ballot for the third time.

EACMS and PACS are being added.

There is a complication in regards to EACMS to monitor another EACMS.

The drafting team believes this was fixed between version 2 and version 3 of the draft.

The drafting team reverted the standard back to the approved standard and added two new requirements (3.1 and 3.2) in regards to EACMS.

Provided a method to filter the authenticated vendor access.

Have a way to terminate that access once it is granted.

The drafting team did not make any changes to CIP-010 from the 2nd posting to the 3rd posting.

Minor changes were made to CIP-013 on remote access.

Project 2017-01 Modification to BAL-003-1.1:

The project is being done with two phases.

Phase 1 is more administrative.

FERC approved the Phase 1 standard, BAL-003-2 in July, set to become effective December 1, 2020.

The drafting team is drafting a white paper for discussion and it is targeted to be completed by October of 2020.

The white paper will provide justifications for the proposed requirement.

The white paper will be posted for comments later this year.

Project 2019-06 Cold Weather SAR:

The drafting team met in the middle of July 2020 to review all the comments.

Made some changes to the SAR based on the comments.

First leg: Winter preparation plan for GO and GOP such as cold weather preparation,

Operating limitations in cold weather, protection measures, maintenance plans, and fuel

supply, etc.

Second leg: Communication piece:

The GO will provide associated design spec and operating limitations communication.

Based on the weather, GO will provide the data so BA can conduct a study based on the

data for contingency.

The drafting will look into the existing data standards and maybe modify the existing

standard to address the communication piece of the concern.

The drafting team is finalizing the comment responses and they are also doing industry

outreach.

Project 2019-02 BES Cyber System Information Access Management:

The project is currently posted for an additional comment period until September 21, 2020.

There will be an industry webinar on August 19, 2020.

SDT is directionally moving towards restoring all BCSI-access-control-related requirements in CIP-004-7 under a single requirement. (Requirement R6)

Clarifying the intent of the BCSI vendor risk assessment as a security and technical control method related to the vendor’s services and not the vendor.

Broadening the key management requirement to “electronic technical mechanisms to protect BCSI” and moving this new requirement under R1.

Clarifying the applicability to, “When the Responsible Entity engages vendor services to store, utilize, or analyze BCSI, …”

Reverting back to “Method(s)” when changed to “Procedure(s)” or “Process(es)” and removing PCA as applicable.

The SDT is proposing an 18-month implementation period, which provides Responsible Entities to address various issues.

Project 2019-04 Modifications to PRC-005-6:

The drafting team received many comments from the industry.

The plan is to schedule a meeting to review and respond to all the comments.

Comments received on Protection function within the AVR, the addition of other control systems and battery technologies.

There is also a comment that suggests addressing battery storage maintenance.

Project 2015-09 Establish and Communicate System Operating Limits:

The ballot for the latest FAC posting was extended to August 26, 2020.

It was extended due to multiple posted standards failing to achieve quorum.

The SDT has public meetings this week (August 20, 2020) and next week (August 26, 2020) to discuss comments received to date on the posting.

The SDT will act shortly on the posting results and comments, and act accordingly.

  - Ballot History (Since last RSC Meeting)

  - Comment Form History (Since last RSC Meeting)

- NPCC Non-Standards
https://www.npcc.org/Standards/SitePages/NonStandardsList.aspx

  - Items for Discussion

    - Directory#7 Status of Comment Review

TFCP and TFSP continue the comprehensive review of D#7 in order to ensure that the criteria is consistent with PRC -012 which becomes enforceable on Jan. 1, 2021.

A revised version of Directory #7 was posted to the Open Process in mid -May and the Task Forces are currently reviewing comments.

A second Open Process posting is anticipated in late August and TFCP anticipates approval of the document in December 2020.

    - Directory#1 A-10 Conforming Changes Status of Comment Review

Conforming changes to Directory#1 to highlight the exclusion process recently approved within the A-10 and the retirement NPCC Procedure document C-33 were posted to the Open Process in mid-May.

TFCP and the TFCO have responded to the submitted comments and have approved the conforming changes and the revised document is on the September RCC Agenda for approval.

    - Directory#8 Clarification Status

The TFCO has rendered a clarification on the applicability of the D#8 criteria to Control Centers and Telecommunication Centers.

The clarification was posted to the Open Process and TFCO approved the clarification at their August meeting.

The clarification will be on the September RCC agenda for final approval and archived on the NPCC website in accordance with the Directory Manual.

    - DER and NPCC Criteria

Mr. Dunbar highlighted opportunities to utilize the NPCC criteria to address DER related reliability concerns since these resources are generally outside the scope of NERC standards.

Mr. Zito noted that he will request the NPCC Task Forces to consider strategic opportunities to consider the impact of DER during the Task Force reviews of their Directories.

    - Executive Tracking Summary

  - Items for Approval

Directory Manual – a draft revision to include language for the Expedited Posting of C Procedure documents was presented to the RSC.

Upon RSC approval the Directory Manual will be posted to the Open Process to consider comments on the subject language.

Jim Grant made the motion to post the revised Directory Manual to the Open Process.

Chantal Mazza seconded the motion.

The motion to post the revised Directory Manual to the Open Process was approved.

- RSC Member Items of Interest

  - RSC Roster

- Standards Activity Post NERC BOT Approval
(Since last RSC Meeting)

  - NERC Filings to FERC
http://www.nerc.com/FilingsOrders/Pages/default.aspx

  - FERC Orders / Rules

http://www.nerc.com/FilingsOrders/Pages/default.aspx

  - Federal Register
https://www.federalregister.gov/

  - FERC Sunshine Act Meeting Notice

  - FERC Open Meeting Summaries

- NERC Meetings

  - Standards Committee (SC)
http://www.nerc.com/comm/SC/Pages/default.aspx

| January 22nd – Call | February 19th – Call | March 19th – Atlanta GA (NERC) |
| --- | --- | --- |
| April 22nd – Call | May 20th – Call | June 17th – Denver, CO (Xcel Energy) |
| July 22nd – Call | August 19th – Call | September 24th – Conference Call |
| October 21st – Call | November 19th – Call | December 9th – Conference Call |

  - Board of Trustees (BOT) Meeting
http://www.nerc.com/gov/bot/Pages/Agenda-Highlights-and-Minutes-.aspx

| February 5-6 - Meeting | May 13-14 - Meeting | August 19-20 – Conference Call |
| --- | --- | --- |
| November 4-5 – Conference Call |  |  |

- NERC Items of Interest (Since last RSC Meeting)

  - Lessons Learned
http://www.nerc.com/pa/rrm/ea/Pages/Lessons-Learned.aspx

    - There have been five new Lesson Learned issued since the last RSC meeting.

  - Alerts

http://www.nerc.com/pa/rrm/bpsa/Pages/Alerts.aspx

There has been one new NERC Alerts released since the last RSC meeting.

  - NERC Reliability and Security Guidelines

https://www.nerc.com/comm/Pages/Reliability-and-Security-Guidelines.aspx

  - NERC Rules of Procedure

https://www.nerc.com/AboutNERC/Pages/Rules-of-Procedure.aspx

- Other Items of Interest

  - NPCC Board of Directors Meeting (BOD) 2020

| January 29th – SGR Law Offices, Jacksonville, FL | March 18th - Call | May 6th – NPCC Office |
| --- | --- | --- |
| June 3rd – Call | June 24th – Conference Call | August 12th – Call |
| September 2nd and 3rd – Conference Call | October 28th – Call | December 2nd – Conference Call |

  - NPCC 2021 Business Plan and Budget Schedule

  - Executive Order on Securing the United States Bulk-Power System

- Future RSC Meetings and Conference Calls

  - RSC 2020 Meeting Date

February 12th-13th, NPCC Office at New York NY

May 13th-14th, WebEx

August 17th WebEx

# October 14th-15th, WebEx

# December 3rd WebEx

# The Meeting is adjourned at 4:15 PM on August 17, 2020.

# Northeast Power Coordinating Council, Inc. (NPCC)

# Antitrust Compliance Guidelines

# It is NPCC’s policy and practice to obey the antitrust laws and to avoid all conduct that unreasonably restrains competition. The antitrust laws make it important that meeting participants avoid discussion of topics that could result in charges of anti-competitive behavior, including: restraint of trade and conspiracies to monopolize, unfair or deceptive business acts or practices, price discrimination, division of markets, allocation of production, imposition of boycotts, exclusive dealing arrangements, and any other activity that unreasonably restrains competition.

# It is the responsibility of every NPCC participant and employee who may in any way affect NPCC’s compliance with the antitrust laws to carry out this commitment.

# Participants in NPCC activities (including those participating in its committees, task forces and subgroups) should refrain from discussing the following throughout any meeting or during any breaks (including NPCC meetings, conference calls and informal discussions):

# Industry-related topics considered sensitive or market intelligence in nature that are outside of their committee’s scope or assignment, or the published agenda for the meeting;

# Their company’s prices for products or services, or prices charged by their competitors;

# Costs, discounts, terms of sale, profit margins or anything else that might affect prices;

# The resale prices their customers should charge for products they sell them;

# Allocating markets, customers, territories or products with their competitors;

# Limiting production;

# Whether or not to deal with any company; and

# Any competitively sensitive information concerning their company or a competitor.

# Any decisions or actions by NPCC as a result of such meetings will only be taken in the interest of promoting and maintaining the reliability and adequacy of the bulk power system.

# Any NPCC meeting participant or employee who is uncertain about the legal ramifications of a particular course of conduct or who has doubts or concerns about whether NPCC’s antitrust compliance policy is implicated in any situation should call NPCC’s Assistant Secretary, Ruta Skučas, Esq. at 1-202-530-6428.

Public Announcement

RSC and DER Forum Meetings, WebEx, and Conference calls:

Participants are reminded that this meeting, WebEx, and conference call are public. The access number was posted on the NPCC website and widely distributed. Speakers on the call should keep in mind that the listening audience may include members of the press and representatives of various governmental authorities, in addition to the expected participation by industry stakeholders.