NPCC REGIONAL STANDARDS COMMITTEE

AGENDA FOR MEETING #21-4

October 13, 2021, 12:00 p.m. – 4:00 p.m. EDT WebEx Meeting

DER VER Forum October 14, 2021, 9:00 a.m. – 12:00 p.m. EDT WebEx Meeting

Dial-In: 415-655-0003 (USA) / 416-915-6530 (Canada)

Day 1 - RSC Business:                                                                 Day 2 - DER VER Forum:

Guest Code: 24361880834				        Guest Code: 24210041681

Password: AYk7d3YeH5* (29573393 from phone)	        Password: E4ciP5ara$4 (34247527 from phone)

WebEx Link                                                                              WebEx Link

For Reference:

Glossary of Terms Used in NERC Reliability Standards, dated June 28, 2021

NPCC Glossary of Terms, dated October 2, 2019

Attendance:

|  | Name | Organization | Sector(s) | Day(s) |
| --- | --- | --- | --- | --- |
| 1. | Gerry Dunbar | Northeast Power Coordinating Council |  | 1 |
| 2. | Ruida Shu | Northeast Power Coordinating Council |  | 1 |
| 3. | Kal Ayoub | FERC | Guest | 1 |
| 4. | Brian Robinson | Utility Services, Inc. | 5 | 1 |
| 5. | Chantal Mazza | Hydro Quebec | 2 | 1 |
| 6. | Constantin Chitescu | Ontario Power Generation | 4 | 1 |
| 7. | Cristhian Godoy | Consolidated Edison Co. of New York, Inc. | 5 | 1 |
| 8. | Dan Kopin | VELCO | Guest | 1 |
| 9. | Dave Kwan | Ontario Power Generation | 4 | 1 |
| 10. | David Burke | Orange and Rockland | 3 | 1 |
| 11. | David Kiguel | Independent | 7 | 1 |
| 12. | Donald Nelson | Mass DPU | Guest | 1 |
| 13. | Herb Schrayshuen | Power Advisors, LLC | Guest | 1 |
| 14. | Joel Charlebois | AESI | 7 | 1 |
| 15. | John Pearson | ISO-NE | 2 | 1 |
| 16. | Lodie White | FERC | Guest | 1 |
| 17. | Michael Foley | Con Edison | 4 | 1 |
| 18. | Mike Ridolfino | Central Hudson Gas and Electric | 1 | 1 |
| 19. | Michele Shafer | The United Illuminating Company | 1 | 1 |
| 20. | Michael Tondalo | The United Illuminating Company | 1 | 1 |
| 21. | Michael Jones | National Grid | 3 | 1 |
| 22. | Payam Farahbakhsh | Hydro One Networks | 1 | 1 |
| 23. | Quintin Lee | Eversource | 1 | 1 |
| 24. | Rob Vance | New Brunswick Power | 1 | 1 |
| 25. | Sarat Chakravadhanula | Eversource | Guest | 1 |
| 26. | Salvatore Spagnolo | NYPA | 4 | 1 |
| 27. | Sean Bodkin | Dominion | 4 | 1 |
| 28. | Sean Lagan | IESO | 2 | 1 |
| 29. | Siobhan Keane-Revie | Orange and Rockland | 3 | 1 |
| 30. | Timothy Kucey | PSEG | 4 | 1 |
| 31. | Vijay Puran | NYDPS | Guest | 1 |
| 32. | Norm Dang | IESO | Guest | 1 |
| 33. | David Lemmons | Cooper Compliance | Guest | 1 |
| 34. | Giuseppe Giannuzzi | Hydro Quebec | Guest | 1 |
| 35. | Tony Hall | LGE-KU | Guest | 1 |
| 36. | Jodi Jensen | WAPA | Guest | 1 |
| 37. | Latrice Harkness | NERC | Guest | 1 |

Introductions and Chair’s Remarks

Gerry Dunbar provided some opening remarks on the NERC standards activities.

NPCC Antitrust Compliance Guidelines

The NPCC Antitrust Compliance Guidelines were read by Ruida Shu.

Agenda Items:

- Review of Agenda

Gerry Dunbar reviewed the meeting agenda with the group and pointed out that two items have been added to the meeting agenda. (3.4 and 3.5)

- RSC Meeting Minutes (Approval Item)

Approval of the August 11, 2021, meeting minutes – No revision is necessary to the draft RSC meeting minutes that were provided in the agenda package.

Quintin Lee made the motion for approval.

Sean Bodkin seconded the motion.

The August 11, 2021, RSC meeting minutes were approved.

- Items Requiring RSC Discussion/Approval

  - NPCC DER Guidance Revision (Discussion)

Ruida Shu provided an update on the NPCC DER Guidance Revision with the RSC.

The goal is to have version 3 of the NPCC DER Guidance document ready for RSC endorsement to post prior to the next RSC meeting.

Once the document is endorsed by the RSC, Ruida Shu will post the document for industry comment.

  - FERC Activities (Discussion)

Kal Ayoub presented on the recent FERC activities.

He reviewed the recent reliability orders, the Joint FERC/NERC staff review of the 2021 Cold Weather Events, the commission-led Reliability Conference, and the 2021 report on commission-led CIP audits.

  - DER Reporting Form Submission by Power Advisors, LLC (Discussion)

Herb Schrayshuen reviewed the document he submitted regarding the concerns on DER penetration and its impact on the UFLS.

Action Item: Gerry Dunbar will contact TFSS and NERC regarding this concern and provide the DER Reporting Form if necessary.

  - NPCC Corporate Goal II-2 (Discussion)

Gerry Dunbar reviewed the draft document for NPCC Corporate Goal II-2 with RSC members.

  - RSC Vice Chair Elections (Approval Item)

Approval of the RSC Vice Chair Elections for Mr. Mike Jones and Mr. Quintin Lee.

Constantin made the motion for approval.

Sean Lagan seconded the motion.

Mr. Mike Jones and Mr. Quintin Lee are approved for the RSC Vice-Chair for the next two years.

- NERC Reliability Standards
http://www.nerc.com/pa/Stand/Pages/Standards-Under-Development.aspx

  - Currently Posted Projects

| Project | Comment Period End Date | Ballot Period End Date |
| --- | --- | --- |
| Project 2016-02 Modifications to CIP Standards Norm Dang from IESO @ 1:00 PM | 9/1/21 (F) | 9/1/21 (A) |
| Project 2017-01 Modifications to BAL-003-1.1 David Lemmons from Cooper Compliance @ 1:15 PM | 4/27/21 (I) | 10/24/19 (F) |
| Project 2019-04 Modifications to PRC-005-6 Giuseppe Giannuzzi from BBA @ 1:30 PM | 8/25/21 (F) |  |
| Project 2020-03 Supply Chain Low Impact Revisions Tony Hall @ 1:45 PM | 10/11/21 (F) | 10/11/21 (I) |
| Project 2020-04 Modifications to CIP-012 Jodi Jensen from WAPA @ 2:00 PM | 6/9/21 (F) |  |
| Project 2020-05 Modifications to FAC-001-3 and FAC-002-2 SAR Latrice Harkness @ 2:15 PM | 12/11/20 (I) |  |
| Project 2020-06 Verifications of Models and Data for Generators | 1/14/21 (I) |  |
| Project 2021-01 Modifications to MOD-025 and PRC-019 | 4/2/21 (I) |  |
| Project 2021-02 Modifications to VAR-002 | 5/13/21 (I) |  |
| Project 2021-03 CIP-002 Transmission Owner Control Centers |  |  |
| Project 2021-04 Modifications to PRC-002-2 | 7/13/21 (F) |  |
| Project 2021-05 Modifications to PRC-023 | 7/28/21 (I) |  |
| Project 2021-06 Modifications to IRO-010 and TOP-003 | 8/6/21 (I) |  |
| Comments: (I) – Informal; (F) – Formal; (N) – Nomination Period Ballots: (I) – Initial; (A) – Additional; (F) – Final |  |  |

Project 2016-02 Modifications to CIP Standards:

Norm Dang from IESO presented on Project 2016-02.

Ballot 2 results are worse than ballot 1.

Ballot 2 comment summary: The return of the Electronic Security Perimeter and its expansion to include the zero-trust concept was well received. A large number of negative responses were due to the proposed definitions which are used throughout the CIP Standards. These require more work, in particular: Shared Cyber Infrastructure (confusion on what is “identified” vs “supporting”), Management Interface (the administrative function vs. the devices used during administration), External Routable Connectivity (“external to the asset” does not provide enough granularity) The External Routable Connectivity (ERC) and Interactive Remote Access (IRA) concepts need reworking and the concepts of CIP-010 change management (proposed) vs. baseline management (existing needs reworking.

SDT proposed the following changes for the next ballot: Rework/simplify the proposed definitions to add additional clarity, in particular Shared Cyber Infrastructure, Management Interface, External Routable Connectivity, Interactive Remote Access. Rework the proposed requirement changes for External Routable Connectivity and Interactive Remote Access. Reexamine the CIP-010 proposed concept of change management and possibly revert back to the existing baseline management concept.

The plan is to do round 3 of the ballot in late November 2021 with a final ballot mid to late January 2022 so BOT adoption in February 2022.

Project 2017-01 Modifications to BAL-003-1.1:

The team is in the process of adding additional entities to the applicability in the white paper.

Based on the feedback, there is a need to add more requirements.

There is a concern regarding only meeting the requirement for six months.

The second requirement is for the GO to notify the BA of their frequency response capability.

There is a lot of effort being put in for the clarity of the requirement.

Don’t want to overwhelm the BA with notifications from GO.

The drafting team is trying to remove the requirement that uses a specific spreadsheet.

Easier to deal with administrative efforts.

Project 2019-04 Modifications to PRC-005-6:

The last comment period ended on August 25, 2021.

The SAR drafting team addressed the comments, and the responses are posted on the NERC website.

The SAR drafting team did not make significant changes to the SAR but added some footnotes to clarify the SAR drafting team’s intent.

The SAR will be presented at the next SC committee meeting for endorsement to move forward with the project.

The SAR drafting team added the term “control system”.

Project 2020-03 Supply Chain Low Impact Revisions:

The ballot and comments just concluded on October 11, 2021.

The drafting team received several hundred pages of comments.

The industry is concerned regarding the 6.2 malicious communication around the low-impact asset.

The other industry concern is regarding vendor remote access. (Access control or single-way data feed).

The vendor is involved with the warrantee of the equipment.

What is interactive remote access for low-impact assets? (Looking for clarity)

The drafting team scheduled a meeting for next week to review the comments.

Project 2020-04 Modifications to CIP-012:

Jodi A. Jensen from WAP presented on Project 2020-04.

This project came from FERC Order 866 and the first ballot failed.

The concerns with the initial draft: Inconsistent with the language in the other requirements, not risk-based, redundant with TOP and IRO availability requirements, protecting links does not protect data, CIP-002-5.1a does not allow redundancy, availability definition, circuits/systems are often out of an entity’s control, in scope “Real-time assessment and real-time monitoring” data, R2.3 is redundant due to the other entities Control Centers in the scope of R2, and endpoints like ICCP servers in scope?

The current draft is still being modified.

The plan is to have the second posting in October 2021 and a third ballot in February 2022 if needed so it can be presented to the NERC BOT in May 2022.

Project 2020-05 Modifications to FAC-001-3 and FAC-002-2:

SAR 2020-05, the team has completed the initial revisions to standards for this project. The team has modified the term "materially modified" and other variations to qualified change which will be defined by the planning coordinator per FAC-001 new R6. The team is working to seek approval for an initial ballot at the November SC meeting.

Project 2020-06 Verifications of Models and Data for Generators:

SARs were accepted by the SC on July 21, 2021. Please look out for a formal NERC announcement for a Standard Drafting Team meeting to start revisions.

Project 2021-01 Modifications to MOD-025 and PRC-019 SAR:

DT was appointed at the July SC meeting. The team met on October 11 to review industry comment. Please look out for a formal NERC announcement for the next meeting

Project 2021-02 Modifications to VAR-002-4.1 SAR DT was appointed at the July SC meeting. Looking to schedule a meeting for week of October 25 if schedules work.

Project 2021-03 CIP-002 Transmission Owner Control Centers:

The DT developed a TOCC CIP-002 project plan, which outlines and overview of the field test, the project schedule, what entities would be applicable to participate in the field test, and a questionnaire that would be provided to entities involved in the field test. The field test plan has been sent to the RSTC for approval. If approved, the next steps would be to seek approval from the Standards Committee to move forward with the field test plan as outlined.

2021-04 Modifications to PRC-002-2

The SAR drafting team was appointed at the September SC. A meeting is scheduled for October 21. Please look out for a formal NERC announcement for the next meeting.

2021-05 Modifications to PRC-023

The SAR drafting team was appointed at the September SC, October 25 Kick-off meeting. Please look out for a formal NERC announcement for the next meeting.

2021-06 Modifications to IRO-010 and TOP-003:

The SAR drafting team was appointed at the September SC meeting. Please look out for a formal NERC announcement for the next meeting

  - Ballot History (Since last RSC Meeting)

Ruida Shu reviewed the Ballot History document in the meeting.

  - Comment Form History (Since last RSC Meeting)

Ruida Shu reviewed the Comment Form History document in the meeting.

- NPCC Non-Standards
https://www.npcc.org/Standards/SitePages/NonStandardsList.aspx

  - Items for Discussion

    - Directory#1 Design and Operation of the BPS --- Jt. Planning/Ops Review

Work continues regarding the review of Directory #1 in accordance with the TFCP Scope of Work. Directory #1 Working Group has been divided into three subgroups to make concurrent progress on multiple Scope attributes. Working Group is meeting every other week while the subgroups meet during the week that the Working Group does not meet. Review topics include: 1) DER/VER integration 2) Alignment of criteria in Table 1 and 3 with NERC Standards #) When is a RAS not permissible. Posting not anticipated until 2nd Qtr. 2022.

    - Directory#12 UFLS --- Retirement

Directory #12 retired effective October 1, 2021, to coincide with the enforcement date of all PRC -006-NPCC-2 requirements in all NPCC jurisdictions.

    - Directory#11 Disturbance Monitoring --- TFSP Review

Open Process posting concluded on October 16, 2021. TFSP considering comments.

    - Directory#8 System Restoration --- TFCO Review

TFCO Restoration Working Group (CO-11) currently reviewing document. Anticipate posting early 2022.

    - Executive Tracking Summary

- RSC Member Items of Interest

  - RSC Roster

Ruida Shu reviewed the current RSC roster with the group.

- Standards Activity Post NERC BOT Approval
(Since last RSC Meeting)

  - NERC Filings to FERC
http://www.nerc.com/FilingsOrders/Pages/default.aspx

  - FERC Orders / Rules

http://www.nerc.com/FilingsOrders/Pages/default.aspx

  - Federal Register
https://www.federalregister.gov/

  - FERC Sunshine Act Meeting Notice

  - FERC Open Meeting Summaries

- NERC Meetings

  - Standards Committee (SC)
http://www.nerc.com/comm/SC/Pages/default.aspx

| January 20th – Call | February 17th – Call | March 17th – Call |
| --- | --- | --- |
| April 21st – Call | May 19th – Call | June 16th – Denver, CO (Xcel Energy) |
| July 21st – Call | August 18th – Call | September 23rd – Salt Lake City, UT (WECC) |
| October 20th – Call | November 17th – Call | December 15th – Atlanta, GA (NERC) |

  - Board of Trustees (BOT) Meeting
http://www.nerc.com/gov/bot/Pages/Agenda-Highlights-and-Minutes-.aspx

| February 5-6 - Meeting | May 13-14 - Meeting | August 19-20 – Conference Call |
| --- | --- | --- |
| November 4-5 – Conference Call |  |  |

- NERC Items of Interest (Since last RSC Meeting)

  - Lessons Learned
http://www.nerc.com/pa/rrm/ea/Pages/Lessons-Learned.aspx

    - There has been no new Lesson Learned issued since the last RSC meeting.

  - Alerts

http://www.nerc.com/pa/rrm/bpsa/Pages/Alerts.aspx

There has been one new NERC Alerts released since the last RSC meeting.

  - NERC Reliability and Security Guidelines

https://www.nerc.com/comm/Pages/Reliability-and-Security-Guidelines.aspx

  - NERC Rules of Procedure

https://www.nerc.com/AboutNERC/Pages/Rules-of-Procedure.aspx

- Other Items of Interest

  - NPCC Board of Directors Meeting (BOD) 2021

| January 27th – SGR Law Offices, Jacksonville, FL | March 17th - Call | May 5th – NPCC Office |
| --- | --- | --- |
| June 2nd – Call | June 23rd – NPCC Office | August 4th – Call |
| September 1st and 2nd – Pierce Atwood | October 27th – Call | December 1st – Halifax, NS |

- Future RSC Meetings and Conference Calls

  - RSC 2021 Meeting Dates

February 10th-11th, WebEx

May 12th-13th, WebEx

August 11th WebEx

# October 13th-14th WebEx

# December 2nd General Meeting or WebEx

# The meeting is adjourned at 3:53 PM on October 13, 2021.

# Day Two RSC Meeting – DER VER Forum:

# October 14, 2021, 9:00 a.m. – 12:00 p.m. (all times in EDT)

Attendance:

|  | Name | Organization | Comments |
| --- | --- | --- | --- |
| 1 | Phil Fedora | NPCC |  |
| 2 | Gerry Dunbar | NPCC |  |
| 3 | Ruida Shu | NPCC |  |
| 4 | Ali Golriz | IESO |  |
| 5 | Anie Philip | PSEG Long Island |  |
| 6 | Lauren Thomas | PSEG |  |
| 7 | Reid Collins | ISO-NE |  |
| 8 | Suzanne Glatz | PJM |  |
| 9 | Zach Smith | NYISO |  |
| 10 | Aaron Anaya | ORU |  |
| 11 | Aaron Hornick | NPCC |  |
| 12 | Ahmed Mousa | PSEG |  |
| 13 | Al McMeekin | NERC |  |
| 14 | Allen Schriver | NextEra |  |
| 15 | Annie Dubreuil | Hydro Quebec |  |
| 16 | Anthony Gorgone | PSEG |  |
| 17 | Apoorva Kukde | National Grid |  |
| 18 | Audrey | Hydro Quebec |  |
| 19 | Bakari Smith | RGE |  |
| 20 | Ben Eng | NPCC |  |
| 21 | Beng | NPCC |  |
| 22 | Benjamin Loebick | UI |  |
| 23 | Bob Snook | CT.Gov |  |
| 24 | Brad Woods | TRE |  |
| 25 | Brent Oberlin | ISO-NE |  |
| 26 | Brett Feldman | Guidehouse |  |
| 27 | Brian Robinson | Utility Services |  |
| 28 | Brian Shanahan | National Grid |  |
| 29 | Bruce Jagolinzer | CMPCO |  |
| 30 | Carole Laprise | Hydro Quebec |  |
| 31 | Catherine Ethier | Ontario Energy Board |  |
| 32 | Champagne, Fannie | Hydro Quebec |  |
| 33 | Charles Alonge | NYISO |  |
| 34 | Charles Dickerson | NPCC |  |
| 35 | Chris Overberg | Con-Edison |  |
| 36 | Courtney Fasca | Reliability First |  |
| 37 | Christian Garneau | Regie |  |
| 38 | Christopher McKinnon | Eversource |  |
| 39 | CME-PEC Rapport-Hebdo | Hydro Quebec |  |
| 40 | Cristhian Godoy | Con Edison |  |
| 41 | D Smyth | Con Edison |  |
| 42 | Dan Kopin | Velco |  |
| 43 | Daniel Kidney | NPCC |  |
| 44 | Daniel Lavoie | Hydro Quebec |  |
| 45 | David Conroy | RLC-Eng |  |
| 46 | Denis Qirollari | National Grid |  |
| 47 | Desbiens, Charles | Hydro Quebec |  |
| 48 | Diane Burman | DPS NY |  |
| 49 | Digitx Events | Digitx |  |
| 50 | Donald E Nelson | Mass.Gov |  |
| 51 | Dylan Dreisch | PSEG |  |
| 52 | Ed Roedel | UI |  |
| 53 | Eddy Lim | FERC |  |
| 54 | Emily Fernandes | NYISO |  |
| 55 | Eric Annes | CT.Gov |  |
| 56 | Emily Fernandes | NYISO |  |
| 57 | Evan Shuvo | SERC |  |
| 58 | Faisal Nahian | NPCC |  |
| 59 | Francesco Elmi | NPCC |  |
| 60 | Gabriel Adam | IESO |  |
| 61 | Gabriel Dion M | Hydro Quebec |  |
| 62 | Gene Ng | Hydro One |  |
| 63 | George Dong | NPCC |  |
| 64 | Glenroy Smith | Entergy |  |
| 65 | Gorgey, Sandra | NSPower |  |
| 66 | Greg Young-Morris | NBPower |  |
| 67 | Guylain Savoie | Hydro Quebec |  |
| 68 | Hantz Presume | Velco |  |
| 69 | Helen Wang | Con Edison |  |
| 70 | Harris Eisenhardt | NYISO |  |
| 71 | Herb Schrayshuen | Power Advisors LLC |  |
| 72 | Irene Lu | National Grid |  |
| 73 | Jacqueline Ryan | National Grid |  |
| 74 | James Grant | Jim Grant |  |
| 75 | James Mack | Eversource |  |
| 76 | James Murphy | IESO |  |
| 77 | James Oddy | FERC |  |
| 78 | Jason Pause | DPS NY |  |
| 79 | Jason Wang | NPCC |  |
| 80 | Jean Morneau | Hydro One |  |
| 81 | Jeff Carrara | Velco |  |
| 82 | Jere Downs | PJM |  |
| 83 | Jessica Hala | NPCC |  |
| 84 | Joe Adadjo | Eversource |  |
| 85 | Joel Charlebois | AESI |  |
| 86 | John Hastings | National Grid |  |
| 87 | John Haufler | Con Edison |  |
| 88 | John Pearson | ISO-NE |  |
| 89 | Joseph Marranca | UI |  |
| 90 | Joshua London | Eversource |  |
| 91 | Joshua Sussen- Soechitng | Con Edison |  |
| 92 | Karen Marks | PSEG |  |
| 93 | Kim Moulton | Archer Int |  |
| 94 | Kirpal Bahra | Hydro One |  |
| 95 | Kristin McKeown | NPCC |  |
| 96 | Kurtis Chong | IESO |  |
| 97 | Laura McLeod | NBPower |  |
| 98 | Laura Popa-NYISO | NYISO |  |
| 99 | Ling Zheng | Con Edison |  |
| 100 | Lisa Codere-Lopez | National Grid |  |
| 101 | Lodie White | FERC |  |
| 102 | Lott, Thomas | National Grid |  |
| 103 | Lou Cecere | VELCO |  |
| 104 | Louis Gibson | Hydro Quebec |  |
| 105 | Louis Legault | Regie |  |
| 106 | Marc Allen | VELCO |  |
| 107 | Marcus | National Grid |  |
| 108 | Maria G. | Regie |  |
| 109 | Mark Vautour | NBEUB |  |
| 110 | Meenakshi Saravanan | ISO-NE |  |
| 111 | Michael Gildea | FERC |  |
| 112 | Michael Lombardi | NPCC |  |
| 113 | Michael Ridolfino | Central Hudson |  |
| 114 | Mike Jones | National Grid |  |
| 115 | Mike Stuetzle | NPCC |  |
| 116 | Mike Swider | NYISO |  |
| 117 | Muhammad Hussain | Avangrid |  |
| 118 | Muhammad Ibraheem | PSEG |  |
| 119 | Mujahid M. Mian | NPCC |  |
| 120 | Nate Pelletier | CMPCO |  |
| 121 | Neeraj Lal | NPCC |  |
| 122 | Nelson.Larry G. | National Grid |  |
| 123 | Nicolas | Hydro Quebec |  |
| 124 | Nicole Segal | FERC |  |
| 125 | Nimish Bhatnagar | AESI |  |
| 126 | Paola Rodriguez | Hydro Quebec |  |
| 127 | Patrick Palompo | NPCC |  |
| 128 | Payam Farahbakhsh | Hydro One |  |
| 129 | Per-Anders Lof | National Grid |  |
| 130 | Peter Van Huynh | NSPower |  |
| 131 | Prathamesh Kumthekar | NBPower |  |
| 132 | Pramila Nirbhavane | NYISO |  |
| 133 | Quoc Le | NPCC |  |
| 134 | Ralph Rufrano | NPCC |  |
| 135 | Ray Mason | Reliability First |  |
| 136 | Reigh Walling | Wes Consultant |  |
| 137 | Rhonda Dunfee | FERC |  |
| 138 | Rizki Del Olmo | PSEG |  |
| 139 | Robert | Regie |  |
| 140 | Robert Eisenhuth | PSEG |  |
| 141 | Sandra Gorgey | NSPower |  |
| 142 | Scott Berry | IESO |  |
| 143 | Scott Nied | NPCC |  |
| 144 | Sean Lagan | IESO |  |
| 145 | Sharon Flannery | Eversource |  |
| 146 | Shayan Rizvi | NPCC |  |
| 147 | Shengen Chen | RLC-Engineering |  |
| 148 | Simon Lebeau | Hydro Quebec |  |
| 149 | Sorana | IESO |  |
| 150 | Stanford, David | NSPower |  |
| 151 | Steven Cadwallader | CT.Gov |  |
| 152 | Tarel, Guillaume Jean | Hydro Quebec |  |
| 153 | Thinh Pham | PSEG |  |
| 154 | Tim Lynch | NYSEG |  |
| 155 | Tony Napikoski | UI |  |
| 156 | Tracy MacNicoll | Utility Services |  |
| 157 | Travis Tate | NPCC |  |
| 158 | Tremblay Luc | Hydro Quebec |  |
| 159 | Trupti | NBPower |  |
| 160 | Vagner, Odette | Hydro Quebec |  |
| 161 | Vicki O’Leary | Eversource |  |
| 162 | Vincent Fihey | Hydro Quebec |  |
| 163 | Vincent Le | FERC |  |
| 164 | Wayne Sipperly | Generator Forum |  |
| 165 | WP | National Grid |  |
| 166 | Yves Albert | NBPower |  |
| 167 | Zhu, Chuanjiang Chelsea | National Grid |  |
| 168 | Zoraini R | PSEG |  |

- Distributed Energy Resources (DER) Variable Energy Resources (VER) Forum Topics

  - Welcome: Phil Fedora, NPCC Vice President and Chief Engineer Reliability Services (9:00 am - 9:05 am)

  - Antitrust Compliance Guidelines, Public Notice, and Meeting Protocols: Ruida Shu, NPCC Manager of Reliability Standards

  - NPCC VER/DER Outreach Efforts: Gerry Dunbar, NPCC Director Reliability Standards and Criteria (9:05 am – 9:15 am)

  - Offshore Transmission in NJ, Lauren Thomas, Senior Director Transformation & Centralized Services, PSEG (9:15 am – 9:40 am)

  - Offshore Wind and Transmission Planning, Suzanne Glatz, Director, Strategic Initiatives and Interregional Planning, PJM (9:40 am – 10:05 am)

  - New York Independent System Operator: Transmission Update – Outlook/Developments, Zach Smith, Vice President System and Resource Planning, NYISO (10:05 am – 10:30 am)

  - Transmission Planning for the Clean Energy Transition, Reid Collins, Associate Engineer - Transmission Planning, ISO-NE (10:30 am – 10:55 am)

Break (10:55 am – 11:00 am)

  - Ontario York Region Non-Wires Alternatives Demonstration Project, Ali Golriz, Lead, System and Sector Development, Innovation and R&D, IESO (11:00 am – 11:25 am)

  - Evolving Transmission Grid & Study Considerations, Anie Philip, Director of Planning, PSEG Long Island (11:25 am – 11:50 am)

  - Closing – Gerry Dunbar (11:50 am – 12:00 pm)

# Northeast Power Coordinating Council, Inc. (NPCC)

# Antitrust Compliance Guidelines

# It is NPCC’s policy and practice to obey the antitrust laws and to avoid all conduct that unreasonably restrains competition. The antitrust laws make it important that meeting participants avoid discussion of topics that could result in charges of anti-competitive behavior, including: restraint of trade and conspiracies to monopolize, unfair or deceptive business acts or practices, price discrimination, division of markets, allocation of production, imposition of boycotts, exclusive dealing arrangements, and any other activity that unreasonably restrains competition.

# It is the responsibility of every NPCC participant and employee who may in any way affect NPCC’s compliance with the antitrust laws to carry out this commitment.

# Participants in NPCC activities (including those participating in its committees, task forces and subgroups) should refrain from discussing the following throughout any meeting or during any breaks (including NPCC meetings, conference calls and informal discussions):

# Industry-related topics considered sensitive or market intelligence in nature that are outside of their committee’s scope or assignment, or the published agenda for the meeting;

# Their company’s prices for products or services, or prices charged by their competitors;

# Costs, discounts, terms of sale, profit margins or anything else that might affect prices;

# The resale prices their customers should charge for products they sell them;

# Allocating markets, customers, territories or products with their competitors;

# Limiting production;

# Whether or not to deal with any company; and

# Any competitively sensitive information concerning their company or a competitor.

# Any decisions or actions by NPCC as a result of such meetings will only be taken in the interest of promoting and maintaining the reliability and adequacy of the bulk power system.

# Any NPCC meeting participant or employee who is uncertain about the legal ramifications of a particular course of conduct or who has doubts or concerns about whether NPCC’s antitrust compliance policy is implicated in any situation should call NPCC’s General Counsel and Corporate Secretary, Kristin McKeown Esq. at her mobile phone number 646-581-0148.

# Distributed Energy Resources Forum Disclaimer Statement

# General

# Any information presented [at NPCC forums] is for informational purposes only. NPCC accepts no responsibility for the accuracy of such presentations, or for your reliance on any information contained within the content available through such forums. Discussions represent a wide range of views and interests of the participating individuals and organizations. Statements made during discussions do not necessarily reflect those of NPCC.

# Vendors

# Information presented is for stakeholder informational purposes only and does not imply NPCC’s endorsement or approval.  NPCC does not promote technology, tools, products, services, or vendors that may be used by entities within the electric industry. Questions or concerns about vendors or the services or products they offer must be directed to the vendor. It is the responsibility of the owner, operator, or the user of the bulk power system to research the services the vendors offer. Those that utilize the services of vendors assume full responsibility for claims directly or indirectly arising thereunder and NPCC is not responsible or liable for any claim or harm, directly or indirectly, that transpires from the use of any information.

Public Announcement

RSC and DER Forum Meetings, WebEx, and Conference calls:

Participants are reminded that this meeting, WebEx, and conference call are public. The access number was posted on the NPCC website and widely distributed. Speakers on the call should keep in mind that the listening audience may include members of the press and representatives of various governmental authorities, in addition to the expected participation by industry stakeholders.