NPCC REGIONAL STANDARDS COMMITTEE

AGENDA FOR MEETING #21-5

December 2, 2021, 12:00 p.m. – 4:00 p.m. EDT WebEx Meeting

Dial-In: 415-655-0003 (USA) / 416-915-6530 (Canada)

Guest Code: 24299943928

Password: 9AiCidsU3$8 (92424378 from phone)

WebEx Link

For Reference:

Glossary of Terms Used in NERC Reliability Standards, dated June 28, 2021

NPCC Glossary of Terms, dated October 2, 2019

Attendance:

|  | Name | Organization | Sector(s) | Day(s) |
| --- | --- | --- | --- | --- |
| 1. | Gerry Dunbar | Northeast Power Coordinating Council |  | 1 |
| 2. | Ruida Shu | Northeast Power Coordinating Council |  | 1 |
| 3. | Kal Ayoub | FERC | Guest | 1 |
| 4. | Arthur Brown |  | Guest | 1 |
| 5. | Brian Robinson | Utility Services, Inc. | 5 | 1 |
| 6. | Catherine Ethier | Ontario Energy Board | Guest | 1 |
| 7. | Chantal Mazza | Hydro Quebec | 2 | 1 |
| 8. | Cristhian Godoy | Consolidated Edison Co. of New York, Inc. | 5 | 1 |
| 9. | Dan Kopin | VELCO | Guest | 1 |
| 10. | Dave Kwan | Ontario Power Generation | 4 | 1 |
| 11. | David Kiguel | Independent | 7 | 1 |
| 12. | Donald Nelson | Mass DPU | Guest | 1 |
| 13. | Glenroy Smith | Entergy | 4 | 1 |
| 14. | Herb Schrayshuen | Power Advisors, LLC | Guest | 1 |
| 15. | James Grant | NYISO | 2 | 1 |
| 16. | Joel Charlebois | AESI | 7 | 1 |
| 17. | John Pearson | ISO-NE | 2 | 1 |
| 18. | Junji Yamaguchi | Hydro Quebec | 1 | 1 |
| 19. | Kaitlin Nadeau |  | Guest | 1 |
| 20. | Lodie White | FERC | Guest | 1 |
| 21. | Michael Foley | Con Edison | 4 | 1 |
| 22. | Mike Ridolfino | Central Hudson Gas and Electric | 1 | 1 |
| 23. | Michele Shafer | The United Illuminating Company | 1 | 1 |
| 24. | Michael Tondalo | The United Illuminating Company | 1 | 1 |
| 25. | Michael Jones | National Grid | 3 | 1 |
| 26. | Nurul Abser | NB Power | 1 | 1 |
| 27. | Payam Farahbakhsh | Hydro One Networks | 1 | 1 |
| 28. | Quintin Lee | Eversource | 1 | 1 |
| 29. | Rob Vance | New Brunswick Power | 1 | 1 |
| 30. | Sarat Chakravadhanula | Eversource | Guest | 1 |
| 31. | Salvatore Spagnolo | NYPA | 4 | 1 |
| 32. | Sean Lagan | IESO | 2 | 1 |
| 33. | Timothy Kucey | PSEG | 4 | 1 |
| 34. | Vijay Puran | NYDPS | Guest | 1 |
| 35. | Norm Dang | IESO | Guest | 1 |
| 36. | David Lemmons | Cooper Compliance | Guest | 1 |
| 37. | Giuseppe Giannuzzi | Hydro Quebec | Guest | 1 |
| 38. | Tony Hall | LGE-KU | Guest | 1 |
| 39. | Joseph Gatten | Xcel Energy | Guest | 1 |
| 40. | Ben Wu | NERC | Guest | 1 |

Introductions and Chair’s Remarks

Gerry Dunbar provided remarks on NERC standard development activities.

NPCC Antitrust Compliance Guidelines

The NPCC Antitrust Compliance Guidelines were read by Ruida Shu.

Agenda Items:

- Review of Agenda

- RSC Meeting Minutes (Approval Item)

Approval of the October 13-14, 2021, RSC and DER Forum meeting minutes – No revision is necessary to the draft RSC meeting minutes that were provided in the agenda package.

Mike Jones made the motion for approval.

David Kwan seconded the motion.

The October 13-14, 2021, RSC and DER Forum meeting minutes were approved.

- Items Requiring RSC Discussion/Approval/Endorsement

  - NPCC DER Guidance Version #3 (Approval to Post for Open Process)

Approval to post for an open process: NPCC DER Guidance Document Version #3.

Mike Jones made the motion for approval.

Joel Charlebois seconded the motion.

NPCC DER Guidance Document Version #3 is approved to post for an open process.

The plan is to post this document on December 14, 2021.

  - FERC Activities (Discussion)

Kal Ayoub presented on the recent FERC activities.

He reviewed the FERC and NERC work opportunities, Technical Conference on Building for the Future Through Electric Regional Transmission Planning and Cost Allocation and Generator Interconnection, Joint FERC-NERC Inquiry into February 2021 Cold Weather Event and Related Actions, Improving Winter-readiness of Generating Units, and 2021-2022 Winter Energy Market & Reliability Assessment Presentation.

  - RSC Scope of Work (Approval)

Approval of the RSC Scope of Work.

Jim Grant made the motion for approval.

Quintin Lee seconded the motion.

The RSC Scope of Work is approved as read.

  - RSC Work Plan (Approval)

Approval of the RSC Work Plan.

Jim Grant made the motion for approval.

Quintin Lee seconded the motion.

The RSC Work Plan is approved as read.

  - DER Reporting Form Submission by Power Advisors, LLC (Discussion)

The RSC members reviewed and discussed the concerns regarding the impact of DER on UFLS.

Gerry Dunbar will take this concern and forward it to the appropriate task force(s).

  - NPCC Corporate Goal II-2 Long Term Strategic Recommendations (Endorsement)

The RSC members reviewed and discussed TFSP’s recommendation to endorse the long-term strategic recommendations that were developed in response to NPCC Corporate Goal II-2 “Develop long-term strategic reliability recommendations incorporating input from state and provincial regulators relating to their de-carbonization goals for RSC and RCC endorsement.”

In response to outreach to state and provincial regulators, the following long-term strategic reliability recommendations were developed:

To promote better understanding among NPCC stakeholders and state/provincial regulators ongoing communication should take place on the following topics:

1) Effective regional transmission planning in the face of the changing resource mix and public policy decarbonization goals with respect to ensuring a reliable BPS. Promote awareness and assessment of short, medium, and long-term regional transmission planning and expansion through an NPCC Working Group or Forum.

2) The impact of emerging technologies necessary to meet total demand due to electrification of the building and transport sectors. Promote consistency in regional assessments to ensure that the assumptions surrounding these new technologies are dependable and transparent. Ensure that these resources adequately support reliability both now and in the future as electrification proceeds.

3) Promotion and coordination of risk-informed portfolio of resources that recognize the

interdependence between gas supply and electric demand. Focus should be paid to the operability of the BPS with respect to the integration of DER/VER.

NPCC Corporate Goal II-2 has been met.

Dan Kopin made the motion for endorsement.

Mike Jones seconded the motion.

NPCC Corporate Goal II-2 Long Term Strategic Recommendations is endorsed as read.

- NERC Reliability Standards
http://www.nerc.com/pa/Stand/Pages/Standards-Under-Development.aspx

  - Currently Posted Projects

| Project | Comment Period End Date | Ballot Period End Date |
| --- | --- | --- |
| Project 2016-02 Modifications to CIP Standards Norm Dang from IESO @ 1:00 PM | 9/1/21 (F) | 9/1/21 (A) |
| Project 2017-01 Modifications to BAL-003-1.1 David Lemmons from Cooper Compliance @ 1:15 PM | 4/27/21 (I) | 10/24/19 (F) |
| Project 2019-04 Modifications to PRC-005-6 Giuseppe Giannuzzi from BBA @ 1:30 PM | 8/25/21 (F) |  |
| Project 2020-03 Supply Chain Low Impact Revisions Tony Hall @ 1:45 PM | 10/11/21 (F) | 10/11/21 (I) |
| Project 2020-04 Modifications to CIP-012 Joseph Gatten from Xcel Energy @ 2:00 PM | 6/9/21 (F) |  |
| Project 2020-05 Modifications to FAC-001-3 and FAC-002-2 SAR Latrice Harkness from NERC @ 2:30 PM | 12/11/20 (I) |  |
| Project 2020-06 Verifications of Models and Data for Generators | 1/14/21 (I) |  |
| Project 2021-01 Modifications to MOD-025 and PRC-019 | 4/2/21 (I) |  |
| Project 2021-02 Modifications to VAR-002 | 5/13/21 (I) |  |
| Project 2021-03 CIP-002 Transmission Owner Control Centers |  |  |
| Project 2021-04 Modifications to PRC-002-2 Ben Wu from NERC @ 2:15 PM | 7/13/21 (F) |  |
| Project 2021-05 Modifications to PRC-023 Ben Wu from NERC @ 2:15 PM | 7/28/21 (I) |  |
| Project 2021-06 Modifications to IRO-010 and TOP-003 | 8/6/21 (I) |  |
| Comments: (I) – Informal; (F) – Formal; (N) – Nomination Period Ballots: (I) – Initial; (A) – Additional; (F) – Final |  |  |

Project 2016-02 Modifications to CIP Standards:

Proposed definition rework:

Shared Cyber Infrastructure: Only the that portion of an entity’s virtualization infrastructure that is supporting NERC related systems (i.e., the “mixed trust” components)

Electronic Security Perimeter: to incorporate old definition verbatim with additional a zero trust / virtualization component

External Routable Connectivity: restored to be like the existing definition

Interactive Remote Access: simplified/ clarified. Removed management of existing EACMS/ firewalls for better backwards compatibility

Conforming change to match the changed definitions: CIP-005: Restoration of the structure to R1.1 and R1.2 (to be similar as currently approved standard). R2 EACMS management removed from IRA

CIP-007/CIP-010 – still being looked at.

Project 2017-01 Modifications to BAL-003-1.1:

In the process of modifying the standard.

The SDT is in the process of modifying frequency demand, frequency bias setting.

These forms are being used for entities to provide frequency response information to BA.

The drafting team is looking to find out if NERC can collect the frequency response information using the 1600 data request instead of using the forms.

Project 2019-04 Modifications to PRC-005-6:

PRC-005-6 SAR Overview:

The SAR was presented to the NERC Standard Committee (SC) on October 20, 2021.

A PowerPoint presentation was prepared to the SC and publicly available. https://www.nerc.com/comm/SC/Agenda%20Highlights%20and%20Minutes/SC_Agenda_Package_October_20_2021.pdf

The project was approved by the Standard Committee (SC).

There is a Supplemental Nomination Period Open through December 15, 2021.

The SC would like to add additional members to the SDT with transmission and distribution protection expertise as well as Protection System station direct current (DC) supply technologies.

Summary of the NAGF SAR: Revise PRC-005-6 to clearly define the applicability of Protection Systems associated with AVR protective functions. In addition, revise the PRC-005-6 Supplementary Reference and FAQ to provide additional guidance related to AVR protective functions and acceptable methods of testing to meet PRC-005-6 required maintenance activities.

Summary: Confusion about protective functions exists despite the response to the 2016 RFI.

It is crucial that this issue be clarified by including it within PRC-005.

SAR Drafting Team carefully considered all comments received from Industry and edited the SAR in response to those comments.

There is a Supplemental Nomination Period Open through December 15, 2021.

The SC would like to add additional members to the SDT with transmission and distribution protection expertise as well as Protection System station direct current (DC) supply technologies

Project 2020-03 Supply Chain Low Impact Revisions:

Section 6: Vendor communication controls: For assets containing low impact BES Cyber System(s) identified pursuant to CIP-002, the Responsible Entity shall implement a process to mitigate risks associated with vendor’s electronic access. This process must address:

6.1 Having one or more method(s) for determining vendor electronic access to low impact BES Cyber Systems via electronic access controls established in Section 3;

6.2 Having one or more method(s) for disabling vendor electronic access established in Section 6; and

6.3 Having one or more method(s) for detecting known or suspected malicious communications for both inbound and outbound communications.

The project will be posted for comments and ballot after Project 2020-04 comment and ballot period concludes.

Project 2020-04 Modifications to CIP-012:

The project is posted for comment and ballot.

The SDT made changes to R1 with updates focusing on the loss of the ability of data, methods to be used for the recovery of communication links used to transmit, identification of where the Responsible Entity applied security, and availability protection(s).

R2 is also removed from the standard.

Project 2020-05 Modifications to FAC-001-3 and FAC-002-2:

The drafting team is posting the Standard and Implementation plan for a 45-day formal comment and initial ballot period on December 6th. To address the ambiguity in the SAR regarding the term "materially modified", the team modified the standards to remove "materially modified" and replaced it with "qualified change." In addition, a new Requirement R6 in FAC-002-4 was added for the Planning Coordinator to be the one defining qualified change for its area.

Project 2020-06 Verifications of Models and Data for Generators:

The revised SARs were accepted by the SC on July 21, 2021. The SARs propose revisions to MOD-026-1 and MOD-027-1 to clarify requirements related to IBRs and to require sufficient model verification to ensure accurate generator representation in dynamic simulations.

The Standard Drafting Team has held public meetings to discuss the revisions to MOD-026/027. Projected date for initial posting of revised standards is March 2022.

Next meeting is coming up in mid-December. A formal announcement will be sent.

Project 2021-01 Modifications to MOD-025 and PRC-019:

The SAR DT was appointed at the July 21, 2021, SC meeting. The SAR DT reviewed and responded to industry comments, revised the MOD-025 & PRC-019 SARs, and will seek SC endorsement of the revised SARs at the December SC meeting.

Background: The PPMVTF developed this SAR to revise MOD-025-2 to address issues regarding verification and data reporting of generator active and reactive power capability. As stated in the SAR, implementation of the standard has rarely produced data that is suitable for planning models (i.e., the stated purpose of the standard). PRC-019-2 was developed with a bias toward synchronous generation and does not sufficiently outline the requirements for all generation resource types. The proposed SAR aims to address several issues identified by the SPCS and revise the standard to be inclusive of all types of generation resources.

Project 2021-02 Modifications to VAR-002-4.1:

This SAR proposes to revise VAR-002-4.1 to address ambiguities within the existing standard. To clarify VAR-002-4.1, Requirement R3, regarding whether the GOP of a dispersed power resource must notify its associated TOP upon a status change of a voltage controlling device on an individual generating unit. The team is reviewing industry comments and in the process of schedule the next SAR drafting team meetings.

Project 2021-03 CIP-002 Transmission Owner Control Centers:

The drafting team had its TOCC Project Plan approved by the RSTC and the Standards Committee. Next steps are to gather field test participants and have the list finalized by December 31, 2021. The field test plan and schedule are posted on the project page.

Project 2021-06 Modifications to IRO-010 and TOP-003:

The primary purpose of this project is to simplify administrative burdens identified by the SER Phase 2 Team associated with the current IR0-010-3 and TOP-003-4 standards and limit unnecessary data requirements that do not contribute to BES reliability and resiliency. SAR drafting team was approved at September 2021 SC meeting. Kick off meeting was on October 13, 2021, the team has completed revising the SAR and are working on responding to comments. The redlined SAR and consideration of comments will post for a second comment period on January 18th 2022.

  - Ballot History (Since last RSC Meeting)

Ruida Shu reviewed the Ballot History document in the meeting.

  - Comment Form History (Since last RSC Meeting)

Ruida Shu reviewed the Comment Form History document in the meeting.

- NPCC Non-Standards
https://www.npcc.org/Standards/SitePages/NonStandardsList.aspx

  - Items for Discussion

    - Directory#1 Design and Operation of the BPS --- Jt. Planning/Ops Review

The Jt. Planning and Operations review of Directory #1 by a TFCP/TFCO Joint Working Group continues. Initial posting anticipated in the second half of 2022.

    - Directory#12 UFLS --- Retirement

Directory #12 has been retired effective October 1, 2021. The NPCC Full Member Committee approved the retirement on October 19, 2021, to coincide with the enforcement date of PRC-006-NPCC-02 in all regional jurisdictions. NPCC Directory #12 has been archived on the NPCC website with a ‘retired’ watermark

    - Directory#11 Disturbance Monitoring --- TFSP Review

TFSP has reviewed and updated Directory#11 in accordance with the normal review cycle of the document. RCC approved the revised draft of D311 on 11/30/22 and a Full Member ballot will be conducted in early 2022.

    - Directory#8 System Restoration --- TFCO Review

The TFCO and its CO-11 Working Group have reviewed and updated the document. TFCO anticipates posting Directory #8 for Member comment during the 1st Quarter of 2022.

    - Executive Tracking Summary

- RSC Member Items of Interest

  - RSC Roster

- Standards Activity Post NERC BOT Approval
(Since last RSC Meeting)

  - NERC Filings to FERC
http://www.nerc.com/FilingsOrders/Pages/default.aspx

  - FERC Orders / Rules

http://www.nerc.com/FilingsOrders/Pages/default.aspx

  - Federal Register
https://www.federalregister.gov/

  - FERC Sunshine Act Meeting Notice

  - FERC Open Meeting Summaries

- NERC Meetings

  - Standards Committee (SC)
http://www.nerc.com/comm/SC/Pages/default.aspx

| January 20th – Call | February 17th – Call | March 17th – Call |
| --- | --- | --- |
| April 21st – Call | May 19th – Call | June 16th – Denver, CO (Xcel Energy) |
| July 21st – Call | August 18th – Call | September 23rd – Salt Lake City, UT (WECC) |
| October 20th – Call | November 17th – Call | December 15th – Atlanta, GA (NERC) |

  - Board of Trustees (BOT) Meeting
http://www.nerc.com/gov/bot/Pages/Agenda-Highlights-and-Minutes-.aspx

| February 5-6 - Meeting | May 13-14 - Meeting | August 19-20 – Conference Call |
| --- | --- | --- |
| November 4-5 – Conference Call |  |  |

- NERC Items of Interest (Since last RSC Meeting)

  - Lessons Learned
http://www.nerc.com/pa/rrm/ea/Pages/Lessons-Learned.aspx

    - There has been one new Lesson Learned issued since the last RSC meeting.

  - Alerts

http://www.nerc.com/pa/rrm/bpsa/Pages/Alerts.aspx

There has been one new NERC Alerts released since the last RSC meeting.

  - NERC Reliability and Security Guidelines

https://www.nerc.com/comm/Pages/Reliability-and-Security-Guidelines.aspx

  - NERC Rules of Procedure

https://www.nerc.com/AboutNERC/Pages/Rules-of-Procedure.aspx

- Other Items of Interest

  - NPCC Board of Directors Meeting (BOD) 2021

| January 27th – SGR Law Offices, Jacksonville, FL | March 17th - Call | May 5th – NPCC Office |
| --- | --- | --- |
| June 2nd – Call | June 23rd – NPCC Office | August 4th – Call |
| September 1st and 2nd – Pierce Atwood | October 27th – Call | December 1st – Halifax, NS |

- Future RSC Meetings and Conference Calls

  - RSC 2021 Meeting Dates

February 10th-11th, WebEx

May 12th-13th, WebEx

August 11th WebEx

# October 13th-14th WebEx

# December 2nd General Meeting or WebEx

# RSC 2022 Meeting Dates

February 9th-10th, WebEx

May 11th-12th, WebEx

August 10th WebEx

# October 12th-13th WebEx

# December 1st General Meeting or WebEx

# The meeting is adjourned at 4:23 PM.

# Northeast Power Coordinating Council, Inc. (NPCC)

# Antitrust Compliance Guidelines

# It is NPCC’s policy and practice to obey the antitrust laws and to avoid all conduct that unreasonably restrains competition. The antitrust laws make it important that meeting participants avoid discussion of topics that could result in charges of anti-competitive behavior, including: restraint of trade and conspiracies to monopolize, unfair or deceptive business acts or practices, price discrimination, division of markets, allocation of production, imposition of boycotts, exclusive dealing arrangements, and any other activity that unreasonably restrains competition.

# It is the responsibility of every NPCC participant and employee who may in any way affect NPCC’s compliance with the antitrust laws to carry out this commitment.

# Participants in NPCC activities (including those participating in its committees, task forces and subgroups) should refrain from discussing the following throughout any meeting or during any breaks (including NPCC meetings, conference calls and informal discussions):

# Industry-related topics considered sensitive or market intelligence in nature that are outside of their committee’s scope or assignment, or the published agenda for the meeting;

# Their company’s prices for products or services, or prices charged by their competitors;

# Costs, discounts, terms of sale, profit margins or anything else that might affect prices;

# The resale prices their customers should charge for products they sell them;

# Allocating markets, customers, territories or products with their competitors;

# Limiting production;

# Whether or not to deal with any company; and

# Any competitively sensitive information concerning their company or a competitor.

# Any decisions or actions by NPCC as a result of such meetings will only be taken in the interest of promoting and maintaining the reliability and adequacy of the bulk power system.

# Any NPCC meeting participant or employee who is uncertain about the legal ramifications of a particular course of conduct or who has doubts or concerns about whether NPCC’s antitrust compliance policy is implicated in any situation should call NPCC’s General Counsel and Corporate Secretary, Kristin McKeown Esq. at her mobile phone number 646-581-0148.

# Distributed Energy Resources Forum Disclaimer Statement

# General

# Any information presented [at NPCC forums] is for informational purposes only. NPCC accepts no responsibility for the accuracy of such presentations, or for your reliance on any information contained within the content available through such forums. Discussions represent a wide range of views and interests of the participating individuals and organizations. Statements made during discussions do not necessarily reflect those of NPCC.

# Vendors

# Information presented is for stakeholder informational purposes only and does not imply NPCC’s endorsement or approval.  NPCC does not promote technology, tools, products, services, or vendors that may be used by entities within the electric industry. Questions or concerns about vendors or the services or products they offer must be directed to the vendor. It is the responsibility of the owner, operator, or the user of the bulk power system to research the services the vendors offer. Those that utilize the services of vendors assume full responsibility for claims directly or indirectly arising thereunder and NPCC is not responsible or liable for any claim or harm, directly or indirectly, that transpires from the use of any information.

Public Announcement

RSC and DER Forum Meetings, WebEx, and Conference calls:

Participants are reminded that this meeting, WebEx, and conference call are public. The access number was posted on the NPCC website and widely distributed. Speakers on the call should keep in mind that the listening audience may include members of the press and representatives of various governmental authorities, in addition to the expected participation by industry stakeholders.